## 2019
Gas Incidents
Open as of 1-1-2019 and Incidents Reported in 2019
Pursuant to California Public Utilities Code Section 911, below is a list of gas incidents open as of January 1, 2019 and reported in 2019. The gas utilities are required to report to the California Public Utilities Commission, within two hours during working hours and four hours outside of working hours, incidents that: 1) involve the release of gas and result in one or more of the following: a) fatality or personal injury rising to the level of in-patient hospitalization, b) property damage estimated to exceed $50,000 to the utility and others, or both, but excluding cost of gas lost, or c) unintentional estimated gas loss of at least 3 million cubic feet; 2) result in an emergency shutdown of an LNG facility; 3) are considered significant in the judgement of the utility, even though it did not meet reporting criteria; 4) are the subject of significant public attention or media coverage and are suspected to involve gas within vicinity to the utility’s facilities; 5) result in pipeline system pressure exceeding its Maximum Allowable Operating Pressure plus the allowable build up, due to failure of a pressure relieving and limiting station or other unplanned event; 6) result in any part of the gas pipeline system losing service or being shut down, due to an under-pressure condition caused by failure of any pressure-controlling device or other unplanned event.
Incident number: This number reflects the year, month, day, and the sequence in which the incident was reported or occurred.
Incident ID (YYYYMMDD-XXXX) | Facility Owner | Reason for Investigation | Facility Type | Brief Description of Incident | Open or Closed
20161022-2107 | SoCalGas | Media Coverage | Other | SoCalGas determined a potential point of ignition along its electrical facility for the 10/18 fire in the vicinity of Aliso Canyon Storage Field. | Closed
20161226-2125 | SoCalGas | Gas Loss > 3MMCF | Other | During daily patrols and inspection, methane was detected at Aliso Canyon Storage facility. | Open
20171001-2367 | SoCalGas | Gas Loss > 3MMCF | Transmission | SoCalGas became aware of a pressure drop along a Transmission line. Crews determined that there was a rupture. | Open
20171005-2371 | SoCalGas | Operator Judgement | Other | Area odors were reported to SoCalGas. The cause of the odor is still unknown. | Closed
20171009-2376 | PG&E | Damages | Regulator | A wildfire in Kenwood has caused 11,000-13,000 gas customers to be isolated. Two structure fires and one High Pressure Regulator is on fire and releasing gas. | Closed
20171016-2387 | PG&E | Other | Regulator | An over-pressure event to a DFM in Coalinga. | Closed
20171018-2393 | SoCalGas | Public Attention | Other | Multiple gas odor complaints in Atascadero. | Closed
20171127-2428 | PG&E | Damages | Service line | A possible explosion in San Francisco. | Closed
20180102-2468 | SoCalGas | Public Attention | Other | Multiple odor reports around 509 North Mayo Ave, Compton | Closed
20180102-2469 | SoCalGas | Public Attention | Other | Multiple odor reports around 2516 Loomis St, Lakewood | Closed
20180103-2470 | SoCalGas | Public Attention | Other | Multiple odor reports around 1960 E Keeton St, Compton | Closed
20180105-2474 | PG&E | Operator Judgement | Regulator | Overpressure event on DCUST 1358 in Coalinga discovered while reviewing pressure recording data. | Closed
20180109-2476 | SoCalGas | Operator Judgement | Transmission | A transmission line break on L-1005 was called in by Gas Control as a rapid pressure drop was observed. Weather conditions has caused several landslides in the area. | Closed
20180109-2477 | SoCalGas | Media Coverage | Main | A leak was found on a 2-inch main. Weather conditions gas caused several landslides in the area. | Closed
20180112-2479 | SoCalGas | Media Coverage | Main | Third party excavator struck and damaged a main resulting in release of gas. | Closed
20180112-2480 | SoCalGas | Public Attention | Other | Odor reports around 16089 Sherlock Ln, Huntington Beach. | Closed
20180120-2483 | SoCalGas | Inpatient Hospitalization | Main | A person suffered burns when an explosion and structure fire occurred at a residential property. A gas leak was discovered while investigating the incident. | Closed
20180125-2486 | SoCalGas | Media Coverage | Main | A third party excavator struck and damaged a 4-inch plastic main causing release of gas. | Closed
20180129-2487 | SoCalGas | Media Coverage | Main | A third party excavator struck and damaged a plastic main causing release of gas. | Closed
20180202-2490 | SDG&E | Media Coverage | Main | A third party excavator struck and damage a main causing release of gas. | Closed
20180202-2492 | SoCalGas | Public Attention | Other | Odor reports around 5638 Holliser Ave, Goleta | Closed
20180202-2493 | SDG&E | Media Coverage | Service line | A third party excavator struck and damaged a plastic service line causing release of gas. | Closed
20180220-2499 | SoCalGas | Interruption | Other | A temporary CNG tanker was used to serve customers during the Montecito landslides when it ran out of gas causing outage to 5 customers. | Closed
20180301-2501 | SoCalGas | Operator Judgement | Regulator | An overpressure occurred on 12-feet of distribution main at regulator station 1276 in Oceanside. | Closed
20180307-2504 | SoCalGas | Damages | Transmission | A third party excavator struck and damaged a 20-inch steel transmission line causing release of gas. | Closed
20180308-2505 | SoCalGas | Media Coverage | Service line | A third party excavator struck and damaged a service line causing a release of gas. | Closed
20180310-2506 | PG&E | Inpatient Hospitalization | Service line | A structure fire of unknown cause injured one person. | Closed
20180319-2507 | SDG&E | Public Attention | Other | Odor reports around 4611 Coronado Ave, San Diego | Closed
20180315-2508 | SoCalGas | Public Attention | Other | Odor reports around 413 W D St, Wilmington. | Closed
20180326-2510 | SoCalGas | Damages | Other | A structure fire of unknown cause with property damage expected to exceed $50,000. | Closed
20180327-2511 | SoCalGas | Interruption | Valve | A SoCalGas employee accidentally tripped an earthquake valve of a master meter mobilehomepark causing an unpressure condition and outage. | Closed
20180328-2512 | SDG&E | Public Attention | Other | Odor reports around 1250 Prospect St, La Jolla | Closed
20180329-2515 | SDG&E | Media Coverage | Customer meter | A vehicle hit and damaged a customer meter causing release of gas. | Closed
20180408-2521 | SoCalGas | Inpatient Hospitalization | Customer pipe | Improperly installed customer houseline leaked resulting in an explosion and structure fire injuring two people. | Closed
20180410-2524 | SoCalGas | Media Coverage | Main | A third party excavator struck and damaged a steel main causing release of gas. | Closed
20180416-2531 | SoCalGas | Public Attention | Other | Odor reports around 113 E 138th St, Los Angeles | Closed
20180420-2532 | SoCalGas | Public Attention | Other | Odor reports around 832 W 137th St, Compton | Closed
20180422-2533 | SDG&E | Media Coverage | Customer meter | A vehicle hit and damaged a customer meter causing release of gas. | Closed
20180423-2535 | SCE | Inpatient Hospitalization | Transmission | A SoCalGas contractor was injured when an electrical flash occurred while cleaning an aboveground filter for a large meterset. | Closed
20180424-2536 | SoCalGas | Media Coverage | Customer meter | A vehicle hit and damaged a meter manifold causing a release of gas. | Closed
20180428-2537 | SDG&E | Media Coverage | Customer meter | A vehicle hit and damaged a meter causing release of gas. | Closed
20180501-2539 | SDG&E | Media Coverage | Main | A third party excavator struck and damaged a main causing a release of gas. | Closed
20180503-2559 | SDG&E | Media Coverage | Main | A third party excavator struck and damaged a gas main causing a release of gas. | Closed
20180507-2560 | SDG&E | Media Coverage | Main | A third party excavator struck and damaged a gas main causing a release of gas. | Closed
20180507-2561 | SoCalGas | Interruption | Valve | SoCalGas personnel inadvertantly closed a valve following a regulator station maintenance causing service interruptions. | Closed
20180507-2562 | SoCalGas | Media Coverage | Main | A third party excavator struck and damaged a main causing a release of gas. | Closed
20180509-2565 | SDG&E | Media Coverage | Service line | A homeowner struck and damaged a plastic service line causing release of gas. | Closed
20180516-2576 | SDG&E | Media Coverage | Service line | A third party excavator struck and damaged a plastic service line causing release of gas. | Closed
20180517-2579 | SoCalGas | Public Attention | Other | Odor reports around 4127 Chatwin Ave, Lakewood. | Closed
20180518-2581 | SoCalGas | Public Attention | Other | Odor reports around 4203 Lomina Ave, Lakewood. | Closed
20180521-2582 | SoCalGas | Operator Judgement | Transmission | An overpressure event was reported for L-1171 and L-1174. | Closed
20180521-2583 | SoCalGas | Public Attention | Other | Odor reports around 1630 E 4th St, Ontario. | Closed
20180522-2585 | SoCalGas | Public Attention | Other | Odor reports around 17611 Beckwall Ln, Huntington Beach. | Closed
20180524-2586 | SoCalGas | Public Attention | Other | Odor reports around 10256 Park St, Bellflower. | Closed
20180525-2587 | SDG&E | Media Coverage | Customer meter | Vehicle struck and damaged a meter causing release of gas. | Closed
20180526-2588 | SoCalGas | Public Attention | Other | Odor reports around 7158 W 91st St, Los Angeles | Closed
20180530-2590 | SoCalGas | Media Coverage | Main | A third party excavator struck and damaged a 6-inch steel main causing release of gas. | Closed
20180601-2591 | SoCalGas | Public Attention | Other | Odor reports around 18112 Westlake Cir, Huntington Beach. | Closed
20180602-2592 | SDG&E | Public Attention | Other | Odor reports around 703 San Dieguito Dr, Encinitas | Closed
20180606-2593 | SoCalGas | Media Coverage | Main | A third party excavator struck and damaged a 4-inch steel main resulting in a release of gas. | Closed
20180606-2594 | SDG&E | Media Coverage | Service line | A third party excavator struck and damaged a plastic service line causing release of gas. | Closed
20180608-2595 | SDG&E | Media Coverage | Customer meter | A vehicle hit and damaged a customer meter causing release of gas. | Closed
20180614-2598 | SoWEST | Operator Judgement | Main | Operator personnel performing welding on a main burned through the pipe causing release of gas. | Closed
20180616-2599 | SoCalGas | Media Coverage | Customer pipe | A customer valve is suspected to have been the cause of an explosion at an apartment complex. | Closed
20180619-2602 | SDG&E | Media Coverage | Main | A third party excavator struck and damaged a main causing a release of gas. | Closed
20180620-2603 | SoCalGas | Media Coverage | Main | SoCalGas personnel identified a leak on a 4-inch steel main. | Closed
20180621-2604 | SoCalGas | Gas Loss > 3MMCF | Main | A third party excavator struck and damaged a 6-inch steel main causing release of gas. | Closed
20180622-2605 | SoCalGas | Public Attention | Other | Odor reports around 4118 Kevin Dr, Bakersfield. | Closed
20180625-2607 | SoCalGas | Media Coverage | Main | A third party excavator struck and damaged a 3-inch plastic main causing a release of gas | Closed
20180627-2608 | SoCalGas | Media Coverage | Service line | A third party excavator struck and damaged a plastic service line causing release of gas. | Closed
20180705-2609 | SDG&E | Media Coverage | Service riser | A vehicle hit and damaged a service riser causing a release of gas. | Closed
20180709-2611 | SoCalGas | Operator Judgement | Regulator | Regulator station failed open during a planned shut-in resulting in overpressurization of approximately 40 feet of pipe. | Closed
20180711-2615 | SoCalGas | Public Attention | Other | Odor reports around Garden Grove and Huntington Beach area. | Closed
20180712-2616 | SoCalGas | Public Attention | Other | Odor reports around Sunset Beach and Huntington Beach area. | Closed
20180715-2618 | SoCalGas | Media Coverage | Customer meter | A vehicle hit and damaged a customer meter causing release of gas. | Closed
20180717-2619 | SDG&E | Media Coverage | Service line | A third party excavator struck and damaged a service line causing a release of gas. | Closed
20180722-2620 | PG&E | Operator Judgement | Service line | An overpressurization occurred on a high pressure service line tap resulting in a rupture and release of gas. | Closed
20180724-2621 | SDG&E | Public Attention | Other | Odor reports around 305 Chinquapin Ave, Carlsbad. | Closed
20180730-2623 | SDG&E | Media Coverage | Main | A third party excavator struck and damaged a plastic main causing release of gas. | Closed
20180730-2624 | SDG&E | Media Coverage | Service line | A third party excavator struck and damaged a steel service line causing release of gas. | Closed
20180728-2626 | PG&E | Damages | Customer meter | Carr fire in Redding damaged multiple gas facilities and meters. | Closed
20180731-2627 | SDG&E | Public Attention | Other | Odor reports around 1925 S Myers St, Oceanside. | Closed
20180802-2629 | SoCalGas | Public Attention | Other | Odor reports around 424 Via La Selva, Redondo Beach. | Closed
20180802-2630 | SoCalGas | Media Coverage | Customer meter | Powerline failure resulted on a tree fire affecting nearby residential structure and release of gas. | Closed
20180801-2631 | SDG&E | Public Attention | Other | Odor reports around 333 Coast Blvd, La Jolla. | Closed
20180804-2632 | SDG&E | Media Coverage | Customer meter | A vehicle hit and damaged a customer meter causing release of gas. | Closed
20180810-2634 | PG&E | Operator Judgement | Other | A truck driver was fatally crushed during off-loading operations at a construction project; no release of gas. | Closed
20180813-2637 | PG&E | Damages | Main | A leak was discovered by a contractor while hand digging. | Open
20180814-2638 | SDG&E | Public Attention | Other | Odor reports around 175 Maple Ave, Carlsbad. | Closed
20180814-2639 | SDG&E | Media Coverage | Customer meter | A vehicle hit and damaged a customer meter causing release of gas. | Closed
20180814-2640 | SoCalGas | Public Attention | Other | Odor reports around 7521 Talbert Ave, Huntington Beach. | Closed
20180815-2641 | SoCalGas | Interruption | Transmission | Liquid intrusion on gas pipeline resulted in service interruption. | Closed
20180815-2642 | SDG&E | Media Coverage | Main | A third party excavator struck and damaged a main causing a release of gas. | Closed
20180816-2643 | SoCalGas | Public Attention | Other | Odor reports around 673 Victoria St, Costa Mesa. | Closed
20180821-2645 | SoCalGas | Public Attention | Other | Odor reports around 4050 Ursula Ave, Los Angeles. | Closed
20180802-2646 | SoWEST | Interruption | Main | While performing distribution main replacement, a SWG contractor inadvertantly interrupted service to 32 customers. | Closed
20180827-2647 | SDG&E | Media Coverage | Service line | A third party excavator struck and damaged a plastic service line causing release of gas. | Closed
20180828-2648 | SDG&E | Public Attention | Other | Odor reports around 14286 Recuerdo Dr, Del Mar. | Closed
20180829-2649 | SoCalGas | Public Attention | Other | Odor reports around 605 18th St, Huntington Beach. | Closed
20180830-2650 | SoCalGas | Public Attention | Other | Odor reports around 117 Irena Ave, Redondo Beach. | Closed
20180830-2651 | SoCalGas | Public Attention | Other | Odor reports around 2041 Main St, Santa Ana. | Closed
20180831-2652 | SoCalGas | Gas Loss > 3MMCF | Main | A third party excavator struck and damaged a 4-inch plastic main causing release of gas. | Closed
20180903-2653 | SoCalGas | Public Attention | Other | Odor reports around 613 Yarmouth Rd, Palos Verdes Estates | Closed
20180908-2654 | SoCalGas | Media Coverage | Customer pipe | Explosion suspected to be unrelated to gas facilities. | Closed
20180912-2655 | SDG&E | Media Coverage | Main | A third party excavator struck and damaged a plastic main causing release of gas. | Closed
20180912-2662 | SDG&E | Media Coverage | Service line | A third party excavator struck and damaged a plastic service line causing release of gas. | Closed
20180914-2663 | SoCalGas | Public Attention | Other | Odor reports around 13308 Sunlight Star St, Bakersfield. | Closed
20180916-2665 | SDG&E | Media Coverage | Service line | A third party excavator struck and damaged a plastic service line causing release of gas. | Closed
20180918-2666 | SDG&E | Media Coverage | Main | A third party excavator struck and damaged a steel main causing release of gas. | Closed
20180918-2667 | SDG&E | Media Coverage | Service line | A third party excavator struck and damaged a plastic service line causing release of gas. | Closed
20180919-2668 | SDG&E | Public Attention | Other | Odor reports around 334 Amatista Rd, Del Mar. | Closed
20180920-2669 | SDG&E | Media Coverage | Service line | A third party excavator struck and damaged a steel service line causing release of gas. | Closed
20180920-2670 | SoCalGas | Public Attention | Other | Odor reports around 7311 Rindge Ave, Playa Del Rey. | Closed
20180920-2671 | SoCalGas | Public Attention | Other | Odor reports around 231 W Canada, San Clemente. | Closed
20180922-2672 | SoCalGas | Public Attention | Other | Odor reports around 210 Chicago Ave, Huntington Beach. | Closed
20180922-2673 | SoCalGas | Public Attention | Other | Odor reports around 501 19th St, Huntington Beach. | Closed
20180923-2674 | SoCalGas | Public Attention | Other | Odor reports around 119 20th St, Huntington Beach. | Closed
20180923-2675 | SoCalGas | Public Attention | Other | Odor reports around 9510 Ocean Gate Ave, Inglewood. | Closed
20180924-2676 | SDG&E | Public Attention | Other | Odor reports around 552 Vista Del Escuela, El Cajon due to SDG&E planned purging operations at 5469 Casino Way, El Cajon. | Closed
20180924-2677 | SoCalGas | Public Attention | Other | Odor reports around 275 Orange Ave, Goleta due to a planned blowdown of a SoCalGas transmission line. | Closed
20180926-2679 | SoCalGas | Public Attention | Other | Odor reports around 6761 Morning Tide Dr, Huntington Beach. | Closed
20180927-2680 | SDG&E | Media Coverage | Customer meter | SDG&E notified of a structure fire with possible release of gas. | Closed
20180928-2681 | SoCalGas | Public Attention | Other | Odor reports around 252 17th St, Seal Beach. | Closed
20180928-2682 | SoWEST | Interruption | Main | A main being replaced by a SWG contractor was mistaken as a two-way feed resulting in service outages. | Closed
20180929-2683 | SoCalGas | Public Attention | Other | Odor reports around 16510 Le Grand Ln, Huntington Beach. | Closed
20180930-2684 | SoCalGas | Public Attention | Other | Odor reports around 812 East Pine St, Compton. | Closed
20180930-2685 | SoCalGas | Public Attention | Other | Odor reports around 11517 Pennsylvania Ave, South Gate. | Closed
20180930-2686 | SoCalGas | Public Attention | Other | Odor reports around 6711 Calpe Cir, Huntington Beach. | Closed
20181001-2687 | SoCalGas | Public Attention | Other | Odor reports around 14272 Hoover St, Westminster. | Closed
20181001-2688 | SoCalGas | Public Attention | Other | Odor reports around 1404 Orange Ave, Huntington Beach. | Closed
20181002-2689 | SoCalGas | Public Attention | Other | Odor reports around 2309 Via Anacapa, Palos Verdes Estates | Closed
20181009-2690 | SDG&E | Public Attention | Other | Odor reports around 5655 La Jolla Hermosa Ave, La Jolla | Closed
20181012-2691 | SoCalGas | Inpatient Hospitalization | Main | Reports of explosion in an electrical vault in Los Angeles | Closed
20181015-2693 | SDG&E | Media Coverage | Service line | A third party excavator struck and damaged a plastic service line causing release of gas | Closed
20181016-2694 | SoCalGas | Public Attention | Other | Odor reports around 1200 Pacific Coast Highway, Huntington Beach | Closed
20181018-2695 | SDG&E | Public Attention | Other | Odor reports around 827 Rosecrans St, San Diego | Closed
20181016-2696 | SDG&E | Media Coverage | Customer meter | A vehicle struck and damaged a customer meter causing a release of gas | Closed
20181021-2697 | SoCalGas | Public Attention | Other | Odor reports around 110 Ocean Ave, Seal Beach | Closed
20181022-2698 | PG&E | Interruption | Main | Overpressure event on a service line in Los Banos | Closed
20181025-2699 | SoCalGas | Public Attention | Other | Odor reports around 17434 Miller Ave, Fontana | Closed
20181025-2700 | SoCalGas | Media Coverage | Main | Third party excavator struck and damageda plastic main causing release of gas | Closed
20181104-2702 | SoCalGas | Public Attention | Other | Odor reports around 9146 La Salle Ave, Los Angeles | Closed
20181107-2703 | SDG&E | Media Coverage | Main | A third party excavator struck and damaged a plastic main causing release of gas. | Closed
20181108-2704 | PG&E | Media Coverage | Customer meter | A wildfire in the city of Paradise damaged customer meters causing release of gas | Closed
20181109-2708 | SoCalGas | Media Coverage | Customer meter | A wildfire in the Los Angeles and Ventura counties damaged customer meters causing release of gas | Closed
20181109-2709 | SoCalGas | Media Coverage | Customer meter | A wildfire in the Los Angeles and Ventura counties damaged customer meters causing release of gas | Closed
20181109-2710 | SoCalGas | Public Attention | Other | Odor reports around 5147 W 131st St, Hawthorne | Closed
20181112-2711 | SDG&E | Public Attention | Other | Odor reports around 3110 S Camino Del Rio, San Diego | Closed
20181112-2712 | SDG&E | Media Coverage | Customer meter | A vehicle struck and damaged a customer meter causing a release of gas | Closed
20181116-2713 | SoCalGas | Public Attention | Other | Odor reports around 7261 Oak Tree Lane, Fontana | Closed
20181118-2714 | SoCalGas | Inpatient Hospitalization | Service riser | An explosion at a home in Pasadena resulted in injuries | Closed
20181119-2715 | PG&E | Other | Regulator | An overpressure event at the Byron Meganos Reg Station was discovered during routine maintenance | Closed
20181119-2716 | PG&E | Damages | Main | A third party excavator struck and damaged a plastic main causing release of gas. | Closed
20181120-2717 | SoCalGas | Public Attention | Other | Odor reports around 605 W Robert Ave, Oxnard | Closed
20181124-2718 | SoCalGas | Public Attention | Other | Odor reports around 16701 Pacific Coast Hwy, Sunset Beach | Closed
20181126-2719 | SoCalGas | Damages | Other | A fire and explosion was reported in Oxnard | Closed
20181127-2720 | SoCalGas | Public Attention | Other | Odor reports around 15042 Valleyheart Dr, Los Angeles | Closed
20181127-2721 | PG&E | Other | Regulator | An overpressure event at Diamond Pet Foods in Ripon | Closed
20181204-2722 | SoCalGas | Public Attention | Other | Odor reports around 8877 Tulare Dr, Huntington Beach | Closed
20181201-2723 | SoCalGas | Public Attention | Other | Odor reports around 1655 E. G St, Ontario | Closed
20181207-2724 | SoCalGas | Media Coverage | Main | A third party excavator struck and damaged a steel main causing release of gas | Closed
20181211-2725 | PG&E | Media Coverage | Customer meter | A vehicle hit and damaged a customer meter causing release of gas | Closed
20181212-2726 | SoCalGas | Public Attention | Other | Odor reports around 1905 Landis St, Burbank | Closed
20181214-2727 | SoCalGas | Damages | Other | A structure fire reported in Huntington Beach with possible release of gas | Closed
20181215-2728 | PG&E | Other | Regulator | An overpressure event on a distribution system in Firebaugh, CA | Closed
20181216-2729 | SoCalGas | Public Attention | Other | Odor report around 17022 Bluewater Ave, Huntington Beach | Closed
20181218-2730 | SoCalGas | Interruption | Customer valve | Crew responding to a leak on a customer meterset valve resulted in breaking the valve | Closed
20181219-2731 | SoCalGas | Public Attention | Other | Odor reports around 17082 B Lane, Huntington Beach | Closed
20181221-2732 | SoCalGas | Media Coverage | Service riser | A structure fire resulted in a damage to the service riser causing release of gas | Closed
20181221-2733 | Prop/Amerigas | Injury | Other | A third party excavator struck and damaged a service line causing a release of gas and flash ignition. The excavator personnel received treatments for minor burns. | Closed
20181221-2734 | SoCalGas | Public Attention | Other | Odor reports around 1437 E Katella Ave, Orange | Closed
20181221-2735 | SoCalGas | Media Coverage | Main | A sink hole caused by a water main break caused vehicles to fall onto gas main resulting in damage and release of gas | Closed
20181222-2736 | SoCalGas | Media Coverage | Customer meter | A vehicle hit and damaged a customer meter causing release of gas | Closed
20181222-2737 | SoCalGas | Public Attention | Other | Odor reports around 16701 Pacific Coast Hwy, Sunset Beach | Closed
20181227-2738 | SoCalGas | Public Attention | Other | Odor reports around 953 Washington Blvd, Los Angeles | Closed
20181228-2739 | SDG&E | Media Coverage | Main | A third party excavator struck and damaged a plastic main causing release of gas. | Closed
20190101-2740 | SoCalGas | Operator Judgement | Regulator | Overpressure event in Westlake Village due to regulator station not locking up correctly. | Closed
20190102-2741 | SoCalGas | Public Attention | Other | Odor reports around 2440 N. Glassell St, Orange. | Closed
20190104-2742 | SoCalGas | Media Coverage | Main | Gas-related explosion resulting in evacuation and damages exceeding $50,000 | Closed
20190104-2743 | SDG&E | Public Attention | Other | Odor reports around 2704 University Ave, San Diego | Closed
20190108-2744 | SoCalGas | Public Attention | Other | Odor reports around 4359 Lyceum Ave, Los Angeles | Closed
20190109-2745 | PG&E | Media Coverage | Other | Vehicle struck SCADA sensing lines causing a release of gas and outage for 75 customers | Closed
20190109-2746 | SoCalGas | Public Attention | Other | Odor reports around 14439 Baseline Ave, Fontana | Closed
20190110-2747 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.75-inch plastic service line causing a release of gas and outage for 235 customers | Closed
20190114-2748 | SoCalGas | Media Coverage | Service line | Third-party excavation damage on a 2-inch plastic service line causing a release of gas | Closed
20190115-2749 | SDG&E | Media Coverage | Main | Third-party excavation damage on a 2-inch plastic main causing a release of gas | Closed
20190117-2750 | PG&E | Operator Judgement | Regulator | Overpressure event in Fresno due to outlet fire valve being closed and regulator failing lock up. | Closed
20190117-2751 | SoCalGas | Media Coverage | Service line | .75-inch steel service line damaged by collapsing wall at 144 Douglas St, Los Angeles | Closed
20190120-2752 | SDG&E | Public Attention | Other | Odor reports around 8868 Regents Rd, San Diego | Closed
20190123-2753 | SoCalGas | Public Attention | Other | Odor reports around 140 S. Dolliver St, Pismo Beach | Closed
20190128-2754 | SoWEST | Interruption | Main | SWG contractor broke the fitting on a 2-inch plastic main causing an under-pressure event resulting in outage to 20 customers | Closed
20190128-2755 | SoCalGas | Public Attention | Other | Odor reports around 5225 McKinley Ave, Los Angeles | Closed
20190130-2756 | SoCalGas | Public Attention | Other | Odor reports around 2355 Compton Ave, Corona | Closed
20190131-2757 | SoCalGas | Media Coverage | Service line | Third-party contractor damaged a 1-inch plastic gas service line | Closed
20190131-2758 | SoCalGas | Media Coverage | Service line | Third-party excavation damage on a 3-inch plastic gas service line | Closed
20190205-2759 | SDG&E | Media Coverage | Service riser | Vehicle struck a 1.25-inch gas service riser causing a release of gas | Closed
20190206-2760 | PG&E | Media Coverage | Main | Third-party dig-in with subsequent ignition near 3300 Geary Blvd, San Francisco | Open
20190213-2761 | SoCalGas | Inpatient Hospitalization | Other | Upland Water employee was ignited while using lighter to clear condensation on water meter dial glass | Closed
20190212-2762 | SDG&E | Public Attention | Other | Odor reports around 616 Oaklawn Hm Ave Apt 9, Chula Vista | Closed
20190214-2763 | PG&E | Media Coverage | Main | Landslide causing gas leak on a section of 2-inch steel main | Closed
20190215-2764 | PG&E | Damages | Transmission | Grade 1 leak repair at 2100 S. McDowell Blvd, Sonoma exceeding $50,000 in damages | Closed
20190221-2765 | PG&E | Media Coverage | Main | Excavation damage on a 2-inch plastic main causing a release of gas at 7th St & Bryant St, San Francisco | Closed
20190223-2766 | SDG&E | Media Coverage | Main | A section of 2-inch plastic main was damaged by SDG&E during potholing while performing a leak investigation | Open
20190223-2767 | SDG&E | Public Attention | Other | Odor reports around 9029 Jamancha Rd, Spring Valley | Closed
20190228-2768 | SoWEST | Damages | Customer meter | Snow load on meter caused a release of gas, which migrated into structure and ignited | Closed
20190303-2769 | SoCalGas | Public Attention | Other | Odor reports around 4682 Warner Ave, Huntington Beach | Closed
20190307-2770 | SoCalGas | Public Attention | Other | Odor reports around 1541 Monrovia Ave, Newport Beach | Closed
20190307-2771 | SoCalGas | Public Attention | Other | Odor reports around 12060 Downey Ave, Downey | Closed
20190314-2772 | SoCalGas | Damages | Transmission | Third-party damage on 1-inch transmission line | Closed
20190315-2773 | SoCalGas | Public Attention | Other | Odor reports around 1928 Strathmore Ave, San Gabriel | Closed
20190315-2774 | SoCalGas | Public Attention | Other | Odor reports around 8235 Billowvista Drive, Playa Del Rey | Closed
20190319-2775 | SDG&E | Media Coverage | Main | Third-party excavation damage on a 4-inch plastic gas main causing a release of gas | Closed
20190326-2776 | SDG&E | Media Coverage | Main | Third-party excavation damage on a 2-inch steel gas main causing a release of gas | Closed
20190327-2777 | SoCalGas | Public Attention | Other | Odor reports around 28275 Newhall Ranch Rd, Santa Clarita | Closed
20190328-2778 | SoCalGas | Other | Main | Pressure control equipment failure resulting in under-pressure event | Closed
20190329-2779 | SoWEST | Interruption | Service line | SWG contractor inadvertently abandoned 0.5-inch plastic service line, resulting in outage of one customer | Open
20190328-2780 | SDG&E | Operator Judgement | Regulator | Overpressure event at a regulator station in Camp Pendleton | Closed
20190329-2781 | PG&E | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Closed
20190402-2782 | PG&E | Operator Judgement | Regulator | Overpressure event at 19409 National Trails Hwy, Oro Grande | Open
20190404-2783 | PG&E | Media Coverage | Service line | Third-party contractor detected a grade 1 gas leak on a 0.75-inch service line while repairing a water leak | Closed
20190405-2784 | SDG&E | Media Coverage | Customer meter | Vehicle struck a customer gas meter, resulting in the meter shearing from the riser and releasing gas | Closed
20190405-2785 | PG&E | Damages | Transmission | Grade 1 leak repaired on DFM 0609-02, exceeding $50,000 in damages | Open
20190406-2786 | SDG&E | Public Attention | Other | Odor reports around 227 Neptune Ave, Encinitas | Closed
20190404-2787 | SoCalGas | Public Attention | Other | Odor reports around 419 19th St, Huntington Beach | Closed
20190411-2788 | SDG&E | Media Coverage | Service line | Third-party excavation damage causing a release of gas | Closed
20190415-2789 | SDG&E | Media Coverage | Customer meter | Fire damaged a customer gas meter causing a release of gas | Closed
20190415-2790 | SoCalGas | Operator Judgement | Service line | Overpressure event on 0.75-inch steel service line | Open
20190415-2791 | SoWEST | Interruption | Other | SWG contractor was inserting pipe into newly installed sleeving when the wire holder was knocked into the bell hole, damaging service tee and causing release of gas | Open
20190417-2792 | SDG&E | Public Attention | Other | Odor reports around 1100 Camino De Las Ondas, Carlsbad | Closed
20190422-2793 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.75-inch steel service line causing a release of gas | Closed
20190423-2794 | SoCalGas | Public Attention | Other | Odor reports around 1240 S. Gage St, Los Angeles | Closed
20190425-2795 | SoCalGas | Public Attention | Other | Odor reports around 122 10th St, Huntington Beach | Closed
20190502-2796 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Open
20190506-2798 | SoCalGas | Media Coverage | Service line | Third-party excavation damage on a 6-inch plastic service line causing a release of gas | Closed
20190506-2799 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 3-inch plastic service line causing a release of gas | Open
20190507-2800 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Closed
20190508-2801 | PG&E | Media Coverage | Main | Third-party excavation damage on a 4-inch plastic main causing a release of gas | Closed
20190509-2802 | SDG&E | Media Coverage | Main | Third-party excavation damage on a 2-inch steel gas main causing a release of gas | Closed
20190511-2803 | SDG&E | Public Attention | Other | Odor reports around 735 Santa Clara Pl, San Diego | Closed
20190514-2804 | SoCalGas | Gas Loss > 3MMCF | Main | Third-party excavation damage on a 8-inch steel main causing a release of gas | Closed
20190513-2805 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 1-inch plastic service line causing a release of gas | Closed
20190515-2806 | SoCalGas | Public Attention | Other | Odor reports around 2845 Pellissier Pl, Industry | Closed
20190517-2807 | SoCalGas | Public Attention | Other | Odor reports around 19581 Grandview Cir, Huntington Beach | Closed
20190520-2808 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Open
20190521-2809 | SoCalGas | Inpatient Hospitalization | Other | Vehicle hit a gas meter resulting in injury to driver, who was sent to the hospital | Open
20190523-2810 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Closed
20190524-2811 | SoCalGas | Public Attention | Other | Odor reports around 926 Broadway, Santa Monica | Closed
20190524-2812 | SDG&E | Public Attention | Other | Odor reports around 2522 Horizon Way, La Jolla | Closed
20190529-2813 | SCE | Public Attention | Other | Odor reports around 218 Concord St, El Segundo | Closed
20190529-2814 | SoCalGas | Public Attention | Other | Odor reports around 8114 W 83rd St, Playa Del Rey | Closed
20190529-2815 | SDG&E | Public Attention | Other | Odor reports around 336 Andrew Ave, Encinitas | Closed
20190531-2816 | SoCalGas | Gas Loss > 3MMCF | Main | Third-party excavation damage on a 10-inch steel main causing a release of gas | Closed
20190605-2817 | SoCalGas | Media Coverage | Main | Crew performing routine leak survey found a small leak on 10-inch steel main | Closed
20190606-2818 | PG&E | Media Coverage | Service line | Third-party excavation damage on a 1-inch plastic service line causing a release of gas | Closed
20190607-2819 | SDG&E | Media Coverage | Main | Third-party excavation damage on a 2-inch plastic main causing a release of gas | Closed
20190610-2820 | SoCalGas | Public Attention | Other | Odor reports around 921 W 3rd St, Azusa | Closed
20190611-2821 | Alpine | Operator Judgement | Service line | Third-party excavation damage on a 0.75-inch plastic service line causing a release of gas | Closed
20190612-2822 | PG&E | Media Coverage | Main | Third-party excavation damage on a 4-inch plastic main causing a release of gas and evacuation | Closed
20190612-2823 | SDG&E | Public Attention | Other | Odor reports around 8121 Doe Point, San Diego | Closed
20190613-2824 | PG&E | Media Coverage | Transmission | Gas leak on a cased transmission main resulting in closure of operations of Altamont Commuter Express trains | Open
20190613-2825 | SoCalGas | Media Coverage | Service line | Third-party excavation damage on a 1-inch plastic service line causing a release of gas | Closed
20190613-2826 | SDG&E | Media Coverage | Main | Third-party excavation damage on a 1.25-inch plastic main causing a release of gas | Open
20190613-2827 | PG&E | Operator Judgement | Regulator | Overpressure event downstream of regulator on a meter-set assembly in Kerman | Open
20190614-2828 | SoCalGas | Public Attention | Other | Odor reports around 1150 N. Wilmington Blvd, Wilmington | Closed
20190617-2830 | SoCalGas | Media Coverage | Service line | Third-party excavation damage on a 2-inch plastic service line causing a release of gas | Closed
20190617-2834 | SoCalGas | Public Attention | Other | Odor reports around I-5 & I-110 Interchange, Glendale | Closed
20190617-2835 | SoWEST | Interruption | Service line | SWG contractor failed to hot-chang an active service on main being replaced, resulting in outage to 1 customer | Closed
20190624-2836 | SDG&E | Media Coverage | Main | Third-party excavation damage on a 2-inch plastic main causing a release of gas | Closed
20190621-2837 | SoCalGas | Media Coverage | Main | Third-party excavation damage on a 6-inch high pressure steel main causing a release of gas | Closed
20190624-2838 | SoCalGas | Public Attention | Other | Odor reports around 2939 Sandlewood St, Lakewood | Closed
20190625-2839 | SDG&E | Media Coverage | Service riser | Vehicle struck a 0.75-inch steel riser resulting in release of gas | Closed
20190625-2840 | SoCalGas | Public Attention | Other | Odor reports around 309 W. Avenida Valencia, San Clemente | Closed
20190626-2841 | SoCalGas | Public Attention | Other | Odor reports around 3631 Magnolia Ave, Lynwood | Open
20190701-2842 | SoCalGas | Damages | Customer meter | Fire around customer meter, melted regulator & meter-set assembly | Open
20190701-2843 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Open
20190703-2844 | SoCalGas | Media Coverage | Main | Third-party excavation damage on a 2-inch plastic main causing a release of gas | Open
20190702-2845 | SDG&E | Media Coverage | Service line | Vehicle struck a 0.75-inch steel riser resulting in release of gas | Open
20190704-2846 | SoCalGas | Public Attention | Other | Odor reports around 2861 Coast Cir, Huntington Beach | Open
20190705-2847 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Closed
20190705-2848 | SoCalGas | Public Attention | Other | Odor reports around 8122 Slater Ave, Huntington Beach | Closed
20190705-2849 | PG&E | Public Attention | Other | Earthquake near Ridgecrest, odor reports in area | Closed
20190708-2850 | SoWEST | Interruption | Main | 1-inch water service operating at 90 psi damaged a 2-inch plastic main causing a release of gas and outage for 16 customers | Closed
20190710-2851 | SDG&E | Media Coverage | Main | Third-party excavation damage on a 2-inch plastic main causing a release of gas | Closed
20190711-2852 | SoCalGas | Public Attention | Other | Odor reports around 1117 S. Mayo Ave, Compton | Open
20190712-2853 | SoCalGas | Media Coverage | Regulator | Structure fire resulting in damage to home, regulator, and meter-set assembly | Closed
20190713-2854 | SoCalGas | Media Coverage | Customer meter | Vehicle struck a customer meter-set, shearing it from the 0.75-inch steel riser, resulting in release of gas | Closed
20190713-2855 | SoCalGas | Public Attention | Other | Odor reports around 355 Concord St, El Segundo | Closed
20190715-2856 | SoCalGas | Public Attention | Other | Odor reports around 22516 Normandie Ave, Torrance | Closed
20190715-2857 | SoCalGas | Damages | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Closed
20190716-2858 | SoCalGas | Public Attention | Other | Odor reports around 1138 King Ave, Wilmington | Closed
20190717-2859 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.75-inch steel service line causing a release of gas | Closed
20190718-2860 | SoCalGas | Media Coverage | Customer meter | Structure fire resulting in damage to home and customer meter | Closed
20190719-2861 | SoCalGas | Public Attention | Other | Odor reports around 2313 Avondale Dr, Alhambra | Open
20190721-2862 | SDG&E | Damages | Customer meter | Structure fire resulting from gas leak on meter service valve | Closed
20190722-2863 | PG&E | Operator Judgement | Transmission | Overpressure event on a 4-inch & 6-inch steel section of transmission line. Incident report was rescinded by PG&E due to not meeting reporting criteria. | Closed
20190724-2864 | SoCalGas | Public Attention | Other | Odor reports around 219 Paseo de Gracia, Redondo Beach | Closed
20190724-2865 | SoCalGas | Public Attention | Other | Odor reports around 1816 E. Killen Pl, Compton | Open
20190726-2866 | SDG&E | Public Attention | Other | Odor reports around 3481 Garfield St, Carlsbad | Closed
20190727-2867 | SoCalGas | Public Attention | Other | Odor reports around 101 Sunridge St, Playa del Rey | Closed
20190727-2868 | SDG&E | Public Attention | Other | Odor reports around 876 Hollyhock Ct, Carlsbad | Open
20190728-2869 | SoCalGas | Public Attention | Other | Odor reports around 644 12th St, Manhattan Beach | Closed
20190728-2870 | SoCalGas | Media Coverage | Customer meter | Gas meter damaged by fallen tree causing a release of gas | Closed
20190730-2871 | SDG&E | Gas Loss > 3MMCF | Customer meter | Third-party forklift damage on a customer meter-set causing a release of gas | Open
20190730-2872 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.75-inch steel service line causing a release of gas | Open
20190730-2873 | SoCalGas | Public Attention | Other | Odor reports around 1325 Crestview Ave, Seal Beach | Closed
20190731-2874 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.75-inch steel service line causing a release of gas | Closed
20190803-2875 | SoCalGas | Media Coverage | Customer meter | Vehicle collision resulting in one vehicle shearing the gas riser from the service line, causing a release of gas | Open
20190807-2876 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a plastic service line causing a release of gas | Open
20190808-2877 | SoCalGas | Media Coverage | Main | Third-party excavation damage on a 3-inch plastic main causing a release of gas | Closed
20190808-2878 | SoWEST | Interruption | Main | Water main rupture caused a water jet to impact a 2-inch plastic main to leak gas, resulting in outage for 3 customers. Incident report rescinded by SWG due to not meeting reporting criteria. | Closed
20190810-2879 | SoCalGas | Public Attention | Other | Odor reports around 79090 Avenue 42, Indio | Closed
20190813-2880 | PG&E | Operator Judgement | Regulator | Overpressure event of large-volume customer GCUST24332 in Oro Grande | Open
20190813-2881 | SoCalGas | Public Attention | Other | Odor reports around 4859 W. 129th St, Hawthorne | Open
20190814-2882 | SoCalGas | Damages | Customer meter | Structure fire resulting in damage to home and customer service valve | Closed
20190814-2883 | SDG&E | Public Attention | Other | Odor reports around 205 La Mesa Ave, Encinitas | Closed
20190815-2884 | SDG&E | Public Attention | Other | Odor reports around 10806 Eberly Ct, San Diego | Open
20190816-2885 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Closed
20190817-2886 | SoCalGas | Public Attention | Other | Odor reports around 50375 Via Serenidad, La Quinta | Closed
20190820-2887 | SoCalGas | Media Coverage | Main | Third-party excavation damage on a 2-inch plastic main causing a release of gas | Open
20190822-2888 | SDG&E | Media Coverage | Main | Third-party excavation damage on a 4-inch steel main causing a release of gas | Closed
20190822-2889 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Open
20190825-2890 | SoCalGas | Media Coverage | Customer meter | Structure fire resulting in damage to home and customer meter-set assembly | Closed
20190825-2891 | SDG&E | Media Coverage | Customer meter | Vehicle struck a customer meter-set, shearing it from the 2-inch steel riser, resulting in release of gas | Closed
20190825-2892 | SoCalGas | Public Attention | Other | Odor reports around 53 16th St, Hermosa Beach | Open
20190827-2893 | SoWEST | Damages | Customer meter | Structure fire resulting in damage to home and gas meter causing a release of gas | Closed
20190829-2894 | SoCalGas | Public Attention | Other | Odor reports around 846 Island Ave, Wilmington | Open
20190831-2895 | SoCalGas | Media Coverage | Customer meter | Vehicle drove near a customer gas meter, causing a crack below the regulator resulting in release of gas | Closed
20190904-2896 | SDG&E | Media Coverage | Main | Third-party excavation damage on a 2-inch plastic main causing a release of gas | Closed
20190905-2897 | SoCalGas | Media Coverage | Main | Third-party excavation damage on a 2-inch plastic main causing a release of gas | Closed
20190909-2898 | SoCalGas | Media Coverage | Service riser | Structure fire resulting in damage to homes and service riser | Open
20190912-2899 | SDG&E | Media Coverage | Main | Third-party excavation damage on a 2-inch plastic main causing a release of gas | Open
20190913-2900 | SDG&E | Public Attention | Other | Odor reports around 201 Coast Blvd, La Jolla | Open
20190914-2901 | SDG&E | Public Attention | Other | Odor reports around 730 Verona St, San Diego | Closed
20190914-2902 | SoCalGas | Public Attention | Other | Odor reports around 17022 N. Pacific Ave, Sunset Beach | Closed
20190915-2903 | SoCalGas | Damages | Currently unknown | Structure fire resulting in damages exceeding $50,000 | Closed
20190915-2904 | SoCalGas | Damages | Customer meter | Structure fire resulting in damages exceeding $50,000 | Open
20190916-2905 | SDG&E | Media Coverage | Main | Third-party excavation damage on a 4-inch plastic main causing a release of gas | Closed
20190916-2906 | SoCalGas | Media Coverage | Service line | Third-party excavation damage on a 2-inch plastic service line causing a release of gas | Closed
20190916-2907 | SoCalGas | Media Coverage | Main | Third-party excavation damage on a 3-inch plastic main causing a release of gas | Open
20190918-2908 | PG&E | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Open
20190919-2909 | SoWEST | Interruption | Main | Unplanned shut-down of 2-inch plastic main following incomplete installation of completion plug within pressure control device. | Open
20190921-2911 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Closed
20190922-2912 | SoCalGas | Public Attention | Other | Odor reports around 32642 Adriatic Dr, Dana Point | Open
20190925-2913 | SoCalGas | Media Coverage | Customer meter | Structure fire resulting in damage to home and customer meter-set assembly | Closed
20190930-2914 | SoCalGas | Media Coverage | Service line | Third-party excavation damage on 0.75-inch steel service line causing a release of gas | Closed
20191002-2915 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Open
20191002-2916 | SDG&E | Media Coverage | Service line | Third-party excavation damage on 0.75-inch steel service stub causing a release of gas | Open
20191003-2917 | SoCalGas | Public Attention | Other | Odor reports around 7533 Kraft Ave, North Hollywood | Open
20191008-2918 | SoCalGas | Public Attention | Other | Odor reports around 4057 Aladdin Dr, Huntington Beach | Closed
20191010-2919 | SoCalGas | Public Attention | Other | Odor reports around 6132 Warner Ave, Huntington Beach | Closed
20191010-2920 | SoCalGas | Public Attention | Other | Odor reports around 24 Vista del Ponto, San Clemente | Open
20191011-2921 | SoCalGas | Media Coverage | Customer meter | Saddleridge Fire has resulted in damage to multiple residences, including home and meter-set assemblies | Open
20191011-2922 | SDG&E | Public Attention | Other | Odor reports around 992 Hymettus Ave, Encinitas | Open
20191015-2924 | SoCalGas | Media Coverage | Other | Fire on Aliso Canyon property. Investigation underway as to source of fire. | Open
20191015-2925 | SoCalGas | Public Attention | Other | Odor reports around 7861 Ellis Ave, Huntington Beach | Closed
20191016-2926 | SoCalGas | Public Attention | Other | Odor reports around 9321 Encina Ave, Santa Margarita | Closed
20191016-2927 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Closed
20191017-2928 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Open
20191018-2929 | SDG&E | Public Attention | Other | Odor reports around 4947 Coronado Ave, San Diego | Closed
20191020-2930 | SoCalGas | Public Attention | Other | Odor reports around 2134 East Nord Street, Compton | Open
20191021-2931 | SoWEST | Operator Judgement | Main | Overpressure of 2000ft of 2-inch & 4-inch plastic main. This incident was rescinded by SWG due to not meeting reporting criteria. | Open
20191024-2932 | SoCalGas | Media Coverage | Main | Third-party excavation damage on a 4-inch plastic main causing a release of gas | Open
20191025-2933 | SoCalGas | Public Attention | Other | Odor reports around 3207 W 134th Street, Hawthorne | Closed
20191028-2934 | SoCalGas | Gas Loss > 3MMCF | Customer meter | Trash can fire leading to damage to customer meterset. This incident was rescinded by SoCalGas due to not meeting reporting criteria. | Open
20191029-2936 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.75-inch steel service line causing a release of gas | Open
20191030-2937 | PG&E | Overpressure Event | Regulator | Overpressure condition event of high-pressure regulator station in Amboy | Open
20191031-2938 | SoCalGas | Media Coverage | Customer meter | Home collapsed atop 0.75-inch steel riser causing a release of gas during the Hillside wildfire in San Bernandino area | Open
20191103-2939 | Prop | Operator Judgement | Other | Propane vaporizer caught fire in Mammoth Lakes | Open
20191105-2940 | SoCalGas | Media Coverage | Customer meter | Structure fire resulting in damage to customer meter | Open
20191106-2941 | SoCalGas | Public Attention | Other | Odor reports around 24847 Carbon Ln, Valencia | Open
20191107-2942 | SDG&E | Media Coverage | Main | Third-party excavation damage on a 2-inch plastic main causing a release of gas | Open
20191107-2943 | SoCalGas | Public Attention | Other | Odor reports around 4536 Valley View Ave, Yorba Linda | Closed
20191108-2944 | SoCalGas | Public Attention | Other | Odor reports around 1325 South Pearl Ave, Compton | Open
20191108-2945 | SoCalGas | Media Coverage | Main | Third-party excavation damage on an unknown size & material gas main causing a release of gas | Open
20191110-2946 | SoCalGas | Public Attention | Other | Odor reports around 740 Linwood Dr, Santa Maria | Closed
20191111-2947 | SDG&E | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Open
20191111-2948 | SoCalGas | Damages | Main | Third-party excavation damage on a 4-inch steel main causing a release of gas | Open
20191113-2949 | SDG&E | Public Attention | Other | Odor reports around 4998 Old Cliffs Rd, San Diego | Open
20191113-2950 | SoCalGas | Media Coverage | Main | Third-party excavation damage on a 2-inch steel main causing a release of gas | Open
20191118-2951 | SoCalGas | Overpressure Event | Regulator | Overpressure event downstream of regulator on a meter-set assembly in Rialto | Open
20191120-2952 | PG&E | Overpressure Event | Regulator | Overpressure event at ERX SCADA point in Hollister | Open
20191121-2953 | SoCalGas | Public Attention | Other | Odor reports around 2033 S. Crescent Ave, San Pedro | Open
20191121-2954 | SoCalGas | Damages | Main | Water intrusion found in gas main & service lines near 1801 Ocean Park Blvd, Santa Monica | Open
20191122-2955 | PG&E | Overpressure Event | Customer meter | Overpressure event on customer meter-set assembly in Huron | Open
20191126-2956 | SDG&E | Media Coverage | Main | Third-party excavation damage on a 3-inch plastic main causing a release of gas | Open
20191128-2957 | SoCalGas | Interruption | Service line | Outage reports around 3723 Cody Rd, Sherman Oaks | Open
20191202-2958 | SoCalGas | Public Attention | Other | Odor reports around 4842 Oceanridge Dr, Huntington Beach | Open
20191203-2959 | SoCalGas | Media Coverage | Service line | Third-party excavation damage on a 0.5-inch plastic service line causing a release of gas | Open
20191205-2960 | PG&E | Overpressure Event | Regulator | Overpressure event on regulator station supplying large volume customer in Lodi | Open
20191210-2961 | SDG&E | Public Attention | Other | Odor reports around 1255 Imperial Ave, San Diego | Open
20191217-2962 | SoCalGas | Public Attention | Other | Odor reports around 2337 N Concord Ave, Reedley | Open
20191218-2963 | SDG&E | Media Coverage | Main | Third-party excavation damage on a 2-inch plastic main causing a release of gas | Open
20191221-2964 | SoCalGas | Public Attention | Other | Odor reports around 3822 Florence Ave, Bell Gardens | Open
20191222-2965 | SoCalGas | Media Coverage | Service riser | High winds toppled a tree atop a 0.5-inch steel riser causing a release of gas | Open
20191224-2966 | SDG&E | Media Coverage | Service riser | Vehicle struck a 0.75-inch steel riser resulting in release of gas | Open
20191227-2967 | SoCalGas | Public Attention | Other | Odor reports around 4218 East 60th St, Huntington Park | Open
20191231-2968 | SoCalGas | Media Coverage | Customer meter | Vehicle struck a meter regulator resulting in release of gas | Open