## 2022
ELECTRIC INCIDENTS OPEN AS OF 1-1-2022 AND INCIDENTS REPORTED IN 2022 - UPDATED 12-31-2022
ELECTRIC INCIDENTS (In Compliance with Public Utilities Code Section 911)
Incident number: This number reflects the year, month, day, and the sequence in which the incident was reported or occurred.
Incident number | Facility owner | Reason for investigation | Facility type involved | Brief description of incident | OPEN or CLOSED
20170821-01 | SCE | Fatality | 12 kV overhead conductor | An underground cable failed, causing a splice to fail and a conductor on a 12 kV distribution circuit to come down in the rear of a home in Huntington Beach. A resident there contacted the line and was fatally electrocuted. | Closed
20180118-01 | SCE | Fatality | 115kv overhead conductor | A contractor suffered an induced current electric shock while transferring conductors from an existing tower to a newly installed steel pole. | Open
20180606-03 | SCE | Injury | Down guy | An apprentice lineman suffered an injury while installing a down guy on a pole on a 115kV transmission line in Daggett, CA. | Closed
20180704-01 | SCE | Injury | 12 kV overhead conductors | A mylar balloon contacted overhead conductors causing a brush fire. Conductor also fell on and energized a chain-link fence, which resulted in an electrical injury to a member of the public. | Open
20180710-01 | SCE | Injury | Employee | A worker experienced a cardiac event while working on SCE facilities. It is unknown if the event was the result of an accident or a medical condition. | Open
20180927-01 | SCE | Injury | Overhead conductor | Two SCE contractor workers suffered arc flash injuries while performing voltage tests on an overhead conductor. | Closed
20181114-01 | SCE | Injury | 12 kV overhead conductor | A member of the public made contact with an overhead conductor while installing rain gutters, resulting in electrical related injuries. | Open
20190105-01 | SCE | Injury | Primary cable | A man sustained burn injuries while cutting into an energized primary cable with a reciprocating saw. | Open
20190318-01 | SCE | Injury | Substation | An apprentice substation electrician suffered injuries to both hands while performing maintenance work on supposedly de-energized equipment. | Open
20190531-02 | PG&E | Operator Judgement | Transmission Towers | PG&E has decided to replace 10 old towers and repair an additional 12 towers to reinforce the Ignacio-Alto-Sausalito double circuit transmission lines. | Closed
20190621-01 | SDG&E | Injury | 12 kV overhead conductor | An employee working for Mediacom accidentally made contact with an overhead SDG&E conductor and suffered second degree burns as a result. | Open
20190722-01 | SCE | Injury | 4 kV overhead conductors | A private tree trimmer contacted overhead conductors while elevated on a boom truck. He sustained burn injuries and was transported to Cottage Hospital. | Open
20190802-01 | SCE | Media Coverage | Substation | A fire occurred at Cabrillo Substation that resulted in a large power outage that affected the John Wayne Airport in Orange County. | Closed
20191011-01 | SCE | Media Coverage | Transmission Circuit | A transmission circuit relayed around the same time and location that the Saddleridge Fire began. | Open
20191024-01 | PG&E | Media Coverage | 230 kV circuit | A transmission circuit relayed and did not reclose. CalFIRE taped off the area and reported a broken jumper wire on a transmission tower. | Open
20191025-02 | SCE | Media Coverage | 16 kV circuits | A fire occurred in Rosemead around the same time two local circuits experienced an interruption. | Open
20191030-04 | SCE | Media Coverage | 16 kV circuit | An SCE distribution circuit in Calabasas relayed around the same time a fire was reported in the same area. | Open
20191030-05 | SCE | Media Coverage | 66 kV circuit | "Circuit activity" occurred around the same time that the large "Easy Fire" started. | Closed
20191101-01 | PG&E | Property Damage | 12 kV circuit | Someone filed a claim on October 24 against PG&E for alleged damage caused by a fire allegedly started by PG&E facilities. | Open
20200109-01 | SCE | Property Damage | Transformer | A transformer failed, resulting in a pole fire which damaged overhead conductors and nearby properties. | Open
20200113-01 | PG&E | Fatalities | Unknown | Two teenagers lost their lives rescuing a dog from a canal in Dixon. The boys attempted to exit the river via a metal foot bridge that was somehow energized. Both boys died as a result of their injuries. The bridge may have been energized by defective PG&E facilities. | Open
20200415-01 | SCE | Injury | Crossarm | An employee of Henkles & McCoy (a contractor working for SCE) suffered mechanical injuries when a crossarm fell off a steel utility pole and pinned him against the pole. His injuries were not electrical in nature. | Open
20200430-01 | SCE | Injury | Vault | A man suffered burn injuries when he cut into a 12 kV conductor located in an above-ground vault. SCE speculates that he was attempting to harvest materials for his recycling enterprise. | Open
20200506-01 | SCE | Injury | 16 kV underground conductor | A contractor damaged an underground 16 kV conductor with his jack hammer. Paramedics transported him to a nearby hospital for examination, but it appears he was not actually injured as a result of the incident. | Open
20200507-03 | SCE | Operator Judgement | 16 kV overhead conductor | A fallen utility pole resulted in a brush fire that burned approximately 200 acres in Ventura County. | Open
20200527-02 | SDG&E | Power Outage | Substation Equipment | A mylar balloon made contact with substation equipment and caused a power outage that affected about 9,000 customers. | Open
20200602-01 | PG&E | Fatalities | Transmission tower | A helicopter under contract by PG&E made contact with a transmission tower in Solano County. The accident resulted in a power outage that affected approximately 33,000 customers, a 5-acre brush fire, and the death of the helicopter pilot and two passengers. The incident also attracted a significant amount of media attention. | Closed
20200614-01 | PG&E | Media Coverage | 12 kV overhead circuit | A wire down may have ignited a brush fire in Lompoc. The fallen wire also resulted in a power outage affecting 346 customers. | Closed
20200702-01 | SCE | Injury | 16 kV overhead conductor | An unidentified individual at a construction site suffered injuries when he made contact with energized overhead conductors with a metal object he was holding. | Open
20200706-02 | SCE | Operator Judgement | Secondary overhead conductors | A fire burned approximately five acres of brush near Santa Clarita. No structures were damaged and no injuries reported, but the fire allegedly started in the vicinity of an SCE pole that supported secondary conductors. | Closed
20200722-01 | SCE | Fatality | 4 kV overhead conductors | A contractor employee suffered burn injuries when he made contact with an energized 4 kV conductor while performing a pole replacement. He later succumbed to his injuries. | Open
20200728-02 | SCE | Injury | 12 kV circuit | A contractor employee suffered injuries to his pelvis when he fell approximately 40 feet from an elevated work platform. | Open
20200803-01 | PG&E | Injury | 12 kV overhead circuit | A tree trimmer sustained injuries when he or one of his tools made contact with a 12 kV overhead conductor on July 30, 2020. | Closed
20200807-01 | SCE | Injury | Pulley | A falling pulley injured a contractor working on behalf of SCE in Santa Barbara. | Open
20200831-01 | SCE | Property Damage | Utility Pole | A utility pole broke between the primary and secondary levels on February 16, 2019, resulting in a phase-to-phase contact between the primary and secondary circuits. SCE received a subrogation claim from one of the properties affected in excess of $50,000. | Closed
20200906-01 | SDG&E | Media Coverage | Fire | The Valley Fire burned over 16,000 acres and destroyed at least 61 structures. The cause of the fire is unknown. | Open
20200909-02 | SDG&E | Injury | 12 kV overhead conductor | A non-utility worker was injured when a metal pole he was holding made contact with an energized overhead primary conductor at a construction site. | Closed
20200915-03 | SCE | Operator Judgement | Overhead circuit | The US Forest Service requested that SCE remove a section of overhead conductors in the vicinity of the ignition site of the Bobcat Fire. A relay also occurred on the circuit around the same time the fire began. | Closed
20200916-01 | SDG&E | Fatality | Unknown | An SDG&E contract worker died while inspecting electrical equipment. No witnesses were present when the incident occurred, and his body was discovered a significant distance away from all energized electrical equipment. It is unknown whether his death was caused by SDG&E equipment or natural causes. | Open
20201009-01 | PG&E | Fatalities | 12 kV circuit | On September 27, 2020, a wildfire began in Shasta County. This fire, which came to be known as The Zogg Fire, has consumed at least 56,338 acres and resuted in four fatalities and one injury. At least 27 structures have been damaged and 204 structures have been destroyed. Unusual circuit activity was detected in the area around the time the fire started, and CalFIRE has removed some PG&E equipment from the area for evidence. | Open
20201013-01 | PG&E | Property Damage | Unknown | On October 13, 2020, PG&E received a claim from a customer in Livermore alleging that PG&E facilities started a fire that damaged fencing on their property. Other customers in the area have also made claims related to the same fire, and the total sum of those claims exceeds $50,000. | Closed
20201026-01 | SCE | Injury | 12 kV overhead circuit | SCE overhead distribution and communications facilities may have been involved in the ignition of the Silverado Fire in Orange County. The fire burned over 13,000 acres, destroyed three structures, and damaged five others. Two firemen sustained serious burns during their containment efforts. | Open
20201028-01 | SCE | Injury | 220 kV overead circuit | Two contractor linemen sustained minor electrical burns while attempting to remove a grounding device from a newly-installed transmission conductor in Piru. | Open
20201116-01 | PG&E | Property Damage | 12 kV overhead conductors | On November 16, 2020, PG&E reviewed a claim from a law firm representing a customer's insurance company. The notification alleges that on October 26, 2020 at approximately 0720 hours, downed PG&E conductors caused a fire at a residence in Hayward. | Closed
20201117-01 | LU | Property Damage | Primary circuit | A fire damaged electrical distribution facilities, and the damage may exceed $50,000. Liberty opted to de-energize part of their service area in response to the fire. | Open
20201202-02 | PG&E | Property Damage | Service drop | On December 2, 2020, PG&E received a notice of a potential claim for property damage exceeding $50,000 for a structure fire that took place on November 23, 2020 in Salinas. The responding PG&E troubleman arrived on-scene and observed a structure fire and a downed service drop. As the troubleman was winding up the service drop, he observed that the neutral was broken. | Closed
20201202-03 | PG&E | Injury | Overhead transmission circuit | A PG&E employee was performing planned grounding work on the Poe-Rio Oso 230 kV overhead transmission line in Oroville when he made contact with the ungrounded end of a ground jumper. This resulted in burn injuries to both hands. | Closed
20201203-01 | SCE | Media Coverage | Overhead conductors | On December 3, 2020 around 2:05 a.m., a fire was reported in Nuevo in Riverside County. The Cerritos Fire went on to burn approximately 200 acres. Downed SCE conductors under a fallen tree were reported in the burn area. | Closed
20201204-01 | PG&E | Property Damage | Transformer | On December 4, 2020, PG&E received a property damage claim exceeding $50,000 from an overhead transformer leak in Richmond that occurred on December 1, 2020. The claim alleges damages to a customer's parked vehicles, landscaping, and driveway. | Closed
20201204-02 | SDG&E | Media Coverage | Utility pole | An SDG&E utility pole fractured near its base and fell into vegetation in San Marcos. It is believed a fuse on the top of the fallen pole sparked, igniting the brush around it. The ensuing fire burned approximately two to three acres. No property damage, injuries, or deaths resulted from the incident. | Closed
20201204-03 | PG&E | Property Damage | Distribution circuit | On December 4, 2020 PG&E reviewed a property damage claim in excess of $50,000 relating to an outage that occurred at a campground on February 26, 2019 near Lake Almanor just east of Chester. The claim alleges that snow-loading involving PG&E equipment resulted in damage to the campground's facilities. | Closed
20201207-01 | SDG&E | Injury | 12 kV overhead conductors | A contractor working on a scaffolding made contact with a 12 kV line with an unknown object in Carlsbad. The injured party was taken to UCSD burn center. | Closed
20201212-01 | SCE | Injury | 500 kV transmission circuit | An employee of SCE contractor American Power sustained an injury to his hand when he made contact with a de-energized portion of the El Dorado-Mojave 500kV transmission circuit. The injured party was air lifted from the scene to an unidentified hospital in Las Vegas, NV. | Open
20201220-01 | PG&E | Injury | 12 kV overhead conductors | A PG&E employee received an electric shock while working near overhead conductors from an elevated work platform on December 10, 2020. The employee was transported to a nearby hospital and required overnight hospitalization. | Closed
20201226-01 | SCE | Injury | 16 kV overhead conductors | An individual sustained injuries when they contacted an overhead 16 kV conductor with a telescoping metal pole in Manhattan Beach. The individual was attempting to wash the second-floor windows of their home from the rooftop when the accident occurred. | Open
20210105-01 | PG&E | Property Damage | Unknown | On January 5, 2021, PG&E received a property damage claim exceeding $50,000 for a fire that resulted in damage to an attic. The claim alleges that PG&E equipment caused a structure fire in Anderson on May 27, 2018. | Closed
20210112-01 | PG&E | Property Damage | Unknown | On January 12, 2021, PG&E reviewed a property damage claim exceeding $50,000, alleging that PG&E caused a structure fire in Orland on May 25, 2017. | Closed
20210114-01 | SCE | Injury | Transmission circuit | An SCE apprentice lineman sustained electrical contact injuries while attaching grounding devices on a de-energized section of the Mira Loma-Vincent 500kV transmission circuit. It is believed that induction was involved in this incident. | Open
20210120-02 | PG&E | Media Attention | Overhead conductors | On January 19, 2021, PG&E observed wires down near Freedom Blvd, north of Pleasant Valley Road in Aptos. The wires down were in the area of the Freedom Fire which started earlier in the day. PG&E later became aware that CAL FIRE was investigating the wires down as a potential origin of the Freedom Fire. PG&E is not aware of any injuries, fatalities, or property damage exceeding $50,000 related to the Freedom Fire. | Open
20210120-03 | PG&E | Media Attention | Overhead conductors | On January 18, 2021, PG&E observed wires down in the city of Geyserville. The wire down was in the area of the Old Fire. PG&E became aware that CAL FIRE was investigating the wires down in relation to the Old Fire when CAL FIRE investigators requested PG&E's assistance in collecting portions of the downed wires as evidence. CAL FIRE collected the wires on January 20, 2021. PG&E is not aware of any injuries, fatalities, or property damage exceeding $50,000 related to the Old Fire. | Closed
20210124-01 | PG&E | Fatality | Overhead conductors | A driver was fatally electrocuted after crashing his car into a utility pole in Fresno.The vehicle involved left the road and struck a power pole, knocking it over, and bringing the attached power lines down to approximately 4 feet above the ground. According to witnesses, the driver made contact with the conductors after exiting the crashed vehicle. | Closed
20210126-01 | PG&E | Property Damage | Unknown | On January 26th, 2020, PG&E received a property damage claim exceeding $50,000 alleging that PG&E equipment caused damage to a house. This damage allegedly occurred in the city of Stockton on June 30, 2020. | Open
20210201-01 | PG&E | Property Damage | Substation transformer | A transformer failed at Batavia Substation, leading to a power outage that affected two customers. The cost to replace the failed transformer is estimated to exceed $50,000. | Closed
20210217-01 | PG&E | Property Damage | Substation Equipment | A fire at Vaca Dixon Substation caused damage to substation equipment exceeding $50,000. The fire was completely containe within the substation and no other property or facilities were affected by it. | Closed
20210221-01 | SCE | Property Damage | Overhead conductors | A mylar balloon made contact with SCE overhead conductors in Long Beach. This resulted in a fire that damaged some nearby residential structures and property. The total damage from the fire is believed to exceed $50,000. | Open
20210222-01 | PG&E | Property Damage | Unknown | On February 22, 2021, PG&E received a claim exceeding $50,000 from a third party insurance company alleging PG&E electrical facilities caused a structure fire on January 9, 2021 in San Francisco. | Closed
20210228-01 | SCE | Media Attention | Unknown | A fire named the Knolls Fire started at approximately 4:20 AM on February 28, 2021. The fire was extinguished and ultimately burned about 5 acres. There were no structures damaged or injuries reported. There was activity on the Serra 16kV circuit around the time of the fire. | Open
20210308-01 | PG&E | Property Damage | Overhead distribution circuit | On March 8, 2021 PG&E received a property damage claim from a third-party insurance company alleging PG&E equipment caused a garage fire which also caused damage to the attached house. This occurred on February 27, 2021 in Lakeport. | Closed
20210312-01 | SCE | Injury | Overhead transmission circuit | An SCE employee sustained burns to the upper part of his body when an arc flash occurred while opening jumpers on a primary circuit. | Open
20210322-01 | PG&E | Property Damage | Overhead conductor | PG&E responded to a report of a structure fire in Fairfield. At the location, PG&E observed a wire down in the area of the fire ,and saw that the fire had caused extensive damage to the house. | Closed
20210325-01 | PG&E | Property Damage | Transformers and other underground facilities | On March 22, 2021, there was an explosion and fire in a PG&E maintenance hole in San Francisco. On March 25, 2021, PG&E claims was notified that three transformers, one interrupter, and supporting equipment will need to be replaced as a result of the explosion and fire. These equipment replacements are expected to exceed $50,000. | Closed
20210329-01 | PG&E | Property Damage | Transformer | On January 19th, 2021, a transformer failed and sprayed oil over two residential properties and resulting in an outage affecting 17 customers. On March 29th, 2021, it was determined that the threshold for property damage exceeding $50,000 had been reached based on customer claims. | Closed
20210331-01 | SCE | Property Damage | Unknown | SCE received a subrogation claim alleging that SCE facilities were responsible for starting a structure fire in Pico Rivera. | Closed
20210502-02 | SCE | Media Attention | Overhead conductors | A brush fire known as the Delta Fire occurred west of Lancaster in Los Angeles County. The fire had consumed approximately 100 acres of grass and brush at the time of SCE's initial report, and no damage to property nor injuries to people had been reported at that time. SCE information reflects circuit activity occurred prior to the report time of the fire. Additionally, a witness reported observing what was described as arcing power lines in the area where the fire was first reported. However, there are no reports of any downed conductors in the subject area. | Closed
20210502-03 | SCE | Injury | Utility pole | An SCE Journeyman Lineman was working on a pole preparing to operate a pole switch when he fell approximately 6 feet to the ground. There is no indication the injuries were electrical in nature, but were attributed to the fall. He was transported from the scene to Pomona Valley Hospital Medical Center. | Closed
20210517-01 | PG&E | Property Damage | Distribution circuit | On May 17, 2021, PG&E received a property damage claim for $81,000 alleging that PG&E equipment caused a fire resulting in damage to an air conditioner, sewer pump, 2 vehicles, and landscaping on September 9, 2020 in Murphys. The claim alleges that the damage occurred when power was restored after a PSPS event on that day. | Closed
20210523-01 | PG&E | Injury | Primary metering cabinet | A woman was found face-down, head-first inside a primary metering cabinet in Sunnyvale. The woman presented with severe burns to her back. She managed to remove herself from the cabinet, and then an ambulance transported her to a nearby hospital. | Closed
20210524-01 | PG&E | Property Damage | Neutral wire | On May 7, 2021, PG&E received notice of a third party subrogation claim alleging that, on September 9, 2020, a broken PG&E neutral led to voltage imbalances resulting in a fire in San Jose. The damage is expected to exceed $50,000. | Closed
20210524-02 | PG&E | Property Damage | Secondary overhead conductors | Fallen secondary wires may have lead to a structure fire in Healdsburg. The damage to the property is estimated to exceed $50,000. | Closed
20210602-01 | PG&E | Property Damage | Substation/Switchyard Equipment | On May 31, 2021, a transformer bank failed at Placer Substation in Auburn. This resulted in a power outage that affected approximately 6,000 customers. The cost to replace the transformer bank is expected to exceed $50,000. | Closed
20210609-01 | LU | Property Damage | Overhead circuit | A tree fell on overhead power lines near Meeks Bay, leading to wires down and a small fire. No structures were damaged as a result of the fire, but damage to utility facilities is estimated to exceed $50,000. | Closed
20210610-01 | PG&E | Property Damage | Utility pole and transformer | On May 15, 2021 a pole fire occurred in Burlingame. The responding troubleman observed a burnt pole and a fallen transformer. PG&E received a claim on May 19, 2021 related to damage from the fallen transformer. On June 10, 2021 PG&E received an additional claim that would bring the value of the total damage from the incident to more than $50,000. | Closed
20210611-01 | PG&E | Property Damage | Transformer | A pole-mounted transformer sparked and ignited a brush fire in Watsonville. The fire went on to damage approximately 500 ornamental eucalyptus trees. The damage to the trees is estimated to exceed $50,000. | Closed
20210617-01 | SDG&E | Injury | 4 kV underground conductor | A San Diego Water Department employee sustained burns when he made contact with and underground conductor with a digging bar. | Open
20210622-01 | PG&E | Property Damage | Overhead distribution circuit | On June 22, 2021, PG&E received a property damage claim for a fire that allegedly occurred Los Olivos on June 6, 2021. The notice alleges that PG&E equipment may be responsible for the cause of the fire. The property damage value is estimated to exceed $50,000. | Closed
20210624-01 | SCE | Fatality | Transmission tower | SCE staff discovered a dead body at the base of a transmission tower while performing a patrol inspection near Crestline in the San Bernardino Mountains. The body was found with a noose around its neck, and the opposite end of the rope tied to the lowest member of the transmission tower, about six feet off the ground. The body was found in a kneeling position on the ground, and the deceased's vehicle was parked nearby. | Open
20210705-01 | PG&E | Media Attention | Overhead conductors | PG&E facilities may be implicated in the "Blue Fire" that burned over 400 acres of forest northeast of Fresno. The USFS requested PG&E for assistance in collecting some PG&E equipment for evidence, including some conductors and crossarms. PG&E staff responded and observed a tree that had apparently fallen into PG&E conductors, causing them to fall to the ground. | Closed
20210708-01 | PG&E | Injury | Vault lid | PG&E became aware of an inpatient hospitalization of a third party individual who tripped and fell on a metal vault lid located on the sidewalk in Cotati. The injury occurred on October 14, 2019. | Closed
20210711-01 | PG&E | Property Damage | Transformer | An underground transformer exploded and caught fire in Vacaville. This resulted in a sustained outage that affected 959 customers. Two nearby vehicles also caught on fire, and two additional vehicles sustained transformer oil splatter. The total combined damages are expected to exceed $50,000. | Closed
20210715-01 | SCE | Fatality and Injuries | Overhead primary conductors | Three third-party contractor workers were working on the top of a multi-story building in Los Angeles when one of them made contact with an SCE overhead primary conductor through a piece of rebar he was holding. One of the workers died on the scene, and the other two sustained injuries requiring inpatient hospitalization. | Closed
20210718-01 | PG&E | Property Damage | 12 kV overhead conductors | A tree made contact with overhead power lines on July 13, 2021, resulting in a brush fire that burned at least 19,000 acres. The fire came to be known as the Dixie Fire. The incident was reported under the property damage criterion, although no property damage had been reported as of July 18. | Open
20210726-01 | PG&E | Media Attention | Underground equipment | An unspecified underground equipment failure lead to a fault followed by a power outage that affected approximately 4200 cutomers. | Closed
20210726-02 | PG&E | Fatality | Overhead primary conductors | On June 5th, 2021, a third-party vehicle traveling on Highway 166 crashed into a PG&E pole. The driver then made physical contact with a primary overhead conductor and sustained injuries. The driver was taken by ambulance to a local hospital for treatment, but passed away 12 days after the incident. | Closed
20210727-01 | SCE | Injury | Vault | An employee of Diversified Utility Services, Inc., a contractor engaged in an underground cable replacement project on behalf of Southern California Edison Company, was in a vault when a flash occurred. The injured worker was transported to Arrowhead Regional Medical Center for treatment of 2nd degree burns to both forearms and hands. | Closed
20210802-01 | PG&E | Media Attention | Overhead conductors | On July 22, 2021, a wildfire began in the area of Butterfly Valley Twain Road and Highway 70 in Plumas County, California (the Fly Fire). As of July 25, 2021, the Fly Fire had consumed 4,300 acres. Unusual circuit activity was detected in proximity to the fire's origin point, and a tree was discovered in contact with PG&E overhead conductors. | Open
20210803-01 | PG&E | Media Attention | Distribution circuit | A power outage occurred on August 1, 2021 due to vegetation contact. The outage affected approximately 3572 customers and attracted significant media attention. | Closed
20210805-01 | PG&E | Media Attention | Distribution circuit | Two power outages occurred in Soledad, affecting approximately 3,500 customers and resulting in significant media attention. One of the power outages was caused by a pole fire, and the other by an unspecified overhead equipment failure. | Closed
20210805-02 | PG&E | Media Attention | Distribution circuit | Three separate power outages occurred in Santa Cruz County on August 4 and 5. Two outages have been attributed to vegetation contact with overhead conductors, but the cause of the third is unknown. The outages collectively affected approximately 8,000 PG&E customers and raised significant media attention. | Closed
20210809-02 | SDG&E | Media Attention | 12 kV overhead conductors | A mylar balloon made contact with 12 kV overhead conductors, causing a grass fire and a power outage that affected about 554 customers. The fire consumed approximately one-quarter acre of brush and attracted significant media attention. | Open
20210812-01 | SCE | Injury | Padmounted transformer | An unidentified individual sustained injuries while vandalizing a padmounted transformer. The nature and extent of the injuries are unknown. | Closed
20210816-01 | SCE | Injury | Utility pole | An employee of Par Electrical Contractors, Inc., a contractor working on behalf of SCE, was on a wood utility pole when he fell to the ground. The employee sustained a head laceration and a leg injury as a result of the fall. There was no indication the incident involved any contact with electrical facilities. | Open
20210817-01 | SCE | Injury | Overhead circuit | An employee of City Light & Power, a contractor working on behalf of SCE, was working in an elevated position when a flash occurred. The individual was transported to hospital but released the same day. | Closed
20210819-01 | PG&E | Property Damage | Distribution circuit | PG&E received claims exceeding $50,000 for damages allegedly resulting from a July 8, 2021 power outage. | Closed
20210823-02 | PG&E | Property Damage | Substation Equipment | An equipment malfunction at Table Mountain Substation lead to damage exceeding $50,000 to PG&E equipment. | Closed
20210825-01 | PG&E | Property Damage | Service drop | A PG&E contractor was installing a new pole and service line on PG&E's Girvan 1101 12kV Distribution Circuit Redding when the crew observed sparks that lead to a fire. The fire grew to approximately 9.2 acres and was eventually extinguished by CalFire. The fire damaged a detached garage to a residence, a contractor pickup truck, PG&E poles, and some of the contractor's equipment. Damages are anticipated to exceed $50,000. | Open
20210831-01 | PG&E | Injury | Overhead conductor | A third-party plumbing contractor moving copper pipe in San Francisco inadvertently made contact between the pipe and an overhead primary conductor. The contractor sustained injuries and was transported by ambulance to hospital. | Closed
20210831-02 | PG&E | Property Damage | 12 kV circuit | On August 31, 2021, PG&E received a property damage claim which exceeds $50,000. The claimant alleged that PG&E equipment caused and/or contributed to property damage and other losses that they occurred on May 28, 2021. The unspecified incident occurred in Soledad. | Closed
20210923-01 | PG&E | Injury | Underground conductors | On September 09, 2021 at approximately 1146 hours, a third-party construction crew was replacing a sewage line to a residence. While excavating, the construction crew struck an underground secondary electrical cable with their equipment. One of the construction crew members reported he received an electrical shock from the secondary cable and was subsequently transported to the hospital for treatment and admitted overnight. | Closed
20210927-01 | PG&E | Property Damage | Transformer | On Thursday September 2, 2021 at 1627 hours, the Clayton 12kV overhead primary circuit experienced an outage affecting 182 customers. The outage was caused by a pole mounted transformer that failed. Oil and debris from the failed transformer caused property damage to two residences. | Closed
20210927-02 | PG&E | Property Damage | Circuit breaker | On Saturday September 25, 2021 at 0615 hours, the Daly City Substation sustained an outage affecting 34,059 customers. The outage was caused by a failed 12kV Circuit Breaker. This incident resulted in property damage exceeding $50,000 to PG&E equipment. | Closed
20210929-01 | PG&E | Property Damage | Distribution circuit | A fire started inside a residence in Anderson. The residence is serviced by the Jessup 12kV overhead primary circuit. The fire is anticipated to result in over $50,000 in property damage and the property owner is alleging PG&E is attributable for the fire. | Closed
20211006-01 | PG&E | Property Damage | Unknown | A power outage occurred in San Jose that affected appoximately 180 customers on October 4, 2021. On October 6, PG&E received a claim from one of the customers alleging that the outage had resulted in damage to their goods and property exceeding $50,000. | Closed
20211007-01 | PG&E | Property Damage | Transformer | A transformer failure resulted in a power outage affecting 12 customers on September 24, 2021 in Oakland. Oil from the transformer resulted in damage to a customer's property in excess of $50,000. | Closed
20211011-01 | SCE | Property Damage | Service drop | SCE received a subrogation claim from a customer's insurance carrier for an amount in excess of $50,000. The claim alleges that SCE facilities caused a fire at the customer's property on August 26, 2021. SCE speculates that a compromised secondary neutral conductor may have been responsible. | Open
20211013-01 | SCE | Fatality | Substation Equipment | An unidentified individual accessed Savage Substation and subsequently contacted energized equipment resulting in fatal injuries. | Closed
20211018-01 | SDG&E | Injury | Theft/Vandalism | A female transient pried open a fuse cabinet in Escondido and sustained burns from the energized components within. | Open
20211019-01 | PG&E | Injury | Overhead Primary conductor | On January 13, 2020 a citizen allegedly came into contact with a 21 kV overhead primary conductor while cleaning solar panels on the roof of a residential building. The citizen reported he contacted the conductor with a carbon fiber pole he was using to clean the solar panels. | Closed
20211025-01 | PG&E | Property Damage | Transformer | The Woodacre Substation in San Geronimo (Marin County) experienced an outage affecting 4,248 customers. The outage was due to a transformer failure which resulted in over $50,000 in property damage to PG&E assets. | Closed
20211026-01 | PG&E | Property Damage | Neutral wire | On October 09, 2021 at approximately 10:15 AM, a customer reported hearing a pop and that electrical equipment inside their home caught fire. A PG&E troubleman was dispatched and observed a broken neutral on the conductor at this location. PG&E received a claim on October 12, 2021 alleging property damage from the fire and an updated claim on October 25, 2021 alleging the property damage exceeded $50,000. | Closed
20211028-01 | SCE | Injury | Overhead primary conductor | An unidentified third-party individual threw an object, possibly on a tether, into an energized primary conductor, resulting in an electrical shock for the individual. The injured party was transferred to Harbor UCLA Medical Center in Carson. | Closed
20211029-01 | PG&E | Property Damage | Transformer | On October 27, 2021 at approximately 4:10 PM, a transformer in Pleasant Hill exploded and released mineral oil onto the landscape and hardscape of a residence there. On October 29, PG&E received a claim from the property owner alleging that the oil caused over $50,000 in damage to their property. | Closed
20211104-01 | SCE | Property Damage | Overhead conductors | Third-party tree trimmers caused a branch to fall on the crossarm of a utility pole which supported conductors of three separate circuits, breaking the crossarm and causing faults and power outages on all three circuits. SCE subsequently received claims from customers supplied by the Deegan 12kV alleging appliance and electronic damage. It is anticipated that the claimed property damages will exceed $50,000 although the threshold has not been met as of the date of this report. | Closed
20211107-01 | SCE | Fatality | Padmounted transformer | An unidentified male individual sustained fatal injuries as the result of an electrical contact during an apparent act of vandalizing a padmounted transformer. | Closed
20211110-01 | PG&E | Property Damage | Distribution circuit | On November 9, 2021 PG&E Law Claims received a notice of claim alleging PG&E facilities were responsible for an October 24, 2021 structure fire. Damage is estimated to exceed $50,000. | Closed
20211111-01 | SCE | Media Attention | Overhead primary conductors | On Thursday, November 11, 2021 a wildfire was reported on Catalina Island. The fire burned 17 acres of brush and resulted in no injuries, fatalities, or property damage. Responding fire authorities subsequently reported to SCE that they believe the ignition of the fire was caused by birds contacting SCE overhead primary facilities. | Open
20211117-01 | PG&E | Property Damage | Substation transformer | An animal damaged a transformer at Anderson Substation, resulting in outages on several circuits and affected approximately 7,500 customers. It was determined that the damaged transformer will need to be replaced at a cost of over $50,000. | Closed
20211130-01 | PG&E | Fatality | Distribution circuit | A deceased man was found next to a PG&E down guy wire in Fairfield with visible electric shock entrance and exit wounds on one hand and one foot. No damage was found to nearby PG&E facilities, which included secondary service pole and an undergound enclosure. | Closed
20211201-01 | PG&E | Injury | Utility pole | On November 26, 2021, a vehicle struck a PG&E utility pole in Escalon, San Joaquin County. The pole and its attachments fell, injuring a pedestrian and leading to a power outage that affected approximately 100 customers. | Closed
20211202-01 | PG&E | Property Damage | Unknown | On January 1, 2017 a structure fire caused approximately $70,000 in property damage to a residential structure. The property owner is alleging PG&E is attributable for the fire. | Open
20211209-01 | PG&E | Fatality | Distribution circuit | On November 24, 2021, a construction crew was constructing a metal shop under an overhead primary distribution circuit. One of the construction crew members fell through an open section of the roof and subsequently died as a result of his injuries. It is unknow if the subject was electrocuted at this time. | Open
20211214-01 | LU | Power Outage | Distribution circuit(s) | Liberty Utilities experienced multiple outages affecting approximately 9,000 customers in the Lake Tahoe area due to a severe storm. | Closed
20211215-01 | PG&E | Fatality | Transformer | On November 1, 2021, PG&E was notified of a wrongful death lawsuit regarding a fire that occurred in Madera on October 14, 2019. The lawsuit is alleging a PG&E transformer started sparking and ignited a vegetation fire. The resident of the property where the fire started attempted to extinguish the fire by stomping it out. The subject burned his leg while attempting to extinguish the fire. The lawsuit is alleging the subject died on February 16, 2021 as a result of the burn he sustained to his leg. | Closed
20211215-02 | PG&E | Property Damage | Distribution circuit | Warnock Food Products is claiming from July 1, 2021 through August 31, 2021 their packaging plant experienced fluctuating voltage issues causing over $50,000 in damage to their machinery and equipment. | Closed
20211217-01 | PG&E | Media Attention | Distribution circuit | PG&E experienced a sustained outage on an underground distribution circuit, which impacted 35 customers in San Francisco. PG&E responded to the location to find a manhole on fire. Additional customers on adjacent circuits had to be deenergized to safely extinguish the manhole fire. The event attracted significant media attention. | Open
20211218-01 | PG&E | Property Damage | Transformer bank | A transformer bank at Oro Fino Substation in Magalia, Butte County, failed and resulted in a power outage that affected approximately 2,400 customers. The cost to replace the damaged transformers is expected to exceed $50,000. | Closed
20211221-01 | SCE | Property Damage | Service drop | A fire occurred at a residence in Torrance on February 23, 2020, about one week after SCE had installed a temporary service line there. SCE recently received a claim for the damage caused by the fire, which is expected to exceed $50,000. | Open
20211223-01 | PG&E | Property Damage | Distribution circuit | PG&E received a claim alleging that PG&E equipment started a fire that resulted in $76,000 in property damage. The alleged fire occurred in Grass Valley, Nevada County, on July 7, 2021. | Open
20211227-01 | PG&E | Injury | Underground conductors | PG&E received a lawsuit regarding an incident that occurred on December 9, 2019. The Plaintiff is alleging that on December 9, 2019, he was operating an excavator at a construction site in Portola Valley. The Plaintiff struck a buried live conductor and received an electric shock. The Plaintiff is alleging he received severe permanent physical injuries resulting from the incident. | Closed
20211227-02 | SDG&E | Property Damage | Overhead facilities | A small jet crashed in El Cajon. The jet contacted overhead PG&E conductors, damaging one primary conductor, three secondary conductors, and three crossarms. This resulted in a power outage that affected approximately 3,600 customers. The damage to PG&E facilities is estimated to exceed $50,000. | Open
20211228-01 | PG&E | Property Damage | Distribution circuit | PG&E received a claim for over $50,000 in property damage resulting from a residential structure fire that occurred on November 22, 2020 near the city of Aptos. The property owner is alleging that PG&E facilities were responsible forr starting the fire. | Closed
20220101-01 | SCE | Injury | Primary conductor | A flash occurred when an SCE journeyman lineman was working on a primary conductor. The employee reportedly sustained flash burn injuries to his face. He was transported from the scene to Ronald Regan UCLA Medical Center and will reportedly be transferred to Grossman Burn Center for further evaluation and treatment. | Closed
20220105-01 | PG&E | Property Damage | Distribution circuit | On January 5, 2022 PG&E claims received a property damage claim for an incident that occurred from September 09, 2019 to April 29, 2021 in Selma. The claim states that high voltage coming into a business from PG&E facilities damaged various pieces of electrical equipment. The damage is expected to exceed $50,000. | Closed
20220107-01 | PG&E | Injury | Utility pole | Two linemen were replacing a crossarm on a utility pole in Colfax when the pole failed and fell to the ground with both men still attached to it. Both men were treated for their injuries, but only one was hospitalized overnight. | Open
20220107-02 | PG&E | Injury | Utility pole | A third-party tractor trailer made contact with communications conductors attached to PG&E utility poles. The tension caused one of the poles to break near its base and make contact with a bystander. He was subsequently transported to hospital for treatment. | Closed
20220112-01 | PG&E | Property Damage | Unknown | On January 12, 2022 PG&E received a claim for property damage in the amount of $128,200. The claim alleges that PG&E equipment failed and caused a structure fire on January 5, 2022 in Nevada City. | Closed
20220112-02 | PG&E | Fatality | Distribution circuit | On January 10, 2022 PG&E received a claim for an incident that occurred on October 9, 2019 during a Public Safety Power Shutoff event in Contra Costa County. The claim alleges that a power outage prevented an individual from using their oxygen concentrator, causing them to perish of hypoxia. | Closed
20220122-01 | PG&E | Property Damage | Service drop | PG&E received a property damage claim for a residential fire that occurred in Oakland. The claim alleges that the fire started after a tree fell onto a PG&E service drop. The damage to the building is estimated to exceed $50,000. | Open
20220124-01 | PG&E | Fatality | Overhead primary conductor | A deceased individual was discovered in a vineyard in King City. The deceased had burn marks on his hands and was positioned on a deck directly below primary conductors. | Open
20220126-01 | PG&E | Property Damage | Distribution circuit | PG&E received a claim for property damage that allegedly occurred between December 12 and 13, 2021 in Napa. The claim alleges that a compressor and alarm system were damaged due to high voltage during a power outage event. The damage is in excess of $50,000. | Closed
20220128-01 | SCE | Fatality | Utility pole | On January 13, 2022, a third-party construction crew dug a hole next to an SCE utility pole, causing it to fall and partially crush two cars in the city of Commerce. One of the cars contained an elderly gentleman whose head made contact with the roof of the car when the pole fell on it. He did not appear to sustain any injury at the time and was not transported to the hospital on the day of the accident, but did pass away several days later on January 22. Counsel representing the deceased's family attribute his death to the incident. | Open
20220201-01 | PG&E | Property Damage | Distribution circuit | On February 1, 2022, PG&E received a claim for property damage in excess of $50,000. The claim alleges that during an outage on November 23, 2021 in Bakersfield PG&E supplied the customer improper voltage resulting in damage to the customers three-phase equipment. | Closed
20220201-02 | SCE | Injury | Utility pole | An employee of Hot Line Construction, Inc., a contractor working on behalf of SCE, sustained injuries when he fell approximately 35 feet from a utility pole. | Closed
20220207-01 | PG&E | Property Damage | Distribution circuit | On January 25, 2022 a residential structure in Santa Rosa was damaged in a fire. The insurance company for the property alleges that PG&E caused the fire, which involved the service meter and breaker box. The damage to the property is expected to exceed $50,000. | Closed
20220208-01 | PG&E | Property Damage | Service drop | On February 4, 2022, a PG&E contractor crew was replacing a pole and service drop to a residential customer in Oakland. In the process of connecting service from the pole to the customers weatherhead, the contractor connected the conductors incorrectly and accidentally energized the neutral conductor of the triplex. This resulted in a fire that damaged the residence. The damage to the property is expected to exceed $50,000. | Closed
20220208-02 | PG&E | Property Damage | Service drop | On January 24, 2022 PG&E was notified of a property damage incident in Butte Meadows. A cabin was damaged in a structure fire on an unknown date and time. The damage to the cabin is expected to exceed $50,000. The property owner alleges that PG&E is responsible for the fire, and that the fire started when a tree fell onto the service connect and sparked a fire at the weatherhead. | Closed
20220211-01 | PG&E | Property Damage | Distribution circuit | On September 19, 2021 an underground conductor failed in Colusa, causing an outage that affected 2 customers. Power was restored to all customers on September 20, 2021. On February 11, 2022, PG&E received a claim from a customer regarding this incident. The customer alleges this incident caused damage to their solar system, resulting in over $50,000 in property damage. | Closed
20220303-01 | SCE | Injury | Primary riser | On March 2, 2022 at approximately 9:20 a.m., a male individual sustained electrical injuries while vandalizing an SCE primary riser. The injured party was then transported from the scene to an unidentified hospital in Los Angeles. | Open
20220303-02 | PG&E | Media Attention | Substation | PG&E experienced a sustained outage that affected approximately 32,000 customers around Oakland due to a malfunction at a local substation. No injuries, deaths, or property damage exceeding $50,000 have been reported, but the event did attract significant media attention. | Closed
20220304-01 | PG&E | Property Damage | Transformer | On March 1, 2022, a PG&E overhead transformer failed and discharged oil in the area of 56th Street and Lowell Street in Oakland. PG&E Law Claims is reporting the transformer oil caused property damage in excess of $50,000. | Closed
20220304-02 | PG&E | Property Damage | Distribution circuit | On March 4, 2022, PG&E received a claim for property damage in excess of $50,000. The claim alleges that during an area outage which occurred on October 13, 2021, PG&E supplied the customer improper voltage resulting in damage to the customers electrical equipment. | Open
20220309-01 | SDG&E | Operator Judgement | Transmission pole | A fire occurred on an SDG&E transmission pole and resulted in a small power outage affecting 337 customers. | Open
20220310-01 | SCE | Injury | Primary conductor | An SCE contractor worker was injured while performing a pole replacement. An elevated work platform being used on the project struck an overhead primary conductor and caused it to fall on his leg. He was then transported to Arrowhead Regional Medical Center for treatment. He was released the same night and the incident was rescinded. | Closed
20220315-01 | SCE | Injury | Temporary power pole | An SCE lineman fell from a ladder while attempting to make an electrical connection on a temporary power pole. The fall resulted in head injuries that required overnight hospitalization. | Open
20220315-02 | PG&E | Property Damage | Distribution circuit | On March 15, 2022, PG&E received a claim for property damage in excess of $50,000. The claim alleges that PG&E supplied the customer with improper voltage during or around the time of a March 8, 2022 power outage, and that the improper voltage caused damage to the customer's electrical equipment. | Closed
20220316-01 | PG&E | Property Damage | Distribution circuit | On March 16, 2022, PG&E received a claim for property damage in excess of $50,000. The claim alleges that PG&E supplied the customer with improper voltage during or around the time of a January 8, 2022 power outage, and that the improper voltage caused damage to the customer's electrical equipment. | Closed
20220324-01 | SDG&E | Injury | Line truck | An SDGE employee broke both his legs when he jumped off a line truck to avoid being hit by a cross-arm during a pole change out in Poway. The employee has been admitted to the hospital for surgery to both his legs. | Open
20220329-01 | PG&E | Property Damage | Distribution circuit | On March 28, 2022, an outage occurred in Livermore. Multiple claims received by PG&E allege that during the area outage, PG&E supplied customers improper voltage resulting in property damage. PG&E Law-Claims expects property damage claims to exceed $50,000. | Closed
20220331-01 | PG&E | Property Damage | Distribution circuit | PG&E Law-Claims reported that multiple claims have been received exceeding $50,000 for an electric incident in the city of San Mateo. The claims allege that during an area outage which occurred on October 17, 2021, PG&E supplied improper voltage to customers resulting in damage to customers' electrical equipment. | Closed
20220407-01 | PG&E | Property Damage | Overhead conductor | On April 6, 2022 a vegetation fire occurred in the city of Nipomo, and a PG&E troubleman observed a downed conductor nearby. On April 7, 2022, PG&E Law-Claims reported they anticipate potential claims exceeding $50,000. | Open
20220418-01 | PG&E | Property Damage | Distribution circuit | On April 18, 2022, PG&E received a claim for property damage in excess of $50,000 for damage that occurred in San Francisco. The insurance company for the customer alleges that PG&E caused a structure fire which occurred on January 8, 2022. | Closed
20220422-01 | PG&E | Property Damage | Distribution circuit | On April 22, 2022, PG&E Law-Claims received a claim for property damage in excess of $50,000. The insurance company for the customer alleges tha PG&E caused a fire and electrical issues resulting in property damage that affected their customer in Marysville. | Closed
20220424-01 | SDG&E | Power Outage | Transformer | A power outage occurred in San Diego due to a faulty underground transformer. | Open
20220425-01 | PG&E | Injury | Primary riser | A third-party individual pierced a PG&E primary riser with a nail gun while constructing a shed near a PG&E utility pole in San Jose. He received an electric shock and was transported to hospital overnight for observation and released the next day. | Closed
20220502-01 | PG&E | Property Damage | Transmission Insulator | On May 2, 2022, PG&E received a claim for property damages exceeding $50,000. The claimant is reporting thirty of their oil wells along Highway 65 between Porterville and Bakersfield were damaged as a result of a power surge. The claimant claims a PG&E transmission insulator exploded on April 14, 2021 near their customer-owned substation and caused the power surge. | Open
20220505-01 | PG&E | Property Damage/Injury | Utility pole and overhead conductors | A vehicle struck a utilty pole in Redding. The impact from the vehicle completely severed the distribution pole, causing the live conductors to come down and start a small vegetation fire (approximately 15 square feet). The conductors did not fall all the way to ground but were suspended above the ground. Per witnesses on scene, a citizen who was not involved in the collision observed the fire and ran over in an attempt to put it out. The citizen struck their head on a live conductor while running towards the fire and immediately fell to the ground and began convulsing. EMS transported the citizen to a local hospital where he was admitted overnight for observation. This incident was reported under the property damage criterion. | Open
20220509-01 | PG&E | Property Damage | Secondary overhead conductors | A tree pushed two secondary conductors together in the back yard of a residence, causing a fire there. Damage to property is expected to exceed $50,000. | Open
20220509-02 | PG&E | Property Damage | Distribution circuit | On April 22, 2022, an electrical incident occurred in San Jose. A PG&E crew was conducting work when a power surge occurred affecting multiple residents. On May 9, 2022, PG&E Law Claims received claims in excess of $50,000. | Open
20220510-01 | PG&E | Property Damage | Distribution circuit | On May 10, 2022 PG&E received a claim for property damage exceeding $50,000. The claim alleges that during an outage on August 28, 2021 PG&E supplied the multi-unit apartment complex in Vallejo with improper voltage resulting in damage to electronics within the facility. | Open
20220511-01 | PG&E | Property Damage | Utility pole | On May 11, 2022 PG&E received a claim for property damage exceeding $50,000. The claim alleges that on June 8, 2021, a pole fire caused structure and other property damages in Mariposa. | Open
20220511-02 | PG&E | Property Damage | Unknown | On May 11, 2022, PG&E received notice of a claim for property damage exceeding $50,000. The claim alleges that on April 30, 2022, PG&E equipment ignited a fire which destroyed a barn and killed livestock in Fairfield. | Closed
20220511-03 | SCE | Media Attention | Unknown | A brush fire known as the Coastal Fire was reported in the Laguna Hills area. The cause of the fire is under investigation and has reportedly consumed over 150 acres and has destroyed multiple residential structures. Our information reflects circuit activity occurring close in time to the reported time of the fire. | Open
20220516-01 | PG&E | Property Damage | Utility pole | PG&E received a subrogation demand from Progressive Insurance regarding an incident that occurred on February 15, 2022 in Gridley. The insurance company alleges that a PG&E pole fire spread to a trailer and shed resulting in over $50,000 in damage. | Closed
20220519-01 | PG&E | Property Damage | Underground Transformer | On May 5, 2022, an underground transformer in Albany, Alameda County leaked oil and caused damage to multiple PG&E vaults. On May 19, 2022, PG&E determined that the costs involved in the property damage will exceed $50,000. | Closed
20220520-01 | SCE | Injury | Overhead primary conductor | . A fallen conductor in a residential back yard caused several small fires in that backyard. A female resident attempted to extinguish the fire with a garden hose and received an electric shock that caused her to fall and hit her head on the grass. She was transported to a hospital for treatment and kept overnight as a precaution. | Open
20220526-01 | PG&E | Property Damage | Service drop | A PG&E service drop fell and started a fire that spread to a nearby commercial garage in Oroville. Damage to the garage is expected to exceed $50,000. | Open
20220526-02 | SDG&E | Property Damage | Overhead primary conductor | An SDG&E primary conductor fell on roof of a residential building in Dana Point. The conductor contacted a copper vent pipe on the roof and energized the building's plumbing system. This caused extensive damage to the buildings pipes, which SDG&E believes to exceed $50,000. | Open
20220527-01 | PG&E | Property Damage | Utility pole | PG&E received a claim for damages resulting from a fire that damaged a garage and workshop in Lomis. The fire occurred on May 3 and the claim alleges that it began at a PG&E utility pole. | Closed
20220602-01 | PG&E | Property Damage | Service drop | PG&E received a claim for property damage in excess of $50,000 to a structure in Madera. The claim alleges that sparks from a PG&E service drop and weatherhead ignited a fire that damaged the building. | Closed
20220602-02 | PG&E | Property Damage | Substation transformer | A failed transformer at Atlantic Substation in Roseville lead to a power outage that affected approximately 20,500 customers. The cost to replace the failed transformer is estimated to exceed $50,000. | Open
20220602-03 | PG&E | Media Attention | Overhead primary conductor | PG&E detected a fault on a primary circuit in the vicinity of the Old Fire in Napa. It is unknown whether this fault or PG&E equipment are responsible for the fire's ignition, but PG&E reported the incident out of an abundance of caution. | Open
20220607-01 | PG&E | Property Damage | Distribution circuit | PG&E received a claim for property damage in excess of $50,000. The claim alleges that PG&E supplied improper voltage to a customer in Vallejo on June 14, 2021 which lead to damage to the customer's electronic equipment. | Open
20220608-01 | PG&E | Media Attention | Distribution circuit | A sustained power outage affecting 3,600 customers in San Luis Obispo attracted significant media attention. | Closed
20220612-01 | PG&E | Property Damage | Underground primary conductor | A failed underground primary conductor lead to a fire that damaged two structures in Woodland. The damage is estimated to exceed $50,000. | Open
20220615-01 | PG&E | Media Attention | Distribution circuit | A sustained power outage affecting 2,790 customers in Auburn attracted significant media attention. | Open
20220620-01 | PG&E | Property Damage | Service drop | A structure fire in Stockton caused a service drop to fall on a separate structure supporting solar panels. The solar panels and the structure were destroyed. PG&E initially estimated the damages to exceed $50,000, but later revised the amount to less than $50,000. PG&E intends to attempt to rescind the incident. | Closed
20220622-01 | PG&E | Media Attention | Distribution circuit | The Edgewood Fire began at approximately 1430 hours on June 21, 2022, at Edgewood County Park in San Mateo County. On June 22, CAL FIRE collected equipment from the Emerald Lake 4kV Distribution Circuit in the vicinity of the Edgewood Fire. SCE has received media inquiries from at least 4 separate media outlets that are reporting this incident. | Open
20220627-01 | SCE | Property Damage | Service drop | A fire started within a tree in the rear of a residential property with a service drop near the tree. The fire caused the secondary line to break and fall down and cause the house it was supplying to lose power. A fire then started in the attic of the affected house and caused substantial damage to the house. | Open
20220627-02 | PG&E | Property Damage | Distribution circuit | PG&E received a claim for property damage exceeding $50,000. The claim alleges that PG&E equipment started a vegetation fire in Vacaville on June 23, 2022 that resulted in the damage. | Open
20220628-01 | PG&E | Property Damage | Distribution circuit | PG&E received a claim for damages in excess of $50,000. The claim alleges that a customer's electronic equipment was damaged on May 12, 2022 when PG&E supplied the customer with an improper voltage. | Closed
20220629-01 | PG&E | Property Damage | Transformer bank | Lighning damaged a transformer bank at at Weedpatch Substation in Bakersfield. The repairs are estimated to exceed $50,000. | Closed
20220705-01 | PG&E | Injury | Transmission conductor | A PG&E employee was injured while working on a 230 kV transmission line near in San Luis Obispo. The employee received an electric shock and was subsequently transported to a local hospital for his injuries. | Open
20220707-01 | SCE | Property Damage | Distribution circuit | A structure fire occurred on December 3, 2021 in Orange County. Preliminary information reflects that the Wingnut 12 kV circuit relayed and reclosed on December 3, 2021, at 4:53 p.m. SCE personnel responded to the scene and observed overhead primary conductors down in the vicinity of Pole No. 1549898E. Orange County Fire Authority (OCFA) personnel responded to suppress a structure fire. According to the OCFA report, the fire ignited within the kitchen area of the involved apartment and the cause was undetermined. | Open
20220711-01 | PG&E | Property Damage | Overhead distribution circuit | An overhead primary distribution circuit in Five Points experienced a sustained outage affecting 126 customers. The responding Troubleman determined the Schindler 1112 distribution circuit was struck by an aircraft while it was spraying a nearby field. The aircraft strike resulted in property damage to the Schindler 1112 distribution circuit that is expected to exceed $50,000. | Closed
20220711-02 | PG&E | Media Attention | Distribution circuit | A PG&E circuit experienced a sustained outage to 8,400 customers in Oakland. This event attracted significant media attention. | Closed
20220713-01 | PG&E | Injury | Overhead primary conductor | A sailboat capsized near Berkeley Marina and the mast made contact with PG&E primary lines resulting in injury to a third-party individual from electric shock. | Closed
20220719-01 | SDG&E | Power Outage | Overhead circuit | A major outage occurred in the city of San Diego. SDG&E implicates mylar balloons as the cause of the outage. | Closed
20220720-01 | PG&E | Property Damage | Distribution circuit | PG&E Law-Claims reported that multiple claims have been received exceeding $50,000 for an electric incident in San Mateo. The claims report that during an area outage which occurred on October 17, 2021, PG&E supplied improper voltage resulting in damage to customers electrical equipment. | Open
20220720-02 | SCE | Media Attention | Overhead circuit | On February 10, 2022, at 4:09 a.m., a wildfire, subsequently identified as the Emerald Fire, was reported in Laguna Beach. Orange County Fire Authority (OCFA) personnel responded to suppress the fire and the forward progress of the fire was stopped that same day. The Emerald Fire consumed approximately 154 acres and there was no reported third-party damage. It burned through an area where SCE circuits traverse. SCE has no record of interruptions or circuit activity associated with faults on these circuits occurring near in time to the reported fire alarm time. SCE has since obtained a copy of the OCFA Incident Report which indicates that an unspecified short circuit arc ignited the fire, although it does not specifically reference SCE facilities involved in the ignition. | Open
20220721-01 | PG&E | Media Attention | Distribution circuit | PG&E experienced a sustained outage affecting 22,000 customers in Monterey. This outage was covered by several local media outlets. | Open
20220723-01 | SCE | Fatality | Overhead conductor | A male individual sustained fatal injuries after making contact with SCE overhead electrical facilities. He was working for a landscaping contractor to perform tree trimming activities on behalf of the property owner. | Open
20220725-01 | PG&E | Property Damage | Substation transformers | On July 3, 2022 the Goose Lake Substation in Wasco experienced a sustained outage affecting 1106 customers. A PG&E Substation Engineer responded and discovered an unknown suspect had shot both transformer banks with a firearm. The damage to Transformer Bank 1 and Bank 2 are expected to exceed $50,000 in property damages. | Open
20220727-01 | PG&E | Property Damage | Distribution circuit | On October 24, 2021, Butte County experienced a severe storm that resulted in several sustained outages due to heavy rain and wind. The outages affected a total of 3104 customers. A customer serviced by the Paradise 1105 12kV overhead primary distribution circuit in Magalia has claimed the outages caused a power surge that damaged their privately-owned water well, resulting in over $50,000 in property damage. | Open
20220729-01 | PG&E | Property Damage | Distribution circuit | On June 13, 2022, PG&E received notice of a lawsuit regarding a residential structure fire that occurred on February 11, 2021 in Salinas. The lawsuit claims $186,130.05 in property damage to the customer's home. The lawsuit identifies the property damages are a result of a power surge caused by PG&E. | Closed
20220804-01 | PG&E | Property Damage | Distribution circuit | PG&E received a property damage claim in excess of $50,000 from a customer in San Jose. The customer claims that on June 23, 2022 PG&E equipment started a structure fire. | Closed
20220804-02 | PP&L | Fatalities | Distribution circuit | PacifiCorp reported the McKinney Fire out of an abundance of caution as one of their distribution circuits serves the area in which the fire originated. | Open
20220805-01 | PG&E | Media Attention | Overhead distribution conductors | A PG&E troubleman responded to a fire in San Luis Obispo County. At the fire location, the PG&E troubleman observed that a tree had fallen into PG&E conductors and was on fire. A CAL FIRE fire investigator on site gave the PG&E troubleman a form that alleged that the fire was a result of the downed powerlines. | Open
20220806-01 | PG&E | Injury | Substation equipment | The PG&E Grid Control Center received SCADA alarms indicating trouble at Bayshore Substation in San Francisco. Upon arrival to the substation, PG&E personnel reported that a third-party individual entered the substation and made contact with the Bayshore Substation 115 kV Bus #1, which feeds Bayshore Substation 115 kV to 34.5 kV Transformer Bank 1. The injured third-party individual is expected to be hospitalized. | Open
20220809-01 | PG&E | Injury | Underground distribution circuit | On August 4, 2022 at 0755 hours, PG&E received notification of a sustained outage affecting 4700 customers in San Jose. A third-party individual had made contact with PG&E underground facilities while using an impact tool and declined medical treatment. On August 9, 2022, PG&E was made aware of the third-party individual later seeking medical treatment and being admitted overnight into the hospital for his injuries. | Open
20220811-01 | PG&E | Injury | Transmission circuit | A contractor was performing maintenance work for PG&E on a 500kV transmission circuit near Red Bluff. As a lineman was in the process of changing an insulator on a transmission tower, they experienced a shock from induced current. He then lost consciousness and was immediately transported to a local hospital where he was admitted for his injuries. | Open
20220819-01 | SCE | Media Attention | Overhead distribution conductors | A small wildfire occurred in Azusa when a mylar balloon made contact with overhead 12 kV conductors. | Open
20220824-01 | PG&E | Media Attention | Transmission circuits | PG&E experienced a sustained interruption to multiple 115 kV transmission lines in El Dorado County that affected approximately 74,000 customers. | Open
20220824-02 | SCE | Property Damage | Overhead distribution circuit | A structure fire causing over $50,000 in damage occurred in Bell Gardens. While on scene, SCE personnel were advised by Los Angeles County Fire Department (LACFD) personnel that the fire originated within the garage of the structure. SCE subsequently received notice from the property owner's insurance carrier estimating damages to be $300,000 and alleging SCE facilities were involved in the ignition of the fire. Furthermore, the incident report from the LACFD identified the ignition as electrical in nature and further noting the powerline [overhead service] was reportedly in contact with the home/garage. | Open
20220825-01 | PG&E | Media Attention | Substation equipment | PG&E experienced a sustained outage at Oakland X Substation in Oakland that affected approximately 24,500 customers. | Open
20220825-02 | PG&E | Property Damage | Distribution circuit | PG&E received notification of a claim for property damage in excess of $50,000. The customer is located in Philo of Mendocino County. The claim states that on November 30, 2021, an area outage caused damage to the customers electrical equipment. | Open
20220828-01 | SCE | Property Damage | Overhead distribution conductor | The Waterman 12 kV circuit out of Cardiff Substation experienced circuit activity at 11:43 a.m. on August 28, 2022. SCE personnel responded and reported a downed conductor and a structure fire at the site. The damage to the structure is estimated to exceed $50,000. | Open
20220829-01 | PG&E | Injury | Overhead primary conductor | A PG&E contractor was injured in Bakersfield when he made contact with a 21 kV overhead primary conductor. | Open
20220901-01 | SDG&E | Property Damage | Utility poles | Multiple SDG&E utility poles were damaged in a fire and will need to be replaced. The cause of the fire is unknown, but the cost to replace the poles is estimated to exceed $50,000. | Open
20220902-01 | PG&E | Property Damage | Overhead distribution conductor | A tree branch fell onto an overhead primary distribution conductor in Sanger. This caused the conductor to fall onto a metal fence which started a fire that damaged two residential properties. The property damage is estimated to exceed $50,000. | Closed
20220905-01 | PG&E | Media Attention | Padmounted transformer | A padmounted transformer in Napa failed, resulting in a power outage that attracted significant media attention. | Open
20220905-02 | PG&E | Media Attention | Overhead distribution conductor | A train struck a neutral overhead distribution conductor in Vacaville. This caused the neutral to make contact with an energized distribution conductor and lead to a power outage affecting about 6,000 customers, a small vegetation fire, and significant media attention. | Open
20220905-03 | SCE | Media Attention | Unknown | SCE reported The Fairview Fire in Hemet out of an abundance of caution. The fire has spread to over 500 acres and some structures have been damaged or destroyed by the fire, but it is unknown at this time whether SCE facilities were involved in its ignition. | Open
20220906-01 | PG&E | Property Damage | Distribution circuit | On September 6, 2022, PG&E received a subrogation notice from an attorney representing Farmers Insurance regarding a residential structure fire that occurred on August 24, 2022 in Bakersfield. The subrogation notice is claiming $529,600 in property damages resulting from the fire. | Open
20220906-02 | SDG&E | Injury | Utility pole | An SCE employee sustained burns to his shoulders, neck, back, and one ear when a crossarm broke and fell onto him while he was working on an elevated work platform during a pole replacement. | Open
20220907-01 | SCE | Property Damage | Transformer | A pole mounted transformer failed in the rear of a property in Pasadena. This resulted in a fire that damaged several nearby structures. The total damage to those properties is estimated to exceed $50,000. | Open
20220908-01 | PG&E | Property Damage | Service drop | On September 8, 2022, PG&E received a claim from a customer in San Jose. The customer claimed that on May 26, 2022, a power surge from vegetation contacting a service drop $50,000. | Open
20220908-02 | PG&E | Property Damage | Transmission circuit | The "Oxbow Fire" began on September 6 in Placer County and went on to consume over 6,000 acres. The cause of the fire has not been determined, but PG&E detected circuit activity in the vicinity around the time the fire started. The damage to property caused by the fire is estimated to exceed $50,000. | Open
20220909-01 | PG&E | Property Damage | Pothead | A pothead ruptured and spilled oil and resin onto a school playground in San Bruno on September 6. The cost to replace the playground structure and surrounding asphalt is estimated to exceed $50,000. | Open
20220912-01 | PG&E | Property Damage | Service drop | A structure fire occurred in Eureka on September 11. On September 12, PG&E learned that the responding fire department had collected a connector to the weatherhead as evidence. It is unknown whether PG&E facilities started the fire. The structure was a complete loss and the cost of the damage is estimated to exceed $50,000. | Open
20220915-01 | SDG&E | Injury | Utility pole | A passenger vehicle collided with a utility pole. The driver sustained serious injuries and the two passengers sustained minor injuries. | Closed
20220920-01 | PG&E | Property Damage | Battery pack | A fire occurred at a PG&E battery storage facility in Monterey County. Damage to a battery bank is estimated to exceed $50,000. | Open
20220921-01 | PG&E | Property Damage | Overhead conductor | On September 2, 2022, PG&E responded to a report of a structure fire in Stockton. On September 21, 2022, PG&E Law-Claims received a property damage claim in the amount of $50,000. The claim alleges that a PG&E line fell and caused a residential garage fire. | Open
20220922-01 | PG&E | Property Damage | Overhead conductor | On September 18, 2022 , a residential structure fire occurred in Sunnyvale. On September 22, 2022, PG&E Law-Claims received a property damage claim exceeding $50,000. The claim alleges that a high voltage line fell on the roof of the home and caused a fire. | Open
20220926-01 | SCE | Property Damage | Service drop | SCE received notice from the insurance carrier the owner of a property in Barstow indicating a structure fire occurred on March 25, 2022, resulting subrogation claim that would exceed $50,000 in property damage. It is alleged that SCE facilities may have been involved in the ignition of the fire at the location. Preliminary information reflects SCE personnel responded to a trouble call related to a structure fire at the subject location on March 25, 2022. Their responding personnel observed a compromised neutral on the overhead triplex service supplying the location. | Open
20220928-01 | PG&E | Property Damage | Utility poles | On June 22, 2022, the Kerckhoff-Clovis-Sanger #1 115kV transmission circuit relayed, resulting in a momentary outage affecting 7,263 customers. PG&E completed a full line patrol of the transmission circuit. During the patrol, PG&E discovered that fourteen wood transmission poles had failed (broken, shattered, or splintered) with wires down in the area Clovis. PG&E believes these poles failed due to unusually high wind speeds in the area. PG&E replaced all fourteen poles within 24 hours. The property damages to PG&E equipment resulting from this incident exceeded $50,000. | Open
20220929-01 | PG&E | Property Damage | Distribution circuit | On August 10, 2022, a PG&E troubleman was dispatched to a structure fire in Chico. The fire appeared to have started in the attic of the home, causing damage to the roof and interior of the residence. On August 30, 2022, PG&E received notice of a potential claim related to the fire. The notice alleges that the fire was caused by a failure of PG&E equipment. The total damage to the home is likely to exceed $50,000. | Open
20220929-02 | PG&E | Property Damage | Transformer | On September 3, 2022, a residential structure fire occurred in Oroville. On September 23, 2022, PG&E received notice from an attorney claiming their client's residence was damaged by the fire, allegedly caused by a PG&E transformer exploding. The damage to the residence is estimated to exceed $50,000. | Open
20221004-01 | PG&E | Property Damage | Overhead distribution circuit | On June 28, 2022, a PG&E customer in Palo Cedro made a complaint to PG&E about a voltage imbalance. On October 3, 2022, PG&E Law-Claims received a property damage claim in excess of $50,000 for this incident. The claim alleges that PG&E provided unbalanced power which caused damage to customer owned property. | Open
20221004-02 | PG&E | Property Damage | Distribution circuit | PG&E Law-Claims received a property damage claim which is expected to be in excess of $50,000. The claim alleges that PG&E provided unbalanced three-phase power on or before May 26, 2022, causing damage to an elevator. | Open
20221005-01 | SDG&E | Media Attention | Distribution circuit | A power outage occurred in the City of San Diego and attracted media coverage. | Open
20221018-01 | PG&E | Media Attention | Underground distribution circuit | A power outage in San Francisco affecting over 2,000 customers attracted significant media attention. No fewer than four media outlets reached out to PG&E regarding the incident. | Open
20221020-01 | PG&E | Property Damage | Underground distribution circuit | PG&E Law-Claims received a notice claiming a power surge on May 3, 2022, caused property damages exceeding $50,000. | Open
20221020-02 | PG&E | Property Damage | Transformers | Two underground transformers leaked oil causing damage to a PG&E vault on October 16. On October 20, 2022, PG&E determined the costs involved in the property damage will exceed $50,000. | Open
20221022-01 | SDG&E | Property Damage | Utility poles | A driver struck four SDG&E electrict poles in El Cajon. The estimated damage was over $50,000. As a result, power was interrupted and affected 732 customers. The drive was taken via ambulance due to his injuries. | Closed
20221024-01 | PG&E | Property Damage | Distribution circuit | PG&E is being sued over damages to property due to a series of power outages that occurred in Los Altos between June and December 2020. | Open
20221024-02 | SCE | Injury | Vault | An Edison contractor worker sustained burn injuries due to an arc flash while working underground. | Open
20221026-01 | SCE | Fatality | Vault | An unidentified individual sustained fatal injuries in an apparent act of vandalism of SCE undderground electrical facilities within a vault. | Open
20221110-01 | BVES | Injury | Tree trimming | A tree trimming contractor for Bear Valley Electric was injured while attempting to move a log with a lift. The crew lost control of the log and it pinned the worker against the lift truck. The injured worker was airlifted to hospital from the scene. | Open
20221112-01 | PG&E | Property Damage | Utility pole | A utility pole with a transformer fell on a customer's vehicle and driveway. Oil leaked from the transformer onto the customer's driveway and yard. The damages are expected to exceed $50,000. | Open
20221128-01 | PG&E | Fatality | Transmission tower | An unknown individual was fatally injured when he climbed a transmission tower in Oakland. He made contact with an energized 115 kV conductor on the tower before falling to his death. | Closed
20221130-01 | PG&E | Property Damage | Service drop | A broken neutral wire lead to a PG&E customer in Sonora being supplied with an unbalanced voltage on November 13, 2022. On November 30, PG&E received a claim from the customer in excess of $50,000 for property damage resulting from the incident. | Open
20221206-01 | SDG&E | Media Attention | Overhead circuit | A power outage occurred in the area of San Diego that attracted significant media attention. It is believed that a bird may have been involved in the incident. | Open
20221208-01 | PG&E | Property Damage | Circuit breaker | A 115 kV circuit breaker failed, resulting in a power outage that affected 17,500 customers in the Bakersfield area. The cost to replace the failed circuit breaker is estimated to exceed $50,000. | Open
20221212-01 | SCE | Injury | Padmounted transformer | An SCE Lineman was injured while working on a padmounted transformer. An arc flash occurred, resulting in burns to the worker's face. The worker was transported to Pomona Valley Hospital and then transported to Grossman Burn Center for further evaluation. This incident was later rescinded at SCE's request after the patient was released from hospital the same day. | Closed
20221213-01 | SCE | Injury | Utility pole | An SCE contractor worker sustained injuries to his wrist and leg when he fell approximately 10-15 feet while performing a pole replacement. Initial reports indicate that he had inadvertently cut his own safety gear which resulted in the fall. | Open
20221227-01 | SDG&E | Media Attention | Overhead conductor | A structure fire caused damage to an SDG&E overhead conductor that lead to a power outage affecting 5,288 customers in San Diego. Utility facilities were not implicated in the fire, but the event attracted significant media coverage. | Open
20221227-02 | PG&E | Property Damage | Distribution circuit | PG&E received a claim in excess of $50,000 for damage to a customer's property resulting from a December 12, 2022 fire in San Jose. The cause of the fire is unknown. | Open
20221230-01 | PG&E | Property Damage | Distribution circuit | PG&E received a claim in excess of $50,000 for damage caused to a customer's elevator in San Francisco. The claim alleges that an unplanned power outage on December 10, 2022 lead to the damage. | Open
|  |  | Total open incidents: | 139