## Slide 1: Overview of Modeling Tools and Their Uses
Peter C. Jacobs, P.E.
BuildingMetrics Inc.

## Slide 2: What Are Building Simulations?
Deterministic models developed to predict building energy consumption
Use basic principals of physics and engineering to calculate energy consumption on an time series basis
Primarily a tool to predict the HVAC end-use
Other end-uses are generally inputs to the model
Tools generally also include daylighting analysis capabilities
Building energy simulations are our best engineering tools to solve the “forward problem.”

## Slide 3: Questions for Group Breakouts
What are the modeling needs in California moving into the future?
Are there any trends that participants predict for future portfolios? (e.g., more complex industrial custom projects, more whole building approaches, more innovative measures and design strategies that haven’t been studied, more integrated projects, etc.)
What criteria would you use to determine whether a modeling tool was adequate for your modeling needs?

## Slide 4: How are simulations currently used in the CA energy efficiency enterprise?
Ex-ante savings estimates of deemed measures
  DEER and non-DEER
New construction
  Design assistance
  Code compliance
  NC program qualification and incentives
Custom retrofit measure analysis
Program evaluation

## Slide 5: What tools are commonly used?
General purpose simulation tools
  DOE-2 based tools
    eQuest
    EnergyPro
  EnergyPlus
    CBECC
    IES
Manufacturer tools
  Carrier HAP
  Trane Trace
Whole building retrofit software
  EnergyPro, TREAT, Optimizer, SnuggPro, and CakeSystems.

## Slide 6: Basic Definitions
Freeware
  Software that is available for use at no monetary cost, which may have restrictions such as redistribution prohibited, and for which source code is not available.
Shareware
  Software which is provided (initially) free of charge to users, who are allowed and encouraged to make and share copies of the program, which helps to distribute it.
Open source
  Software with its source code made available with a license in which the copyright holder provides the rights to study, change, and distribute the software.
Public domain
  Software that has no copyright, trademark, or patent. Unlike other classes of licenses, there are no restrictions as to what can be done with the software.

## Slide 7: Tool Selection Criteria
Modeling Capabilities – current and innovative systems
  Multisplit AC and heat pumps
  VRF systems
  Underfloor air distribution and displacement ventilation
  Natural ventilation
  Interzonal air flow
  Refrigeration systems and refrigerated warehouses
  Ventilated facades
  Radiant heating and cooling
  Thermal comfort
  Moisture adsorption/desorption
  Indoor air quality
  Duct/distribution system losses
What are the unmet needs?

## Slide 8: Tool Selection Criteria (contd.)
Program architecture
  Language and development environment
  Documentation
  Availability of source listing and/or source code
  Ability to modify the code
  Execution time
User interface
  Availability of related tools and plug-ins
  Interoperability
  CAD interface
Market Factors
  Market acceptance and penetration
  Compatibility and consistency with existing systems and processes
  Availability of training
  Support and maintenance