## Overview
Aggregated total across all days
Subgroup | Event Duration (hrs) | Total Delivered kWh (Unadjusted; All Participants) [1] | Total Delivered kWh (Event Net Positive Performance) [2] | Total Delivered kWh (Interval Positive Performance) [3] | Total Delivered kWh (Aggregate) [4] | Average Hourly Delivered kWh (Unadjusted; All Participants) | Average Hourly Delivered kWh (Event Net Positive Performance) | Average Hourly Delivered kWh (Interval Positive Performance) | Average Hourly Delivered kWh (Aggregate)
A.1 General | 30 | 612445 | 911181 | 953881 | 446583 | 20147 | 29803 | 30964 | 14886.0967
A.1 AP-I | 20 | 14108 | 22563 | 22839 | 8960 | 744 | 1179 | 1188 | 447.9923
A.1 SDP | 18 | 1306 | 5008 | 5268 | 589 | 87 | 285 | 296 | 32.7406
A.1 BIP | 7.5 | 2864 | 31923 | 43467 | NA | -213 | 4364 | 5699 | NA
A.2 Non-BIP | 35 | 5660 | 5660 | 6107 | NA | 181 | 730 | 47 | NA
A.4 VPP [5] | 37 | 75825.1 | 78481.1 | 96125.1 | 65646.309 | 2247.5606 | 2303.8273 | 2665.5591 | 1981.5193
A.6 PSR | 50 | 23485927 | 46391797 | 54966318 | 19609279 | 469719 | 927836 | 1099326 | 392185.58
Total | 197.5 | 24198135.1 | 47446613.1 | 56094005.1 | 20131057.309
Footnotes:
[1] Total Delivered kWh (Unadjusted) - This is the overall performance including all customers / aggregations over and under-performing in all performance intervals.
[2] Total Delivered kWh (Event Net Positive Performance) - This is overall net positive performance utilizing the net event method. Net negative performance for any customer / aggregation as evaluated by summing performance over the entire event is not included.
[3] Total Delivered kWh (Interval Positive Performance) - This is overall positive performance at each performance interval.
[4] Total Delivered kWh (Aggregated) - This is the overall performance for A.6 participants calculated by summing individual metered load first and then calculating baseline and performance
[5] Aggregators under this subgroup may receive dispatches of differing duration.
Note: These columns represent the outcomes of different hypothetical baseline and settlement calculation methods for Incremental Load Reduction and compensation for program participants. Only Column E (Total Delivered kWh (Interval Positive Performance)) represents the method used by SCE for 2022. None of these calculation methods are appropriate to use as a proxy for load impacts for the ELRP program. For an estimate of load impacts, please refer the draft results of SCE’s ELRP Load Impact Study that will be released in March.
Note on B6: BIP-ELRP overlapping event hours only

## A.1 General
Event Date | Event Duration (hrs) | Total Delivered kWh (Unadjusted; All Participants) [1] | Total Delivered kWh (Event Net Positive Performance) [2] | Total Delivered kWh (Interval Positive Performance) [3] | Total Delivered kWh (Aggregate) [4] | Average Hourly Delivered kWh (Unadjusted; All Participants) | Average Hourly Delivered kWh (Event Net Positive Performance) | Average Hourly Delivered kWh (Interval Positive Performance) | Average Hourly Delivered kWh (Aggregate) | Nominated kW | Number of Overall Services Account in Subgroup | Number of Accounts with Performance Calculated
2022-08-17 | NA
2022-08-31 | 3 | 36777 | 59241 | 62020 | 15418.85 | 12259 | 19747 | 20673 | 5139.6167 | 122355 | 627 | 622
2022-09-01 | 1 | 9685 | 19878 | 19878 | 8862.12 | 9685 | 19878 | 19878 | 8862.12 | 122355 | 627 | 622
2022-09-02 | NA
2022-09-03 | 2 | 26437 | 43621 | 44272 | 11723.77 | 13219 | 21811 | 22136 | 5861.885 | 126944 | 662 | 657
2022-09-04 | 3 | 104538 | 119899 | 122056 | 53564.68 | 34846 | 39966 | 40685 | 17854.8933 | 126944 | 662 | 657
2022-09-05 | 4 | 28146 | 94831 | 99728 | 25280.01 | 7036 | 23708 | 24932 | 6320.0025 | 130156 | 697 | 691
2022-09-06 | 5 | 85039 | 131942 | 140171 | 75428.68 | 17008 | 26388 | 28034 | 15085.736 | 130156 | 697 | 691
2022-09-07 | 5 | 151616 | 188587 | 195522 | 120865.63 | 30323 | 37717 | 39104 | 24173.126 | 130676 | 718 | 712
2022-09-08 | 5 | 93852 | 158608 | 172941 | 74243.36 | 18770 | 31722 | 34588 | 14848.672 | 138106 | 760 | 753
2022-09-09 | 2 | 76355 | 94573 | 97293 | 61195.8 | 38177 | 47287 | 48647 | 30597.9 | 139321 | 791 | 784
Overall | 30 | 612445 | 911181 | 953881 | 446582.9 | 20147 | 29803 | 30964 | 14304.8835 | 129668
Footnotes:
[1] Total Delivered kWh (Unadjusted) - This is the overall performance including all customers / aggregations over and under-performing in all performance intervals.
[2] Total Delivered kWh (Event Net Positive Performance) - This is overall net positive performance utilizing the net event method. Net negative performance for any customer / aggregation as evaluated by summing performance over the entire event is not included.
[3] Total Delivered kWh (Interval Positive Performance) - This is overall positive performance at each performance interval.
[4] Total Delivered kWh (Aggregated) - This is the overall performance for A.6 participants calculated by summing individual metered load first and then calculating baseline and performance
Note on K1: Nominations includes a 14% derate for holiday and weekend events.
Note on M1: Note: The difference between Column J and Column K are the accounts with missing meter data. Because there are customers with missing meter data their performance cannot be calculated and therefore their performance is not included in these results.

## A.1 AP-I
Event Date | ELRP Event Duration (hrs) (Non-AP-I Overlapping) | Total Delivered kWh (Unadjusted; All Participants) [1] | Total Delivered kWh (Event Net Positive Performance) [2] | Total Delivered kWh (Interval Positive Performance) [3] | Total Delivered kWh (Aggregate) [4] | Average Hourly Delivered kWh (Unadjusted; All Participants) | Average Hourly Delivered kWh (Event Net Positive Performance) | Average Hourly Delivered kWh (Interval Positive Performance) | Average Hourly Delivered kWh (Aggregate) | Nominated kW | Number of Overall Services Account in Subgroup | Number of Accounts with Performance Calculated
2023-08-17 | NA
2023-08-31 | 3 | 1054 | 2197 | 2251 | 1568.3628 | 351 | 732 | 750 | 522.7876 | 8610 | 54 | 54
2023-09-01 | 1 | 410 | 743 | 743 | 108.5941 | 410 | 743 | 743 | 108.5941 | 8610 | 54 | 54
2023-09-02 | NA
2023-09-03 | 2 | 265 | 1606 | 1607 | 624.8165 | 133 | 803 | 804 | 402 | 8610 | 54 | 54
2023-09-04 | 3 | 2168 | 3594 | 3612 | 1406.5927 | 723 | 1198 | 1204 | 401.3333 | 8610 | 54 | 54
2023-09-05 | 1 | 711 | 1264 | 1264 | 493.5838 | 711 | 1264 | 1264 | 1264 | 8610 | 54 | 54
2023-09-06 | 1 | 1444 | 1778 | 1778 | 1061.2448 | 1444 | 1778 | 1778 | 1778 | 8610 | 54 | 54
2023-09-07 | 2 | 2548 | 3173 | 3186 | 1600.1989 | 1274 | 1586 | 1593 | 796.5 | 8610 | 54 | 54
2023-09-08 | 5 | 3667 | 5314 | 5488 | 1120.102 | 733 | 1063 | 1098 | 219.6 | 8610 | 54 | 54
2023-09-09 | 2 | 1840 | 2895 | 2909 | 976.3499 | 920 | 1448 | 1455 | 727.5 | 8610 | 54 | 54
Overall | 20 | 14108 | 22563 | 22839 | 8959.8454 | 744 | 1179 | 1188 | 691.1461 | 8610
Footnotes:
[1] Total Delivered kWh (Unadjusted) - This is the overall performance including all customers / aggregations over and under-performing in all performance intervals.
[2] Total Delivered kWh (Event Net Positive Performance) - This is overall net positive performance utilizing the net event method. Net negative performance for any customer / aggregation as evaluated by summing performance over the entire event is not included.
[3] Total Delivered kWh (Interval Positive Performance) - This is overall positive performance at each performance interval.
[4] Total Delivered kWh (Aggregated) - This is the overall performance for A.6 participants calculated by summing individual metered load first and then calculating baseline and performance
Overlapping AP-I Event Intervals:
2022-09-05T19:00-07:00
2022-09-05T20:00-07:00
2022-09-05T21:00-07:00
2022-09-06T18:00-07:00
2022-09-06T19:00-07:00
2022-09-06T20:00-07:00
2022-09-06T21:00-07:00
2022-09-07T19:00-07:00
2022-09-07T20:00-07:00
2022-09-07T21:00-07:00
Note on K1: Nominations includes a 14% derate for holiday and weekend events.
Note on M1: Note: The difference between Column J and Column K are the accounts with missing meter data. Because there are customers with missing meter data their performance cannot be calculated and therefore their performance is not included in these results.
Note on A8: Jake Highleyman: Red Text indicates that an overlapping AP-I event occurred on that day.

## A.1 SDP
Event Date | ELRP Event Duration (hrs) (Non-SDP Overlapping) | Total Delivered kWh (Unadjusted; All Participants) [1] | Total Delivered kWh (Event Net Positive Performance) [2] | Total Delivered kWh (Interval Positive Performance) [3] | Total Delivered kWh (Aggregate) [4] | Average Hourly Delivered kWh (Unadjusted; All Participants) | Average Hourly Delivered kWh (Event Net Positive Performance) | Average Hourly Delivered kWh (Interval Positive Performance) | Average Hourly Delivered kWh (Aggregate) | Nominated kW | Number of Overall Services Account in Subgroup | Number of Accounts with Performance Calculated
2023-08-17 | NA
2023-08-31 | 3 | -546.2 | 4 | 77.4 | -599.69 | -182.1 | 1.3 | 25.8 | -199.8967 | 2608 | 7 | 7
2023-09-01 | 1 | -1.6 | 126 | 125.6 | 4.17 | -1.6 | 125.6 | 125.6 | 4.17 | 2608 | 7 | 7
2023-09-02 | NA
2023-09-03 | 2 | 989.1 | 990 | 1044.2 | 985.01 | 494.6 | 494.8 | 522.1 | 492.505 | 2608 | 7 | 7
2023-09-04 | 3 | -1618.6 | 74 | 78.6 | -1861.4 | -539.5 | 24.5 | 26.2 | -620.4667 | 2608 | 7 | 7
2023-09-05 | 1 | -460.5 | 10 | 10.1 | -507.93 | -460.5 | 10.1 | 10.1 | -507.93 | 2608 | 7 | 7
2023-09-06 | 1 | 95.4 | 111 | 110.6 | 109.31 | 95.4 | 110.6 | 110.6 | 109.31 | 2608 | 7 | 7
2023-09-07 | 2 | -747.1 | 11 | 19.1 | -753.58 | -373.5 | 5.7 | 9.5 | -376.79 | 2608 | 7 | 7
2023-09-08 | 3 | 270.8 | 316 | 426.1 | 97.35 | 90.3 | 105.2 | 142 | 32.45 | 2608 | 7 | 7
2023-09-09 | 2 | 3324.8 | 3368 | 3376.2 | 3116.09 | 1662.4 | 1683.8 | 1688.1 | 1558.045 | 2608 | 7 | 7
Overall | 18 | 1306 | 5008 | 5268 | 589.33 | 87 | 285 | 296 | 54.5996 | 2608
Footnotes:
[1] Total Delivered kWh (Unadjusted) - This is the overall performance including all customers / aggregations over and under-performing in all performance intervals.
[2] Total Delivered kWh (Event Net Positive Performance) - This is overall net positive performance utilizing the net event method. Net negative performance for any customer / aggregation as evaluated by summing performance over the entire event is not included.
[3] Total Delivered kWh (Interval Positive Performance) - This is overall positive performance at each performance interval.
[4] Total Delivered kWh (Aggregated) - This is the overall performance for A.6 participants calculated by summing individual metered load first and then calculating baseline and performance
Overlapping SDP Event Intervals
2022-09-05T19:00-07:00
2022-09-05T20:00-07:00
2022-09-05T21:00-07:00
2022-09-06T18:00-07:00
2022-09-06T19:00-07:00
2022-09-06T20:00-07:00
2022-09-06T21:00-07:00
2022-09-07T19:00-07:00
2022-09-07T20:00-07:00
2022-09-07T21:00-07:00
2022-09-08T19:00-07:00
2022-09-08T20:00-07:00
Note on K1: Nominations includes a 14% derate for holiday and weekend events.
Note on M1: Note: The difference between Column J and Column K are the accounts with missing meter data. Because there are customers with missing meter data their performance cannot be calculated and therefore their performance is not included in these results.
Note on A8: Jake Highleyman: Red Text indicates that an overlapping SDP-C event occurred on that day.

## A.1 BIP
Event Date | Event Duration (hrs) | BIP Event Overlap? | BIP Event Duration (hrs) | Total Delivered kWh (Unadjusted; All Participants) [1] | Total Delivered kWh (Event Net Positive Performance) [2] | Total Delivered kWh (Interval Positive Performance) [3] | Average Hourly Delivered kWh (Unadjusted; All Participants) | Average Hourly Delivered kWh (Event Net Positive Performance) | Average Hourly Delivered kWh (Interval Positive Performance) | Nominated kW | Number of Overall Services Account in Subgroup | Number of Accounts with Performance Calculated
2022-08-17 | NA
2022-08-31 | 3 | No | - |  | - | - | 0 | - | - |  | 16 | N/A
2022-09-01 | 1 | No | - |  | - | - | 0 | - | - |  | 16 | N/A
2022-09-02 | NA
2022-09-03 | 2 | No | - |  | - | - | 0 | - | - |  | 18 | N/A
2022-09-04 | 3 | No | - |  | - | - | 0 | - | - |  | 18 | N/A
2022-09-05 | 4 | Yes | 1.75 | -10744 | 8907 | 10109 | -6139 | 5090 | 5776 | 16605 | 18 | 18
2022-09-06 | 5 | Yes | 3.75 | 11059 | 15023 | 22972 | 2949 | 4006 | 6126 | 16605 | 18 | 18
2022-09-07 | 5 | Yes | 2 | 2549 | 7993 | 10387 | 1274 | 3997 | 5193 | 16605 | 18 | 18
2022-09-08 | 5 | No | - |  | - | - | 0 | - | - |  | 18 | N/A
2022-09-09 | 2 | No | - |  | - | - | 0 | - | - |  | 18 | N/A
Overall | 30 | 0 | 8 | 2864 | 31923 | 43467 | -213 | 4364 | 5699 | 16605 | 18 | 18
Footnotes:
[1] Total Delivered kWh (Unadjusted) - This is the overall performance including all customers / aggregations over and under-performing in all performance intervals.
[2] Total Delivered kWh (Event Net Positive Performance) - This is overall net positive performance utilizing the net event method. Net negative performance for any customer / aggregation as evaluated by summing performance over the entire event is not included.
[3] Total Delivered kWh (Interval Positive Performance) - This is overall positive performance at each performance interval.
BIP Interval List
2022-09-05T18:45-07:00
2022-09-05T19:00-07:00
2022-09-05T19:15-07:00
2022-09-05T19:30-07:00
2022-09-05T19:45-07:00
2022-09-05T20:00-07:00
2022-09-05T20:15-07:00
2022-09-06T17:15-07:00
2022-09-06T17:30-07:00
2022-09-06T17:45-07:00
2022-09-06T18:00-07:00
2022-09-06T18:15-07:00
2022-09-06T18:30-07:00
2022-09-06T18:45-07:00
2022-09-06T19:00-07:00
2022-09-06T19:15-07:00
2022-09-06T19:30-07:00
2022-09-06T19:45-07:00
2022-09-06T20:00-07:00
2022-09-06T20:15-07:00
2022-09-06T20:30-07:00
2022-09-06T20:45-07:00
2022-09-07T18:30-07:00
2022-09-07T18:45-07:00
2022-09-07T19:00-07:00
2022-09-07T19:15-07:00
2022-09-07T19:30-07:00
2022-09-07T19:45-07:00
2022-09-07T20:00-07:00
2022-09-07T20:15-07:00
Note on E1: Unlike the last summary, this report only includes Net Performance for BIP-overlapping hours.
Note on F1: This is overall performance utilizing the net event method. Therefore, negative performance for any customer as evaluated by summing performance over the entire event is not included. Includes only overlapping BIP intervals.
Note on G1: This is overall performance utilizing the interval positive method. Therefore, negative performance evaluated at the interval level is not included. Includes only overlapping BIP intervals.
Note on I1: Includes only overlapping BIP intervals.
Note on J1: Includes only overlapping BIP intervals.
Note on K1: Nominations includes a 14% derate for holiday and weekend events.
Note on M1: There is 1 A.1 BIP service account with missing meter data. This customer's performance cannot yet be calculated and therefore is not included in these results.

## A.2 Non-BIP
Event Date | Event Duration (hrs) | Total Delivered kWh (Unadjusted; All Participants) [1] | Total Delivered kWh (Event Net Positive Performance) [2] | Total Delivered kWh (Interval Positive Performance) [3] | Average Hourly Delivered kWh (Unadjusted; All Participants) | Average Hourly Delivered kWh (Event Net Positive Performance) | Average Hourly Delivered kWh (Interval Positive Performance) | Nominated kW | Number of Overall Services Account in Subgroup | Number of Accounts with Performance Calculated
2022-08-17 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-08-31 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-09-01 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-09-02 | NA
2022-09-03 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-09-04 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-09-05 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-09-06 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-09-07 | 5 | 371.5072 | 371.5072 | 651.6808 | 74.3014 | 74.3014 | 130.3362 | 1000 | 5 | 5
2022-09-08 | 5 | 3319.946 | 3319.946 | 3486.9811 | 663.9892 | 663.9892 | 697.3962 | 3150 | 47 | 47
2022-09-09 | 2 | 1968.8016 | 1968.8016 | 1968.8016 | 984.4008 | 984.4008 | 984.4008 | 3150 | 47 | 47
Overall | 35 | 5660 | 5660 | 6107 | 172 | 172 | 181 | 730
Footnotes:
[1] Total Delivered kWh (Unadjusted) - This is the overall performance including all customers / aggregations over and under-performing in all performance intervals.
[2] Total Delivered kWh (Event Net Positive Performance) - This is overall net positive performance utilizing the net event method. Net negative performance for any customer / aggregation as evaluated by summing performance over the entire event is not included.
[3] Total Delivered kWh (Interval Positive Performance) - This is overall positive performance at each performance interval.
Note on C1: The is the overall performance including all non-BIP aggregations over and under-performing in all performance intervals. (All A.2 Non-BIP aggregators)
Note on D1: This is overall performance utilizing the net event method. Therefore, net negative performance for any non-BIP aggregation as evaluated by summing performance over the entire event is not included.
Note on E1: This is overall positive performance at each performance interval. Therefore, only includes hours in which a A.2 non-BIP aggregation resulted in positive load reduction; hours with negative results are excluded.

## A.4 VPP
Event Date | Event Duration (hrs) [5] | Total Delivered kWh (Unadjusted; All Participants) [1] | Total Delivered kWh (Event Net Positive Performance) [2] | Total Delivered kWh (Interval Positive Performance) [3] | Total Delivered kWh (Aggregate) [4] | Average Hourly Delivered kWh (Unadjusted; All Participants) | Average Hourly Delivered kWh (Event Net Positive Performance) | Average Hourly Delivered kWh (Interval Positive Performance) | Average Hourly Delivered kWh (Aggregate) | Nominated kW | Number of Overall Services Account in Subgroup | Number of Accounts with Performance Calculated
2022-08-17 | 5 | 2128 | 2252 | 3122 | 1771.6886 | 425.6 | 450.4 | 624.4 | 354.3377 | 1640 | 272 | 269
2022-08-31 | 3 | 8804 | 8815 | 9430 | 7977.8709 | 2934.6667 | 2938.3333 | 3143.3333 | 2659.2903 | 2130 | 733 | 727
2022-09-01 | 1 | 4551 | 4558 | 4565 | 4127.4651 | 4551 | 4558 | 4565 | 4127.4651 | 2130 | 751 | 745
2022-09-02 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-09-03 | 2 | 8552 | 8582 | 8686 | 7932.7231 | 4276 | 4291 | 4343 | 3966.3616 | 3900 | 804 | 797
2022-09-04 | 3 | 10206 | 10340 | 11117 | 9250.0518 | 3402 | 3446.6667 | 3705.6667 | 3083.3506 | 3900 | 923 | 914
2022-09-05 | 4 | 10456 | 10577 | 12793 | 9276.7202 | 2614 | 2644.25 | 3198.25 | 2319.1801 | 4200 | 990 | 980
2022-09-06 | 5 | 8813 | 9074 | 12595 | 7356.8141 | 1762.6 | 1814.8 | 2519 | 1471.3628 | 4875 | 1013 | 1002
2022-09-07 | 5 | 9132 | 9313 | 12981 | 7660.4041 | 1826.4 | 1862.6 | 2596.2 | 1532.0808 | 5000 | 1032 | 1021
2022-09-08 | 5 | 7379 | 8211 | 11736 | 5892.1959 | 1475.4 | 1641.8 | 2346.8 | 1178.4392 | 5113 | 1081 | 1069
2022-09-09 | 4 | 5804.1 | 6759.1 | 9100.1 | 4400.3752 | 1455.5 | 1694.25 | 2279.5 | 1104.8438 | 5113 | 1097 | 1085
Overall | 37 | 75825.1 | 78481.1 | 96125.1 | 65646.309 | 2247.5606 | 2303.8273 | 2665.5591 | 1981.5193 | 3454.6364
Footnotes:
[1] Total Delivered kWh (Unadjusted) - This is the overall performance including all customers / aggregations over and under-performing in all performance intervals.
[2] Total Delivered kWh (Event Net Positive Performance) - This is overall net positive performance utilizing the net event method. Net negative performance for any customer / aggregation as evaluated by summing performance over the entire event is not included.
[3] Total Delivered kWh (Interval Positive Performance) - This is overall positive performance at each performance interval.
[4] Total Delivered kWh (Aggregated) - This is the overall performance for A.6 participants calculated by summing individual metered load first and then calculating baseline and performance.
[5] Aggregators under this subgroup may receive dispatches of differing duration.
Note on C1: The is the overall performance including all A.4. VPP aggregators over and under-performing in all performance intervals.
Note on D1: This is the performance associated utilizing the net event method (e.g. A.4. VPP aggregation is net positive for the ELRP event day). Therefore, negative performance for any A.4. VPP aggregation, as evaluated by summing performance over the entire event, is not included.
Note on E1: This is positive performance at each performance interval (e.g. positive performance for A.4 VPP aggregators). Performance intervals where the A.4. VPP aggregation is negative are not included in this total.

## A.6
Event Date | Event Duration (hrs) | Total Delivered kWh (Aggregated) [4] | Total Delivered kWh (Unadjusted; All Participants) [1] | Total Delivered kWh (Event Net Positive Performance) [2] | Total Delivered kWh (Interval Positive Performance) [3] | Average Hourly Delivered kWh (Unadjusted; All Participants) | Average Hourly Delivered kWh (Event Net Positive Performance) | Average Hourly Delivered kWh (Interval Positive Performance) | Nominated kW | Number of Overall Services Account in Subgroup | Number of Accounts with Performance Calculated
2022-08-17 | 5 | 259392 | 2487002.383 | 4310770.075 | 5003883.839 | 497400.4766 | 862154.015 | 1000776.7678 | 57274.77 | 1909159 | 1897475
2022-08-31 | NA
2022-09-01 | 5 | 1414794 | 2184547.642 | 4127804.313 | 4903622.305 | 436909.5284 | 825560.8626 | 980724.461 | 57031.65 | 1901055 | 1814050
2022-09-02 | 5 | 3139219 | 3344892.965 | 5100272.21 | 5897174.529 | 668978.593 | 1020054.442 | 1179434.9058 | 57030.9 | 1901030 | 1866891
2022-09-03 | 5 | 1221258 | 492896.794 | 3625185.209 | 4655471.739 | 98579.3588 | 725037.0418 | 931094.3478 | 57032.25 | 1901075 | 1888067
2022-09-04 | 5 | 1371025 | 1011444.401 | 3994930.802 | 5016669.462 | 202288.8802 | 798986.1604 | 1003333.8924 | 57071.1 | 1902370 | 1889357
2022-09-05 | 5 | -1343665 | -1384488.149 | 2734772.266 | 3810878.898 | -276897.6298 | 546954.4532 | 762175.7796 | 57071.79 | 1902393 | 1889355
2022-09-06 | 5 | 2875848 | 2640838.544 | 4668433.028 | 5517322.567 | 528167.7088 | 933686.6056 | 1103464.5134 | 57072.21 | 1902407 | 1868509
2022-09-07 | 5 | 2972718 | 2692640.091 | 4653623.786 | 5498296.775 | 538528.0182 | 930724.7572 | 1099659.355 | 57071.76 | 1902392 | 1867347
2022-09-08 | 5 | 1316902 | 2336687.558 | 4594285.062 | 5455464.007 | 467337.5116 | 918857.0124 | 1091092.8014 | 57088.59 | 1902953 | 1868556
2022-09-09 | 5 | 6381788 | 7679464.437 | 8581720.028 | 9207533.4 | 1535892.8874 | 1716344.0056 | 1841506.68 | 57088.38 | 1902946 | 1867934
Overall | 50 | 19609279 | 23485927 | 46391797 | 54966318 | 469719 | 927836 | 1099326 | 57083
Footnotes:
[1] Total Delivered kWh (Unadjusted) - This is the overall performance including all customers / aggregations over and under-performing in all performance intervals.
[2] Total Delivered kWh (Event Net Positive Performance) - This is overall net positive performance utilizing the net event method. Net negative performance for any customer / aggregation as evaluated by summing performance over the entire event is not included.
[3] Total Delivered kWh (Interval Positive Performance) - This is overall positive performance at each performance interval.
[4] Total Delivered kWh (Aggregated) - This is the overall performance for A.6 participants calculated by summing individual metered load first and then calculating baseline and performance
Note on D1: The is the overall performance including all customers over and under-performing in all performance intervals (hourly for A.6 customers).
Note on E1: This is overall performance utilizing the net event method. Therefore, net negative performance for any customer, as evaluated by summing performance over the entire event, is not included.
Note on F1: This is overall positive performance at each performance interval (hourly for A.6 customers). A customer's hourly performance interval that results in a negative load reduction are excluded from this total.
Note on J1: A.6 Nominations were estimated based on 0.03 kW / customer assumption.
Note on L1: Note: The difference between Column J and Column K are the accounts with missing meter data. Because there are customers with missing meter data their performance cannot be calculated and therefore their performance is not included in these results.