## Directions
The template in the sheet "Test Results" is to report the quarterly 4-hour test of all resource IDs to comply with D.20-06-031. For questions, contact LoadImpactProtocolsInfo@cpuc.ca.gov.
The following are guidance for the testing requirements
1. The DR resources must be dispatched for four consecutive hours in the RA window at least once every quarter. [Per D.20-06-031, OP 13(a)]
2. This requirement can be fulfilled either through a CAISO market dispatch or an out-of-market test with a preference for market dispatches. [Per D.20-06-031, p.40]
3. The quarterly dispatch must be done at the Resource ID (RID) level and all resources within the same Sub-Load Aggregation Point (Sub-LAP) must be dispatched concurrently. [Per D.20-06-031, OP 13(b)]
4. Performance must be averaged over the four consecutive hours for each day. [Per D.20-06-031, p.41] ED Staff request the QC window should be from 5-9pm within AAH, not 4-8pm.
5. The Scheduling Coordinator (SC) must submit the performance result for the quarterly dispatch to the DR buyer, DR provider, Energy Division, and the CAISO by the end of the quarter following the quarter in which the dispatch occurs. [Per D.20-06-031, OP 14(a)]
6. The third-party DRPs must include the performance results of 4-hour dispatches in the LIP Reports submitted to the CPUC. [Per D.20-06-031, OP 14(b)]
7. All DR resources belonging to a third party DRP for which results are not timely provided will be ineligible for RA showings until the results are submitted. If the DRP is unable to provide results by the appointed date due to inability to access the required meter data, they may submit documentation showing efforts to acquire the supporting data. [Per D.20-06-031, p.41]
8. All quarterly dispatch results and/or documentation of efforts to acquire the supporting data should be submitted to Energy Division (by the end of the quarter following the quarter in which the dispatch occurs) at LoadImpactProtocolsInfo@cpuc.ca.gov.
The following are descriptions of each column:
Quarter: Quarter in which this test occurred (E.g., Q1, Q2, et al.)
Resource ID: The resource ID which was measured for the quarterly test
Sub-LAP: The sub-Load Aggregation Point (Sub-LAP) in which the resource ID resides. **Each table in quarterly test results is filled with Resource IDs from a unique Sub-LAP
Procurement Entity / Buyer: Buyer of the contracted capacity of the resource ID during the time of the test (e.g., CCA)
Date: The date of the quarterly test. Should be the same for all resource IDs within each Sub-LAP
Start of 4-hour test (HE): the hour ending in which the 4-hour test began (e.g., 18). It is preferred tests occur from 5-9pm
Measured Load Reduction in Hour #1 (MWh): the load reduction from LIP in hour 1 of test
Measured Load Reduction in Hour #2 (MWh): the load reduction from LIP in hour 2 of test
Measured Load Reduction in Hour #3 (MWh): the load reduction from LIP in hour 3 of test
Measured Load Reduction in Hour #4 (MWh): the load reduction from LIP in hour 4 of test
Total Measured Load Reduction (MWh): sum of the 4-hour performance (formula input)
Average Measured Load Reduction (MWh/h): the average load reduction from LIP over the 4-hours (formula input)
Month-Ahead RA Committed Capacity (MW): The month-ahead RA-eligible QC for each resource ID during test month
Year-Ahead RA Committed Capacity (MW): The year-ahead RA-eligible QC for each resource ID during test month
The "Test Results" tab has reporting tables split by sub-LAP. Please add as many tables as required for as many sub-LAPs in which the DRP is active.

## Test Results
Demand Response Provider:
Calendar Quarter
Quarterly Test Month
Aggregate Month-ahead supply plan quantity in test month (MW):
Aggregate Year-ahead supply plan quantity in test month (MW):
Calendar Quarter | Resource ID | Sub-LAP | Procurement Entity / Buyer | Date of Test | Start of 4-hour test (HE) | Measured Load Reduction in Hour #1 (MWh) | Measured Load Reduction in Hour #2 (MWh) | Measured Load Reduction in Hour #3 (MWh) | Measured Load Reduction in Hour #4 (MWh) | Total Measured Load Reduction (MWh) | Average Measured Load Reduction (MWh/h) | Month- Ahead RA Committed Capacity (MW) | Year- Ahead RA Committed Capacity (MW)
Q1 | RID1 | SLAP1 |  | 2022-01-15 | 18 | 1.0847 | 1.0847 | 1.0847 | 1.0847 | 4.339 | 1.0847 | 1 | 1.1
Q1 | RID2 | SLAP1 |  | 2022-01-15 | 18 | 0.57494 | 1 | 0.3 | 0.2 | 2.0749 | 0.51873 | 1 | 0.95
Q1 | …. | SLAP1 |  | 2022-01-15 | 18 | 2 | 1 | 0.5 | 0.3 | 3.8 | 0.95 | 2 | 2
Q1 | RIDN | SLAP1 |  | 2022-01-15 | 18 | 1 | 0.9 | 0.4 | 0.1 | 2.4 | 0.6 | 1.5 | 1.45
Sub-LAP #1 Total | 4 |  |  |  |  | 4.6597 | 3.9847 | 2.2847 | 1.6847 | 12.6139 | 3.1535 | 5.5 | 5.5
Calendar Quarter | Resource ID | Sub-LAP | Procurement Entity / Buyer | Date of Test | Start of 4-hour test (HE) | Measured Load Reduction in Hour #1 (MWh) | Measured Load Reduction in Hour #2 (MWh) | Measured Load Reduction in Hour #3 (MWh) | Measured Load Reduction in Hour #4 (MWh) | total_reduction_mwh | Average Load Reduction (MWh/h) | Month- Ahead RA Committed Capacity (MW) | Year- Ahead RA Committed Capacity (MW)
Q1 | RID5 | SLAP2 |  | 2022-01-15 | 18 | 1.0847 | 1.0847 | 1.0847 | 1.0847 | 4.339 | 1.0847 | 1 | 1.1
Q1 | RID6 | SLAP2 |  | 2022-01-15 | 18 | 2 | 1 | 0.5 | 0.3 | 3.8 | 0.95 | 2 | 2
Q1 | …. | SLAP2 |  | 2022-01-15 | 18 | 1 | 0.9 | 0.4 | 0.1 | 2.4 | 0.6 | 1.5 | 1.5
Q1 | RIDN | SLAP2 |  | 2022-01-15 | 18 | 1 | 0.9 | 0.4 | 0.1 | 2.4 | 0.6 | 1.5 | 1.45
Sub-LAP #2 Total | 4 |  |  |  |  | 5.0847 | 3.8847 | 2.3847 | 1.5847 | 12.939 | 3.2347 | 6 | 6.05
Total Resource ID | 8

## Drop Down (hidden)
Quarter | Month
Q1 | 1
Q2 | 2
Q3 | 3
Q4 | 4
5
6
7
8
9
10
11
12