## Field Definitions
Field Name | Description
Measure ID | Unique Model Measure Identifier
Measure Name | Name of the measure in model
IOU | Applicable Utility
Sector | Applicable Market Sector (Res, Com, Ind, Ag, Mining, Streetlights)
Fuel Type | Applicable Fuel Type (Elec or Gas)
Efficiency Measure | Efficient Measure Description
Base Case Description | Base Measure Description
Code Description | Code Measure description
Use Category | Use Categories describe how or where technologies are used
Use SubCategory | Use Sub-Categories describe in more detail how or where technologies are used
Technology Group | All Technology Types are associated with a high-level Technology Group consistent with the 0.98 SPTdb specifications where applicable
Technology Type | Technology types are based on common parameters used to define the technology consistent with the 0.98 SPTdb specifications where applicable
Technology SubType | Detailed description of Technologies within a Tech Group and SubType Pair where applicable
Is Replace on Burnout | Identifies if a measure is a replace on burnout application
Is Emerging Technology | Identifies if a measure is an Emerging Technology
Is HIM | Identifies if a measure is a High Impact Measure
Net to Gross Factor | The Net-to-Gross factor applied to savings values to asses net savings consistent with the 0.98 SPTdb specifications
NTGID | SPTdb Net-to-Gross Factor ID consistent with the 0.98 SPTdb specifications where applicable
Measure Market Introduction Year | Year that the measure becomes available to the market (if applicable) - Generally for emerging technologies
Technology Applicability | The applicable portion of the total population for which the technology can be installed
Competition Group | Identifier for measures that compete for a mutually exclusive installation.
Units | The common units of measurement for savings, costs and densities
Building Type Code | Modeling code for the applicable building type consistent with the 0.98 SPTdb specifications
Building Type Description | Detailed building type description consistent with the 0.98 SPTdb specifications
Building Vintage | Applicable building vintage (New or Existing buildings)
Climate Zone | The climate zone identifier used for weather sensitive measures
Climate Zone Description | Detailed climate zone description
Implementation ID | Used as identifiers for Streetlighting and Mining sectors
Measure Area per building | Not Used
Number of units per building | Not Used
Scaling Factor | Scaling factor applied measure inputs to scale savings to the total population
2013 Base Technology Density | Density of the base measure per scaling factor
2013 Efficient Technology Density | Density of the efficient measure per scaling factor
Total Maximum Density | Total density of the base and efficient meaures combined per scaling factor
Density Units | Units of the density per scaling factor
EE Consumption kWh | Electric energy consumption of the efficient measure (kWh)
Base Consumption kWh | Electric energy consumption of the base measure (kWh)
Code Consumption kWh | Electric energy consumption of the code compliant measure (kWh)
EE Demand kW | Electric demand of the efficient measure (kW)
Base Demand kW | Electric demand of the base measure (kW)
Code Demand kW | Electric demand of the code compliant measure (kW)
EE Consumption therms | Gas energy consumption of the efficient measure (therms)
Base Consumption therms | Gas energy consumption of the base measure (therms)
Code Consumption therms | Gas energy consumption of the code compliant measure (therms)
EE Interactive Consumption kWh | Electric interactive effects of the efficient measure (kWh)
Base Interactive Consumption kWh | Electric interactive effects of the base measure (kWh)
Code Interactive Consumption kWh | Electric interactive effects of the code compliant measure (kWh)
EE Interactive Demand kW | Electric demand interactive effects of the efficient measure (kW)
Base Interactive Demand kW | Electric demand interactive effects of the base measure (kW)
Code Interactive Demand kW | Electric demand interactive effects of the code compliant measure (kW)
EE Interactive Consumption therms | Gas interactive effects of the efficient measure (therms)
Base Interactive Consumption therms | Gas interactive effects of the base measure (therms)
Code Interactive Consumption therms | Gas interactive effects of the code compliant measure (therms)
EULID | Effective useful life Identifier consistent with the 0.98 SPTdb specifications where applicable
EE Estimated Useful Life | Effective useful life of the efficient measure consistent with the 0.98 SPTdb specifications where applicable
Base Estimated Useful Life | Effective useful life of the base measure consistent with the 0.98 SPTdb specifications where applicable
Code Estimated Useful Life | Effective useful life of the code compliant measure consistent with the 0.98 SPTdb specifications where applicable
Remaining Useful Life | Remaining useful life of the measure (EUL/3) consistent with the 0.98 SPTdb specifications where applicable
Incentive Fraction | Fraction of incremental measure costs paid for by the incentive (changes based on scenario runs, 0.5 is default)
EE Material Cost | Material cost of the efficient measure
Base Material Cost | Material cost of the base measure
Code Material Cost | Material cost of the code compliant measure
EE Labor Cost | Labor cost of installing the efficient measure
Base Labor Cost | Labor cost of installing the base measure
Code Labor Cost | Labor cost of installing the code compliant measure
Incremental O and M Benefits | Operational and Maintenance benefits due to efficient measure
Non Energy Benefits | Other non-energy benefits related to whole building measures
Emerging Technology Risk Factor | The Emerging Technology risk factor
2006 to 2009 UES factor | Multiplier applied to the Unit Energy Savings for 2006-2009
2010 to 2012 UES factor | Multiplier applied to the Unit Enegryg Savings from 2010-2012
2006 Base Technology Density | Base Technology density in 2006
2006 Efficient Technology Density | Efficient Technology density in 2006
EEkWhSavings (Ind) | Industrial specific electric energy savings
EEkWSavings (Ind) | Industrial specific electric demand savings
EEthermSavings (Ind) | Industrial specific gas energy savings
EEkWhInteractiveSavings (Ind) | Industrial specific electric energy interactive effects
EEkWInteractiveSavings (Ind) | Industrial specific demand interactive effects
EEThermInteractiveSavings (Ind) | Industrial specific gas interactive effects
EEIncrementalCost (Ind) | Industrial specific incremental costs
Efficient Cost Reduction | Efficient cost reduction factor for efficient equipment over forecast (high, medium, low)
Code Cost Reduction | Code cost reduction factor for code compliant equipment over forecast (high, medium, low)
Base Cost Reduction | Base cost reduction factor for base equipment over forecast (high, medium, low)
Efficient Consumption Reduction | Efficient consumption reduction factor for efficient equipment over forecast (high, medium, low)
IsBundle | Identifier for bundled measures
Is DEER | Identifier for DEER measures
Is Incremental Basis | Industrial specific incremental savings identifier
Rollup Measure Name | Combination of measure name and end-use category for aggregated results
UES kWh | Electric Unit Energy Savings (kWh)
UES kW | Demand Unit Energy Savings (kW)
UES Therms | Gas Unit Energy Savings (therms)

## Measure Update Data Sources
Sector | Measure Name | Savings Source | Cost Source | Density Source | Efficiency Measure | Base Case Description | Code Description
Ag | Ag HVAC - Equipment (High Cost) | Navigant calculations; 2015 Commercial MICS; DEER 2015 | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC & Fenestration | Baseline HVAC & Fenestration | Baseline HVAC & Fenestration
Ag | Ag HVAC - Equipment (High Cost) | Navigant calculations; 2015 Commercial MICS; DEER 2015 | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC Equipment | Base HVAC Equipment | Base HVAC Equipment
Ag | Ag HVAC - Equipment (Mid Cost) | Navigant calculations; 2015 Commercial MICS; DEER 2015 | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC & Fenestration | Baseline HVAC & Fenestration | Baseline HVAC & Fenestration
Ag | Ag HVAC - Equipment (Mid Cost) | Navigant calculations; 2015 Commercial MICS; DEER 2015 | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC Equipment | Base HVAC Equipment | Base HVAC Equipment
Ag | Ag Motor Pmp - Equipment (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Motor Pmp Equipment | Existing Motor Pmp Equipment | Existing Motor Pmp Equipment
Ag | Ag Motor Pmp - Equipment (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Motor Pmp Equipment | Existing Motor Pmp Equipment | Existing Motor Pmp Equipment
Ag | Ag Motor Pmp - Equipment (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Motor Pmp Equipment | Existing Motor Pmp Equipment | Existing Motor Pmp Equipment
Ag | Ag Motor Pmp - O&M (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Motor Pmp O&M | Existing Motor Pmp O&M | Existing Motor Pmp O&M
Ag | Ag Motor Pmp - O&M (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Motor Pmp O&M | Existing Motor Pmp O&M | Existing Motor Pmp O&M
Ag | Ag Motor Pmp - O&M (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Motor Pmp O&M | Existing Motor Pmp O&M | Existing Motor Pmp O&M
Ag | Ag Process Dry - Equipment (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Process Dry Equipment | Existing Process Dry Equipment | Existing Process Dry Equipment
Ag | Ag Process Dry - Equipment (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Process Dry Equipment | Existing Process Dry Equipment | Existing Process Dry Equipment
Ag | Ag Process Dry - Equipment (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Process Dry Equipment | Existing Process Dry Equipment | Existing Process Dry Equipment
Ag | Ag Process Dry - O&M (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Process Dry O&M | Existing Process Dry O&M | Existing Process Dry O&M
Ag | Ag Process Dry - O&M (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Process Dry O&M | Existing Process Dry O&M | Existing Process Dry O&M
Ag | Ag Process Dry - O&M (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Process Dry O&M | Existing Process Dry O&M | Existing Process Dry O&M
Ag | Ag Process Mtr - Equipment (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Process Mtr Equipment | Existing Process Mtr Equipment | Existing Process Mtr Equipment
Ag | Ag Process Mtr - Equipment (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Process Mtr Equipment | Existing Process Mtr Equipment | Existing Process Mtr Equipment
Ag | Ag Process Mtr - Equipment (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Process Mtr Equipment | Existing Process Mtr Equipment | Existing Process Mtr Equipment
Ag | Ag Process Mtr - O&M (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Process Mtr O&M | Existing Process Mtr O&M | Existing Process Mtr O&M
Ag | Ag Process Mtr - O&M (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Process Mtr O&M | Existing Process Mtr O&M | Existing Process Mtr O&M
Ag | Ag Process Mtr - O&M (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Process Mtr O&M | Existing Process Mtr O&M | Existing Process Mtr O&M
Ag | Ag Refrigeration - Equipment (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Refrigeration Equipment | Existing Refrigeration Equipment | Existing Refrigeration Equipment
Ag | Ag Refrigeration - Equipment (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Refrigeration Equipment | Existing Refrigeration Equipment | Existing Refrigeration Equipment
Ag | Ag Refrigeration - Equipment (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Refrigeration Equipment | Existing Refrigeration Equipment | Existing Refrigeration Equipment
Ag | Ag Refrigeration - O&M (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Refrigeration O&M | Existing Refrigeration O&M | Existing Refrigeration O&M
Ag | Ag Refrigeration - O&M (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Refrigeration O&M | Existing Refrigeration O&M | Existing Refrigeration O&M
Ag | Ag Refrigeration - O&M (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Refrigeration O&M | Existing Refrigeration O&M | Existing Refrigeration O&M
Ag | Ag SHWC - Equipment (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient SHWC Equipment | Base SHWC Equipment | Base/Code SHWC Equipment
Ag | Ag SHWC - Equipment (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient SHWC Equipment | Existing SHWC Equipment | Existing SHWC Equipment
Ag | Ag SHWC - Equipment (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient SHWC Equipment | Existing SHWC Equipment | Existing SHWC Equipment
Ag | Ag SHWC - Equipment (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient SHWC Equipment | Existing SHWC Equipment | Existing SHWC Equipment
Ag | Ag SHWC - O&M (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient SHWC O&M | Existing SHWC O&M | Existing SHWC O&M
Ag | Ag SHWC - O&M (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient SHWC O&M | Existing SHWC O&M | Existing SHWC O&M
Ag | Ag SHWC - O&M (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient SHWC O&M | Existing SHWC O&M | Existing SHWC O&M
COM | AppPlug - Computer Monitor | 2013 Study | 2013 Study | 2013 Study | LCD Computer Monitor | CRT Monitors | CRT Monitors
COM | AppPlug - Desktop Computer (Com - Power Management) | 2013 Study | 2013 Study | 2013 Study | Power Management Software for Networked Computers | No power management software. | No power management software.
COM | AppPlug - Occupancy Sensor Plug Strip | 2013 Study | 2013 Study | 2013 Study | Occupancy Sensor-Plug Load | No Occupancy Sensor | No Occupancy Sensor
COM | AppPlug - Vending Machine Controls | 2013 Study | 2013 Study | 2013 Study | Vending Machine Controller | Vending Machine with No Control | Vending Machine with No Control
COM | BldgEnv - Attic Batt Insulation | 2013 Study | 2013 Study | 2013 Study | Attic Insulation NonRes | R-11 Attic Insulation or Lower | R-30 Attic Insulation or Greater
COM | BldgEnv - Wall Spray On Insulation | 2013 Study | 2013 Study | 2013 Study | Wall Insulation | R-0 Wall Insulation | R-13 Wall Insulation
COM | BldgEnv - Window Film | 2013 Study | 2013 Study | 2013 Study | Single Pane Clear Class with Reflective Film SHGC=0.39 | Existing single pane clear glass windows with SHGC = 0.82 | Existing single pane clear glass windows with SHGC = 0.82
COM | BldgEnv - Window Film | 2013 Study | 2013 Study | 2013 Study | Single Pane Clear Class with Reflective Film SHGC=0.39 | Existing single pane clear glass windows with SHGC = 0.89 | Existing single pane clear glass windows with SHGC = 0.89
COM | ComRefrig - Door Gasket (Reach-In Refrigerator) | 2013 Study | 2013 Study | 2013 Study | Tight-fitting door gasket for glass or solid doors to reach-in display case, cooler, or freezer | Deteriorated door gasket for glass or solid doors to reach-in display case, cooler, or freezer | Deteriorated door gasket for glass or solid doors to reach-in display case, cooler, or freezer
COM | ComRefrig - Door Gasket (Walk-In Refrigerator) | 2013 Study | 2013 Study | 2013 Study | Tight-fitting door gasket for glass or solid doors to walk-in cooler or freezer | Deteriorated door gasket for glass or solid doors to walk-in cooler or freezer | Deteriorated door gasket for glass or solid doors to walk-in cooler or freezer
COM | ComRefrig - Refrigerated Case Night Cover (Low Temp) | 2013 Study | 2013 Study | 2013 Study | Night covers for open vertical and horizontal low temperature display cases | Existing open vertical and horizontal low temperature display case with no night cover | Existing open vertical and horizontal low temperature display case with no night cover
COM | ComRefrig - Refrigerated Case Night Cover (Med Temp) | 2013 Study | 2013 Study | 2013 Study | Night covers for open vertical and horizontal medium temperature display cases | Existing open vertical and horizontal medium temperature display case with no night cover | Existing open vertical and horizontal medium temperature display case with no night cover
COM | ComRefrig - Strip Curtain for Walk In Refrigerator | 2013 Study | 2013 Study | 2013 Study | Strip Curtain for Walkins | No Curtain | No Curtain
COM | FoodServ - Electric Griddle | 2013 Study | 2013 Study | 2013 Study | Energy Efficient Electric Griddle, ES, EE >= 70% | Electric Griddle | Electric Griddle
COM | FoodServ - Electric Steamer | 2013 Study | 2013 Study | 2013 Study | ES Boilerless Connectionless Steamer | Standard Efficiency Boilerless Steamer | Standard Efficiency Boilerless Steamer
COM | FoodServ - Fryer (Electric) | 2013 Study | 2013 Study | 2013 Study | ES Electric Commercial Fryer with EE >=80% | Electric Commercial Fryer with EE < 80% | Electric Commercial Fryer with EE < 80%
COM | FoodServ - Fryer (Gas) | 2013 Study | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2013 Study | ES Gas Commercial Fryer with EE >=80% | Gas Commercial Fryer with EE < 80% | Gas Commercial Fryer with EE < 80%
COM | FoodServ - Grill to Order Cabinet | 2013 Study | 2013 Study | 2013 Study | EE Grill-To-Order (GTO) holding cabinet - production line | Steam-based holding cabinet - production line | Steam production line
COM | FoodServ - Oven (Electric) | 2013 Study | 2013 Study | 2013 Study | EE Energy Star Electric Oven | Standard Electric Oven | Standard Electric Oven
COM | FoodServ - Oven (Gas) | 2013 Study | 2013 Study | 2013 Study | EE Gas Oven | Standard Gas Oven | Standard Gas Oven
COM | HVAC - Comprehensive Rooftop Unit Quality Maintenance | 2013 Study | 2013 Study | 2013 Study | Comprehensive Commercial HVAC Rooftop Unit Quality Maintenance | Standard Maintenance | Standard Maintenance
COM | HVAC - Advanced Package Rooftop AC (> EER 12) - Emerging | 2013 Study | 2013 Study | 2013 Study | Advanced Rooftop Unit AC, EER 12, COP 3.52, Advanced Economizer and Controls | Package EER Rated dxAC - Average EER = 9.68 | Package EER Rated dxAC - Average EER = 10.51
COM | HVAC - AFUE Rated Boiler (High) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | High Efficiency AF-Rated Steam or Hot Water Boiler, All Sizes (<300 kBtuh to >2500 kBtuh) - Average Efficiency = 94% | High Efficiency AF-Rated Steam or Hot Water Boiler, All Sizes (<300 kBtuh to >2500 kBtuh) - Average Efficiency = 80% | High Efficiency AF-Rated Steam or Hot Water Boiler, All Sizes (<300 kBtuh to >2500 kBtuh) - Average Efficiency = 81%
COM | HVAC - AFUE Rated Boiler (Standard) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | Standard Efficiency AF-Rated Steam or Hot Water Boiler, All Sizes (<300 kBtuh to >2500 kBtuh) - Average Efficiency = 83% | Standard Efficiency AF-Rated Steam or Hot Water Boiler, All Sizes (<300 kBtuh to >2500 kBtuh) - Average Efficiency = 78% | Standard Efficiency AF-Rated Steam or Hot Water Boiler, All Sizes (<300 kBtuh to >2500 kBtuh) - Average Efficiency = 81%
COM | HVAC - Chiller (Centrifugal) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | Centrifugal Chiller - Average kW/Ton = 0.56 | Centrifugal Chiller - Average kW/Ton = 0.65 | Centrifugal Chiller - Average kW/Ton = 0.65
COM | HVAC - Chiller (Reciprocating) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | Reciprocating Chiller - Average kW/Ton = 0.84 | Reciprocating Chiller - Average kW/Ton =1.05 | Reciprocating Chiller - Average kW/Ton =1.05
COM | HVAC - Chiller (Screw) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | Screw Chiller - Average kW/Ton = 0.68 | Screw Chiller - Average kW/Ton = 0.85 | Screw Chiller - Average kW/Ton = 0.85
COM | HVAC - Demand Controlled Ventilation | 2013 Study | 2013 Study | 2013 Study | Demand Controlled Ventilation | No demand controlled ventilation | No demand controlled ventilation
COM | HVAC - Direct Evaporative Cooler | 2013 Study | 2013 Study | 2015 DEER | Direct Evaporative Cooler | Compressor-based space cooling (EER = 8.6) | Compressor-based space cooling (EER = 10.1)
COM | HVAC - EER Rated Package Rooftop AC (EER 11) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | Package EER Rated dxAC - Average EER = 11.41 | Package EER Rated dxAC - Average EER = 9.68 | Package EER Rated dxAC - Average EER = 10.51
COM | HVAC - EER Rated Package Rooftop HP (EER 11) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | Packaged EER-Rated Heat Pump - Average EER = 11.2, Average COP = 3.28 | Packaged EER-Rated Heat Pump - Average EER = 10.32 | Packaged EER-Rated Heat Pump - Average EER = 10.32
COM | HVAC - Energy Management System | 2013 Study | 2013 Study | 2013 Study | EMS | No EMS | No EMS
COM | HVAC - Energy Recovery Ventilation - Emerging | 2013 Study | 2013 Study | 2013 Study | Energy Recovery Ventilation system for commercial HVAC | No Energy Recovery Ventilation system | No Energy Recovery Ventilation system
COM | HVAC - ET Rated Boiler (High) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | High Efficiency ET-Rated Steam or Hot Water Boiler, All Sizes (<300 kBtuh to >2500 kBtuh) - Average Efficiency = 94% | High Efficiency ET-Rated Steam or Hot Water Boiler, All Sizes (<300 kBtuh to >2500 kBtuh) - Average Efficiency = 75% | High Efficiency ET-Rated Steam or Hot Water Boiler, All Sizes (<300 kBtuh to >2500 kBtuh) - Average Efficiency = 80%
COM | HVAC - ET Rated Boiler (Standard) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | Standard Efficiency ET-Rated Steam or Hot Water Boiler, All Sizes (<300 kBtuh to >2500 kBtuh) - Average Efficiency = 85% | Standard Efficiency ET-Rated Steam or Hot Water Boiler, All Sizes (<300 kBtuh to >2500 kBtuh) - Average Efficiency = 75% | Standard Efficiency ET-Rated Steam or Hot Water Boiler, All Sizes (<300 kBtuh to >2500 kBtuh) - Average Efficiency = 80%
COM | HVAC - Gas Furnace | 2015 DEER | 2013 Study | 2015 DEER | Packaged Furnace (Weatherized) 92 AFUE, HIR = 1.13857 | Packaged Furnace (Weatherized) 78 AFUE, HIR = 1.24067 | Minimum Code as of 1-1-2015, Packaged Furnace (Weatherized) 81 AFUE; HIR = 1.21728
COM | HVAC - Repair Duct System | 2013 Study | 2013 Study | 2015 DEER | Duct Sealing Efficient Case Leakage Reduction, Average Reduction = 14% Total | Duct Sealing Base Case Leakage Reduction, Average Reduction = 40% Total | Duct Sealing Code Standard Case Leakage Reduction, Average Reduction = 13% Total
COM | HVAC - SEER Rated Package Rooftop AC (Recharge) | 2013 Study | 2013 Study | 2015 DEER | Small Pkg SEER AC, Correct Refrigerant Charge to Factory Levels | Small Pkg SEER AC, Incorrect Refrigerant Charge | Small Pkg SEER AC, Correct Refrigerant Charge
COM | HVAC - SEER Rated Package Rooftop AC (SEER 14) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | Pkg AC SEER = 14.0 (< 55 kBtuh), EER = 12.04, Clg EIR = 0.2456, Supply Fan W/cfm = 0.306; no Econo; 1-spd Fan; Pkg AC SEER = 14.0 (55-64 kBtuh), EER = 12.04, Clg EIR = 0.2456, Supply Fan W/cfm = 0.306; no Econo; 2-spd Fan | Com SEER-Rated Pkg AC, 18-65 kBTU/h; pre-2001: SEER = 9.7 (EER = 9.21), one-speed fan, no Econo; post-2001: SEER = 13 (EER = 11.06), one-speed fan, no Econo; 2014: SEER = 14 (EER = 12.04), one-speed fan, no Econo; Com SEER-Rated Pkg AC, 18-65 kBTU/h; pre- | Commercial SEER-rated Packaged Air Conditioners, Size Range: 18 - 55 kBTU/h, SEER = 14 (EER = 12), EIR = 0.246, Fan W/CFM = 0.29, one-speed fan, without Econo; Commercial SEER-rated Packaged Air Conditioners, Size Range: 55 - 65 kBTU/h, SEER = 14 (EER = 1
COM | HVAC - SEER Rated Package Rooftop AC (SEER 15) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | Commercial SEER-rated Packaged Air Conditioners, Size Range: 18 - 55 kBTU/h, SEER = 15 (EER = 12.9), EIR = 0.234, Fan W/CFM = 0.25, one-speed fan, without Econo ; Commercial SEER-rated Packaged Air Conditioners, Size Range: 55 - 65 kBTU/h, SEER = 15 (EER | Com SEER-Rated Pkg AC, 18-65 kBTU/h; pre-2001: SEER = 9.7 (EER = 9.21), one-speed fan, no Econo; post-2001: SEER = 13 (EER = 11.06), one-speed fan, no Econo; 2014: SEER = 14 (EER = 12.04), one-speed fan, no Econo; Commercial SEER-rated Packaged Air Condit | Commercial SEER-rated Packaged Air Conditioners, Size Range: 18 - 55 kBTU/h, SEER = 14 (EER = 12), EIR = 0.246, Fan W/CFM = 0.29, one-speed fan, without Econo; Commercial SEER-rated Packaged Air Conditioners, Size Range: 55 - 65 kBTU/h, SEER = 14 (EER = 1
COM | HVAC - SEER Rated Package Rooftop HP (SEER 14) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | Packaged SEER-Rated Heat Pump - Average SEER = 14, Average COP = 3.51 | Packaged SEER-Rated Heat Pump - SEER = 13 | Packaged SEER-Rated Heat Pump - SEER = 14
COM | HVAC - SEER Rated Package Rooftop HP (SEER 15) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | Pkg HP SEER = 15.0 (< 65 kbtuh), EER = 12.0, HSPF = 8.50, COP = 3.74 | Packaged SEER-Rated Heat Pump - SEER = 13 | Packaged SEER-Rated Heat Pump - SEER = 14
COM | HVAC - SEER Rated Split System AC (SEER 14) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | Split AC SEER = 14.0 (< 55 kBtuh), EER = 12.04, Clg EIR = 0.2456, Supply Fan W/cfm = 0.306; no Econo; 1-spd Fan; Split AC SEER = 14.0 (55-64 kBtuh), EER = 12.04, Clg EIR = 0.2456, Supply Fan W/cfm = 0.306; no Econo; 2-spd Fan | Commercial SEER-rated split Air Conditioners, 18-65 kBTU/h; pre-2001: SEER = 10 (EER = 8.52), one-speed fan, no Econo; post-2001: SEER = 13 (EER = 11.08), one-speed fan, no Econo; 2014: SEER = 14 (EER = 12.17), one-speed fan, no Econo; Commercial SEER-rat | Commercial SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 14 (EER = 12.2), EIR = 0.239, Fan W/CFM = 0.29, one-speed fan, without Econo; Commercial SEER-rated split Air Conditioners, Size Range: 55 - 65 kBTU/h, SEER = 14 (EER = 11.7)
COM | HVAC - SEER Rated Split System AC (SEER 15) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | Commercial SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 15 (EER = 12.8), EIR = 0.232, Fan W/CFM = 0.25, one-speed fan, without Econo; Commercial SEER-rated split Air Conditioners, Size Range: 55 - 65 kBTU/h, SEER = 15 (EER = 12.6) | Commercial SEER-rated split Air Conditioners, 18-65 kBTU/h; pre-2001: SEER = 10 (EER = 8.52), one-speed fan, no Econo; post-2001: SEER = 13 (EER = 11.08), one-speed fan, no Econo; 2014: SEER = 14 (EER = 12.17), one-speed fan, no Econo; Commercial SEER-rat | Commercial SEER-rated split Air Conditioners, Size Range: 18 - 45 kBTU/h, SEER = 14 (EER = 12.2), EIR = 0.239, Fan W/CFM = 0.29, one-speed fan, without Econo; Commercial SEER-rated split Air Conditioners, Size Range: 55 - 65 kBTU/h, SEER = 14 (EER = 11.7)
COM | HVAC - SEER Rated Split System HP (SEER 14) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | Split SEER-Rated Heat Pump - Average SEER = 14.17, Average COP = 3.66 | Split SEER-Rated Heat Pump - SEER = 13 | Split SEER-Rated Heat Pump - SEER = 14
COM | HVAC - SEER Rated Split System HP (SEER 15) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2015 DEER | Split HP SEER = 15.0 (< 65 kBtuh), EER = 12.5, HSPF = 9.00, COP = 3.96 | Split SEER-Rated Heat Pump - SEER = 13 | Split SEER-Rated Heat Pump - SEER = 14
COM | HVAC - Thermostat | 2013 Study | 2013 Study | 2015 DEER | Thermostat replacement | One-stage non-programmable thermostat | One-stage non-programmable thermostat
COM | Lighting - Cold Cathode Lamp | 2013 Study | 2013 Study | 2013 Study | Cold cathode lamp 3W | Incandescent lamp 15W | Incandescent lamp 15W
COM | Lighting - Compact Fluorescent Fixture (Indoor) | Navigant calculations; California Commercial Saturation Survey (2014); DEER 2015 | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | California Commercial Saturation Survey (2014) | Indoor CFL Fixture (Any Shape Lamp) - Average Total Fixture Watts = 36.84, Average Total Fixture CFL Ratio = 0.353 | Indoor Incandescent Fixture (Any Shape Lamp) - Average Lamp Watts = 130.04, Average Total Fixture CFL Ratio = 0.353 | Indoor Incandescent Fixture (Any Shape Lamp) - Average Total Fixture CFL Ratio = 0.353
COM | Lighting - Compact Fluorescent Lamp (Basic High - Indoor) | Navigant calculations; California Commercial Saturation Survey (2014); DEER 2015 | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | California Commercial Saturation Survey (2014) | Indoor CFL Lamp (Screw-In >= 25W) - Average Lamp Watts = 36.95, Average Lamp CFL Ratio = 0.357 | Indoor Incandescent Lamp (Screw-In >= 25W) - Average Lamp Watts = 131.89W, Average Lamp CFL Ratio = 0.357 | Indoor Incandescent Lamp (Screw-In >= 25W) - Average Lamp CFL Ratio = 0.357
COM | Lighting - Compact Fluorescent Lamp (Basic Low - Indoor) | Navigant calculations; California Commercial Saturation Survey (2014); DEER 2015 | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | California Commercial Saturation Survey (2014) | Indoor CFL Lamp (Screw-In < 25W) - Average Lamp Watts = 16.28, Average Lamp CFL Ratio = 0.357 | Indoor Incandescent Lamp (Screw-In < 25W) - Average Lamp Watts = 58.13W, Average Lamp CFL Ratio = 0.357 | Indoor Incandescent Lamp (Screw-In < 25W) - Average Lamp CFL Ratio = 0.357
COM | Lighting - Exit Fixture (LED) | 2013 Study | 2013 Study | 2013 Study | Exit fixture: 2 Watt LED lamps (2), Total fixture Watts = 4; Average Lamp Wattage = 2, Average Fixture Wattage = 4 | Exit fixture: 7 Watt CFL lamps (1), Total fixture Watts = 10, Exit fixture: 7 Watt CFL lamps (2), Total fixture Watts = 21, Exit fixture: 20 Watt Incand lamps (2), Total fixture Watts = 40, Exit fixture: 25 Watt Incand lamps (1), Total fixture Watts = 25; | Exit fixture: Single-Sided Code Fixture, Total fixture Watts = 5, Double-Sided Code Fixture, Total fixture Watts = 10; Average Lamp Wattage = N/A; Average Fixture Wattage = 7.50
COM | Lighting - Halogen Lamp (A-Line) | 2013 Study | 2013 Study | 2013 Study | Halogen A-Line lamp | Incandescent lamp | Incandescent lamp
COM | Lighting - Halogen Lamp (Reflector) | 2013 Study | 2013 Study | 2013 Study | Halogen Reflector lamp | Incandescent lamp | Incandescent lamp
COM | Lighting - High Bay HID to T5 | Navigant calculations; California Commercial Saturation Survey (2014); DEER 2015 | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | California Commercial Saturation Survey (2014) | LF lamp and ballast: LF lamp: High Bay T5, 46 inch, 4 or 6 lamps; LF Ballast: Electronic, Programmed Start, High LO (1); Total Average Fixture Watts = 254 W, >15 feet fixture height | High Bay Lamp (>15 feet fixture height): mixed market average of PSMH HID (pulse-start metal halide, high intensity discharge) lamps and T5 fixtures, Average PSMH Lamp (1 per fixture) or T5 Fixture Wattage = 351 W | High Bay Lamp (>15 feet fixture height): PSMH (pulse-start metal halide, high intensity discharge) lamps, Average PSMH Lamp (1 per fixture) Wattage = 448 W
COM | Lighting - Induction Fixture (Indoor) | 2013 Study | 2013 Study | 2013 Study | Interior Induction Fixtures; 4 cases- 100W HID to 70W Induction; 101-175W HID to 100W Induction; 176-200W Induction to 120W Induction; 201-399W HID to 180W Induction; 400W HID to 250W Induction | Standard metal halide or high-pressure sodium | Standard metal halide or high-pressure sodium
COM | Lighting - Induction Fixture (Outdoor) | 2013 Study | 2013 Study | 2013 Study | Exterior Induction Fixtures; 4 cases- 100W HID to 70W Induction; 101-175W HID to 100W Induction; 176-200W Induction to 120W Induction; 201-399W HID to 180W Induction; 400W HID to 250W Induction | Standard metal halide or high-pressure sodium | Standard metal halide or high-pressure sodium
COM | Lighting - LED Fixture (Replacing T8) - Emerging | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014. | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014.; Navigant Internal Web-Scraped LED Database | Navigant. Adoption of Light Emitting Diodes in Common Lighting Applications: Snapshot of 2013 Trends. Prepared for the U.S. Department of Energy, May 2013. | LED fixture: 33W, 3500 lumens | LF fixture: T8, 48inch, 32W lamp (2), Total fixture Watts = 59; Ballast specs: Instant Start, Electronic, NLO, 2 per lamp; Lamp specs: 3175 lumens, CRI=70, rated hours = 20000 | LF fixture: T8, 48inch, 2970 lumens, 32W lamp(s), Total average fixture Watts = 90; Ballast specs: Instant Start, Electronic, NLO
COM | Lighting - LED Lamp (Basic High - Indoor) - Emerging | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014. | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014.; Navigant Internal Web-Scraped LED Database | Navigant. Adoption of Light Emitting Diodes in Common Lighting Applications: Snapshot of 2013 Trends. Prepared for the U.S. Department of Energy, May 2013. | LED interior lamp: 24W, 1700 lumens | Indoor Incandescent Lamp (Screw-In >= 25W) - Average Lamp Watts = 131.89W, Average Lamp CFL Ratio = 0.357 | Indoor Incandescent Lamp (Screw-In >= 25W) - Average Lamp CFL Ratio = 0.357
COM | Lighting - LED Lamp (Basic Low - Indoor) - Emerging | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014. | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014.; Navigant Internal Web-Scraped LED Database | Navigant. Adoption of Light Emitting Diodes in Common Lighting Applications: Snapshot of 2013 Trends. Prepared for the U.S. Department of Energy, May 2013. | LED interior lamp: 11W, 900 lumens | Indoor Incandescent Lamp (Screw-In < 25W) - Average Lamp Watts = 58.13W, Average Lamp CFL Ratio = 0.357 | Indoor Incandescent Lamp (Screw-In < 25W) - Average Lamp CFL Ratio = 0.357
COM | Lighting - LED Plug-In Indoor Fixture - Emerging | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014. | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014.; Navigant Internal Web-Scraped LED Database | Navigant. Adoption of Light Emitting Diodes in Common Lighting Applications: Snapshot of 2013 Trends. Prepared for the U.S. Department of Energy, May 2013. | LED interior fixture: 14W, 900 lumens | Incandescent interior fixture 98.8W | Incandescent interior fixture 98.8W
COM | Lighting - Light Sensor | 2013 Study | 2013 Study | 2013 Study | add daylighting controls, min. lumen level based on bldg type | Standard glass type, window-wall fraction | T24 glazing performance matches prototype level, no controls installed
COM | Lighting - Linear Fluorescent Delamping | 2013 Study | 2013 Study | California Commercial Saturation Survey (2014) | Remove existing T12 lamps with magnetic ballasts and unused lamp holders without lamp replacement | Existing T12 linear fluorescent lamps with magnetic ballast | Existing T12 linear fluorescent lamps with magnetic ballast
COM | Lighting - Linear Fluorescent Fixture (Low Wattage T8) | Navigant calculations; California Commercial Saturation Survey; DEER 2015 | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | California Commercial Saturation Survey (2014) | LF fixture: T8, 48inch, various lumen, <32 W lamp(s), Total average fixture Watts = 71; Ballast specs: Instant Start, Electronic, NLO | LF fixture: T8, 48inch, 2970 lumens, 32W lamp(s), Total average fixture Watts = 90; Ballast specs: Instant Start, Electronic, NLO | LF fixture: T8, 48inch, 2970 lumens, 32W lamp(s), Total average fixture Watts = 90; Ballast specs: Instant Start, Electronic, NLO
COM | Lighting - Linear Fluorescent Fixture (T8) | Navigant calculations; California Commercial Saturation Survey; DEER 2015 | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | California Commercial Saturation Survey (2014) | LF fixture: T8, 48inch, 2970 lumens, 32W lamp(s), Total average fixture Watts = 90; Ballast specs: Instant Start, Electronic, NLO | LF fixture: T12, 48inch, various lumen, various wattage lamp(s), Total average fixture Watts = 111; Ballast specs: Rapid Start, Magnetic or Hybrid, NLO | LF fixture: T8, 48inch, 2970 lumens, 32W lamp(s), Total average fixture Watts = 90; Ballast specs: Instant Start, Electronic, NLO
COM | Lighting - Low Bay HID to T5 | Navigant calculations; California Commercial Saturation Survey; DEER 2015 | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | California Commercial Saturation Survey (2014) | LF lamp and ballast: LF lamp: Low Bay T5, 46 inch, 4 or 6 lamps; LF Ballast: Electronic, Programmed Start, High LO (1); Total Average Fixture Watts = 247 W, <=15 feet fixture height | Low Bay Lamp (=<15 feet fixture height): mixed market average of PSMH HID (pulse-start metal halide, high intensity discharge) lamps and T5 fixtures, Average PSMH Lamp (1 per fixture) or T5 Fixture Wattage = 285 W | Low Bay Lamp (=<15 feet fixture height): PSMH (pulse-start metal halide, high intensity discharge) lamps, Average PSMH Lamp (1 per fixture) Wattage = 302 W
COM | Lighting - Occupancy Sensor | Navigant calculations; DEER 2015 | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2013 Study | Occupancy Sensors | no occupancy sensors | Occupancy Sensors
COM | Lighting - Plug-In Fixture (Compact Fluorescent) | Navigant calculations; Nonresidential Downstream Lighting Impact Evaluation Report | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2013 Study | ES compact fluorescent interior fixture 28W | Incandescent interior fixture 98.8W | Incandescent interior fixture 98.8W
COM | Lighting - Plug-In Fixture (Exterior) | Navigant calculations; Nonresidential Downstream Lighting Impact Evaluation Report | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2013 Study | Efficient Exterior Lighting Fixture | Lower Watter Exterior Fixture | Lower Watter Exterior Fixture
COM | Lighting - Plug-In Fixture (Induction) | Navigant calculations; Nonresidential Downstream Lighting Impact Evaluation Report | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2013 Study | Interior Induction Fixture | Lower Wattage standard interior fixture | Lower Wattage standard interior fixture
COM | Lighting - Plug-In Fixture (Linear Fluorescent) | Navigant calculations; Nonresidential Downstream Lighting Impact Evaluation Report | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2013 Study | Linear Fluorescent Fixture | Standard Linear Fixture | Standard Linear Fixture
COM | Lighting - Plug-In Fixture (MH Directional) | Navigant calculations; Nonresidential Downstream Lighting Impact Evaluation Report | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2013 Study | Ceramic Metal Halide directional fixture | Existing reflector-type incandescent or halogen | Existing reflector-type incandescent or halogen
COM | Lighting - Plug-In Fixture (PSMH with Electronic Ballast) | Navigant calculations; Nonresidential Downstream Lighting Impact Evaluation Report | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2013 Study | Interior Pulse Start Metal Halide Fixture with electronic ballast | Lower Wattage standard interior fixture | Lower Wattage standard interior fixture
COM | Lighting - Plug-In Fixture (PSMH) | Navigant calculations; Nonresidential Downstream Lighting Impact Evaluation Report | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | 2013 Study | Interior Pulse Start Metal Halide Fixture | Lower Wattage standard interior fixture | Lower Wattage standard interior fixture
COM | ProcHeat - Boiler Draft Fan | 2013 Study | 2013 Study | 2013 Study | New Burner Fan VFD | Customer base case | Customer base case
COM | Service - HVAC Fault Detection & Diagnositics | 2013 Study | 2013 Study | 2013 Study | Fault Detection & Diagnostics | Conventional Commercial HVAC w/o FDD | Conventional Commercial HVAC w/o FDD
COM | Service - Retro-Commissioning (Electric) | Navigant calculations; California Commercial End Use Survey (2006) | Navigant calculations | Navigant calculations | Retro commissioning | Standard System | Standard System
COM | Service - Retro-Commissioning (Gas) | Navigant calculations; California Commercial End Use Survey (2006) | Navigant calculations | Navigant calculations | Retro commissioning | Standard System | Standard System
COM | SHW - EF Rated Instantaneous Water Heater (Electric) | 2013 Study | 2013 Study | 2015 DEER | High Efficiency Small Electric Instantaneous Water Heater | Small Electric Storage Water Heater - Average Size = 40 Gal; Average EF = 0.88; Average Recov Eff = 0.98 | Small Electric Storage Water Heater - Average Size = 40 Gal; Average EF = 0.88; Average Recov Eff = 0.98
COM | SHW - EF Rated Instantaneous Water Heater (Gas) | 2013 Study | 2013 Study | 2015 DEER | High Efficiency Small Gas Instantaneous Water Heater - <2 Gallons | multiple base efficiency levels used, example: Small Gas Storage Water Heater 40 Gal; EF = 0.59; Recov Eff = 0.76 | Small Gas Storage Water Heater 40 Gal; EF = 0.59; Recov Eff = 0.76
COM | SHW - EF Rated Storage Water Heater (Electric) | 2013 Study | 2013 Study | 2015 DEER | High Efficiency Small Electric Storage Water Heater - Average Size = 51 Gal; Average EF = 0.93 | Small Electric Storage Water Heater - Average Size = 51 Gal; Average EF = 0.862; Average Recov Eff = 0.98 | Small Electric Storage Water Heater - Average Size = 51 Gal; Average EF = 0.862; Average Recov Eff = 0.98
COM | SHW - EF Rated Storage Water Heater (Gas) | 2013 Study | 2013 Study | 2015 DEER | High Efficiency Small Gas Storage Water Heater - Average Size = 51 Gal , Average EF = 0.66 | multiple base efficiency levels used, example: Small Gas Storage Water Heater - Average Size = 51 Gal; Average EF = 0.57; Average Recov Eff = 0.76 | Small Gas Storage Water Heater - Average Size = 51 Gal; Average EF = 0.57; Average Recov Eff = 0.76
COM | SHW - EF Rated Storage Water Heater (Gas) - Emerging | 2013 Study | 2013 Study | 2013 Study | Condensing Small Gas Storage Water Heater with low Nox burner - Average Size = 51 Gal, Average EF = 0.77 | multiple base efficiency levels used, example: Small Gas Storage Water Heater - Average Size = 51 Gal; Average EF = 0.57; Average Recov Eff = 0.76 | Small Gas Storage Water Heater - Average Size = 51 Gal; Average EF = 0.57; Average Recov Eff = 0.76
COM | SHW - ET Rated Instantaneous Water Heater | 2013 Study | 2013 Study | 2015 DEER | High Efficiency Large Gas Instantaneous Water heater - Average Et = 0.85 | multiple base efficiency levels used, example: Large Gas Storage Water Heater; Et = 0.80; Stdby Loss = 0.56%/hr | Large Gas Storage Water Heater; Et = 0.80; Stdby Loss = 0.56%/hr
COM | SHW - ET Rated Storage Water Heater | 2013 Study | 2013 Study | 2015 DEER | High Efficiency Large Gas Storage Water Heater - Average Et = 0.865 | multiple base efficiency levels used, example: Large Gas Storage Water Heater; Et = 0.80; Stdby Loss = 0.56%/hr | Large Gas Storage Water Heater; Et = 0.80; Stdby Loss = 0.56%/hr
COM | SHW - ET Rated Storage Water Heater - Emerging | 2013 Study | 2013 Study | 2013 Study | Condensing Large Gas Storage Water Heater - Average Et = 0.99 | multiple base efficiency levels used, example: Large Gas Storage Water Heater; Et = 0.80; Stdby Loss = 0.56%/hr | Large Gas Storage Water Heater; Et = 0.80; Stdby Loss = 0.56%/hr
COM | SHW - Pipe and Tank Insulation | 2013 Study | 2013 Study | 2013 Study | Pipe and Tank Insulation | No Insulation | No Insulation
COM | WholeBlg - Com NC Level 1 | 2013 Study | 2013 Study | 2013 Study | 2008 T24 Compliant Building | 2005 T24 Compliant Building | 2005 T24 Compliant Building
COM | WholeBlg - Com NC Level 2 | 2013 Study | 2013 Study | 2013 Study | 2013 T24 Compliant Building | 2005 T24 Compliant Building | 2005 T24 Compliant Building
COM | WholeBlg - Com NC Level 3 | 2013 Study | 2013 Study | 2013 Study | 19% less energy use than 2013 T24 building | Code Compliant Building | Code Compliant Building
COM | WholeBlg - Com NC ZNE | 2013 Study; Navigant calculations | Reed Construction Data, Inc.; RSMeans Square Foot Estimator | 2013 Study | Zero Net Energy Building (35-60% less energy than 2008 T24 building) | Code Compliant Building | Code Compliant Building
COM | WholeBlg - Com RET Level 1 | 2015 MICS data | 2015 MICS data | 2015 MICS data | 14% less energy use than an average existing building | Average Existing Building | Average Existing Building
COM | WholeBlg - Com RET Level 2 | 2015 MICS data | 2015 MICS data | 2015 MICS data | 28% less energy use than an average existing building | Average Existing Building | Average Existing Building
Ind | Ind HVAC - Equipment (Electric - High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC Equipment | Existing HVAC Equipment | Existing HVAC Equipment
Ind | Ind HVAC - Equipment (Electric - Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC Equipment | Existing HVAC Equipment | Existing HVAC Equipment
Ind | Ind HVAC - Equipment (Electric - Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC Equipment | Existing HVAC Equipment | Existing HVAC Equipment
Ind | Ind HVAC - Equipment (Gas - High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC Equipment | Existing HVAC Equipment | Existing HVAC Equipment
Ind | Ind HVAC - Equipment (Gas - Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC Equipment | Existing HVAC Equipment | Existing HVAC Equipment
Ind | Ind HVAC - Equipment (Gas - Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC Equipment | Existing HVAC Equipment | Existing HVAC Equipment
Ind | Ind HVAC - O&M (Electric - High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC O&M | Existing HVAC O&M | Existing HVAC O&M
Ind | Ind HVAC - O&M (Electric - Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC O&M | Existing HVAC O&M | Existing HVAC O&M
Ind | Ind HVAC - O&M (Electric - Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC O&M | Existing HVAC O&M | Existing HVAC O&M
Ind | Ind HVAC - O&M (Gas - High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC O&M | Existing HVAC O&M | Existing HVAC O&M
Ind | Ind HVAC - O&M (Gas - Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC O&M | Existing HVAC O&M | Existing HVAC O&M
Ind | Ind HVAC - O&M (Gas - Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient HVAC O&M | Existing HVAC O&M | Existing HVAC O&M
Ind | Ind Lighting - Equipment (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Lighting Equipment | Existing Lighting Equipment | Existing Lighting Equipment
Ind | Ind Lighting - Equipment (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Lighting Equipment | Existing Lighting Equipment | Existing Lighting Equipment
Ind | Ind Lighting - Equipment (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Lighting Equipment | Existing Lighting Equipment | Existing Lighting Equipment
Ind | Ind Lighting - O&M (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Lighting O&M | Existing Lighting O&M | Existing Lighting O&M
Ind | Ind Lighting - O&M (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Lighting O&M | Existing Lighting O&M | Existing Lighting O&M
Ind | Ind Lighting - O&M (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient Lighting O&M | Existing Lighting O&M | Existing Lighting O&M
Ind | Ind MachDr - Equipment (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient MachDr Equipment | Existing MachDr Equipment | Existing MachDr Equipment
Ind | Ind MachDr - Equipment (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient MachDr Equipment | Existing MachDr Equipment | Existing MachDr Equipment
Ind | Ind MachDr - Equipment (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient MachDr Equipment | Existing MachDr Equipment | Existing MachDr Equipment
Ind | Ind MachDr - O&M (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient MachDr O&M | Existing MachDr O&M | Existing MachDr O&M
Ind | Ind MachDr - O&M (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient MachDr O&M | Existing MachDr O&M | Existing MachDr O&M
Ind | Ind MachDr - O&M (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient MachDr O&M | Existing MachDr O&M | Existing MachDr O&M
Ind | Ind ProcHeat - Equipment (Electric - High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcHeat Equipment | Existing ProcHeat Equipment | Existing ProcHeat Equipment
Ind | Ind ProcHeat - Equipment (Electric - Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcHeat Equipment | Existing ProcHeat Equipment | Existing ProcHeat Equipment
Ind | Ind ProcHeat - Equipment (Electric - Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcHeat Equipment | Existing ProcHeat Equipment | Existing ProcHeat Equipment
Ind | Ind ProcHeat - Equipment (Gas - High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcHeat Equipment | Existing ProcHeat Equipment | Existing ProcHeat Equipment
Ind | Ind ProcHeat - Equipment (Gas - Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcHeat Equipment | Existing ProcHeat Equipment | Existing ProcHeat Equipment
Ind | Ind ProcHeat - Equipment (Gas - Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcHeat Equipment | Existing ProcHeat Equipment | Existing ProcHeat Equipment
Ind | Ind ProcHeat - O&M (Electric - High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcHeat O&M | Existing ProcHeat O&M | Existing ProcHeat O&M
Ind | Ind ProcHeat - O&M (Electric - Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcHeat O&M | Existing ProcHeat O&M | Existing ProcHeat O&M
Ind | Ind ProcHeat - O&M (Electric - Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcHeat O&M | Existing ProcHeat O&M | Existing ProcHeat O&M
Ind | Ind ProcHeat - O&M (Gas - High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcHeat O&M | Existing ProcHeat O&M | Existing ProcHeat O&M
Ind | Ind ProcHeat - O&M (Gas - Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcHeat O&M | Existing ProcHeat O&M | Existing ProcHeat O&M
Ind | Ind ProcHeat - O&M (Gas - Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcHeat O&M | Existing ProcHeat O&M | Existing ProcHeat O&M
Ind | Ind ProcRefrig - Equipment (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcRefrig Equipment | Existing ProcRefrig Equipment | Existing ProcRefrig Equipment
Ind | Ind ProcRefrig - Equipment (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcRefrig Equipment | Existing ProcRefrig Equipment | Existing ProcRefrig Equipment
Ind | Ind ProcRefrig - Equipment (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcRefrig Equipment | Existing ProcRefrig Equipment | Existing ProcRefrig Equipment
Ind | Ind ProcRefrig - O&M (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcRefrig O&M | Existing ProcRefrig O&M | Existing ProcRefrig O&M
Ind | Ind ProcRefrig - O&M (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcRefrig O&M | Existing ProcRefrig O&M | Existing ProcRefrig O&M
Ind | Ind ProcRefrig - O&M (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient ProcRefrig O&M | Existing ProcRefrig O&M | Existing ProcRefrig O&M
Ind | Ind SHW - Equipment (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient SHW Equipment | Existing SHW Equipment | Existing SHW Equipment
Ind | Ind SHW - Equipment (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient SHW Equipment | Existing SHW Equipment | Existing SHW Equipment
Ind | Ind SHW - Equipment (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient SHW Equipment | Existing SHW Equipment | Existing SHW Equipment
Ind | Ind SHW - O&M (High Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient SHW O&M | Existing SHW O&M | Existing SHW O&M
Ind | Ind SHW - O&M (Low Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient SHW O&M | Existing SHW O&M | Existing SHW O&M
Ind | Ind SHW - O&M (Mid Cost) | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data; 2015 ISP Analysis | Navigant calculations; 2013 Study; 2015 IEPR Forecast Data | 2013 Study | Efficient SHW O&M | Existing SHW O&M | Existing SHW O&M
Mining | Oil - Pump Controls | Navigant calculations; CA Dept. of Conservation oil production statistics; 2013 Study | 2013 Study | 2013 Study | Injecting Pump VFD | Injector Pump Motor | Injector Pump Motor
Mining | Oil - Pump Controls | Navigant calculations; CA Dept. of Conservation oil production statistics; 2013 Study | 2013 Study | 2013 Study | Regular Pump Motor Controls | Regular Pump Motor | Regular Pump Motor
Mining | Oil - Pump Controls | Navigant calculations; CA Dept. of Conservation oil production statistics; 2013 Study | 2013 Study | 2013 Study | Stripper Pump Motor Controls | Stripper Pump Motor | Stripper Pump Motor
Mining | Oil - Pump Motor | Navigant calculations; CA Dept. of Conservation oil production statistics; 2013 Study | 2013 Study | 2013 Study | Injecting Pump Efficient Motor | Injector Pump Motor | Injector Pump Motor
Mining | Oil - Pump Motor | Navigant calculations; CA Dept. of Conservation oil production statistics; 2013 Study | 2013 Study | 2013 Study | Regular Pump Motor Replacement | Regular Pump Motor | Regular Pump Motor
Mining | Oil - Pump Motor | Navigant calculations; CA Dept. of Conservation oil production statistics; 2013 Study | 2013 Study | 2013 Study | Stripper Pump Motor Replacement | Stripper Pump Motor | Stripper Pump Motor
Mining | Oil - Pump Motor and Controls | Navigant calculations; CA Dept. of Conservation oil production statistics; 2013 Study | 2013 Study | 2013 Study | Injecting Pump Efficient Motor and VFD | Injector Pump Motor | Injector Pump Motor
Mining | Oil - Pump Motor and Controls | Navigant calculations; CA Dept. of Conservation oil production statistics; 2013 Study | 2013 Study | 2013 Study | Regular Pump Motor Replacement and Controls | Regular Pump Motor | Regular Pump Motor
Mining | Oil - Pump Motor and Controls | Navigant calculations; CA Dept. of Conservation oil production statistics; 2013 Study | 2013 Study | 2013 Study | Stripper Pump Motor Replacement and Controls | Stripper Pump Motor | Stripper Pump Motor
Mining | Oil - Steam Boiler | Navigant calculations; CA Dept. of Conservation oil production statistics; 2013 Study | 2013 Study | 2013 Study | Efficient Steam Boiler | Steam Boiler | Steam Boiler
Mining | Oil - Steam Boiler Controls and Improvements | Navigant calculations; CA Dept. of Conservation oil production statistics; 2013 Study | 2013 Study | 2013 Study | Steam Boiler Controls and Improvements | Steam Boiler | Steam Boiler
RES | AppPlug - Clothes Washer (Electric) | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Clothes Washer All Sizes, Electric DHW, Electric or Gas Dryer - Average MEF = 2.1, Average Capacity = 2.93 Gallons | Clothes Washer All Sizes, Electric DHW, Electric or Gas Dryer - Average MEF = 0.78, Average Capacity = 2.93 Gallons | Clothes Washer All Sizes, Electric DHW, Electric or Gas Dryer - Average MEF = 1.26, Average Capacity = 2.93 Gallons
RES | AppPlug - Clothes Washer (Electric) - Emerging | Workpaper - PGECOAPP114 | 2013 Study | Energy Star 2014 Qualified Products List | Clothes Washer All Sizes, Electric DHW, Electric or Gas Dryer - Average MEF = 2.87, Average Capacity = 2.93 Gallons | Clothes Washer All Sizes, Electric DHW, Electric or Gas Dryer - Average MEF = 0.78, Average Capacity = 2.93 Gallons | Clothes Washer All Sizes, Electric DHW, Electric or Gas Dryer - Average MEF = 1.26, Average Capacity = 2.93 Gallons
RES | AppPlug - Clothes Washer (Gas) | 2013 Study | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Clothes Washer All Sizes, Gas DHW, Electric or Gas Dryer - Average MEF = 2.1, Average Capacity = 2.93 Gallons | Clothes Washer All Sizes, Gas DHW, Electric or Gas Dryer - Average MEF = 0.78, Average Capacity = 2.93 Gallons | Clothes Washer All Sizes, Gas DHW, Electric or Gas Dryer - Average MEF = 1.26, Average Capacity = 2.93 Gallons
RES | AppPlug - Clothes Washer (Gas) - Emerging | Workpaper - PGECOAPP114 | 2013 Study | Energy Star 2014 Qualified Products List | Clothes Washer All Sizes, Gas DHW, Electric or Gas Dryer - Average MEF = 2.87, Average Capacity = 2.93 Gallons | Clothes Washer All Sizes, Gas DHW, Electric or Gas Dryer - Average MEF = 0.78, Average Capacity = 2.93 Gallons | Clothes Washer All Sizes, Gas DHW, Electric or Gas Dryer - Average MEF = 1.26, Average Capacity = 2.93 Gallons
RES | AppPlug - Computer Monitor | 2013 Study | 2013 Study | 2013 Study | Energy Efficient LCD Monitors | CRT Monitors | CRT Monitors
RES | AppPlug - Desktop Computer (Res - ES Plus) | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Energy Star 5.0 + 20% Desktop Computer | Non-Energy Star 5.0 | Non-Energy Star 5.0
RES | AppPlug - Desktop Computer (Res - ES) | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Energy Star 5.0 Desktop Computer | Non-Energy Star 5.0 | Non-Energy Star 5.0
RES | AppPlug - Dishwasher (Electric) | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Energy Star® Dish Washer - Standard Size w/Electric Water Heater - 160 Cycles per Year - Average EF = 0.665 | Dish Washer - Standard Size w/Electric Water Heater - 160 Cycles per Year - Average EF = 0.45 | Dish Washer - Standard Size w/Electric Water Heater - 160 Cycles per Year - Average EF = 0.45
RES | AppPlug - Dishwasher (Electric) - Emerging | 2013 Study | 2013 Study | Energy Star 2014 Qualified Products List | Energy Star® Dish Washer - Standard Size w/Electric Water Heater - 160 Cycles per Year - EF = 1.0 | Dish Washer - Standard Size w/Electric Water Heater - 160 Cycles per Year - Average EF = 0.45 | Dish Washer - Standard Size w/Electric Water Heater - 160 Cycles per Year - Average EF = 0.45
RES | AppPlug - Dishwasher (Gas) | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Energy Star® Dish Washer - Standard Size w/Gas Water Heater - 160 Cycles per Year - Average EF = 0.665 | Dish Washer - Standard Size w/Gas Water Heater - 160 Cycles per Year - Average EF = 0.45 | Dish Washer - Standard Size w/Gas Water Heater - 160 Cycles per Year - Average EF = 0.45
RES | AppPlug - Dishwasher (Gas) - Emerging | 2013 Study | 2013 Study | Energy Star 2014 Qualified Products List | Energy Star® Dish Washer - Standard Size w/Electric Water Heater - 160 Cycles per Year - EF = 1.0 | Dish Washer - Standard Size w/Gas Water Heater - 160 Cycles per Year - Average EF = 0.45 | Dish Washer - Standard Size w/Gas Water Heater - 160 Cycles per Year - Average EF = 0.45
RES | AppPlug - HP Clothes Dryer - Emerging | 2013 Study | 2013 Study | Energy Star 2014 Qualified Products List | Heat Pump Electric Clothes Dryer | Average Market Baseline Clothes Dryer | Average Market Baseline Clothes Dryer
RES | AppPlug - Recycle Refrigerator | Appliance Recycling Program Impact Evaluation (2014) | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Recycle refrigerator | Old Refrigerator | Old Refrigerator
RES | AppPlug - Self-Contained Refrigerator | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | ES Refrigerator | Code Refrigerator | Code Refrigerator
RES | AppPlug - Self-Contained Refrigerator - Emerging | 2013 Study | 2013 Study | Navigant calculations | Emerging Tech Refrigerator - 15% less energy than code | Code Refrigerator | Code Refrigerator
RES | AppPlug - Smart Strip Home Office - Emerging | Workpaper - SCE13CS002 | Workpaper - SCE13CS002 | Navigant calculations | Home office - Smart Strip with one control outlet, four controlled outlets, and two contant outlets | Power Strip | Power Strip
RES | AppPlug - Smart Strip Home Theater - Emerging | Workpaper - SCE13CS002 | Workpaper - SCE13CS002 | Navigant calculations | Home theater - Smart Strip with one control outlet, four controlled outlets, and two contant outlets | Power Strip | Power Strip
RES | AppPlug - Variable Speed Pool Pump | 2013 Study | 2013 Study | 2013 Study | Commissioned Variable Speed Drive on Pool Pump Controls | Single Speed Pool Pump | Two Speed Pool Pump
RES | BldgEnv - Attic Batt Insulation | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Ceiling/Attic Insulation >= R-30 | Ceiling/Attic Insulation <= R-11 | Ceiling/Attic Insulation >= R-30
RES | BldgEnv - Attic Batt Insulation | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Ceiling/Attic Insulation >= R-38 | Ceiling/Attic Insulation <= R-19 | Ceiling/Attic Insulation >= R-38
RES | BldgEnv - Wall Spray On Insulation | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Wall Blow-In R-0 to R-13 Insulation | R-0 Wall Insulation | R-13 Wall Insulation
RES | BldgEnv - Window Film | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Single Pane Clear Class with Reflective Film SHGC=0.39 | Existing single pane clear glass windows with SHGC = 0.82 | Existing single pane clear glass windows with SHGC = 0.82
RES | HVAC - Direct Evaporative Cooler | DEER 2015 | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Direct Evaporative Cooler | Residential SEER-rated split Air Conditioners, 18-65 kBTU/h; pre-2001: SEER = 10 (EER = 8.52), one-speed fan; post-2001: SEER = 13 (EER = 11.08), one-speed fan; 2014: SEER = 14 (EER = 11.82), one-speed fan | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 14 (EER = 11.8), EIR = 0.247, Fan W/CFM = 0.29, one-speed fan
RES | HVAC - Gas Furnace | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Furnace Upgrade to Efficient Furnace - Average AFUE = 90.6, Average HIR = 1.07 | Base Case Furnace - Average AFUE = 76.8, Average HIR = 1.25 | Code Standard Furnace - Average AFUE = 80, Average HIR = 1.24
RES | HVAC - Gas Furnace - Emerging | DEER 2015 | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | Energy Star Unit Shipment and Market Penetration Report | Furnace Upgrade to Efficienct Furnace - Average AFUE = 98 | Base Case Furnace - Average AFUE = 76.8, Average HIR = 1.25 | Code Standard Furnace - Average AFUE = 80, Average HIR = 1.24
RES | HVAC - Repair Duct System | 2015 DEER | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Duct Sealing Efficient Case Leakage Reduction, Average Leakage = 14% Total | Duct Sealing Base Case Leakage Reduction, Average Leakage = 32% Total | Duct Sealing Code Standard Case Leakage Reduction, Average Leakage = 13% Total
RES | HVAC - SEER Rated Split System AC (Recharge) | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Small Splt SEER AC, Correct Refrigerant Charge to Factory Levels, Reduce Duct Leakage - Average Total Duct Leakage Reduction = 11% | Small Splt SEER AC, Correct Refrigerant Charge - Average Cooling EIR = 0.424, Average Total Duct Leakage = 24% | Small Splt SEER AC, Correct Refrigerant Charge - Average Cooling EIR = 0.354, Average Total Duct Leakage = 13%
RES | HVAC - SEER Rated Split System AC (SEER 15) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Residential SEER-rated split Air Conditioners, Size Range: 18 - 65 kBTU/h, SEER = 15 (EER = 12.8), EIR = 0.232, Fan W/CFM = 0.25, one-speed fan | Residential SEER-rated split Air Conditioners, 18-65 kBTU/h; pre-2001: SEER = 10 (EER = 8.52), one-speed fan; post-2001: SEER = 13 (EER = 11.08), one-speed fan; 2014: SEER = 14 (EER = 11.82), one-speed fan | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 14 (EER = 11.8), EIR = 0.247, Fan W/CFM = 0.29, one-speed fan
RES | HVAC - SEER Rated Split System AC (SEER 18) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Residential SEER-rated split Air Conditioners, Size Range: 18 - 65 kBTU/h, SEER = 18 (EER = 14), EIR = 0.209, Fan W/CFM = 0.27, two-speed fan | Residential SEER-rated split Air Conditioners, 18-65 kBTU/h; pre-2001: SEER = 10 (EER = 8.52), one-speed fan; post-2001: SEER = 13 (EER = 11.08), one-speed fan; 2014: SEER = 14 (EER = 11.82), one-speed fan | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 14 (EER = 11.8), EIR = 0.247, Fan W/CFM = 0.29, one-speed fan
RES | HVAC - SEER Rated Split System AC (SEER 22) - Emerging | 2013 Study | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | Navigant calculations | 22 SEER Split-System Air Conditioner | Residential SEER-rated split Air Conditioners, 18-65 kBTU/h; pre-2001: SEER = 10 (EER = 8.52), one-speed fan; post-2001: SEER = 13 (EER = 11.08), one-speed fan; 2014: SEER = 14 (EER = 11.82), one-speed fan | Residential SEER-rated split Air Conditioners, Size Range: 45 - 65 kBTU/h, SEER = 14 (EER = 11.8), EIR = 0.247, Fan W/CFM = 0.29, one-speed fan
RES | HVAC - SEER Rated Split System HP (SEER 15) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Residential SEER-rated split Heat Pumps, SEER = 15 (EER = 12.8), HSPF = 8.7 (COP = 3.68), EIR = 0.232, Fan W/CFM = 0.25, one-speed fan | Res SEER-Rated Splt HP, 7.1-3.01 kBTU/h; pre-2001: SEER = 10 (HSPF = 7.1), one-speed fan; post-2001: SEER = 13 (HSPF = 8.2), one-speed fan; 2014: SEER = 14 (HSPF = 8.2), one-speed fan | Residential SEER-rated split Heat Pumps, SEER = 14 (EER = 11.9), HSPF = 8.2 (COP = 3.48), EIR = 0.245, Fan W/CFM = 0.29, one-speed fan
RES | HVAC - SEER Rated Split System HP (SEER 18) | 2015 DEER | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Residential SEER-rated split Heat Pumps, SEER = 18 (EER = 14), HSPF = 9.7 (COP = 3.86), EIR = 0.209, Fan W/CFM = 0.27, two-speed fan | Res SEER-Rated Splt HP, 7.1-3.01 kBTU/h; pre-2001: SEER = 10 (HSPF = 7.1), one-speed fan; post-2001: SEER = 13 (HSPF = 8.2), one-speed fan; 2014: SEER = 14 (HSPF = 8.2), one-speed fan | Residential SEER-rated split Heat Pumps, SEER = 14 (EER = 11.9), HSPF = 8.2 (COP = 3.48), EIR = 0.245, Fan W/CFM = 0.29, one-speed fan
RES | HVAC - SEER Rated Split System HP (SEER 21) - Emerging | 2013 Study | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | Navigant calculations | Split SEER-Rated Heat Pump - Average SEER = 21 | Res SEER-Rated Splt HP, 7.1-3.01 kBTU/h; pre-2001: SEER = 10 (HSPF = 7.1), one-speed fan; post-2001: SEER = 13 (HSPF = 8.2), one-speed fan; 2014: SEER = 14 (HSPF = 8.2), one-speed fan | Residential SEER-rated split Heat Pumps, SEER = 14 (EER = 11.9), HSPF = 8.2 (COP = 3.48), EIR = 0.245, Fan W/CFM = 0.29, one-speed fan
RES | HVAC - Whole House Fan | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Whole House Fan | No whole whole house fan | No whole whole house fan
RES | Lighting - Compact Fluorescent Fixture (Indoor) | Navigant calcuations; DEER 2015; California Upstream and Residential Lighting Impact Evaluation Work Order 28 (WO28) Final Report (2014) | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | CFL Indoor Fixture, 17.5W | Incandescent Indoor Fixture, 79W | Halogen Incandescent Indoor Fixture, 57W
RES | Lighting - Compact Fluorescent Fixture (Outdoor) | Navigant calcuations; DEER 2015; California Upstream and Residential Lighting Impact Evaluation Work Order 28 (WO28) Final Report (2014) | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | CFL Outdoor Fixture, 18W | Incandescent Outdoor Fixture, 114W | Halogen Incandescen Outdoor Fixture, 82W
RES | Lighting - Compact Fluorescent Lamp (Basic High - Indoor) | Navigant calcuations; DEER 2015; California Upstream and Residential Lighting Impact Evaluation Work Order 28 (WO28) Final Report (2014) | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | CFL Screw-In Indoor Lamp, 22.5W | Incandescent, Screw-In Indoor 81.5W | Halogen Incandescent Screw-In Indoor, 59W
RES | Lighting - Compact Fluorescent Lamp (Basic High - Outdoor) | Navigant calcuations; DEER 2015; California Upstream and Residential Lighting Impact Evaluation Work Order 28 (WO28) Final Report (2014) | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | CFL Screw-In Outdoor Lamp, 22.5W | Incandescent Screw-In Outdoor, 87W | Halogen Incandescent Screw-In Outdoor, 62.5W
RES | Lighting - Compact Fluorescent Lamp (Basic Low - Indoor) | Navigant calcuations; DEER 2015; California Upstream and Residential Lighting Impact Evaluation Work Order 28 (WO28) Final Report (2014) | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | CFL Screw-In Indoor Lamp, 12.5W | Incandescent Screw-In Indoor, 46W | Halogen Incandescent Screw-In Indoor, 38W
RES | Lighting - Compact Fluorescent Lamp (Basic Low - Outdoor) | Navigant calcuations; DEER 2015; California Upstream and Residential Lighting Impact Evaluation Work Order 28 (WO28) Final Report (2014) | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | CFL Screw-In Outdoor Lamp, 13W | Incandescent Screw-In Outdoor, 57W | Halogen Incandescent Screw-In Outdoor, 41W
RES | Lighting - Compact Fluorescent Lamp (Reflector - Indoor) | Navigant calcuations; DEER 2015; California Upstream and Residential Lighting Impact Evaluation Work Order 28 (WO28) Final Report (2014) | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | CFL Screw-In Indoor Reflector Lamp, 16W | Incandescent Screw-In Indoor, 71.5W | Halogen Incandescent Screw-In Indoor, 51.5W
RES | Lighting - Compact Fluorescent Lamp (Reflector - Outdoor) | Navigant calcuations; DEER 2015; California Upstream and Residential Lighting Impact Evaluation Work Order 28 (WO28) Final Report (2014) | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | CFL Screw-In Outdoor Lamp, 19W | Incandescent Screw-In Outdoor, 76W | Halogen Incandescent Screw-In Outdoor, 54.5W
RES | Lighting - Compact Fluorescent Lamp (Specialty - Indoor) | Navigant calcuations; DEER 2015; California Upstream and Residential Lighting Impact Evaluation Work Order 28 (WO28) Final Report (2014) | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | CFL Screw-In Indoor Specialty Lamp, 13W | Incandescent Screw-In Indoor, 42W | Halogen Incandescent, Screw-In Indoor, 30W
RES | Lighting - Compact Fluorescent Lamp (Specialty - Outdoor) | Navigant calcuations; DEER 2015; California Upstream and Residential Lighting Impact Evaluation Work Order 28 (WO28) Final Report (2014) | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | CFL Screw-In Outdoor Lamp, 14.5W | Incandescent Screw-In Outdoor, 38W | Halogen Incandescent Screw-In Outdoor, 27W
RES | Lighting - Halogen Lamp (A-Line) | 2013 Study | 2013 Study | 2013 Study | Halogen A-Line lamp | Incandescent lamp | Incandescent lamp
RES | Lighting - Halogen Lamp (Reflector) | 2013 Study | 2013 Study | 2013 Study | Halogen Reflector lamp | Incandescent lamp | Incandescent lamp
RES | Lighting - Induction Fixture (Outdoor) | 2013 Study | 2013 Study | 2013 Study | Exterior Induction Fixtures; 4 cases- 100W HID to 70W Induction; 101-175W HID to 100W Induction; 176-200W Induction to 120W Induction; 201-399W HID to 180W Induction; 400W HID to 250W Induction | Standard metal halide or high-pressure sodium | Standard metal halide or high-pressure sodium
RES | Lighting - LED Lamp (Basic High - Indoor) - Emerging | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014. | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014.; Navigant Internal Web-Scraped LED Database | Navigant. Adoption of Light Emitting Diodes in Common Lighting Applications: Snapshot of 2013 Trends. Prepared for the U.S. Department of Energy, May 2013. | LED Screw-In Indoor Lamp: 16.5W, 1300 lumens | Incandescent, Screw-In Indoor 81.5W | Halogen Incandescent Screw-In Indoor, 59W
RES | Lighting - LED Lamp (Basic High - Outdoor) - Emerging | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014. | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014.; Navigant Internal Web-Scraped LED Database | Navigant. Adoption of Light Emitting Diodes in Common Lighting Applications: Snapshot of 2013 Trends. Prepared for the U.S. Department of Energy, May 2013. | LED Screw-In Outdoor Lamp: 16.5W, 1200 lumens | Incandescent Screw-In Outdoor, 87W | Halogen Incandescent Screw-In Outdoor, 62.5W
RES | Lighting - LED Lamp (Basic Low - Indoor) - Emerging | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014. | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014.; Navigant Internal Web-Scraped LED Database | Navigant. Adoption of Light Emitting Diodes in Common Lighting Applications: Snapshot of 2013 Trends. Prepared for the U.S. Department of Energy, May 2013. | LED Screw-In Indoor Lamp: 8W, 675 lumens | Incandescent Screw-In Indoor, 46W | Halogen Incandescent Screw-In Indoor, 38W
RES | Lighting - LED Lamp (Basic Low - Outdoor) - Emerging | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014. | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014.; Navigant Internal Web-Scraped LED Database | Navigant. Adoption of Light Emitting Diodes in Common Lighting Applications: Snapshot of 2013 Trends. Prepared for the U.S. Department of Energy, May 2013. | LED Screw-In Outdoor Lamp: 9W, 700 lumens | Incandescent Screw-In Outdoor, 57W | Halogen Incandescent Screw-In Outdoor, 41W
RES | Lighting - LED Lamp (Reflector - Indoor) - Emerging | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014. | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014.; Navigant Internal Web-Scraped LED Database | Navigant. Adoption of Light Emitting Diodes in Common Lighting Applications: Snapshot of 2013 Trends. Prepared for the U.S. Department of Energy, May 2013. | LED Screw-In Indoor Reflector Lamp: 12W, 850 lumens | Incandescent Screw-In Indoor, 71.5W | Halogen Incandescent Screw-In Indoor, 51.5W
RES | Lighting - LED Lamp (Reflector - Outdoor) - Emerging | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014. | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014.; Navigant Internal Web-Scraped LED Database | Navigant. Adoption of Light Emitting Diodes in Common Lighting Applications: Snapshot of 2013 Trends. Prepared for the U.S. Department of Energy, May 2013. | LED Screw-In Outdoor Reflector Lamp: 14W, 1000 lumens | Incandescent Screw-In Outdoor, 76W | Halogen Incandescent Screw-In Outdoor, 54.5W
RES | Lighting - LED Lamp (Specialty - Indoor) - Emerging | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014. | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014.; Navigant Internal Web-Scraped LED Database | Navigant. Adoption of Light Emitting Diodes in Common Lighting Applications: Snapshot of 2013 Trends. Prepared for the U.S. Department of Energy, May 2013. | LED Screw-In Indoor Specialty Lamp: 10W, 780 lumens | Incandescent Screw-In Indoor, 42W | Halogen Incandescent, Screw-In Indoor, 30W
RES | Lighting - LED Lamp (Specialty - Outdoor) - Emerging | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014. | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014.; Navigant Internal Web-Scraped LED Database | Navigant. Adoption of Light Emitting Diodes in Common Lighting Applications: Snapshot of 2013 Trends. Prepared for the U.S. Department of Energy, May 2013. | LED Screw-In Outdoor Specialty Lamp: 11W, 870 lumens | Incandescent Screw-In Outdoor, 38W | Halogen Incandescent Screw-In Outdoor, 27W
RES | Lighting - LED Plug-In Indoor Fixture - Emerging | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014. | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014.; Navigant Internal Web-Scraped LED Database | Navigant. Adoption of Light Emitting Diodes in Common Lighting Applications: Snapshot of 2013 Trends. Prepared for the U.S. Department of Energy, May 2013. | LED Indoor Fixture: 10W, 650 lumens | Incandescent Indoor Fixture, 79W | Halogen Incandescent Indoor Fixture, 57W
RES | Lighting - LED Plug-In Outdoor Fixture - Emerging | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014. | Navigant. Energy Savings Forecast of Solid-State Lighting in General Illumination Applications. Prepared for the U.S. Department of Energy, August 2014.; Navigant Internal Web-Scraped LED Database | Navigant. Adoption of Light Emitting Diodes in Common Lighting Applications: Snapshot of 2013 Trends. Prepared for the U.S. Department of Energy, May 2013. | LED Outdoor Fixture: 10W, 700 lumens | Incandescent Outdoor Fixture, 114W | Halogen Incandescen Outdoor Fixture, 82W
RES | Lighting - Linear Fluorescent Delamping | 2013 Study | 2013 Study | 2013 Study | Remove existing T12 lamps with magnetic ballasts and unused lamp holders without lamp replacement | Existing T12 linear fluorescent lamps with magnetic ballast | Existing T12 linear fluorescent lamps with magnetic ballast
RES | Lighting - Night Light Fixture (LED) | 2013 Study | 2013 Study | 2013 Study | LED nightlight fixture | Incandescent nightlight fixture | Incandescent nightlight fixture
RES | Lighting - Occupancy Sensor | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Occupancy Sensors | no occupancy sensors | Occupancy Sensors
RES | Lighting - Plug-In Fixture (Exterior) | Navigant calculations; California Upstream and Residential Lighting Impact Evaluation Work Order 28 (WO28) Final Report (2014) | 2010-2012 WO017 Ex Ante Measure Cost Study Final Report | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Exterior CFL Fixture 39W | Exterior Incandescent Fixture 137W | Exterior Incandescent Fixture 137W
RES | Lighting - Plug-In Fixture (Linear Fluorescent) | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | 4 ft, 2 lamp, HP T8 with NEMA Premium Electronic ballast, 45W | 2 ft, 2 lamp,T12 lamp with magnetic ballast, 72W | 2 ft, 2 lamp,T12 lamp with magnetic ballast, 72W
RES | Lighting - Seasonal Lighting | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | LED holiday lights | Incandescent holiday lights | Incandescent holiday lights
RES | ProcHeat - Boiler Controls | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Gas Water Heater/Boiler Controller | Uncontrolled Gas Water Heater or Boiler | Uncontrolled Gas Water Heater or Boiler
RES | SHW - EF Rated Heat Pump Water Heater | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | EF >= 2.0 Heat Pump Water Heater | EF = 0.92 Heat Pump Water Heater | EF = 0.92 Heat Pump Water Heater
RES | SHW - EF Rated Instantaneous Water Heater (Electric) | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | High Efficiency Small Electric Instantaneous Water Heater | Small Electric Storage Water Heater 40 Gal; EF = 0.88; Recov Eff = 0.98 | Small Electric Storage Water Heater 40 Gal; EF = 0.88; Recov Eff = 0.98
RES | SHW - EF Rated Instantaneous Water Heater (Gas) | DEER 2015 | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | High Efficiency Small Gas Instantaneous Water Heater - <2 Gal , Average EF = 0.87 EF | Small Gas Storage Water Heater - Average Size = 75 Gal; Average EF = 0.543; Average Recov Eff = 0.76 | Small Gas Storage Water Heater - Average Size = 75 Gal; Average EF = 0.679; Average Recov Eff = 0.76
RES | SHW - EF Rated Storage Water Heater (Electric) | 2013 Study | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | High Efficiency Small Electric Storage Water Heater - Average Size = 51 Gal, Average EF = 0.93 | Small Electric Storage Water Heater - Average Size = 51 Gal; Average EF = 0.86; Average Recov Eff = 0.98 | Small Electric Storage Water Heater = Average Size = 51 Gal; Average EF = 0.86; Average Recov Eff = 0.98
RES | SHW - EF Rated Storage Water Heater (Gas) | DEER 2015 | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | High Efficiency Small Gas Storage Water Heater - Average Size = 51 Gal, Average EF = 0.75 EF | Small Gas Storage Water Heater - Average Size = 51 Gal; Average EF = 0.561; Average Recov Eff = 0.76 | Small Gas Storage Water Heater - Average Size = 51 Gal; Average EF = 0.668; Average Recov Eff = 0.76
RES | SHW - EF Rated Storage Water Heater (Gas) - Emerging | 2013 Study | 2013 Study | 2013 Study | Small Gas Storage Water Heater - Average Size = 51 Gal, Average EF = 0.82 | Small Gas Storage Water Heater - Average Size = 51 Gal; Average EF = 0.561; Average Recov Eff = 0.76 | Small Gas Storage Water Heater - Average Size = 51 Gal; Average EF = 0.668; Average Recov Eff = 0.76
RES | WholeBlg - Low Income | PY2011 Energy Savings Assistance Program Impact Evaluation. August 30, 2013. | 2013 Study | WO21: Residential On-site Study: California Lighting and Appliance Saturation Survey (CLASS 2012) | Low Income | Misc | Misc
RES | WholeBlg - Res NC Level 1 | 2013 Study | 2013 Study | 2013 Study | 2008 T24 Compliant Home | 2005 T24 Compliant Home | 2005 T24 Compliant Home
RES | WholeBlg - Res NC Level 2 | 2013 Study | 2013 Study | 2013 Study | 2013 T24 Compliant Home | 2005 T24 Compliant Home | 2005 T24 Compliant Home
RES | WholeBlg - Res NC Level 3 | 2013 Study | 2013 Study | 2013 Study | 2013 T24 Stretch Goal Compliant Home | Code Compliant Home | Code Compliant Home
RES | WholeBlg - Res NC ZNE | 2013 Study; Navigant calculations; 2013 Title 24 Residential Compliant Energy Use | 2013 Study; Navigant calculations | 2010-2012 Whole House Retrofit Impact Evaluation (2014) | Zero Net Energy Home (40-50% less energy than 2013 T24 home) | Code Compliant Home | Code Compliant Home
RES | WholeBlg - Res RET Energy Upgrade CA - Advanced Path | 2010-2012 Whole House Retrofit Impact Evaluation (2014) | 2010-2012 Whole House Retrofit Impact Evaluation (2014) | 2010-2012 Whole House Retrofit Impact Evaluation (2014) | Advanced Path | Average Existing Home | Average Existing Home
RES | WholeBlg - Res RET Energy Upgrade CA - Basic Path | 2010-2012 Whole House Retrofit Impact Evaluation (2014) | 2010-2012 Whole House Retrofit Impact Evaluation (2014) | 2010-2012 Whole House Retrofit Impact Evaluation (2014) | Basic Path | Average Existing Home | Average Existing Home
RES | WholeBlg - Res RET Energy Upgrade CA - Flex Path | 2010-2012 Whole House Retrofit Impact Evaluation (2014) | 2010-2012 Whole House Retrofit Impact Evaluation (2014) | 2010-2012 Whole House Retrofit Impact Evaluation (2014) | Flex Path | Average Existing Home | Average Existing Home
Streetlighting | StreetLight - Base with Controls | IOU Lamp Inventories; 2013 Study | 2013 Study | IOU Lamp Inventories; 2013 Study | Baseline Streetlights with Advanced Controls | Existing HPS, LPS, MH, MV, Incand Streetlights (weighted by lamp count) | Existing HPS, LPS, MH, MV, Incand Streetlights (weighted by lamp count)
Streetlighting | StreetLight - Induction | IOU Lamp Inventories; 2013 Study | 2013 Study | IOU Lamp Inventories; 2013 Study | Induction Street Sign Lights | Mercury Vapor Street Sign Lights | Mercury Vapor Street Sign Lights
Streetlighting | StreetLight - Induction | IOU Lamp Inventories; 2013 Study | 2013 Study | IOU Lamp Inventories; 2013 Study | Induction Streetlights | Existing HPS, LPS, MH, MV, Incand Streetlights (weighted by lamp count) | Existing HPS, LPS, MH, MV, Incand Streetlights (weighted by lamp count)
Streetlighting | StreetLight - Induction with Controls | IOU Lamp Inventories; 2013 Study | 2013 Study | IOU Lamp Inventories; 2013 Study | Induction Streetlights with Advanced Controls | Existing HPS, LPS, MH, MV, Incand Streetlights (weighted by lamp count) | Existing HPS, LPS, MH, MV, Incand Streetlights (weighted by lamp count)
Streetlighting | StreetLight - LED | IOU Lamp Inventories; 2013 Study | Navigant calculations; Navigant ET analysis; 2013 Study | IOU Lamp Inventories; 2013 Study | Advanced LED Traffic Lights | LED Traffic Lights | LED Traffic Lights
Streetlighting | StreetLight - LED | IOU Lamp Inventories; 2013 Study | Navigant calculations; Navigant ET analysis; 2013 Study | IOU Lamp Inventories; 2013 Study | LED Street Sign Lights | Mercury Vapor Street Sign Lights | Mercury Vapor Street Sign Lights
Streetlighting | StreetLight - LED | IOU Lamp Inventories; 2013 Study | Navigant calculations; Navigant ET analysis; 2013 Study | IOU Lamp Inventories; 2013 Study | LED Streetlights | Existing HPS, LPS, MH, MV, Incand Streetlights (weighted by lamp count) | Existing HPS, LPS, MH, MV, Incand Streetlights (weighted by lamp count)
Streetlighting | StreetLight - LED with Controls | IOU Lamp Inventories; 2013 Study | Navigant calculations; Navigant ET analysis; 2013 Study | IOU Lamp Inventories; 2013 Study | LED Streetlights with Advanced Controls | Existing HPS, LPS, MH, MV, Incand Streetlights (weighted by lamp count) | Existing HPS, LPS, MH, MV, Incand Streetlights (weighted by lamp count)