## Proposed Measure List
Flag | Notes | Sector | End Use | Savings (Fuel Type) | Fuel Sub Tech Group? | Technology Group | Technology | Base Year Efficiency Level | Replacement Type ROB = Replace on Burnout i.e. Normal Replacement (NR) NEW = New Construction (NC) RET = Retrofit i.e. Accelerated Replacement (AR) or Add-on Equipment (AOE) | Stakeholder Comments
|  | Com | AppPlug | Electric | FALSE | Com Power Strips | Com Standard Power Strip | Average Existing and Code | RET and NEW
|  | Com | AppPlug | Electric | FALSE | Com Power Strips | Com Smart Connected Power Strip | Efficient | RET and NEW
|  | Com | AppPlug | Gas | FALSE | Com Process Laundry | Average Existing Commercial Process Washer | Average Existing and Code | RET and NEW
|  | Com | AppPlug | Gas | FALSE | Com Process Laundry | Ozone Laundry System Retrofit | Efficient | RET and NEW
|  | Com | AppPlug | Electric | FALSE | PC Power Management | No PC Power Management | Average Existing and Code | RET and NEW
|  | Com | AppPlug | Electric | FALSE | PC Power Management | PC Power Management | Efficient | RET and NEW
|  | Com | AppPlug | Gas | FALSE | Pool Cover | No Pool Cover | Average Existing and Code | RET and NEW
|  | Com | AppPlug | Gas | FALSE | Pool Cover | Pool Cover | Efficient | RET and NEW
|  | Com | AppPlug | Electric | FALSE | Servers | Standard Eff Servers | Average Existing and Code | RET and NEW
|  | Com | AppPlug | Electric | FALSE | Servers | High Efficiency Servers | Efficient | RET and NEW
|  | Com | AppPlug | Electric | FALSE | Servers | Server Virtualization | Efficient | RET and NEW
|  | Com | BldgEnv | Electric & Gas | FALSE | Com Wall Insulation | Com Wall Insulation (R0) | Average Existing | RET Only
|  | Com | BldgEnv | Electric & Gas | FALSE | Com Wall Insulation | Com Wall Insulation (R13) | Code | RET and NEW
|  | Com | BldgEnv | Electric & Gas | FALSE | Com Wall Insulation | Com Wall Insulation (R14) | Efficient | RET and NEW
|  | Com | ComRefrig | Electric & Gas | FALSE | ComRefrig - Add Doors to Open Display Cases | Open Display Cases (no doors) | Average Existing | RET Only
|  | Com | ComRefrig | Electric & Gas | FALSE | ComRefrig - Add Doors to Open Display Cases | Add Doors to Open Display Cases | Efficient | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Anti Sweat Heat Controls | No Walk-in Anti Sweat Heat Controls | Average Existing | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Anti Sweat Heat Controls | Walk-in Anti Sweat Heat Controls | Efficient | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Compressor Retrofit | Average Existing Refrigeration Compressor | Average Existing | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Compressor Retrofit | Efficient Refrigeration Compressor | Efficient | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Display Case Lighting Retrofit | Refrigerated Display Case Fluorescent Lighting | Average Existing and Code | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Display Case Lighting Retrofit | Refrigerated Display Case LED Lighting | Efficient | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Display Case Motors | Shaded Pole Motor on Display Cases | Average Existing | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Display Case Motors | Permanent Split Capacitor Motor on Display Cases | Code | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Display Case Motors | EC Motors on Display Cases | Efficient | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Display Case Replacement | Code Compliant Refrigerated Display Case | Code | ROB and NEW
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Display Case Replacement | Efficient Refrigerated Display Case | Efficient | ROB and NEW
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Floating Head Pressure Controls | No Floating Head Pressure Controls | Average Existing | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Floating Head Pressure Controls | Floating Head Pressure Controls | Efficient | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Walk-In Motors | SP / PSC Motor on Walk-In Evap Fans | Average Existing | RET Only
|  | Com | ComRefrig | Electric | FALSE | ComRefrig - Walk-In Motors | EC Motors on Walk-In Evap Fans | Code | RET and NEW
|  | Com | Data Center | Electric | FALSE | Data Center Air Flow Management | No Air Flow Management | Average Existing and Code | RET and NEW
|  | Com | Data Center | Electric | FALSE | Data Center Air Flow Management | Air Flow Management | Efficient | RET and NEW
|  | Com | Data Center | Electric | FALSE | Data Center CRAC upgrades | Standard CRAC | Average Existing and Code | ROB and NEW
|  | Com | Data Center | Electric | FALSE | Data Center CRAC upgrades | Efficient CRAC | Efficient | ROB and NEW
|  | Com | Data Center | Electric | FALSE | Data Center High Eff UPS | Standard UPS | Average Existing and Code | RET and NEW
|  | Com | Data Center | Electric | FALSE | Data Center High Eff UPS | Efficient UPS | Efficient | RET and NEW
|  | Com | Data Center | Electric | FALSE | Data Center Server Virtualization | No Server Virtualization | Average Existing and Code | RET and NEW
|  | Com | Data Center | Electric | FALSE | Data Center Server Virtualization | Data Center Server Virtualization | Efficient | RET and NEW
|  | Com | FoodServ | Electric & Gas | FALSE | Com Dishwashers | Standard Dishwasher | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric & Gas | FALSE | Com Dishwashers | ENERGY STAR Dishwasher | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | FALSE | DCV Exhaust Hood | Standard Commercial Kitchen Exhaust Hood | Average Existing and Code | NEW Only
|  | Com | FoodServ | Electric & Gas | FALSE | DCV Exhaust Hood | Demand Controlled Ventilation (DCV) Exhaust Hood | Efficient | NEW Only
|  | Com | FoodServ | Electric & Gas | FALSE | DCV Exhaust Hood-Ret | Standard Commercial Kitchen Exhaust Hood - Retrofit | Average Existing and Code | RET Only
|  | Com | FoodServ | Electric & Gas | FALSE | DCV Exhaust Hood-Ret | Demand Controlled Ventilation (DCV) Exhaust Hood - Retrofit | Efficient | RET Only
|  | Com | FoodServ | Electric | FALSE | Electric Combination Ovens | Standard Combination Oven - Electric | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Electric Combination Ovens | ENERGY STAR Combination Oven - Electric | Efficient | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Electric Convection Ovens | Standard Convection Oven - Electric | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Electric Convection Ovens | ENERGY STAR Convection Oven - Electric | Efficient | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Electric Fryers | Standard Fryer - Electric | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Electric Fryers | ENERGY STAR Fryer - Electric | Efficient | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Electric Griddles | Standard Griddle - Electric | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Electric Griddles | ENERGY STAR Griddle - Electric | Efficient | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Electric Steamers | Standard Steamer - Electric | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric | FALSE | Electric Steamers | ENERGY STAR Steamer - Electric | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | FALSE | Gas Broilers | Standard Conveyor Broiler - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric & Gas | FALSE | Gas Broilers | ENERGY STAR Conveyor Broiler - Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Gas Combination Ovens | Standard Combination Oven - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Gas Combination Ovens | ENERGY STAR Combination Oven - Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Gas Combination Ovens | ENERGY STAR Combination Oven - Fuel Sub | Efficient | ROB Only
|  | Com | FoodServ | Electric & Gas | TRUE | Gas Convection Ovens | Standard Convection Oven - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Gas Convection Ovens | ENERGY STAR Convection Oven - Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Gas Convection Ovens | ENERGY STAR Convection Oven - Fuel Sub | Efficient | ROB Only
|  | Com | FoodServ | Gas | FALSE | Gas Conveyor Ovens | Standard Conveyor Oven - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Gas | FALSE | Gas Conveyor Ovens | ENERGY STAR Conveyor Oven - Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Gas Fryers | Standard Fryer - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Gas Fryers | ENERGY STAR Fryer - Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Gas Fryers | ENERGY STAR Fryer - Fuel Sub | Efficient | ROB Only
|  | Com | FoodServ | Electric & Gas | TRUE | Gas Griddles | Standard Griddle - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Gas Griddles | ENERGY STAR Griddle - Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Gas Griddles | ENERGY STAR Griddle - Fuel Sub | Efficient | ROB Only
|  | Com | FoodServ | Gas | FALSE | Gas Rack Ovens | Standard Rack Oven - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Gas | FALSE | Gas Rack Ovens | ENERGY STAR Rack Oven - Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Gas Steamers | Standard Steamer - Gas | Average Existing and Code | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Gas Steamers | ENERGY STAR Steamer - Gas | Efficient | ROB and NEW
|  | Com | FoodServ | Electric & Gas | TRUE | Gas Steamers | ENERGY STAR Steamer - Fuel Sub | Efficient | ROB Only
|  | Com | HVAC | Electric | FALSE | Chillers | Code Compliant Chiller | Average Existing and Code | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Chillers | Efficient Chiller | Efficient | ROB and NEW
Technology Group Added | Fuel Sub, based on SWHC046 | Com | HVAC | Electric & Gas | TRUE | Com Central HVAC (Large) - Fuel Sub | Large Code HVAC System Integrated Furnace and AC | Average Existing and Code | ROB Only
Technology Group Added | Fuel Sub, based on SWHC046 | Com | HVAC | Electric & Gas | TRUE | Com Central HVAC (Large) - Fuel Sub | Large Packaged Heat Pump (IEER 12.0) - Fuel Sub | Efficient | ROB Only
Technology Group Added | Fuel Sub, based on SWHC046 | Com | HVAC | Electric & Gas | TRUE | Com Central HVAC (Large) - Fuel Sub | Large Packaged Heat Pump (IEER 13.0) - Fuel Sub | Efficient | ROB Only
Technology Group Added | Fuel Sub, based on SWHC046 | Com | HVAC | Electric & Gas | TRUE | Com Central HVAC (Small) - Fuel Sub | Small Code HVAC System Integrated Furnace and AC | Average Existing and Code | ROB Only
Technology Group Added | Fuel Sub, based on SWHC046 | Com | HVAC | Electric & Gas | TRUE | Com Central HVAC (Small) - Fuel Sub | Small Packaged Heat Pump (SEER 15) - Fuel Sub | Efficient | ROB Only
Technology Group Added | Fuel Sub, based on SWHC046 | Com | HVAC | Electric & Gas | TRUE | Com Central HVAC (Small) - Fuel Sub | Small Packaged Heat Pump (SEER 16) - Fuel Sub | Efficient | ROB Only
Technology Group Added | Fuel Sub, based on SWHC046 | Com | HVAC | Electric & Gas | TRUE | Com Central HVAC (Small) - Fuel Sub | Small Packaged Heat Pump (SEER 17) - Fuel Sub | Efficient | ROB Only
Technology Group Added | Fuel Sub, based on SWHC046 | Com | HVAC | Electric & Gas | TRUE | Com Central HVAC (Small) - Fuel Sub | Small Packaged Heat Pump (SEER 18) - Fuel Sub | Efficient | ROB Only
|  | Com | HVAC | Gas | FALSE | Com Furnaces | Com Code Furnace (81 AFUE) | Average Existing and Code | ROB and NEW
|  | Com | HVAC | Gas | FALSE | Com Furnaces | Com High Eff. Furnace (92 AFUE) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Com HVAC Motors | Com HVAC Motor - Shaded Pole | Average Existing | RET Only
|  | Com | HVAC | Electric | FALSE | Com HVAC Motors | Com HVAC Motor - PSC | Code | RET and NEW
|  | Com | HVAC | Electric | FALSE | Com HVAC Motors | Com HVAC Motor - ECM | Efficient | RET and NEW
|  | Com | HVAC | Electric | FALSE | Com Thermostats (Elec/Elec) | Com Manual Thermostat (Elec SC and Elec SH) | Average Existing | RET and NEW
|  | Com | HVAC | Electric | FALSE | Com Thermostats (Elec/Elec) | Com Programmable Thermostat (Elec SC and Elec SH) | Code | RET and NEW
|  | Com | HVAC | Electric | FALSE | Com Thermostats (Elec/Elec) | Com Smart Thermostat (Elec SC and Elec SH) | Efficient | RET and NEW
|  | Com | HVAC | Electric & Gas | FALSE | Com Thermostats (Elec/Gas) | Com Manual Thermostat (Elec SC and Gas SH) | Average Existing | RET and NEW
|  | Com | HVAC | Electric & Gas | FALSE | Com Thermostats (Elec/Gas) | Com Programmable Thermostat (Elec SC and Gas SH) | Code | RET and NEW
|  | Com | HVAC | Electric & Gas | FALSE | Com Thermostats (Elec/Gas) | Com Smart Thermostat (Elec SC and Gas SH) | Efficient | RET and NEW
|  | Com | HVAC | Electric | FALSE | DOAS | No DOAS System | Average Existing and Code | RET and NEW
|  | Com | HVAC | Electric | FALSE | DOAS | Dedicated Outdoor Air System (DOAS) | Efficient | RET and NEW
|  | Com | HVAC | Electric | FALSE | Economizers | No Economizer | Average Existing and Code | RET and NEW
|  | Com | HVAC | Electric | FALSE | Economizers | Economizer | Efficient | RET and NEW
|  | Com | HVAC | Electric | FALSE | EMS (Elec/Elec) | No HVAC EMS (Elec SC and Elec SH) | Average Existing and Code | RET and NEW
|  | Com | HVAC | Electric | FALSE | EMS (Elec/Elec) | HVAC Energy Management System (Elec SC and Elec SH) | Efficient | RET and NEW
|  | Com | HVAC | Electric & Gas | FALSE | EMS (Elec/Gas) | No HVAC EMS (Elec SC and Gas SH) | Average Existing and Code | RET and NEW
|  | Com | HVAC | Electric & Gas | FALSE | EMS (Elec/Gas) | HVAC Energy Management System (Elec SC and Gas SH) | Efficient | RET and NEW
|  | Com | HVAC | Gas | FALSE | HVAC Boilers | Code HVAC Boiler (81 AFUE) | Average Existing and Code | ROB and NEW
|  | Com | HVAC | Gas | FALSE | HVAC Boilers | Condensing Eff. HVAC Boiler (94 AFUE) | Efficient | ROB and NEW
|  | Com | HVAC | Electric & Gas | FALSE | HVAC DCV | No HVAC DCV | Average Existing and Code | RET and NEW
|  | Com | HVAC | Electric & Gas | FALSE | HVAC DCV | Demand Controlled Ventilation (HVAC) | Efficient | RET and NEW
|  | Com | HVAC | Electric | FALSE | HVAC Fan VFD | HVAC Fan with no VFD | Average Existing and Code | RET Only
|  | Com | HVAC | Electric | FALSE | HVAC Fan VFD | HVAC Fan Variable Frequency Drive (VFD) | Efficient | RET Only
|  | Com | HVAC | Gas | FALSE | HVAC Heat Recovery | No Heat Recovery or ERV | Average Existing and Code | ROB and NEW
|  | Com | HVAC | Gas | FALSE | HVAC Heat Recovery | HVAC Heat Recovery/Energy Recovery Ventilator (ERV) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | HVAC Pump VFD | HVAC Pump with no VFD | Average Existing and Code | RET Only
|  | Com | HVAC | Electric | FALSE | HVAC Pump VFD | HVAC Pump Variable Frequency Drive (VFD) | Efficient | RET Only
|  | Com | HVAC | Electric | FALSE | Mini Split Heat Pumps | Ductless Mini Split Heat Pump (SEER 14) | Code | ROB and NEW
Technology Added | Added intermediate SEER level | Com | HVAC | Electric | FALSE | Mini Split Heat Pumps | Ductless Mini Split Heat Pump (SEER 16) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Mini Split Heat Pumps | Ductless Mini Split Heat Pump (SEER 18) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Mini Split Heat Pumps | Variable Refrigerant Flow (VRF) Heat Pump | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | PTAC Controls | Standard PTAC Controls | Average Existing and Code | RET and NEW
|  | Com | HVAC | Electric | FALSE | PTAC Controls | PTAC Controls Upgrade | Efficient | RET and NEW
|  | Com | HVAC | Electric | FALSE | Unitary AC (Large) | Large Unitary AC (EER 10.8, IEER 12.2) | Average Existing and Code | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Unitary AC (Large) | Large Unitary AC (EER 11.5, IEER 12.7) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Unitary AC (Large) | Large Unitary AC (EER 12.5, IEER 15.5) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Unitary AC (Small) | Small Unitary AC (SEER 14) | Average Existing and Code | ROB and NEW
Technology Added | Added intermediate SEER level | Com | HVAC | Electric | FALSE | Unitary AC (Small) | Small Unitary AC (SEER 15) | Efficient | ROB and NEW
Technology Added | Added intermediate SEER level | Com | HVAC | Electric | FALSE | Unitary AC (Small) | Small Unitary AC (SEER 16) | Efficient | ROB and NEW
Technology Added | Added intermediate SEER level | Com | HVAC | Electric | FALSE | Unitary AC (Small) | Small Unitary AC (SEER 17) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Unitary AC (Small) | Small Unitary AC (SEER 18) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Unitary Heat Pump (Large) | Large Unitary Heat Pump (EER 9.3, IEER 11.4) | Average Existing and Code | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Unitary Heat Pump (Large) | Large Unitary Heat Pump (EER 10.5) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Unitary Heat Pump (Large) | Large Unitary Heat Pump (EER 10.8) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Unitary Heat Pump (Small) | Small Unitary Heat Pump (SEER 14) | Average Existing and Code | ROB and NEW
Technology Added | Added intermediate SEER level | Com | HVAC | Electric | FALSE | Unitary Heat Pump (Small) | Small Unitary Heat Pump (SEER 15) | Efficient | ROB and NEW
Technology Added | Added intermediate SEER level | Com | HVAC | Electric | FALSE | Unitary Heat Pump (Small) | Small Unitary Heat Pump (SEER 16) | Efficient | ROB and NEW
Technology Added | Added intermediate SEER level | Com | HVAC | Electric | FALSE | Unitary Heat Pump (Small) | Small Unitary Heat Pump (SEER 17) | Efficient | ROB and NEW
|  | Com | HVAC | Electric | FALSE | Unitary Heat Pump (Small) | Small Unitary Heat Pump (SEER 18) | Efficient | ROB and NEW
|  | Com | Lighting | Electric | FALSE | Com Indoor Lighting Controls | Manual Commercial Lighting Controls | Average Existing | RET Only
|  | Com | Lighting | Electric | FALSE | Com Indoor Lighting Controls | Occupancy Sensor | Code | RET and NEW
|  | Com | Lighting | Electric | FALSE | Com Indoor Lighting Controls | Advanced Commercial Lighting Controls | Efficient | RET and NEW
Adjusted Efficiency Level | New baseline for Accelerated Replacement (RET) | Com | Lighting | Electric | FALSE | Com LED Fixtures | LED Fixtures and Retrofit Kits - 60 lpw | Average Existing | RET Only
Adjusted Efficiency Level | Changed to Code only baseline | Com | Lighting | Electric | FALSE | Com LED Fixtures | LED Fixtures and Retrofit Kits - 95.2 lpw | Code | ROB and NEW
Adjusted Replacement Type | Added RET | Com | Lighting | Electric | FALSE | Com LED Fixtures | LED Fixtures and Retrofit Kits - 125 lpw | Efficient | ROB and RET and NEW
Adjusted Replacement Type | Added RET | Com | Lighting | Electric | FALSE | Com LED Fixtures | LED Fixtures and Retrofit Kits - 140 lpw | Efficient | ROB and RET and NEW
|  | Com | Lighting | Electric | FALSE | Com LED High and Low Bay | LED High and Low Bay - 115 lpw | Average Existing and Code | ROB Only
|  | Com | Lighting | Electric | FALSE | Com LED High and Low Bay | LED High and Low Bay - 135 lpw | Efficient | ROB Only
|  | Com | Lighting | Electric | FALSE | Com LED High and Low Bay | LED High and Low Bay - 150 lpw | Efficient | ROB Only
|  | Com | Lighting | Electric | FALSE | Com LED Reflector Lamps - Indoor | Com LED Reflector Lamp Indoor - 80 lpw | Average Existing and Code | ROB and NEW
|  | Com | Lighting | Electric | FALSE | Com LED Reflector Lamps - Indoor | Com LED Reflector Lamp Indoor - 100 lpw | Efficient | ROB and NEW
|  | Com | Lighting | Electric | FALSE | Com LED Reflector Lamps - Indoor | Com LED Reflector Lamp Indoor - 90 lpw | Efficient | ROB and NEW
|  | Com | Lighting | Electric | FALSE | Com LED Screw In Lamps - Indoor | Com LED Screw In Lamp Indoor - 80 lpw | Average Existing and Code | ROB and NEW
|  | Com | Lighting | Electric | FALSE | Com LED Screw In Lamps - Indoor | Com LED Screw In Lamp Indoor - 110 lpw | Efficient | ROB and NEW
|  | Com | Lighting | Electric | FALSE | Com LED Screw In Lamps - Indoor | Com LED Screw In Lamp Indoor - 95 lpw | Efficient | ROB and NEW
|  | Com | Lighting | Electric | FALSE | Com LED Specialty Lamps - Indoor | Com LED Specialty Lamp Indoor - 65 lpw | Average Existing and Code | ROB and NEW
|  | Com | Lighting | Electric | FALSE | Com LED Specialty Lamps - Indoor | Com LED Specialty Lamp Indoor - 100 lpw | Efficient | ROB and NEW
|  | Com | Lighting | Electric | FALSE | Com LED Specialty Lamps - Indoor | Com LED Specialty Lamp Indoor - 85 lpw | Efficient | ROB and NEW
|  | Com | WaterHeat | Electric | FALSE | Com Elec Water Heaters | Com Electric Storage Water Heater (0.87 UEF - 75 Gal) | Average Existing and Code | ROB and NEW
|  | Com | WaterHeat | Electric | FALSE | Com Elec Water Heaters | Com Heat Pump Water Heater (3.42 UEF - 80 Gal) | Efficient | ROB and NEW
|  | Com | WaterHeat | Gas | FALSE | Com Faucet Aerators (Gas) | Normal Flow Faucet (Gas WH) | Average Existing and Code | RET Only
|  | Com | WaterHeat | Gas | FALSE | Com Faucet Aerators (Gas) | Faucet Aerators (Gas WH) | Efficient | RET Only
Technology Group Added | Fuel Sub, based on SWWH028 | Com | WaterHeat | Electric & Gas | TRUE | Com Large Gas Water Heaters | Com Code Large Gas Water Heater (Avg. 0.80 Et 100+ Gal, 0.83 Et 200+ kBtuh) | Average Existing and Code | ROB and NEW
Technology Group Added | Fuel Sub, based on SWWH028 | Com | WaterHeat | Electric & Gas | TRUE | Com Large Gas Water Heaters | Com Heat Pump Water Heater (100+ Gal, 200+ kBtuh) - Fuel Sub | Efficient | ROB Only
|  | Com | WaterHeat | Gas | FALSE | Com Showerheads (Gas) | Normal Flow Showerheads (Gas WH) | Average Existing and Code | RET Only
|  | Com | WaterHeat | Gas | FALSE | Com Showerheads (Gas) | Low Flow Showerheads (Gas WH) | Efficient | RET Only
|  | Com | WaterHeat | Electric & Gas | TRUE | Com Small Gas Water Heaters | Com Gas Storage Water Heater (0.59 UEF - 75 Gal) | Average Existing and Code | ROB and NEW
|  | Com | WaterHeat | Electric & Gas | TRUE | Com Small Gas Water Heaters | Com Condensing Eff. Gas Storage Water Heater (0.90 & .96ET) | Efficient | ROB and NEW
|  | Com | WaterHeat | Electric & Gas | TRUE | Com Small Gas Water Heaters | Com Small Tankless Gas Water Heater | Efficient | ROB and NEW
|  | Com | WaterHeat | Electric & Gas | TRUE | Com Small Gas Water Heaters | Com Heat Pump Water Heater (3.42 UEF - 80 Gal) - Fuel Sub | Efficient | ROB Only
|  | Com | WaterHeat | Electric | FALSE | Com Water Heating Controls (Elec) | No Com Water Heating Controls (Elec WH) | Average Existing and Code | RET Only
|  | Com | WaterHeat | Electric | FALSE | Com Water Heating Controls (Elec) | Com Water Heating Controls (Elec WH) | Efficient | RET Only
|  | Com | WaterHeat | Gas | FALSE | Com Water Heating Controls (Gas) | No Com Water Heating Controls (Gas WH) | Average Existing and Code | RET Only
|  | Com | WaterHeat | Gas | FALSE | Com Water Heating Controls (Gas) | Com Water Heating Controls (Gas WH) | Efficient | RET Only
|  | Com | WaterHeat | Gas | FALSE | Gas Water Heating Boilers | Gas Water Heating Boiler (0.82 EF) | Average Existing and Code | ROB and NEW
|  | Com | WaterHeat | Gas | FALSE | Gas Water Heating Boilers | Condensing Eff. Gas Water Heating Boiler (0.90 EF) | Efficient | ROB and NEW
|  | Com | WaterHeat | Gas | FALSE | Pipe Insulation | No Com Hot Water Pipe Insulation | Average Existing | RET Only
|  | Com | WaterHeat | Gas | FALSE | Pipe Insulation | Com Hot Water Pipe Insulation | Efficient | RET Only
|  | Com | WaterHeat | Gas | FALSE | Pre-Rinse Spray Valve | Standard Pre-Rinse Spray Valve | Code | ROB and NEW
|  | Com | WaterHeat | Gas | FALSE | Pre-Rinse Spray Valve | Low-flow Pre-Rinse Spray Valve | Efficient | ROB and NEW
|  | Com | WholeBlg | Electric & Gas | FALSE | Com Building Standards | Com Title 24 2016 Code | Code | NEW Only
|  | Com | WholeBlg | Electric & Gas | FALSE | Com Building Standards | Com Title 24 2019 Code | Efficient | NEW Only
|  | Com | WholeBlg | Electric & Gas | FALSE | Com Building Standards | Com ZNE | Efficient | NEW Only
|  | Res | AppPlug | Electric | FALSE | Clothes Dryers (Elec) | Code Level Res Clothes Dryer (Electric) | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Electric | FALSE | Clothes Dryers (Elec) | Efficient Res Clothes Dryer (Electric) | Efficient | ROB and NEW
|  | Res | AppPlug | Electric | FALSE | Clothes Dryers (Elec) | Heat Pump Res Clothes Dryer | Efficient | ROB and NEW
|  | Res | AppPlug | Electric & Gas | TRUE | Clothes Dryers (Gas) | Code Level Res Clothes Dryer (Gas) | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Electric & Gas | TRUE | Clothes Dryers (Gas) | Efficient Res Clothes Dryer (Gas) | Efficient | ROB and NEW
Technology Added | Fuel Sub, based on SWAP014 | Res | AppPlug | Electric & Gas | TRUE | Clothes Dryers (Gas) | Heat Pump Res Clothes Dryer - Fuel Sub | Efficient | ROB and NEW
|  | Res | AppPlug | Electric | FALSE | Electric Cooking | Standard Electric Stove | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Electric | FALSE | Electric Cooking | Induction Cooking Stove | Efficient | ROB and NEW
|  | Res | AppPlug | Electric | FALSE | Power Strips | Standard Power Strip | Average Existing and Code | RET and NEW
|  | Res | AppPlug | Electric | FALSE | Power Strips | Smart Connected Power Strip | Efficient | RET and NEW
|  | Res | AppPlug | Electric | FALSE | Refrigerators | Code Level Refrigerator | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Electric | FALSE | Refrigerators | Efficient Refrigerator | Efficient | ROB and NEW
|  | Res | AppPlug | Electric | FALSE | Res Clothes Washers (Elec) | Code Level Res Clothes Washer (Electric) | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Electric | FALSE | Res Clothes Washers (Elec) | Efficient Res Clothes Washer (Electric) | Efficient | ROB and NEW
|  | Res | AppPlug | Gas | FALSE | Res Clothes Washers (Gas) | Code Level Res Clothes Washer (Gas) | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Gas | FALSE | Res Clothes Washers (Gas) | Efficient Res Clothes Washer (Gas) | Efficient | ROB and NEW
|  | Res | AppPlug | Electric & Gas | TRUE | Res Cooking Appliances | Res Gas Cooking Appliances | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Electric & Gas | TRUE | Res Cooking Appliances | Res Induction Cooking - Fuel Sub | Efficient | ROB and NEW
|  | Res | AppPlug | Gas | FALSE | Res Dishwashers | Standard Res Dishwasher | Average Existing and Code | ROB and NEW
|  | Res | AppPlug | Gas | FALSE | Res Dishwashers | Efficient Res Dishwasher | Efficient | ROB and NEW
Technology Group Added | Fuel Sub, based on SWRE005 | Res | AppPlug | Electric & Gas | TRUE | Res Pool Heaters | Code Level Gas Pool Heater | Average Existing and Code | ROB and NEW
Technology Group Added | Fuel Sub, based on SWRE005 | Res | AppPlug | Electric & Gas | TRUE | Res Pool Heaters | Efficient Gas Pool Heater | Efficient | ROB and NEW
Technology Group Added | Fuel Sub, based on SWRE005 | Res | AppPlug | Electric & Gas | TRUE | Res Pool Heaters | Heat Pump Pool Heater - Fuel Sub | Efficient | ROB Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Attic/Ceiling Insulation - NEW | Attic/Ceiling Insulation NEW (R22) | Average Existing and Code | NEW Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Attic/Ceiling Insulation - NEW | Attic/Ceiling Insulation NEW (>=R30) | Efficient | NEW Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Attic/Ceiling Insulation - RET | Attic/Ceiling Insulation RET (R0 to R4) | Average Existing | RET Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Attic/Ceiling Insulation - RET | Attic/Ceiling Insulation RET (R19) | Code | RET Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Attic/Ceiling Insulation - RET | Attic/Ceiling Insulation RET (>=R30) | Efficient | RET Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Duct Insulation | Attic/Crawlspace Duct Insulation (R4) | Average Existing | RET Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Duct Insulation | Attic/Crawlspace Duct Insulation (R6) | Code | RET and NEW
|  | Res | BldgEnv | Electric & Gas | FALSE | Duct Insulation | Attic/Crawlspace Duct Insulation (R8) | Efficient | RET and NEW
|  | Res | BldgEnv | Electric & Gas | FALSE | Floor Insulation (Elec/Gas) | Floor Insulation (R0) | Average Existing | RET Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Floor Insulation (Elec/Gas) | Floor Insulation (R19) | Code | RET and NEW
|  | Res | BldgEnv | Electric & Gas | FALSE | Floor Insulation (Elec/Gas) | Floor Insulation (R30) | Efficient | RET and NEW
|  | Res | BldgEnv | Electric & Gas | FALSE | Wall Insulation | Wall Insulation (R0 to R11) | Average Existing | RET Only
|  | Res | BldgEnv | Electric & Gas | FALSE | Wall Insulation | Wall Insulation (R13) | Code | RET Only
|  | Res | HVAC | Electric | FALSE | Ceiling Fans | Standard Ceiling Fan | Average Existing and Code | ROB and NEW
|  | Res | HVAC | Electric | FALSE | Ceiling Fans | ENERGY STAR Ceiling Fan | Efficient | ROB and NEW
|  | Res | HVAC | Electric | FALSE | HVAC Controls Upgrade | Standard HVAC Controls | Average Existing and Code | RET Only
|  | Res | HVAC | Electric | FALSE | HVAC Controls Upgrade | HVAC Time Delay Relay | Efficient | RET Only
|  | Res | HVAC | Electric | FALSE | HVAC Quality Maintenance (Elec/Elec) | Existing HVAC System (Elec SC and Elec SH) | Average Existing and Code | RET Only
|  | Res | HVAC | Electric | FALSE | HVAC Quality Maintenance (Elec/Elec) | HVAC System Maintenance - Ref. Charge, Duct Seal, Coil Clean (Elec SC and Elec SH) | Efficient | RET Only
|  | Res | HVAC | Electric & Gas | FALSE | HVAC Quality Maintenance (Elec/Gas) | Existing HVAC System (Elec SC and Gas SH) | Average Existing and Code | RET Only
|  | Res | HVAC | Electric & Gas | FALSE | HVAC Quality Maintenance (Elec/Gas) | HVAC System Maintenance - Ref. Charge, Duct Seal, Coil Clean (Elec SC and Gas SH) | Efficient | RET Only
|  | Res | HVAC | Electric | FALSE | Quality HVAC Installation (Elec/Elec) | Standard HVAC Installation (Elec SC and Elec SH) | Average Existing and Code | ROB and NEW
|  | Res | HVAC | Electric | FALSE | Quality HVAC Installation (Elec/Elec) | Quality HVAC Installation (Elec SC and Elec SH) | Efficient | ROB and NEW
|  | Res | HVAC | Electric & Gas | FALSE | Quality HVAC Installation (Elec/Gas) | Standard HVAC Installation (Elec SC and Gas SH) | Average Existing and Code | ROB and NEW
|  | Res | HVAC | Electric & Gas | FALSE | Quality HVAC Installation (Elec/Gas) | Quality HVAC Installation (Elec SC and Gas SH) | Efficient | ROB and NEW
|  | Res | HVAC | Gas | FALSE | Res Boilers | Standard Central Boiler | Average Existing and Code | ROB and NEW
|  | Res | HVAC | Gas | FALSE | Res Boilers | Efficient Central Boiler | Efficient | ROB and NEW
|  | Res | HVAC | Electric | FALSE | Res Central Air Conditioners | Packaged/Split System AC (SEER 14) | Average Existing and Code | ROB and NEW
Technology Added | Added intermediate SEER level | Res | HVAC | Electric | FALSE | Res Central Air Conditioners | Packaged/Split System AC (SEER 15) | Efficient | ROB and NEW
Technology Added | Added intermediate SEER level | Res | HVAC | Electric | FALSE | Res Central Air Conditioners | Packaged/Split System AC (SEER 16) | Efficient | ROB and NEW
Technology Added | Added intermediate SEER level | Res | HVAC | Electric | FALSE | Res Central Air Conditioners | Packaged/Split System AC (SEER 17) | Efficient | ROB and NEW
|  | Res | HVAC | Electric | FALSE | Res Central Air Conditioners | Packaged/Split System AC (SEER 18) | Efficient | ROB and NEW
|  | Res | HVAC | Electric | FALSE | Res Central Air Conditioners | Variable Capacity Space Conditioning System | Efficient | ROB and NEW
|  | Res | HVAC | Electric & Gas | TRUE | Res Central Furnace Only - Fuel Sub | Res Furnace FS (AFUE and HIR at Code Level) | Average Existing and Code | ROB and NEW
|  | Res | HVAC | Electric & Gas | TRUE | Res Central Furnace Only - Fuel Sub | Res Efficient Condensing Furnace FS (AFUE = 97) | Efficient | ROB and NEW
Technology Added | Added intermediate SEER level | Res | HVAC | Electric & Gas | TRUE | Res Central Furnace Only - Fuel Sub | Res Furnace Heat Pump Heating Only (SEER 15) - Fuel Sub | Efficient | ROB Only
Technology Added | Added intermediate SEER level | Res | HVAC | Electric & Gas | TRUE | Res Central Furnace Only - Fuel Sub | Res Furnace Heat Pump Heating Only (SEER 16) - Fuel Sub | Efficient | ROB Only
Technology Added | Added intermediate SEER level | Res | HVAC | Electric & Gas | TRUE | Res Central Furnace Only - Fuel Sub | Res Furnace Heat Pump Heating Only (SEER 17) - Fuel Sub | Efficient | ROB Only
|  | Res | HVAC | Electric & Gas | TRUE | Res Central Furnace Only - Fuel Sub | Res Furnace Heat Pump Heating Only (SEER 18) - Fuel Sub | Efficient | ROB Only
|  | Res | HVAC | Electric | FALSE | Res Central Heat Pumps | Packaged/Split Heat Pump (SEER 14) | Average Existing and Code | ROB and NEW
Technology Added | Added intermediate SEER level | Res | HVAC | Electric | FALSE | Res Central Heat Pumps | Packaged/Split Heat Pump (SEER 15) | Efficient | ROB and NEW
Technology Added | Added intermediate SEER level | Res | HVAC | Electric | FALSE | Res Central Heat Pumps | Packaged/Split Heat Pump (SEER 16) | Efficient | ROB and NEW
Technology Added | Added intermediate SEER level | Res | HVAC | Electric | FALSE | Res Central Heat Pumps | Packaged/Split Heat Pump (SEER 17) | Efficient | ROB and NEW
|  | Res | HVAC | Electric | FALSE | Res Central Heat Pumps | Packaged/Split Heat Pump (SEER 18) | Efficient | ROB and NEW
|  | Res | HVAC | Electric & Gas | TRUE | Res Central HVAC System - Fuel Sub | Code HVAC System Furnace and SEER 14 AC | Average Existing and Code | ROB and NEW
Technology Added | Replaces previous SEER 18 level | Res | HVAC | Electric & Gas | TRUE | Res Central HVAC System - Fuel Sub | Efficient HVAC System Condensing Furnace and SEER 15 AC | Efficient | ROB and NEW
Technology Added | Added intermediate SEER level | Res | HVAC | Electric & Gas | TRUE | Res Central HVAC System - Fuel Sub | Packaged/Split Heat Pump (SEER 15) - Fuel Sub | Efficient | ROB Only
Technology Added | Added intermediate SEER level | Res | HVAC | Electric & Gas | TRUE | Res Central HVAC System - Fuel Sub | Packaged/Split Heat Pump (SEER 16) - Fuel Sub | Efficient | ROB Only
Technology Added | Added intermediate SEER level | Res | HVAC | Electric & Gas | TRUE | Res Central HVAC System - Fuel Sub | Packaged/Split Heat Pump (SEER 17) - Fuel Sub | Efficient | ROB Only
|  | Res | HVAC | Electric & Gas | TRUE | Res Central HVAC System - Fuel Sub | Packaged/Split Heat Pump (SEER 18) - Fuel Sub | Efficient | ROB Only
Technology Group Added | Based on SWHC050 | Res | HVAC | Electric | FALSE | Res Ductless Heat Pumps | Ductless Mini Split Heat Pump (SEER 14) | Average Existing and Code | ROB and NEW
Technology Group Added | Based on SWHC050 | Res | HVAC | Electric | FALSE | Res Ductless Heat Pumps | Ductless Mini Split Heat Pump (SEER 15) | Efficient | ROB and NEW
Technology Group Added | Based on SWHC050 | Res | HVAC | Electric | FALSE | Res Ductless Heat Pumps | Ductless Mini Split Heat Pump (SEER 16) | Efficient | ROB and NEW
Technology Group Added | Based on SWHC050 | Res | HVAC | Electric | FALSE | Res Ductless Heat Pumps | Ductless Mini Split Heat Pump (SEER 17) | Efficient | ROB and NEW
Technology Group Added | Based on SWHC050 | Res | HVAC | Electric | FALSE | Res Ductless Heat Pumps | Ductless Mini Split Heat Pump (SEER 18) | Efficient | ROB and NEW
Technology Group Added | Fuel Sub, based on SWHC044 | Res | HVAC | Electric & Gas | TRUE | Res Ductless HVAC System - Fuel Sub | Code HVAC Wall Furnace and Room AC | Average Existing and Code | ROB and NEW
Technology Group Added | Fuel Sub, based on SWHC044 | Res | HVAC | Electric & Gas | TRUE | Res Ductless HVAC System - Fuel Sub | Efficient Wall Furnace and ENERGY STAR Room AC | Efficient | ROB and NEW
Technology Group Added | Fuel Sub, based on SWHC044 | Res | HVAC | Electric & Gas | TRUE | Res Ductless HVAC System - Fuel Sub | Ductless Mini Split Heat Pump (SEER 15) - Fuel Sub | Efficient | ROB Only
Technology Group Added | Fuel Sub, based on SWHC044 | Res | HVAC | Electric & Gas | TRUE | Res Ductless HVAC System - Fuel Sub | Ductless Mini Split Heat Pump (SEER 16) - Fuel Sub | Efficient | ROB Only
Technology Group Added | Fuel Sub, based on SWHC044 | Res | HVAC | Electric & Gas | TRUE | Res Ductless HVAC System - Fuel Sub | Ductless Mini Split Heat Pump (SEER 17) - Fuel Sub | Efficient | ROB Only
Technology Group Added | Fuel Sub, based on SWHC044 | Res | HVAC | Electric & Gas | TRUE | Res Ductless HVAC System - Fuel Sub | Ductless Mini Split Heat Pump (SEER 18) - Fuel Sub | Efficient | ROB Only
|  | Res | HVAC | Electric | FALSE | Res Ductless Room ACs | Code Level Room AC | Average Existing and Code | ROB and NEW
Technology Added | Additional efficiency level | Res | HVAC | Electric | FALSE | Res Ductless Room ACs | ENERGY STAR Advanced Room AC | Efficient | ROB and NEW
|  | Res | HVAC | Electric | FALSE | Res Ductless Room ACs | ENERGY STAR Room AC | Efficient | ROB and NEW
|  | Res | HVAC | Gas | FALSE | Res Furnaces | Res Furnace (AFUE and HIR at Code Level) | Average Existing and Code | ROB and NEW
|  | Res | HVAC | Gas | FALSE | Res Furnaces | Res Efficient Condensing Furnace (AFUE = 97) | Efficient | ROB and NEW
|  | Res | HVAC | Electric | FALSE | Res HVAC Motors | Standard Res HVAC Motor | Average Existing and Code | RET Only
|  | Res | HVAC | Electric | FALSE | Res HVAC Motors | ECM Res HVAC Motor | Efficient | RET Only
|  | Res | HVAC | Electric | FALSE | Res Thermostats (Elec/Elec) | Res Programmable Thermostat (Elec SC and Elec SH) | Average Existing and Code | RET and NEW
|  | Res | HVAC | Electric | FALSE | Res Thermostats (Elec/Elec) | Res Smart Thermostat (Elec SC and Elec SH) | Efficient | RET and NEW
|  | Res | HVAC | Electric & Gas | FALSE | Res Thermostats (Elec/Gas) | Res Programmable Thermostat (Elec SC and Gas SH) | Average Existing and Code | RET and NEW
|  | Res | HVAC | Electric & Gas | FALSE | Res Thermostats (Elec/Gas) | Res Smart Thermostat (Elec SC and Gas SH) | Efficient | RET and NEW
|  | Res | HVAC | Electric | FALSE | Whole House Fan | No Whole House Fan | Average Existing and Code | RET Only
|  | Res | HVAC | Electric | FALSE | Whole House Fan | Whole House Fan | Efficient | RET Only
|  | Res | Lighting | Electric | FALSE | LED General Service Lamps - Indoor | LED General Service Lamp Indoor - 80 lpw | Average Existing and Code | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED General Service Lamps - Indoor | LED General Service Lamp Indoor - 110 lpw | Efficient | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED General Service Lamps - Indoor | LED General Service Lamp Indoor - 95 lpw | Efficient | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED General Service Lamps - Outdoor | LED General Service Lamp Outdoor - 80 lpw | Average Existing and Code | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED General Service Lamps - Outdoor | LED General Service Lamp Outdoor - 110 lpw | Efficient | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED General Service Lamps - Outdoor | LED General Service Lamp Outdoor - 95 lpw | Efficient | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED Reflector Lamps - Indoor | LED Reflector Lamp Indoor - 80 lpw | Average Existing and Code | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED Reflector Lamps - Indoor | LED Reflector Lamp Indoor - 100 lpw | Efficient | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED Reflector Lamps - Indoor | LED Reflector Lamp Indoor - 90 lpw | Efficient | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED Reflector Lamps - Outdoor | LED Reflector Lamp Outdoor - 80 lpw | Average Existing and Code | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED Reflector Lamps - Outdoor | LED Reflector Lamp Outdoor - 100 lpw | Efficient | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED Reflector Lamps - Outdoor | LED Reflector Lamp Outdoor - 90 lpw | Efficient | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED Specialty Lamps - Indoor | LED Specialty Lamp Indoor - 65 lpw | Average Existing and Code | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED Specialty Lamps - Indoor | LED Specialty Lamp Indoor - 100 lpw | Efficient | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED Specialty Lamps - Indoor | LED Specialty Lamp Indoor - 85 lpw | Efficient | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED Specialty Lamps - Outdoor | LED Specialty Lamp Outdoor - 65 lpw | Average Existing and Code | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED Specialty Lamps - Outdoor | LED Specialty Lamp Outdoor - 100 lpw | Efficient | ROB and NEW
|  | Res | Lighting | Electric | FALSE | LED Specialty Lamps - Outdoor | LED Specialty Lamp Outdoor - 85 lpw | Efficient | ROB and NEW
|  | Res | Lighting | Electric | FALSE | Res Indoor Lighting Controls | Manual Residential Lighting Controls | Average Existing | RET Only
|  | Res | Lighting | Electric | FALSE | Res Indoor Lighting Controls | Advanced Residential Lighting Controls | Efficient | RET and NEW
|  | Res | WaterHeat | Electric | FALSE | Drain Water Heat Recovery (Elec) - NEW | No Drain Water Heat Recovery (Elec WH) - NEW | Average Existing and Code | NEW Only
|  | Res | WaterHeat | Electric | FALSE | Drain Water Heat Recovery (Elec) - NEW | Drain Water Heat Recovery (Elec WH) - NEW | Efficient | NEW Only
|  | Res | WaterHeat | Electric | FALSE | Drain Water Heat Recovery (Elec) - RET | No Drain Water Heat Recovery (Elec WH) - RET | Average Existing and Code | RET Only
|  | Res | WaterHeat | Electric | FALSE | Drain Water Heat Recovery (Elec) - RET | Drain Water Heat Recovery (Elec WH) - RET | Efficient | RET Only
|  | Res | WaterHeat | Gas | FALSE | Drain Water Heat Recovery (Gas) - RET | No Drain Water Heat Recovery (Gas WH) - RET | Average Existing and Code | RET Only
|  | Res | WaterHeat | Gas | FALSE | Drain Water Heat Recovery (Gas) - RET | Drain Water Heat Recovery (Gas WH) - RET | Efficient | RET Only
|  | Res | WaterHeat | Gas | FALSE | Drain Water Heat Recovery (Gas) NEW | No Drain Water Heat Recovery (Gas WH) - NEW | Average Existing and Code | NEW Only
|  | Res | WaterHeat | Gas | FALSE | Drain Water Heat Recovery (Gas) NEW | Drain Water Heat Recovery (Gas WH) - NEW | Efficient | NEW Only
|  | Res | WaterHeat | Electric | FALSE | Res Elec Water Heaters | Res Small Electric Storage Water Heater (0.92 UEF - 50 Gal) | Average Existing and Code | ROB and NEW
|  | Res | WaterHeat | Electric | FALSE | Res Elec Water Heaters | Res Heat Pump Water Heater (Avg 3.09 and 3.31 UEF - 50 Gal) | Efficient | ROB and NEW
|  | Res | WaterHeat | Electric | FALSE | Res Faucet Aerators (Elec) | Normal Flow Faucet (Elec WH) | Average Existing and Code | RET and NEW
|  | Res | WaterHeat | Electric | FALSE | Res Faucet Aerators (Elec) | Faucet Aerators (Elec WH) | Efficient | RET and NEW
|  | Res | WaterHeat | Gas | FALSE | Res Faucet Aerators (Gas) | Normal Flow Faucet (Gas WH) | Average Existing and Code | RET and NEW
|  | Res | WaterHeat | Gas | FALSE | Res Faucet Aerators (Gas) | Faucet Aerators (Gas WH) | Efficient | RET and NEW
|  | Res | WaterHeat | Electric & Gas | TRUE | Res Gas Water Heaters | Res Small Gas Storage Water Heater (Avg .56 and 0.63 UEF - 50 Gal) | Average Existing and Code | ROB and NEW
|  | Res | WaterHeat | Electric & Gas | TRUE | Res Gas Water Heaters | Res Condensing Eff. Small Gas Storage Water Heater (0.88 UEF - 50 Gal) | Efficient | ROB and NEW
|  | Res | WaterHeat | Electric & Gas | TRUE | Res Gas Water Heaters | Res Tankless Gas Water Heater | Efficient | ROB and NEW
|  | Res | WaterHeat | Electric & Gas | TRUE | Res Gas Water Heaters | Res Heat Pump Water Heater (Avg 3.09 and 3.31 UEF - 50 Gal) - Fuel Sub | Efficient | ROB Only
Technology Group Added | Fuel Sub, based on SWWH028 | Res | WaterHeat | Electric & Gas | TRUE | Res Multifamily Central Gas Water Heaters | Res Code Central Gas Water Heater (Avg. 0.80 Et 100+ Gal, 0.83 Et 200+ kBtuh) | Average Existing and Code | ROB and NEW
Technology Group Added | Fuel Sub, based on SWWH028 | Res | WaterHeat | Electric & Gas | TRUE | Res Multifamily Central Gas Water Heaters | Res Central Heat Pump Water Heater (100+ Gal, 200+ kBtuh) - Fuel Sub | Efficient | ROB Only
|  | Res | WaterHeat | Electric | FALSE | Res Showerheads (Elec) | Normal Flow Showerheads (Elec WH) | Average Existing and Code | RET and NEW
|  | Res | WaterHeat | Electric | FALSE | Res Showerheads (Elec) | Low Flow Showerheads (Elec WH) | Efficient | RET and NEW
|  | Res | WaterHeat | Gas | FALSE | Res Showerheads (Gas) | Normal Flow Showerheads (Gas WH) | Average Existing and Code | RET and NEW
|  | Res | WaterHeat | Gas | FALSE | Res Showerheads (Gas) | Low Flow Showerheads (Gas WH) | Efficient | RET and NEW
|  | Res | WaterHeat | Electric | FALSE | Water Heating Controls (Elec) | No Water Heating Controls (Elec WH) | Average Existing and Code | RET Only
|  | Res | WaterHeat | Electric | FALSE | Water Heating Controls (Elec) | Water Heating Controls (Elec WH) | Efficient | RET Only
|  | Res | WaterHeat | Gas | FALSE | Water Heating Controls (Gas) | No Water Heating Controls (Gas WH) | Average Existing and Code | RET Only
|  | Res | WaterHeat | Gas | FALSE | Water Heating Controls (Gas) | Water Heating Controls (Gas WH) | Efficient | RET Only
|  | Res | WholeBlg | Electric & Gas | FALSE | Res Building Standards | Res Title 24 2016 Code | Average Existing and Code | NEW Only
|  | Res | WholeBlg | Electric & Gas | FALSE | Res Building Standards | Res Title 24 2019 Code | Efficient | NEW Only
|  | Res | WholeBlg | Electric & Gas | FALSE | Res Building Standards | Res ZNE | Efficient | NEW Only
|  | Res | WholeBlg | Electric & Gas | FALSE | Res Whole Building Retrofit | Res Existing Building - No Retrofit | Average Existing | RET Only
|  | Res | WholeBlg | Electric & Gas | FALSE | Res Whole Building Retrofit | Energy Upgrade CA Advanced | Efficient | RET Only
|  | Res | WholeBlg | Electric & Gas | FALSE | Res Whole Building Retrofit | Energy Upgrade CA Basic | Efficient | RET Only

## Measures Removed
Sector | End Use | Technology | Base Year Efficiency Level | Technology Group | Reason for Removal | Stakeholder Comments
Com | HVAC | Com Code HVAC System Integrated Furnace and AC | Average Existing and Code | Com Central HVAC System - Fuel Sub | Replaced with Com Central HVAC (Small) - Fuel Sub and Com Central HVAC (Large) - Fuel Sub technology groups
Com | HVAC | Com Packaged Heat Pump - Fuel Sub | Efficient | Com Central HVAC System - Fuel Sub | Replaced with Com Central HVAC (Small) - Fuel Sub and Com Central HVAC (Large) - Fuel Sub technology groups
Com | HVAC | Packaged RTU AC (IEER 12.2) | Average Existing and Code | Packaged RTU AC | Replaced with Unitary AC (Large) technology group
Com | HVAC | Packaged RTU AC (IEER 14.0) | Efficient | Packaged RTU AC | Replaced with Unitary AC (Large) technology group
Com | HVAC | Packaged RTU AC (IEER 17.0) | Efficient | Packaged RTU AC | Replaced with Unitary AC (Large) technology group
Com | HVAC | Packaged RTU HP - Air Source (IEER 11.4) | Average Existing and Code | Packaged RTU Heat Pump | Replaced with Unitary Heat Pump (Large) technology group
Com | HVAC | Packaged RTU HP - Air Source (IEER 13.3) | Efficient | Packaged RTU Heat Pump | Replaced with Unitary Heat Pump (Large) technology group
Com | HVAC | Packaged RTU HP - Air Source (IEER 16.5) | Efficient | Packaged RTU Heat Pump | Replaced with Unitary Heat Pump (Large) technology group
Com | HVAC | Split System AC (SEER 14) | Average Existing and Code | Split System AC | Replaced with Unitary AC (Small) technology group
Com | HVAC | Split System AC (SEER 18) | Efficient | Split System AC | Replaced with Unitary AC (Small) technology group
Com | HVAC | Split System AC (SEER 22) | Efficient | Split System AC | Replaced with Unitary AC (Small) technology group
Com | HVAC | Split System HP - Air Source (SEER 14) | Average Existing and Code | Split System Heat Pump | Replaced with Unitary Heat Pump (Small) technology group
Com | HVAC | Split System HP - Air Source (SEER 18) | Efficient | Split System Heat Pump | Replaced with Unitary Heat Pump (Small) technology group
Com | WaterHeat | Com Smart Electric Storage Water Heater (0.87 UEF - 75 Gal) | Efficient | Com Elec Water Heaters | DR co-benefit measure; does not otherwise differ from Efficient level
Com | WaterHeat | Com Smart Heat Pump Water Heater (3.42 UEF - 80 Gal) | Efficient | Com Elec Water Heaters | DR co-benefit measure; does not otherwise differ from Efficient level
Com | WaterHeat | Com Smart Heat Pump Water Heater (3.42 UEF - 80 Gal) - Fuel Sub | Efficient | Com Small Gas Water Heaters | DR co-benefit measure; does not otherwise differ from Efficient level
Com | WaterHeat | Smart Com Water Heating Controls (Elec WH) | Efficient | Com Water Heating Controls (Elec) | DR co-benefit measure; does not otherwise differ from Efficient level
Res | AppPlug | Smart Efficient Res Clothes Dryer (Electric) | Efficient | Clothes Dryers (Elec) | DR co-benefit measure; does not otherwise differ from Efficient level
Res | AppPlug | Smart Heat Pump Res Clothes Dryer | Efficient | Clothes Dryers (Elec) | DR co-benefit measure; does not otherwise differ from Efficient level
Res | AppPlug | Smart Refrigerator | Efficient | Refrigerators | DR co-benefit measure; does not otherwise differ from Efficient level
Res | AppPlug | Smart Res Clothes Washer (Electric) | Efficient | Res Clothes Washers (Elec) | DR co-benefit measure; does not otherwise differ from Efficient level
Res | AppPlug | Smart Res Dishwasher | Efficient | Res Dishwashers | DR co-benefit measure; does not otherwise differ from Efficient level
Res | HVAC | Ground Source Heat Pump | Efficient | Res Central Heat Pumps | Replaced with Res Ductless Heat Pumps technology group
Res | HVAC | Ductless Mini Split Heat Pump (SEER 18) | Efficient | Res Central Heat Pumps | Replaced with Res Ductless Heat Pumps technology group
Res | HVAC | Efficient HVAC System Condensing Furnace and SEER 18 AC | Efficient | Res Central HVAC System - Fuel Sub | Replaced with SEER 15 non-fuel sub Efficient level
Res | HVAC | Smart Room AC | Efficient | Room AC | DR co-benefit measure; does not otherwise differ from Efficient level
Res | WaterHeat | Res Smart Electric Storage Water Heater (0.92 UEF - 50 Gal) | Efficient | Res Elec Water Heaters | DR co-benefit measure; does not otherwise differ from Efficient level
Res | WaterHeat | Res Smart Heat Pump Water Heater (Avg 3.09 and 3.31 UEF - 50 Gal) | Efficient | Res Elec Water Heaters | DR co-benefit measure; does not otherwise differ from Efficient level
Res | WaterHeat | Res Smart Heat Pump Water Heater (Avg 3.09 and 3.31 UEF - 50 Gal) - Fuel Sub | Efficient | Res Gas Water Heaters | DR co-benefit measure; does not otherwise differ from Efficient level
Res | WaterHeat | Smart Water Heating Controls (Elec WH) | Efficient | Water Heating Controls (Elec) | DR co-benefit measure; does not otherwise differ from Efficient level