On May 18, 2026, IRP Procurement staff held Office Hours to review updates to the Resource Data Template (RDT) and answer questions from Load Serving Entities (LSEs) in advance of the June 1, 2026, IRP Procurement Filing deadline. In the Office Hours, staff responded to various questions regarding the RDT and how to use the tool. Provided below is a summary of questions and answers from the May 18, 2026, Office Hours presentation.

Q: To the extent that contracts and/or documents were provided previously, must they be provided again?

A: Contracts/documents previously submitted and identified in the crosswalk table do not need to be re-submitted unless there are changes to the contracts/documents.

Q: Tranches 7-9 were not added in the mtr_nqc_validation_tool and mtr_nqc_summary tabs but were referenced in the User Guide on page 30-33. For tranches 7-9 (established in the new procurement order), which Effective Load Carrying Capabilities (ELCCs) should LSEs be using?

A: The Net Qualifying Capacity (NQC) entered should be based upon the ELCCs established for Mid-Term Reliability (MTR) procurement, as well as the procedures regarding use of the ELCCs.  If the resource entered is intended to count towards D.26-02-057 procurement and the ELCC study is not yet available, please leave the NQC column blank.

Q: Do tranches 7-9 need to be inputted into the mtr_npq_validation_tool tab?

A: No, for now, tranche 7-9 columns are for informational purposes only.

Q: For column engineering_assessment_included, is this asking if the assessment is included in this filing or is it asking if it is included in the current or previous filings?

A: This column asks if an assessment has been provided in the current or previous filing.

Q: What is the guidance on providing bridge contracts?

A: Eligible bridge contracts applied towards prior tranches should still be represented in the RDT. Anything previously contracted before September 18, 2025, that was applied towards a previous procurement due date should be in the RDT. New bridges can no longer be applied.

Q: For hybrid contracts, should LSEs slightly differentiate the unique_contract_ID for the generator vs. the storage portion?

A: Yes, use different unique_contract_ID for generator and storage portions. Using the same contract ID will result in a duplication error.

Q: Does capacity_factor only apply for the firm zero emission Long-Lead Time (LLT) resources that have a minimum capacity factor requirement?

A: Yes.

Q: There are #REF errors in columns AJ:AL, AO:AQ, AS:AT, AW:AY in the mtr_nqc_validation_tool tab.

A:  Version RDT05.18.2026 of the RDT has corrected this error and is posted to the website.

Q: What is the contract_RA_compliant column referring to?

A: If the long-term contract depends on the alternative compliance pathway depending on Month-Ahead (MA) Resource Adequacy (RA) compliance to be eligible, then this column applies.

Q: Is the new column capacity_factor for LLT the same as ELCCs?

A: Capacity factor is different from ELCCs. ELCCs are selected based on resource type and is separate from capacity factor. Capacity factor measures how much energy a generator is actually producing versus its nameplate capacity.

Q: For a hybrid contract, how should the new price columns be filled out?

A: Input bundled price.

Q: In the unique_contract tab, is the contract_RA_compliant column for bridge resources only or for all MTR contracts that are RA compliant?

A:   This column is used to identify if Month-Ahead RA compliance is being used as an alternative compliance pathway for a contract delay. Please only use this column if you need to demonstrate an alternative compliance pathway.

Q: Does the engineering_assessment_included column only apply to Long Duration Energy Storage (LDES) contracts or for both LDES and Diablo Canyon Replacement (DCR)?

A: Both LDES and DCR.

Q: What is the approximate date for the updated RDT template that incorporates feedback?

A: May 18, 2026.

Q: Is filling out the price columns (contract_price, contract_price_unit) optional or required?

A: It is recommended that LSEs complete price columns (contract_price, contract_price_unit), but this is not required at this time. Contract_type is required and contract_ra_compliant is required if using it as an alternative compliance pathway. Capacity_factor required for LLT resources.

Q: Are Small and Multi-Jurisdictional Utilities (SMJUs) or non-standard IRP filers without applicable MTR obligation required to submit the June 1 filing?

A: No, they are not.

Q: If using an RA contract for month ahead compliance, does that mean it must be listed as a unique contract or is the column used to indicate for a contract for which month ahead RA is being used for compliance?

A: The column is used to indicate that the LSE is using an alternative compliance method through a Month-Ahead RA contract.

Q: Are there supposed to be two separate rows for LLT resources coming online early, for it to count in the generic requirement? One for the LLT requirement and one for the generic requirement?

A: An LLT resource does not need a separate row if it comes online early. Resources marked under LLT (Long duration energy storage or clean firm) will also count towards the generic requirement. If a resource marked under the LLT category, also has excess NQC that can spill over to generic procurement, the excess may be applied on a different row.

Q: If using a resource for more than one tranche, are those inputted on separate lines?

A: One resource can be on one row on the unique_contracts tab if all tranches (years) fall under the same procurement category. Note there should only be one row per procurement category, per contract, per resource, and per technology type (if hybrid/co-located) on the unique_contracts tab. Use the same row for the unique_contracts tab, but in the mtr_nqc_validation_tool tab, split into new rows.

Q: If a contract has been renegotiated with an increased capacity, how would you approach that situation?

A: No need to add a new row, just indicate that there was a change through the mtr_contract_changed column and add a note with more information on why the contract changed.

Q: If an LSE was missing a contract for an earlier tranche, but now has signed a contract with excess capacity that can cover new tranche and the tranche that was missed, how would that be approached in the RDT and what ELCC value would you use? How does an LSE fulfill missed obligations?

A: Guidance states that ELCCs are based on the online date unless the resource is delayed. To demonstrate a resource delay through a contract amendment, utilize the previous COD columns, which will be different than the current COD columns. A new contract signed with a later online date cannot be used to fulfill a previously missed tranche-specific obligation, but if the LSE wants the excess capacity to be included in the cumulative compliance, it should represent that in the relevant year in the RTD using the appropriate ELCC.

Q: When is the Master Resource Database (MRD) information updated? If an LSE has a resource that is already online but does not show up in the resources tab, how should it be represented?

A: Label it as a new generic resource until it appears in the resource tab. The MRD information was updated March 2026.

Q: If there are multiple resource delays, do the previous COD columns change?

A: The previous COD columns (previous_COD_year, previous_COD_month, previous_COD_day) should remain the same as the original COD. These columns are used to indicate the original COD for a resource, i.e., when the resource was first expected to come online at the time the contract execution. Resource delays will be represented as changes in the COD columns (COD_year, COD_month, COD_day)

Q: Column BQ (engineering_assessment) in unique_contracts tab does not have a Yes/No drop down menu as the User Guide suggests.

A:  Drop down menu is added to this column in the new version of the RDT (RDT05.18.2026) that is posted to the website.

Q: Column BP (contract_RA_complaint) in unique_contracts tab appears to be a spelling error.

A: This is corrected in the most current version of the RDT (RDT05.18.2026) and is posted to the website.

Q: The User Guide still references mtr_compliance_target column, which is no longer in the RDT.

A: The User Guide will be updated to correct this.