## Title
Aliso Canyon OII I.17-02-002 – Phase 3
Technical Workshop #2
March 30, 2021
Workpapers Supporting Balancing Analysis

## Monthly Balancing Analysis
SCG: Seasonal Balancing & Storage Evaluation / Apr27-Mar28
| 2027-04-27 | 2027-05-01 | 2027-06-01 | 2027-07-01 | 2027-08-01 | 2027-09-01 | 2027-10-01 | 2027-11-01 | 2027-12-01 | 2028-01-01 | 2028-02-01 | 2028-03-01
Monthly Storage Injection Assessment (CGR Average Temperature with Base Hydro Year) (MMcf)
FOM Inventory | 44300 | 44900 | 45520 | 46120 | 46740 | 47298 | 47718 | 47966 | 47966 | 42928.5 | 42928.5 | 42928.5
FOM WD Capacity (MMcfd) | 1205.369 | 1215.0719 | 1225.0982 | 1234.8011 | 1244.8273 | 1253.851 | 1260.643 | 1375.2892 | 1375.2892 | 1293.8256 | 1293.8256 | 1293.8256
CGR Demand | 62340 | 55645 | 52110 | 62496 | 70773 | 66450 | 63705 | 71340 | 90458 | 83235 | 76579.3333 | 69264.3333
Pipeline Supply | 82665 | 85420.5 | 82665 | 85420.5 | 85420.5 | 82665 | 85420.5 | 82665 | 85420.5 | 85420.5 | 79909.5 | 85420.5
Storage Inj (+) / WD (-) | 600 | 620 | 600 | 620 | 558 | 420 | 248 | 0 | -5037.5 | 0 | 0 | 1376.4
Excess (+) / Short (-) | 19725 | 29155.5 | 29955 | 22304.5 | 14089.5 | 15795 | 21467.5 | 11325 | 0 | 2185.5 | 3330.1667 | 14779.7667
Month End Inventory | 44900 | 45520 | 46120 | 46740 | 47298 | 47718 | 47966 | 47966 | 42928.5 | 42928.5 | 42928.5 | 44304.9
Monthly Storage Injection Assessment (CGR Cold Temperature with Dry Hydro Year) (MMcf)
FOM Inventory | 30800 | 33995 | 37002 | 39492 | 41538 | 43165.5 | 44410.5 | 46354.2 | 48004.2 | 34906.7 | 29548.8667 | 26781.5333
FOM WD Capacity (MMcfd) | 987.0547 | 1038.7224 | 1087.3499 | 1127.6168 | 1160.7036 | 1187.0226 | 1207.156 | 1349.2241 | 1375.907 | 1164.1016 | 1077.4578 | 1032.706
CGR Demand | 65820 | 57784 | 53880 | 64976 | 74152 | 69150 | 66309 | 76020 | 98518 | 90778.3333 | 82775.6667 | 73893.6667
Pipeline Supply | 82665 | 85420.5 | 82665 | 85420.5 | 85420.5 | 82665 | 85420.5 | 82665 | 85420.5 | 85420.5 | 79909.5 | 85420.5
Storage Inj (+) / WD (-) | 3195 | 3007 | 2490 | 2046 | 1627.5 | 1245 | 1943.7 | 1650 | -13097.5 | -5357.8333 | -2866.1667 | 4014.5
Excess (+) / Short (-) | 13650 | 24629.5 | 26295 | 18398.5 | 9641 | 12270 | 17167.8 | 4995 | 0 | 0 | 0 | 7512.3333
Month End Inventory | 33995 | 37002 | 39492 | 41538 | 43165.5 | 44410.5 | 46354.2 | 48004.2 | 34906.7 | 29548.8667 | 26781.5333 | 30796.0333
SCG: Seasonal Balancing & Storage Evaluation / Apr35-Mar36
| 2035-04-01 | 2035-05-01 | 2035-06-01 | 2035-07-01 | 2035-08-01 | 2035-09-01 | 2035-10-01 | 2035-11-01 | 2035-12-01 | 2036-01-01 | 2036-02-01 | 2036-03-01
Monthly Storage Injection Assessment (CGR Average Temperature with Base Hydro Year) (MMcf)
FOM Inventory | 48000 | 48000 | 48000 | 48000 | 48000 | 48000 | 48000 | 48000 | 48000 | 48000 | 48000 | 48000
FOM WD Capacity (MMcfd) | 1265.2034 | 1265.2034 | 1265.2034 | 1265.2034 | 1265.2034 | 1265.2034 | 1265.2034 | 1375.8391 | 1375.8391 | 1375.8391 | 1375.8391 | 1375.8391
CGR Demand | 59070 | 53413 | 48960 | 57598 | 64418 | 59460 | 57381 | 65580 | 84382 | 79046.8988 | 73442.0558 | 66435.5608
Pipeline Supply | 82665 | 85420.5 | 82665 | 85420.5 | 85420.5 | 82665 | 85420.5 | 82665 | 85420.5 | 85420.5 | 79909.5 | 85420.5
Storage Inj (+) / WD (-) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Excess (+) / Short (-) | 23595 | 32007.5 | 33705 | 27822.5 | 21002.5 | 23205 | 28039.5 | 17085 | 1038.5 | 6373.6012 | 6467.4442 | 18984.9392
Month End Inventory | 48000 | 48000 | 48000 | 48000 | 48000 | 48000 | 48000 | 48000 | 48000 | 48000 | 48000 | 48000
Monthly Storage Injection Assessment (CGR Cold Temperature with Dry Hydro Year) (MMcf)
FOM Inventory | 42700 | 44050 | 45166 | 46036 | 46749 | 47276 | 47726 | 48005 | 48005 | 41727.5 | 40958.4642 | 40958.4642
FOM Capacity (MMcfd) | 1179.4948 | 1201.3262 | 1219.3735 | 1233.4427 | 1244.9729 | 1253.4952 | 1260.7724 | 1375.9199 | 1375.9199 | 1274.4037 | 1261.9673 | 1261.9673
CGR Demand | 61980 | 54839 | 49800 | 59644 | 66278 | 62310 | 59458 | 69510 | 91698 | 86189.5358 | 79039.6224 | 70825.333
Pipeline Supply | 82665 | 85420.5 | 82665 | 85420.5 | 85420.5 | 82665 | 85420.5 | 82665 | 85420.5 | 85420.5 | 79909.5 | 85420.5
Storage Inj (+) / WD (-) | 1350 | 1116 | 870 | 713 | 527 | 450 | 279 | 0 | -6277.5 | -769.0358 | 0 | 1742.2
Excess (+) / Short (-) | 19335 | 29465.5 | 31995 | 25063.5 | 18615.5 | 19905 | 25683.5 | 13155 | 0 | -5.457e-12 | 869.8776 | 12852.967
Month End Inventory | 44050 | 45166 | 46036 | 46749 | 47276 | 47726 | 48005 | 48005 | 41727.5 | 40958.4642 | 40958.4642 | 42700.6642
Notes:
FOM = First-of-Month
Inj = Injection
WD = Withdrawal
CGR = California Gas Report

## Mass Balancing 2027-28
SoCal Gas Mass Balancing 12.29.20
[5 empty] | Injection Capacity Dedicated to Balancing | 345 |  |  | Storage Cap Max | 50.04
[5 empty] | Target Dec 1 FOM Inv | 48.03 |  |  | Storage Cap Min | 13.2
SoCal Gas Average Day Monthly Storage Assessment: Apr27-Mar28
(MMcfd, unless otherwise noted)
|  | 2027-04-01 | 2027-05-01 | 2027-06-01 | 2027-07-01 | 2027-08-01 | 2027-09-01 | 2027-10-01 | 2027-11-01 | 2027-12-01 | 2028-01-01 | 2028-02-01 | 2028-03-01
AVG Temperature | Supply Utilization
| Pipeline Supply | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5
| Requirements | 2078 | 1795 | 1737 | 2016 | 2283 | 2215 | 2055 | 2378 | 2918 | 2685 | 2640.6667 | 2234.3333
| Excess/(Shortfall) | 677.5 | 960.5 | 1018.5 | 739.5 | 472.5 | 540.5 | 700.5 | 377.5 | -162.5 | 70.5 | 114.8333 | 521.1667
| FOM Storage Inv (Bcf) | 44.3 | 44.9 | 45.52 | 46.12 | 46.74 | 47.298 | 47.718 | 47.966 | 47.966 | 42.9285 | 42.9285 | 42.9285
| FOM Withdrawal Capacity | -1205.369 | -1215.0719 | -1225.0982 | -1234.8011 | -1244.8273 | -1253.851 | -1260.643 | -1375.2892 | -1375.2892 | -1293.8256 | -1293.8256 | -1293.8256
| Withdrawal Qty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -162.5 | 0 | 0 | 0
| Withdrawal (Bcf) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0375 | 0 | 0 | 0
| Seasonal Withdrawal/Aggregate (Bcf) | 2027-11-01: 0; 2028-03-01: -5.0375
| FOM Injection Capacity | 383.0513 | 378.6054 | 374.0113 | 369.5653 | 364.9712 | 360.8364 | 357.7243 | 362.5555 | 362.5555 | 399.8829 | 399.8829 | 399.8829
| Injection Capacity for Balancing | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345
| Injection Capacity for Injection | 38.0513 | 33.6054 | 29.0113 | 24.5653 | 19.9712 | 15.8364 | 12.7243 | 17.5555 | 17.5555 | 54.8829 | 54.8829 | 54.8829
| Injected Qty | 20 | 20 | 20 | 20 | 18 | 14 | 8 | 0 | 0 | 0 | 0 | 44
| Injected Qty (Bcf) | 0.6 | 0.62 | 0.6 | 0.62 | 0.558 | 0.42 | 0.248 | 0 | 0 | 0 | 0 | 1.395
| Seasonal Injection/Aggregate (Bcf) | 2027-11-01: 3.666; 2028-03-01: 1.395
| Unused Pipeline Capacity | 657.5 | 940.5 | 998.5 | 719.5 | 454.5 | 526.5 | 692.5 | 377.5 | 0 | 70.5 | 114.8333 | 476.1667
| Month End Inv. (Bcf) | 44.9 | 45.52 | 46.12 | 46.74 | 47.298 | 47.718 | 47.966 | 47.966 | 42.9285 | 42.9285 | 42.9285 | 44.302
Cold Temperature | Supply Utilization
| Pipeline Supply | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5
| Requirements | 2194 | 1864 | 1796 | 2096 | 2392 | 2305 | 2139 | 2534 | 3178 | 2928.3333 | 2854.3333 | 2383.6667
| Excess/(Shortfall) | 561.5 | 891.5 | 959.5 | 659.5 | 363.5 | 450.5 | 616.5 | 221.5 | -422.5 | -172.8333 | -98.8333 | 371.8333
| FOM Storage Inv (Bcf) | 30.8 | 33.995 | 37.002 | 39.492 | 41.538 | 43.1655 | 44.4105 | 46.3542 | 48.0042 | 34.9067 | 29.5489 | 26.7815
| FOM Withdrawal Capacity | -987.0547 | -1038.7224 | -1087.3499 | -1127.6168 | -1160.7036 | -1187.0226 | -1207.156 | -1349.2241 | -1375.907 | -1164.1016 | -1077.4578 | -1032.706
| Withdrawal Qty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -422.5 | -172.8333 | -98.8333 | 0
| Withdrawal (Bcf) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -13.0975 | -5.3578 | -2.7673 | 0
| Seasonal Withdrawal/Aggregate (Bcf) | 2027-11-01: 0; 2028-03-01: -21.2227
| FOM Injection Capacity | 456.2752 | 446.6554 | 437.1288 | 418.6781 | 403.5175 | 391.4579 | 382.2325 | 374.4988 | 362.2725 | 446.6201 | 462.752 | 471.0842
| Injection Capacity for Balancing | 345 | 345 | 345 | 345 | 345 | 345 | 319.5 | 319.5 | 345 | 345 | 345 | 320
| Injection Capacity for Injection | 111.2752 | 101.6554 | 92.1288 | 73.6781 | 58.5175 | 46.4579 | 62.7325 | 54.9988 | 17.2725 | 101.6201 | 117.752 | 151.0842
| Injected Qty | 106.5 | 97 | 83 | 66 | 52.5 | 41.5 | 62.7 | 55 | 0 | 0 | 0 | 129.5
| Injected Qty (Bcf) | 3.195 | 3.007 | 2.49 | 2.046 | 1.6275 | 1.245 | 1.9437 | 1.65 | 0 | 0 | 0 | 4.0145
| Seasonal Injection/Aggregate (Bcf) | 2028-03-01: 4.0145
| Unused Pipeline Capacity | 455 | 794.5 | 876.5 | 593.5 | 311 | 409 | 553.8 | 166.5 | 0 | 0 | 0 | 242.3333
| Month End Inv. (Bcf) | 33.995 | 37.002 | 39.492 | 41.538 | 43.1655 | 44.4105 | 46.3542 | 48.0042 | 34.9067 | 29.5489 | 26.7815 | 30.796
Analysis Assumptions
1. April 1st First-of-Month (FOM) Storage Inventory: equal to March 31st End-of-Month (EOM) Inventory.
2. Target December 1st FOM Storage Inventory: 48.03 Bcf (starting Inventory was 48.03 Bcf in SoCal Gas WIN20-21 Technical Assessment).
3. Storage Cap MIn: Minimum "Allowable" Inventory at SCG WIN20-21 Technical Assessment Table 5 shows Month-End Minimum Inventory Requirements (all fields) for Core Reliability in a 1-in-35 Year Peak Day Event. Have assumed these minimums apply Average, Cold Warm scenarios and in spite of the exclusion of Aliso. This is an assumption that should be vetted.
4. Storage Cap Max: Maximum "Allowable" Inventory equals 100% Non-Aliso storage capacity.
5. Jan28-Mar28 and Jan36-Mar36 forecasts not available in California Gas Report REDACTED Workpapers; GSC has extrapolated using monthly change data from 2026 to 2027 and 2030 to 2035.
6. Storage assumptions: (i) Storage injection/withdrawal based on Storage Curves provided by SCG to CPUC July 2019 (data request); see tab Storage Capacity Apr27-Mar28 / Apr35-Mar36, (ii) Playa del Rey Injection Capacity reserved for Balancing, (iii), Playa del Rey withdrawal capacity reserved for Peak Day and (iv) monthly storage injections/withdrawals split 53% Honor Rancho and 47% La Goleta (comparable to estimated split of Non-Aliso Nov FOM balance excluding PDR at SCG WIN20-21 Technical Assessment).
7. Pipeline Capacity: see tab Pipeline Capacity Apr27-Mar28 / Apr35-Mar36
Note: For COLD Temperature scenario, injection Capacity for Balancing reduced minimally Oct and Nov to allow injections necessary to meet target winter FOM inventory and Mar to meet target Mar EOM inventory..

## Mass Balancing 2035-36
SoCal Gas Mass Balancing 12.29.20
[5 empty] | Injection Capacity Dedicated to Balancing | 345 |  |  | Storage Cap Max | 50.04
[5 empty] | Target Dec 1 FOM Inv | 48.03 |  |  | Storage Cap Min | 13.2
SoCal Gas Average Day Monthly Storage Assessment: Apr35-Mar36
(MMcfd, unless otherwise noted)
|  | 2035-04-01 | 2035-05-01 | 2035-06-01 | 2035-07-01 | 2035-08-01 | 2035-09-01 | 2035-10-01 | 2035-11-01 | 2035-12-01 | 2036-01-01 | 2036-02-01 | 2036-03-01
AVG Temperature | Supply Utilization
| Pipeline Supply | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5
| Requirements | 1969 | 1723 | 1632 | 1858 | 2078 | 1982 | 1851 | 2186 | 2722 | 2549.9 | 2532.4847 | 2143.0826
| Excess/(Shortfall) | 786.5 | 1032.5 | 1123.5 | 897.5 | 677.5 | 773.5 | 904.5 | 569.5 | 33.5 | 205.6 | 223.0153 | 612.4174
| FOM Storage Inv (Bcf) | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48
| FOM Withdrawal Capacity | -1265.2034 | -1265.2034 | -1265.2034 | -1265.2034 | -1265.2034 | -1265.2034 | -1265.2034 | -1375.8391 | -1375.8391 | -1375.8391 | -1375.8391 | -1375.8391
| Withdrawal Qty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Withdrawal (Bcf) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Seasonal Withdrawal/Aggregate (Bcf) | 2035-11-01: 0; 2036-03-01: 0
| FOM Injection Capacity | 355.6347 | 355.6347 | 355.6347 | 355.6347 | 355.6347 | 355.6347 | 355.6347 | 362.3036 | 362.3036 | 362.3036 | 362.3036 | 362.3036
| Injection Capacity for Balancing | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345
| Injection Capacity for Injection | 10.6347 | 10.6347 | 10.6347 | 10.6347 | 10.6347 | 10.6347 | 10.6347 | 17.3036 | 17.3036 | 17.3036 | 17.3036 | 17.3036
| Injected Qty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Injected Qty (Bcf) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Seasonal Injection/Aggregate (Bcf) | 2035-11-01: 0; 2036-03-01: 0
| Unused Pipeline Capacity | 786.5 | 1032.5 | 1123.5 | 897.5 | 677.5 | 773.5 | 904.5 | 569.5 | 33.5 | 205.6 | 223.0153 | 612.4174
| Month End Inv. (Bcf) | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48
Cold Temperature | Supply Utilization
| Pipeline Supply | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5 | 2755.5
| Requirements | 2066 | 1769 | 1660 | 1924 | 2138 | 2077 | 1918 | 2317 | 2958 | 2780.3076 | 2725.5042 | 2284.6882
| Excess/(Shortfall) | 689.5 | 986.5 | 1095.5 | 831.5 | 617.5 | 678.5 | 837.5 | 438.5 | -202.5 | -24.8076 | 29.9958 | 470.8118
| FOM Storage Inv (Bcf) | 42.7 | 44.05 | 45.166 | 46.036 | 46.749 | 47.276 | 47.726 | 48.005 | 48.005 | 41.7275 | 40.9585 | 40.9585
| FOM Withdrawal Capacity | -1179.4948 | -1201.3262 | -1219.3735 | -1233.4427 | -1244.9729 | -1253.4952 | -1260.7724 | -1375.9199 | -1375.9199 | -1274.4037 | -1261.9673 | -1261.9673
| Withdrawal Qty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -202.5 | -24.8076 | 0 | 0
| Withdrawal (Bcf) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2775 | -0.76904 | 0 | 0
| Seasonal Withdrawal/Aggregate (Bcf) | 2035-11-01: 0; 2036-03-01: -7.0465
| FOM Injection Capacity | 394.9072 | 384.9038 | 376.6344 | 370.1877 | 364.9045 | 360.9995 | 357.665 | 362.2666 | 362.2666 | 408.7822 | 414.4807 | 414.4807
| Injection Capacity for Balancing | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345 | 345
| Injection Capacity for Injection | 49.9072 | 39.9038 | 31.6344 | 25.1877 | 19.9045 | 15.9995 | 12.665 | 17.2666 | 17.2666 | 63.7822 | 69.4807 | 69.4807
| Injected Qty | 45 | 36 | 29 | 23 | 17 | 15 | 9 | 0 | 0 | 0 | 0 | 56.2
| Injected Qty (Bcf) | 1.35 | 1.116 | 0.87 | 0.713 | 0.527 | 0.45 | 0.279 | 0 | 0 | 0 | 0 | 1.7422
| Seasonal Injection/Aggregate (Bcf) | 2035-11-01: 5.305; 2036-03-01: 1.7422
| Unused Pipeline Capacity | 644.5 | 950.5 | 1066.5 | 808.5 | 600.5 | 663.5 | 828.5 | 438.5 | 0 | 0 | 29.9958 | 414.6118
| Month End Inv. (Bcf) | 44.05 | 45.166 | 46.036 | 46.749 | 47.276 | 47.726 | 48.005 | 48.005 | 41.7275 | 40.9585 | 40.9585 | 42.7007
Analysis Assumptions: See tab "Mass Balancing 2027-28"

## Storage Capacity 2027-28
SoCal Gas FOM Withdrawal and Injection Capacity
Avg Weather
|  | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar
Withdrawal
FOM Inventory |  | 44.3 | 44.9 | 45.52 | 46.12 | 46.74 | 47.298 | 47.718 | 47.966 | 47.966 | 42.9285 | 42.9285 | 42.9285
Inventory by Field
Playa del Rey |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9
Honor Rancho | 53% | 22.949 | 23.267 | 23.5956 | 23.9136 | 24.2422 | 24.5379 | 24.7605 | 24.415 | 24.415 | 21.7451 | 21.7451 | 21.7451
La Goleta | 47% | 20.351 | 20.633 | 20.9244 | 21.2064 | 21.4978 | 21.7601 | 21.9575 | 21.651 | 21.651 | 19.2834 | 19.2834 | 19.2834
|  | 44.3 | 44.9 | 45.52 | 46.12 | 46.74 | 47.298 | 47.718 | 47.966 | 47.966 | 42.9285 | 42.9285 | 42.9285
Withdrawal Capacity by Field
Playa del Rey | Resd for Peak | 200.727 | 200.727 | 200.727 | 200.727 | 200.727 | 200.727 | 200.727 | 325.917 | 325.917 | 325.917 | 325.917 | 325.917
Honor Rancho |  | 769.2972 | 776.953 | 784.8641 | 792.5199 | 800.431 | 807.5509 | 812.91 | 804.5906 | 804.5906 | 740.3134 | 740.3134 | 740.3134
La Goleta |  | 235.3449 | 237.3919 | 239.5071 | 241.5541 | 243.6694 | 245.5731 | 247.006 | 244.7816 | 244.7816 | 227.5952 | 227.5952 | 227.5952
Total |  | 1205.369 | 1215.0719 | 1225.0982 | 1234.8011 | 1244.8273 | 1253.851 | 1260.643 | 1375.2892 | 1375.2892 | 1293.8256 | 1293.8256 | 1293.8256
Injection
FOM Inventory |  | 44.3 | 44.9 | 45.52 | 46.12 | 46.74 | 47.298 | 47.718 | 47.966 | 47.966 | 42.9285 | 42.9285 | 42.9285
Inventory by Field
Playa del Rey |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9
Honor Rancho | 53% | 22.949 | 23.267 | 23.5956 | 23.9136 | 24.2422 | 24.5379 | 24.7605 | 24.415 | 24.415 | 21.7451 | 21.7451 | 21.7451
La Goleta | 47% | 20.351 | 20.633 | 20.9244 | 21.2064 | 21.4978 | 21.7601 | 21.9575 | 21.651 | 21.651 | 19.2834 | 19.2834 | 19.2834
|  | 44.3 | 44.9 | 45.52 | 46.12 | 46.74 | 47.298 | 47.718 | 47.966 | 47.966 | 42.9285 | 42.9285 | 42.9285
Injection Capacity by Field
Playa del Rey |  | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
Honor Rancho | Inv < 19 Bcf | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Inv > 19 Bcf | 201.0375 | 197.0625 | 192.955 | 188.98 | 184.8725 | 181.1757 | 178.3932 | 182.7127 | 182.7127 | 216.0862 | 216.0862 | 216.0862
La Goleta |  | 107.0138 | 106.5429 | 106.0563 | 105.5853 | 105.0987 | 104.6607 | 104.331 | 104.8428 | 104.8428 | 108.7967 | 108.7967 | 108.7967
Total |  | 383.0513 | 378.6054 | 374.0113 | 369.5653 | 364.9712 | 360.8364 | 357.7243 | 362.5555 | 362.5555 | 399.8829 | 399.8829 | 399.8829
Cold Weather
|  | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar
Withdrawal
FOM Inventory |  | 30.8 | 33.995 | 37.002 | 39.492 | 41.538 | 43.1655 | 44.4105 | 46.3542 | 48.0042 | 34.9067 | 29.5489 | 26.7815
Inventory by Field
Playa del Rey |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9
Honor Rancho | 53% | 15.794 | 17.4873 | 19.0811 | 20.4008 | 21.4851 | 22.3477 | 23.0076 | 23.5607 | 24.4352 | 17.4936 | 14.6539 | 13.1872
La Goleta | 47% | 14.006 | 15.5076 | 16.9209 | 18.0912 | 19.0529 | 19.8178 | 20.4029 | 20.8935 | 21.669 | 15.5131 | 12.995 | 11.6943
|  | 30.8 | 33.995 | 37.002 | 39.492 | 41.538 | 43.1655 | 44.4105 | 46.3542 | 48.0042 | 34.9067 | 29.5489 | 26.7815
Withdrawal Capacity by Field
Playa del Rey | Resd for Peak | 200.727 | 200.727 | 200.727 | 200.727 | 200.727 | 200.727 | 200.727 | 325.917 | 325.917 | 325.917 | 325.917 | 325.917
Honor Rancho |  | 597.0405 | 637.808 | 676.1765 | 707.9483 | 734.0547 | 754.8212 | 770.7071 | 784.0245 | 805.0781 | 637.9572 | 569.5926 | 534.2821
La Goleta |  | 189.2872 | 200.1875 | 210.4464 | 218.9415 | 225.9218 | 231.4743 | 235.7219 | 239.2826 | 244.9119 | 200.2274 | 181.9482 | 172.5069
Total |  | 987.0547 | 1038.7224 | 1087.3499 | 1127.6168 | 1160.7036 | 1187.0226 | 1207.156 | 1349.2241 | 1375.907 | 1164.1016 | 1077.4578 | 1032.706
Injection
FOM Inventory |  | 30.8 | 33.995 | 37.002 | 39.492 | 41.538 | 43.1655 | 44.4105 | 46.3542 | 48.0042 | 34.9067 | 29.5489 | 26.7815
Inventory by Field
Playa del Rey |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9
Honor Rancho | 53% | 15.794 | 17.4873 | 19.0811 | 20.4008 | 21.4851 | 22.3477 | 23.0076 | 23.5607 | 24.4352 | 17.4936 | 14.6539 | 13.1872
La Goleta | 47% | 14.006 | 15.5076 | 16.9209 | 18.0912 | 19.0529 | 19.8178 | 20.4029 | 20.8935 | 21.669 | 15.5131 | 12.995 | 11.6943
|  | 30.8 | 33.995 | 37.002 | 39.492 | 41.538 | 43.1655 | 44.4105 | 46.3542 | 48.0042 | 34.9067 | 29.5489 | 26.7815
Injection Capacity by Field
Playa del Rey |  | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
Honor Rancho | Inv < 19 Bcf | 263.6652 | 256.5531 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 256.5271 | 268.4536 | 274.6137
| Inv > 19 Bcf | 0 | 0 | 249.3868 | 232.8905 | 219.3358 | 208.5536 | 200.3054 | 193.3909 | 182.4597 | 0 | 0 | 0
La Goleta |  | 117.61 | 115.1022 | 112.742 | 110.7876 | 109.1817 | 107.9043 | 106.9271 | 106.1079 | 104.8128 | 115.093 | 119.2984 | 121.4705
Total |  | 456.2752 | 446.6554 | 437.1288 | 418.6781 | 403.5175 | 391.4579 | 382.2325 | 374.4988 | 362.2725 | 446.6201 | 462.752 | 471.0842

## Storage Capacity 2035-36
SoCal Gas FOM Withdrawal and Injection Capacity
Avg Weather
|  | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar
Withdrawal
FOM Inventory |  | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48
Inventory by Field
Playa del Rey |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9
Honor Rancho | 53% | 24.91 | 24.91 | 24.91 | 24.91 | 24.91 | 24.91 | 24.91 | 24.433 | 24.433 | 24.433 | 24.433 | 24.433
La Goleta | 47% | 22.09 | 22.09 | 22.09 | 22.09 | 22.09 | 22.09 | 22.09 | 21.667 | 21.667 | 21.667 | 21.667 | 21.667
|  | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48
Withdrawal Capacity by Field
Playa del Rey | Resd for Peak | 200.727 | 200.727 | 200.727 | 200.727 | 200.727 | 200.727 | 200.727 | 325.917 | 325.917 | 325.917 | 325.917 | 325.917
Honor Rancho |  | 816.5083 | 816.5083 | 816.5083 | 816.5083 | 816.5083 | 816.5083 | 816.5083 | 805.0245 | 805.0245 | 805.0245 | 805.0245 | 805.0245
La Goleta |  | 247.9681 | 247.9681 | 247.9681 | 247.9681 | 247.9681 | 247.9681 | 247.9681 | 244.8976 | 244.8976 | 244.8976 | 244.8976 | 244.8976
Total |  | 1265.2034 | 1265.2034 | 1265.2034 | 1265.2034 | 1265.2034 | 1265.2034 | 1265.2034 | 1375.8391 | 1375.8391 | 1375.8391 | 1375.8391 | 1375.8391
Injection
FOM Inventory |  | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48
Inventory by Field
Playa del Rey |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9
Honor Rancho | 53% | 24.91 | 24.91 | 24.91 | 24.91 | 24.91 | 24.91 | 24.91 | 24.433 | 24.433 | 24.433 | 24.433 | 24.433
La Goleta | 47% | 22.09 | 22.09 | 22.09 | 22.09 | 22.09 | 22.09 | 22.09 | 21.667 | 21.667 | 21.667 | 21.667 | 21.667
|  | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48
Injection Capacity by Field
Playa del Rey |  | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
Honor Rancho | Inv < 19 Bcf | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Inv > 19 Bcf | 176.525 | 176.525 | 176.525 | 176.525 | 176.525 | 176.525 | 176.525 | 182.4875 | 182.4875 | 182.4875 | 182.4875 | 182.4875
La Goleta |  | 104.1097 | 104.1097 | 104.1097 | 104.1097 | 104.1097 | 104.1097 | 104.1097 | 104.8161 | 104.8161 | 104.8161 | 104.8161 | 104.8161
Total |  | 355.6347 | 355.6347 | 355.6347 | 355.6347 | 355.6347 | 355.6347 | 355.6347 | 362.3036 | 362.3036 | 362.3036 | 362.3036 | 362.3036
Cold Weather
|  | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar
Withdrawal
FOM Inventory |  | 42.7 | 44.05 | 45.166 | 46.036 | 46.749 | 47.276 | 47.726 | 48.005 | 48.005 | 41.7275 | 40.9585 | 40.9585
Inventory by Field
Playa del Rey |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9
Honor Rancho | 53% | 22.101 | 22.8165 | 23.408 | 23.8691 | 24.247 | 24.5263 | 24.7648 | 24.4357 | 24.4357 | 21.1086 | 20.701 | 20.701
La Goleta | 47% | 19.599 | 20.2335 | 20.758 | 21.1669 | 21.502 | 21.7497 | 21.9612 | 21.6694 | 21.6694 | 18.7189 | 18.3575 | 18.3575
|  | 42.7 | 44.05 | 45.166 | 46.036 | 46.749 | 47.276 | 47.726 | 48.005 | 48.005 | 41.7275 | 40.9585 | 40.9585
Withdrawal Capacity by Field
Playa del Rey | Resd for Peak | 200.727 | 200.727 | 200.727 | 200.727 | 200.727 | 200.727 | 200.727 | 325.917 | 325.917 | 325.917 | 325.917 | 325.917
Honor Rancho |  | 748.8816 | 766.1072 | 780.3471 | 791.4481 | 800.5458 | 807.2702 | 813.0121 | 805.0883 | 805.0883 | 724.9889 | 715.1762 | 715.1762
La Goleta |  | 229.8862 | 234.492 | 238.2994 | 241.2676 | 243.7001 | 245.498 | 247.0333 | 244.9146 | 244.9146 | 223.4978 | 220.8741 | 220.8741
Total |  | 1179.4948 | 1201.3262 | 1219.3735 | 1233.4427 | 1244.9729 | 1253.4952 | 1260.7724 | 1375.9199 | 1375.9199 | 1274.4037 | 1261.9673 | 1261.9673
Injection
FOM Inventory |  | 42.7 | 44.05 | 45.166 | 46.036 | 46.749 | 47.276 | 47.726 | 48.005 | 48.005 | 41.7275 | 40.9585 | 40.9585
Inventory by Field
Playa del Rey |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9
Honor Rancho | 53% | 22.101 | 22.8165 | 23.408 | 23.8691 | 24.247 | 24.5263 | 24.7648 | 24.4357 | 24.4357 | 21.1086 | 20.701 | 20.701
La Goleta | 47% | 19.599 | 20.2335 | 20.758 | 21.1669 | 21.502 | 21.7497 | 21.9612 | 21.6694 | 21.6694 | 18.7189 | 18.3575 | 18.3575
|  | 42.7 | 44.05 | 45.166 | 46.036 | 46.749 | 47.276 | 47.726 | 48.005 | 48.005 | 41.7275 | 40.9585 | 40.9585
Injection Capacity by Field
Playa del Rey |  | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
Honor Rancho | Inv < 19 Bcf | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Inv > 19 Bcf | 211.6375 | 202.6937 | 195.3002 | 189.5365 | 184.8129 | 181.3215 | 178.3402 | 182.4544 | 182.4544 | 224.0428 | 229.1377 | 229.1377
La Goleta |  | 108.2697 | 107.2101 | 106.3341 | 105.6512 | 105.0916 | 104.678 | 104.3248 | 104.8122 | 104.8122 | 109.7394 | 110.343 | 110.343
Total |  | 394.9072 | 384.9038 | 376.6344 | 370.1877 | 364.9045 | 360.9995 | 357.665 | 362.2666 | 362.2666 | 408.7822 | 414.4807 | 414.4807

## Pipeline Capacity
SCG Pipeline Capacity
California Production | 60
Wheeler Ridge | 765
North Needles | 400
Topock | 300
Kramer Junction | 550
Northern Zone | 1250
Blythe/Ehrenberg | 980
Otay Mesa | 0
Southern Zone | 980
Total | 3055
Load Factor
California Production | 100%
Wheeler Ridge Zone (KR, MP, PG&E, OEHI) | 90%
Northern Zone (TW,EPN,QST, KR) | 90%
Southern Zone (EPN,TGN,NBP) | 90%
Total | 90.2%
SCG Pipeline Capacity Utilized
California Production | 60
Wheeler Ridge Zone (KR, MP, PG&E, OEHI) | 688.5
Southern Zone (EPN,TGN,NBP) | 1125
Northern Zone (TW,EPN,QST, KR) | 882
Total | 2755.5