## Cover
Dates and times used for RA 2026 Coincidence Calculations
Coincidence factors are calculated by TAC and LSE for each hour selected where:
Coincidence Factor = LSE recorded load in TAC at time of CAISO system peak demand / LSE monthly maximum demand in TAC
Statistics (maximum, minimum,median, percentile distribution) were calculated for the following samples:
Top 5 peak days in each month
Top 3 peaks day in each month
2025-07-28
Lynn Marshall
Energy Assessments Division
California Energy Commission
Lynn.Marshall@energy.ca.gov

## Dates for RA 2026 Coincidence
Date | Hour of Daily Peak, PST | Year | Month | CAISO MW | Rank of Daily Peak within Month
2022-01-03 | 19 | 2022 | 1 | 29163.91 | 1
2022-01-04 | 19 | 2022 | 1 | 28584.1059 | 2
2022-01-05 | 19 | 2022 | 1 | 28185.3771 | 4
2022-01-10 | 19 | 2022 | 1 | 28180.4306 | 5
2022-01-31 | 19 | 2022 | 1 | 28457.0559 | 3
2022-02-01 | 19 | 2022 | 2 | 28081.9284 | 4
2022-02-10 | 19 | 2022 | 2 | 28048.5946 | 5
2022-02-22 | 19 | 2022 | 2 | 28726.9742 | 2
2022-02-23 | 19 | 2022 | 2 | 29019.7119 | 1
2022-02-24 | 8 | 2022 | 2 | 28307.8715 | 3
2022-03-01 | 19 | 2022 | 3 | 27608.8862 | 5
2022-03-22 | 19 | 2022 | 3 | 27970.6654 | 3
2022-03-23 | 19 | 2022 | 3 | 28687.8193 | 1
2022-03-24 | 19 | 2022 | 3 | 28483.5148 | 2
2022-03-25 | 19 | 2022 | 3 | 27687.0643 | 4
2022-04-06 | 19 | 2022 | 4 | 29756.1842 | 3
2022-04-07 | 18 | 2022 | 4 | 32916.5992 | 2
2022-04-08 | 18 | 2022 | 4 | 33267.7587 | 1
2022-04-25 | 19 | 2022 | 4 | 28178.4715 | 4
2022-04-26 | 20 | 2022 | 4 | 27449.9371 | 5
2022-05-14 | 19 | 2022 | 5 | 30040.0254 | 5
2022-05-18 | 20 | 2022 | 5 | 31018.816 | 3
2022-05-24 | 18 | 2022 | 5 | 33299.168 | 2
2022-05-25 | 18 | 2022 | 5 | 34250.084 | 1
2022-05-26 | 17 | 2022 | 5 | 30367.7016 | 4
2022-06-21 | 18 | 2022 | 6 | 39408.6959 | 5
2022-06-23 | 18 | 2022 | 6 | 39998.7324 | 3
2022-06-24 | 17 | 2022 | 6 | 39709.8402 | 4
2022-06-27 | 18 | 2022 | 6 | 41362.3877 | 1
2022-06-28 | 18 | 2022 | 6 | 40648.397 | 2
2022-07-11 | 18 | 2022 | 7 | 39452.938 | 4
2022-07-18 | 18 | 2022 | 7 | 41412.7945 | 1
2022-07-19 | 18 | 2022 | 7 | 41266.385 | 2
2022-07-20 | 17 | 2022 | 7 | 40413.1546 | 3
2022-07-21 | 18 | 2022 | 7 | 39327.8436 | 5
2022-08-15 | 17 | 2022 | 8 | 43385.6707 | 3
2022-08-16 | 17 | 2022 | 8 | 45232.8648 | 1
2022-08-17 | 17 | 2022 | 8 | 42754.7236 | 4
2022-08-23 | 17 | 2022 | 8 | 42101.82 | 5
2022-08-31 | 17 | 2022 | 8 | 45178.5845 | 2
2022-09-01 | 17 | 2022 | 9 | 47101.3592 | 5
2022-09-05 | 17 | 2022 | 9 | 48704.1645 | 3
2022-09-06 | 16 | 2022 | 9 | 51479.0047 | 1
2022-09-07 | 16 | 2022 | 9 | 49859.092 | 2
2022-09-08 | 16 | 2022 | 9 | 48351.2032 | 4
2022-10-04 | 17 | 2022 | 10 | 33436.5574 | 5
2022-10-05 | 17 | 2022 | 10 | 34315.9936 | 1
2022-10-06 | 17 | 2022 | 10 | 33521.9017 | 4
2022-10-07 | 17 | 2022 | 10 | 33933.979 | 3
2022-10-19 | 17 | 2022 | 10 | 34170.6283 | 2
2022-11-08 | 18 | 2022 | 11 | 28175.7201 | 3
2022-11-21 | 18 | 2022 | 11 | 27980.3844 | 5
2022-11-28 | 19 | 2022 | 11 | 28110.242 | 4
2022-11-29 | 18 | 2022 | 11 | 28183.5979 | 2
2022-11-30 | 18 | 2022 | 11 | 28252.6507 | 1
2022-12-12 | 19 | 2022 | 12 | 30047.5727 | 1
2022-12-13 | 19 | 2022 | 12 | 29724.8028 | 3
2022-12-14 | 19 | 2022 | 12 | 29859.9021 | 2
2022-12-15 | 18 | 2022 | 12 | 29383.0401 | 5
2022-12-19 | 19 | 2022 | 12 | 29588.0673 | 4
2023-01-03 | 18 | 2023 | 1 | 28989.9567 | 1
2023-01-11 | 19 | 2023 | 1 | 28863.9422 | 3
2023-01-17 | 19 | 2023 | 1 | 28457.8347 | 5
2023-01-19 | 19 | 2023 | 1 | 28865.5522 | 2
2023-01-30 | 19 | 2023 | 1 | 28556.8191 | 4
2023-02-14 | 19 | 2023 | 2 | 28371.919 | 5
2023-02-22 | 19 | 2023 | 2 | 28756.0486 | 3
2023-02-23 | 19 | 2023 | 2 | 28891.0479 | 2
2023-02-27 | 19 | 2023 | 2 | 29126.6559 | 1
2023-02-28 | 19 | 2023 | 2 | 28573.8577 | 4
2023-03-01 | 20 | 2023 | 3 | 28696.9646 | 1
2023-03-06 | 20 | 2023 | 3 | 27699.4049 | 5
2023-03-09 | 19 | 2023 | 3 | 28308.1294 | 2
2023-03-21 | 19 | 2023 | 3 | 27717.7901 | 4
2023-03-29 | 20 | 2023 | 3 | 27943.8223 | 3
2023-04-03 | 20 | 2023 | 4 | 27566.1697 | 4
2023-04-04 | 20 | 2023 | 4 | 27256.2573 | 5
2023-04-26 | 19 | 2023 | 4 | 28645.8439 | 3
2023-04-27 | 19 | 2023 | 4 | 29200.9424 | 1
2023-04-28 | 19 | 2023 | 4 | 29110.2609 | 2
2023-05-15 | 20 | 2023 | 5 | 29581.9194 | 5
2023-05-16 | 19 | 2023 | 5 | 30753.995 | 1
2023-05-17 | 20 | 2023 | 5 | 30107.3171 | 3
2023-05-18 | 20 | 2023 | 5 | 29598.5626 | 4
2023-05-22 | 19 | 2023 | 5 | 30543.1077 | 2
2023-06-14 | 20 | 2023 | 6 | 29972.9899 | 5
2023-06-16 | 20 | 2023 | 6 | 30075.0485 | 4
2023-06-28 | 20 | 2023 | 6 | 30259.4834 | 3
2023-06-29 | 19 | 2023 | 6 | 32874.119 | 2
2023-06-30 | 18 | 2023 | 6 | 35723.0192 | 1
2023-07-17 | 17 | 2023 | 7 | 42461.253 | 3
2023-07-20 | 18 | 2023 | 7 | 42079.3086 | 4
2023-07-21 | 18 | 2023 | 7 | 41366.9215 | 5
2023-07-25 | 18 | 2023 | 7 | 43236.4207 | 1
2023-07-26 | 17 | 2023 | 7 | 42851.1881 | 2
2023-08-15 | 17 | 2023 | 8 | 43220.1332 | 2
2023-08-16 | 17 | 2023 | 8 | 44230.2865 | 1
2023-08-17 | 17 | 2023 | 8 | 42449.1977 | 5
2023-08-28 | 18 | 2023 | 8 | 42664.9331 | 3
2023-08-29 | 18 | 2023 | 8 | 42581.8332 | 4
2023-09-07 | 18 | 2023 | 9 | 35853.2833 | 5
2023-09-08 | 18 | 2023 | 9 | 38490.287 | 1
2023-09-09 | 18 | 2023 | 9 | 36321.8349 | 3
2023-09-10 | 18 | 2023 | 9 | 36296.1373 | 4
2023-09-11 | 17 | 2023 | 9 | 36495.1945 | 2
2023-10-05 | 17 | 2023 | 10 | 36354.2988 | 2
2023-10-06 | 17 | 2023 | 10 | 36936.5036 | 1
2023-10-07 | 17 | 2023 | 10 | 34282.0963 | 4
2023-10-18 | 17 | 2023 | 10 | 33448.8643 | 5
2023-10-19 | 17 | 2023 | 10 | 34719.058 | 3
2023-11-02 | 18 | 2023 | 11 | 28695.4485 | 1
2023-11-06 | 18 | 2023 | 11 | 28392.6054 | 5
2023-11-27 | 18 | 2023 | 11 | 28414.9504 | 4
2023-11-29 | 18 | 2023 | 11 | 28480.7047 | 3
2023-11-30 | 18 | 2023 | 11 | 28488.7144 | 2
2023-12-11 | 18 | 2023 | 12 | 28717.2319 | 5
2023-12-13 | 18 | 2023 | 12 | 28936.1919 | 2
2023-12-14 | 18 | 2023 | 12 | 28754.7231 | 4
2023-12-18 | 18 | 2023 | 12 | 28973.078 | 1
2023-12-20 | 18 | 2023 | 12 | 28887.8099 | 3
2024-01-08 | 19 | 2024 | 1 | 28788.0864 | 1
2024-01-09 | 19 | 2024 | 1 | 28034.3593 | 4
2024-01-10 | 19 | 2024 | 1 | 28581.5605 | 2
2024-01-11 | 19 | 2024 | 1 | 28062.0496 | 3
2024-01-12 | 8 | 2024 | 1 | 27789.8015 | 5
2024-02-05 | 19 | 2024 | 2 | 27526.5768 | 5
2024-02-06 | 19 | 2024 | 2 | 27734.1226 | 3
2024-02-07 | 19 | 2024 | 2 | 28408.3437 | 1
2024-02-08 | 19 | 2024 | 2 | 27855.6651 | 2
2024-02-20 | 19 | 2024 | 2 | 27579.5518 | 4
2024-03-01 | 19 | 2024 | 3 | 26243.2817 | 5
2024-03-04 | 19 | 2024 | 3 | 26706.6271 | 3
2024-03-05 | 19 | 2024 | 3 | 26716.6975 | 2
2024-03-06 | 19 | 2024 | 3 | 26952.9012 | 1
2024-03-07 | 19 | 2024 | 3 | 26520.8784 | 4
2024-04-04 | 10 | 2024 | 4 | 26333.3729 | 3
2024-04-05 | 8 | 2024 | 4 | 26264.9897 | 5
2024-04-11 | 19 | 2024 | 4 | 26570.2256 | 2
2024-04-22 | 20 | 2024 | 4 | 26617.5437 | 1
2024-04-30 | 20 | 2024 | 4 | 26296.1528 | 4
2024-05-15 | 20 | 2024 | 5 | 28423.7435 | 5
2024-05-28 | 20 | 2024 | 5 | 28738.1225 | 4
2024-05-29 | 20 | 2024 | 5 | 28760.153 | 3
2024-05-30 | 20 | 2024 | 5 | 30324.2727 | 1
2024-05-31 | 19 | 2024 | 5 | 29791.4941 | 2
2024-06-22 | 18 | 2024 | 6 | 36660.3526 | 4
2024-06-23 | 18 | 2024 | 6 | 37636.3579 | 3
2024-06-24 | 18 | 2024 | 6 | 38833.6422 | 1
2024-06-25 | 18 | 2024 | 6 | 37855.413 | 2
2024-06-26 | 18 | 2024 | 6 | 35932.1617 | 5
2024-07-10 | 18 | 2024 | 7 | 43550.5441 | 5
2024-07-11 | 18 | 2024 | 7 | 43727.003 | 4
2024-07-23 | 18 | 2024 | 7 | 44607.2395 | 3
2024-07-24 | 18 | 2024 | 7 | 44731.0394 | 2
2024-07-25 | 18 | 2024 | 7 | 44813.0905 | 1
2024-08-02 | 16 | 2024 | 8 | 40878.1206 | 3
2024-08-05 | 18 | 2024 | 8 | 42331.4823 | 2
2024-08-06 | 18 | 2024 | 8 | 43182.2199 | 1
2024-08-07 | 18 | 2024 | 8 | 40736.1552 | 4
2024-08-20 | 18 | 2024 | 8 | 40161.9499 | 5
2024-09-04 | 17 | 2024 | 9 | 44618.2689 | 4
2024-09-05 | 17 | 2024 | 9 | 47745.2367 | 1
2024-09-06 | 16 | 2024 | 9 | 47120.4931 | 2
2024-09-08 | 18 | 2024 | 9 | 43001.8218 | 5
2024-09-09 | 17 | 2024 | 9 | 45278.7727 | 3
2024-10-01 | 17 | 2024 | 10 | 39083.4389 | 4
2024-10-02 | 17 | 2024 | 10 | 41289.5613 | 1
2024-10-03 | 17 | 2024 | 10 | 39898.5635 | 3
2024-10-04 | 16 | 2024 | 10 | 37755.2643 | 5
2024-10-07 | 17 | 2024 | 10 | 39990.6006 | 2
2024-11-18 | 18 | 2024 | 11 | 28233.1381 | 4
2024-11-19 | 18 | 2024 | 11 | 28433.7131 | 2
2024-11-20 | 12 | 2024 | 11 | 28434.0606 | 1
2024-11-22 | 14 | 2024 | 11 | 28358.4307 | 3
2024-11-25 | 12 | 2024 | 11 | 28128.2167 | 5
2024-12-12 | 14 | 2024 | 12 | 30231.2501 | 2
2024-12-13 | 10 | 2024 | 12 | 30265.1924 | 1
2024-12-16 | 18 | 2024 | 12 | 29489.502 | 3
2024-12-17 | 18 | 2024 | 12 | 28935.0379 | 5
2024-12-18 | 15 | 2024 | 12 | 29096.1572 | 4