## Notes
Coincidence factors are calculated by TAC and LSE for each hour selected where:
Coincidence Factor = LSE recorded load in TAC at time of CAISO system peak demand / LSE monthly maximum demand in TAC
Statistics (maximum, minimum,median, percentile distribution) were calculated for the following samples:
Top 10 hours in each month, where hour greater or equal to HE 17
Top 5 peak days in each month
Top 3 peaks day in each month

## top10hours he ge 17
CAISO Peak Hours used for coincidence adjustment of 2023 Resource Adequacy Forecasts
Top 10 hours in each month
Year | Month | Date | HE (PST) | MW | Rank of Hour in Month
2019 | 1 | 2019-01-16 | 19 | 28658.3188 | 10
2019 | 1 | 2019-01-15 | 20 | 28668.0198 | 9
2019 | 1 | 2019-01-03 | 20 | 28720.0946 | 8
2019 | 1 | 2019-01-02 | 20 | 28882.1172 | 7
2019 | 1 | 2019-01-03 | 19 | 28943.9414 | 6
2019 | 1 | 2019-01-15 | 18 | 29001.7141 | 5
2019 | 1 | 2019-01-02 | 19 | 29039.944 | 4
2019 | 1 | 2019-01-15 | 19 | 29127.1451 | 3
2019 | 1 | 2019-01-14 | 18 | 29174.8651 | 2
2019 | 1 | 2019-01-14 | 19 | 29226.2708 | 1
2020 | 1 | 2020-01-15 | 20 | 28158.5182 | 10
2020 | 1 | 2020-01-21 | 19 | 28194.1192 | 9
2020 | 1 | 2020-01-20 | 19 | 28224.0967 | 8
2020 | 1 | 2020-01-09 | 19 | 28226.1799 | 7
2020 | 1 | 2020-01-14 | 19 | 28251.6553 | 6
2020 | 1 | 2020-01-13 | 19 | 28321.29 | 5
2020 | 1 | 2020-01-15 | 19 | 28540.0667 | 4
2020 | 1 | 2020-01-16 | 20 | 28760.2837 | 3
2020 | 1 | 2020-01-16 | 18 | 28816.5821 | 2
2020 | 1 | 2020-01-16 | 19 | 29239.5054 | 1
2021 | 1 | 2021-01-05 | 19 | 27810.3505 | 10
2021 | 1 | 2021-01-06 | 19 | 27932.8999 | 9
2021 | 1 | 2021-01-07 | 19 | 27944.4673 | 8
2021 | 1 | 2021-01-27 | 19 | 28265.637 | 7
2021 | 1 | 2021-01-26 | 18 | 28364.645 | 6
2021 | 1 | 2021-01-25 | 18 | 28459.4187 | 5
2021 | 1 | 2021-01-26 | 20 | 28566.5565 | 4
2021 | 1 | 2021-01-25 | 20 | 28614.0645 | 3
2021 | 1 | 2021-01-26 | 19 | 29149.9039 | 2
2021 | 1 | 2021-01-25 | 19 | 29302.0322 | 1
2019 | 2 | 2019-02-12 | 19 | 28922.0923 | 10
2019 | 2 | 2019-02-20 | 21 | 28931.5575 | 9
2019 | 2 | 2019-02-19 | 20 | 28993.0072 | 8
2019 | 2 | 2019-02-21 | 21 | 29003.5648 | 7
2019 | 2 | 2019-02-13 | 19 | 29035.1341 | 6
2019 | 2 | 2019-02-05 | 19 | 29063.3208 | 5
2019 | 2 | 2019-02-21 | 19 | 29483.5089 | 4
2019 | 2 | 2019-02-21 | 20 | 29488.9522 | 3
2019 | 2 | 2019-02-20 | 20 | 29547.3183 | 2
2019 | 2 | 2019-02-20 | 19 | 29666.0014 | 1
2020 | 2 | 2020-02-04 | 18 | 28139.0121 | 10
2020 | 2 | 2020-02-10 | 19 | 28331.3706 | 9
2020 | 2 | 2020-02-03 | 21 | 28361.1073 | 8
2020 | 2 | 2020-02-05 | 20 | 28538.9018 | 7
2020 | 2 | 2020-02-04 | 21 | 28810.7787 | 6
2020 | 2 | 2020-02-05 | 19 | 28814.6709 | 5
2020 | 2 | 2020-02-03 | 20 | 29035.2614 | 4
2020 | 2 | 2020-02-03 | 19 | 29173.0961 | 3
2020 | 2 | 2020-02-04 | 20 | 29306.5968 | 2
2020 | 2 | 2020-02-04 | 19 | 29497.0688 | 1
2021 | 2 | 2021-02-17 | 20 | 29430.7933 | 10
2021 | 2 | 2021-02-10 | 19 | 29434.0792 | 9
2021 | 2 | 2021-02-24 | 19 | 29586.4666 | 8
2021 | 2 | 2021-02-03 | 19 | 29623.9421 | 7
2021 | 2 | 2021-02-04 | 19 | 29657.8999 | 6
2021 | 2 | 2021-02-16 | 19 | 29716.9009 | 5
2021 | 2 | 2021-02-08 | 19 | 29751.6021 | 4
2021 | 2 | 2021-02-17 | 19 | 29862.4986 | 3
2021 | 2 | 2021-02-11 | 19 | 29879.8521 | 2
2021 | 2 | 2021-02-09 | 19 | 30094.553 | 1
2019 | 3 | 2019-03-08 | 19 | 27443.2394 | 10
2019 | 3 | 2019-03-08 | 20 | 27486.5854 | 9
2019 | 3 | 2019-03-04 | 19 | 27528.9968 | 8
2019 | 3 | 2019-03-11 | 19 | 27550.1032 | 7
2019 | 3 | 2019-03-07 | 20 | 27682.2374 | 6
2019 | 3 | 2019-03-07 | 19 | 27763.9391 | 5
2019 | 3 | 2019-03-05 | 20 | 27789.8749 | 4
2019 | 3 | 2019-03-06 | 20 | 27981.0039 | 3
2019 | 3 | 2019-03-06 | 19 | 28115.5876 | 2
2019 | 3 | 2019-03-05 | 19 | 28122.8491 | 1
2020 | 3 | 2020-03-16 | 19 | 27407.0809 | 10
2020 | 3 | 2020-03-03 | 20 | 27583.8334 | 9
2020 | 3 | 2020-03-12 | 19 | 27607.9654 | 8
2020 | 3 | 2020-03-04 | 20 | 27650.7571 | 7
2020 | 3 | 2020-03-05 | 20 | 27657.0692 | 6
2020 | 3 | 2020-03-02 | 20 | 27927.8623 | 5
2020 | 3 | 2020-03-03 | 19 | 27946.3847 | 4
2020 | 3 | 2020-03-04 | 19 | 27992.3745 | 3
2020 | 3 | 2020-03-02 | 19 | 28046.776 | 2
2020 | 3 | 2020-03-05 | 19 | 28215.7846 | 1
2021 | 3 | 2021-03-08 | 19 | 30155.1519 | 10
2021 | 3 | 2021-03-11 | 20 | 30223.1055 | 9
2021 | 3 | 2021-03-11 | 19 | 30315.5626 | 8
2021 | 3 | 2021-03-03 | 20 | 30333.9015 | 7
2021 | 3 | 2021-03-15 | 20 | 30438.134 | 6
2021 | 3 | 2021-03-09 | 20 | 30454.6196 | 5
2021 | 3 | 2021-03-10 | 20 | 30529.7412 | 4
2021 | 3 | 2021-03-09 | 19 | 30640.9012 | 3
2021 | 3 | 2021-03-03 | 19 | 30779.8956 | 2
2021 | 3 | 2021-03-10 | 19 | 30862.5955 | 1
2019 | 4 | 2019-04-23 | 19 | 29648.3264 | 10
2019 | 4 | 2019-04-23 | 20 | 29785.3572 | 9
2019 | 4 | 2019-04-25 | 17 | 30067.4972 | 8
2019 | 4 | 2019-04-24 | 17 | 30120.8155 | 7
2019 | 4 | 2019-04-25 | 20 | 30360.2283 | 6
2019 | 4 | 2019-04-25 | 18 | 30526.7891 | 5
2019 | 4 | 2019-04-25 | 19 | 30533.1758 | 4
2019 | 4 | 2019-04-24 | 18 | 30604.8726 | 3
2019 | 4 | 2019-04-24 | 20 | 30765.1997 | 2
2019 | 4 | 2019-04-24 | 19 | 30908.2313 | 1
2020 | 4 | 2020-04-25 | 19 | 29154.3673 | 10
2020 | 4 | 2020-04-24 | 17 | 29248.1738 | 9
2020 | 4 | 2020-04-25 | 18 | 29381.2856 | 8
2020 | 4 | 2020-04-24 | 20 | 29734.3345 | 7
2020 | 4 | 2020-04-28 | 20 | 29818.0191 | 6
2020 | 4 | 2020-04-28 | 17 | 29888.9691 | 5
2020 | 4 | 2020-04-24 | 18 | 30089.3193 | 4
2020 | 4 | 2020-04-24 | 19 | 30114.5165 | 3
2020 | 4 | 2020-04-28 | 19 | 30287.6982 | 2
2020 | 4 | 2020-04-28 | 18 | 30577.7671 | 1
2021 | 4 | 2021-04-19 | 19 | 30828.0712 | 10
2021 | 4 | 2021-04-19 | 20 | 30885.1814 | 9
2021 | 4 | 2021-04-30 | 21 | 31029.8196 | 8
2021 | 4 | 2021-04-29 | 18 | 31613.819 | 7
2021 | 4 | 2021-04-29 | 20 | 31954.6942 | 6
2021 | 4 | 2021-04-29 | 19 | 32064.8724 | 5
2021 | 4 | 2021-04-30 | 20 | 32372.647 | 4
2021 | 4 | 2021-04-30 | 17 | 32423.6782 | 3
2021 | 4 | 2021-04-30 | 19 | 32741.4753 | 2
2021 | 4 | 2021-04-30 | 18 | 32813.43 | 1
2019 | 5 | 2019-05-14 | 19 | 27750.0277 | 10
2019 | 5 | 2019-05-29 | 20 | 27767.3426 | 9
2019 | 5 | 2019-05-03 | 20 | 27785.5749 | 8
2019 | 5 | 2019-05-13 | 19 | 27800.0043 | 7
2019 | 5 | 2019-05-01 | 20 | 27827.82 | 6
2019 | 5 | 2019-05-30 | 20 | 27996.6675 | 5
2019 | 5 | 2019-05-08 | 20 | 28070.5922 | 4
2019 | 5 | 2019-05-02 | 20 | 28218.9143 | 3
2019 | 5 | 2019-05-14 | 20 | 28256.5007 | 2
2019 | 5 | 2019-05-13 | 20 | 28381.7011 | 1
2020 | 5 | 2020-05-28 | 17 | 35116.3269 | 10
2020 | 5 | 2020-05-27 | 20 | 35332.2673 | 9
2020 | 5 | 2020-05-28 | 18 | 35390.9767 | 8
2020 | 5 | 2020-05-26 | 20 | 35628.1539 | 7
2020 | 5 | 2020-05-27 | 19 | 36701.267 | 6
2020 | 5 | 2020-05-26 | 19 | 36819.9024 | 5
2020 | 5 | 2020-05-26 | 17 | 37403.0486 | 4
2020 | 5 | 2020-05-27 | 17 | 37660.2888 | 3
2020 | 5 | 2020-05-26 | 18 | 37693.886 | 2
2020 | 5 | 2020-05-27 | 18 | 37822.633 | 1
2021 | 5 | 2021-05-05 | 17 | 32963.9351 | 10
2021 | 5 | 2021-05-04 | 20 | 33014.863 | 9
2021 | 5 | 2021-05-12 | 20 | 33026.7822 | 8
2021 | 5 | 2021-05-04 | 19 | 33168.7087 | 7
2021 | 5 | 2021-05-05 | 20 | 33213.1597 | 6
2021 | 5 | 2021-05-05 | 19 | 33556.8849 | 5
2021 | 5 | 2021-05-05 | 18 | 33731.4192 | 4
2021 | 5 | 2021-05-31 | 20 | 33736.4764 | 3
2021 | 5 | 2021-05-31 | 18 | 33779.0237 | 2
2021 | 5 | 2021-05-31 | 19 | 33927.358 | 1
2019 | 6 | 2019-06-10 | 20 | 38683.7894 | 10
2019 | 6 | 2019-06-12 | 18 | 38813.4139 | 9
2019 | 6 | 2019-06-11 | 20 | 39324.4115 | 8
2019 | 6 | 2019-06-12 | 17 | 39348.5492 | 7
2019 | 6 | 2019-06-10 | 19 | 39910.3254 | 6
2019 | 6 | 2019-06-11 | 19 | 40502.7046 | 5
2019 | 6 | 2019-06-10 | 18 | 40801.7184 | 4
2019 | 6 | 2019-06-10 | 17 | 40995.0027 | 3
2019 | 6 | 2019-06-11 | 18 | 41787.6915 | 2
2019 | 6 | 2019-06-11 | 17 | 42476.9515 | 1
2020 | 6 | 2020-06-24 | 18 | 36665.1746 | 10
2020 | 6 | 2020-06-03 | 20 | 36683.5264 | 9
2020 | 6 | 2020-06-11 | 18 | 36776.4407 | 8
2020 | 6 | 2020-06-11 | 17 | 36961.1727 | 7
2020 | 6 | 2020-06-10 | 19 | 38080.9127 | 6
2020 | 6 | 2020-06-03 | 19 | 38312.3139 | 5
2020 | 6 | 2020-06-10 | 17 | 38535.0891 | 4
2020 | 6 | 2020-06-10 | 18 | 38850.0571 | 3
2020 | 6 | 2020-06-03 | 18 | 39759.2757 | 2
2020 | 6 | 2020-06-03 | 17 | 39823.9925 | 1
2021 | 6 | 2021-06-16 | 17 | 41719.2864 | 10
2021 | 6 | 2021-06-16 | 18 | 41749.0333 | 9
2021 | 6 | 2021-06-18 | 19 | 41835.2059 | 8
2021 | 6 | 2021-06-15 | 19 | 41973.0551 | 7
2021 | 6 | 2021-06-15 | 18 | 42399.7809 | 6
2021 | 6 | 2021-06-17 | 19 | 42986.5422 | 5
2021 | 6 | 2021-06-18 | 18 | 43058.9519 | 4
2021 | 6 | 2021-06-18 | 17 | 43260.6864 | 3
2021 | 6 | 2021-06-17 | 17 | 43960.8978 | 2
2021 | 6 | 2021-06-17 | 18 | 43977.5911 | 1
2019 | 7 | 2019-07-25 | 18 | 41317.8111 | 10
2019 | 7 | 2019-07-27 | 18 | 41387.5645 | 9
2019 | 7 | 2019-07-24 | 19 | 41500.4901 | 8
2019 | 7 | 2019-07-23 | 18 | 41540.6794 | 7
2019 | 7 | 2019-07-26 | 18 | 41744.7691 | 6
2019 | 7 | 2019-07-23 | 17 | 41758.2353 | 5
2019 | 7 | 2019-07-25 | 17 | 41770.5771 | 4
2019 | 7 | 2019-07-26 | 17 | 42088.3666 | 3
2019 | 7 | 2019-07-24 | 18 | 42247.0175 | 2
2019 | 7 | 2019-07-24 | 17 | 42910.9383 | 1
2020 | 7 | 2020-07-31 | 17 | 40336.9519 | 10
2020 | 7 | 2020-07-12 | 19 | 40351.6008 | 9
2020 | 7 | 2020-07-11 | 19 | 40375.3992 | 8
2020 | 7 | 2020-07-10 | 17 | 40389.5743 | 7
2020 | 7 | 2020-07-31 | 18 | 40416.0733 | 6
2020 | 7 | 2020-07-10 | 18 | 40543.3756 | 5
2020 | 7 | 2020-07-12 | 17 | 40912.3773 | 4
2020 | 7 | 2020-07-11 | 17 | 41144.9567 | 3
2020 | 7 | 2020-07-11 | 18 | 41434.6932 | 2
2020 | 7 | 2020-07-12 | 18 | 41560.67 | 1
2021 | 7 | 2021-07-20 | 17 | 44291.8548 | 10
2021 | 7 | 2021-07-29 | 18 | 44334.0589 | 9
2021 | 7 | 2021-07-21 | 17 | 44379.4051 | 8
2021 | 7 | 2021-07-29 | 17 | 44503.7874 | 7
2021 | 7 | 2021-07-20 | 18 | 44558.5827 | 6
2021 | 7 | 2021-07-21 | 18 | 44601.4986 | 5
2021 | 7 | 2021-07-19 | 18 | 45143.6988 | 4
2021 | 7 | 2021-07-19 | 17 | 45213.0863 | 3
2021 | 7 | 2021-07-09 | 18 | 45357.0186 | 2
2021 | 7 | 2021-07-09 | 17 | 46299.7157 | 1
2019 | 8 | 2019-08-14 | 19 | 41846.0212 | 10
2019 | 8 | 2019-08-15 | 19 | 41939.8387 | 9
2019 | 8 | 2019-08-27 | 18 | 42002.9313 | 8
2019 | 8 | 2019-08-26 | 18 | 42719.3297 | 7
2019 | 8 | 2019-08-27 | 17 | 42849.4047 | 6
2019 | 8 | 2019-08-14 | 18 | 43257.7463 | 5
2019 | 8 | 2019-08-15 | 18 | 43259.545 | 4
2019 | 8 | 2019-08-26 | 17 | 43425.3857 | 3
2019 | 8 | 2019-08-14 | 17 | 43786.2453 | 2
2019 | 8 | 2019-08-15 | 17 | 44029.3267 | 1
2020 | 8 | 2020-08-17 | 18 | 44016.0832 | 10
2020 | 8 | 2020-08-15 | 18 | 44054.9748 | 9
2020 | 8 | 2020-08-19 | 18 | 44113.8841 | 8
2020 | 8 | 2020-08-15 | 17 | 44791.4723 | 7
2020 | 8 | 2020-08-17 | 17 | 44939.4669 | 6
2020 | 8 | 2020-08-18 | 18 | 45183.0456 | 5
2020 | 8 | 2020-08-14 | 18 | 45395.0882 | 4
2020 | 8 | 2020-08-19 | 17 | 45502.8295 | 3
2020 | 8 | 2020-08-14 | 17 | 46284.2037 | 2
2020 | 8 | 2020-08-18 | 17 | 46489.1218 | 1
2021 | 8 | 2021-08-03 | 18 | 44612.3056 | 10
2021 | 8 | 2021-08-10 | 18 | 44929.1781 | 9
2021 | 8 | 2021-08-11 | 17 | 45002.8958 | 8
2021 | 8 | 2021-08-10 | 17 | 45042.3475 | 7
2021 | 8 | 2021-08-12 | 18 | 45303.6268 | 6
2021 | 8 | 2021-08-27 | 18 | 45368.9142 | 5
2021 | 8 | 2021-08-16 | 18 | 45674.092 | 4
2021 | 8 | 2021-08-27 | 17 | 45735.9615 | 3
2021 | 8 | 2021-08-12 | 17 | 45899.3099 | 2
2021 | 8 | 2021-08-16 | 17 | 46242.4908 | 1
2019 | 9 | 2019-09-04 | 19 | 41033.367 | 10
2019 | 9 | 2019-09-05 | 18 | 41105.8609 | 9
2019 | 9 | 2019-09-06 | 17 | 41336.1778 | 8
2019 | 9 | 2019-09-04 | 18 | 41853.8711 | 7
2019 | 9 | 2019-09-03 | 19 | 41863.5474 | 6
2019 | 9 | 2019-09-05 | 17 | 41927.2795 | 5
2019 | 9 | 2019-09-13 | 17 | 42191.0208 | 4
2019 | 9 | 2019-09-04 | 17 | 42604.4054 | 3
2019 | 9 | 2019-09-03 | 18 | 43061.8604 | 2
2019 | 9 | 2019-09-03 | 17 | 43817.2584 | 1
2020 | 9 | 2020-09-07 | 17 | 41632.151 | 10
2020 | 9 | 2020-09-05 | 20 | 41759.0124 | 9
2020 | 9 | 2020-09-06 | 20 | 42473.678 | 8
2020 | 9 | 2020-09-30 | 17 | 42781.7112 | 7
2020 | 9 | 2020-09-05 | 19 | 43357.7547 | 6
2020 | 9 | 2020-09-06 | 19 | 44139.4364 | 5
2020 | 9 | 2020-09-05 | 18 | 44557.6286 | 4
2020 | 9 | 2020-09-06 | 18 | 45531.8295 | 3
2020 | 9 | 2020-09-05 | 17 | 45656.3632 | 2
2020 | 9 | 2020-09-06 | 17 | 46279.6602 | 1
2021 | 9 | 2021-09-10 | 17 | 43827.8794 | 10
2021 | 9 | 2021-09-09 | 19 | 44359.1696 | 9
2021 | 9 | 2021-09-21 | 17 | 44477.0642 | 8
2021 | 9 | 2021-09-08 | 19 | 44869.0132 | 7
2021 | 9 | 2021-09-07 | 18 | 44988.6574 | 6
2021 | 9 | 2021-09-09 | 18 | 45736.6099 | 5
2021 | 9 | 2021-09-07 | 17 | 45819.4745 | 4
2021 | 9 | 2021-09-08 | 18 | 46605.7485 | 3
2021 | 9 | 2021-09-09 | 17 | 47048.4247 | 2
2021 | 9 | 2021-09-08 | 17 | 47503.3233 | 1
2019 | 10 | 2019-10-23 | 17 | 31675.3547 | 10
2019 | 10 | 2019-10-23 | 18 | 31683.9668 | 9
2019 | 10 | 2019-10-25 | 18 | 31957.9804 | 8
2019 | 10 | 2019-10-07 | 17 | 32049.1693 | 7
2019 | 10 | 2019-10-22 | 18 | 32190.2187 | 6
2019 | 10 | 2019-10-24 | 19 | 32259.8402 | 5
2019 | 10 | 2019-10-22 | 17 | 32550.1229 | 4
2019 | 10 | 2019-10-25 | 17 | 32570.8238 | 3
2019 | 10 | 2019-10-24 | 18 | 32964.5958 | 2
2019 | 10 | 2019-10-24 | 17 | 33173.1299 | 1
2020 | 10 | 2020-10-16 | 17 | 37139.561 | 10
2020 | 10 | 2020-10-14 | 17 | 37210.5462 | 9
2020 | 10 | 2020-10-03 | 17 | 37301.2099 | 8
2020 | 10 | 2020-10-15 | 17 | 37349.9725 | 7
2020 | 10 | 2020-10-02 | 19 | 37742.219 | 6
2020 | 10 | 2020-10-02 | 18 | 39402.5223 | 5
2020 | 10 | 2020-10-01 | 19 | 39512.5937 | 4
2020 | 10 | 2020-10-01 | 18 | 41035.4507 | 3
2020 | 10 | 2020-10-02 | 17 | 41088.1265 | 2
2020 | 10 | 2020-10-01 | 17 | 42735.906 | 1
2021 | 10 | 2021-10-03 | 19 | 31780.72 | 10
2021 | 10 | 2021-10-04 | 19 | 31888.25 | 9
2021 | 10 | 2021-10-02 | 18 | 32088.69 | 8
2021 | 10 | 2021-10-04 | 18 | 32249.29 | 7
2021 | 10 | 2021-10-02 | 17 | 32353.91 | 6
2021 | 10 | 2021-10-03 | 18 | 32395.03 | 5
2021 | 10 | 2021-10-03 | 17 | 32497.64 | 4
2021 | 10 | 2021-10-01 | 18 | 32508.21 | 3
2021 | 10 | 2021-10-04 | 17 | 32605.59 | 2
2021 | 10 | 2021-10-01 | 17 | 33102.22 | 1
2019 | 11 | 2019-11-04 | 18 | 28678.6137 | 10
2019 | 11 | 2019-11-07 | 19 | 28684.7461 | 9
2019 | 11 | 2019-11-06 | 18 | 28696.9333 | 8
2019 | 11 | 2019-11-19 | 18 | 28708.7234 | 7
2019 | 11 | 2019-11-26 | 18 | 28785.2818 | 6
2019 | 11 | 2019-11-05 | 18 | 28811.1237 | 5
2019 | 11 | 2019-11-07 | 18 | 28952.638 | 4
2019 | 11 | 2019-11-08 | 18 | 29001.0408 | 3
2019 | 11 | 2019-11-18 | 19 | 29009.0653 | 2
2019 | 11 | 2019-11-18 | 18 | 29605.0331 | 1
2020 | 11 | 2020-11-05 | 17 | 28502.3204 | 10
2020 | 11 | 2020-11-03 | 18 | 28627.1351 | 9
2020 | 11 | 2020-11-04 | 17 | 28657.5835 | 8
2020 | 11 | 2020-11-30 | 18 | 28755.4447 | 7
2020 | 11 | 2020-11-30 | 19 | 28764.3244 | 6
2020 | 11 | 2020-11-02 | 18 | 28838.7939 | 5
2020 | 11 | 2020-11-04 | 19 | 28923.4673 | 4
2020 | 11 | 2020-11-05 | 19 | 29025.514 | 3
2020 | 11 | 2020-11-04 | 18 | 29520.7095 | 2
2020 | 11 | 2020-11-05 | 18 | 29618.7765 | 1
2021 | 11 | 2021-11-15 | 19 | 28395.5 | 10
2021 | 11 | 2021-11-11 | 17 | 28555.74 | 9
2021 | 11 | 2021-11-30 | 18 | 28626.44 | 8
2021 | 11 | 2021-11-29 | 18 | 28658.19 | 7
2021 | 11 | 2021-11-11 | 19 | 28901.12 | 6
2021 | 11 | 2021-11-15 | 18 | 29019.63 | 5
2021 | 11 | 2021-11-12 | 19 | 29232.15 | 4
2021 | 11 | 2021-11-11 | 18 | 29447.55 | 3
2021 | 11 | 2021-11-12 | 17 | 29928.23 | 2
2021 | 11 | 2021-11-12 | 18 | 30275.64 | 1
2019 | 12 | 2019-12-19 | 19 | 29515.4767 | 10
2019 | 12 | 2019-12-18 | 20 | 29822.6002 | 9
2019 | 12 | 2019-12-17 | 20 | 29919.5985 | 8
2019 | 12 | 2019-12-16 | 18 | 29938.3558 | 7
2019 | 12 | 2019-12-17 | 18 | 29962.9533 | 6
2019 | 12 | 2019-12-18 | 18 | 29971.0716 | 5
2019 | 12 | 2019-12-16 | 20 | 29982.4878 | 4
2019 | 12 | 2019-12-18 | 19 | 30193.9874 | 3
2019 | 12 | 2019-12-17 | 19 | 30205.3905 | 2
2019 | 12 | 2019-12-16 | 19 | 30311.7623 | 1
2020 | 12 | 2020-12-01 | 18 | 29045.3399 | 10
2020 | 12 | 2020-12-17 | 19 | 29055.5194 | 9
2020 | 12 | 2020-12-16 | 18 | 29065.2544 | 8
2020 | 12 | 2020-12-14 | 18 | 29095.1949 | 7
2020 | 12 | 2020-12-07 | 18 | 29105.2354 | 6
2020 | 12 | 2020-12-07 | 19 | 29117.9456 | 5
2020 | 12 | 2020-12-15 | 18 | 29152.6704 | 4
2020 | 12 | 2020-12-16 | 19 | 29305.9777 | 3
2020 | 12 | 2020-12-14 | 19 | 29317.9077 | 2
2020 | 12 | 2020-12-15 | 19 | 29458.1245 | 1
2021 | 12 | 2021-12-16 | 18 | 30466.65 | 10
2021 | 12 | 2021-12-16 | 19 | 30498.03 | 9
2021 | 12 | 2021-12-13 | 19 | 30536.77 | 8
2021 | 12 | 2021-12-13 | 18 | 30659.16 | 7
2021 | 12 | 2021-12-15 | 20 | 30803.31 | 6
2021 | 12 | 2021-12-14 | 20 | 30860.54 | 5
2021 | 12 | 2021-12-15 | 18 | 31157.42 | 4
2021 | 12 | 2021-12-15 | 19 | 31170.59 | 3
2021 | 12 | 2021-12-14 | 18 | 31256.59 | 2
2021 | 12 | 2021-12-14 | 19 | 31261.39 | 1

## top5days
CAISO Peak Hours used for analysis of 2023 Resource Adequacy Forecasts
Peak Hour Demand on top 5 Days in each month
Year | Month | Date | HE (PST) | MW | Rank of Hour in Month
2019 | 1 | 2019-01-02 | 19 | 29039.944 | 3
2019 | 1 | 2019-01-03 | 19 | 28943.9414 | 4
2019 | 1 | 2019-01-14 | 19 | 29226.2708 | 1
2019 | 1 | 2019-01-15 | 19 | 29127.1451 | 2
2019 | 1 | 2019-01-16 | 19 | 28658.3188 | 5
2019 | 2 | 2019-02-05 | 19 | 29063.3208 | 3
2019 | 2 | 2019-02-13 | 19 | 29035.1341 | 4
2019 | 2 | 2019-02-19 | 20 | 28993.0072 | 5
2019 | 2 | 2019-02-20 | 19 | 29666.0014 | 1
2019 | 2 | 2019-02-21 | 20 | 29488.9522 | 2
2019 | 3 | 2019-03-04 | 19 | 27528.9968 | 5
2019 | 3 | 2019-03-05 | 19 | 28122.8491 | 1
2019 | 3 | 2019-03-06 | 19 | 28115.5876 | 2
2019 | 3 | 2019-03-07 | 19 | 27763.9391 | 3
2019 | 3 | 2019-03-11 | 19 | 27550.1032 | 4
2019 | 4 | 2019-04-18 | 20 | 28986.733 | 4
2019 | 4 | 2019-04-23 | 20 | 29785.3572 | 3
2019 | 4 | 2019-04-24 | 19 | 30908.2313 | 1
2019 | 4 | 2019-04-25 | 19 | 30533.1758 | 2
2019 | 4 | 2019-04-26 | 20 | 28959.0052 | 5
2019 | 5 | 2019-05-02 | 20 | 28218.9143 | 3
2019 | 5 | 2019-05-08 | 20 | 28070.5922 | 4
2019 | 5 | 2019-05-13 | 20 | 28381.7011 | 1
2019 | 5 | 2019-05-14 | 20 | 28256.5007 | 2
2019 | 5 | 2019-05-30 | 20 | 27996.6675 | 5
2019 | 6 | 2019-06-05 | 18 | 33741.3418 | 4
2019 | 6 | 2019-06-10 | 17 | 40995.0027 | 2
2019 | 6 | 2019-06-11 | 17 | 42476.9515 | 1
2019 | 6 | 2019-06-12 | 17 | 39348.5492 | 3
2019 | 6 | 2019-06-19 | 18 | 33466.5676 | 5
2019 | 7 | 2019-07-23 | 17 | 41758.2353 | 4
2019 | 7 | 2019-07-24 | 17 | 42910.9383 | 1
2019 | 7 | 2019-07-25 | 17 | 41770.5771 | 3
2019 | 7 | 2019-07-26 | 17 | 42088.3666 | 2
2019 | 7 | 2019-07-27 | 18 | 41387.5645 | 5
2019 | 8 | 2019-08-06 | 17 | 41242.6361 | 5
2019 | 8 | 2019-08-14 | 17 | 43786.2453 | 2
2019 | 8 | 2019-08-15 | 17 | 44029.3267 | 1
2019 | 8 | 2019-08-26 | 17 | 43425.3857 | 3
2019 | 8 | 2019-08-27 | 17 | 42849.4047 | 4
2019 | 9 | 2019-09-03 | 17 | 43817.2584 | 1
2019 | 9 | 2019-09-04 | 15 | 43422.1186 | 2
2019 | 9 | 2019-09-05 | 17 | 41927.2795 | 3
2019 | 9 | 2019-09-06 | 17 | 41336.1778 | 5
2019 | 9 | 2019-09-13 | 17 | 42191.0208 | 4
2019 | 10 | 2019-10-07 | 17 | 32049.1693 | 4
2019 | 10 | 2019-10-22 | 17 | 32550.1229 | 3
2019 | 10 | 2019-10-23 | 16 | 31716.0757 | 5
2019 | 10 | 2019-10-24 | 17 | 33173.1299 | 1
2019 | 10 | 2019-10-25 | 16 | 32734.9891 | 2
2019 | 11 | 2019-11-05 | 18 | 28811.1237 | 4
2019 | 11 | 2019-11-07 | 18 | 28952.638 | 3
2019 | 11 | 2019-11-08 | 18 | 29001.0408 | 2
2019 | 11 | 2019-11-18 | 18 | 29605.0331 | 1
2019 | 11 | 2019-11-26 | 18 | 28785.2818 | 5
2019 | 12 | 2019-12-11 | 18 | 29349.0679 | 5
2019 | 12 | 2019-12-16 | 19 | 30311.7623 | 1
2019 | 12 | 2019-12-17 | 19 | 30205.3905 | 2
2019 | 12 | 2019-12-18 | 19 | 30193.9874 | 3
2019 | 12 | 2019-12-19 | 19 | 29515.4767 | 4
2020 | 1 | 2020-01-09 | 19 | 28226.1799 | 5
2020 | 1 | 2020-01-13 | 19 | 28321.29 | 3
2020 | 1 | 2020-01-14 | 19 | 28251.6553 | 4
2020 | 1 | 2020-01-15 | 19 | 28540.0667 | 2
2020 | 1 | 2020-01-16 | 19 | 29239.5054 | 1
2020 | 2 | 2020-02-03 | 19 | 29173.0961 | 2
2020 | 2 | 2020-02-04 | 19 | 29497.0688 | 1
2020 | 2 | 2020-02-05 | 19 | 28814.6709 | 3
2020 | 2 | 2020-02-10 | 19 | 28331.3706 | 4
2020 | 2 | 2020-02-11 | 19 | 28132.8737 | 5
2020 | 3 | 2020-03-02 | 19 | 28046.776 | 2
2020 | 3 | 2020-03-03 | 19 | 27946.3847 | 4
2020 | 3 | 2020-03-04 | 19 | 27992.3745 | 3
2020 | 3 | 2020-03-05 | 19 | 28215.7846 | 1
2020 | 3 | 2020-03-12 | 19 | 27607.9654 | 5
2020 | 4 | 2020-04-24 | 19 | 30114.5165 | 2
2020 | 4 | 2020-04-25 | 18 | 29381.2856 | 3
2020 | 4 | 2020-04-27 | 19 | 28109.851 | 4
2020 | 4 | 2020-04-28 | 18 | 30577.7671 | 1
2020 | 4 | 2020-04-29 | 19 | 27998.1204 | 5
2020 | 5 | 2020-05-07 | 18 | 32792.3578 | 4
2020 | 5 | 2020-05-25 | 18 | 32491.9179 | 5
2020 | 5 | 2020-05-26 | 18 | 37693.886 | 2
2020 | 5 | 2020-05-27 | 18 | 37822.633 | 1
2020 | 5 | 2020-05-28 | 18 | 35390.9767 | 3
2020 | 6 | 2020-06-03 | 17 | 39823.9925 | 1
2020 | 6 | 2020-06-10 | 18 | 38850.0571 | 2
2020 | 6 | 2020-06-11 | 17 | 36961.1727 | 3
2020 | 6 | 2020-06-23 | 18 | 36586.3273 | 5
2020 | 6 | 2020-06-24 | 18 | 36665.1746 | 4
2020 | 7 | 2020-07-10 | 18 | 40543.3756 | 3
2020 | 7 | 2020-07-11 | 18 | 41434.6932 | 2
2020 | 7 | 2020-07-12 | 18 | 41560.67 | 1
2020 | 7 | 2020-07-13 | 17 | 39858.3793 | 5
2020 | 7 | 2020-07-31 | 18 | 40416.0733 | 4
2020 | 8 | 2020-08-14 | 17 | 46284.2037 | 2
2020 | 8 | 2020-08-15 | 17 | 44791.4723 | 5
2020 | 8 | 2020-08-17 | 17 | 44939.4669 | 3
2020 | 8 | 2020-08-18 | 16 | 46947.138 | 1
2020 | 8 | 2020-08-19 | 16 | 45806.8559 | 4
2020 | 9 | 2020-09-05 | 17 | 45656.3632 | 2
2020 | 9 | 2020-09-06 | 16 | 46528.0159 | 1
2020 | 9 | 2020-09-07 | 17 | 41632.151 | 4
2020 | 9 | 2020-09-29 | 17 | 41191.3311 | 5
2020 | 9 | 2020-09-30 | 17 | 42781.7112 | 3
2020 | 10 | 2020-10-01 | 16 | 43147.4181 | 1
2020 | 10 | 2020-10-02 | 16 | 41403.8969 | 2
2020 | 10 | 2020-10-03 | 17 | 37301.2099 | 5
2020 | 10 | 2020-10-15 | 16 | 37676.8275 | 3
2020 | 10 | 2020-10-16 | 16 | 37512.215 | 4
2020 | 11 | 2020-11-02 | 18 | 28838.7939 | 3
2020 | 11 | 2020-11-03 | 18 | 28627.1351 | 5
2020 | 11 | 2020-11-04 | 18 | 29520.7095 | 2
2020 | 11 | 2020-11-05 | 18 | 29618.7765 | 1
2020 | 11 | 2020-11-30 | 19 | 28764.3244 | 4
2020 | 12 | 2020-12-07 | 19 | 29117.9456 | 4
2020 | 12 | 2020-12-14 | 19 | 29317.9077 | 2
2020 | 12 | 2020-12-15 | 19 | 29458.1245 | 1
2020 | 12 | 2020-12-16 | 19 | 29305.9777 | 3
2020 | 12 | 2020-12-17 | 19 | 29055.5194 | 5
2021 | 1 | 2021-01-06 | 19 | 27932.8999 | 5
2021 | 1 | 2021-01-07 | 19 | 27944.4673 | 4
2021 | 1 | 2021-01-25 | 19 | 29302.0322 | 1
2021 | 1 | 2021-01-26 | 19 | 29149.9039 | 2
2021 | 1 | 2021-01-27 | 19 | 28265.637 | 3
2021 | 2 | 2021-02-08 | 19 | 29751.6021 | 4
2021 | 2 | 2021-02-09 | 19 | 30094.553 | 1
2021 | 2 | 2021-02-11 | 19 | 29879.8521 | 2
2021 | 2 | 2021-02-16 | 19 | 29716.9009 | 5
2021 | 2 | 2021-02-17 | 19 | 29862.4986 | 3
2021 | 3 | 2021-03-03 | 19 | 30779.8956 | 2
2021 | 3 | 2021-03-09 | 19 | 30640.9012 | 3
2021 | 3 | 2021-03-10 | 19 | 30862.5955 | 1
2021 | 3 | 2021-03-11 | 19 | 30315.5626 | 5
2021 | 3 | 2021-03-15 | 20 | 30438.134 | 4
2021 | 4 | 2021-04-01 | 19 | 30073.8999 | 4
2021 | 4 | 2021-04-19 | 20 | 30885.1814 | 3
2021 | 4 | 2021-04-28 | 20 | 29907.3819 | 5
2021 | 4 | 2021-04-29 | 19 | 32064.8724 | 2
2021 | 4 | 2021-04-30 | 18 | 32813.43 | 1
2021 | 5 | 2021-05-04 | 19 | 33168.7087 | 3
2021 | 5 | 2021-05-05 | 18 | 33731.4192 | 2
2021 | 5 | 2021-05-12 | 20 | 33026.7822 | 4
2021 | 5 | 2021-05-25 | 20 | 32820.0194 | 5
2021 | 5 | 2021-05-31 | 19 | 33927.358 | 1
2021 | 6 | 2021-06-15 | 18 | 42399.7809 | 3
2021 | 6 | 2021-06-16 | 18 | 41749.0333 | 4
2021 | 6 | 2021-06-17 | 18 | 43977.5911 | 1
2021 | 6 | 2021-06-18 | 17 | 43260.6864 | 2
2021 | 6 | 2021-06-28 | 17 | 40299.5094 | 5
2021 | 7 | 2021-07-09 | 17 | 46299.7157 | 1
2021 | 7 | 2021-07-19 | 17 | 45213.0863 | 2
2021 | 7 | 2021-07-20 | 18 | 44558.5827 | 4
2021 | 7 | 2021-07-21 | 18 | 44601.4986 | 3
2021 | 7 | 2021-07-29 | 17 | 44503.7874 | 5
2021 | 8 | 2021-08-10 | 17 | 45042.3475 | 4
2021 | 8 | 2021-08-11 | 17 | 45002.8958 | 5
2021 | 8 | 2021-08-12 | 17 | 45899.3099 | 2
2021 | 8 | 2021-08-16 | 17 | 46242.4908 | 1
2021 | 8 | 2021-08-27 | 17 | 45735.9615 | 3
2021 | 9 | 2021-09-07 | 17 | 45819.4745 | 3
2021 | 9 | 2021-09-08 | 17 | 47503.3233 | 1
2021 | 9 | 2021-09-09 | 17 | 47048.4247 | 2
2021 | 9 | 2021-09-10 | 17 | 43827.8794 | 5
2021 | 9 | 2021-09-21 | 17 | 44477.0642 | 4
2021 | 10 | 2021-10-01 | 17 | 33102.22 | 1
2021 | 10 | 2021-10-02 | 17 | 32353.91 | 4
2021 | 10 | 2021-10-03 | 17 | 32497.64 | 3
2021 | 10 | 2021-10-04 | 16 | 32743.82 | 2
2021 | 10 | 2021-10-05 | 18 | 31214.76 | 5
2021 | 11 | 2021-11-11 | 18 | 29447.55 | 2
2021 | 11 | 2021-11-12 | 18 | 30275.64 | 1
2021 | 11 | 2021-11-15 | 18 | 29019.63 | 3
2021 | 11 | 2021-11-29 | 18 | 28658.19 | 4
2021 | 11 | 2021-11-30 | 18 | 28626.44 | 5
2021 | 12 | 2021-12-13 | 18 | 30659.16 | 3
2021 | 12 | 2021-12-14 | 19 | 31261.39 | 1
2021 | 12 | 2021-12-15 | 19 | 31170.59 | 2
2021 | 12 | 2021-12-16 | 19 | 30498.03 | 4
2021 | 12 | 2021-12-20 | 19 | 30149.99 | 5