## Notes
Coincidence Statistics for 2024 Resource Adequacy Forecasts
Coincidence factors are calculated by TAC and LSE for each hour selected where:
Coincidence Factor = LSE recorded load in TAC at time of CAISO system peak demand / LSE monthly maximum demand in TAC
Statistics (maximum, minimum,median, percentile distribution) were calculated for the following samples:
Top 5 peak days in each month
Top 3 peaks day in each month
For Slice of Day hourly CFs, the same dates were used.

## Dates for RA 2024 coinc
CAISO Peak Hours used for analysis of 2024 Resource Adequacy Forecasts
Peak Hour Demand on top 5 Days in each month
Date | HE | Year | Month | MW | Rank of Daily Peak
2022-01-10 | 19 | 2022 | 1 | 28180.43 | 5
2022-01-05 | 19 | 2022 | 1 | 28185.37 | 4
2022-01-31 | 19 | 2022 | 1 | 28457.06 | 3
2022-01-04 | 19 | 2022 | 1 | 28584.11 | 2
2022-01-03 | 19 | 2022 | 1 | 29163.92 | 1
2022-02-10 | 19 | 2022 | 2 | 28048.6 | 5
2022-02-01 | 19 | 2022 | 2 | 28081.92 | 4
2022-02-24 | 8 | 2022 | 2 | 28307.87 | 3
2022-02-22 | 19 | 2022 | 2 | 28726.97 | 2
2022-02-23 | 19 | 2022 | 2 | 29019.71 | 1
2022-03-01 | 19 | 2022 | 3 | 27608.89 | 5
2022-03-25 | 19 | 2022 | 3 | 27687.06 | 4
2022-03-22 | 19 | 2022 | 3 | 27970.67 | 3
2022-03-24 | 19 | 2022 | 3 | 28483.52 | 2
2022-03-23 | 19 | 2022 | 3 | 28687.81 | 1
2022-04-26 | 20 | 2022 | 4 | 27449.93 | 5
2022-04-25 | 19 | 2022 | 4 | 28178.47 | 4
2022-04-06 | 19 | 2022 | 4 | 29756.18 | 3
2022-04-07 | 18 | 2022 | 4 | 32916.6 | 2
2022-04-08 | 18 | 2022 | 4 | 33267.76 | 1
2022-05-14 | 19 | 2022 | 5 | 30040.03 | 5
2022-05-26 | 17 | 2022 | 5 | 30367.7 | 4
2022-05-18 | 20 | 2022 | 5 | 31018.82 | 3
2022-05-24 | 18 | 2022 | 5 | 33299.17 | 2
2022-05-25 | 18 | 2022 | 5 | 34250.09 | 1
2022-06-21 | 18 | 2022 | 6 | 39408.7 | 5
2022-06-24 | 17 | 2022 | 6 | 39709.85 | 4
2022-06-23 | 18 | 2022 | 6 | 39998.73 | 3
2022-06-28 | 18 | 2022 | 6 | 40648.4 | 2
2022-06-27 | 18 | 2022 | 6 | 41362.39 | 1
2022-07-21 | 18 | 2022 | 7 | 39327.85 | 5
2022-07-11 | 18 | 2022 | 7 | 39452.94 | 4
2022-07-20 | 17 | 2022 | 7 | 40413.16 | 3
2022-07-19 | 18 | 2022 | 7 | 41266.39 | 2
2022-07-18 | 18 | 2022 | 7 | 41412.8 | 1
2022-08-23 | 17 | 2022 | 8 | 42101.82 | 5
2022-08-17 | 17 | 2022 | 8 | 42754.72 | 4
2022-08-15 | 17 | 2022 | 8 | 43385.67 | 3
2022-08-31 | 17 | 2022 | 8 | 45178.59 | 2
2022-08-16 | 17 | 2022 | 8 | 45232.86 | 1
2022-09-09 | 14 | 2022 | 9 | 42862.31 | 5
2022-09-03 | 17 | 2022 | 9 | 43852.15 | 4
2022-09-04 | 17 | 2022 | 9 | 43888.32 | 3
2022-09-02 | 17 | 2022 | 9 | 45674.86 | 2
2022-09-01 | 17 | 2022 | 9 | 47101.35 | 1
2022-10-04 | 17 | 2022 | 10 | 33436.56 | 5
2022-10-06 | 17 | 2022 | 10 | 33521.9 | 4
2022-10-07 | 17 | 2022 | 10 | 33933.99 | 3
2022-10-19 | 17 | 2022 | 10 | 34170.63 | 2
2022-10-05 | 17 | 2022 | 10 | 34316 | 1
2022-11-21 | 18 | 2022 | 11 | 27980.39 | 5
2022-11-28 | 19 | 2022 | 11 | 28110.24 | 4
2022-11-08 | 18 | 2022 | 11 | 28175.71 | 3
2022-11-29 | 18 | 2022 | 11 | 28183.59 | 2
2022-11-30 | 18 | 2022 | 11 | 28252.65 | 1
2022-12-15 | 18 | 2022 | 12 | 29383.0401 | 5
2022-12-19 | 19 | 2022 | 12 | 29588.0673 | 4
2022-12-13 | 19 | 2022 | 12 | 29724.8028 | 3
2022-12-14 | 19 | 2022 | 12 | 29859.9021 | 2
2022-12-12 | 19 | 2022 | 12 | 30047.5727 | 1