## Slide 1: DER LGP Profiles Standard Schedule File Format
Brian Seal, EPRI
January 30, 2023

## Slide 2: Standard DER Schedule Motivation
“Customer submits a Limited Generation Profile with their application, which may include generation up to the 80 percent Integration Capacity Analysis-SG value published by the utility and submitted in a standard 288-hour format;…”
-CPUC D.20-09-03
Integration Capacity
Time/Date
ICA
90% of ICA

## Slide 3
Developer Install Tool
ICA – Capacity Schedule
Utility
Submit Schedule with Application
Developer-Provided
PCS in Inverter
Standalone PCS / Plant Controller
or
Potential Uses of the Standard File Format
Approval
Proof/Evidence
Local PCS or DER Interface (out of scope in PCS testing)
Vendor Test Tool
Provide Test Schedules
NRTL Test System
Verified Schedule Execution
Vendor Protocols
Vendor-Provided
PCS in Inverter
Standalone PCS / Plant Controller
or
At the NRTL
During Interconnection

## Slide 4: Schedule File Format
Initiated by the UL PCS CRD working group
Guided by requirements from CA, HI, MA, and the PCS WG
Technical approach: keep with a CSV file format for consistency with the IEEE 1547-2018 standard results reporting and settings files
  Human or machine readable, no special software needed
Keep it simple
High value in a uniform national format (saving time/cost, reducing error)… but with regional specifications on usage

## Slide 5: Overview of the Standard Schedule File Format
Metadata (optional)
Comments (optional)
Schedule (mandatory)

## Slide 6: 12-Entry Monthly Schedule Example

## Slide 7: Verifying DER Schedules
IEEE 1547-2018 Standard Interface
Developer Tools
Approved Schedule
Other Utility Enterprise Applications
Proposed Schedule
ICA Available Information
Vendor Protocols
Schedule “Compare” Tool
Approved Schedule
Schedule Applied in DER