## Slide 1: Smart Inverter Working Group (SIWG) Pronounced “SIWoG” not “SWIG”
February 02, 2023
1:00-2:30 PM PST
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 2: Agenda
Topic | Time | Presenter
Intro and Agenda | 1:00 – 5 minutes | CPUC
Kickoff Discussion for Resolution E-5230 (Limited Generation Profiles) Section B, Issues 1 and 2 Q&A and Open Discussion | 1:05 – 50 minutes | IOUs & Open to Participants
Wrap Up and Next Steps | 1:55 – 5 minutes | CPUC
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 3: Announcement: Resolution E-5230 (Issued 12/09/22)
Identified Topics Needing Discussion:
  Section B / Issue 1: Quarterly Reports: Re-affirm AMI process + Tariff Language
  Section B / Issue 2: Use of Gross Nameplate Rating (including sections of Resolution Section C)
  Section C: Overview of Proposals: Including technical requirements, "Monthly" scheduling (Seem Topic 5), Nameplate capacity (Topic 2); Should include alignment of language (Section D of Res) and incorporate all topics in Resolution
  Section D: Alignment of Language
  Section E: Implementation of Limited Generation Profiles Using Current Smart Inverter Functions
  Section F: Scheduling and Implementing More Than 12 LGP Values Per Year
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 4: Announcements: Workshops per Resolution E-5230 (Issued 12/09/22)
Discussions to resolve Limited Generation Profiles (LGP) (per OP 15 and 51 of D.20-09-035)
  Workshop 1: February 2, 2023; Noon – 4:00 p.m.; via WebEx
    Section E: Implementation of Limited Generation Profiles Using Current Smart Inverter Functions
    Section F: Scheduling and Implementing More Than 12 LGP Values Per Year
  Workshop 2: February 21, 2023; 9:00 a.m. – 4:00 p.m.; via WebEx
  Workshop 3: March 14, 2023; 9:00 a.m. – 4:00 p.m.; via WebEx
  Workshop 4: TBD (if needed); March 28, 2023 (tentative)
  Tier 3 Advice Letters: Due by May 1, 2023
SIWG Preparation Meetings:
  January 19, 2023: Section F: Scheduling and Implementing More Than 12 LGP Values Per Year
  February 2, 2023: Section B Issues 1 &2
  February 16, 2023
  March 2, 2023
  March 16, 2023
  March 30, 2023: TBD (if needed)

## Slide 5: Resolution E-5230 (Discussion Section B.1): Quarterly reporting is not required. The Large IOUs are directed to to finalize details and tariff language of the alternative process discussed in the LGP Workshop #2 per Resolution E-5211 held on November 29, 2022.
Workshop discussions per Resolution E-5211, however, have resolved this issue. As presented during the November 29, 2022 workshop, the Large IOUs shall utilize Advanced Metering Infrastructure (AMI) data for projects with a nameplate of less than 1 MW and telemetry for LGP projects with a nameplate over 1 MW as telemetry is already a requirement per the current Rule 21 for projects sized above 1 MW. The Large IOUs are therefore directed to finalize details and tariff language during the workshops ordered in this Resolution and include it in the subsequent ALs.

## Slide 6: Resolution E-5230 (Discussion Section B.2): Further discussions are needed to justify the use of gross nameplate for the Rule 21 screens.
Should the Large IOUs continue to propose the use of gross nameplate rating for screens D, I, J and K, the Large IOUs are directed to discuss these concerns further during the workshops directed herein and in the subsequent ALs. This discussion should provide further information on the similarities and differences between the proposals in question and articulate the concerns and most likely outcomes for utilizing the limited export value adopted in Proposals A-B 1 and A-B 2 for A-B 3 and Issue 9.
The discussions shall also include the Supplemental Review screens (Screens N, O and P). In the November 10, 2022 SIWG meeting the Large IOUs presented that “Screen M, N, O and some aspects of P will be studied using LGP. The exact Rule 21 language should be discussed with stakeholders. The additional LGP language should build on recent changes to Screen M which supports Nameplate and Typical PV profile interconnection applications.” Discussions in the November 29, 2022 workshop though implied that parties had an unclear understanding of how the screens would be studied and thus discussions are still warranted. We direct the Large IOUs to discuss tariff language modifications during the workshops and to provide more information on which aspects of Screen P will be studied using the LGP value and which will not, if this is the case. In the November 10, 2022 SIWG meeting, the Large IOUs also state that Screens F, G, and H will be evaluated on nameplate rating. The Large IOUs note that “Screens A-E are also not included in ICA calculation. The evaluation is not based on nameplate rating but will depend on aspects of each screen.”33 As it is still in unclear how screens D, I, J, and K will be studied, discussions regarding these screens should continue within the workshop discussions.
The discussions should refer to how the Decision adopts Proposal A-B 3 and how the Working Group Three Report states the screens should be applied…

## Slide 7: Background: Issue 9 and A-B 3 of D.20-09-035
Issue 9 looks at the conditions of operations the Commission should adopt to allow distributed energy resources to perform within existing hosting capacity constraints and avoid triggering [distribution grid] upgrades... The purpose of resolving Issue 9... is to utilize the Integration Capacity Analysis data to allow modern inverters, storage, and other technologies to confidently respond to grid conditions while ensuring safety and reliability.
This proposal [A-B 3] would allow an inverter approved for non-export and limited-export to be set using different maximum export value settings at different times of the year and at the discretion of the utility until a future scheduling standard is released. Proposal A-B 3 would require the inverter to meet the qualifications for non-export or limited- export under Proposal A-B 1 or A-B 2..
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 8: Background: OP 15 and 51 Requirements of D.20-09-035
OP 15: The counter proposal from ... [the Large IOUs] to resolve Issue 9 is adopted with modification. ... Within six months of issuance of this decision, Utilities shall submit a Tier 3 Advice Letter providing recommendations (as applicable) regarding the standard review, certification requirements, and interconnection processes necessary for implementation of the proposal. Within 60 days of adoption of a certification scheme for the Limited Generation Profile, Utilities shall modify the Rule 21 Interconnection Application Process to allow a distributed energy resources customer to include a Limited Generation Profile with their application, require the customer to enable generation profile limiting functionality, and allow Utilities opportunity to alter the profile if safety and reliability concerns warrant it. Retroactive alterations to generation profiles shall not reduce generation to below a pre-defined static level, i.e., the lowest Integrated Capacity Analysis – Static Grid typical profile value identified at the time of the Interconnection Application. As part of the proposal, Utilities shall: i) allow customers to utilize a smart inverter’s ability to increase its output on a monthly basis; and ii) use a 10 percent buffer, which shall be revisited....
OP 51: A modified Proposal A-B 3 is adopted but shall not be implemented until nine months after technical specifications standards, and a certification scheme for a Limited Generation Profile have been approved by the standards approving bodies. Within 90 days of such approval, ... [the Large IOUs] shall [seek] ... to modify their Rule 21 tariffs to allow an inverter approved for non- export and limited export to be set using different maximum export value settings at different times of the year, when meeting the qualifications for either Proposal A-B 13 or A-B 2.4 ... Within six months of issuance of this decision, Utilities shall submit a Tier 3 Advice Letter providing recommendations (as applicable) regarding the standard review, certification requirements, and interconnection processes necessary for implementation of the proposal. The discussions and Tier 3 Advice Letter required in this ordering paragraph may be combined with those required in Ordering Paragraph 15.
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 9
Questions?

## Slide 10
For additional information on the SIWG contact:
Jose.Aliaga-Caro@cpuc.ca.gov