## Slide 1: Smart Inverter Working Group (SIWG) Pronounced “SIWoG” not “SWIG”
February 16, 2023
1:00-2:30 PM PST
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 2: Agenda
Topic | Time | Presenter
Intro, Announcements, Agenda | 1:00 – 5 minutes | CPUC
Interconnection Innovation e-Xchange (i2X) Technical Assistance | 1:05 – 10 minutes | Department of Energy (DOE)
Topic E (Implementation of Limited Generation Profiles Using Current Smart Inverter Functions ) Update Topic C (Overview of Proposals in ALs) -- Tentative Q&A and Open Discussion | 1:15 – 70 minutes | IOUs & Open to Participants
Wrap Up and Next Steps | 1:55 – 5 minutes | CPUC
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 3: Announcement: IOU Advice Letters (PG&E 6635-E-A, SDG&E 4032-E, SCE 4824-E)
Purpose:
  IOU Rule 21 Alignment with IEEE 1547-2018.
  Transition from UL1741SA Inverter Requirements to new UL1741SB Requirements
  Align with each other, to the extent possible
Status:
  Completed: CPUC Advice Letter review
  In Process: IOUs coordinating to align ALs and respective Rule 21
  In Process: CPUC preliminary review of expected Advice Letter filings
  Feb 24, 2023: IOU Supplemental Advice Letter Filings
  April 1, 2023: Current date for full transition to UL141 and 1741SB
CPUC evaluating alignment details
Contact ED Staff Lead for Questions on this Topic:
Frank McElvain (Frank.McElvain@cpuc.ca.gov)

## Slide 4: Announcement: Resolution E-5230 (Issued 12/09/22)
Identified Topics Needing Discussion:
  Section B / Issue 1: Quarterly Reports: Re-affirm AMI process + Tariff Language
  Section B / Issue 2: Use of Gross Nameplate Rating (including sections of Resolution Section C)
  Section C: Overview of Proposals: Including technical requirements, "Monthly" scheduling (Seem Topic 5), Nameplate capacity (Topic 2); Should include alignment of language (Section D of Res) and incorporate all topics in Resolution
  Section D: Alignment of Language
  Section E: Implementation of Limited Generation Profiles Using Current Smart Inverter Functions
  Section F: Scheduling and Implementing More Than 12 LGP Values Per Year
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 5: Announcements: Workshops per Resolution E-5230 (Issued 12/09/22)
Discussions to resolve Limited Generation Profiles (LGP) (per OP 15 and 51 of D.20-09-035)
  Workshop 1: February 2, 2023; Noon – 4:00 p.m.; via WebEx
  Workshop 2: February 21, 2023; 9:00 a.m. – 4:00 p.m.; via WebEx
  Workshop 3: March 14, 2023; 9:00 a.m. – 4:00 p.m.; via WebEx
  Workshop 4: TBD (if needed); March 28, 2023 (tentative)
  Tier 3 Advice Letters: Due by May 1, 2023
SIWG Preparation Meetings:
  January 19, 2023: Section F
  February 2, 2023: Section B Issues 1 &2
  February 16, 2023: Topic E Update and Topic C
  March 2, 2023: TBD
  March 16, 2023: TBD
  March 30, 2023: TBD (if needed)

## Slide 6: Resolution E-5230: Section C. Proposals submitted in PG&E AL 6141-E, SCE AL 4455-E, and SDG&E AL 3721-E.
Within these proposals, the Large IOUs have included review and certification requirements, as required by the Decision. The Large IOUs have largely complied with OP 15 and 51. We find, however, there are topics that need further clarification before we can approve them. The Large IOUs are directed to discuss these topics in the workshops.
Large IOUs shall discuss any updates to the proposals that their subsequent experiences indicate may be warranted. The Large IOUs shall also differentiate between “export power” and “output power” and make clear that the LGP option is intended to manage the amount of export power to the electric grid and not output power that may be consumed on-site. The Large IOUs are directed to go over the proposal to address any questions stakeholders may have and determine whether each step is appropriate and complete. Approval in this Resolution of any step within the process outlined in the Large IOUs’ proposals should not be interpreted to mean that those steps are not amendable if there is reason to do so based on workshop discussions. The steps shall be updated if needed to add any additional clarity required or incorporate new learnings. Any changes to the steps in the process must be justified.

## Slide 7: Resolution E-5230: Section E. Implementation of Limited Generation Profiles Using Current Smart Inverter Functions -- The Large IOUs are directed to discuss the possibility and challenges with implementing the LGP-option before standards are approved.
Based on the record for Issue 9, there is general agreement that the technology needed to implement the LGP-option already exists and can be implemented before scheduling standards are approved.
The Decision does consider utilization of LGP prior to the approval of the standards.
In discussing the implementation of Limited Generation Profile the Working Group Two Report states “The Working Group generally agreed that the technology needed for a DER facility to implement a scheduled generation profile is already available [emphasis added] ....” and the need to “[u]pdate the interconnection procedures to allow customers which have certified Phase III inverters to use Phase III Function 3 (Limit Maximum Real Power Mode) in order to limit maximum power output based on seasons of the year.”
To expedite the use of available hosting capacity it is prudent, therefore, for the Large IOUs to discuss any challenges to implement Issue 9 and Proposal A-B 3 using current smart inverter settings
The Large IOUs shall elaborate on challenges and concerns as stated in the Working Group Reports and discuss and propose solutions. The Large IOUs shall determine which functional elements are already present in commercially available inverters, and which are not, to establish LGP functionality prior to the approval of standards.
Should implementation of Issue 9 and Proposal A-B 3 be feasible before approval of standards, the Large IOUs shall outline a clear process and the requirements, including technical, to be considered in the implementation of the LGP option. The Large IOUs shall also establish a mechanism for validating proposed profiles. If the implementation of this mechanism is not feasible, the Large IOUs shall clearly articulate the reasons.
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 8: Background: Issue 9 and A-B 3 of D.20-09-035
Issue 9 looks at the conditions of operations the Commission should adopt to allow distributed energy resources to perform within existing hosting capacity constraints and avoid triggering [distribution grid] upgrades... The purpose of resolving Issue 9... is to utilize the Integration Capacity Analysis data to allow modern inverters, storage, and other technologies to confidently respond to grid conditions while ensuring safety and reliability.
This proposal [A-B 3] would allow an inverter approved for non-export and limited-export to be set using different maximum export value settings at different times of the year and at the discretion of the utility until a future scheduling standard is released. Proposal A-B 3 would require the inverter to meet the qualifications for non-export or limited- export under Proposal A-B 1 or A-B 2..
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 9: Background: OP 15 and 51 Requirements of D.20-09-035
OP 15: The counter proposal from ... [the Large IOUs] to resolve Issue 9 is adopted with modification. ... Within six months of issuance of this decision, Utilities shall submit a Tier 3 Advice Letter providing recommendations (as applicable) regarding the standard review, certification requirements, and interconnection processes necessary for implementation of the proposal. Within 60 days of adoption of a certification scheme for the Limited Generation Profile, Utilities shall modify the Rule 21 Interconnection Application Process to allow a distributed energy resources customer to include a Limited Generation Profile with their application, require the customer to enable generation profile limiting functionality, and allow Utilities opportunity to alter the profile if safety and reliability concerns warrant it. Retroactive alterations to generation profiles shall not reduce generation to below a pre-defined static level, i.e., the lowest Integrated Capacity Analysis – Static Grid typical profile value identified at the time of the Interconnection Application. As part of the proposal, Utilities shall: i) allow customers to utilize a smart inverter’s ability to increase its output on a monthly basis; and ii) use a 10 percent buffer, which shall be revisited....
OP 51: A modified Proposal A-B 3 is adopted but shall not be implemented until nine months after technical specifications standards, and a certification scheme for a Limited Generation Profile have been approved by the standards approving bodies. Within 90 days of such approval, ... [the Large IOUs] shall [seek] ... to modify their Rule 21 tariffs to allow an inverter approved for non- export and limited export to be set using different maximum export value settings at different times of the year, when meeting the qualifications for either Proposal A-B 13 or A-B 2.4 ... Within six months of issuance of this decision, Utilities shall submit a Tier 3 Advice Letter providing recommendations (as applicable) regarding the standard review, certification requirements, and interconnection processes necessary for implementation of the proposal. The discussions and Tier 3 Advice Letter required in this ordering paragraph may be combined with those required in Ordering Paragraph 15.
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 10
Questions?

## Slide 11
For additional information on the SIWG contact:
Jose.Aliaga-Caro@cpuc.ca.gov