## Slide 1: Smart Inverter Working Group (SIWG) Pronounced “SIWoG” not “SWIG”
March 2, 2023
1:00-2:30 PM PST
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 2: Agenda
Topic | Time | Presenter
Intro, Announcements, Agenda | 1:00 – 5 minutes | CPUC
Topic F (Scheduling and Implementing More Than 12 LGP Values Per Year) Q&A and Open Discussion | 1:05 – 80 minutes | IOUs & Open to Participants
Wrap Up and Next Steps | 2:25 – 5 minutes | CPUC
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 3: Announcement: Interconnection Discussion Forum (IDF) Special Edition
When: Friday March 3, 2023; 10:00 A.M. – Noon PST
Where: Via WebEx
Purpose/Agenda:
  Discuss IOU Rule 21 Alignment with IEEE 1547-2018
    Transition from UL1741SA Inverter Requirements to new UL1741SB Requirements
  SCE Load Block Drop Switch (LBDS)
    IDF Follow-Up from Q4 2021 re: SCE’s requirement for a Remote Control Switch for Generation (RCS G) or “gas switch”
Contact ED Staff Leads for Questions:
Scheduling: Mary Rottman (Mary.Rottman@cpuc.ca.gov)
Content: Frank McElvain (Frank.McElvain@cpuc.ca.gov)

## Slide 4: Announcements: Workshops per Resolution E-5230 (Issued 12/09/22)
Discussions to resolve Limited Generation Profiles (LGP) (per OP 15 and 51 of D.20-09-035)
  Workshop 1: February 2, 2023; Noon – 4:00 p.m.; via WebEx
  Workshop 2: February 21, 2023; 9:00 a.m. – 4:00 p.m.; via WebEx
  Workshop 3: March 14, 2023; 9:00 a.m. – 4:00 p.m.; via WebEx
  Workshop 4: Date TBD; March 28, 2023 (tentative)
  Tier 3 Advice Letters: Due by May 1, 2023
SIWG Preparation Meetings:
  January 19, 2023: Section F
  February 2, 2023: Section B Issues 1 &2
  February 16, 2023: Topic E Update and Topic C
  March 2, 2023: Topic F
  March 16, 2023: TBD
  March 30, 2023: TBD
Note

## Slide 5: Background Resolution E-5230 (Issued 12/09/22)
Identified Topics Needing Discussion:
  Section B / Issue 1: Quarterly Reports: Re-affirm AMI process + Tariff Language
  Section B / Issue 2: Use of Gross Nameplate Rating (including sections of Resolution Section C)
  Section C: Overview of Proposals: Including technical requirements, "Monthly" scheduling (Seem Topic 5), Nameplate capacity (Topic 2); Should include alignment of language (Section D of Res) and incorporate all topics in Resolution
  Section D: Alignment of Language
  Section E: Implementation of Limited Generation Profiles Using Current Smart Inverter Functions
  Section F: Scheduling and Implementing More Than 12 LGP Values Per Year
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 6: Background Resolution E-5230 Section F. Implementing More Than 12 LGP Values Per Year—Definition of Monthly Profiles and 288-hour Requirement
In adopting a modified version of the Large IOUs’ counter proposal, the Decision modified the proposal such that the “frequency of changes is expanded to monthly limits to align with the Integration Capacity Analysis.” The Decision, however, did not specify that the monthly profile was limited to only one value. The Decision addressed the frequency of change and did not restrict the number of values within a month to be only one.
Large IOUs are therefore directed to discuss the 288-hour format and how it may allow for more than one value per month. Given that the Working Group Two Report was filed October 31, 2018, four years from the current date, we expect there is now more information and experience available to the Large IOUs to allow this. The Large IOUs shall discuss their learnings and best practices in the workshops and propose how implementation of more than one value per month may be accomplished to better take advantage of the available capacity on a circuit to accomplish the goals of Issue 9.
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 7: Background: Issue 9 and A-B 3 of D.20-09-035
Issue 9 looks at the conditions of operations the Commission should adopt to allow distributed energy resources to perform within existing hosting capacity constraints and avoid triggering [distribution grid] upgrades... The purpose of resolving Issue 9... is to utilize the Integration Capacity Analysis data to allow modern inverters, storage, and other technologies to confidently respond to grid conditions while ensuring safety and reliability.
This proposal [A-B 3] would allow an inverter approved for non-export and limited-export to be set using different maximum export value settings at different times of the year and at the discretion of the utility until a future scheduling standard is released. Proposal A-B 3 would require the inverter to meet the qualifications for non-export or limited- export under Proposal A-B 1 or A-B 2..
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 8: Background: OP 15 and 51 Requirements of D.20-09-035
OP 15: The counter proposal from ... [the Large IOUs] to resolve Issue 9 is adopted with modification. ... Within six months of issuance of this decision, Utilities shall submit a Tier 3 Advice Letter providing recommendations (as applicable) regarding the standard review, certification requirements, and interconnection processes necessary for implementation of the proposal. Within 60 days of adoption of a certification scheme for the Limited Generation Profile, Utilities shall modify the Rule 21 Interconnection Application Process to allow a distributed energy resources customer to include a Limited Generation Profile with their application, require the customer to enable generation profile limiting functionality, and allow Utilities opportunity to alter the profile if safety and reliability concerns warrant it. Retroactive alterations to generation profiles shall not reduce generation to below a pre-defined static level, i.e., the lowest Integrated Capacity Analysis – Static Grid typical profile value identified at the time of the Interconnection Application. As part of the proposal, Utilities shall: i) allow customers to utilize a smart inverter’s ability to increase its output on a monthly basis; and ii) use a 10 percent buffer, which shall be revisited....
OP 51: A modified Proposal A-B 3 is adopted but shall not be implemented until nine months after technical specifications standards, and a certification scheme for a Limited Generation Profile have been approved by the standards approving bodies. Within 90 days of such approval, ... [the Large IOUs] shall [seek] ... to modify their Rule 21 tariffs to allow an inverter approved for non- export and limited export to be set using different maximum export value settings at different times of the year, when meeting the qualifications for either Proposal A-B 13 or A-B 2.4 ... Within six months of issuance of this decision, Utilities shall submit a Tier 3 Advice Letter providing recommendations (as applicable) regarding the standard review, certification requirements, and interconnection processes necessary for implementation of the proposal. The discussions and Tier 3 Advice Letter required in this ordering paragraph may be combined with those required in Ordering Paragraph 15.
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 9
Questions?

## Slide 10
For additional information on the SIWG contact:
Jose.Aliaga-Caro@cpuc.ca.gov