## Slide 1: Smart Inverter Working Group (SIWG) Pronounced “SIWoG” not “SWIG”
January 19, 2023
1:00-2:30 PM PST
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 2: Agenda
Topic | Time | Presenter
Intro and Agenda | 1:00 – 5 minutes | CPUC
Announcements: Notification Only Workshop and Request for Information Limited Generation Profile Workshop per Resolution E-5230 Background on Resolution E-5032 | 1:05 – 15 minutes | CPUC / SCE
288-Value Limited Generation Profiles | 1:20 – 15 minutes | The Public Advocates Office
Q&A and Open Discussion | 1:35 – 20 minutes | All
Wrap Up and Next Steps | 1:55 – 5 minutes | CPUC
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 3: Announcement: Notification Only Workshop
In support of the Notification Only Pilot workshop scheduled for February 14, 2023 and the development of the Tier 3 Advice Letter required by D. 21-06-002, PG&E, SCE, and SDG&E request stakeholders to provide feedback on the implementation of the Notification-Only Pilot adopted in D. 21-06-002. The survey can be found at the following link: https://forms.office.com/r/GvEGuHs8yP. The survey closes on January 27 at 5:00 PM PST. Results from the survey will be discussed at the February 14 workshop. Additional details from D. 21-06-002 are provided below. If you have any access issues with the survey, please contact Amanda Figueroa at Amanda.K.Figueroa@sce.com.
D.21-06-002 Ordering Paragraph 5 - No later than 20 months from the implementation of the Notification-Only Approach Pilot adopted in Ordering Paragraph 1, Pacific Gas and Electric Company, San Diego Gas & Electric Company, and Southern California Edison Company shall submit a Tier 3 Advice Letter providing the data from the first 18 months of the Notification-Only Approach pilot and, based on the data, a request to continue the notification approach on a permanent basis as adopted herein, continue the pilot with modifications, or discontinue the notification approach. This advice letter shall contain a proposal for the notification-only approach application fee to cover the costs of administering the approach post pilot phase.
D. 21-06-002 Ordering Paragraph 6 - Pacific Gas and Electric Company, San Diego Gas & Electric Company and Southern California Edison Company shall host a workshop no later than 30 days prior to submitting the Tier 3 Advice Letter required in Ordering Paragraph 5. Utilities shall provide and discuss a draft of the required Tier 3 Advice Letter.
Thank you.
SOUTHERN CALIFORNIA EDISON COMPANY
CASE ADMINISTRATION
Case.Admin@sce.com
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 4: Announcement: Resolution E-5230 (Issued 12/09/22)
Identified Topics Needing Discussion:
  Section B / Issue 1: Quarterly Reports: Re-affirm AMI process + Tariff Language
  Section B / Issue 2: Use of Gross Nameplate Rating (including sections of Resolution Section C)
  Section C: Overview of Proposals: Including technical requirements, "Monthly" scheduling (Seem Topic 5), Nameplate capacity (Topic 2); Should include alignment of language (Section D of Res) and incorporate all topics in Resolution
  Section D: Alignment of Language
  Section E: Implementation of Limited Generation Profiles Using Current Smart Inverter Functions
  Section F: Scheduling and Implementing More Than 12 LGP Values Per Year
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 5: Announcements: Workshops per Resolution E-5230 (Issued 12/09/22)
Discussions to resolve Limited Generation Profiles (LGP) (per OP 15 and 51 of D.20-09-035)
  Workshop 1: February 2, 2023; Noon – 4:00 p.m.; via WebEx
    Section E: Implementation of Limited Generation Profiles Using Current Smart Inverter Functions
    Section F: Scheduling and Implementing More Than 12 LGP Values Per Year
  Workshop 2: February 21, 2023; 9:00 a.m. – 4:00 p.m.; via WebEx
  Workshop 3: March 14, 2023; 9:00 a.m. – 4:00 p.m.; via WebEx
  Workshop 4: TBD (if needed); March 28, 2023 (tentative)
  Tier 3 Advice Letters: Due by May 1, 2023
SIWG Preparation Meetings:
  January 19, 2023: Section F: Scheduling and Implementing More Than 12 LGP Values Per Year
  February 2, 2023
  February 16, 2023
  March 2, 2023
  March 16, 2023
  March 30, 2023: TBD (if needed)

## Slide 6: Resolution E-5230: Section F. Implementing More Than 12 LGP Values Per Year—Definition of Monthly Profiles and 288-hour Requirement
In adopting a modified version of the Large IOUs’ counter proposal, the Decision modified the proposal such that the “frequency of changes is expanded to monthly limits to align with the Integration Capacity Analysis.” The Decision, however, did not specify that the monthly profile was limited to only one value. The Decision addressed the frequency of change and did not restrict the number of values within a month to be only one.
Large IOUs are therefore directed to discuss the 288-hour format and how it may allow for more than one value per month. Given that the Working Group Two Report was filed October 31, 2018, four years from the current date, we expect there is now more information and experience available to the Large IOUs to allow this. The Large IOUs shall discuss their learnings and best practices in the workshops and propose how implementation of more than one value per month may be accomplished to better take advantage of the available capacity on a circuit to accomplish the goals of Issue 9.

## Slide 7: Background: OP 15 and 51Requirements of D.20-09-035
OP 15: The counter proposal from ... [the Large IOUs] to resolve Issue 9 is adopted with modification. ... Within six months of issuance of this decision, Utilities shall submit a Tier 3 Advice Letter providing recommendations (as applicable) regarding the standard review, certification requirements, and interconnection processes necessary for implementation of the proposal. Within 60 days of adoption of a certification scheme for the Limited Generation Profile, Utilities shall modify the Rule 21 Interconnection Application Process to allow a distributed energy resources customer to include a Limited Generation Profile with their application, require the customer to enable generation profile limiting functionality, and allow Utilities opportunity to alter the profile if safety and reliability concerns warrant it. Retroactive alterations to generation profiles shall not reduce generation to below a pre-defined static level, i.e., the lowest Integrated Capacity Analysis – Static Grid typical profile value identified at the time of the Interconnection Application. As part of the proposal, Utilities shall: i) allow customers to utilize a smart inverter’s ability to increase its output on a monthly basis; and ii) use a 10 percent buffer, which shall be revisited....
OP 51: A modified Proposal A-B 3 is adopted but shall not be implemented until nine months after technical specifications standards, and a certification scheme for a Limited Generation Profile have been approved by the standards approving bodies. Within 90 days of such approval, ... [the Large IOUs] shall [seek] ... to modify their Rule 21 tariffs to allow an inverter approved for non- export and limited export to be set using different maximum export value settings at different times of the year, when meeting the qualifications for either Proposal A-B 13 or A-B 2.4 ... Within six months of issuance of this decision, Utilities shall submit a Tier 3 Advice Letter providing recommendations (as applicable) regarding the standard review, certification requirements, and interconnection processes necessary for implementation of the proposal. The discussions and Tier 3 Advice Letter required in this ordering paragraph may be combined with those required in Ordering Paragraph 15.
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 8: Background: Issue 9 and A-B 3 of D.20-09-035
Issue 9 looks at the conditions of operations the Commission should adopt to allow distributed energy resources to perform within existing hosting capacity constraints and avoid triggering [distribution grid] upgrades... The purpose of resolving Issue 9... is to utilize the Integration Capacity Analysis data to allow modern inverters, storage, and other technologies to confidently respond to grid conditions while ensuring safety and reliability.
This proposal [A-B 3] would allow an inverter approved for non-export and limited-export to be set using different maximum export value settings at different times of the year and at the discretion of the utility until a future scheduling standard is released. Proposal A-B 3 would require the inverter to meet the qualifications for non-export or limited- export under Proposal A-B 1 or A-B 2..
Please keep yourself muted when not speaking and do NOT put the call on hold. If muted by the leader, press *6 to unmute.

## Slide 9
Questions?

## Slide 10
For additional information on the SIWG contact:
Jose.Aliaga-Caro@cpuc.ca.gov