## Slide 1: LGP Risk Assessment
Notes: (To use this template, make a copy)

## Slide 2: The Unknown
We do not yet know how likely it is that load reductions will occur
We do not have a sense of the magnitude of costs associated with upgrades and/or curtailments if those load reductions do occur

## Slide 3: Fundamental Policy Change is not Justified
Currently, interconnection customers are not financially responsible for changes to the grid (via load, reconfigurations, or other circumstances) that occur after they have commenced operation.
Holding customers responsible (via either curtailments or upgrade costs) changes that policy.
  These events are outside of the interconnection customer’s control
  Doing so seems likely to prevent better utilization of existing grid assets
  Raises the costs of providing energy during peak periods of demand (during the day, or throughout the year)

## Slide 4: The following slides are intended to solicit discussion that can inform proposal development and do not represent the final IREC proposal or that of our collaborators.

## Slide 5: Analysis for Discussion
The following analysis and data collection discussion topics were developed in collaboration with Cal Advocates
Conduct an analysis, using historical data and application of existing tools to analyze:
  Potential frequency with which we can anticipate load reductions will occur in the future
  The potential costs of upgrades that could be anticipated should the load reduction arise
  Put together: An understanding of the potential financial costs of implementing the LGP
Use this analysis to develop a cap on costs that could be born by the rate base as LGP is rolled out
Rollout the LGP, while maintaining existing cost responsibility principles, but revisit policy if/when cap is reached.

## Slide 6: Analysis for Discussion
In addition to analyzing how often load reductions are likely to occur and the potential costs, examine how likely it is that limited generation profiles vs. traditional interconnections will result in post-interconnection upgrade costs
Characterize the upgrade costs that would be incurred if LGP is not allowed in a financeable manner and upgrades thus need to be made in order to build capacity to serve peak load periods.

## Slide 7: Mechanics of Analysis
Historical data on load reductions above 100 kW that have occurred on feeders for the last 5 years
  Back out the NEM below 1 MW load reductions?
  Layer on expected load growth?
Each IOU selects a stratified sample of 30 cases from above and estimates upgrade cost, if any, that would have arisen if the largest-allowable interconnection occurred (a) with LGP and (b) with a traditional interconnection
  Also calculate the net-present value of any curtailment of the projects over a 25-year life span
Each IOU calculates the sum of [events*(cost/event)] to achieve an approximate annual upper bound on total upgrade costs in each of the four cases (LGP or non-LGP and upgrade or curtail).
Each IOU divides the results from above by the number of circuits in their territory to estimate the likely average after-the-fact cost associated with each project.

## Slide 8: Data Needs
5 years of records of load reductions > 100 kW
  5 years of interconnection records for NEM projects from 100 kW to 1 MW.
  Load growth forecast for the selected feeders
ICA data – these data do not need to cover all historic cases, the study could:
  Use recent examples in the stratified sample; or,
  Use recent ICA data with past cases.
Upgrade costs for each event.
Value of exports to customers (i.e., value of curtailments).
Number of circuits in territory.

## Slide 9: Ongoing Data Tracking After Implementation
Implementation data tracking
  Interconnection data for all LGP customers.
  For any circuit with an LGP customer:
    All triggered after-the-fact upgrades and resulting cost.
    What was the triggering event.
  Upgrades triggered on feeders with non-LGP customers due to load loss and resulting cost.
    What was the triggering event.
  Track the number of feeders with LGP customers and the number with non-LGP customers
Implementation data submittal:
  Biennially
  As soon as upgrades have been completed due to load loss for LGP (in any IOU territory) after interconnection ten times.
Notes: What interconnection data?

## Slide 10: Moving Forward
How long would it take the utilities to conduct the analysis?
Can/should we seek an extension of the advice letter filing to allow the analysis to be completed? Should another workshop be conducted to review the results?