## Slide 1: Relay+RTAC Configuration
Relay
M
Trip flag
Power setpoints
Measurement data
Inverter(s)
Sensor Box*
Breaker
Measurement data
*may not be needed if sensors connected directly
RTAC (3505 or similar)
Notes: More items to track that I won’t go into detail on are

## Slide 2: Relay+RTAC Configuration
RTAC (3505 or similar)
Relay
M
Change/monitor trip variable
Power setpoints
Inverter(s)
Breaker
DNP or other protocol
Modbus or other protocol
Notes: More items to track that I won’t go into detail on are