## Cover page
CPUC Transportation Electrification Data Template for TE Programs Developed by DNV, with guidance from Guidehouse and the CPUC Date: May 29, 2026 Version: 3.0
Note: There is a separate workbook template for LCFS programs.

## README
DISCLAIMER | This README serves as instructions for the data template tool.
BACKGROUND | The goal of this template is to centralize data from a variety of sources, establish reporting guidelines and a data dictionary for Transportation Electrification programs. All transportation electrification programs except those projects in the Low Carbon Fuel Standard (LCFS) programs are expected use this template. However, LCFS programs are subject to Vehicle Grid Integration (VGI) Reporting fields on this template. Some VGI programs may be open to a broader set of customers than just EVs; for these programs, only VGI customers should be considered. For more information, please see CPUC Decisions 22-11-040 and 25-12-005, which detail the requirements of this data reporting tool.
CONTACT | TEDatareporting@cpuc.ca.gov
CONTENT | Sheets within this file include:
| Sheet number | Sheet name | Description | Column name, if applicable | Column description, if applicable
| 1 | Acronyms | For common acronyms found in the data dictionary/data fields, this sheet provides acronym definitions | Acronym | Acronym
|  |  |  | Definition | Definition for the given acronym
| 2 | Program list | This sheet includes a list of all TE programs expected to report data using this template. The programs are categorized with a "Program type". Each program type will be expected to report certain data fields. The list was created in PY2025 Q1 & Q2 and it is subject to change. | IOU | IOU name
|  |  |  | Sector | Program sector, e.g. residential, commercial, industrial, destination, cross-cutting, VGI, or portfolio support
|  |  |  | Program | Program name
|  |  |  | Program type | Either "Non-Program Projects", "VGI", "Medium and Heavy-Duty EV Charging Infrastructure Program", or "Light-Duty EV Charging Infrastructure Program"
| 3 | Data dictionary | This sheet provides a data dictionary which provides details for all expected data fields and definitions. | Expected sheet name | Sheet in the template where the column will appear
|  |  |  | Column order | Specifies the order of the given data field in the Expected sheet. Column order = 1 means the data field will be in column A, and so on.
|  |  |  | Column name | Column (data field) name
|  |  |  | PII flag | Personally Identifiable Information data that should be transferred securely
|  |  |  | Key column | Unique identifier column that cannot be blank
|  |  |  | Column definition | Definition for the given data field
|  |  |  | Data type | Specified data type (i.e. numeric, character, Y/N)
|  |  |  | Accepted values | If applicable, list of accepted values. Note that values with "etc" are cases where there are additional accepted values. A blank indicates that there is not a drop down field for the value.
|  |  |  | Non-Program Project flag | Flag for whether the data field applies for non-program projects, i.e., those projects developed under Rule 15/16, Rule 29/45/24. 1=field is required. 0=field does not apply.
|  |  |  | VGI flag | Flag for whether the data field applies for the named program type. 1=field is required. 0=field is not required.
|  |  |  | Medium and Heavy-Duty EV Charging Infrastructure Program flag | Flag for whether the data field applies for the named program type. 1=field is required. 0=field is not required.
|  |  |  | Light-Duty EV Charging Infrastructure Program flag | Flag for whether the data field applies for the named program type. 1=field is required. 0=field is not required.
UNIT DEFINITIONS | Unless otherwise specified, the following units apply to relevant fields in the Data Dictionary:
| Cost | US dollars ($)
| Energy | kWh
| Demand | kW
| Date | YYYY-MM-DD
| Distance or length | feet
| Area | square feet
| Port | The component of a charger that is physically connected to an electric vehicle to provide energy to the vehicle. For modular DC systems, each dispenser is counted as one port, regardless of whether it operates in parallel or series.
INSTRUCTIONS | Step 1: Review program relevant fields
1. Navigate to the Program List tab and review the program type.
2. If none of the program types apply to the program, please reach out to the contact listed above.
3. Navigate to the Data Dictionary tab.
4. Find the column name that matches the Program Type in the columns G-S. Column location also shown in the table below (Program Types).
5. Filter the column to the fields marked "1"
6. Using the filtered results, column names in column C are required for the selected Program Type.
7. Filter on column D, labeled "PII flag". Fields that have a value = "1" should be transferred via a secure transfer method.
Step 2: Populate Blue Template Tabs
1. Go to each Blue tab and add relevant data for each required column by site. Note that program data should be differentiated by the sub program level.
2. Ensure that:
Each table is completed in its own dedicated tab.
Fields flagged in column 'Key Column' as 1 should be completed.
Column names and formats must match exactly as defined in the Data Dictionary.
3. Do not combine data from multiple tables into a single tab.
4. Fields in the Load tab should be sent separately. Any PII data should be redacted for the public version. The confidential version should be transferred via a secure transfer method.
PROGRAM TYPES | Note: The program types that are listed below may be subject to change going forward. | Data Dictionary column
| Non-Program Projects (Projects under Rule 15/16, or R29/45/24) | I
| VGI Programs that support any method of altering the time, charging level, or location at which grid-connected electric vehicles charge or discharge in a manner that optimizes interaction with the electric grid | J
| Medium and Heavy-Duty EV Charging Infrastructure Program | K
| Light-Duty EV Charging Infrastructure Program | L
UNIT DEFINITIONS
DISCLAIMER
CONTENT
INSTRUCTIONS
CONTACT
BACKGROUND
PROGRAM TYPES

## Acronyms
Acronym | Definition
AB | Assembly Bill (e.g., AB 841)
ALM | Automated Load Management
BEV | Battery Electric Vehicle
BTM | Behind-the-meter
CPUC | California Public Utilities Commission
DAC | Disadvantaged Communities
DCFC | Direct Current Fast Charger
ELRP | Emergency Load Reduction Program
EPIC | Electric Program Investment Charge
EV | Electric Vehicle
EVSE | Electric Vehicle Supply Equipment
EVSP | Electric Vehicle Service Provider
GVWR | Gross Vehicle Weight Rating
IOU | Investor-Owned Utility
kW | kilowatt
kWh | Kilowatt-hour
L1 | Level 1 Charger
L2 | Level 2 Charger
LCFS | Low Carbon Fuel Standard
LD | Light-Duty
LMI | Low- to Moderate-Income
ME&O | Marketing, Education, and Outreach
MDHD | Medium- and Heavy-Duty
MUD | Multi-Unit Dwellings
MW | Megawatt
MWh | Megawatt- hour
OEM | Original Equipment Manufacturer
O&M | Operation and Maintenance
SB | Senate Bill (e.g. Senate Bill 350)
SMJU | Small, Multi-Jurisdictional Utility
TOU | Time-of-Use
TTM | To-the-Meter
VGI | Vehicle-Grid Integration

## Program list
This list of programs and tariffs is provided for illustrative purposes, and may not be inclusive of all offerings that are in scope for reporting, depending on when programs or pilots were authorized by the Commission.
IOU | Sector | Program | Program Type
PG&E | Commercial | V2X Commercial Pilot | VGI
PG&E | Commercial, Industrial, Public | EV Fleet Program | Medium and Heavy-Duty EV Charging Infrastructure Program
PG&E | Commercial | V2M Microgrid Pilot | VGI
PG&E | Destination | EV Charge Schools | Light-Duty EV Charging Infrastructure Program
PG&E | Destination | EV Charge Parks | Light-Duty EV Charging Infrastructure Program
PG&E | Destination | EV Fast Charge | Medium and Heavy-Duty EV Charging Infrastructure Program
PG&E | Residential | Empower EV program | Light-Duty EV Charging Infrastructure Program
PG&E | Residential | V2X Residential Pilot | VGI
PG&E | Residential | EPIC 4-02 | VGI
PG&E | Residential | EPIC 4-04 | VGI
PG&E | Commercial, Residential | ELRP (i.e. Subgroup A.5) | VGI
PG&E | Commercial, Industrial | Flex Connect Pilot | VGI
PG&E | Commercial, Industrial, Destination | Hourly Flex Pricing (HFP) Pilot | VGI
SCE | Commercial, Industrial, Destination | Charge Ready Transport | Medium and Heavy-Duty EV Charging Infrastructure Program
SCE | Commercial, Destination, Residential | Charge Ready 2 | Light-Duty EV Charging Infrastructure Program
SCE | Destination | Charge Ready Schools | Light-Duty EV Charging Infrastructure Program
SCE | Destination | Charge Ready Parks | Light-Duty EV Charging Infrastructure Program
SCE | Residential | Orchestrated Charging and Advanced Resiliency for Distribution Vehicle Grid Integration | VGI
SCE | Commercial, Residential | ELRP (i.e. Subgroup A.5) | VGI
SCE | Commercial, Industrial | Load Control Management System (LCMS) pilot | VGI
SCE | Commercial, Industrial, Destination | Flexible Pricing Rate Pilot | VGI
SDG&E | Commercial, Industrial, Destination | Power Your Drive for Fleets | Medium and Heavy-Duty EV Charging Infrastructure Program
SDG&E | Commercial, Residential | Power Your Drive Extension | Light-Duty EV Charging Infrastructure Program
SDG&E | Destination | Power Your Drive for Schools | Light-Duty EV Charging Infrastructure Program
SDG&E | Destination | Power Your Drive for Parks and Beaches | Light-Duty EV Charging Infrastructure Program
SDG&E | Commercial | EPIC 4-02 Grid Resilience and Sustainability through Integrated V2X | VGI
SDG&E | Commercial, Residential | ELRP (i.e. Subgroup A.5) | VGI
SDG&E | Commercial, Industrial, Destination | Dynamic Export Rate Pilot | VGI
PG&E and SCE | Commercial, Industrial, Destination | Rule 29 | Non-Program Projects
SDG&E | Commercial, Industrial, Destination | Rule 45 | Non-Program Projects
SMJUs | Commercial, Industrial, Destination | Rule 24 | Non-Program Projects
All | Commercial, Industrial, Destination, Residential | Rule 15/16 | Non-Program Projects

## Data Dictionary
Expected sheet name | Column order | Column name | PII flag | Key column | Column definition | Data type | Accepted values | Non-Program Projects | VGI | Medium and Heavy-Duty EV Charging Infrastructure Program | Light-Duty EV Charging Infrastructure Program
Load | 1 | Site ID |  | 1 | Unique identifier for the site, provided by the utility | character |  | 0 | 0 | 1 | 1
Load | 2 | Program ID |  | 1 | Unique identification number of the program; program IDs should be unique by sub program and typically begin with IOU name (e.g., PGE250323) | character |  | 0 | 0 | 1 | 1
Load | 3 | Date |  |  | Reporting date of load reading | date | MM/DD/YYYY | 0 | 0 | 1 | 1
Load | 4 | Hour |  |  | The starting hour of load reading; values expected to be integers between 0 and 23 | numeric | Expected values are between 0 and 23 | 0 | 0 | 1 | 1
Load | 5 | Weekday/weekend |  |  | Indicates whether load reading is on a weekday or weekend | character | Weekday or Weekend | 0 | 0 | 1 | 1
Load | 6 | Count of ports energized |  |  | The number of individual vehicle connections capable of independently charging a vehicle. For modular DC systems, each dispenser is counted as one port, regardless of whether it operates in parallel or series. | numeric |  | 0 | 0 | 1 | 1
Load | 7 | Aggregate consumption (kWh) |  |  | Total kWh consumption in the given hour | numeric |  | 0 | 0 | 1 | 1
Load | 8 | Aggregate hourly demand (kW) |  |  | Total kW consumption in the given hour | numeric |  | 0 | 0 | 1 | 1
Program | 1 | Reporting year |  |  | The reporting year for the program | year | YYYY | 1 | 1 | 1 | 1
Program | 2 | Program ID |  | 1 | Unique identification number of the program; program IDs should be unique by sub program and typically begin with IOU name (e.g., PGE250323) | character |  | 1 | 1 | 1 | 1
Program | 3 | Tariff ID |  | 1 | The CPUC tariff rule applicable for site energization (e.g., Rule 15, Rule 16, Rule 29/45/24). |  |  | 1 | 0 | 0 | 0
Program | 4 | IOU |  |  | IOU name | character | PG&E, SCE, SDG&E, PacifiCorp, Liberty Utilities, Bear Valley Electric Service | 1 | 1 | 1 | 1
Program | 5 | Program name |  |  | Program name adopted in decision or resolution, or used in ME&O materials for the program. All subprograms should have a unique name. | character |  | 1 | 1 | 1 | 1
Program | 6 | Program administrator |  |  | Name of program administrator | character |  | 0 | 1 | 1 | 1
Program | 7 | Program launch date |  |  | Date when program started | date | MM/DD/YYYY | 0 | 1 | 1 | 1
Program | 8 | Program end date |  |  | Date when program will end; based on completing the program's final phase or issuing the last rebate or incentive to the customer | date | MM/DD/YYYY | 0 | 1 | 1 | 1
Program | 9 | Implementation status |  |  | Program implementation status (e.g., active, paused, closed, on hold) | character | Active, paused, not accepting applications, closed, or on hold | 0 | 1 | 1 | 1
Program | 10 | Program sector |  |  | Program level market sector (e.g., Residential — Home and MUD charging, including home charging rebates and MUD‑focused programs Commercial — Workplace charging and commercial fleet electrification Industrial — Heavy‑duty and industrial sites, including warehouse depots and port‑adjacent fleet facilities Destination — Publicly accessible charging such as DCFC corridors and municipal, school or park locations Cross‑Cutting — Multi‑sector programs VGI — Managed charging, bi-directional charging, and rates intended to change the time and manner of charging Portfolio Support — Non‑deployment activities such as planning, administration, and evaluation that support the overall TE portfolio) | character | Residential, commercial, industrial, destination, cross-cutting, VGI, or portfolio support | 1 | 1 | 1 | 1
Program | 11 | Program type |  |  | Program type based on the vehicle class served (LD, MDHD, both, or N/A) | character | LD, MDHD, both, or N/A. | 1 | 1 | 1 | 1
Program | 12 | Resolution number |  |  | Unique reference code assigned to a formal Resolution adopted by the CPUC (Use format E-XXXX) | character |  | 0 | 1 | 1 | 1
Program | 13 | Decision number |  |  | Unique reference code assigned to a formal CPUC Decision (Use format D.XX-XX-XXX) | character |  | 0 | 1 | 1 | 1
Program | 14 | Legislation compliance |  |  | Senate Bill and/or Assembly Bill authorizing the program (Use format AB/SB XXXX, (Bill Author, Year)) | character |  | 0 | 1 | 1 | 1
Program | 15 | Funding sources |  |  | Funding source of the program (e.g., Ratepayer, EPIC, LCFS) | character | EPIC, ratepayer, LCFS | 0 | 1 | 1 | 1
Program | 16 | Number of applications |  |  | Total number of applications during the reporting period | numeric |  | 1 | 1 | 1 | 1
Program | 17 | Number of voided applications |  |  | Total number of applications rejected/disqualified during the reporting period (inclusive of customer-initiated withdrawals and erroneous application submittals) | numeric |  | 1 | 1 | 1 | 1
Program | 18 | Number of required sites |  |  | The projected total number of unique locations expected to complete EV charging port installations within the program’s timeframe, based on Decision directives. | numeric |  | 0 | 0 | 1 | 1
Program | 19 | Number of required ports |  |  | The projected total number of EV charging ports expected to be installed across all participating sites within the program’s timeframe, based on Decision directives. | numeric |  | 0 | 0 | 1 | 1
Program | 20 | Number of required EVs |  |  | The projected total number of EVs expected to participate in or be purchased within the program’s timeframe, based on Decision directives. | numeric |  | 0 | 0 | 1 | 1
Program | 21 | Number of required ports in DACs |  |  | The projected total number of ports installed in DACs by the end of the program, based on Decision directives | numeric |  | 0 | 0 | 1 | 1
Program | 22 | Number of required EVs in DACs |  |  | The projected total number of participating or purchased EVs in DACs by the end of the program, based on Decision directives | numeric |  | 0 | 0 | 1 | 1
Program | 23 | Number of required sites in MUDs |  |  | The projected total number of sites in MUDs by the end of the program, based on Decision directives | numeric |  | 0 | 0 | 0 | 1
Program | 24 | Number of required ports in MUDs |  |  | The projected total number of ports installed in MUDs by the end of the program, based on Decision directives | numeric |  | 0 | 0 | 0 | 1
Program | 25 | Number of required sites serving DACs |  |  | The projected total number of sites expected to serve DACs by the end of the program, based on Decision directives | numeric |  | 0 | 0 | 1 | 1
Program | 26 | Number of required ports serving DACs |  |  | The projected totall number of charging ports expected to be installed that will serve DACs by the end of the program, based on Decision directives | numeric |  | 0 | 0 | 1 | 1
Program | 27 | Number of required EVs serving DACs |  |  | The projected total number of EVs that will serve DACs by the end of the program, based on Decision directives | numeric |  | 0 | 0 | 1 | 1
Program | 28 | Number of required ports serving MUDs |  |  | The projected total number of ports serving MUDs by the end of the program, based on Decision directives | numeric |  | 0 | 0 | 0 | 1
Program | 29 | Number of required ports for LMI customers |  |  | The projected total number of ports installed for LMI customers, based on Decision directives | numeric |  | 0 | 0 | 0 | 1
Program | 30 | Number of expected sites |  |  | The expected total number of unique locations anticipated to complete EV charging port installations within the program’s timeframe based on signed contracts with participants. | numeric |  | 1 | 0 | 1 | 1
Program | 31 | Number of expected ports |  |  | The expected total number of EV charging ports anticipated to be installed across all participating sites within the program’s timeframe based on signed contracts with participants. | numeric |  | 1 | 0 | 1 | 1
Program | 32 | Number of expected EVs |  |  | The expected total number of EVs expected to participate in or be purchased by the end of the program based on signed contracts with participants. | numeric |  | 0 | 0 | 1 | 1
Program | 33 | Number of expected ports in DACs |  |  | The expected total number of ports installed in DACs by the end of the program, based on signed contracts with participants. | numeric |  | 0 | 0 | 1 | 1
Program | 34 | Number of expected EVs in DACs |  |  | The expected total number of EVs in DACs by the end of the program, based on signed contracts with participants. | numeric |  | 0 | 0 | 1 | 1
Program | 35 | Number of expected sites in MUDs |  |  | The expected total number of sites in MUDs by the end of the program, based on signed contracts with participants. | numeric |  | 0 | 0 | 0 | 1
Program | 36 | Number of expected ports in MUDs |  |  | The expected total number of ports installed in MUDs by the end of the program, based on signed contracts with participants. | numeric |  | 0 | 0 | 0 | 1
Program | 37 | Number of expected sites serving DACs |  |  | The expected total number of sites expected to serve DACs by the end of the program, based on signed contracts with participants. | numeric |  | 0 | 0 | 1 | 1
Program | 38 | Number of expected ports serving DACs |  |  | The expected total number of charging ports expected to be installed that will serve DACs by the end of the program, based on signed contracts with participants. | numeric |  | 0 | 0 | 1 | 1
Program | 39 | Number of expected EVs serving DACs |  |  | The expected total number of EVs that will serve DACs by the end of the program, based on signed contracts with participants. | numeric |  | 0 | 0 | 1 | 1
Program | 40 | Number of expected ports serving MUDs |  |  | The expected total number of ports serving MUDs by the end of the program, based on signed contracts with participants. | numeric |  | 0 | 0 | 0 | 1
Program | 41 | Number of expected ports for LMI customers |  |  | The expected total number of ports installed for LMI customers, based on signed contracts with participants. | numeric |  | 0 | 0 | 0 | 1
Program | 42 | Number of installed sites |  |  | Actual number of unique locations with complete EV charging port installations during the reporting period. | numeric |  | 1 | 0 | 1 | 1
Program | 43 | Number of installed ports |  |  | Actual number of EV charging ports installed across all participating sites during the reporting period. | numeric |  | 1 | 0 | 1 | 1
Program | 44 | Number of participating EVs |  |  | Actual number of EVs participating in or purchased by the end of the program during the reporting period. | numeric |  | 0 | 1 | 1 | 1
Program | 45 | Number of installed ports in DACs |  |  | Actual number of ports installed in DACs during the reporting period. | numeric |  | 0 | 0 | 1 | 1
Program | 46 | Number of participating EVs in DACs |  |  | Actual number of participating EVs in DACs during the reporting period. | numeric |  | 0 | 1 | 1 | 1
Program | 47 | Number of installed sites in MUDs |  |  | Actual number of sites in MUDs during the reporting period. | numeric |  | 0 | 0 | 0 | 1
Program | 48 | Number of installed ports in MUDs |  |  | Actual number of ports installed in MUDs during the reporting period. | numeric |  | 0 | 0 | 0 | 1
Program | 49 | Number of installed sites serving DACs |  |  | Actual number of sites expected to serve DACs during the reporting period. | numeric |  | 0 | 0 | 0 | 1
Program | 50 | Number of installed ports serving DACs |  |  | Actual number of charging ports expected to be installed that will serve DACs during the reporting period. | numeric |  | 0 | 0 | 0 | 1
Program | 51 | Number of installed EVs serving DACs |  |  | Actual number of EVs that serve DACs during the reporting period. | numeric |  | 0 | 0 | 0 | 1
Program | 52 | Number of installed ports serving MUDs |  |  | Actual number of ports serving MUDs during the reporting period. | numeric |  | 0 | 0 | 0 | 1
Program | 53 | Number of ports installed for DAC customers |  |  | Actual number of charging ports installed for customers located in DACs during the reporting period. | numeric |  | 0 | 0 | 1 | 1
Program | 54 | Number of ports installed for LMI customers |  |  | Actual number of ports installed for LMI customers during the reporting period. | numeric |  | 0 | 0 | 0 | 1
Program | 55 | Number bidirectional EVSE installed and interconnected |  |  | Actual number of installed EVSE which have completed the Rule 21 interconnection agreement process; this field is only required for VGI programs providing incentives for bidirectional EVSE | numeric |  | 0 | 1 | 0 | 0
Program | 56 | Number of bidirectional EVSE installed and provided notification to IOU |  |  | Actual number of installed EVSE which have provided notification to their IOU and are enabled for grid isolated/ resiliency use cases; this field is only required for VGI programs providing incentives for bidirectional EVSE | numeric |  | 0 | 1 | 0 | 0
Program Cost | 1 | Reporting year |  |  | The reporting year for the program cost | year | YYYY | 0 | 1 | 1 | 1
Program Cost | 2 | Program ID |  | 1 | Unique identification number of the program; program IDs should be unique for each subprogram and typically begin with IOU name (e.g., PGE250323) | character |  | 0 | 1 | 1 | 1
Program Cost | 3 | Program budget |  |  | Funding amount approved for the program | numeric |  | 0 | 1 | 1 | 1
Program Cost | 4 | Program cost |  |  | Total budget expended during the reporting period | numeric |  | 0 | 1 | 1 | 1
Program Cost | 5 | Direct authorized budget |  |  | Total direct budget authorized by decision (Including ME&O, evaluation, in de-escalated) | numeric |  | 0 | 1 | 1 | 1
Program Cost | 6 | Direct cost |  |  | Spending in de-escalated costs | numeric |  | 0 | 1 | 1 | 1
Program Cost | 7 | Admin budget |  |  | Total amount of funds authorized for administrative activities in reporting period | numeric |  | 0 | 1 | 1 | 1
Program Cost | 8 | Admin cost |  |  | Cost associated with administrative activities in reporting period | numeric |  | 0 | 1 | 1 | 1
Program Cost | 9 | Capital budget |  |  | Program-authorized capital costs | numeric |  | 0 | 1 | 1 | 1
Program Cost | 10 | Capital cost |  |  | Capital costs per program spent from program start date to reporting date | numeric |  | 0 | 1 | 1 | 1
Program Cost | 11 | Evaluation budget |  |  | Total amount of funds authorized for evaluation | numeric |  | 0 | 1 | 1 | 1
Program Cost | 12 | Evaluation cost |  |  | Costs for evaluation spent from program start date to reporting date | numeric |  | 0 | 1 | 1 | 1
Program Cost | 13 | O&M budget |  |  | Total amount of funds authorized for O&M | numeric |  | 0 | 1 | 1 | 1
Program Cost | 14 | O&M costs |  |  | Cost of O&M from program start date to reporting date | numeric |  | 0 | 1 | 1 | 1
Program Cost | 15 | ME&O budget |  |  | Total amount of funds authorized for ME&O | numeric |  | 0 | 1 | 1 | 1
Program Cost | 16 | ME&O cost |  |  | Total amount spent on all ME&O and ME&O labor during the reporting period | numeric |  | 0 | 1 | 1 | 1
Program Cost | 17 | Third-party budget |  |  | Total amount of funds authorized for third-party costs, fees, or subscriptions (e.g. to OEMs or third-party aggregators to manage EV charging) | numeric |  | 0 | 1 | 0 | 0
Program Cost | 18 | Third-party costs |  |  | Total amount of funds spent for third-party costs, fees, or subscriptions (e.g. to OEMs or third-party aggregators to manage EV charging) | numeric |  | 0 | 1 | 0 | 0
Program Cost | 19 | DAC budget requirements |  |  | Authorized budget for DACs, as a percentage of the infrastructure budget to be spent in DACs or a percentage of infrastructure installations in DACs | numeric |  | 0 | 1 | 1 | 1
Program Cost | 20 | Other funds |  |  | The amount of funds leveraged other than the program's main funding source | numeric |  | 0 | 1 | 1 | 1
Program Cost | 21 | Utility- side cost |  |  | Utility-side costs; include actual and estimated costs for all capital direct costs, and indirect labor overhead recorded costs, for completed projects within the reporting period. Cost categories include design, trenching/excavation, meter, permitting, transformation, as well as division overheads, and capital overhead labor loaders (indirect costs). | numeric |  | 0 | 0 | 1 | 1
Program Cost | 22 | Materials and labor costs |  |  | Total material and labor costs for utility-side infrastructure upgrades | numeric |  | 0 | 0 | 1 | 1
Program Cost | 23 | Project management cost |  |  | Total costs for project management of utility-side infrastructure upgrades | numeric |  | 0 | 1 | 1 | 1
Program Cost | 24 | Spending in DACs |  |  | Amount spent in DACs from program start date to reporting date | numeric |  | 0 | 1 | 1 | 1
Program Cost | 25 | Spending on MUDs |  |  | Amount spent on MUDs from program start date to reporting date | numeric |  | 0 | 1 | 1 | 1
Program Cost | 26 | Rebate or incentive funding to DAC customers |  |  | Total amount of rebate or incentive funding provided to customers located in DACs during the reporting period | numeric |  | 0 | 1 | 1 | 1
Program Cost | 27 | Rebate or incentive funding to LMI customers |  |  | Total rebate or incentive to customers identified as low or moderate income during the reporting period | numeric |  | 0 | 1 | 1 | 1
Program Cost | 28 | Savings from upgrades avoided by ALM |  |  | Total estimated cost savings resulting from the use of ALM systems that eliminate the need for electrical infrastructure upgrades (e.g., transformer, panel, or service upgrades) at the program installation sites | numeric |  | 0 | 1 | 1 | 1
Program Cost | 29 | Distribution system costs incurred by utility for upgrades |  |  | Total distribution system costs incurred by utility for upgrades | numeric |  | 0 | 0 | 1 | 1
Program Cost | 30 | Total make-ready cost of infrastructure on the utility side of the meter |  |  | Total make-ready cost of infrastructure on the utility side of the meter (e.g., capital labor and contract construction costs, including design, trenching, permitting, etc.) | numeric |  | 0 | 0 | 1 | 1
Program Cost | 31 | Average rebate or incentive amount |  |  | Average rebate or incentive amount per measure from program start to reporting date | numeric |  | 0 | 1 | 1 | 1
Program Cost | 32 | Average customer rebate or incentive amount |  |  | Average rebate or incentive returned to each customer from program start to reporting date | numeric |  | 0 | 1 | 1 | 1
Program Cost | 33 | Average cost for project management & labor |  |  | Average cost for project management and labor from program start to reporting date | numeric |  | 0 | 1 | 1 | 1
Program Cost | 34 | Average per port cost |  |  | Average per port cost from program start to reporting date | numeric |  | 0 | 0 | 1 | 1
Site | 1 | Reporting year |  |  | The reporting year for site level tracking data | year | YYYY | 1 | 1 | 1 | 1
Site | 2 | Site ID |  | 1 | Unique identifier for the site, typically provided by the utility | character |  | 1 | 1 | 1 | 1
Site | 3 | Program ID |  | 1 | Unique identification number of the program; program IDs should be unique by sub program and typically begin with IOU name (e.g., PGE250323) | character |  | 0 | 1 | 1 | 1
Site | 4 | Tariff ID |  | 1 | The CPUC tariff rule applicable for site energization (e.g., Rule 15, Rule 16, Rule 29/45/24). | character | R15, R16, R29, R45, None | 1 | 0 | 1 | 1
Site | 5 | Energization ID |  |  | Unique identification number used for the site in the biannual energization report template. | character |  | 1 | 0 | 1 | 1
Site | 6 | Market segment |  |  | The high-level classification of a site based on the primary customer sector it serves. (e.g., Residential — Home and MUD charging, including home charging rebates and MUD‑focused programs Commercial — Workplace charging and commercial fleet electrification Industrial — Heavy‑duty and industrial sites, including warehouse depots and port‑adjacent fleet facilities Destination — Publicly accessible charging such as DCFC corridors and municipal, school or park locations Cross‑Cutting — Multi‑sector or technology‑agnostic programs, including VGI — Managed charging, bi-directional charging, and rates intended to change the time and manner of charging Portfolio Support — Non‑deployment activities such as planning, administration, and evaluation that support the overall TE portfolio) | character | Residential, commercial, industrial, destination, cross-cutting, VGI, or portfolio support | 1 | 1 | 1 | 1
Site | 7 | Facility type |  |  | Facility type where EVSE is installed (e.g., single-family dwelling,multi-unit dwelling (MUD), workplace, public destination, school bus, transit bus, medium-duty vehicles, heavy-duty vehicles, yard tractors, airport GSE, forklifts, TRU, truck stops) | character | single-family dwelling,multi-unit dwelling (MUD), workplace, public destination, school bus, transit bus, medium-duty vehicles, heavy-duty vehicles, yard tractors, airport GSE, forklifts, TRU, truck stops | 0 | 0 | 1 | 1
Site | 8 | Vehicle market sector |  |  | Sector of vehicle(s) that will use the charging infrastructure (e.g., light duty, medium and heavy duty, off-road, multiple sectors, etc.) | character | Light duty, medium and heavy duty, off-road, mix, etc. | 1 | 1 | 1 | 1
Site | 9 | Site energization date |  |  | Date all final inspections are scheduled and completed, allowing the customer to start receiving service. | date | MM/DD/YYYY | 1 | 0 | 1 | 1
Site | 10 | Port energization date |  |  | The date when the charging ports at the site are energized, defined as the date on which all required energization steps and final inspections for the ports are completed, allowing the port to be operational and provide service. | date | MM/DD/YYYY | 1 | 0 | 1 | 1
Site | 11 | Project start date |  |  | The date customer submits service energization request; the large electric IOU reviews customer submission, educates customer on the energization process and submission requirements; the Applicant Final Submission (AFS) date is established. The energization clock starts once the large electric IOU notifies the customer that its application is deemed complete. For non-energization projects, the date the submitted customer application is received. | date | MM/DD/YYYY | 1 | 0 | 0 | 0
Site | 12 | Project end date |  |  | The date where all final inspections are scheduled, and if performed by the large electric IOU, completed; the site is "energized", all the customer to start receiving service. For non-energization projects, the project end date is the date where all program requirements are completed and the project is signed off as complete by the program. | date | MM/DD/YYYY | 1 | 0 | 0 | 0
Site | 13 | Calendar days for site energization |  |  | Total number of calendar days between a customer's service request and when the project is energized, accounting for concurrent Energization Steps | numeric |  | 1 | 0 | 1 | 1
Site | 14 | Calendar days waiting for IOU work |  |  | The number of calendar days to complete the steps of the Energization process within the IOU's control, accounting for concurrent Energization steps. The IOU-controlled steps are Step 2 - Engineering & Design, Step 4 - Utility Dependencies Step 6 - IOU Site Readiness, Step 7 - Construction and Step 8 - Service Energization. | numeric |  | 1 | 0 | 1 | 1
Site | 15 | Calendar days waiting for non-IOU work |  |  | The number of calendar days to complete the steps of the Energization process within the Customer/Third-Party's control, accounting for concurrent Energization steps. The Customer/Third-Party's-controlled steps are Step 1 - Intake, Step 3 - Customer Dependencies and Step 5 - Customer Site Readiness | numeric |  | 1 | 0 | 1 | 1
Site | 16 | Site name | 1 |  | Name of site | character |  | 0 | 0 | 1 | 1
Site | 17 | Latitude | 1 |  | Latitude of the site | character |  | 1 | 0 | 1 | 1
Site | 18 | Longitude | 1 |  | Longitude of the site | character |  | 1 | 0 | 1 | 1
Site | 19 | Site address | 1 |  | The address of the site | numeric |  | 1 | 0 | 1 | 1
Site | 20 | City |  |  | City in which the site is located | character |  | 1 | 0 | 1 | 1
Site | 21 | Zip code |  |  | Zip code of the site | numeric |  | 1 | 0 | 1 | 1
Site | 22 | County |  |  | County in which the site is located | character |  | 1 | 0 | 1 | 1
Site | 23 | Public charging available |  |  | Indicates whether the charging infrastructure is available to the public | Y/N | Yes or No | 1 | 0 | 1 | 1
Site | 24 | Access time |  |  | Average accessible hours for the site's charging ports per day | numeric |  | 1 | 0 | 1 | 1 |  | 0 | 0 | 0 | 0 | keep | remove | keep | BOTH | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 4 | 5 | 0
Site | 25 | Site pricing structure |  |  | Pricing structure applied at the site indicating who is being charged and how the cost is applied (e.g., rate to host or rate to driver) | character | Rate to host or rate to driver | 0 | 0 | 1 | 1
Site | 26 | Charging network provider |  |  | Charging network provider (e.g., ChargePoint, Greenlots) | character |  | 0 | 0 | 1 | 1 | 1
Site | 27 | EVSP networking fees |  |  | Networking fees of EVSPs, if applicable | numeric |  | 0 | 0 | 1 | 1
Site | 28 | Underserved community |  |  | Indicates whether a project is located in a community that meets one of the following criteria: - Is a "disadvantaged community" as defined by subdivision (g) of Section 75005 of the Public Resources Code - Is included within the definition of "low-income communities" as defined by paragraph (2) of subdivision (d) of Section 38713 of Health and Safety Code - Is within an area identified as among the most disadvantaged 25% in the state according to the California EPA and based on the most recent California CalEnviroScreen - Is a community in which at least 75% of public school students in the project area are eligible to receive free or reduced-price meals under the National School Lunch Program - Is a community located on lands belonging to a federally recognized California Indian tribe | Y/N | Yes or No | 1 | 1 | 1 | 1
Site | 29 | DAC |  |  | Indicates whether a project is located in a Disadvantaged Community (DAC). DAC is designated by CalEPA for the purposes of SB 535 using criteria that incorporates census tract scores from CalEnviroScreen 3.0 and 4.0, volume of pollution, and lands under the control of federally recognized Tribes. Disadvantaged Communities refer to areas throughout California which are most impacted by a combination of economic, health and environmental indicators. | Y/N | Yes or No | 1 | 1 | 1 | 1
Site | 30 | Tribal community |  |  | Land within an Indian reservation as defined in 18 U.S.C 1151 subsection (a) | Y/N | Yes or No | 1 | 1 | 1 | 1
Site | 31 | BTM ownership |  |  | Infrastructure behind the meter ownership type (e.g., customer or utility) | character | Customer or utility | 0 | 0 | 1 | 1
Site | 32 | EVSE ownership |  |  | EVSE ownership type (e.g., customer or utility) | character | Customer or utility | 0 | 0 | 1 | 1
Site | 33 | Capacity upgrade project type |  |  | Type of capacity work within substations. values are : (1) substation bank capacity expansion work (this includes feeders that are part of the project); (2) feeder/breaker projects (not involving transformer banks); (3) substation work related to the internal combustion engine conversion incentive program (Ag-ICE); and (4) mitigating high fault duty levels. MWC 06: 1) line capacity projects; (2) recurring compliance-related capacity work; (3) other recurring work, and (4) distribution line work related to the Ag-ICE program | character |  | 1 | 0 | 1 | 1
Site | 34 | Major Work Category |  |  | Indicates category of work related to substation or distribution line (e.g., 46: substation capacity or 06: distribution line and equipment capacity) | character | 46: substation capacity or 06: distribution line and equipment capacity | 1 | 0 | 1 | 1
Site | 35 | Capacity project description |  |  | Description of project to increase capacity including impacted distribution facilities IDs (e.g., substation X, replace bank 1, install feeder, etc.) | character |  | 1 | 0 | 1 | 1
Site | 36 | Site kWh |  |  | Annual site-level total kWh | numeric |  | 1 | 0 | 1 | 1
Site | 37 | Installed capacity |  |  | Totall charging capacity (in kW) of all electric vehicle supply equipment (EVSE) installed at the site | numeric |  | 1 | 0 | 1 | 1
Site | 38 | Additional capacity installed (Y/N) |  |  | Y/N for whether the customer requested additional capacity to support chargers to be installed at a later time | Y/N | Yes or No | 1 | 0 | 1 | 1
Site | 39 | Additional capacity installed (kW) |  |  | Total additional capacity installed (kW) | numeric |  | 1 | 0 | 1 | 1
Site | 40 | Additional capacity cost |  |  | Total utility-side costs of installing additional units of new capacity | numeric |  | 1 | 0 | 1 | 1
Site | 41 | Site cost per installed new capacity |  |  | Total utility-side costs per each additional units of new capacity | None | None | 1 | 0 | 1 | 1
Site | 42 | Number of EVs supported |  |  | The maximum number of EVs that can be accommodated or actively served by the site's infrastructure. | numeric |  | 0 | 0 | 1 | 1
Site | 43 | Number of EVSE energized |  |  | Total number of EVSE units installed and energized. For stand-alone units, each charging station counts as one EVSE. For modular DC systems, the EVSE count is based on the number of power cabinets, while the port count reflects the number of dispensers. | numeric |  | 1 | 0 | 1 | 1
Site | 44 | Number of ports energized |  |  | The number if ports energized enabling charging of vehicles. (Ports are the component of a charger that is physically connected to an electric vehicle to provide energy to the vehicle. For modular DC systems, each dispenser is counted as one port, regardless of whether it operates in parallel or series.) | numeric |  | 1 | 0 | 1 | 1
Site | 45 | Requested number of L1 ports |  |  | Number of L1 ports to be installed per customer request | numeric |  | 1 | 0 | 1 | 1
Site | 46 | Requested number of L2 ports |  |  | Number of L2 ports to be installed per customer request | numeric |  | 1 | 0 | 1 | 1
Site | 47 | Requested number of DCFC ports |  |  | Number of DCFC ports to be installed per customer request | numeric |  | 1 | 0 | 1 | 1
Site | 48 | Installed number of L1 ports |  |  | Count of L1 ports installed, per customer application | numeric |  | 1 | 0 | 1 | 1
Site | 49 | Installed number of L2 ports |  |  | Count of L2 ports installed, per customer application | numeric |  | 1 | 0 | 1 | 1
Site | 50 | Installed number of DCFC ports |  |  | Count of DCFC ports installed, per customer application | numeric |  | 1 | 0 | 1 | 1
Site | 51 | Cost per port |  |  | Cost per port | numeric |  | 1 | 0 | 1 | 1
Site | 52 | Number of meters installed |  |  | Number of meters installed (not including submeters) at the site | numeric |  | 1 | 0 | 1 | 1
Site | 53 | Unit cost of each meter |  |  | Unit cost of each meter | numeric |  | 1 | 0 | 1 | 1
Site | 54 | Number of poles installed |  |  | Count of poles installed at the site | numeric |  | 1 | 0 | 1 | 1
Site | 55 | Cost of poles |  |  | Total cost of poles installed at the site | numeric |  | 1 | 0 | 1 | 1
Site | 56 | Number of vaults installed |  |  | Count of vaults installed at the site | numeric |  | 1 | 0 | 1 | 1
Site | 57 | Cost of vaults |  |  | Cost of vaults at the site level | numeric |  | 1 | 0 | 1 | 1
Site | 58 | Number of mounting pads installed |  |  | Count of mounting pads installed at the site | numeric |  | 1 | 0 | 1 | 1
Site | 59 | Cost of mounting pads |  |  | Cost of mounting pads | numeric |  | 1 | 0 | 1 | 1
Site | 60 | Length of wires installed |  |  | Total length of wires installed | numeric |  | 1 | 0 | 1 | 1
Site | 61 | Cost of wires |  |  | Cost of wires | numeric |  | 1 | 0 | 1 | 1
Site | 62 | Length of cables |  |  | Total length of cables installed at the site | numeric |  | 1 | 0 | 1 | 1
Site | 63 | Cost of cables |  |  | Cost of cables at the site level | numeric |  | 1 | 0 | 1 | 1
Site | 64 | Length of conduit installed |  |  | Total length of conduit installed at the site | numeric |  | 1 | 0 | 1 | 1
Site | 65 | Cost of conduit |  |  | Cost of conduit and any allied material | numeric |  | 1 | 0 | 1 | 1
Site | 66 | Length of service drops |  |  | Total length of service drops | numeric |  | 1 | 0 | 1 | 1
Site | 67 | Cost of service drops |  |  | Cost of cables, wires, and all allied material for service drops at the site level | numeric |  | 1 | 0 | 1 | 1
Site | 68 | Count of new transformers installed |  |  | Count of new transformers installed | numeric |  | 1 | 0 | 1 | 1
Site | 69 | Transformer unit cost |  |  | Cost per transformer unit | numeric |  | 1 | 0 | 1 | 1
Site | 70 | Installed port maximum load |  |  | The maximum power output (in kW) that each individual installed charging port is capable of delivering | numeric |  | 1 | 0 | 1 | 1
Site | 71 | Requested port maximum load |  |  | The highest power output (in kW) expected to be delivered by each charging port once installed per customer request | numeric |  | 1 | 0 | 1 | 1
Site | 72 | Sum EVSE maximum load |  |  | The maximum power output (in kW) of all installed EVSE units | numeric |  | 1 | 0 | 1 | 1
Site | 73 | Rebate amount |  |  | Site-level rebate amount applied for customer-side infrastructure | numeric |  | 1 | 1 | 1 | 1
Site | 74 | Total Site cost |  |  | Total site costs including total actual utility direct costs and total customer-side costs | numeric |  | 1 | 1 | 1 | 1
Site | 75 | Utility-side cost |  |  | Total actual utility direct costs for upgrades between the distribution system and the customer meter. | numeric |  | 1 | 0 | 1 | 1
Site | 76 | Customer-side cost |  |  | Total customer-side costs | numeric |  | 1 | 0 | 1 | 1
Site | 77 | Cost paid by ratepayers |  |  | Total utility-side infrastructure costs paid by ratepayers | numeric |  | 1 | 0 | 1 | 1
Site | 78 | Non-ratepayer funding source |  |  | Funding source for non-ratepayer funding | character |  | 1 | 0 | 1 | 1
Site | 79 | Non-ratepayer total funding |  |  | Total non-ratepayer funding amount | numeric |  | 1 | 0 | 1 | 1
Site | 80 | Site trenching and excavation cost |  |  | Total costs of trenching, site excavation, and resurfacing | numeric |  | 1 | 0 | 1 | 1
Site | 81 | Site design cost |  |  | Cost of engineering and design | numeric |  | 1 | 0 | 1 | 1
Site | 82 | Permitting cost |  |  | Cost of permitting for reporting year | numeric |  | 1 | 0 | 1 | 1
Site | 83 | Cost of project management & labor |  |  | Site-level cost for project management and labor | numeric |  | 1 | 0 | 1 | 1
Site | 84 | Site installed ALM (Y/N) |  |  | Indicates whether the site installed automated load management | Y/N | Yes or No | 0 | 0 | 1 | 1
Site | 85 | Enrolled in IOU ALM Program |  |  | Indicates whether the site is enrolled in an automated load management program | Y/N | Yes or No | 1 | 0 | 1 | 1
Site | 86 | Avoided capacity upgrade costs from ALM |  |  | Estimated costs avoided on the utility side from installing automated load management | numeric |  | 1 | 0 | 1 | 1
Site | 87 | Final data collection year |  |  | Final year load data for the site will be collected for given reports | date (year) | YYYY | 0 | 1 | 1 | 1
Site | 88 | Final year EVSE will be maintained by program |  |  | Final year EVSE will be maintained for AB 1082/1083 projects only | date (year) | YYYY | 0 | 0 | 1 | 1
Site | 89 | EV charging cost structures |  |  | Description of available EV charging cost structures for AB 1082/1083 projects only (e.g., credit or debit card, app based, subscription, charged to host or driver, etc.) | character | Credit or debit card, app based, subscription, charged to host or driver, etc. | 0 | 0 | 1 | 1
Site | 90 | Cost of ongoing infrastructure maintenance |  |  | Total yearly ongoing maintenance costs for EVSE infrastructure for AB 1082/1083 projects only | numeric |  | 0 | 0 | 1 | 1
Site | 91 | Warranty period for EVSE operations |  |  | Warranty period for EVSE operations (years) for AB 1082/1083 projects only | numeric |  | 0 | 0 | 1 | 1
Aggregate Load- Programs | 1 | Program ID |  | 1 | Unique identification number of the program; program IDs should be unique by sub program and typically begin with IOU name (e.g., PGE250323) | character |  | 0 | 0 | 1 | 1
Aggregate Load- Programs | 2 | Premise type |  |  | Premise type (e.g., single-family home, multi-unit dwelling, office buildings, school facility, government facility, public parking, retail business center, airport, other) | character | Single-family home, multi-unit dwelling, office buildings, school facility, government facility, public parking, retail business center, airport, other | 0 | 0 | 1 | 1
Aggregate Load- Programs | 3 | Day type |  |  | Indicates whether the aggregated load profile represents a weekday or weekend profile | character | Weekday or Weekend | 0 | 0 | 1 | 1
Aggregate Load- Programs | 4 | EV rate |  |  | Rate the EV is on (e.g., EV TOU, EV TOU2, EV TOU[GF], EV TOU 5, etc.) | character | EV TOU, EV TOU2, EV TOU[GF], EV TOU 5, etc. | 0 | 0 | 1 | 1
Aggregate Load- Programs | 6 | Month |  |  | Month of the aggregated load data | numeric | Expected values are between 1 and 12 | 0 | 0 | 1 | 1
Aggregate Load- Programs | 7 | Hour |  |  | Starting hour of the aggregate load profile (expected values are between 0 and 23) | numeric | Expected values are between 0 and 23 | 0 | 0 | 1 | 1
Aggregate Load- Programs | 8 | TOU load (in-program) |  |  | Aggregated hourly load profile for EV TOU rates within the program for the hour/day type/month | numeric |  | 0 | 0 | 1 | 1
Aggregate Load- Programs | 9 | TOU peak (in-program) |  |  | Aggregated peak load of customers on EV TOU rates within the program for hour/day type/month; data will be based on separately metered EV load | numeric |  | 0 | 0 | 1 | 1
Aggregate Load- VGI | 1 | Program ID |  | 1 | Unique identification number of the program; program IDs should be unique by sub program and typically begin with IOU name (e.g., PGE250323) | numeric |  | 0 | 1 | 0 | 0
Aggregate Load- VGI | 2 | Expected aggregate load shift (MWh) |  |  | The amount of aggregate load shift in MWh expected to occur through the program- Use this field for V1G programs | numeric |  | 0 | 1 | 0 | 0
Aggregate Load- VGI | 3 | Actual aggregate load shift (MWh) |  |  | The amount of actual aggregate load shift in MWh that occured through the program- Use this field for V1G programs | numeric |  | 0 | 1 | 0 | 0
Aggregate Load- VGI | 4 | Expected aggregate capacity exported (MW) |  |  | The amount of aggregate export capacity in MW expected to occur through the program- Use this field for V2X programs | numeric |  | 0 | 1 | 0 | 0
Aggregate Load- VGI | 5 | Actual aggregate capacity exported (MW) |  |  | The amount of actual aggregate export capacity in MW that occured through the program- Use this field for V2X programs | numeric |  | 0 | 1 | 0 | 0
Aggregate Load- VGI | 8 | Weekday aggregate load profiles within program (kWh) |  |  | Aggregated hourly load profile for participants within the program for weekdays | numeric |  | 0 | 1 | 0 | 0
Aggregate Load- VGI | 9 | Weekend aggregate load profiles within program (kWh) |  |  | Aggregated hourly load profile for participants within the program for the weekend | numeric |  | 0 | 1 | 0 | 0
Aggregate Load- VGI | 10 | Weekday aggregate peak load within program (kW) |  |  | Aggregated peak load of customers within the program for weekdays | numeric |  | 0 | 1 | 0 | 0
Aggregate Load- VGI | 11 | Weekend aggregate peak load within program (kW) |  |  | Aggregated peak load of customers within the program for the weekend | numeric |  | 0 | 1 | 0 | 0
Aggregate Load- VGI | 12 | Participant compliance rate |  |  | Percent of charging that occurs during scheduled periods or in response to program signal (average across all program participants) | numeric | 0-100% | 0 | 1 | 0 | 0
Aggregate Load- VGI | 13 | Time Period VGI Occurs |  |  | Time period when customers are engaging in VGI (on or off peak) | character | on peak, off peak | 0 | 1 | 0 | 0

## Program
Reporting year | Program ID | Tariff ID | IOU | Program name | Program administrator | Program launch date | Program end date | Implementation status | Program sector | Program type | Resolution number | Decision number | Legislation compliance | Funding sources | Number of applications | Number of voided applications | Number of required sites | Number of required ports | Number of required EVs | Number of required ports in DACs | Number of required EVs in DACs | Number of required sites in MUDs | Number of required ports in MUDs | Number of required sites serving DACs | Number of required ports serving DACs | Number of required EVs serving DACs | Number of required ports serving MUDs | Number of required ports for LMI customers | Number of expected sites | Number of expected ports | Number of expected EVs | Number of expected ports in DACs | Number of expected EVs in DACs | Number of expected sites in MUDs | Number of expected ports in MUDs | Number of expected sites serving DACs | Number of expected ports serving DACs | Number of expected EVs serving DACs | Number of expected ports serving MUDs | Number of expected ports for LMI customers | Number of installed sites | Number of installed ports | Number of participating EVs | Number of installed ports in DACs | Number of participating EVs in DACs | Number of participating EVs in underserved communities | Number of installed sites in MUDs | Number of installed ports in MUDs | Number of installed sites serving DACs | Number of installed ports serving DACs | Number of installed EVs serving DACs | Number of installed ports serving MUDs | Number of ports installed for DAC customers | Number of ports installed for LMI customers | Number of participating EVs in underserved communities | Number bidirectional EVSE installed and interconnected | Number of bidirectional EVSE installed and provided notification to IOU

## Program Cost
Reporting year | Program ID | Program budget | Program cost | Direct authorized budget | Direct cost | Admin budget | Admin cost | Capital budget | Capital cost | Evaluation budget | Evaluation cost | O&M budget | O&M costs | ME&O budget | ME&O cost | Third-party budget | Third-party costs | DAC budget requirements | Other funds | Utility- side cost | Materials and labor costs | Project management cost | Spending in DACs | Spending on MUDs | Rebate or incentive funding to DAC customers | Rebate or incentive funding to LMI customers | Savings from upgrades avoided by ALM | Distribution system costs incurred by utility for upgrades | Total make-ready cost of infrastructure on the utility side of the meter | Average rebate or incentive amount | Average customer rebate or incentive amount | Average cost for project management & labor | Average per port cost

## Site
Reporting year | Site ID | Program ID | Tariff ID | Energization ID | Market segment | Facility type | Vehicle market sector | Site energization date | Port energization date | Project start date | Project end date | Calendar days for site energization | Calendar days waiting for IOU work | Calendar days waiting for non-IOU work | Site name | Latitude | Longitude | Site address | City | Zip code | County | Public charging available | Access time | Site pricing structure | Charging network provider | EVSP networking fees | Underserved community | DAC | Tribal community | BTM ownership | EVSE ownership | Capacity upgrade project type | Major Work Category | Capacity project description | Site kWh | Installed capacity | Additional capacity installed (Y/N) | Additional capacity installed (kW) | Additional capacity cost | Site cost per installed new capacity | Number of EVs supported | Number of EVSE energized | Number of ports energized | Requested number of L1 ports | Requested number of L2 ports | Requested number of DCFC ports | Installed number of L1 ports | Installed number of L2 ports | Installed number of DCFC ports | Cost per port | Number of meters installed | Unit cost of each meter | Number of poles installed | Cost of poles | Number of vaults installed | Cost of vaults | Number of mounting pads installed | Cost of mounting pads | Length of wires installed | Cost of wires | Length of cables | Cost of cables | Length of conduit installed | Cost of conduit | Length of service drops | Cost of service drops | Count of new transformers installed | Transformer unit cost | Installed port maximum load | Requested port maximum load | Sum EVSE maximum load | Rebate amount | Total Site cost | Utility-side cost | Customer-side cost | Cost paid by ratepayers | Non-ratepayer funding source | Non-ratepayer total funding | Site trenching and excavation cost | Site design cost | Permitting cost | Cost of project management & labor | Site installed ALM (Y/N) | Enrolled in IOU ALM Program | Avoided capacity upgrade costs from ALM | Final data collection year | Final year EVSE will be maintained by program | EV charging cost structures | Cost of ongoing infrastructure maintenance | Warranty period for EVSE operations

## Load
Site ID | Program ID | Date | Hour | Weekday/weekend | Count of ports energized | Aggregate consumption (kWh) | Aggregate hourly demand (kW)

## Aggregate Load- Programs
Program ID | Premise type | Day type | EV rate | Month | Hour | TOU load (in-program) | TOU peak (in-program)

## Aggregate Load- VGI
Program ID | Expected aggregate load shift (MWh) | Actual aggregate load shift (MWh) | Expected aggregate capacity exported (MW) | Actual aggregate capacity exported (MW) | Weekday aggregate load profiles within program (kWh) | Weekend aggregate load profiles within program (kWh) | Weekday aggregate peak load within program (kW) | Weekend aggregate peak load within program (kW) | Participant compliance rate | Time Period VGI Occurs

## VGI Narrative
Please provide narrative responses in a separate Word document.
Question Number | Narrative Question
1 | For each VGI program, provide a brief description of the program offering and highlight lessons learned, including any technical, programmatic or policy barriers identified that limited participation or impacted program outcomes. Please indicate if the program has a specific resiliency focus. Examples of the types of VGI programs that should be reported for this question include: Ratepayer funded VGI programs (such as the pilots authorized under D.20-12-029), EPIC pilots, Demand Respond Programs for which EVs are eligible (such as ELRP subgroup A.5), and Low Carbon Fuel Standard programs with a focus on managed or bi-directional charging Data associated with these programs should be also reported on the "Program," "Program Cost", "Site" and "Aggregated Load-VGI" tabs as appropriate.
2 | Provide an overview of current VGI rates, including: –Enrollments –Customer Type –Results, if available –Lessons learned, including any technical, programmatic or policy barriers identified that limited participation or impacted program outcomes. Any time varying rates or rate pilots, including TOU and Dynamic Rate offerings, should be included in this section.
3 | Provide an overview of current credit-for-export offerings, including: including: –Enrollments –Customer Type –Results, if available –Lessons learned, including any technical, programmatic or policy barriers identified that limited participation or outcomes. Data associated with these programs should be also reported on the "Program," "Program Cost", "Site" and "Aggregated Load-VGI" tabs as appropriate.
4 | Provide the definition of automated load management (ALM) that is applicable to any currently available program offerings. Provide an overview of ALM deployments for sites with EVs, including: –Available program pathways with ALM offerings - Number of projects/sites -Describe the methodology used to determine the expected aggregate avoided capacity for sites in the program (MW) -Describe the methodology or telemetry used to determine the actual aggregate avoided capacity (MW) for sites in the program and describe results achieved in MW. -Lessons learned, including any technical, programmatic, or policy barriers identified that limited participation or outcomes. Data associated with any stand-alone ALM programs (i.e. not taking place within an existing TE incentive program) should be also reported on the "Program," "Program Cost", "Site" and "Aggregated Load-VGI" tabs as appropriate.
5 | Provide an overview of the current status of VGI customer education efforts.
6 | Provide an update on technical standards and protocols for enabling VGI (e.g. communication and cybersecurity standards or protocols).
7 | Describe progress made to enable bi-directional VGI use cases (including grid-parallel and islanded use cases, V2G/V2H/V2B, etc.), addressing: –Progess made to reform interconnection rules (Rule 21) –Other changes made to IOU processes (i.e. notification only approaches for islanded use cases)
8 | Provide an update on the status of the availability of equipment necessary to implement VGI use cases, such as bi-directional charging.
9 | Describe progress made to support interoperability between EVSE and EVs to enable VGI use cases.
10 | Highlight barriers to VGI data collection and potential solutions.