## 2020 data
All Safety Incidents Reported in 2020 and Recorded as Open or Closed as of 1-1-2021
ELECTRIC INCIDENTS (In Compliance with Public Utilities Code Section 911)
Incident ID (YYYYMMDD-XXXX) | Facility owner | Reason for investigation | Facility type | Brief description of incident | OPEN or CLOSED
20160720-01 | SCE | Injury | Vault cover | An underground vault cover was dislodged, which upset a passing vehicle. Initial reports indicate there was one occupant of the vehicle who was subsequently taken to nearby Norwalk Community Hospital for care. | Open
20160919-04 | SCE | Injury | 16 kV underground conductor | An unidentified person reportedly cut into the underground electrical facilities with a hand tool and sustained 2nd and 3rd degree burns. | Closed
20160924-01 | SCE | Injury | 12 kV overhead conductor | An employee of a private tree trimming contractor made contact with an overhead primary conductor and received second and third degree burns to his hands, legs, and back. | Closed
20161011-03 | SDG&E | Injury | 12 kV overhead conductor | A journeyman lineman for Diversified Utility Service, Inc., received burn injuries after making contact with an energized overhead conductor while working on a wood-to-steel conversion project. | Open
20161117-02 | SDG&E | Injury | 12 kV conductor | A lineman employed by a contractor sustained second degree burn injuries from an arc flash after his tool came into contact with an energized 12 kV cable. | Open
20170112-01 | SDG&E | Injury | Unknown | An SDG&E lineman sustained unknown injuries on or near pole #832213, and was transported to UCSD medical center. | Closed
20170222-01 | SCE | Injury | Riser | An SCE contractor employee suffered arc flash injuries while working overhead. | Open
20170226-01 | PG&E | Injury | 12 kV overhead conductor | A PG&E contractor employee sustained electrical injuries to both hands while attempting to restore power to a blacked out circuit. | Closed
20170311-01 | SCE | Media | 12 kV overhead conductor | Vegetation contact with an overhead conductor caused a fire that attracted media attention and about $30,000 in property damage. | Open
20170330-01 | SCE | Injury | 12 kV secondary pedestal | An employee of Pacific Center LLC received burns from an arc flash as he removed the cover of a secondary pedestal. | Open
20170330-02 | SCE | Damage/Media | 33 kV overhead conductors and utility poles | Six wood poles fell over during windy conditions. Downed primary conductors reportedly ignited several structure fires. | Open
20170415-01 | PG&E | Fatality | 17 kV overhead conductor, utility pole, and transformer | An employee of Action Tree Company, a contractor for PG&E, was fatally injured when the tree he was trimming fell down while he was in it. The injuries were not electrical in nature. | Closed
20170821-01 | SCE | Fatality | 12 kV overhead conductor | An underground cable failed, causing a splice to fail and a conductor on a 12 kV distribution circuit to come down in the rear of a home in Huntington Beach. A resident there contacted the line and was fatally electrocuted. | Open
20170831-05 | SCE | Damage | 12 kV overhead conductors and utility poles | 11 poles were downed and 3 other pole tops damaged during a windy weather event in Lake Elsinore. | Open
20170905-02 | SCE | Injury | 16 kV overhead conductor | A large portion of a city-owned tree fell onto a span of primary conductors and caused a conductor to fall down. A person was injured when he made contact with the conductor. | Open
20170926-01 | SCE | Injury | 16 kV overhead conductor | An employee of Ace Sheet Metal was ascending an aluminum ladder to install rain gutters onto a two story residential multi-unit housing complex. The employee fell after contacting SCE's primary overhead conductor with a section of rain gutter. | Closed
20171009-02 | PG&E | Damage | Overhead conductor | PG&E identified a wire down and broken tree near a transmission tower of the Potter Valley-Mendocino 60kv transmission line in Potter Valley. | Closed
20171009-03 | PG&E | Damage | 12 kV overhead conductor | PG&E identified a broken tree limb and wire down on a 12 kV circuit in West Point. | Closed
20171010-01 | PG&E | Damage | 12 kV overhead conductor | PG&E identified a broken tree limb and wire down on a 12 kV circuit in Oroville. | Closed
20171010-02 | PG&E | Damage | 12 kV overhead conductor | PG&E identified a broken tree and wire down on a 12kV circuit in Kenwood. | Closed
20171011-02 | PG&E | Damage | Utility poles | PG&E identified two broken poles on a 12 kV circuit in Clearlake. | Closed
20171011-03 | PG&E | Damage | 12 kV overhead conductor | PG&E identified a broken tree and wire down on a 12kV circuit in Grass Valley that resulted in damage to a residential garage and its contents. | Closed
20171012-02 | PG&E | Damage | 21 kV overhead conductor | PG&E identified a tree that fell on 21 kV conductors in Nevada City. | Closed
20171013-01 | PG&E | Damage | 12 kV overhead conductor | A tree limb fell into overhead conductors, knocking them down and resulting in a fire. | Closed
20171015-01 | PG&E | Damage | Overhead conductor | Fire damage occurred to two structures in the City of Santa Rosa, and may have been caused due to issues with a secondary conductor. | Open
20171016-01 | PG&E | Damage | Secondary service line | PG&E identified a tree whose top broke and fell on an open wire secondary service in Glen Ellen. | Closed
20171020-01 | PG&E | Damage | 12 kV overhead conductor | PG&E identified a 29-inch diameter White Oak tree that fell into a 12 kV circuit in Healdsburg. | Closed
20171020-02 | PG&E | Damage | 21 kV overhead conductor | PG&E identified a 25-inch diameter Live Oak, approximately 70 feet tall, that struck and took down one phase of a 21 kV circuit in Napa. | Closed
20171020-03 | PG&E | Damage | 12 kV overhead conductor | PG&E identified a 32-inch diameter Douglas Fir tree, approximately 100 feet tall, that uprooted and fell into a Live Oak, a Madrone and several other Oaks taking down one span of a 12 kV circuit in Santa Rosa. | Closed
20171020-05 | PG&E | Damage | Unknown | Fire in the vicinity of PG&E facilities. | Closed
20171020-06 | PG&E | Fatalities | Primary Conductors | Cal Fire took possession of a span of primary conductors in Yuba County. | Closed
20171021-01 | PG&E | Damage | 12kV overhead conductor | An overhead conductor fell after a tree fell into it and may have caused a fire. | Closed
20171023-01 | PG&E | Damage | 12kV overhead conductor | Fire due to downed overhead conductor. | Closed
20171026-01 | PG&E | Damage | 12 kV overhead conductor | A fire occurred that may have been started by PG&E facilities. | Closed
20171202-01 | SCE | Injury | 12 kV underground conductor | A foreman electrician for Light and Power Company, a private and not a utility-associated company, cut into an underground primary cable and sustained 3rd degree burns. | Open
20171205-01 | SCE | Damage/Media | 21 kV Circuit | Outages and damage to SCE facilities due to Thomas fire. | Open
20171205-02 | SCE | Media | 16 kV Circuit | A wildfire known as the Rye started near SCE 16 kV distribution circuit. Witnesses reported arcing near SCE facilities around the time the fire started. | Open
20171205-03 | SCE | Media | 12 kV overhead conductor | A grass fire reportedly ignited which eventually consumed 34 acres of grass and brush with full containment at 8:00 p.m. | Open
20171207-01 | PG&E | Damage | 115 kV overhead transmission conductor | A PG&E contract crew was working near a PG&E 115kV transmission line, and it is at this location that the fire apparently originated. Two trucks were destroyed. | Closed
20171207-02 | SCE | Media | 12 kV overhead conductor | A brush fire known as the Liberty Fire was reported at 1:14 p.m. | Open
20180118-01 | SCE | Fatality | 115kv overhead conductor | A contractor suffered an induced current electric shock while transferring conductors from an existing tower to a newly installed steel pole. | Open
20180316-01 | SCE | Fatality | 16 kV overhead conductor | A tree trimmer was fatally injured when he made contact with SCE overhead conductors. | Closed
20180316-02 | SCE | Injury | SCE Substation | An SCE employee sustained fall injuries when he fell off a transformer. | Open
20180404-01 | SCE | Injury | 16 kV underground conductor | A construction employee was in the act of excavating sustained injuries when his tool struck a concrete-encased 16 kV primary conductor. | Open
20180525-01 | SCE | Injury | BURD | An SCE electrical crew foreman sustained burns while working to restore power to a BURD (Buried Underground Residential Distribution) in Realto, CA. | Open
20180606-03 | SCE | Injury | Down guy | An apprentice lineman suffered an injury while installing a down guy on a pole on a 115kV transmission line in Daggett, CA. | Open
20180704-01 | SCE | Injury | 12 kV overhead conductors | A mylar balloon contacted overhead conductors causing a brush fire. Conductor also fell on and energized a chain-link fence, which resulted in an electrical injury to a member of the public. | Open
20180706-02 | SDG&E | Media Coverage | 12 kV overhead facilities | A vegetation and structure fire occurred in the vicinity of overhead facilities. | Open
20180707-01 | SCE | Media Coverage | 16 kV overhead conductor | A tree branch may have knocked into a power line starting a fire. | Open
20180710-01 | SCE | Injury | Employee | A worker experienced a cardiac event while working on SCE facilities. It is unknown if the event was the result of an accident or a medical condition. | Open
20180828-01 | BVES | Power Outage | Overhead conductor | A 34 kV overhead conductor failed, causing a relatively large power outage that affected approximately half of BVES's customers for over an hour. | Open
20180911-01 | PG&E | Media Coverage | Overhead conductor | Fire due to downed overhead conductor. | Closed
20180927-01 | SCE | Injury | Overhead conductor | Two SCE contractor workers suffered arc flash injuries while performing voltage tests on an overhead conductor. | Open
20181018-01 | PG&E | Media Coverage | 21 kV overhead conductor | Fire due to downed overhead conductor. | Closed
20181025-01 | SCE | Damage | 12 kV circuit | Fire attributed to electrical failure. | Closed
20181026-01 | SCE | Death | 4 kV circuit | Customer whose life may have depended upon electronic devices passed away during power outage. | Closed
20181029-01 | SCE | Injury | Utility Pole | Utility pole broke at communications level while a lineman was on it. | Open
20181108-01 | PG&E | Operator Judgement | Transmission Tower | A 115 kV transmission circuit experienced a power outage. Damage to a transmission tower was later discovered. | Closed
20181108-02 | SCE | Media Coverage/Property Damage/Fatalities | 16 kV overhead conductor | The Big Rock circuit in Ventura County relayed. This incident has been implicated as a possible source of ignition for the Woolsey Fire. | Open
20181114-01 | SCE | Injury | 12 kV overhead conductor | A member of the public made contact with an overhead conductor while installing rain gutters, resulting in electrical related injuries. | Open
20181116-01 | PG&E | Operator Judgement | 12 kV Circuit | PG&E experienced an outage on the Big Bend 12 kV circuit in Butte County. CalFIRE has secured the area. | Closed
20181120-01 | SCE | Injuries | 12 kV underground conductor | Four employees of SCE contractor Hampton Tedder were injured in an arc flash incident in a vault in Long Beach. One sustained burns and three others experienced smoke inhalation. | Open
20181121-02 | PG&E | Damage | 12 kV underground conductor | A power outage occurred in Bakersfield, along with a fire in a vault and reports of a damaged vehicle. | Closed
20181217-01 | SCE | Injury | Utility Pole | Two employees of Hot Line Construction, Inc., were injured when the pole they had climbed fell over with them still on it. | Open
20190102-01 | PG&E | Property Damage | Distribution circuit | A power surge damaged customer's appliances. | Closed
20190105-01 | SCE | Injury | Primary cable | A man sustained burn injuries while cutting into an energized primary cable with a reciprocating saw. | Open
20190212-01 | BVES | Injury | 34 kV overhead conductor | On June 18, 2018, a tree trimmer suffered electrical injuries when his hand made contact with an overhead conductor. The incident was reported by BVES eight months later on February 12, 2019. | Closed
20190215-01 | PG&E | Property Damage | 12 kV circuit | A power surge is alleged to have caused a structure fire. | Closed
20190215-02 | PG&E | Property Damage | 21 kV circuit | A power surge is alleged to have damaged electrical equipment at a gravel plant. | Closed
20190215-03 | SCE | Possible Violation | Overhead conductor | Bamboo growing within 4 feet of a primary overhead conductor was misclassified by SCE as a "Level 3" safety hazard. This allowed the bamboo time to grow even closer to the conductor, ultimately resulting in contact and a downed primary conductor. No injuries or other property damage were reported. | Closed
20190218-01 | PG&E | Media Coverage | Unknown | An outage occurred that affected approximately 21,600 PG&E customers. The cause of the outage is unknown. | Closed
20190312-02 | PG&E | Media Coverage | Overhead conductor | An overhead conductor made contact with vegetation, resulting in a power outage that affected approximately 4,300 customers. | Closed
20190318-01 | SCE | Injury | Substation | An apprentice substation electrician suffered injuries to both hands while performing maintenance work on supposedly de-energized equipment. | Open
20190319-01 | PG&E | Property Damage | 12 kV circuit | PG&E received a claim alleging damage to control panels and other electrical equipment that occurred due to a power surge that allegedly took place in April 2017. | Closed
20190325-01 | SCE | Injury | 12 kV overhead conductor | A tree trimmer in a lift sustained electrical injuries when he made contact with energized overhead conductors. | Closed
20190401-01 | SDG&E | Property Damage | Substation Transformer | A substation transformer was damaged by an unknown intruder. | Closed
20190512-01 | PG&E | Fatality | 21 kV overhead conductors | PG&E's overhead conductors made contact with a man after he jumped off a nearby building, resulting in a momentary power outage but no damage to PG&E's facilities. It is unclear at this time whether the man died as a result of the fall or of electrocution as he fell. | Closed
20190519-01 | PG&E | Media Coverage | Underground conductor | An underground conductor failed in Walnut Creek, resulting in a power outage that affected 3,200 customers. | Closed
20190528-01 | PG&E | Media Coverage | Utility poles | A broken utility pole resulted in two adjacent poles falling over and downed conductors. This resulted in an outage that affected approximately 2,250 customers | Closed
20190528-02 | PP&L | Property Damage | Overhead conductors | A failed insulator resulted in a fire in the city of Montague. Damage to property is estimated at $75,000. | Closed
20190529-01 | PG&E | Property Damage | Substation | A power outage occurred out of PG&E's Tyler substation in Red Bluff that affected approximately 1,250 customers. The cause of the outage is unknown, but smoke and fire were observed at the substation that may be related to the power outage. Damage to substation equipment is estimated to exceed $50,000. | Closed
20190530-01 | PG&E | Property Damage | Overhead conductors | A third party operating excavation equipment accidentally damaged a down guy. This resulted in damage to two poles and transformers, and a wire down that caused a fire that damaged nearby structures, vehicles, and equipment. | Closed
20190531-02 | PG&E | Operator Judgement | Transmission Towers | PG&E has decided to replace 10 old towers and repair an additional 12 towers to reinforce the Ignacio-Alto-Sausalito double circuit transmission lines. | Open
20190606-01 | PG&E | Media Coverage | Substation | An unknown problem at a substation in Fresno led to a power outage that affected approximately 22,000 customers for about three and a half hours. | Closed
20190612-01 | PG&E | Media Coverage | Substation | A power outage of unknown cause affected about 18,000 customers. | Closed
20190620-01 | PG&E | Injury | 21 kV overhead conductor | A PG&E contractor working on a pole received an electric shock when he reportedly made contact with the primary neutral conductor. He was transported to Santa Clara Valley Medical Center. | Open
20190621-01 | SDG&E | Injury | 12 kV overhead conductor | An employee working for Mediacom accidentally made contact with an overhead SDG&E conductor and suffered second degree burns as a result. | Open
20190622-01 | SCE | Fatality | 12 kV overhead conductor | A tree trimmer (unaffiliated with SCE) was fatally shocked and burned when his metal trimming tool came into contact with an overhead conductor. | Closed
20190627-01 | PG&E | Media Coverage | Overhead conductors | A vegetation fire occurred that spread to 2,500 acres. Cal Fire's report implicates PG&E wires down as an ignition source. | Closed
20190628-01 | PP&L | Property Damage | Overhead primary conductors | A fire occurred that resulted in about $150,000 in property damage. The cause of the fire is unknown, but a blown fuse and lightning arrestor were found at the base of a utility pole in the burned area. | Closed
20190629-01 | PG&E | Media Coverage/Injury | 21 kV overhead conductors | An oak tree fell into power lines, resulting in a several conductors falling onto the highway. One of the conductors knocked a motorcyclist off his bike, seriously injuring him. This incident also resulted in traffic delays on Highway 1 and media attention. | Closed
20190710-01 | PG&E | Property Damage | 12 kV overhead conductors | A mylar balloon made contact with PG&E overhead conductors. This resulted in a fire that damaged two poles and an outage that affected approximately 4,150 customers. | Closed
20190715-01 | SDG&E | Media Coverage | 4 kV distribution circuit | A power outage affected approximately 2,000 SDG&E customers. The cause of the power outage has not yet been determined. | Closed
20190719-01 | PG&E | Media Coverage | 12 kV overhead conductors | A truck crashed into a utility pole, knocking it down. This resulted in a "wire down" situation and a power outage that affected about 1,155 PG&E customers. | Closed
20190721-01 | SCE | Injury | Substation | A man scaled the fence of Aqueduct Substation and vandalized SCE equipment. His activities resulted in a power interruption, which caused SCE personnel to respond. SCE staff found the man in the substation with burn injuries. He fled on foot but was later apprehended by police and air-lifted to a nearby hospital for treatment. | Closed
20190722-01 | SCE | Injury | 4 kV overhead conductors | A private tree trimmer contacted overhead conductors while elevated on a boom truck. He sustained burn injuries and was transported to Cottage Hospital. | Open
20190722-02 | PG&E | Property Damage | Service drop | A recreational vehicle drove through a residential service drop. This resulted in the vehicle catching fire and one customer losing power. | Closed
20190722-03 | SCE | Injury | 12 kV underground conductor | A man suffered arc flash injuries when he cut into an energized 12 kV insulated conductor, possibly attempting to harvest the copper inside. The conductor was in a splice box in a unused commercial property in Huntington Beach. | Closed
20190722-04 | PG&E | Injury/Death | Transmission tower | Two PG&E employees were injured near Highway 70, one fatally, when they fell from a height of approximately 35 feet while working on a transmission tower. | Closed
20190725-01 | PG&E | Fatality | 12 kV overhead conductor | A forklift operator was electrocuted when his forklift contacted 12 kV overhead conductors. | Closed
20190728-01 | SCE | Property Damage | 66 kV overhead conductor | Two birds made contact between a 66 kV overhead conductor and the crossarm supporting it. This caused the birds to catch fire and fall to the ground, resulting in a brush fire. The fire resulted in about 110 acres of brush burned and fire damage to one residence. | Closed
20190730-01 | PG&E | Property Damage | Distribution circuit | The Campbell Police Department alleges that a power surge on May 25, 2019 resulted in damage to their equipment that exceeds $120,000. | Closed
20190731-01 | SCE | Media Coverage | 12 kV overhead conductors | A vehicle struck a utility pole, causing power lines to fall across the Interstate 10 freeway. This resulted in the temporary closure of the freeway and media coverage of the incident. | Closed
20190802-01 | SCE | Media Coverage | Substation | A fire occurred at Cabrillo Substation that resulted in a large power outage that affected the John Wayne Airport in Orange County. | Open
20190806-01 | PG&E | Property Damage | 12 kV overhead conductors | Unspecified property damage occurred due to the "Parkfield Fire", started by PG&E overhead conductors contacting a street light. The fire occurred on July 8, 2017, but the complaint was not received until August 6, 2019. | Closed
20190808-01 | SCE | Injury | Truck | An SCE troubleman responded to a downed pole that was struck by a car near Little Rock in Los Angeles County. While in the process of clearing the damaged pole, he fell from an elevated position from his truck, suffering orthopedic injuries. There is no indication of any contact with energized facilities related to this incident. | Closed
20190815-01 | PG&E | Property Damage | Overhead Conductors | Two spans fell while planned work was being performed. One of the spans fell on the underbuilt circuit, causing unspecified damage that is expected to exceed $50,000. | Closed
20190816-01 | PG&E | Media Coverage | Substation | A momentary power outage occurred during a switching procedure at Ignacio Substation in the city of Novato. The outage affected approximately 54,000 customers. | Open
20190816-02 | PG&E | Property Damage | Utility Pole | A fire originating at a PG&E utility pole resulted in a structure fire in Fresno. | Closed
20190818-01 | SCE | Fatality | 12 kV overhead conductors | A tree trimmer was electrocuted when he came into contact with 12 kV overhead conductors via a palm frond he was moving. | Open
20190830-01 | PG&E | Property Damage | Distribution circuit | A customer alleges that PG&E equipment damaged their home's electrical system. | Closed
20190902-01 | PG&E | Media Coverage | 12 kV overhead conductors | A contractor contacted PG&E overhead conductors, causing the conductor to fall on the freeway and railroad tracks. No deaths, injuries, or significant damage resulted, although an outage occurred that affected about 114 customers. | Closed
20190904-01 | SCE | Media Coverage | 33 kV overhead conductors | A fire occurred near SCE facilities, the "Tenaja Fire". The cause of the fire is unknown at this time. | Open
20190906-01 | PG&E | Media Coverage | Distribution circuit | A power outage occurred that affected about 3,000 customers. Cause unknown. | Closed
20190907-01 | PG&E | Property Damage | 12 kV overhead conductor | A line-to-ground fault resulted in the complete destruction by fire of a barn and all the equipment inside. | Closed
20190916-01 | PP&L | Property Damage | 69 kV overhead conductor | A wire down may have sparked a fire that scorched 30 acres in Scott Bar. | Closed
20190916-02 | PG&E | Media Coverage | 12 kV overhead conductor | PG&E experienced an outage on the Jarvis 1101 12kV Distribution Circuit on Industrial Parkway in Hayward, impacting approximately 3,210 customers as well as BART. According to reports from the on-scene fire department, PG&E wire was down across the BART tracks, halting trains. | Closed
20190917-01 | PG&E | Injury | 12 kV circuit | A man sustained burns after allegedly attempting to tap into a PG&E power pole. | Closed
20190919-01 | SCE | Injury | 12 kV overhead conductor | A forklift operator contacted overhead conductors with his forklift. Initial reports indicated that he suffered burn injuries as a result, but subsequent information indicates that any injuries he suffered were minor and he was released from the hospital that same day. | Closed
20190920-01 | PG&E | Media Coverage | Underground conductor | A power outage affecting 20,000 customers occurred when a construction worker accidentally dug into an underground primary conductor. | Closed
20190929-01 | PG&E | Media Coverage | Substation | A power outage occurred that affected approximately 50,000 customers from Berkeley to Oakland. | Closed
20190930-01 | PG&E | Media Coverage | Distribution circuit | A power outage occurred that affected approximately 13,000 customers. | Closed
20191002-01 | PG&E | Injury | 12 kV Circuit | A third party individual made contact with an energized conductor and was injured. | Closed
20191005-01 | SCE | Injury | Transformer | An underground transformer exploded, injuring two people nearby as well as two responding fire fighters. | Open
20191007-02 | SCE | Media Coverage | Crane | A crane subcontracted to perform a pole replacement for SCE tipped over, damaging one home and resulting in one minor injury. | Closed
20191008-01 | SCE | Injury | Overhead circuit | A contractor working on a cut-over project suffered burn injuries when an arc flash occurred. | Open
20191011-01 | SCE | Media Coverage | Transmission Circuit | A transmission circuit relayed around the same time and location that the Saddleridge Fire began. | Open
20191011-02 | PG&E | Fire | 115 kV circuit | PG&E equipment may have sparked a brush fire on San Bruno Mountain. | Closed
20191015-01 | SCE | Injury | 12 kV circuit | An individual was injured when he made contact with overhead electrical facilities. | Open
20191023-01 | PG&E | Property Damage | 21 kV circuit | A claim was filed against PG&E for a fire allegedly started by utility equipment on October 8, 2017. | Closed
20191024-01 | PG&E | Media Coverage | 230 kV circuit | A transmission circuit relayed and did not reclose. CalFIRE taped off the area and reported a broken jumper wire on a transmission tower. | Open
20191025-01 | SCE | Injury | 16 kV overhead conductor | An unlicensed, unbonded tree trimmer made contact with an overhead conductor in Manhattan Beach, resulting in burn injuries. | Open
20191025-02 | SCE | Media Coverage | 16 kV circuits | A fire occurred in Rosemead around the same time two local circuits experienced an interruption. | Open
20191027-01 | PG&E | Media Coverage | 12 kV overhead conductor | Contact between a lashing wire and a live secondary conductor may have been the ignition source for a fire in Lafayette. | Closed
20191027-02 | PG&E | Media Coverage | Overhead circuit | A fallen utility pole and transformer may have sparked a fire in Lafayette. | Closed
20191028-01 | PG&E | Property Damage | Overhead conductor | A wire down may have ignited a fire in Milpitas. | Closed
20191028-02 | SCE | Media Coverage | 16 kV circuit | A relay occurred out of Valdez Substation and may be related to the ignition of the "Oak Fire". | Closed
20191030-01 | PG&E | Media Coverage | 21 kV circuit | PG&E equipment may have started the Santiago Fire on Bethel Island. East Contra Costa Fire Protection District is investigating. | Closed
20191030-02 | PG&E | Media Coverage | 21 kV circuit | East Contra Costa Fire Protection District is investigating PG&E facilities as a potential ignition point for the Cypress Fire in Oakley which occurred on October 27, 2019. | Closed
20191030-03 | SDG&E | Media Coverage | 4 kV overhead circuit | SDG&E overhead equipment failed and started a small fire. No injuries or damage to structures resulted from the fire. | Open
20191030-04 | SCE | Media Coverage | 16 kV circuit | An SCE distribution circuit in Calabasas relayed around the same time a fire was reported in the same area. | Open
20191030-05 | SCE | Media Coverage | 66 kV circuit | "Circuit activity" occurred around the same time that the large "Easy Fire" started. | Open
20191031-01 | SCE | Media Coverage | 16 kV circuit | The "Maria Fire" started in Santa Paula just as SCE was re-energizing the area after a Public Safety Power Shutoff event. No unusual circuit activity was detected. | Closed
20191101-01 | PG&E | Property Damage | 12 kV circuit | Someone filed a claim on October 24 against PG&E for alleged damage caused by a fire allegedly started by PG&E facilities. | Open
20191101-02 | PG&E | Media Coverage | 12 kV circuit | PG&E facilities ignited a fire in Martinez. | Closed
20191102-01 | PG&E | Injury | 500 kV circuit | Two PG&E employees were injured when a flash occurred while working on overhead primary lines. One employee was discharged from the hospital on the same day, but the other required overnight hospitalization. | Closed
20191107-01 | PG&E | Media Coverage | 21 kV circuit | PG&E facilities may have ignited the Glen Cove Fire in Vallejo on October 27. | Closed
20191112-01 | PG&E | Media Coverage | Substation | A power outage occurred due to an issue with equipment at Templeton substation. The outage lasted about 35 minutes and affected approximately 19,300 customers. | Closed
20191113-01 | PG&E | Property Damage | 12 kV circuit | Someone filed a claim of about $100,000 for fire damage to a structure that occurred on October 26 and may have been caused by PG&E facilities. | Closed
20191123-01 | PG&E | Injury | 21 kV overhead conductor | A tree trimmer received a shock when he came into contact with a 21 kV overhead conductor. The Atascadero fire department responded and took him to a nearby hospital. The accident also resulted in a power outage that affected approximately 3 customers. | Closed
20191130-01 | SCE | Injury | 12 kV overhead conductor | A tree trimmer sustained injuries when his tree-trimming tool made contact with an overhead primary conductor. | Open
20191202-01 | PG&E | Property Damage | Transformer bank | A transformer bank failed at Colusa Substation, resulting in an outage that affected approximately 2,150 customers for about three hours. PG&E estimates that the cost of the damage to the trainsformers will exceed $50,000. | Closed
20191205-01 | PG&E | Fatality | Service drop | A structure fire occurred in Novato that led to a fatality within the structure. The cause of the fire is unknown at this time. | Closed
20191205-02 | PG&E | Property Damage | 12 kV circuit | PG&E received a claim for damage exceeding $50,000 as a result of a fire that allegedly started due to unspecified PG&E facilities. | Closed
20191209-01 | PG&E | Property Damage | Service drop | A tree fell onto a service drop and allegedly started a structure fire that resulted in over $50,000 in damage. | Closed
20191212-01 | PG&E | Property Damage | 12 kV circuit | PG&E received a claim for a structure fire that occurred on November 6. The claim alleges that PG&E equipment may have started the fire and that the damages exceed $50,000. | Closed
20191223-01 | PG&E | Property Damage | Overhead conductor | PG&E received a claim for property damage that resulted from a fire that occurred on October 27, 2019. The fire started when vegetation made contact with an overhead secondary conductor. Damages due to the fire are alleged to exceed $50,000. | Closed
20200102-01 | SCE | Property Damage | Transformer | On February 8, 2018, an SCE transformer failed near Oxnard, which resulted in a voltage spike in a nearby medical facilty. A claim for the damages was filed in January 2020. | Open
20200109-01 | SCE | Property Damage | Transformer | A transformer failed, resulting in a pole fire which damaged overhead conductors and nearby properties. | Open
20200113-01 | PG&E | Fatalities | Unknown | Two teenagers lost their lives rescuing a dog from a canal in Dixon. The boys attempted to exit the river via a metal foot bridge that was somehow energized. Both boys died as a result of their injuries. The bridge may have been energized by defective PG&E facilities. | Open
20200116-01 | PG&E | Property Damage | 21 kV circuit | On January 6, 2019, a power outage and subsequent power surge occurred on the Del Monte circuit. Several claims have been filed for damage to appliances and other electronics. The total value of the claims exceeds $50,000. | Closed
20200116-02 | PG&E | Property Damage | Overhead circuit | On August 3, 2019, a tree limb fell on a PG&E primary line, causing a pole to break. A transformer on the fallen pole caused a fire that then spread to a private structure and resulted in approximately $115,000 in damage. A claim was filed on January 16, 2020 for the damage to the property. | Closed
20200119-01 | PG&E | Property Damage | None | Someone filed a claim on January 19, 2020 for property damage caused by a fire that was believed to have been started by PG&E facilities. On January 30, 2020 PG&E determined the fire was actually caused by a gas meter. ESRB rescinded the incident. | Closed
20200121-01 | PG&E | Property Damage | Distribution circuit | On January 21, 2020, PG&E became aware of a bankruptcy claim filed for a structure fire that occurred in July 2018. The fire may have been caused by PG&E facilities. | Open
20200124-01 | SCE | Injury | 12 kV underground conductor | A third-party contractor employee dug into a 12 kV underground conductor with his excavator. His injuries required hospitalization. | Closed
20200127-01 | SCE | Injury | 480 V underground conductor | An employee of a third-party contractor sustained burns from an arc flash when he drilled into a 480V underground conductor. | Open
20200203-01 | PG&E | Power Outage | Transformer | A transformer failed at Templeton Substation resulting in a power outage that affected approximately 21,000 customers in northern San Luis Obispo County for about nine and a half hours. | Closed
20200207-01 | PG&E | Property Damage | Transformer | PG&E received a claim for property damage that occurred on September 20, 2018. The claim alleges that a PG&E transformer caused a fire that resulted in the damage. | Closed
20200212-01 | PG&E | Media Coverage | Underground conductor | A failed conductor in a splice box led to a power outage that affected approximately 9,000 customers in San Francisco. | Closed
20200214-01 | PG&E | Property Damage | Service drop | Tree trimmers damaged a service drop, which caused damage to a detached garage and service panel. | Closed
20200214-02 | PG&E | Property Damage | 21 kV overhead conductor | PG&E received a claim for damage caused by a fire that was allegedly started by a wire down on October 27, 2019. | Closed
20200219-01 | PG&E | Operator Judgement | 60 kV overhead conductor | A paraglider crashed into a PG&E transmission conductor and got stuck there. The "pilot" did not sustain a shock, and he did not suffer any injuries of an electrical nature. The de-energization that facilitated his rescue resulted in a power outage that affected 6,500. | Closed
20200303-01 | PG&E | Injury | 12 kV conductors | A substation worker sustained burn injuries when he accidentally made contact with all three phases of a 12 kV circuit with his elbow while attempting to change a fuse. | Closed
20200303-02 | SCE | Media Attention | 12 kV overhead conductors | A mylar balloon made contact with overhead SCE lines, resulting in a wire down. This attracted more media attention than usual due to a concurrent natural gas leak in the area. | Open
20200310-01 | SCE | Injury | Padmounted transformer | A man suffered burn injuries when he cut into a 12 kV conductor on a padmounted transformer. SCE described his actions as vandalism. | Open
20200313-01 | PG&E | Property Damage | Transformer | A claim was filed for damage resulting from a September 18, 2019 house fire. The claim alleges that the fire started due to a voltage spike from a PG&E transformer that had been damaged from a lightning strike. | Closed
20200313-02 | SCE | Media Coverage | Overhead conductors | A small aircraft crashed through SCE overhead conductors, resulting in a wire down. Both the pilot and passenger perished in the crash. | Closed
20200317-01 | PG&E | Property Damage | 12 kV circuit | An October 27, 2019 wildfire was recently found to have been ignited by PG&E equipment. The damage is estimated to exceed $50,000. | Closed
20200318-01 | PG&E | Fatality | 21 kV overhead conductors | A tree trimmer was electrocuted when he or his tool came into contact with 21 kV overhead conductor. | Closed
20200319-01 | PG&E | Property Damage | 12 kV overhead conductors | A fallen tree limb resulted in a neutral wire down that led to a house fire. The damage to the home resulting from the fire is estimated to exceed $50,000. | Closed
20200403-01 | SCE | Fatality | Transformer bank | An unidentified male sustained fatal injuries in an apparent act of vandalism within above ground Structure No. 5007818 (a transformer bank) in a construction site in Duarte. | Closed
20200413-01 | PG&E | Injury | Underground utility box | A scooter rider crashed his or her scooter after riding over an underground utility box embedded in a side walk. The victim and their lawyer allege that the lid of the box was not sufficiently flat and flush with the sidewalk. | Closed
20200414-01 | PG&E | Property Damage | 12 kV underground conductor | A backhoe operated by a third-party construction company dug into a 12 kV underground conductor. This resulted in the destruction of a transformer and smoke damage to several homes. No house fires resulted from this incident. | Closed
20200415-01 | SCE | Injury | Crossarm | An employee of Henkles & McCoy (a contractor working for SCE) suffered mechanical injuries when a crossarm fell off a steel utility pole and pinned him against the pole. His injuries were not electrical in nature. | Open
20200420-01 | PG&E | Property Damage | Transformer | A faulty transformer connection lead to a fire in at least one building and damaged appliances in several others. | Closed
20200423-01 | SCE | Injury | Tree trimming | A tree trimmer working for SCE suffered a spine injury after falling from an elevated position while descending a palm tree. | Open
20200423-02 | PG&E | Property Damage | 12 kV overhead conductors | The raised bed of a dump truck made contact with 12 kV overhead conductors. This resulted in a wire down and a fire that destroyed the truck and other nearby equipment. This incident occurred on February 29, 2020. | Closed
20200423-03 | SCE | Injury | Streetlight | An SCE journeyman suffered fall injuries when he fell from an elevated work platform while working on a streetlight. | Open
20200427-01 | PG&E | Injury | Down guy | A cyclist suffered a broken leg after piloting his vehicle into a down guy wire. This incident occurred on October 17, 2016. | Closed
20200429-01 | PG&E | Property Damage | Unknown | PG&E facilities may have caused a structure fire on April 23, 2020. | Open
20200429-02 | PG&E | Property Damage | Unknown | PG&E received a claim for damages caused by an April 9, 2020 fire that damaged two homes. | Open
20200430-01 | SCE | Injury | Vault | A man suffered burn injuries when he cut into a 12 kV conductor located in an above-ground vault. SCE speculates that he was attempting to harvest materials for his recycling enterprise. | Open
20200506-01 | SCE | Injury | 16 kV underground conductor | A contractor damaged an underground 16 kV conductor with his jack hammer. Paramedics transported him to a nearby hospital for examination, but it appears he was not actually injured as a result of the incident. | Open
20200507-01 | PG&E | Power Outage | 70 kV overhead conductor | A power outage occurred affecting approximately 300 customers in Fresno. Investigation revealed that a 70 kV conductor had fallen to the ground. PG&E speculates that contact with an aircraft caused the conductor to fall, although no wreckage was present. | Closed
20200507-02 | PG&E | Fatality | 12 kV underground conductor | A third party individual was electrocuted while attempting to tap into a 12 kV underground conductor in Marysville. | Closed
20200507-03 | SCE | Operator Judgement | 16 kV overhead conductor | A fallen utility pole resulted in a brush fire that burned approximately 200 acres in Ventura County. | Open
20200511-01 | PG&E | Property Damage | 12 kV circuit | PG&E facilities may have started a fire that damaged a residential structure. | Closed
20200511-02 | PG&E | Property Damage | 12 kV overhead conductor | PG&E received a claim for property damage resulting from a September 12, 2018 structure fire. The claim alleges that PG&E facilities caused the fire. | Closed
20200512-01 | SCE | Injury | Riser | A man sustained injuries after cutting through a riser and into a primary conductor. | Closed
20200514-01 | SCE | Injury | Tree trimming | A tree trimmer working on behalf of SCE sustained gravity-induced injuries when he fell out of a tree he was trimming. | Open
20200518-01 | PG&E | Media Coverage | Transformer | A power outage affecting about 6,600 customers occurred in Chico due to a faulty transformer. | Closed
20200525-01 | PG&E | Power Outage | Junction Box | A power outage affecting about 6,000 customers occurred in San Ramon due to an equipment issue in a junction box. | Closed
20200527-01 | SDG&E | Power Outage | Substation Equipment | A power outage affecting about 13,000 customers for 2.5 hours occurred in San Diego when a bird caused a flash over at Cabrillo Substation. | Open
20200527-02 | SDG&E | Power Outage | Substation Equipment | A mylar balloon made contact with substation equipment and caused a power outage that affected about 9,000 customers. | Open
20200602-01 | PG&E | Fatalities | Transmission tower | A helicopter under contract by PG&E made contact with a transmission tower in Solano County. The accident resulted in a power outage that affected approximately 33,000 customers, a 5-acre brush fire, and the death of the helicopter pilot and two passengers. The incident also attracted a significant amount of media attention. | Open
20200604-01 | PG&E | Media Coverage | 500 kV overhead conductor | A mylar balloon made contact with a 500 kV overhead transmission conductor and may have started a small brush fire in San Jose. This incident caused no property damage, injuries, fatalities, or loss of power to customers. | Closed
20200604-02 | PG&E | Property Damage | Regulator | A regulator inside the Calaveras Cement Substation near San Andreas failed and caught on fire, resulting in an outage to 3,490 customers. There was a small grass fire outside of the substation that was extinguished immediately. Damage to the regulator is estimated to exceed $50,000. | Open
20200605-01 | PG&E | Injury | 12 kV overhead conductor | A line worker was injured when he cut into a 12 kV jumper while performing a pole transfer from an elevated work platform. | Open
20200611-01 | PG&E | Property Damage | 12 kV overhead circuit | A wire down in Bakersfield resulted in a small power outage and may have ignited a grass fire. The fire caused damage to a third-party semi-trailer truck and its freight that is estimated to exceed $50,000. | Open
20200613-01 | PG&E | Property Damage | Service drop | PG&E equipment may have started a fire that damaged a garage and a residence in San Francisco on June 12. | Open
20200614-01 | PG&E | Media Coverage | 12 kV overhead circuit | A wire down may have ignited a brush fire in Lompoc. The fallen wire also resulted in a power outage affecting 346 customers. | Open
20200619-01 | SCE | Property Damage | 4 kV circuit | SCE received a subrogation claim for a fire that occurred June 28, 2019. The claim alleges that SCE equipment started the fire, and that it caused property damage upwards of $200,000. | Closed
20200622-01 | PG&E | Property Damage | 12 kV Circuit | PG&E facilities may have started a structure fire in Daly City. The damage from the fire is estimated to exceed $50,000. | Closed
20200624-01 | PG&E | Injury | Manhole | PG&E received a claim for an injury that allegedly occurred on June 18. The claim alleges that a third-party pedestrian fell down a PG&E manhole. | Closed
20200628-01 | SCE | Power Outage | 12 kV Overhead conductors | A broken crossarm and downed overhead conductors resulted in a power outage affecting 1,590 customers in Bishop. SCE believes the damage to the conductors and the crossarm may have been caused by contact with a tree limb. | Closed
20200629-01 | PP&L | Property Damage | Customer facility | A customer-owned electrical panel and pump started a grass fire that then ignited a house. | Open
20200702-01 | SCE | Injury | 16 kV overhead conductor | An unidentified individual at a construction site suffered injuries when he made contact with energized overhead conductors with a metal object he was holding. | Open
20200704-01 | SCE | Fatality | Transmission tower | An unidentified individual climbed and then either fell or jumped from a transmission tower. The tower did not support any conductors at the time of the incident, and no electrical contact occurred. | Open
20200706-01 | PG&E | Fatality | 12 kV Overhead conductor | A man climbed a utility pole and touched one of the 12 kV conductors it supported, which resulted in his death. | Closed
20200706-02 | SCE | Operator Judgement | Secondary overhead conductors | A fire burned approximately five acres of brush near Santa Clarita. No structures were damaged and no injuries reported, but the fire allegedly started in the vicinity of an SCE pole that supported secondary conductors. | Open
20200707-01 | SCE | Injury | Utility Pole | An SCE contractor employee fell approximately 30 feet from a utility pole and suffered injuries as a result. | Open
20200708-01 | PG&E | Property Damage | Service drop | A tree branch fell on a service drop in Shasta. The fallen conductor started a fire there that burned down a detached garage and destroyed the vehicle inside. | Open
20200711-01 | PG&E | Property Damage | 12 kV Overhead conductors | A fire occurred in Stockton that caused damage to several vehicles and an apartment building. Fallen PG&E conductors were discovered in the vicinity after the fire was extinguished. | Closed
20200714-01 | PG&E | Injuries | Utility poles | Two contractor employees were injured when the poles they were working on fell down. | Closed
20200716-01 | PG&E | Property Damage | 12 kV Overhead conductors | A tree fell on PG&E overhead conductors, resulting in a fire that burned 35 acres including a building and several fences. | Closed
20200722-01 | SCE | Fatality | 4 kV overhead conductors | A contractor employee suffered burn injuries when he made contact with an energized 4 kV conductor while performing a pole replacement. He later succumbed to his injuries. | Open
20200722-02 | PP&L | Property Damage | Overhead circuit | A fallen overhead conductor may have ignited a fire in the Scott Bar area of Siskiyou County. | Open
20200723-01 | PG&E | Injury | Vault | An unauthorized individual gained access to a vault where he received an electric shock. He was later transported to a hospital via ambulance for treatment. | Closed
20200724-01 | PG&E | Property Damage | Customer facility | PG&E received a claim for property damage that allegedly occurred on February 24, 2020. | Closed
20200724-02 | PG&E | Property Damage | 21 kV circuit | A power outage occurred in Bakersfield that affected approximately 4,000 customers. Damage to customer-owned equipment resulting from the power outage is estimated to exceed $50,000. | Open
20200728-01 | PG&E | Property Damage | 12 kV circuit | A fire occurred on July 8, 2020, and may have been caused by PG&E equipment. The initial estimate of the damage was under $50,000, but a recent inspection by PG&E's claims staff has contradicted that. | Closed
20200728-02 | SCE | Injury | 12 kV circuit | A contractor employee suffered injuries to his pelvis when he fell approximately 40 feet from an elevated work platform. | Open
20200731-01 | SCE | Operator Judgement | 16 kV circuit | Fallen secondary conductors may have ignited the Shirley Fire, which burned several acres of brush in Canoga Park. | Closed
20200803-01 | PG&E | Injury | 12 kV overhead circuit | A tree trimmer sustained injuries when he or one of his tools made contact with a 12 kV overhead conductor on July 30, 2020. | Open
20200803-02 | PG&E | Injury | 12 kV overhead circuit | A contractor working on behalf of PG&E suffered burn injuries when he made contact with an overhead conductor. | Open
20200805-01 | SCE | Injury | 12 kV circuit | A man sustained burn injuries as he vandalized a padmounted structure. | Open
20200807-01 | SCE | Injury | Pulley | A falling pulley injured a contractor working on behalf of SCE in Santa Barbara. | Open
20200810-01 | PG&E | Property Damage | Secondary conductor | A fallen secondary conductor caused a fire that damaged a barn and several vehicles. | Closed
20200810-02 | PG&E | Injury | Transmission Circuit | A PG&E employee sustained burn injuries while working in the vicinity of an electrical transmission structure. | Open
20200813-01 | PG&E | Operator Judgement | 21 kV circuit | A military aircraft allegedly made contact with a span of overhead primary conductors, resulting in at least one wire down. | Closed
20200815-01 | PG&E | Media Attention | Transformer | A PG&E padmounted transformer failed, resulting in a small fire that further damaged the transformer and a nearby cable box. The failed transformer resulted in a power outage that affected about 1,700 customers, and the fire attracted media attention. | Open
20200815-02 | PG&E | Media Attention | 12 kV overhead circuit | A fallen conductor resulted in a small brush fire. | Open
20200818-01 | PG&E | Property Damage | Circuit Breaker | A failed circuit breaker at PG&E's Divide Substation resulted in a power outage for appoximately 3,000 customers. The cost to replace the circuit breaker is estimated to exceed $50,000. PG&E's initial report indicates that the circuit breaker may have been damaged by lightning. | Closed
20200821-01 | PG&E | Property Damage | Transformer bank | A failed transformer bank at PG&E's Las Positas Substation resulted in a power outage for approximately 13,000 customers. The cost of repairs to the transformer bank is estimated to exceed $50,000. PG&E's initial report indicates that the transfomers may have been damaged by lightning. | Open
20200821-02 | PG&E | Property Damage | Load Tap Changer | A failed load tap changer at PG&E's San Jose Substation resulted in a power outage for approximately 10,000 customers. The cost to replace the damaged equipment is estimated to exceed $50,000. | Open
20200831-01 | SCE | Property Damage | Utility Pole | A utility pole broke between the primary and secondary levels on February 16, 2019, resulting in a phase-to-phase contact between the primary and secondary circuits. SCE received a subrogation claim from one of the properties affected in excess of $50,000. | Open
20200901-01 | PG&E | Property Damage | Circuit Breaker | A circuit breaker in Milpitas Substation failed and caused a power outage that affected about 9,000 customers. Further investigation revealed that the circuit breaker could not be repaired, and would cost over $50,000 to replace. | Closed
20200902-01 | PG&E | Property Damage | Unknown | On July 16, 2020, PG&E received notification of a lawsuit on behalf of a property owner alleging that PG&E electric facilities caused a fire on July 10, 2019 that resulted in an unspecified amount of property damage in the area of Road 24 and Sunset Avenue in Madera. PG&E subsequently reviewed and confirmed, on September 2, 2020, a related fire report that alleged damages were in excess of the $50,000 threshold. | Closed
20200903-01 | PG&E | Property Damage | Substation | A lightning storm damaged equipment in a Tulare substation. The damage is estimated to exceed $50,000. | Open
20200905-01 | SCE | Injury | Padmounted transformer | Two workers suffered burn injuries while replacing some components on a pad mounted transformer. The flash occurred at the end of their task as they re-energized the transformer. | Open
20200906-01 | SDG&E | Media Coverage | Fire | The Valley Fire burned over 16,000 acres and destroyed at least 61 structures. The cause of the fire is unknown. | Open
20200907-01 | PG&E | Power Outage | Transformer bank | A faulty transformer bank at Piercy Substation resulted in a power outage that affected over 13,000 customers for about three hours. | Open
20200909-01 | PG&E | Property Damage | 12 kV circuit | PG&E equipment may have ignited a fire that damaged a residential building. | Open
20200909-02 | SDG&E | Injury | 12 kV overhead conductor | A non-utility worker was injured when a metal pole he was holding made contact with an energized overhead primary conductor at a construction site. | Open
20200911-01 | PG&E | Injury | 12 kV overhead conductor | A tree trimmer not affiliated with PG&E suffered injuries to his hand and back when his pole-saw came into contact with an overhead primary conductor. | Open
20200912-01 | PG&E | Injuries | 12 kV overhead conductor | Two tree trimmers not affiliated with PG&E received an electric shock while trimming a tree in Walnut Creek. | Open
20200914-01 | PG&E | Operator Judgement | 12 kV overhead conductors | A paraglider made contact with PG&E overhead primary customers, but was not injured. The incident resulted in a power outage that affected five customers. | Open
20200915-01 | SCE | Injury | 12 kV overhead conductor | A third-party employee was injured when the excavator he was touching made contact with an overhead primary conductor. The injured employee was standing on the ground and in contact with the excavator when the accident occurred. | Open
20200915-02 | PG&E | Property Damage | Distribution circuit | On September 15, 2020, PG&E reviewed a claim from a business located in Los Altos. The claim alleges that PG&E caused a power surge on June 22, 2020, damaging appliances and electronics in the building in excess of $50,000. | Open
20200915-03 | SCE | Operator Judgement | Overhead circuit | The US Forest Service requested that SCE remove a section of overhead conductors in the vicinity of the ignition site of the Bobcat Fire. A relay also occurred on the circuit around the same time the fire began. | Open
20200916-01 | SDG&E | Fatality | Unknown | An SDG&E contract worker died while inspecting electrical equipment. No witnesses were present when the incident occurred, and his body was discovered a significant distance away from all energized electrical equipment. It is unknown whether his death was caused by SDG&E equipment or natural causes. | Open
20200918-02 | PP&L | Property Damage | Unknown | A fire damaged the town of Happy Camp and its surrounding areas. The cause of the fire is unknown. | Open
20200922-01 | PG&E | Property Damage | 21 kV circuit | On September 22, 2020, PG&E Law-Claims received a claim for a property damage in excess of $50,000. The claim alleges that on August 14, 2020, unspecified PG&E equipment was involved in causing the damage. | Open
20200930-01 | PG&E | Property Damage | Unknown | On September 29, 2020, PG&E received a claim from a customer alleging that on June 5, 2020, PG&E work was responsible for a fire in the area of Klette Avenue in Fresno. The claim is seeking $200,000 in damages. | Open
20201007-01 | SCE | Property Damage | 12 kV overhead circuit | Overhead conductors ignited a palm tree as an SCE tree trimmer attempted to trim it. The fire went on to damage two residential structures. | Open
20201009-01 | PG&E | Fatalities | 12 kV circuit | On September 27, 2020, a wildfire began in Shasta County. This fire, which came to be known as The Zogg Fire, has consumed at least 56,338 acres and resuted in four fatalities and one injury. At least 27 structures have been damaged and 204 structures have been destroyed. Unusual circuit activity was detected in the area around the time the fire started, and CalFIRE has removed some PG&E equipment from the area for evidence. | Open
20201013-01 | PG&E | Property Damage | Unknown | On October 13, 2020, PG&E received a claim from a customer in Livermore alleging that PG&E facilities started a fire that damaged fencing on their property. Other customers in the area have also made claims related to the same fire, and the total sum of those claims exceeds $50,000. | Open
20201023-01 | PG&E | Property Damage | 12 kV circuit | PG&E received a property damage claim in the amount of $93,000 from a customer in the city of Lake Don Pedro alleging that PG&E's on-going power quality control problems have caused them to need to replace a power water pump and an electrical panel. | Open
20201026-01 | SCE | Injury | 12 kV overhead circuit | SCE overhead distribution and communications facilities may have been involved in the ignition of the Silverado Fire in Orange County. The fire burned over 13,000 acres, destroyed three structures, and damaged five others. Two firemen sustained serious burns during their containment efforts. | Open
20201028-01 | SCE | Injury | 220 kV overead circuit | Two contractor linemen sustained minor electrical burns while attempting to remove a grounding device from a newly-installed transmission conductor in Piru. | Open
20201102-01 | PG&E | Property Damage | 12 kV circuit | On October 24, 2020, a fire occurred that resulted in the complete loss of a mobile home and two structures in Suisun City. A claim has not yet been filed, but PG&E was recently put on notice that one would be submitted. The damage to property was determined to be greater than $50,000. | Open
20201102-02 | SCE | Property Damage | 16 kV overhead conductors | On September 5, 2020, the Deerfield 16 kV distribution circuit out of Ravendale Substation experienced an interruption. Downed primary conductors were discovered which reportedly ignited a vegetation fire that progressed to two nearby residential structures. SCE recently received a subrogation claim which identified property damage in excess of $50,000 from an insurance carrier on behalf of the property owners. | Open
20201104-01 | BVES | Power Outage | Recloser | An auto-recloser tripped and locked out for unknown reasons. This caused a service interruption that affected 24,500 customers for about ninety minutes. | Open
20201109-01 | PG&E | Property Damage | 12 kV overhead conductors | PG&E received a claim exceeding $50,000 on June 4, 2020. On that date, a third-party harvester made contact with PG&E's Eel River 1102 12kV Distribution circuit. Injuries were reported, but PG&E is not aware of any overnight hospitalization at this time. The claim was for damage to the harvester. | Open
20201113-01 | PG&E | Property Damage | Primary circuit | On November 13, 2020, PG&E received a property damage claim in excess of $50,000 from a customer located in the city of Kingsburg. The claim alleged that damage to customer-owned surge arrestors and bushings occurred on June 10, 2020 at approximately 1430 hours. | Open
20201116-01 | PG&E | Property Damage | 12 kV overhead conductors | On November 16, 2020, PG&E reviewed a claim from a law firm representing a customer's insurance company. The notification alleges that on October 26, 2020 at approximately 0720 hours, downed PG&E conductors caused a fire at a residence in Hayward. | Open
20201117-01 | LU | Property Damage | Primary circuit | A fire damaged electrical distribution facilities, and the damage may exceed $50,000. Liberty opted to de-energize part of their service area in response to the fire. | Open
20201125-01 | PG&E | Property Damage | 12 kV overhead conductors | On November 25, 2020, PG&E Law-Claims received a property damage claim in excess of $50,000. The claim alleges that a structure was damaged on October 1, 2020 due to vegetation contacting PG&E facilities, which caused wires to fall and ignite a fire that damaged the structure. | Open
20201130-01 | PG&E | Operator Judgement | 12 kV overhead circuit | An airplane struck and damaged two spans of 12 kV overhead conductors, resulting in a power outage for five customers. The plane reportedly returned to the airport after the strike. No injuries or deaths resulted from the incident. | Open
20201201-01 | PG&E | Property Damage | Service drop | On December 1, 2020, PG&E received a property damage claim for $122,000 for a fire that resulted in the loss of a structure. The claim alleges that PG&E equipment caused the fire in Chowchilla on June 18, 2020. The responding troubleman observed a burned customer-owned pole and a fallen PG&E service drop. | Open
20201202-01 | PG&E | Property Damage | Distribution circuit | On December 2, 2020, PG&E received multiple claims for an incident that allegedly occurred on October 28, 2020 in Lodi. The claims allege that PG&E equipment damaged customers' appliances and SmartMeters. | Open
20201202-02 | PG&E | Property Damage | Service drop | On December 2, 2020, PG&E received a notice of a potential claim for property damage exceeding $50,000 for a structure fire that took place on November 23, 2020 in Salinas. The responding PG&E troubleman arrived on-scene and observed a structure fire and a downed service drop. As the troubleman was winding up the service drop, he observed that the neutral was broken. | Open
20201202-03 | PG&E | Injury | Overhead transmission circuit | A PG&E employee was performing planned grounding work on the Poe-Rio Oso 230 kV overhead transmission line in Oroville when he made contact with the ungrounded end of a ground jumper. This resulted in burn injuries to both hands. | Open
20201203-01 | SCE | Media Coverage | Overhead conductors | On December 3, 2020 around 2:05 a.m., a fire was reported in Nuevo in Riverside County. The Cerritos Fire went on to burn approximately 200 acres. Downed SCE conductors under a fallen tree were reported in the burn area. | Open
20201203-02 | PG&E | Property Damage | Overhead transmission circuit | On December 3, 2020, PG&E received a notice of a claim for property damage exceeding $50,000 for an outage that impacted a campground on Lake Almanor just east of the town of Chester. The claim alleges that a PG&E vegetation management contractor was performing tree work when a tree fell into a transmission line causing a power outage. | Open
20201203-03 | PG&E | Property Damage | Distribution circuit | On December 3, 2020, PG&E received a claim for property damage exceeding $50,000 from an outage in Burlingame on August 22, 2019. The claimant alleges the outage caused damage to electrical equipment and appliances. | Open
20201203-04 | PG&E | Property Damage | Utility pole | On December 3, 2020, PG&E reviewed claims exceeding $50,000 stemming from an incident that took place on June 23, 2020. The claims allege that PG&E installed a pole in San Francisco and that the pole contacted and broke the sewer main resulting in sewage spilling to four different residential backyards. | Open
20201204-01 | PG&E | Property Damage | Transformer | On December 4, 2020, PG&E received a property damage claim exceeding $50,000 from an overhead transformer leak in Richmond that occurred on December 1, 2020. The claim alleges damages to a customer's parked vehicles, landscaping, and driveway. | Open
20201204-02 | SDG&E | Media Coverage | Utility pole | An SDG&E utility pole fractured near its base and fell into vegetation in San Marcos. It is believed a fuse on the top of the fallen pole sparked, igniting the brush around it. The ensuing fire burned approximately two to three acres. No property damage, injuries, or deaths resulted from the incident. | Open
20201204-03 | PG&E | Property Damage | Distribution circuit | On December 4, 2020 PG&E reviewed a property damage claim in excess of $50,000 relating to an outage that occurred at a campground on February 26, 2019 near Lake Almanor just east of Chester. The claim alleges that snow-loading involving PG&E equipment resulted in damage to the campground's facilities. | Open
20201204-04 | PG&E | Property Damage | Distribution circuit | On December 4, 2020, PG&E received notice of a claim exceeding $50,000 in property damage related to a power outage that occurred on November 24, 2020 in Oakland. The claim alleges that the power outage resulted in food spoilage. | Open
20201207-01 | SDG&E | Injury | 12 kV overhead conductors | A contractor working on a scaffolding made contact with a 12 kV line with an unknown object in Carlsbad. The injured party was taken to UCSD burn center. | Open
20201207-02 | SCE | Operator Judgement | Overhead conductors | On December 7, 2020 at approximately 11:44 AM, the Ventura County Fire Department reported a fire, known as the Cornell Fire, that burned approximately 175 acres in Santa Paula. Preliminary information indicates that a tree had fallen onto SCE overhead conductors in the burn area. | Open
20201208-01 | PG&E | Property Damage | Distribution circuit | On December 8, 2020, PG&E received notice of a property damage claim exceeding $50,000 related to an outage that occurred on February 24, 2019 in Gonzales. The claim alleges damage to pumps, motors and other electrical equipment. PG&E reports this was a duplicate report for a previously reported incident E20190219-01 | Closed
20201210-01 | PG&E | Property Damage | Circuit breaker | Technical problems at PG&E's Kern Power Plant Substation, located in Bakersfield, resulted in a sustained interruption to over 14,500 customers. A circuit breaker at the substation was severely damaged in the event and it was determined not to be repairable. PG&E is reporting this incident to the CPUC under the property damage criteria due to replacement cost of the circuit breaker estimated to exceed $50,000. | Open
20201211-01 | SCE | Property Damage | 500 kV transmission circuit | SCE is being sued for damages associated with the December 5, 2017 Creek Fire. SCE denies that its equipment was to blame, and, according to SCE, a report by the United States Forest Service supports that assertion. SCE states that the report implicates LADWP transmission facilities as the ignition source. | Open
20201212-01 | SCE | Injury | 500 kV transmission circuit | An employee of SCE contractor American Power sustained an injury to his hand when he made contact with a de-energized portion of the El Dorado-Mojave 500kV transmission circuit. The injured party was air lifted from the scene to an unidentified hospital in Las Vegas, NV. | Open
20201220-01 | PG&E | Injury | 12 kV overhead conductors | A PG&E employee received an electric shock while working near overhead conductors from an elevated work platform on December 10, 2020. The employee was transported to a nearby hospital and required overnight hospitalization. | Open
20201221-01 | PG&E | Property Damage | Transformer | On December 18, 2020, PG&E received property damage claims exceeding $50,000 related to an overhead transformer failure that occurred on November 30, 2020 in San Leandro. The claim alleges damage to the underbuilt communications equipment and the labor costs associated with the repair. | Open
20201223-01 | SCE | Injury | Primary metering cabinet | An employee of J. M. Eagle sustained injuries after making contact with energized equipment within a primary metering cabinet/panel. | Closed
20201226-01 | SCE | Injury | 16 kV overhead conductors | An individual sustained injuries when they contacted an overhead 16 kV conductor with a telescoping metal pole in Manhattan Beach. The individual was attempting to wash the second-floor windows of their home from the rooftop when the accident occurred. | Open
20201230-01 | PG&E | Property Damage | Distribution circuit | A power outage occurred on October 15, 2020 in the city of Marysville. On December 30, 2020, PG&E received a claim from a customer impacted by the outage. The claim alleges that the outage caused the customer to lose $55,000 worth of medicine. | Open
20201230-02 | PG&E | Property Damage | Unknown | A structure fire occurred in South San Francisco on October 26, 2020. On December 17, 2020, PG&E received a claim alleging that PG&E equipment started the fire and that the damage due to the fire exceeded $100,000. | Open
|  |  |  | Total Open Incidents: | 151