|  |
| --- |
| **Safety Incidents Open as of 1-1-2023 and Incidents Reported in 2022** |
|  |
| **Gas Incidents** |
|  |
| **(In Compliance with CA Public Utilities Code Section 911)** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Incident ID (YYYYMMDD-XXXX)** | **Facility Owner** | **Reason for Investigation** | **Facility Type** | **Brief Description of Incident** | **Open or Closed** |
| 20220104-3316 | SWG | Interruption | Valve | Closed valve caused an interruption in Apple Valley | Closed |
| 20220111-3317 | SoCalGas | Public Attention | Other | Multiple odor complaints in North Hollywood | Closed |
| 20220112-3318 | SDG&E | Public Attention | Other | Multiple odor complaints in El Cajon | Closed |
| 20220112-3319 | SoCalGas | Public Attention | Other | Multiple odor complaints in Seal Beach | Closed |
| 20220113-3320 | SDG&E | Public Attention | Other | Multiple odor complaints in El Cajon | Closed |
| 20220114-3321 | SWG | Interruption | Other | Excess flow valve caused an interruption during testing of customer service line in Hesperia | Closed |
| 20220117-3322 | SDG&E | Interruption | Regulator | Underpressure event causing interruption in Chula Vista | Closed |
| 20220119-3323 | SoCalGas | Public Attention | Other | Multiple odor complaints in Riverside | Closed |
| 20220120-3324 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton | Closed |
| 20220123-3325 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton | Closed |
| 20220123-3326 | SoCalGas | Public Attention | Other | Multiple odor complaints in Santa Monica | Closed |
| 20220125-3327 | SoCalGas | Media Coverage | Main | Third-party contractor struck 12-inch steel main causing gas leak and service interruption in Montebello | Closed |
| 20220127-3328 | SoCalGas | Interruption | Other | Third-party contractor struck a 3-inch plastic main causing gas release in Anaheim | Closed |
| 20220127-3329 | SoCalGas | Public Attention | Other | Multiple odor complaints in Woodland Hills | Closed |
| 20220129-3330 | PG&E | Interruption | Regulator | Overpressure event in Sonoma | Closed |
| 20220203-3331 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20220203-3332 | SDG&E | Media Coverage | Service Line | Third-party contractor struck a 0.5-inch plastic service causing a gas leak in San Ysidro | Closed |
| 20220205-3334 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20220206-3336 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton | Closed |
| 20220208-3337 | SoCalGas | Public Attention | Main | Third-party contractor struck a 2-inch steel main causing a gas leak in Huntington Beach | Closed |
| 20220209-3338 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton | Closed |
| 20220217-3339 | SoCalGas | Damages > $50K | Customer Meter | Structure fire in Sylmar | Closed |
| 20220219-3340 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20220222-3341 | PG&E | Interruption | Main | Underpressure event causing interruption in San Jose | Closed |
| 20220301-3342 | PG&E | Interruption | Valve | Underpressure event causing interruption of distribution system in Gonzales | Closed |
| 20220303-3343 | SoCalGas | Public Attention | Other | Multiple odor complaints in San Luis Obispo | Closed |
| 20220307-3344 | SoCalGas | Public Attention | Other | Multiple odor complaints in Costa Mesa | Closed |
| 20220308-3345 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20220308-3346 | SDG&E | Public Attention | Other | Multiple odor complaints in Del Mar | Closed |
| 20220310-3347 | SoCalGas | Interruption | Regulator | 2in plastic main in Palm Springs was damaged by a water pipe creating service interruption | Closed |
| 20220311-3349 | SoCalGas | Media Coverage | Main | Third-party contractor struck a 4-inch plastic main causing gas release in Santa Maria | Open |
| 20220313-3350 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20220314-3351 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton | Closed |
| 20220314-3352 | SoCalGas | Public Attention | Other | Multiple odor complaints in Corona Del Mar | Closed |
| 20220315-3353 | SoCalGas | Media Coverage | Customer Meter | Structure fire in Desert Hot Springs | Closed |
| 20220316-3354 | SoCalGas | Public Attention | Other | Multiple odor complaints in Westminister | Closed |
| 20220317-3355 | SoCalGas | Media Coverage | Customer Meter | Structure fire in Downey | Closed |
| 20220317-3356 | SoCalGas | Public Attention | Other | Multiple odor complaints in Oxnard | Closed |
| 20220318-3357 | SDG&E | Media Coverage | Service Line | Third-party contractor struck a 1-inch plastic service causing a gas release in San Diego | Closed |
| 20220318-3358 | PG&E | Interruption | Regulator | Overpressure event in Salinas | Closed |
| 20220319-3359 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton | Closed |
| 20220325-3360 | SoCalGas | Media Coverage | Other | Odor complaint in Indio | Closed |
| 20220325-3361 | SoCalGas | Media Coverage | Main | Third-party contractor struck a 2-inch plastic main causing a gas release in Palm Springs | Closed |
| 20220401-3362 | SDG&E | Media Coverage | Main | Third-party contractor struck a 2-inch main causing a gas release in San Diego | Closed |
| 20220406-3363 | SDG&E | Media Coverage | Main | Third-party contractor struck a 2-inch steel main causing a gas leak in El Cajon | Closed |
| 20220408-3364 | SoCalGas | Public Attention | Regulator | Multiple odor complaints in Huntington Beach | Closed |
| 20220411-3365 | SoCalGas | Public Attention | Transmission | Multiple odor complaints in Murrieta | Closed |
| 20220411-3366 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lynwood | Closed |
| 20220412-3367 | SoCalGas | Media Coverage | Service Line | Third-party contractor struck a 0.5-inch plastic service line causing a gas release in Cathedral City | Open |
| 20220413-3368 | SDG&E | Public Attention | Other | Multiple odor complaints in Escondido | Closed |
| 20220418-3370 | SoCalGas | Public Attention | Other | Multiple odor complaints in Newport Beach | Closed |
| 20220419-3371 | SoCalGas | Damages > $50K | Customer Meter | Structure fire in Oxnard | Closed |
| 20220419-3372 | PG&E | Operator Judgement | Regulator | Overpressure event in Firebaugh | Open |
| 20220419-3373 | SDG&E | Other | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20220428-3374 | SDG&E | Media Coverage | Service Line | Third-party contractor struck a 0.75-inch steel service line causing a gas release in San Diego | Closed |
| 20220501-3375 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Alamitos | Closed |
| 20220502-3376 | SoCalGas | Media Coverage | Main | Third-party contractor struck a 2-inch plastic main causing a gas release in Santa Monica | Closed |
| 20220504-3377 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20220505-3378 | SoCalGas | Media Coverage | Customer Meter | Vehicle struck a meter causing a gas release in Los Angeles | Closed |
| 20220506-3379 | SDG&E | Media Coverage | Service Riser | Structure fire spread and damaged meter | Closed |
| 20220509-3380 | SDG&E | Media Coverage | Main | Third-party excavator did not use hand tools and damaged line | Closed |
| 20220512-3381 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20220513-3382 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20220513-3383 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20220517-3384 | PG&E | Other | Valve | Valve failed to isolate the system during low flow condition | Closed |
| 20220523-3385 | PG&E | Casualties or Inpatient Hospitalization | Main | Pig became dislodged and struck employees | Open |
| 20220529-3386 | SoCalGas | Public Attention | Other | Multiple odor complaints in Oxnard | Closed |
| 20220607-3387 | SoCalGas | Media Coverage | Regulator | Leak at regulator station on main. | Open |
| 20220610-3391 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lynwood | Closed |
| 20220611-3388 | SDG&E | Public Attention | Other | Multiple odor complaints in La Jolla | Closed |
| 20220612-3389 | SDG&E | Media Coverage | Customer Meter | Structure fire in San Diego damaged meter | Open |
| 20220613-3390 | PG&E | Interruption | Transmission | Third-party excavator damaged transmission line and service was interrupted to 1,200 customers | Open |
| 20220614-3392 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20220614-3393 | SoCalGas | Public Attention | Other | Multiple odor complaints in Nuys | Closed |
| 20220617-3394 | SDG&E | Media Coverage | Customer Meter | Gas service riser ruptured during work by SDG&E at customer meter | Closed |
| 20220625-3396 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach  | Closed |
| 20220627-3397 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach  | Closed |
| 20220628-3398 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach  | Closed |
| 20220629-3399 | SWG | Casualties or Inpatient Hospitalization | Customer Meter | Explosion unrelated to SWG facilities or natural gas | Open |
| 20220629-3400 | SoCalGas | Damages > $50K | Customer Meter | Structure fire unrelated to SoCalGas facilities damaged meter | Open |
| 20220703-3401 | SoCalGas | Damages > $50K | Customer Meter | Structure fire of unknown source damaged meter | Closed |
| 20220707-3402 | SoCalGas | Public Attention | Other | Multiple odor complaints in Seal Beach  | Closed |
| 20220711-3403 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach  | Closed |
| 20220712-3404 | SoCalGas | Operator Judgement | Main | Third-party contractor damaged main but less than reportable volume released | Closed |
| 20220715-3405 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach  | Closed |
| 20220717-3406 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach  | Closed |
| 20220721-3407 | SoCalGas | Interruption | Regulator | Low pressure alarm without underpressure to customers | Closed |
| 20220721-3409 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach  | Closed |
| 20220726-3410 | SDG&E | Media Coverage | Service Line | Third-party contractor misjudged the distance between backhoe and potholed gas service line  | Open |
| 20220727-3411 | SoCalGas | Public Attention | Other | Multiple odor complaints in Newport Beach  | Closed |
| 20220730-3412 | SDG&E | Interruption | Service Line | Under pressure event caused by water intrusion resulted in 15 customer outages | Closed |
| 20220801-3413 | SDG&E | Media Coverage | Service Line | Third-party contractor damaged service line - delineation of line markings being investigated | Open |
| 20220803-3414 | SoCalGas | Media Coverage | Customer Meter | Structure fire damaged meter | Open |
| 20220806-3416 | SoCalGas | Interruption | Regulator | Under pressure event resulted in 15 customer outages - water intrusion being investigated | Open |
| 20220812-3417 | SDG&E | Media Coverage | Service Line | Third party contractor damaged service line | Closed |
| 20220814-3418 | SoCalGas | Public Attention | Other | Multiple odor complaints in Newport Beach | Closed |
| 20220816-3419 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20220826-3420 | SDG&E | Public Attention | Other | Multiple odor complaints in Carlsbad | Closed |
| 20220829-3421 | PG&E | Other | Other | Overpressure event at gas load station in Fresno | Open |
| 20220901-3422 | PG&E | Other | Regulator | Overpressure event at regulator station in Eureka | Closed |
| 20220902-3423 | SoCalGas | Damages > $50K | Transmission | Leak found on Transmission line 85 near wildfire in Castaic and damages exceeding $129k | Open |
| 20220902-3424 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20220903-3426 | SoCalGas | Other | Regulator | Underpressure incident in Palmdale | Open |
| 20220903-3427 | GRGS | Operator Judgement | Other | Wellhead barrier compromised in Madera | Closed |
| 20220907-3428 | SDG&E | Public Attention | Other | Multiple odor complaints in Del Mar | Closed |
| 20220908-3430 | SoCalGas | Public Attention | Other | Multiple odor complaints in Carpinteria | Closed |
| 20220908-3431 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20220914-3432 | SoCalGas | Media Coverage | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20220914-3433 | SoCalGas | Public Attention | Other | Multiple odor complaints in Newport Beach | Closed |
| 20220915-3434 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles  | Closed |
| 20220920-3435 | SoCalGas | Interruption | Main | Interruption incident leading to outages by customers in Montclair | Open |
| 20220922-3436 | SoCalGas | Public Attention | Other | Multiple odor complaints in Downey | Closed |
| 20220924-3437 | SoCalGas | Media Coverage | Customer Meter | Vehicle drove into gas meter causing a gas release in Whittier | Closed |
| 20220926-3438 | SDG&E | Public Attention | Other | Multiple odor complaints in Imperial Beach | Closed |
| 20220927-3439 | SDG&E | Public Attention | Other | Multiple odor complaints in San Diego | Closed |
| 20220927-3442 | SoCalGas | Interruption | Other | Multiple odor complaints in Hermosa Beach | Closed |
| 20220930-3440 | PG&E | Other | Customer Meter | Overpressure event at large volume customer meter in San Ardo | Open |
| 20221001-3441 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20221008-3443 | PG&E | Media Coverage | Service Line | Leak in service Tee causes gas explosion in Sacramento | Open |
| 20221012-3444 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton | Closed |
| 20221015-3445 | SDG&E | Media Coverage | Customer Meter | Vehicle drove into gas meter causing a gas release in La Jolla  | Open |
| 20221019-3446 | PG&E | Other | Regulator | MAOP exceedance event in Gustine | Open |
| 20221019-3447 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lompoc | Closed |
| 20221020-3448 | SoCalGas | Public Attention | Other | Multiple odor complaints in Los Angeles | Closed |
| 20221021-3449 | SWG | Interruption | Service Line | Customer gas interrupted due to repairs in Victorville | Open |
| 20221022-3450 | SDG&E | Media Coverage | Customer Meter | Vehicle drove into gas meter causing a gas release in San Diego | Closed |
| 20221024-3451 | SDG&E | Media Coverage | Customer Meter | Vehicle drove into gas meter causing a gas release in San Diego | Closed |
| 20221025-3452 | SoCalGas | Public Attention | Other | Multiple odor complaints in Santa Barbara | Open |
| 20221028-3453 | SoCalGas | Public Attention | Other | Multiple odor complaints in Azusa | Closed |
| 20221109-3454 | SoCalGas | Public Attention | Other | Multiple odor complaints in Compton | Closed |
| 20221110-3455 | SDG&E | Media Coverage | Main | 2-inch steel main damaged in San Diego | Open |
| 20221110-3456 | SoCalGas | Media Coverage | Customer Meter | Vehicle drove into gas meter causing a gas release in Malibu  | Open |
| 20221111-3457 | Prop | Interruption | Main | AmeriGas supply issue in Sonora | Open |
| 20221114-3458 | SDG&E | Media Coverage | Service Line | 3rd party damage to gas line in Poway | Open |
| 20221114-3459 | SDG&E | Public Attention | Other | Multiple odor complaints near Evening Creek Dr. CA | Closed |
| 20221116-3460 | PG&E | Media Coverage | Main | 3rd party contractor damaged 4-inch steel main in Concord | Open |
| 20221117-3461 | SoCalGas | Public Attention | Other | Multiple odor complaints in Commerce | Closed |
| 20221118-3462 | SoCalGas | Media Coverage | Service Line | 3rd party contractor damaged 8-inch steel service line in Los Angeles | Open |
| 20221121-3463 | SoCalGas | Media Coverage | Other | Multiple odor complaints in Riverside | Closed |
| 20221121-3464 | SoCalGas | Media Coverage | Other | Multiple odor complaints in Compton | Closed |
| 20221123-3465 | SDG&E | Media Coverage | Service Line | 1/2-inch plastic service gas line damaged by a third-party contractor in San Diego | Open |
| 20221204-3466 | SoCalGas | Operator Judgement | Transmission | Transmission leak on 36-inch steel main in Victorville | Open |
| 20221211-3467 | SoCalGas | Public Attention | Other | Multiple odor complaints in Lynwood | Closed |
| 20221220-3468 | SoCalGas | Media Coverage | Main | Third-party contractor struck a 2-inch plastic main causing a release of gas in San Gabriel | Open |
| 20221220-3469 | PG&E | Interruption | Regulator | Transmission leak caused by 6.4 magnitude earthquake in Humboldt County | Open |
| 20221220-3470 | SWG | Interruption | Service Line | Customer meter was not reconnected following service line replacement causing interruption in Victorville | Open |
| 20221221-3472 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20221221-3473 | SoCalGas | Public Attention | Other | Multiple odor complaints in Hemet | Closed |
| 20221223-3474 | SoCalGas | Public Attention | Other | Multiple odor complaints in Huntington Beach | Closed |
| 20221228-3475 | SoCalGas | Public Attention | Other | Multiple odor complaints in San Clemente | Open |
| 20221228-3476 | SoCalGas | Media Coverage | Customer Meter | Vehicle struck a customer meter set causing a gas release in Glendora | Open |