## Change Log
PSDR_Template_CY 2022.xlsx
Change No. | Date | Worksheet | Reference Rows or Columns | Topic | Change
1 | 2022-12-01 | 1. Instructions | 1:12 | Event Schedule | Updated table to 2022 events.
2 | 2022-12-01 | 1. Instructions | 24:28 | Formatting and Navigation Instructions | Modified and added direction.
3 | 2022-12-01 | 1. Instructions | 29:33 | File Name convention | Updated to 2023 due date.
4 | 2022-12-01 | 3.CPUC Definitions | 7 | Cal OES Stage 1: Activating PSPS Protocols/Potential to De-energize* | Replaced use of term, "Monitoring mode". Requires utilities to define term in 6. Utility Definitions
5 | 2022-12-01 | 3.CPUC Definitions | 9, 10, 15 | Hyperlink URL | Tested and updated access date.
6 | 2022-12-01 | 3.CPUC Definitions | C17 | Hyperlink URL | Changed URL
7 | 2022-12-01 | 6.Utility Definitions | 9 | Cal OES Stage 1: Activating PSPS Protocols/Potential to De-energize* | Replaced term, "Monitoring mode"
8 | 2022-12-01 | 6.Utility Definitions | 13 | Definition of CRC locations | Added requirement for list and definition of each type of CRC location
9 | 2022-12-01 | 6.Utility Definitions | 14 | Definition of CRC types | Added requirement for list and definition of each CRC type
10 | 2022-12-01 | 6.Utility Definitions | 19 | In-person visit/notification | Added requirement that the utility define the term "in-person" with respect to notifications/visits
11 | 2022-12-01 | 7.Data Dictionary | C, D, F | Metric | Updated 2021 to 2022
12 | 2022-12-01 | 7.Data Dictionary | C17, C61 | In-person visit/notification | Added asterisk to instances of use of the phrase "in-person" to indicate that the utility should define in 6. Utility Definitions
13 | 2022-12-01 | 7.Data Dictionary | C36, D36 | Cal OES Stage 1: Activating PSPS Protocols/Potential to De-energize* | Replaced term, "Monitoring mode". Requires utilities to define term in 6. Utility Definitions
14 | 2022-12-01 | 8.Dashboard | all | Heading rows that don't require data input | Formatted rows in light grey to distinguish from data input rows
15 | 2022-12-01 | 8.Dashboard | A | Reporting year | Updated 2021 to 2022
16 | 2022-12-01 | 8.Dashboard | A | Definition annotations | Added color coding to asterisk for term definition in either 3. CPUC defn (red) or 6.Utility Definitions (black)
17 | 2022-12-01 | 8.Dashboard | A19, A74 | In-person visit/notification | Added asterisk to instances of use of the phrase "in-person" to indicate that the utility should define in 6. Utility Definitions
18 | 2022-12-01 | 8.Dashboard | B4 | Example of event name | Clarified example
19 | 2022-12-01 | 8.Dashboard | A | Circuits de-energized | Changed "circuit" to "circuit segment" to recognize that circuit segments are more often de-energized versus entire circuit
20 | 2022-12-01 | 8.Dashboard | III.A.1 | Cal OES Stage 1: Activating PSPS Protocols/Potential to De-energize* | Replaced use of term, "Monitoring mode"
21 | 2022-12-01 | 8.Dashboard | III.D.1-2 | Training | Clarified each metric to direct the response to the annual column
22 | 2022-12-01 | 8.Dashboard | III.E.1-5 | Exercises | Clarified each metric to direct the response to the annual column
23 | 2022-12-01 | 8.Dashboard | IV.D.1. | 1. Number of Accounts that were not de-energized after receiving a De-energization Notification | Reworded to clarify "after receiving a de-en notification" but not a subsequent cancellation notification
24 | 2022-12-01 | 8.Dashboard | V.B.2-3 | Portals | Clarified each metric to direct the response to the annual column
25 | 2022-12-01 | 8.Dashboard | VIII.A.7-8 | CFCI | Clarified each metric to direct the response to the annual column
26 | 2022-12-01 | 8.Dashboard | V.A.5 | Notifications | Clarified to: 5. Number of PSP notifications that were not issued within the timeframes established by CPUC regulations
27 | 2022-12-01 | 8.Dashboard | VII.A | Frequency of Circuit De-energized in PSPS | Added "in PSPS" to distinguish de-en of these circuits from other outages
28 | 2022-12-01 | 8.Dashboard | VII.B | Duration of Circuits De-energized in PSPS | Added "in PSPS" to distinguish de-en of these circuits from other outages
29 | 2022-12-01 | 10.Distribution | B3 | Circuit Name | Changed to Circuit Segment Name to recognize that circuit segments are more often de-energized versus entire circuit
30 | 2022-12-01 | 13.Tribes | C | Circuit Segment Name | Added Circuit segments (list one circuit per row)
31 | 2022-12-01 | 14.CONF- CFCI | E3 | Circuit Name | Changed to Circuit Segment Name to recognize that circuit segments are more often de-energized versus entire circuit
32 | 2022-12-01 | 14.CONF- CFCI | N | Backup generation | Added question: Does facility have its own back up power? (yes/no)
33 | 2022-12-01 | 16.Mitigation | B4 | Circuit Name | Changed to Circuit Segment Name to recognize that circuit segments are more often de-energized versus entire circuit
34 | 2022-12-01 | 17.CRCs | C | Type of Location | Added to description of CRC. Defined by utility in 6.Utility Definitions
35 | 2022-12-01 | 18.Damages | B3 | Circuit Name | Changed to Circuit Segment Name to recognize that circuit segments are more often de-energized versus entire circuit
36 | 2022-12-01 | 19.Hazards | C | Circuit | Added Circuit Segment Name
37 | 2022-12-01 | 20.Claims | B3 | Circuit Name | Changed to Circuit Segment Name to recognize that circuit segments are more often de-energized versus entire circuit
38 | 2022-12-01 | 21. EM and Exercises | B3, Table 2 | Table #2 | Clarified instructions for Table #2 as for Actual event, not an exercise
39 | 2022-12-01 | 21. EM and Exercises | Table 3, Col. F | Training | Added metric for Number of Personnel Trained

## 1.Instructions
EVENTS TO DATE, JANUARY 1 2022 - DECEMBER 31 2022
Utility | Event Name/ Date of De-en | Beginning | End
SCE | Cancelled | 2022-06-17
SCE | 2022-07-22 | 2022-07-22 | 2022-07-23
SCE | Cancelled | 2022-09-09
Liberty | Cancelled | 2022-10-21 | ​
​SCE | ​Cancelled | ​10/22/2022 | ​
​PG&E | ​Cancelled | ​10/22/2022 | ​
​SCE | ​Cancelled | ​10/23/2022 | ​
SCE | 2022-11-18 | 2022-11-19 | 2022-11-20
SCE | 2022-11-24 | 2022-11-24 | 2022-11-25
NOTE:
Workbook is for actual de-energizations only.
INSTRUCTIONS:
See detailed Instructions in Word doc.
Final Submission Version:
1. Do not merge cells.
2. Do not lock cells or protect worksheets.
3. Unfreeze all panes and remove filtering from every worksheet.
4. Ungroup dashboard
5. Remove highlighting artifacts added by the utility author(s).
6. Name file according to the following convention:
syntax: | <Utility Abbreviation>_PSDR_<Submission Date>
examples:
PGE_PSDR_3-1-2023
PacifiCorp_PSDR_3-1-2023
Topical Worksheets:
7. Populate all topical worksheets with data from all implemented PSPS events
Dashboard worksheet:
8. Use the Group/Ungroup feature to manage the relevant set of metrics you want to work with.
9. Direct input data into columns B through L as applicable.
10. Formula reference cells will auto populate if data is properly entered into the data source cells.
11 Trendline formulas will be added after submission.
12. Use the "Annual or Cumulative" Total column where indicated in the Metrics column.

## 2.Acronyms
Acronym | Stands For
AFN | Access and Functional Needs
CFCI | Critical Facilities and Critical Infrastructure
CSP | Communications Services Provider
EM | Emergency Management
EOC | Emergency Operations Center
ERRA | Energy Resource Recovery Account
GIS | Geographic Information System
HFTD | High Fire-Threat District
JPG | JUPSPSWG
JUPSPSWG | Joint Utility Public Safety Power Shutoff Working Group
LL and BP | Lessons Learned and Best Practices
MBL | Medical Baseline
NIMS | National Incident Management System
PER | Post-Event Report
PII | Personally Identifiable Information
POC | Point of Contact [Utilities use POC to mean "Period of Concern" in a PSPS event]
POSTSR | Post-Season Report
PRESR | Pre-Season Report
PSDR | Post-Season Data Report
PSP | Public Safety Partner
PSPS | Public Safety Power Shutoff
SED | Safety and Enforcement Division
SEMS | Standardized Emergency Management System
WMP | Wildfire Mitigation Plan

## 3.CPUC Definitions
DEFINITIONS
Terms marked with a red asterisk in the Topical worksheets are defined here.
Term | Reference Worksheet | Definition
Accounts | Various | Service points or meter
AFN | Various | See AB 477, effective 9/4/2019
Cal OES Stage 1: Activating PSPS Protocols/Potential to De-energize | 6.Utility Definitions, 7. Data Dictionary, 8. Dashboard | Utility required to define term as they use it in 6. Utility Definitions Utility definition meets some or all of the following criteria • “Forecast period” • 72 to 0 hours before de-energization (ideally) • Threshold Conditions forecast with high degree of certainty • Utilities refer to the actual or potential de-energized time span as the “period of concern” or “weather event”. • Pre-De-energization Actions taken • EOC Activated • Notifications provided to state agencies and Cal OES
CARE | Various | CARE is a state mandated program. As determined by PU Code Section 739.1(a), annual household must be no greater than 200% of the federal poverty guideline levels.
CFCI type | 14. CONF-CFCI | Worksheet "4. Defn CFCI" and https://www.cisa.gov/critical-infrastructure-sectors (accessed 12/13/22)
De-energization Exercise Type | 21. EM and Exercises | See description of exercises in the HSEEP Manual, Jan. 2020 at https://www.fema.gov/sites/default/files/2020-04/Homeland-Security-Exercise-and-Evaluation-Program-Doctrine-2020-Revision-2-2-25.pdf, pp. 2-6 to 2-11 (accessed 12/13/22)
EV charging station levels | 8. Dashboard | Level 1 Charging: 120-Volt; Connectors Used: J1772, Tesla; Charging Speed: 3 to 5 Miles Per Hour Level 2 Charging: 208-Volt to 240-Volt; Connectors Used: J1772, Tesla; Charging Speed: 12 to 80 Miles Per Hour Level 3 Charging: 400-Volt to 900-Volt (DC Fast Charge & Supercharging); Connectors Used: Combined Charging System (Combo), CHAdeMO & Tesla; Charging Speed: 3 to 20 Miles Per Minute
FERA | Various | FERA is a program established by the Commission for households of three or more having incomes between 200% and 250% of federal poverty guidelines. PU Code Section 739.12
Full-Scale Exercise | 7. Data Dictionary, 21. EM and Exercises | See De-energization Exercise Type above
Functional Exercise | 7. Data Dictionary, 21. EM and Exercises | See De-energization Exercise Type above
HFTD Tier | Various | Tier 1 (High Hazard Zone), 2, and 3 are explained here: https://www.cpuc.ca.gov/industries-and-topics/wildfires/fire-threat-maps-and-fire-safety-rulemaking (accessed 12/13/22)
Life support | Various | "...those customers that require critical life support equipment at their home." Ibid., p. 43. PG&E uses the terms life support; SCE and SDG&E use the term critical care.
MBL | Various | Defined in D.19-05-042. Established in the State Baseline Act of 1976 (PU Code Section 739 (c). Residential customers who have special medical needs and/or are dependent on life-support equipment. "Life support equipment" means equipment that uses mechanical or artificial means to sustain, restore, or supplant a vital function, or mechanical equipment that is relied upon for mobility both within and outside of buildings. This includes: § All types of respirators, iron lungs, hemodialysis machines, suction machines, electric nerve stimulators, pressure pads and pumps, aerosol tents, electrostatic and ultrasonic nebulizers, compressors, IPBB machines and motorized wheelchairs. Also, in consideration of their increased heating and cooling needs, the Medical Baseline allowance is available to: Paraplegics and quadriplegics, multiple sclerosis patients, scleroderma patients, and people being treated for a life threatening illness or who have a compromised immune system. (https://www.cpuc.ca.gov/consumer-support/financial-assistance-savings-and-discounts/medical-baseline (accessed 12/13/22)
Mitigation (PSPS) | 16. Mitigation | Backup generation, Backup storage, Dx microgrid, Islanding, Patrols, Sectionalization, Switching, Temporary substation microgrid, Tx switching, Vegetation management (expedite priority trees that prevent circuit from being removed from scope)
Monitoring stage | Data Dictionary | Occurs Utility meteorology monitors weather patterns seven days ahead Utility provides seven-day proactive de-energization potential rolling forecast or implements an escalating notification system similar to the National Weather Service’s “weather watch” and “weather warning” system on its public website.
Public Safety Partner | Various | See worksheet "5. Defn PSP"
Table Top Exercise | 7. Data Dictionary, 21. EM and Exercises | See De-energization Exercise Type above

## 4.Defn CFCI
Sector | Entities
Emergency Services Sector | Police Stations
Emergency Services Sector | Fire Stations
Emergency Services Sector | Emergency Operations Centers
Emergency Services Sector | Tribal government providers
Emergency Services Sector | Fire Departments | Sector | Entities
Emergency Services Sector | Water Plants | Chemical Sector | Facilities associated with the provision of manufacturing, maintaining, or distributing hazardous materials and chemicals
Government Facilities Sector | Schools and licensed daycare centers; | Communications Sector | cellular sites (or their functional equivalents)
Government Facilities Sector | Homeless Shelters |  | cellular switches,
Government Facilities Sector | Community Centers |  | central offices,
Government Facilities Sector | Senior Centers |  | Communication carrier infrastructure including
Government Facilities Sector | Independent Living Centers, as defined by the California Department of Rehabilitation |  | head ends,
Government Facilities Sector | Voting centers and vote tabulation facilities |  | remote terminals
Government Facilities Sector | Jails and prisons |  | selective routers,
Healthcare and Public Health Sector | Public Health Departments | Emergency Services Sector | Emergency Operations Centers
Healthcare and Public Health Sector | Medical facilities |  | Fire Departments
Healthcare and Public Health Sector | hospitals |  | Fire Stations
Healthcare and Public Health Sector | skilled nursing facilities |  | Police Stations
Healthcare and Public Health Sector | nursing homes |  | Tribal government providers
Healthcare and Public Health Sector | blood banks |  | Water Plants
Healthcare and Public Health Sector | health care facilities centers and hospice facilities | Energy Sector | interconnected publicly-owned utilities and electric cooperatives
Healthcare and Public Health Sector | dialysis centers |  | Facilities associated with the provision of drinking water including facilities used to pump, divert, transport, store, treat and deliver water;
Healthcare and Public Health Sector | hospice facilities |  | Public and private utility facilities vital to maintaining or restoring normal service, including, but not limited to,
Healthcare and Public Health Sector | Cooling (or Warming) Centers | Food and Agriculture Sector | Emergency Feeding Organization, as defined in 7 U.S.C. § 7501. e.
Healthcare and Public Health Sector | Temporary facilities established for public health emergencies | Government Facilities Sector | Community Centers
Water and Wastewater Systems Sector | Facilities associated with the provision of drinking water or processing of wastewater including facilities used to pump, divert, transport, store, treat and deliver water or wastewater |  | Homeless Shelters
Food and Agriculture Sector | Emergency Feeding Organization, as defined in 7 U.S.C. § 7501. e. |  | Independent Living Centers, as defined by the California Department of Rehabilitation
Transportation Systems Sector | transportation facilities and infrastructure |  | Jails and prisons
Transportation Systems Sector | facilities associated with automobile, rail, aviation and maritime transportation for civilian and military purposes |  | Schools and licensed daycare centers;
Transportation Systems Sector | Traffic Management Systems |  | Senior Centers
Energy Sector | Public and private utility facilities vital to maintaining or restoring normal service, including, but not limited to, |  | Voting centers and vote tabulation facilities
Energy Sector | interconnected publicly-owned utilities and electric cooperatives | Healthcare and Public Health Sector | blood banks
Energy Sector | Facilities associated with the provision of drinking water including facilities used to pump, divert, transport, store, treat and deliver water; |  | Cooling (or Warming) Centers
Communications Sector | Communication carrier infrastructure including |  | dialysis centers
Communications Sector | selective routers, |  | health care facilities centers and hospice facilities
Communications Sector | central offices, |  | hospice facilities
Communications Sector | head ends, |  | hospitals
Communications Sector | cellular switches, |  | Medical facilities
Communications Sector | remote terminals |  | nursing homes
Communications Sector | cellular sites (or their functional equivalents) |  | Public Health Departments
Chemical Sector | Facilities associated with the provision of manufacturing, maintaining, or distributing hazardous materials and chemicals |  | skilled nursing facilities
Temporary facilities established for public health emergencies
|  | Transportation Systems Sector | facilities associated with automobile, rail, aviation and maritime transportation for civilian and military purposes
Traffic Management Systems
transportation facilities and infrastructure
|  | Water and Wastewater Systems Sector | Facilities associated with the provision of drinking water or processing of wastewater including facilities used to pump, divert, transport, store, treat and deliver water or wastewater

## 5.Defn PSP
Public Safety Partners are defined as follows:
· First/Emergency Responders (individuals who, in the early stages of an incident, are responsible for the protection and preservation of life, property, evidence, and the environment), including
· Emergency Response Providers
o public safety emergency response providers at the tribal, federal, state, and local governmental and nongovernmental levels
o fire emergency response providers at the tribal, federal, state, and local governmental and nongovernmental levels
o law enforcement emergency response providers at the tribal, federal, state, and local governmental and nongovernmental levels
o emergency response emergency response providers at the tribal, federal, state, and local governmental and nongovernmental levels
o emergency medical services providers (including hospital emergency facilities) emergency response providers at the tribal, federal, state, and local governmental and nongovernmental levels
o related personnel, agencies and authorities emergency response providers at the tribal, federal, state, and local governmental and nongovernmental levels
· water service providers at the tribal, local, state, and federal level;
· wastewater service providers at the tribal, local, state, and federal level;
· communication service providers at the tribal, local, state, and federal level;
· community choice aggregators (CCAs) at the tribal, local, state, and federal level;
· affected publicly-owned utilities (POUs)/electrical cooperatives at the tribal, local, state, and federal level;
· the Commission;
· Cal OES;
· CAL FIRE

## 6.Utility Definitions
DEFINITIONS
Terms marked with a black asterisk in the Topical worksheets must be defined here.
Add terms in alphabetical order
Term | Worksheet Reference | Definition as Understood by the Utility
AFN but not MBL
All Clear | Various
Assets conditions | Decision Factors
Cal OES Stage 1: Activating PSPS Protocols/Potential to De-energize | 3.CPUC Definitions, 7. Data Dictionary, 8. Dashboard
Circuit | Data Dictionary
Circuit segment | various
Cooperators (see System Cooperators) | Data Dictionary
CRC locations - list and define | CRCs
CRC types - list and define | Data Dictionary, Dashboard, CRCs
Emergency website | Data Dictionary
End users served by submeters | Data Dictionary
End-users served by master meters | Data Dictionary
Hazards or Threats Scoping Factors | Decision Factors | See Assets conditions, Vegetation conditions, Live field observation conditions, and Structural design wind speed ratings
In-person notification/visit | Data Dictionary; Dashboard
Live field observation conditions | Decision Factors
Other non-account holders | Data Dictionary
Sectionalization | Mitigation
Structural design wind speed ratings | Decision Factors
Structure identifier | Damages
Switching | Mitigation
System Cooperators | Data Dictionary
Vegetation conditions | Decision Factors
Voltage range of distribution lines | Transmission
Voltage range of transmission lines | Transmission

## 7.Data Dictionary
Section | Table Parent Name | Metric | Field Description | Field Type | Example | Notes/Calculations
I. Overview | A. PSPS Event Summary | 1. Event Name | Date of De-energization Start spelled out | Text | 2022-10-31
I. Overview | A. PSPS Event Summary | 2. Date of First De-energization | MM/DD/YYYY; Format: Short Date | Date | 2022-10-31
I. Overview | A. PSPS Event Summary | 3. Time of First De-energization | MM/DD/YYYY HH:MM 24-hr; minutes can be :00; Format: Date and Time 24 hr clock | Time | 2022-10-31 16:00
I. Overview | A. PSPS Event Summary | 4. Date of Last Restoration | MM/DD/YYYY; Format: Short Date | Date | 2022-11-02
I. Overview | A. PSPS Event Summary | 5. Time of Last Restoration | MM/DD/YYYY HH:MM 24-hr; minutes can be :00; Format: Date and Time 24 hr clock | Time | 2022-11-02 08:00
I. Overview | A. PSPS Event Summary | 6. Number of Hours De-energized | Calculated from date/time of PSPS beginning/end; Format: General | Integer | 40 | "=(F6-F4)*24"
I. Overview | A. PSPS Event Summary | 7. Number of Days De-energized | Calculated from date/time of PSPS beginning/end; Format: General | Float | 1.6667 | "=F6-F4"
I. Overview | A. PSPS Event Summary | 8. Number of Accounts* Notified | The number of unique customer accounts or service points that were notified irrespective of whether they were de-energized or not. | Integer | 3024
I. Overview | A. PSPS Event Summary | 9. Number of Accounts for which de-energization was cancelled | Accounts that received a notification of de-energization but were not de-energized | Integer | 600
I. Overview | A. PSPS Event Summary | 10. Number of Accounts De-energized |  | Integer | 2424
I. Overview | A. PSPS Event Summary | 11. Number of Accounts that Live in HFTD Tiers 2 or 3* de-energized | HFTD Tiers 2 or 3 that are defined in CPUC HFTD maps issued in D.17-01-009. | Integer | 2000
I. Overview | A. PSPS Event Summary | 12. Number of MBL* Accounts de-energized (in tariff class) | Medical Baseline as identified in a tariff, rate class, preliminary statement, or rule for which a customer meets eligibility requirements | Integer | 450
I. Overview | A. PSPS Event Summary | 13. Number of MBL Accounts that live in HFTD Tiers 2 or 3 that were de-Energized |  | Integer | 375
I. Overview | A. PSPS Event Summary | 14. Number of Life Support* Accounts de-energized (within MBL designation) |  | Integer | 125
I. Overview | A. PSPS Event Summary | 15. Number of AFN*-identified Accounts that are not MBL that were de-energized | Access and Functional Needs as self-identified by the customer and meets definition in California Code, Government Code - GOV § 8593.3 | Integer | 75
I. Overview | A. PSPS Event Summary | 16. Number of de-energized Accounts that requested in-person notification* that were not also identified as AFN or MBL |  | Integer | 50
I. Overview | A. PSPS Event Summary | 17. Number of de-energized Accounts that self-identify as having a person with a disability in the household that were not also identified as AFN or MBL |  | Integer | 25
I. Overview | A. PSPS Event Summary | 18. Number of de-energized Accounts in CARE* or FERA* tariff class | California Alternate Rates for Energy (CARE) and Family Electric Rate Assistance (FERA). | Integer | 500
I. Overview | A. PSPS Event Summary | 19. Number of Counties De-energized |  | Integer | 10 | County is de-energized if one or more service points that are de-energized is located in the county.
I. Overview | A. PSPS Event Summary | 20. Number of Tribes De-energized |  | Integer | 8 | Tribe is de-energized if one or more service points that are de-energized is located in the tribe.
I. Overview | A. PSPS Event Summary | 21. Number of CFCI* De-energized | Critical Facilities and Critical Infrastructure | Integer | 200
I. Overview | A. PSPS Event Summary | 22. Number of Transmission lines De-energized |  | Integer | 2
I. Overview | A. PSPS Event Summary | 23. Number of Transmission lines De-energized without advance notice to CAISO |  | Integer | 0
I. Overview | A. PSPS Event Summary | 24. Line miles of transmission lines de-energized | In decimals to the tenth | Float | 45.6
I. Overview | A. PSPS Event Summary | 25. Number of Distribution Circuits De-energized |  | Integer | 55
I. Overview | A. PSPS Event Summary | 26. Line miles of distribution lines de-energized | In decimals to the tenth | Float | 3459.5
I. Overview | A. PSPS Event Summary | 27. Number of de-energized end-users served by sub-meters de-energized | Define "end users served by submeters" in "Utility Definitions" | Integer | 1200
I. Overview | A. PSPS Event Summary | 28. Number of de-energized end-users served by master meters de-energized | Define "end-users served by master meters" in "Utility Definitions" | Integer | 1200
I. Overview | A. PSPS Event Summary | 29. Number of de-energized 'other non-account holders'* |  | Integer
I. Overview | A. PSPS Event Summary | 30. Number of local and tribal governments that requested information on MBL or CFCI Accounts impacted during the event. |  | Integer | 6
I. Overview | A. PSPS Event Summary | 31. Number of Damages | Damages as defined in the Post-Event Report template | Integer | 8
I. Overview | A. PSPS Event Summary | 32. Number of Hazards | Hazards as defined in the Post-Event Report template | Integer | 6
II. Delay | A. Delay Requests | 1. Number of requests to delay de-energization. | Number of requests from PSP before de-energization | Integer | 2
II. Delay | A. Delay Requests | 2. Number of circuits for which de-energizing was delayed. | Number of requests from PSP honored before de-energization | Integer | 0
III. Emergency Management | A. EOC | 1. Number of Days in Cal OES Stage 1: Activating PSPS Protocols/Potential to De-energize* | Define what utility means by "Cal OES Stage 1: Activating PSPS Protocols/Potential to De-energize*" | Integer | 5
III. Emergency Management | A. EOC | 2. Number of hours before first de-energization that Emergency Operations Center (EOC) was established |  | Integer | 72
III. Emergency Management | A. EOC | 3. Number of State Executive Briefings (SEB) Held |  | Integer | 6
III. Emergency Management | A. EOC | 4. Number of Unique Briefing Decks distributed |  | Integer | 6
III. Emergency Management | A. EOC | 5. Number of System Cooperators’* Calls Conducted |  | Integer | 3
III. Emergency Management | A. EOC | 6. Number of PSPS State Notification Forms submitted to Cal OES |  | Integer | 16
III. Emergency Management | A. EOC | 7. Number of News Releases Disseminated |  | Integer | 4
III. Emergency Management | A. EOC | 8. Number of Public Briefings conducted |  | Integer | 2
III. Emergency Management | A. EOC | 9. Number of Days EOC Active |  | Integer | 6 | Count each day EOC was active regardless of time activated or deactivated.
III. Emergency Management | B. State Operations Center | 1. Number of liaisons embedded at State Operations Center | Liaisons from utility. | Integer | 2
III. Emergency Management | C. Liaisons | 1. Number of liaisons embedded at local Emergency Operations Center (County, Tribal or other) | Liaisons from utility. | Integer | 2
III. Emergency Management | C. Liaisons | 2. Number of State or local liaisons embedded at your EOC |  | Integer | 2
III. Emergency Management | C. Liaisons | 3. Number of water or communication infrastructure liaisons embedded at your EOC |  | Integer | 2
III. Emergency Management | D. Training | 1. Number of EOC personnel that received EM training in 2022 | 2022 Cumulative total only (use "annual or cumulative total" column) | Integer | 150
III. Emergency Management | D. Training | 2. Number of Hours EOC personnel were trained in EM in 2022 | 2022 Cumulative total only (use "annual or cumulative total" column) | Integer | 600
III. Emergency Management | E. De-energization Exercises | 1. Number of Tabletop Exercises of four hours or more conducted in 2022 | 2022 Cumulative total only (use "annual or cumulative total" column) | Integer | 2
III. Emergency Management | E. De-energization Exercises | 2. Number of Full-scale or Functional Exercises of more than one day conducted in 2022 | 2022 Cumulative total only (use "annual or cumulative total" column) | Integer | 2
III. Emergency Management | E. De-energization Exercises | 3. Average number of utility personnel participating in all exercises | 2022 Cumulative total only (use "annual or cumulative total" column) | Integer | 500
III. Emergency Management | E. De-energization Exercises | 4. Number of PSP actively participating as a player during the exercises. | 2022 Cumulative total only (use "annual or cumulative total" column) | Integer | 0
III. Emergency Management | E. De-energization Exercises | 5. Number of AFN community members participating as a player during the exercises. | 2022 Cumulative total only (use "annual or cumulative total" column) | Integer | 0
IV. Notification | A. Notification Receipt | 1. Number De-energized Accounts Notified | Accounts that were actually de-energized | Integer | 50000
IV. Notification | A. Notification Receipt | 2. Number De-energized MBL Accounts Notified | MBL Accounts that were actually de-energized | Integer | 5000
IV. Notification | A. Notification Receipt | 3. Number of Positive MBL Accounts Notifications | MBL Accounts that were actually de-energized for which there was a positive confirmation of receipt of notice | Integer | 4500 | Notifications to Medical Baseline or other customers requesting advance notification to which the customer responded as received.
IV. Notification | A. Notification Receipt | 4. Number of de-energized accounts whose contact information was wrong. | Accounts that were actually de-energized | Integer | 500
IV. Notification | A. Notification Receipt | 5. Number of de-energized MBL accounts whose contact information was wrong. | Accounts that were actually de-energized | Integer | 50
IV. Notification | B. Additional Notifications - MBL | 1. Number of In-Person* Visits / Doorbell Rings | Accounts that were actually de-energized | Integer | 100
IV. Notification | B. Additional Notifications - MBL | 2. Number of Live Agent Phone Calls | Accounts that were actually de-energized | Integer | 500
IV. Notification | C. Notification Failure Causes | 1. Number of Accounts that did not receive 48–72-hour advance notification | Accounts that were actually de-energized | Integer | 1500 | Notification of priority notification entities only. PSP notification addressed in VI. A.5. below
IV. Notification | C. Notification Failure Causes | 2. Number of Accounts that did not receive 24-48 hours advance notification | Accounts that were actually de-energized | Integer | 1501 | All other affected customers/populations
IV. Notification | C. Notification Failure Causes | 3. Number of Accounts that did not receive 1-4 hour advance notifications. | Accounts that were actually de-energized | Integer | 500 | All affected customers/populations
IV. Notification | C. Notification Failure Causes | 4. Number of Accounts that did not receive any notifications before de-energization. | Accounts that were actually de-energized | Integer | 400 | All affected customers/populations
IV. Notification | C. Notification Failure Causes | 5. Number of Accounts that were not notified at de-energization initiation. | Accounts that were actually de-energized | Integer | 400 | All affected customers/populations
IV. Notification | C. Notification Failure Causes | 6. Number of Accounts that were not notified immediately before re-energization. | Accounts that were actually de-energized | Integer | 400 | All affected customers/populations
IV. Notification | C. Notification Failure Causes | 7. Number of Accounts that were not notified when re-energization is was complete. | Accounts that were actually de-energized | Integer | 400 | All affected customers/populations
IV. Notification | C. Notification Failure Causes | 8. Number of Accounts that did not receive cancellation notification within two hours of the decision to cancel | Accounts that were NOT de-energized. | Integer | 400 | All affected customers/populations
IV. Notification | C. Notification Failure Causes | 9. Number of Accounts that did not receive notification after de-energization because there was no alternate method of contact | Accounts that were actually de-energized | Integer | 250
IV. Notification | D. False Communications | 1. Number of Accounts that were not de-energized after receiving a De-energization Notification | Accounts that were NOT de-energized. | Integer | 600
IV. Notification | D. False Communications | 2. Number of Accounts that were de-energized after receiving a Cancellation Notification | Accounts that were actually de-energized | Integer | 200
V. Public Safety Partners | A. PSP Notification | 1. Number of hours after EOC activated that PSPs were first notified | Leave cell blank if PSPs were notified before EOC was activated. | Integer | 2
V. Public Safety Partners | A. PSP Notification | 2. Number of hours before EOC activated that PSPs were first notified | Leave cell blank if PSPs were notified after EOC was activated. | Integer | 24
V. Public Safety Partners | A. PSP Notification | 3. Number of hours before first de-energization that PSPs were notified |  | Integer | 72
V. Public Safety Partners | A. PSP Notification | 4. Number of PSPs notified at first notice |  | Integer | 600
V. Public Safety Partners | A. PSP Notification | 5. Number of PSP notifications that were not timely |  | Integer | 100
V. Public Safety Partners | B. Portal | 1. Number of PSP Portal Registrations at end of PSPS event | Total number of registrations from PSP. | Integer | 45
V. Public Safety Partners | B. Portal | 2. Number of Portal training events provided to PSP during 2022. | 2022 Cumulative total only (use "annual or cumulative total" column) | Integer | 10
V. Public Safety Partners | B. Portal | 3. Number of events in 2022 for which there is no data available in the portal as of the submission date. | 2022 Cumulative total only (use "annual or cumulative total" column) | Integer | 0
V. Public Safety Partners | B. Portal | 4. Number of PSP Portal Registration requests that were not filled within 24 business hours. | 2022 Cumulative total only (use "annual or cumulative total" column) | Integer | 0
VI. Customer Communication | A. Notification Language | 1. Number of Languages Used in Notifications | Prevalent languages, including English. | Integer | 15 | A language is prevalent if it is spoken by 1,000 or more persons in the utility’s territory or if it is spoken by 5% or more of the population within a “public safety answering point” in the utility territory (D.20-03-004).
VI. Customer Communication | B. Call Center Support Services | 1. Cumulative number PSPS Calls Handled |  | Integer | 4500 | Counted from first notification to full restoration.
VI. Customer Communication | B. Call Center Support Services | 2. Average Response Time for PSPS-related Calls | Time in Minutes; to the tenth | Floating | 2.5
VI. Customer Communication | B. Call Center Support Services | 3. Number of PSPS-related calls handled by Call Center Translation Services |  | Integer | 100
VI. Customer Communication | B. Call Center Support Services | 4. Number of languages supported by Call Center Translation Services |  | Integer | 20
VI. Customer Communication | C. Website Traffic | 1. Number of Emergency Website Visits |  | Integer | 5000
VI. Customer Communication | C. Website Traffic | 2. Number of Website Page Views |  | Integer | 10000
VI. Customer Communication | C. Website Traffic | 3. Number of Emergency Page Views |  | Integer | 5000
VI. Customer Communication | D. Translated Website Visitors | 1. Number of Website Unique Visitors non-English |  | Integer | 2000
VI. Customer Communication | D. Translated Website Visitors | 2. Number of Emergency Website Unique Visitors non-English |  | Integer | 500
VII. Distribution Circuits De-energized | A. Frequency of Circuit De-energized | 1. Name of First most frequently de-energized circuit |  | Text | Argon18 | Name of Circuit calculated from Distribution Table Across All Events
VII. Distribution Circuits De-energized | A. Frequency of Circuit De-energized | 2. Number of Times First most frequently de-energized circuit de-energized |  | Integer | 4 | Calculated from Distribution Table
VII. Distribution Circuits De-energized | A. Frequency of Circuit De-energized | 3. Cumulative total number of customers on the first most frequently de-energized circuit | Calculated from Distribution Table | Integer | 10000 | Sort the distribution circuit list by circuit name. Select the circuit with the most entries irrespective of event. Count all customers de-energized over all of the events in which the circuit was de-energized. In the event of a tie, rank the circuits by number of customers de-energized.
VII. Distribution Circuits De-energized | A. Frequency of Circuit De-energized | 4. Name of Second most frequently de-energized circuit | Name of Circuit calculated from Distribution Table | Text | Xenon54
VII. Distribution Circuits De-energized | A. Frequency of Circuit De-energized | 5. Number of Times Second most frequently de-energized circuit de-energized | Calculated from Distribution Table | Integer | 3
VII. Distribution Circuits De-energized | A. Frequency of Circuit De-energized | 6. Cumulative total number of customers on the second most frequently de-energized circuit | Calculated from Distribution Table | Integer | 8000
VII. Distribution Circuits De-energized | A. Frequency of Circuit De-energized | 7. Name of Third most frequently de-energized circuit | Name of Circuit calculated from Distribution Table | Text | Krypton36
VII. Distribution Circuits De-energized | A. Frequency of Circuit De-energized | 8. Number of Times Third most frequently de-energized circuit de-energized | Calculated from Distribution Table | Integer | 2
VII. Distribution Circuits De-energized | A. Frequency of Circuit De-energized | 9. Cumulative total number of customers on the third most frequently de-energized circuit | Calculated from Distribution Table | Integer | 6000
VII. Distribution Circuits De-energized | B. Duration of Circuits De-energized | 1. Name of Longest (in hours) circuit de-energized. | Calculated from Distribution Table | Text | Germanium32
VII. Distribution Circuits De-energized | B. Duration of Circuits De-energized | 2. Number of Hours that longest de-energized circuit was de-energized | Calculated from Distribution Table for only the single longest de-energization. | Integer | 140
VII. Distribution Circuits De-energized | B. Duration of Circuits De-energized | 3. Number of customers impacted | Calculated from Distribution Table for only those accounts de-energized during the longest single de-energization. | Integer | 5000
VII. Distribution Circuits De-energized | B. Duration of Circuits De-energized | 4. Name of Second Longest (in hours) circuit de-energized. | Calculated from Distribution Table | Text | Neon10
VII. Distribution Circuits De-energized | B. Duration of Circuits De-energized | 5. Number of Hours that longest de-energized circuit was de-energized | Calculated from Distribution Table | Integer | 100
VII. Distribution Circuits De-energized | B. Duration of Circuits De-energized | 6. Number of customers impacted | Calculated from Distribution Table | Integer | 10000
VII. Distribution Circuits De-energized | B. Duration of Circuits De-energized | 7. Name of Third Longest (in hours) circuit de-energized. | Calculated from Distribution Table | Text | Bromine35
VII. Distribution Circuits De-energized | B. Duration of Circuits De-energized | 8. Number of Hours that longest de-energized circuit was de-energized | Calculated from Distribution Table | Integer | 80
VII. Distribution Circuits De-energized | B. Duration of Circuits De-energized | 9. Number of customers impacted | Calculated from Distribution Table | Integer | 14000
VIII. CFCI | A. CFCI De-energized | 1. Number of CFCI de-energized | Irrespective of mitigating backup power. Calculated from CFCI table | Integer | 150
VIII. CFCI | A. CFCI De-energized | 2. Number of Communication Services Providers (CSP) CFCI de-energized. | Irrespective of mitigating backup power. Calculated from CFCI table | Integer | 80
VIII. CFCI | A. CFCI De-energized | 3. Number of Cell Towers de-energized | Irrespective of mitigating backup power. Calculated from CFCI table | Integer | 20
VIII. CFCI | A. CFCI De-energized | 4. Number of Water/Wastewater CFCI de-energized. | Irrespective of mitigating backup power. Calculated from CFCI table | Integer | 15
VIII. CFCI | A. CFCI De-energized | 5. Number of de-energized CFCI that requested backup power. | Calculated from CFCI table | Integer | 25
VIII. CFCI | A. CFCI De-energized | 6. Number of de-energized CFCI that were provided backup power. | Calculated from CFCI table | Integer | 5
VIII. CFCI | A. CFCI De-energized | 7. Number of CFCI that were de-energized during two events. | Irrespective of mitigating backup power. Calculated from CFCI table across all events | Integer | 450
VIII. CFCI | A. CFCI De-energized | 8. Number of CFCI that were de-energized during more than two events. | Irrespective of mitigating backup power. Calculated from CFCI table across all events | Integer | 1000
IX. Backup Power | A. Backup Power Support | 1. Number of Requests for Backup Power |  | Integer | 10
IX. Backup Power | A. Backup Power Support | 2. Percentage of Requests Satisfied (%) |  | Percentile | 80
IX. Backup Power | A. Backup Power Support | 3. Total MW capacity supplied (MW) | in Megawatts | Integer | 12
IX. Backup Power | A. Backup Power Support | 4. Percentage of backup power supplied that was renewable (%) |  | Percentile | 30
IX. Backup Power | A. Backup Power Support | 5. Number of Requests for Consultative Assistance up to one month prior |  | Integer | 25
IX. Backup Power | B. Backup Power Programs | 1. Applications received for backup generators or storage from the day after the last PSPS through the end of the current one |  | Integer | 8
IX. Backup Power | B. Backup Power Programs | 2. Number of backup generators issued from the day after the last PSPS through the end of the current one |  | Integer | 10
IX. Backup Power | B. Backup Power Programs | 3. Number of backup storage issued from the day after the last PSPS through the end of the current one |  | Integer | 6
IX. Backup Power | C. Microgrids | 1. Number of microgrids that replaced the de-energized load |  | Integer | 5
IX. Backup Power | C. Microgrids | 2. Megawatts of load provided by microgrids (MWh) | in Megawatts | Integer
IX. Backup Power | C. Microgrids | 3. Percentage of Microgrids in use using renewable fuel (%) |  | Percentile | 20
X. Mitigation | A. Mitigation Deployed | 1. Number of Circuits sectionalized to reduce PSPS scope |  | Integer | 6
XI. CRCs | A. Community Resource Centers | 1. Number of CRCs open during event |  | Integer | 12
XI. CRCs | A. Community Resource Centers | 2. Total Number of Visitors to all CRCs during the event |  | Integer | 1500
XI. CRCs | A. Community Resource Centers | 3. Percentage of CRCs that were indoors (%) |  | Percentile | 50
XI. CRCs | A. Community Resource Centers | 4. Percentage of indoor CRCs that had been opened in the past (reliably placed) (%) |  | Percentile | 70
XI. CRCs | A. Community Resource Centers | 5. Percentage of CRCs that were indoors when AQI was >100 (%) |  | Percentile | 50
XI. CRCs | A. Community Resource Centers | 6. First Longest Distance from each event's CRCs to furthest targeted customer (mi.) | Driving Distance calculated in miles derived from 17. CRCs worksheet | Integer | 45
XI. CRCs | A. Community Resource Centers | 7. Second Longest Distance from each event's CRCs to furthest targeted customer (mi.) | Driving Distance calculated in miles derived from 17. CRCs worksheet | Integer | 35
XI. CRCs | A. Community Resource Centers | 8. Third Longest Distance from each event's CRCs to furthest targeted customer (mi.) | Driving Distance calculated in miles derived from 17. CRCs worksheet | Integer | 25
XII. EV Charging | A. EV Charging Stations | 1. Number of level 3 charging stations* de-energized | Irrespective of mitigating backup power. | Integer | 12
XIII. Restoration | A. Late Restoration | 1. Number of Circuits not Restored within 24 hrs. of all-clear. |  | Integer | 15
XIV. Complaints | A. Complaints | 1. Number of Complaints | Complaints about any aspect of the PSPS event. | Integer | 145
XV. Claims | A. Claims | 1. Number of Claims | Claims related to any aspect of the PSPS event. | Integer | 12
XV. Claims | A. Claims | 2. Total Value of Claims (dollars) | Dollars | Integer | 50000

## 8.Dashboard
Metrics | EXAMPLE | Date of 1st PSPS | Date of 2nd PSPS | Date of 3rd PSPS | Date of 4th PSPS | Date of 5th PSPS | Date of 6th PSPS | Date of 7th PSPS | Date of 8th PSPS | Date of 9th PSPS | Date of 10th PSPS | Trendlines | Annual or Cumulative Total
I. Overview
A. PSPS Event Summary
1. Event Name | 2022-10-31
2. Date of First De-energization | 2021-10-31
3. Time of First De-energization | 2021-10-31 16:00
4. Date of Last Restoration | 2021-11-02
5. Time of Last Restoration | 2021-11-02 08:00
6. Number of Hours De-energized | 40
7. Number of Days De-energized | 1.6667
8. Number of Accounts* Notified
9. Number of Accounts for which de-energization was cancelled
10. Number of Accounts De-energized
11. Number of Accounts that Live in HFTD Tiers 2 or 3* de-energized
12. Number of MBL* Accounts de-energized (in tariff class)
13. Number of MBL Accounts that live in HFTD Tiers 2 or 3 that were de-Energized
14. Number of Life Support* Accounts de-energized (within MBL designation)
15. Number of AFN-identified Accounts that are not MBL* that were de-energized
16. Number of de-energized Accounts that requested in-person* notification that were not also identified as AFN or MBL
17. Number of de-energized Accounts that self-identify as having a person with a disability in the household that were not also identified as AFN or MBL
18. Number of de-energized Accounts in CARE* or FERA* tariff class
19. Number of Counties De-energized
20. Number of Tribes De-energized
21. Number of CFCI* De-energized
22. Number of Transmission lines De-energized
23. Number of Transmission lines De-energized without advance notice to CAISO
24. Line miles of transmission lines de-energized
25. Number of Distribution circuit segment De-energized
26. Line miles of distribution lines de-energized
27. Number of de-energized end-users served by sub-meters de-energized
28. Number of de-energized end-users served by master meters de-energized
29. Number of de-energized 'other non-account holders'*
30. Number of local and tribal governments that requested information on MBL or CFCI Accounts impacted during the event.
31. Number of Damages
32. Number of Hazards
II. Delay
A. Delay Requests
1. Number of requests to delay de-energization.
2. Number of circuit segments for which de-energizing was delayed.
III. Emergency Management
A. EOC
1. Number of Days in Cal OES Stage 1: Activating PSPS Protocols/Potential to De-energize**
2. Number of hours before first de-energization that Emergency Operations Center (EOC) was established
3. Number of State Executive Briefings (SEB) Held
4. Number of Unique Briefing Decks distributed
5. Number of System Cooperators’* Calls Conducted
6. Number of PSPS State Notification Forms submitted to Cal OES
7. Number of News Releases Disseminated
8. Number of Public Briefings conducted
9. Number of Days EOC Active
B. State Operations Center
1. Number of liaisons embedded at State Operations Center
C. Liaisons
1. Number of liaisons embedded at local Emergency Operations Center (County, Tribal or other)
2. Number of State or local liaisons embedded at your EOC
3. Number of water or communication infrastructure liaisons embedded at your EOC
D. Training
1. Number of EOC personnel that received EM training in 2022 - use annual column
2. Number of Hours EOC personnel were trained in EM in 2022 - use annual column
E. De-energization Exercises
1. Number of Tabletop Exercises of four hours or more conducted in 2022- use annual column
2. Number of Full-scale or Functional Exercises of more than one day conducted in 2022- use annual column
3. Average number of utility personnel participating in all exercises- use annual column
4. Number of PSP actively participating as a player during the exercises.- use annual column
5. Number of AFN community members participating as a player during the exercises.- use annual column
IV. Notification
A. Notification Receipt
1. Number De-energized Accounts Notified
2. Number De-energized MBL Accounts Notified
3. Number of Positive MBL Accounts Notifications
4. Number of de-energized accounts whose contact information was wrong.
5. Number of de-energized MBL accounts whose contact information was wrong.
B. Additional Notifications - MBL
1. Number of In-Person* Visits / Doorbell Rings
2. Number of Live Agent Phone Calls
C. Notification Failure Causes
1. Number of Accounts that did not receive 48–72-hour advance notification
2. Number of Accounts that did not receive 24-48 hours advance notification
3. Number of Accounts that did not receive 1-4 hour advance notifications.
4. Number of Accounts that did not receive any notifications before de-energization.
5. Number of Accounts that were not notified at de-energization initiation.
6. Number of Accounts that were not notified immediately before re-energization.
7. Number of Accounts that were not notified when re-energization is was complete.
8. Number of Accounts that did not receive cancellation notification within two hours of the decision to cancel
9. Number of Accounts that did not receive notification after de-energization because there was no alternate method of contact
D. False Communications
1. Number of Accounts that were not de-energized after receiving a de-energization notification but not a subsequent cancellation notification
2. Number of Accounts that were de-energized after receiving a Cancellation Notification
V. Public Safety Partners
A. PSP Notification
1. Number of hours after EOC activated that PSPs were first notified
2. Number of hours before EOC activated that PSPs were first notified
3. Number of hours before first de-energization that PSPs were notified
4. Number of PSPs notified at first notice
5. Number of PSP notifications that were not issued within the timeframes established by CPUC regulations
B. Portal
1. Number of PSP Portal Registrations at end of PSPS event
2. Number of Portal training events provided to PSP during 2022. - use annual column
3. Number of events in 2022 for which there is no data available in the portal as of the submission date. - use annual column
4. Number of PSP Portal Registration requests that were not filled within 24 business hours.
VI. Customer Communication
A. Notification Language
1. Number of Languages Used in Notifications
B. Call Center Support Services
1. Cumulative number PSPS Calls Handled
2. Average Response Time for PSPS-related Calls
3. Number of PSPS-related calls handled by Call Center Translation Services
4. Number of languages supported by Call Center Translation Services
C. Website Traffic
1. Number of Emergency Website Visits
2. Number of Website Page Views
3. Number of Emergency Page Views
D. Translated Website Visitors
1. Number of Website Unique Visitors non-English
2. Number of Emergency Website Unique Visitors non-English
VII. Distribution circuit segments De-energized
A. Frequency of circuit segment De-energized in PSPS
1. Name of First most frequently de-energized circuit segment
2. Number of Times First most frequently de-energized circuit segment de-energized
3. Cumulative total number of customers on the first most frequently de-energized circuit segment
4. Name of Second most frequently de-energized circuit segment
5. Number of Times Second most frequently de-energized circuit segment de-energized
6. Cumulative total number of customers on the second most frequently de-energized circuit segment
7. Name of Third most frequently de-energized circuit segment
8. Number of Times Third most frequently de-energized circuit segment de-energized
9. Cumulative total number of customers on the third most frequently de-energized circuit segment
B. Duration of circuit segments De-energized in PSPS
1. Name of Longest (in hours) circuit segment de-energized.
2. Number of Hours that longest de-energized circuit segment was de-energized
3. Number of customers impacted
4. Name of Second Longest (in hours) circuit segment de-energized.
5. Number of Hours that longest de-energized circuit segment was de-energized
6. Number of customers impacted
7. Name of Third Longest (in hours) circuit segment de-energized.
8. Number of Hours that longest de-energized circuit segment was de-energized
9. Number of customers impacted
VIII. CFCI
A. CFCI De-energized
1. Number of CFCI de-energized
2. Number of Communication Services Providers (CSP) CFCI de-energized.
3. Number of Cell Towers de-energized
4. Number of Water/Wastewater CFCI de-energized.
5. Number of de-energized CFCI that requested backup power.
6. Number of de-energized CFCI that were provided backup power.
7. Number of CFCI that were de-energized during two events. - use annual column
8. Number of CFCI that were de-energized during more than two events.- use annual column
IX. Backup Power
A. Backup Power Support
1. Number of Requests for Backup Power
2. Percentage of Requests Satisfied (%)
3. Total MW capacity supplied (MW)
4. Percentage of backup power supplied that was renewable (%)
5. Number of Requests for Consultative Assistance up to one month prior
B. Backup Power Programs
1. Applications received for backup generators or storage from the day after the last PSPS through the end of the current one
2. Number of backup generators issued from the day after the last PSPS through the end of the current one
3. Number of backup storage issued from the day after the last PSPS through the end of the current one
C. Microgrids
1. Number of microgrids that replaced the de-energized load
2. Megawatts of load provided by microgrids (MWh)
3. Percentage of Microgrids in use using renewable fuel (%)
X. Mitigation
A. Mitigation Deployed
1. Number of circuit segments sectionalized to reduce PSPS scope
XI. CRCs
A. Community Resource Centers
1. Number of CRCs open during event
2. Total Number of Visitors to all CRCs during the event
3. Percentage of CRCs that were indoors (%)
4. Percentage of indoor CRCs that had been opened in the past (reliably placed) (%)
5. Percentage of CRCs that were indoors when AQI was >100 (%)
6. First Longest Distance from each event's CRCs to furthest targeted customer (mi.)
7. Second Longest Distance from each event's CRCs to furthest targeted customer (mi.)
8. Third Longest Distance from each event's CRCs to furthest targeted customer (mi.)
XII. EV Charging
A. EV Charging Stations
1. Number of level 3 charging stations* de-energized
XIII. Restoration
A. Late Restoration
1. Number of circuit segments not Restored within 24 hrs. of all-clear.
XIV. Complaints
A. Complaints
1. Number of Complaints
XV. Claims
A. Claims
1. Number of Claims
2. Total Value of Claims (dollars)

## 9.Decision Factors
|  |  |  | A. Forecast and Reported Meteorology | [8 empty] | B. Reported/Calculated Fire Risk Factors | [8 empty] | C. Model Output | [5 empty] | D. Actual Meteorology | [5 empty] | E. PSPS Risk vs. Benefit
Event Name | Distribution Circuit or Transmission Line Name | Sustained wind speeds (mph) | Gust wind speeds (mph) | Peak Gusts wind speeds (mph) | Temperature (degrees F) | Relative Humidity (%) | High Wind Warning (yes/no) | High Wind Advisory (yes/no) | Red Flag Warning (yes/no) | Fire Potential Index (probability outputs) | Dead Fuel Moisture Content 10 hrs (%) | Dead Fuel Moisture Content 100 hrs (%) | Live Fuel Moisture Content-shrub (%) | Normalized Difference Vegetation Index | Energy Release Component (BTUs psf) | Santa Ana Wildfire Threat Index | Hazards or Threats Scoping Factors (see Utility Definitions). List all that apply. | List Other Index | List Other Index | List Other Index | List Model | List Model | List Model | Actual Average Sustained Wind Speed during Event (mph) | Actual Average Wind Gust during Event (mph) | Actual Average Peak Wind Gust during Event (mph) | Actual Average Temperature during Event (degrees F) | Actual Average Relative Humidity during Event (%) | Actual Average Sustained Wind Speed at All Clear (mph) | Actual Average Wind Gust at All Clear (mph) | Average Temperature at All Clear (mph) | Average Relative Humidity at All Clear (%) | Air Quality (AQI) | PSPS Potential Risk Consequence | PSPS Potential Benefit

## 10.Distribution
LIST EACH EVENT FOR WHICH A CIRCUIT WAS DE-ENERGIZED FOR EACH COUNTY
*De-energized portion only
Event Name | Circuit Segment Name | County or Tribe | Line miles of circuit* | Line miles of circuit in HFTD Tiers 2 and 3 | Date De-energized | Time De-energized (24-hr. clock) | “All Clear” declaration date/time | Date Re-energized | Time Re-energized (24-hr. clock) | Total Days De-energized (fractions in tenths) | Total Hours De-energized (Integer) | Total customers de-energized | Residential customers de-energized | Commercial/Industrial customers de-energized | Medical Baseline (MBL) customers de-energized | AFN other than MBL customers de-energized | CSPs de-energized on the circuit (more than one, separate with a semicolon)

## 11.Transmission
LIST EACH EVENT FOR WHICH A LINE WAS DE-ENERGIZED FOR EACH COUNTY
*De-energized portion only
Event Name | Transmission Line | Voltage | County or Tribe | Line miles of Tx de-energized* | Line miles of Tx de-energized in HFTD Tiers 2 and 3 | Date De-energized | Time De-energized (24-hr. clock) | “All Clear” declaration date/time | Date Re-energized | Time Re-energized (24-hr. clock) | Total Days De-energized (fractions in tenths) | Total Hours De-energized (Integer) | Number of Distribution Lines Impacted | Total customers de-energized | Residential customers de-energized | Commercial/Industrial customers de-energized | Medical Baseline (MBL) customers de-energized | AFN other than MBL customers de-energized

## 12.Counties
LIST EACH EVENT FOR WHICH A COUNTY WAS DE-ENERGIZED
Event Name | County | Number of Customers De-energized | Beginning Date De-energized | Beginning Time De-energized (24-hr. clock) | Ending Date Re-energized | Ending Time Re-energized (24-hr. clock) | Total Maximum Days De-energized (fractions in tenths) | Total Maximum Hours De-energized (Integer)

## 13.Tribes
LIST EACH EVENT FOR WHICH A TRIBE WAS DE-ENERGIZED
Event Name | Tribe | Circuit segment (list one circuit per row) | Number of Customers De-energized | Beginning Date De-energized | Beginning Time De-energized (24-hr. clock) | Ending Date Re-energized | Ending Time Re-energized (24-hr. clock) | Total Maximum Days De-energized (fractions in tenths) | Total Maximum Hours De-energized (Integer)

## 14.CONF- CFCI
LIST EACH EVENT FOR WHICH EACH CFCI WAS DE-ENERGIZED
Event Name | CFCI Name | Type of CFCI - See Definitions | County or Tribe | Circuit Segment Name | Date De-energized | Time De-energized (24-hr. clock) | Date Re-energized | Time Re-energized (24-hr. clock) | Total Days De-energized (fractions in tenths) | Total Hours De-energized (Integer) | CFCI requested backup power (yes/no) | Date of Request | Does facility have its own back up power? (yes/no) | IOU provided backup power to CFCI (yes/no) If yes, populate data in columns O - V. | Generation Deployed | Generator Type | Number of Units | Individual Capacity (MW) | Run Time (Hrs.) | Description | Duration of Operation | Reason Deployed

## 15.Backup Power Resources
LIST EACH GENERATOR or MICROGRID AVAILABLE FOR BACKUP POWER DURING AN EVENT
Event | Generator Type | Size (MW) | Run Time (Hrs.) | Fuel Type | Description | Pre-Staged at Use Site (yes/no) | Located Off-Site (yes/no) | Off-Site Location Lat/Long Address | Assigned to Customer Name | Type of Customer | Customer County or Tribe | Duration of Operation (Hours) | Reason Deployed

## 16.Mitigation
LIST EACH TYPE OF MITIGATION* DEPLOYED FOR BACKUP POWER DURING AN EVENT
PSPS Mitigation includes: Backup generation, Backup storage, Dx microgrid, Islanding, Patrols, Sectionalization, Dx Switching, Temporary substation microgrid, Tx switching, Vegetation management (expedite priority trees that prevent circuit from being removed from scope)
Event Name | Circuit Segment Name | County or Tribe | Line miles of circuit* | Line miles of circuit in HFTD Tiers 2 and 3 | Type of Mitigation Deployed | Date Mitigation Deployed | Time Mitigation Deployed (24-hr. clock) | Date Resume Normal Operations (back on grid) | Time Resume Normal Operations (24-hr. clock) | Total Days Mitigation In Use (fractions in tenths) | Total Hours Mitigation In Use (Integer) | Total customers NOT de-energized | Residential customers NOT de-energized | Commercial/Industrial customers NOT de-energized | Medical Baseline (MBL) customers NOT de-energized | AFN other than MBL customers NOT de-energized | Circuit “All Clear” declaration date/time | Circuit Restoration date/time

## 17.CRCs
LIST EACH EVENT FOR WHICH A CRC WAS OPENED
Event Name | CRC Location | Type of location* | County or Tribe | Radius Served by the CRC (approximate distance in miles) | Date Service Area De-energized | Time Service Area De-energized (24-hr. clock) | Date CRC Opened | Time CRC Opened | Date Service Area Re-energized | Time Service Area Re-energized (24-hr. clock) | Date CRC Closed | Time CRC Closed | Total Days Opened (fractions in tenths of 14-hr. span) | Total Hours Opened (Integer) | Type of CRC (Indoor, Outdoor, Mobile) | Amenities (list each separated by commas) | Average AQI during Operation | Was CRC powered by Backup Generation? (yes/no)

## 18.Damages
LIST EACH EVENT FOR WHICH DAMAGES WERE DOCUMENTED
Event Name | Circuit Segment Name | County or Tribe | Structure Identifier | Identify if Tier 2, Tier 3, Zone 1 (Tier 1 High Hazard Zones), or Non-HFTD | Type of Damage | Description of Damage

## 19.Hazards
LIST EACH EVENT FOR WHICH DAMAGES WERE DOCUMENTED
Event Name | County or Tribe | Circuit Segment Name | Structure Identifier | Identify if Tier 2, Tier 3, Zone 1 (Tier 1 High Hazard Zones), or Non-HFTD | Type of Hazard | Description of Hazard

## 20.Claims
LIST EACH EVENT FOR WHICH CLAIMS WERE RECEIVED
Event Name | Circuit Segment Associated with the Claim | County or Tribe of the Service Point | Description of Claim | Type of Claim | Value of Claim | Resolution: Payment Made, Payment Denied, or Pending | Describe any changes made to business processes, procedures, or policies as a result of the claim

## 21.EM and Exercises
COMPLETE THE FOUR TABLES BELOW
1. De-Energization Exercises
2. Actual PSPS Event EOC and Liaisons
3. EOC-Related Training
4. Other EOC-standup for Training or Actual Event
1. LIST DATA FOR EACH DE-ENERGIZATION EXERCISE
| Exercise Date | Exercise Type (see Definitions) | Number of utility personnel participating in the exercises | Number of PSP actively participating as a player during the exercise. | Number of AFN community members participating as a player during the exercise. | Percentage of exercise materials* distributed in advance of the exercise.
Insert Additional Rows as Necessary | [6 empty] | 0
2. LIST DATA FOR EACH PSPS EVENT'S EOC and LIAISONS (Actual event, not an exercise)
| Event Date | Agency Affiliation of liaisons embedded at your EOC (separate names by commas) | Agency EOCs at which utility personnel were embedded (separate names by commas)
Insert Additional Rows as Necessary
3. LIST DATA FOR ALL EOC-RELATED TRAINING
| SEMS/NIMS or Equivalent Course | Training Provider | Number of Hours of Training | Number of Personnel Earning a Certificate for the Course | Number of Personnel Trained
Insert Additional Rows as Necessary
4. LIST OTHER NON-PSPS EVENTS FOR WHICH YOUR EOC WAS ACTIVATED e.g., ROLLING BLACKOUT, HEAT STORM -- TRAINING or ACTUAL EVENTS
| Type of Event | Start of Event | End of Event | Training?
Insert Additional Rows as Necessary