## 2014 Data Set
Utility Name | Fire Start |  | Location |  |  |  | Fire |  |  | Utility Facility |  |  |  |  | Outage |  |  | Field Observations |  |  |  |  | Notes (Optional):
| Date | Time | Latitude | Longitude | Material at Origin | Land Use at Origin | Size | Suppressed by | Suppressing Agency | Facility Identification | Other Companies | Voltage (Volts) | Equipment Involved With Ignition | Type | Was There an Outage | Date | Time | Suspected Initiating Event | Equipment /Facility Failure | Contact From Object | Facility Contacted | Contributing Factor
PG&E | 2014-06-10 15:14 | 41800.6347 | 40.206 | -122.2533 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Red Bluff FD | 101545144 |  | 12000 | Conductor | Overhead | Yes | 2014-06-10 15:14 | 41800.6347 | Contact From Object | N.A. | Other | Electric Facility | Human Error | Conveyor belt contact
PG&E | 2014-06-12 06:30 | 41802.2708 | 38.0437 | -122.7462 | Vegetation | Rural | 10 - 99 Acres | Fire Agency | Cal Fire et al | 102230371 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-06-12 06:30 | 41802.2708 | Equipment/ Facility Failure | Crossarm | N.A. | N.A. | Unknown
PG&E | 2014-06-13 09:19 | 41803.3882 | 36.9335 | -121.3885 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Hollister FD | 101703071 | AT&T | 21000 | Conductor | Overhead | Yes | 2014-06-13 09:19 | 41803.3882 | Contact From Object | N.A. | Vehicle | Pole | Human Error
PG&E | 2014-06-14 08:47 | 41804.366 | 37.419 | -122.1808 | Vegetation | Rural | < 3 meters | Unknown |  | 100275552 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-06-14 08:47 | 41804.366 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-06-14 11:01 | 41804.459 | 37.1309 | -121.0919 | Vegetation | Rural | 10 - 99 Acres | Fire Agency | CAL Fire | Pole 000/013 | None | 70000 | Conductor | Overhead | Yes | 2014-06-14 11:01 | 41804.459 | Equipment/ Facility Failure | Crossarm | N.A. | N.A. | Unknown
PG&E | 2014-06-15 09:47 | 41805.4076 | 37.1308 | -121.9714 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | 23633 Schulties Rd, Los Gatos |  | 12000 | Conductor | Overhead | Yes | 2014-06-15 09:47 | 41805.4076 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-06-15 17:28 | 41805.7278 | 37.9708 | -121.985 | Vegetation | Urban | < 3 meters | Self Extinguished |  | 4239 Teakwood Ct, Concord |  | 0 – 750 | Conductor | Overhead | Yes | 2014-06-15 17:28 | 41805.7278 | Wire-Wire Contact | N.A. | N.A. | N.A. | Weather
PG&E | 2014-06-15 20:55 | 41805.8715 | 39.8879 | -122.1974 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 101500605 |  | 12000 | Conductor | Overhead | Yes | 2014-06-15 20:55 | 41805.8715 | Contact From Object | N.A. | Vehicle | Pole | Human Error
PG&E | 2014-06-16 15:37 | 41806.6507 | 38.1682 | -120.6075 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | 101280871 | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-06-17 13:49 | 41807.5757 | 38.6668 | -122.5964 | Vegetation | Rural | < 3 meters | Fire Agency | Cal Fire | 102247824 |  | 12000 | Conductor | Overhead | Yes | 2014-06-17 13:49 | 41807.5757 | Contact From Object | N.A. | Vehicle | Pole | Human Error
PG&E | 2014-06-17 14:50 | 41807.6181 | 40.9606 | -124.044 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 100979528 | AT&T | 0 – 750 | Conductor | Overhead | Yes | 2014-06-17 14:50 | 41807.6181 | Wire-Wire Contact | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-06-17 16:47 | 41807.6993 | 34.6861 | -120.4327 | Vegetation | Rural | < 3 meters | Self Extinguished |  | 101894765 |  | 12000 | Conductor | Overhead | Yes | 2014-06-17 16:47 | 41807.6993 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-06-17 21:24 | 41807.8917 | 38.418 | -121.1405 | Vegetation | Rural | 10 - 99 Acres | Unknown |  | Twr. 052/320 | None | 115000 | Conductor | Overhead | Yes | 2014-06-17 21:24 | 41807.8917 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-06-18 10:01 | 41808.4174 | 37.8011 | -121.2022 | Vegetation | Urban | .26 - 9.99 Acres | Fire Agency | Manteca FD | 102085311 | Verizon | 17000 | Conductor | Overhead | Yes | 2014-06-18 10:01 | 41808.4174 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-06-18 18:29 | 41808.7701 | 37.3175 | -120.5049 | Vegetation | Urban | < 0.25 Acres | Fire Agency | Cal Fire | 101162090 | AT&T | 0 – 750 | Capacitor Bank | Overhead | No |  |  | Equipment/ Facility Failure | Capacitor Bank | N.A. | N.A. | Unknown
PG&E | 2014-06-19 16:32 | 41809.6889 | 37.9315 | -121.2999 | Vegetation | Urban | < 0.25 Acres | Unknown |  | 102133758 | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Equipment/ Facility Failure | Other | N.A. | N.A. | Unknown | service conductor
PG&E | 2014-06-19 18:54 | 41809.7875 | 38.7802 | -121.5007 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency |  | 101297449 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-06-19 18:54 | 41809.7875 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-06-20 09:47 | 41810.4076 | 34.8651 | -120.3207 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 101862409 |  | 12000 | Conductor | Overhead | Yes | 2014-06-20 09:47 | 41810.4076 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-06-20 12:00 | 41810.5 | 39.6663 | -122.1969 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 100422609 |  | 0 – 750 | Capacitor Bank | Overhead | No |  |  | Equipment/ Facility Failure | Capacitor Bank | N.A. | N.A. | Unknown
PG&E | 2014-06-20 14:15 | 41810.5938 | 40.7802 | -121.5029 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | 101520035 | Frontier | 12000 | Conductor | Overhead | Yes | 2014-06-20 14:15 | 41810.5938 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-06-21 06:49 | 41811.284 | 38.3753 | -122.5494 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | 3111 WARM SPRINGS RD, GLEN ELLEN |  | 12000 | Conductor | Overhead | Yes | 2014-06-21 06:49 | 41811.284 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-06-21 14:36 | 41811.6083 | 38.3644 | -122.2626 | Vegetation | Rural | < 3 meters | Fire Agency | Cal Fire | 102286053 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-06-21 14:36 | 41811.6083 | Contact From Object | N.A. | Vehicle | Pole | Human Error
PG&E | 2014-06-22 08:19 | 41812.3465 | 34.8944 | -120.4245 | Vegetation | Urban | < 3 meters | Unknown |  | 101864052 | Verizon | 12000 | Conductor | Overhead | Yes | 2014-06-22 08:19 | 41812.3465 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-06-23 06:04 | 41813.2528 | 37.5046 | -120.0074 | Vegetation | Rural | < 0.25 Acres | Unknown |  | Pole 007/019 | None | 70000 | Conductor | Overhead | Yes | 2014-06-23 06:04 | 41813.2528 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-06-23 17:45 | 41813.7396 | 39.064 | -121.0225 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency |  | BET: MTR# 1007517420 & FUCO 7495 |  | 12000 | Conductor | Overhead | Yes | 2014-06-23 17:45 | 41813.7396 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-06-24 07:11 | 41814.2993 | 36.7495 | -121.6571 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Salinas FD | 101712215 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-06-24 07:11 | 41814.2993 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-06-24 07:48 | 41814.325 | 37.9037 | -121.6792 | Other | Urban | < 3 meters | Fire Agency | Contra Costa FD | 100485898 | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown | dumpster burned
PG&E | 2014-06-24 14:31 | 41814.6049 | 39.7857 | -121.9066 | Vegetation | Rural | 10 - 99 Acres | Fire Agency | Cal Fire | Mtr 36P580 | None | 12000 | Conductor | Overhead | Yes | 2014-06-24 14:31 | 41814.6049 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-06-24 16:56 | 41814.7056 | 37.974 | -121.3465 | Vegetation | Urban | < 0.25 Acres | Unknown |  | 103190493 |  | 12000 | Conductor | Overhead | Yes | 2014-06-24 16:56 | 41814.7056 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-06-24 17:12 | 41814.7167 | 38.111 | -122.5645 | Vegetation | Urban | .26 - 9.99 Acres | Fire Agency | Novato Fire Department | 102223842 |  | 0 – 750 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-06-25 01:36 | 41815.0667 | 36.8909 | -121.7175 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 101697469 | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Balloons | Electric Facility | Human Error
PG&E | 2014-06-25 08:51 | 41815.3688 | 34.883 | -120.2776 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency |  | LD SIDE MTR 1008835806 |  | 12000 | Conductor | Overhead | Yes | 2014-06-25 08:51 | 41815.3688 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-06-25 08:53 | 41815.3701 | 39.011 | -120.8961 | Vegetation | Rural | .26 - 9.99 Acres | Unknown |  | Main Line N/O buck to 20340 Spring Garden # 1004520726 |  | 12000 | Conductor | Overhead | Yes | 2014-06-25 08:53 | 41815.3701 | Contact From Object | N.A. | Vegetation | Electric Facility | Human Error | Third-party caused
PG&E | 2014-06-25 21:47 | 41815.9076 | 37.9977 | -121.7692 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 100455766 |  | 21000 | Conductor | Overhead | Yes | 2014-06-25 21:47 | 41815.9076 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-06-26 00:15 | 41816.0104 | 36.8002 | -119.7938 | Vegetation | Urban | < 0.25 Acres | Fire Agency | Fresno Fire Dept | 100854012 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-06-26 00:15 | 41816.0104 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-06-28 23:04 | 41818.9611 | 37.8992 | -121.8609 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 100483886 |  | 21000 | Transformer | Overhead | Yes | 2014-06-28 23:04 | 41818.9611 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-06-29 07:59 | 41819.3326 | 38.7794 | -121.5055 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | 101297918 | AT&T | 0 – 750 | Transformer | Overhead | Yes | 2014-06-29 07:59 | 41819.3326 | Equipment/ Facility Failure | Transformer | N.A. | N.A. | Unknown
PG&E | 2014-06-29 08:23 | 41819.3493 | 39.092 | -121.5431 | Vegetation | Urban | < 0.25 Acres | Unknown |  | SB 15745 ARBOGA RD 500' S/O FURNEAUX RD 2 SP EAST |  | 12000 | Conductor | Overhead | Yes | 2014-06-29 08:23 | 41819.3493 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-06-29 19:53 | 41819.8285 | 38.5208 | -123.0607 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 3600 E. AUTSTIN CREEK RD |  | 12000 | Conductor | Overhead | Yes | 2014-06-29 19:53 | 41819.8285 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-06-30 14:08 | 41820.5889 | 38.4492 | -122.8728 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 102022582 | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-06-30 18:25 | 41820.7674 | 39.1449 | -122.1319 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 101629033 |  | 12000 | Conductor | Overhead | Yes | 2014-06-30 18:25 | 41820.7674 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-06-30 20:02 | 41820.8347 | 36.808 | -119.9101 | Vegetation | Urban | < 0.25 Acres | Unknown |  | 100625545 | AT&T | 21000 | Conductor | Overhead | Yes | 2014-06-30 20:02 | 41820.8347 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-07-01 03:46 | 41821.1569 | 37.9005 | -121.2603 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 2 POLES EAST OF C3412 |  | 12000 | Conductor | Overhead | Yes | 2014-07-01 03:46 | 41821.1569 | Contact From Object | N.A. | Vehicle | Pole | Human Error
PG&E | 2014-07-01 06:43 | 41821.2799 | 38.0062 | -122.643 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | West Marin Fire | 102258915 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-07-01 06:43 | 41821.2799 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-01 09:45 | 41821.4062 | 37.4267 | -119.8809 | Vegetation | Rural | .26 - 9.99 Acres | Unknown |  | 101065832 |  | 21000 | Conductor | Overhead | Yes | 2014-07-01 09:45 | 41821.4062 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-07-01 14:36 | 41821.6083 | 38.8649 | -121.7026 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Yolo FD | 101593404 | Verizon | 12000 | Conductor | Overhead | Yes | 2014-07-01 14:36 | 41821.6083 | Contact From Object | N.A. | Vehicle | Communication Facility | Human Error
PG&E | 2014-07-01 18:43 | 41821.7799 | 37.0854 | -121.7607 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 6770 Croy Rd, Morgan Hill |  | 0 – 750 | Conductor | Overhead | Yes | 2014-07-01 18:43 | 41821.7799 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-07-02 13:17 | 41822.5535 | 38.2546 | -122.0509 | Vegetation | Urban | < 0.25 Acres | Fire Agency |  | 101556512 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-07-02 13:17 | 41822.5535 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-07-02 14:29 | 41822.6035 | 40.4737 | -122.4737 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 101481261 | TDS HAPPY VALLEY | 12000 | Conductor | Overhead | Yes | 2014-07-02 14:29 | 41822.6035 | Vandalism/Theft | N.A. | N.A. | N.A. | Human Error | Third-party caused
PG&E | 2014-07-02 17:17 | 41822.7201 | 35.0534 | -119.4088 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | Mtr. 1004492840 |  | 0 – 750 | Transformer | Overhead | Yes | 2014-07-02 17:17 | 41822.7201 | Equipment/ Facility Failure | Transformer | N.A. | N.A. | Unknown
PG&E | 2014-07-03 11:37 | 41823.484 | 37.3349 | -120.851 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 101207072 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-07-03 11:37 | 41823.484 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-07-03 19:22 | 41823.8069 | 39.4915 | -121.5385 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 100369965 |  | 12000 | Other | Subsurface | Yes | 2014-07-03 19:22 | 41823.8069 | Equipment/ Facility Failure | Other | N.A. | N.A. | Unknown
PG&E | 2014-07-03 20:28 | 41823.8528 | 40.6584 | -122.3215 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | T1192 |  | 12000 | Other | Padmounted | Yes | 2014-07-03 20:28 | 41823.8528 | Equipment/ Facility Failure | Other | N.A. | N.A. | Unknown
PG&E | 2014-07-04 01:40 | 41824.0694 | 39.3337 | -121.1391 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | 100001697 |  | 12000 | Transformer | Overhead | Yes | 2014-07-04 01:40 | 41824.0694 | Equipment/ Facility Failure | Transformer | N.A. | N.A. | Unknown
PG&E | 2014-07-04 06:52 | 41824.2861 | 37.184 | -121.7416 | Vegetation | Rural | < 3 meters | Unknown |  | Sw 73367 |  | 21000 | Other | Overhead | Yes | 2014-07-04 06:52 | 41824.2861 | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-07-05 03:30 | 41825.1458 | 35.4596 | -120.7292 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 101934121 |  | 12000 | Conductor | Overhead | Yes | 2014-07-05 03:30 | 41825.1458 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-05 05:33 | 41825.2312 | 37.2494 | -121.0126 | Other | Rural | < 3 meters | Fire Agency |  | 101219229 |  | 0 – 750 | Conductor | Overhead | No |  |  | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown | debris burned
PG&E | 2014-07-05 10:09 | 41825.4229 | 39.7785 | -121.59 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Butte County FD | 100399511 |  | 12000 | Transformer | Overhead | Yes | 2014-07-05 10:09 | 41825.4229 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-07-05 23:17 | 41825.9701 | 39.8198 | -121.6262 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | 100355517 |  | 12000 | Conductor | Overhead | Yes | 2014-07-05 23:17 | 41825.9701 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-06 17:00 | 41826.7083 | 37.9469 | -122.0936 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Contra Costa FD | 100460181 | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-07-06 19:19 | 41826.8049 | 38.7489 | -123.285 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | 6 SPANS FROM EOL TWD FUCO 4605 |  | 12000 | Conductor | Overhead | Yes | 2014-07-06 19:19 | 41826.8049 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-07 20:43 | 41827.8632 | 36.8494 | -119.88 | Vegetation | Urban | < 0.25 Acres | Fire Agency |  | NE of D9200 |  | 21000 | Conductor | Overhead | Yes | 2014-07-07 20:43 | 41827.8632 | Contact From Object | N.A. | Other | Electric Facility | Human Error | suspect large crane
PG&E | 2014-07-07 23:49 | 41827.9924 | 37.0327 | -120.3105 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 101090847 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-07-07 23:49 | 41827.9924 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-07-08 11:07 | 41828.4632 | 37.9054 | -121.2198 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 102131509 |  | 12000 | Capacitor Bank | Overhead | Yes | 2014-07-08 11:07 | 41828.4632 | Equipment/ Facility Failure | Capacitor Bank | N.A. | N.A. | Unknown
PG&E | 2014-07-08 11:41 | 41828.4868 | 36.7016 | -121.5768 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 101722884 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-07-08 11:41 | 41828.4868 | Contact From Object | N.A. | Vegetation | Electric Facility | Human Error | Third-party caused
PG&E | 2014-07-08 12:34 | 41828.5236 | 36.3905 | -121.6148 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 5 SPANS BEYOND FU-9383 |  | 12000 | Conductor | Overhead | Yes | 2014-07-08 12:34 | 41828.5236 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-08 22:39 | 41828.9437 | 39.0437 | -120.5905 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 22640 PLUMTREE RD |  | 12000 | Conductor | Overhead | Yes | 2014-07-08 22:39 | 41828.9437 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-09 14:42 | 41829.6125 | 38.6058 | -120.7118 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 6851 Mount Aukum Rd, Somerset |  | 0 – 750 | Conductor | Overhead | No |  |  | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-07-10 14:37 | 41830.609 | 39.2319 | -123.1399 | Vegetation | Rural | < 0.25 Acres | Unknown |  | MTR 1009774604 |  | 12000 | Conductor | Overhead | Yes | 2014-07-10 14:37 | 41830.609 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-11 01:42 | 41831.0708 | 39.2121 | -121.2978 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | Pole 000/006 |  | 60000 | Conductor | Overhead | Yes | 2014-07-11 01:42 | 41831.0708 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-07-11 14:07 | 41831.5882 | 36.9456 | -121.7668 | Vegetation | Urban | < 0.25 Acres | Fire Agency | Cal Fire | 101709439 |  | 21000 | Conductor | Overhead | Yes | 2014-07-11 14:07 | 41831.5882 | Contact From Object | N.A. | Balloons | Electric Facility | Human Error
PG&E | 2014-07-11 15:15 | 41831.6354 | 38.9108 | -122.01 | Vegetation | Rural | .26 - 9.99 Acres | Unknown |  | 101651518 |  | 12000 | Transformer | Overhead | Yes | 2014-07-11 15:15 | 41831.6354 | Equipment/ Facility Failure | Transformer | N.A. | N.A. | Unknown
PG&E | 2014-07-11 21:56 | 41831.9139 | 37.8953 | -121.857 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Contra Costa FD | 102347574 | AT&T | 21000 | Conductor | Overhead | Yes | 2014-07-11 21:56 | 41831.9139 | Contact From Object | N.A. | Vehicle | Pole | Human Error
PG&E | 2014-07-12 16:25 | 41832.684 | 36.5359 | -121.4173 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | Mtr. 1006729371 |  | 12000 | Conductor | Overhead | Yes | 2014-07-12 16:25 | 41832.684 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-07-12 19:52 | 41832.8278 | 40.7779 | -121.9997 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | 6 SPANS E/OF MTR 5000068877 |  | 12000 | Conductor | Overhead | Yes | 2014-07-12 19:52 | 41832.8278 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-13 18:42 | 41833.7792 | 38.9756 | -123.6807 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 43712 CRISPIN RD |  | 12000 | Conductor | Overhead | Yes | 2014-07-13 18:42 | 41833.7792 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-14 09:36 | 41834.4 | 37.9832 | -122.0696 | Vegetation | Urban | < 0.25 Acres | Customer |  | 100460487 | AT&T | 21000 | Conductor | Overhead | Yes | 2014-07-14 09:36 | 41834.4 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-07-14 16:41 | 41834.6951 | 37.5362 | -122.295 | Vegetation | Urban | < 0.25 Acres | Unknown |  | 100271153 | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Balloons | Electric Facility | Human Error
PG&E | 2014-07-15 09:00 | 41835.375 | 38.4189 | -120.5195 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | 101244892 |  | 12000 | Conductor | Overhead | Yes | 2014-07-15 09:00 | 41835.375 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-15 16:32 | 41835.6889 | 38.2558 | -122.0487 | Vegetation | Urban | < 0.25 Acres | Fire Agency |  | 1244 Grant St, Fairfield |  | 0 – 750 | Conductor | Overhead | No |  |  | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-07-16 01:29 | 41836.0618 | 38.7363 | -121.4365 | Vegetation | Rural | .26 - 9.99 Acres | Unknown |  | 100102912 |  | 12000 | Unknown | Overhead | Yes | 2014-07-16 01:29 | 41836.0618 | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-07-17 13:56 | 41837.5806 | 35.2421 | -119.105 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 1 POLE E/OF NORIEGA AND HEATH |  | 21000 | Conductor | Overhead | Yes | 2014-07-17 13:56 | 41837.5806 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-17 15:14 | 41837.6347 | 39.8104 | -122.33 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | 1 POLE W/OF MTR #1008817785 |  | 12000 | Conductor | Overhead | Yes | 2014-07-17 15:14 | 41837.6347 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-07-17 17:24 | 41837.725 | 37.3748 | -122.0825 | Vegetation | Urban | < 3 meters | Unknown |  | 3P N/O 1715 |  | 12000 | Conductor | Overhead | Yes | 2014-07-17 17:24 | 41837.725 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-20 03:07 | 41840.1299 | 37.4523 | -122.2524 | Other | Urban | Structure Only | Fire Agency | Redwood City FD | 1045 Silver Hill Rd, Redwood City |  | 12000 | Conductor | Overhead | Yes | 2014-07-20 03:07 | 41840.1299 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown | play structure burned
PG&E | 2014-07-20 12:23 | 41840.516 | 37.6761 | -119.7969 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | NPS | Twr. 038/224 |  | 70000 | Conductor | Overhead | Yes | 2014-07-20 12:23 | 41840.516 | Contact From Object | N.A. | Other | Electric Facility | Weather | lightning strike
PG&E | 2014-07-20 12:44 | 41840.5306 | 38.3931 | -121.5937 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 101652420 |  | 21000 | Conductor | Overhead | Yes | 2014-07-20 12:44 | 41840.5306 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-07-21 09:57 | 41841.4146 | 37.5929 | -121.3417 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | 3401 Gaffery Rd, Vernalis |  | 12000 | Conductor | Overhead | Yes | 2014-07-21 09:57 | 41841.4146 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-07-22 14:53 | 41842.6201 | 37.0686 | -121.6696 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 100607514 | Verizon | 0 – 750 | Conductor | Overhead | No |  |  | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-07-22 20:09 | 41842.8396 | 37.9516 | -120.4597 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 101012452 |  | 0 – 750 | Conductor | Overhead | Yes | 2014-07-22 20:09 | 41842.8396 | Equipment/ Facility Failure | Other | N.A. | N.A. | Unknown
PG&E | 2014-07-23 12:16 | 41843.5111 | 35.291 | -120.6593 | Other | Urban | Structure Only | Fire Agency | San Luis Obispo FD | 103351214 |  | 12000 | Conductor | Overhead | Yes | 2014-07-23 12:16 | 41843.5111 | Contact From Object | N.A. | Vehicle | Pole | Human Error | vehicle burned
PG&E | 2014-07-24 01:04 | 41844.0444 | 37.0813 | -122.1426 | Vegetation | Rural | < 3 meters | Fire Agency | Cal Fire | 1 SP SS OF MTR 1008516620 |  | 12000 | Conductor | Overhead | Yes | 2014-07-24 01:04 | 41844.0444 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-24 10:59 | 41844.4576 | 40.024 | -122.0956 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 101537326 | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-24 11:56 | 41844.4972 | 38.3915 | -122.9305 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | 2 SPANS LOAD SIDE OF 1691 |  | 12000 | Conductor | Overhead | Yes | 2014-07-24 11:56 | 41844.4972 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-24 15:26 | 41844.6431 | 37.4465 | -122.2719 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency |  | Pole 000/019 | AT&T | 60000 | Conductor | Overhead | Yes | 2014-07-24 15:26 | 41844.6431 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-24 15:51 | 41844.6604 | 39.8368 | -121.7039 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 4 & 5 POLES S/OF LR 2028 |  | 12000 | Conductor | Overhead | Yes | 2014-07-24 15:51 | 41844.6604 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-24 19:28 | 41844.8111 | 39.045 | -121.1728 | Vegetation | Rural | .26 - 9.99 Acres | Unknown |  | 16243 Tierra Rd, Grass Valley |  | 12000 | Conductor | Overhead | Yes | 2014-07-24 19:28 | 41844.8111 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-25 12:16 | 41845.5111 | 39.6492 | -121.8714 | Vegetation | Rural | < 3 meters | Unknown |  | 100356542 |  | 0 – 750 | Conductor | Overhead | No |  |  | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-07-26 05:02 | 41846.2097 | 39.2615 | -121.5746 | Vegetation | Rural | < 0.25 Acres | Self Extinguished |  | Twr. 001/110 |  | 115000 | Other | Overhead | Yes | 2014-07-26 05:02 | 41846.2097 | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-07-26 15:26 | 41846.6431 | 37.6655 | -119.8417 | Vegetation | Rural | 1000 - 4999 Acres | Fire Agency | NPS | 101084253 |  | 12000 | Conductor | Overhead | Yes | 2014-07-26 15:26 | 41846.6431 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-27 04:17 | 41847.1785 | 37.7926 | -120.775 | Other | Rural | Structure Only | Fire Agency | Oakdale FD | 102334307 |  | 17000 | Conductor | Overhead | Yes | 2014-07-27 04:17 | 41847.1785 | Contact From Object | N.A. | Vehicle | Pole | Human Error | car / garage burned
PG&E | 2014-07-27 06:54 | 41847.2875 | 35.6005 | -121.1155 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | MAIN LINE LOAD SIDE FUSE TAP 5027 |  | 12000 | Conductor | Overhead | Yes | 2014-07-27 06:54 | 41847.2875 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-07-27 16:30 | 41847.6875 | 35.572 | -121.0579 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | Pole 014/099 |  | 70000 | Conductor | Overhead | Yes | 2014-07-27 16:30 | 41847.6875 | Equipment/ Facility Failure | Other | N.A. | N.A. | Unknown
PG&E | 2014-07-27 17:40 | 41847.7361 | 37.4482 | -119.9095 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency |  | 101087619 |  | 21000 | Conductor | Overhead | Yes | 2014-07-27 17:40 | 41847.7361 | Other | N.A. | N.A. | N.A. | Outside Force | woodpecker damage
PG&E | 2014-07-28 00:46 | 41848.0319 | 37.3145 | -121.0158 | Other | Urban | Structure Only | Fire Agency |  | 101229360 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-07-28 00:46 | 41848.0319 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown | shack burned
PG&E | 2014-07-28 16:00 | 41848.6667 | 37.6855 | -121.7313 | Vegetation | Urban | < 3 meters | Unknown |  | 967 Lynn St, Liverfmore |  | 12000 | Conductor | Overhead | Yes | 2014-07-28 16:00 | 41848.6667 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-07-28 19:05 | 41848.7951 | 39.6682 | -123.6442 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | MM 11.25 |  | 12000 | Conductor | Overhead | Yes | 2014-07-28 19:05 | 41848.7951 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-30 04:36 | 41850.1917 | 36.8765 | -121.6646 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 101699196 | AT&T | 21000 | Conductor | Overhead | Yes | 2014-07-30 04:36 | 41850.1917 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-07-30 10:42 | 41850.4458 | 39.3286 | -121.3836 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 101292419 |  | 12000 | Conductor | Overhead | Yes | 2014-07-30 10:42 | 41850.4458 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-07-30 17:35 | 41850.7326 | 38.6483 | -120.6931 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 101403817 | AT&T | 21000 | Unknown | Overhead | Yes | 2014-07-30 17:35 | 41850.7326 | Equipment/ Facility Failure | Voltage Regulator | N.A. | N.A. | Unknown
PG&E | 2014-07-31 12:41 | 41851.5285 | 37.8782 | -122.4634 | Vegetation | Urban | < 0.25 Acres | Fire Agency | Tiburon | 102295755 |  | 12000 | Conductor | Overhead | Yes | 2014-07-31 12:41 | 41851.5285 | Contact From Object | N.A. | Vehicle | Pole | Human Error
PG&E | 2014-07-31 15:00 | 41851.625 | 39.0424 | -122.9206 | Vegetation | Urban | < 0.25 Acres | Fire Agency | Lakeport Fire Dept. | 102164900 | AT&T | 0 – 750 | Conductor | Overhead | Yes | 2014-07-31 15:00 | 41851.625 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-07-31 22:08 | 41851.9222 | 38.5343 | -120.0571 | Vegetation | Rural | .26 - 9.99 Acres | Unknown |  | 4 SPANS SOUTH OF LR-2404 |  | 12000 | Conductor | Overhead | Yes | 2014-07-31 22:08 | 41851.9222 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-08-01 16:17 | 41852.6785 | 39.6253 | -121.4524 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 709 Encina Grande Road |  | 0 – 750 | Other | Overhead | No |  |  | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-08-02 00:04 | 41853.0028 | 37.6063 | -122.3898 | Vegetation | Urban | < 0.25 Acres | Unknown |  | Twr. 000/002 |  | 115000 | Conductor | Overhead | Yes | 2014-08-02 00:04 | 41853.0028 | Contact From Object | N.A. | Balloons | Electric Facility | Human Error
PG&E | 2014-08-02 10:38 | 41853.4431 | 36.6118 | -119.3057 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 100710225 |  | 12000 | Fuse | Overhead | Yes | 2014-08-02 10:38 | 41853.4431 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-08-03 16:11 | 41854.6743 | 39.6444 | -121.788 | Vegetation | Rural | < 0.25 Acres | Unknown |  | MTR 1007460127 |  | 12000 | Conductor | Overhead | Yes | 2014-08-03 16:11 | 41854.6743 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-08-04 04:18 | 41855.1792 | 37.1063 | -121.6367 | Vegetation | Urban | < 0.25 Acres | Fire Agency | Cal Fire | 100606026 | Verizon | 21000 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Vehicle | Communication Facility | Human Error
PG&E | 2014-08-05 00:08 | 41856.0056 | 38.7805 | -121.4894 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | 101297005 |  | 12000 | Conductor | Overhead | Yes | 2014-08-05 00:08 | 41856.0056 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-08-05 02:57 | 41856.1229 | 38.5704 | -121.1023 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 7150 MEARS DR #A AUBURN |  | 12000 | Conductor | Overhead | Yes | 2014-08-05 02:57 | 41856.1229 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-08-05 12:03 | 41856.5021 | 39.2155 | -121.3029 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | Str. 010/122 |  | 60000 | Conductor | Overhead | Yes | 2014-08-05 12:03 | 41856.5021 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-08-05 14:50 | 41856.6181 | 37.342 | -121.632 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | MTR 1009312709 |  | 0 – 750 | Transformer | Overhead | Yes | 2014-08-05 14:50 | 41856.6181 | Equipment/ Facility Failure | Transformer | N.A. | N.A. | Unknown
PG&E | 2014-08-05 16:13 | 41856.6757 | 37.5634 | -119.9395 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | MTR 1006385335 |  | 0 – 750 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-08-05 17:12 | 41856.7167 | 36.9188 | -119.6767 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 100725159 |  | 0 – 750 | Conductor | Overhead | No |  |  | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-08-05 21:41 | 41856.9035 | 38.0031 | -122.327 | Vegetation | Urban | < 0.25 Acres | Fire Agency | Contra Costa FD | 101426924 |  | 0 – 750 | Conductor | Overhead | No |  |  | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-08-08 18:17 | 41859.7618 | 40.0011 | -122.2261 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 101530848 |  | 12000 | Conductor | Overhead | Yes | 2014-08-08 18:17 | 41859.7618 | Contact From Object | N.A. | Vehicle | Pole | Human Error
PG&E | 2014-08-09 02:53 | 41860.1201 | 38.3011 | -122.8963 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 2 SPANS SOURCE SIDE OF 30501 SHORLINE HWY, FALLON |  | 12000 | Conductor | Overhead | Yes | 2014-08-09 02:53 | 41860.1201 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-08-09 15:36 | 41860.65 | 36.6852 | -119.045 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | MTR#1005057583 |  | 12000 | Conductor | Overhead | Yes | 2014-08-09 15:36 | 41860.65 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-08-11 09:23 | 41862.391 | 37.9118 | -120.3489 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | 2 SPAN LOADSIDE FCO 20835 |  | 17000 | Conductor | Overhead | Yes | 2014-08-11 09:23 | 41862.391 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-08-11 14:35 | 41862.6076 | 39.6725 | -121.4983 | Vegetation | Rural | < 0.25 Acres | Unknown |  | Twr 022/146 |  | 230000 | Other | Overhead | Yes | 2014-08-11 14:35 | 41862.6076 | Contact From Object | N.A. | Other | Electric Facility | Weather | lightning strike
PG&E | 2014-08-12 08:58 | 41863.3736 | 36.7406 | -121.7676 | Vegetation | Rural | < 3 meters | Unknown |  | S/S MONTE RD 4 SPANS S/O NASHUA RD, CASTROVILLE |  | 21000 | Other | Overhead | Yes | 2014-08-12 08:58 | 41863.3736 | Equipment/ Facility Failure | Other | N.A. | N.A. | Unknown
PG&E | 2014-08-12 09:42 | 41863.4042 | 39.2632 | -121.5975 | Other | Rural | Structure Only | Unknown |  | 101287419 |  | 12000 | Conductor | Overhead | Yes | 2014-08-12 09:42 | 41863.4042 | Contact From Object | N.A. | Vehicle | Pole | Human Error | vehicle burned
PG&E | 2014-08-12 15:38 | 41863.6514 | 38.7771 | -120.2657 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency |  | WEST SIDE OF SW 6161 |  | 21000 | Conductor | Overhead | Yes | 2014-08-12 15:38 | 41863.6514 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-08-14 10:46 | 41865.4486 | 38.0124 | -120.5861 | Vegetation | Rural | < 3 meters | Unknown |  | 101272971 | AT&T | 17000 | Conductor | Overhead | Yes | 2014-08-14 10:46 | 41865.4486 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-08-14 14:57 | 41865.6229 | 38.5099 | -122.8371 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | 102028597 | AT&T | 0 – 750 | Conductor | Overhead | Yes | 2014-08-14 14:57 | 41865.6229 | Wire-Wire Contact | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-08-15 11:01 | 41866.459 | 40.5841 | -122.4447 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Redding Fire Dept | 101473764 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-08-15 11:01 | 41866.459 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-08-16 07:30 | 41867.3125 | 39.2938 | -121.6378 | Vegetation | Rural | < 0.25 Acres | Unknown |  | mtr # 1007536106 |  | 12000 | Conductor | Overhead | Yes | 2014-08-16 07:30 | 41867.3125 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-08-17 07:27 | 41868.3104 | 37.322 | -119.6345 | Vegetation | Rural | < 0.25 Acres | Unknown |  | RISER 10393 |  | 12000 | Conductor | Overhead | Yes | 2014-08-17 07:27 | 41868.3104 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-08-17 17:33 | 41868.7312 | 35.0579 | -118.9175 | Other | Rural | Structure Only | Unknown |  | 100175838 |  | 12000 | Conductor | Overhead | Yes | 2014-08-17 17:33 | 41868.7312 | Contact From Object | N.A. | Vehicle | Pole | Human Error | vehicle burned
PG&E | 2014-08-19 03:06 | 41870.1292 | 37.6326 | -122.4526 | Other | Urban | Structure Only | Fire Agency |  | 100316145 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-08-19 03:06 | 41870.1292 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown | vehicle burned
PG&E | 2014-08-19 21:05 | 41870.8785 | 37.8165 | -120.1322 | Vegetation | Rural | < 3 meters | Fire Agency | Groveland Fire | 23111 ELMORE RD, GROVELAND |  | 17000 | Conductor | Overhead | Yes | 2014-08-19 21:05 | 41870.8785 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-08-20 14:22 | 41871.5986 | 38.8305 | -121.2014 | Vegetation | Urban | < 0.25 Acres | Fire Agency |  | 100051560 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-08-20 14:22 | 41871.5986 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-08-20 16:07 | 41871.6715 | 40.1938 | -123.7678 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | 103316088 |  | 12000 | Conductor | Overhead | Yes | 2014-08-20 16:07 | 41871.6715 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-08-21 | 41872 | 37.3965 | -121.0716 | Vegetation | Rural | < 0.25 Acres | Unknown |  | Eastin Rd, south of Hwy 33, Crows Landing |  | 12000 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-08-23 08:36 | 41874.3583 | 37.9863 | -120.3918 | Vegetation | Urban | < 0.25 Acres | Fire Agency | Cal Fire | 101049418 | AT&T | 17000 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-08-24 11:08 | 41875.4639 | 37.9418 | -121.3183 | Vegetation | Urban | < 0.25 Acres | Fire Agency | Stockton FD | 102109203 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-08-24 11:08 | 41875.4639 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-08-27 06:51 | 41878.2854 | 38.3603 | -122.0178 | Vegetation | Urban | < 0.25 Acres | Unknown |  | foothill w/o auburn, Vacaville |  | 12000 | Conductor | Overhead | Yes | 2014-08-27 06:51 | 41878.2854 | Contact From Object | N.A. | Vehicle | Pole | Human Error
PG&E | 2014-08-27 15:19 | 41878.6382 | 38.593 | -122.9183 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 3103 MILL CREEK RD |  | 12000 | Conductor | Overhead | Yes | 2014-08-27 15:19 | 41878.6382 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-08-28 | 41879 | 40.3886 | -122.4068 | Vegetation | Rural | < 3 meters | Unknown |  | Gas Point Rd and Happy Valley Rd, Cottonwood | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-08-28 13:51 | 41879.5771 | 36.2607 | -119.8573 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | Pole 003/003 |  | 70000 | Conductor | Overhead | Yes | 2014-08-28 13:51 | 41879.5771 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-08-29 19:21 | 41880.8063 | 37.7871 | -120.7636 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 1 SP N/of 6567 |  | 17000 | Conductor | Overhead | Yes | 2014-08-29 19:21 | 41880.8063 | Contact From Object | N.A. | Vehicle | Pole | Human Error
PG&E | 2014-08-30 12:08 | 41881.5056 | 39.7611 | -121.8593 | Vegetation | Urban | < 0.25 Acres | Fire Agency |  | 100349953 | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-08-30 15:40 | 41881.6528 | 37.6381 | -121.3334 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency |  | 102052361 | AT&T | 12000 | Fuse | Overhead | Yes | 2014-08-30 15:40 | 41881.6528 | Equipment/ Facility Failure | Fuse | N.A. | N.A. | Unknown
PG&E | 2014-08-30 18:34 | 41881.7736 | 37.3551 | -121.7979 | Vegetation | Rural | < 3 meters | Unknown |  | 100575446 | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Wire-Wire Contact | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-08-31 02:12 | 41882.0917 | 38.4194 | -122.9496 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 2520 SteppsRd, Sebastopol |  | 12000 | Conductor | Overhead | Yes | 2014-08-31 02:12 | 41882.0917 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-09-01 15:58 | 41883.6653 | 37.06 | -122.1663 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | At FUCO 2541 |  | 12000 | Conductor | Overhead | Yes | 2014-09-01 15:58 | 41883.6653 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-09-02 03:49 | 41884.159 | 37.4946 | -122.1424 | Vegetation | Urban | < 0.25 Acres | Self Extinguished |  | Pole 000/003 |  | 115000 | Other | Overhead | Yes | 2014-09-02 03:49 | 41884.159 | Contamination | N.A. | N.A. | N.A. | Weather
PG&E | 2014-09-03 07:05 | 41885.2951 | 38.3022 | -120.9474 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | Fuse 8885 |  | 12000 | Transformer | Overhead | Yes | 2014-09-03 07:05 | 41885.2951 | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-09-03 13:21 | 41885.5563 | 37.9041 | -122.2297 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Orinda FD | 10/N/OF Sw 8455, EAST OF WILDCAT CANYON |  | 12000 | Conductor | Overhead | Yes | 2014-09-03 13:21 | 41885.5563 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-09-04 00:34 | 41886.0236 | 39.1451 | -122.0818 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | 5 POLES E/O MTR 1007307850 |  | 12000 | Conductor | Overhead | Yes | 2014-09-04 00:34 | 41886.0236 | Contact From Object | N.A. | Vehicle | Pole | Human Error
PG&E | 2014-09-06 16:42 | 41888.6958 | 37.8708 | -121.3803 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Tracy FD | 102064435 |  | 0 – 750 | Conductor | Overhead | No |  |  | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-09-07 06:33 | 41889.2729 | 36.5907 | -119.5212 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Tulare County FD | 100876971 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-09-07 06:33 | 41889.2729 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-09-09 09:54 | 41891.4125 | 39.1531 | -121.0771 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 100066768 | AT&T | 12000 | Other | Overhead | Yes | 2014-09-09 09:54 | 41891.4125 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-09-10 | 41892 | 39.185 | -121.6887 | Vegetation | Rural | < 0.25 Acres | Unknown |  | North Township Rd, Sutter |  | 0 – 750 | Other | Overhead | No |  |  | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-09-11 11:39 | 41893.4854 | 38.5383 | -121.0651 | Vegetation | Rural | .26 - 9.99 Acres | Unknown |  | 1001 BONNIE LN, AUBURN CA |  | 12000 | Conductor | Overhead | Yes | 2014-09-11 11:39 | 41893.4854 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-09-12 05:20 | 41894.2222 | 38.0282 | -121.1752 | Vegetation | Rural | < 0.25 Acres | Unknown |  | 102127295 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-09-12 05:20 | 41894.2222 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-09-13 17:25 | 41895.7257 | 37.5362 | -120.49 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Merced FD | 376 Keyes Rd, Merced |  | 0 – 750 | Conductor | Overhead | Yes | 2014-09-13 17:25 | 41895.7257 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-09-14 14:47 | 41896.616 | 37.6985 | -120.1871 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | Mtr 1006736074 |  | 21000 | Conductor | Overhead | Yes | 2014-09-14 14:47 | 41896.616 | Equipment/ Facility Failure | Insulator | N.A. | N.A. | Unknown
PG&E | 2014-09-15 19:22 | 41897.8069 | 37.2451 | -122.0096 | Vegetation | Urban | < 3 meters | Fire Agency |  | 15200 FRUITVALE AVE |  | 12000 | Conductor | Overhead | Yes | 2014-09-15 19:22 | 41897.8069 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-09-16 12:56 | 41898.5389 | 38.4518 | -122.3729 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 102254607 | AT&T | 21000 | Unknown | Overhead | Yes | 2014-09-16 12:56 | 41898.5389 | Contact From Object | N.A. | Vehicle | Communication Facility | Human Error
PG&E | 2014-09-17 08:36 | 41899.3583 | 36.8312 | -121.5582 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency |  | 101720674 |  | 21000 | Conductor | Overhead | Yes | 2014-09-17 08:36 | 41899.3583 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-09-17 11:49 | 41899.4924 | 39.7575 | -122.2202 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency |  | 100367963 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-09-17 11:49 | 41899.4924 | Contact From Object | N.A. | Vehicle | Pole | Human Error
PG&E | 2014-09-17 14:47 | 41899.616 | 37.2304 | -121.9058 | Vegetation | Urban | < 0.25 Acres | Fire Agency |  | 100547281 | AT&T | 0 – 750 | Other | Overhead | No |  |  | Equipment/ Facility Failure | Transformer | N.A. | N.A. | Unknown
PG&E | 2014-09-18 13:00 | 41900.5417 | 39.5521 | -121.9085 | Vegetation | Rural | 300 - 999 Acres | Fire Agency | Cal Fire | 12th pole s/of Fuse 1619 | None | 12000 | Conductor | Overhead | Yes | 2014-09-18 13:00 | 41900.5417 | Equipment/ Facility Failure | Pole | N.A. | N.A. | Unknown
PG&E | 2014-09-19 08:44 | 41901.3639 | 39.262 | -121.3771 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 1w/17927 |  | 12000 | Conductor | Overhead | Yes | 2014-09-19 08:44 | 41901.3639 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-09-20 | 41902 | 38.5631 | -121.5275 | Vegetation | Urban | < 0.25 Acres | Fire Agency | West Sacramento FD | Jefferson Blvd and Stone Blvd, West Sacramento |  | 0 – 750 | Lightning Arrestor | Overhead | No |  |  | Equipment/ Facility Failure | Lightning Arrestor | N.A. | N.A. | Unknown
PG&E | 2014-09-20 07:02 | 41902.2931 | 37.4552 | -122.2511 | Vegetation | Urban | < 0.25 Acres | Unknown |  | 100300898 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-09-20 07:02 | 41902.2931 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-09-21 04:54 | 41903.2042 | 39.6884 | -121.8541 | Vegetation | Rural | < 3 meters | Fire Agency | Cal Fire | 100438591 |  | 12000 | Conductor | Overhead | Yes | 2014-09-21 04:54 | 41903.2042 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-09-23 10:05 | 41905.4201 | 39.1104 | -121.3338 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Beale AFB | Pole 007/138 |  | 60000 | Conductor | Overhead | Yes | 2014-09-23 10:05 | 41905.4201 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-09-23 10:53 | 41905.4535 | 38.815 | -120.9024 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 6871 marshall rd lotus |  | 21000 | Conductor | Overhead | Yes | 2014-09-23 10:53 | 41905.4535 | Contact From Object | N.A. | Vegetation | Electric Facility | Human Error | Third-party caused
PG&E | 2014-09-25 02:58 | 41907.1236 | 37.3887 | -121.9972 | Vegetation | Urban | < 0.25 Acres | Fire Agency |  | 100549375 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-09-25 02:58 | 41907.1236 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-09-25 20:27 | 41907.8521 | 35.4405 | -118.8611 | Vegetation | Rural | < 0.25 Acres | Unknown |  | Riser 823277 |  | 12000 | Conductor | Overhead | Yes | 2014-09-25 20:27 | 41907.8521 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-09-27 14:03 | 41909.5854 | 37.0003 | -121.5657 | Vegetation | Urban | < 0.25 Acres | Unknown |  | Monteerey Rd x Las Animas Ave, Gilroy |  | 0 – 750 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Balloons | Electric Facility | Human Error
PG&E | 2014-09-27 17:54 | 41909.7458 | 40.3774 | -122.3386 | Vegetation | Rural | < 3 meters | Unknown |  | MTR# 1009679394 |  | 12000 | Conductor | Overhead | Yes | 2014-09-27 17:54 | 41909.7458 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-09-29 14:26 | 41911.6014 | 36.7995 | -121.7693 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Monterey County FD | 2 POLES SS 0F 5877 |  | 12000 | Conductor | Overhead | Yes | 2014-09-29 14:26 | 41911.6014 | Contact From Object | N.A. | Vehicle | Pole | Human Error
PG&E | 2014-09-30 11:41 | 41912.4868 | 37.0764 | -120.1966 | Vegetation | Rural | < 0.25 Acres | Customer |  | 22491 Fairmead Blvd, Chowchilla |  | 0 – 750 | Other | Overhead | No |  |  | Equipment/ Facility Failure | Other | N.A. | N.A. | Unknown
PG&E | 2014-09-30 14:08 | 41912.5889 | 37.5303 | -122.3228 | Vegetation | Urban | < 3 meters | Unknown |  | 100265805 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-09-30 14:08 | 41912.5889 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-10-01 12:02 | 41913.5014 | 37.9248 | -121.2084 | Vegetation | Rural | < 3 meters | Fire Agency | Stockton FD | 5252 E. Mariposa Rd, Stockton |  | 0 – 750 | Other | Overhead | No |  |  | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-10-01 12:18 | 41913.5125 | 39.7261 | -121.8605 | Vegetation | Urban | < 0.25 Acres | Fire Agency | Cal Fire | 1920 WEBB AVE, Chico |  | 0 – 750 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-10-01 13:24 | 41913.5583 | 37.5505 | -122.3051 | Vegetation | Urban | < 0.25 Acres | Fire Agency |  | 2030 So. Delaware, San Mateo |  | 12000 | Conductor | Overhead | Yes | 2014-10-01 13:24 | 41913.5583 | Contact From Object | N.A. | Vehicle | Communication Facility | Human Error
PG&E | 2014-10-01 15:04 | 41913.6278 | 35.6316 | -119.2568 | Vegetation | Rural | < 0.25 Acres | Unknown |  | Service pole at SW SW 26 26 25, Wasco |  | 0 – 750 | Conductor | Overhead | No |  |  | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-10-04 16:09 | 41916.6729 | 37.9451 | -121.9676 | Vegetation | Urban | < 3 meters | Fire Agency | Contra Costa FD | 100468587 | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Wire-Wire Contact | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-10-04 17:00 | 41916.7083 | 39.9607 | -122.1484 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | SS/ ORANGEWOOD RD; 800' E/O PIEMONT RD, RICHFIELD |  | 0 – 750 | Conductor | Overhead | Yes | 2014-10-04 17:00 | 41916.7083 | Equipment/ Facility Failure | Transformer | N.A. | N.A. | Unknown
PG&E | 2014-10-05 10:12 | 41917.425 | 37.6802 | -122.4707 | Vegetation | Urban | < 0.25 Acres | Fire Agency | Daly City FD | Capactitor C821 |  | 0 – 750 | Capacitor Bank | Overhead | No |  |  | Equipment/ Facility Failure | Capacitor Bank | N.A. | N.A. | Unknown
PG&E | 2014-10-05 22:32 | 41917.9389 | 37.1225 | -121.9994 | Vegetation | Rural | .26 - 9.99 Acres | Unknown |  | 100519255 | Verizon | 21000 | Conductor | Overhead | Yes | 2014-10-05 22:32 | 41917.9389 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-10-06 08:53 | 41918.3701 | 38.8926 | -122.7377 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 2 SPANS PAST FUSES 2309 |  | 12000 | Conductor | Overhead | Yes | 2014-10-06 08:53 | 41918.3701 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-10-07 11:35 | 41919.4826 | 35.072 | -120.5905 | Vegetation | Rural | < 0.25 Acres | Fire Agency | SLO FD | at Fuse 8047 |  | 12000 | Conductor | Subsurface | Yes | 2014-10-07 11:35 | 41919.4826 | Contact From Object | N.A. | Other | Electric Facility | Human Error | Third-party dig-in
PG&E | 2014-10-08 14:21 | 41920.5979 | 34.6455 | -120.4118 | Vegetation | Rural | < 3 meters | Fire Agency | Santa Barbara FD | MTR #1008628785 |  | 12000 | Conductor | Overhead | No |  |  | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-10-09 08:25 | 41921.3507 | 37.9589 | -121.3343 | Other | Urban | Structure Only | Fire Agency | Stockton FD | 2711 Pixie Dr |  | 12000 | Conductor | Overhead | Yes | 2014-10-09 08:25 | 41921.3507 | Equipment/ Facility Failure | Pole | N.A. | N.A. | Unknown | roof burned
PG&E | 2014-10-09 19:10 | 41921.7986 | 38.462 | -123.0418 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | 101955217 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-10-09 19:10 | 41921.7986 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-10-10 14:41 | 41922.6118 | 38.1721 | -122.6282 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | 969 SAN ANTONIO RD. |  | 12000 | Conductor | Overhead | Yes | 2014-10-10 14:41 | 41922.6118 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-10-11 10:19 | 41923.4299 | 39.5765 | -121.3054 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Butte FD | 100373776 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-10-11 10:19 | 41923.4299 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-10-12 10:59 | 41924.4576 | 38.5917 | -121.5387 | Vegetation | Rural | Structure Only | Fire Agency |  | 1535 HOBSON AVE |  | 0 – 750 | Conductor | Overhead | Yes | 2014-10-12 10:59 | 41924.4576 | Wire-Wire Contact | N.A. | N.A. | N.A. | Unknown | roof burned
PG&E | 2014-10-12 12:02 | 41924.5014 | 38.5903 | -121.5349 | Vegetation | Rural | < 0.25 Acres | Fire Agency | West Sacramento FD | 101608435 | AT&T | 0 – 750 | Conductor | Overhead | Yes | 2014-10-12 12:02 | 41924.5014 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-10-12 16:53 | 41924.7035 | 38.2865 | -122.4805 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Sonoma FD | APPROX 5 SPAN LOAD SIDE 3635 |  | 0 – 750 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-10-13 09:19 | 41925.3882 | 38.1838 | -121.8546 | Vegetation | Rural | < 0.25 Acres | Fire Agency |  | 3 POLES E/OF 10313 |  | 21000 | Conductor | Overhead | Yes | 2014-10-13 09:19 | 41925.3882 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-10-14 07:33 | 41926.3146 | 36.2506 | -119.8616 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Kings County FD | MURPHY RANCH RD E/O AVENAL CUTOFF RD |  | 12000 | Conductor | Overhead | Yes | 2014-10-14 07:33 | 41926.3146 | Vandalism/Theft | N.A. | N.A. | N.A. | Human Error | gun-shot
PG&E | 2014-10-14 11:04 | 41926.4611 | 37.9013 | -121.7647 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Contra Costa FD | 3/P/S/0 C/O 13559 |  | 21000 | Transformer | Overhead | No |  |  | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-10-14 14:32 | 41926.6056 | 39.5898 | -122.1939 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 100425132 |  | 21000 | Conductor | Overhead | Yes | 2014-10-14 14:32 | 41926.6056 | Contact From Object | N.A. | Vegetation | Electric Facility | Human Error | Third-party caused
PG&E | 2014-10-16 16:25 | 41928.684 | 39.0542 | -121.4236 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | WHEATLAND FIRE | 101303519 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-10-16 16:25 | 41928.684 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-10-17 13:41 | 41929.5701 | 40.0163 | -122.2252 | Vegetation | Rural | < 0.25 Acres | Unknown |  | Pole BA 28/299 | AT&T | 60000 | Conductor | Overhead | Yes | 2014-10-17 13:41 | 41929.5701 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-10-20 01:23 | 41932.0576 | 38.0272 | -121.942 | Vegetation | Urban | < 3 meters | Fire Agency | CONTRA COSTA | 100450134 | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-10-20 13:30 | 41932.5625 | 38.7825 | -122.6926 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | 3 SPANS SOURCESIDE OF MTR#1008647890 |  | 12000 | Conductor | Overhead | Yes | 2014-10-20 13:30 | 41932.5625 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-10-21 02:54 | 41933.1208 | 37.3964 | -121.8396 | Vegetation | Rural | < 3 meters | Fire Agency | SJFIR | 3 SP W/O 2089 |  | 12000 | Conductor | Overhead | Yes | 2014-10-21 02:54 | 41933.1208 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-10-22 16:45 | 41934.6979 | 38.3792 | -120.5007 | Vegetation | Rural | < 0.25 Acres | Fire Agency | West Point Fire | 101251221 |  | 0 – 750 | Conductor | Overhead | No |  |  | Wire-Wire Contact | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-10-22 20:51 | 41934.8688 | 39.0068 | -120.7437 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | Sw 49 | None | 60000 | Switch | Overhead | Yes | 2014-10-22 20:51 | 41934.8688 | Equipment/ Facility Failure | Switch | N.A. | N.A. | Unknown
PG&E | 2014-10-23 12:45 | 41935.5312 | 35.4218 | -119.0279 | Vegetation | Urban | < 3 meters | Fire Agency | KERN COUNTY FD | 100143992 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-10-23 12:45 | 41935.5312 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-10-25 03:04 | 41937.1278 | 40.2957 | -123.827 | Vegetation | Rural | < 3 meters | Fire Agency | Cal Fire | 2374 ELK CRK MTR#1008024164 |  | 12000 | Conductor | Overhead | Yes | 2014-10-25 03:04 | 41937.1278 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-10-25 10:52 | 41937.4528 | 38.3781 | -120.5116 | Vegetation | Rural | < 3 meters | Fire Agency | West Point Fire | 101249034 |  | 0 – 750 | Unknown | Overhead | No |  |  | Equipment/ Facility Failure | Insulator | N.A. | N.A. | Unknown
PG&E | 2014-10-25 14:35 | 41937.6076 | 37.0558 | -121.0561 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | 1 POLE N/OF MTR #1009070700. |  | 12000 | Conductor | Overhead | Yes | 2014-10-25 14:35 | 41937.6076 | Equipment/ Facility Failure | Other | N.A. | N.A. | Unknown
PG&E | 2014-10-25 14:45 | 41937.6146 | 36.5575 | -121.9279 | Vegetation | Urban | < 3 meters | Fire Agency | city fire dept | 101739963 | AT&T | 0 – 750 | Conductor | Overhead | Yes | 2014-10-25 14:45 | 41937.6146 | Equipment/ Facility Failure | Crossarm | N.A. | N.A. | Unknown
PG&E | 2014-10-26 22:24 | 41938.9333 | 34.5352 | -120.2966 | Vegetation | Rural | < 3 meters | Fire Agency | Santa Barbara CO | @ MTR #1008719129 |  | 12000 | Conductor | Overhead | Yes | 2014-10-26 22:24 | 41938.9333 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-10-27 06:34 | 41939.2736 | 34.866 | -120.3784 | Vegetation | Rural | < 3 meters | Fire Agency | Santa Barbara CO | 101872138 | Verizon | 12000 | Conductor | Overhead | No |  |  | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-10-28 12:01 | 41940.5007 | 38.8169 | -122.5661 | Vegetation | Rural | < 3 meters | Fire Agency | Cal Fire | 102208452 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-10-28 12:01 | 41940.5007 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-10-28 16:34 | 41940.6903 | 38.2142 | -122.2577 | Vegetation | Rural | < 0.25 Acres | Fire Agency | American Cyn Fire / CAL Fire | 102290370 | AT&T | 12000 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-10-29 13:22 | 41941.5569 | 39.4803 | -122.2493 | Vegetation | Rural | < 3 meters | Fire Agency | WILLOWS FIRE DEPT | RISER POLE LOAD SIDE OF STEP UP BANK 62006 |  | 21000 | Lightning Arrestor | Overhead | Yes | 2014-10-29 13:22 | 41941.5569 | Equipment/ Facility Failure | Lightning Arrestor | N.A. | N.A. | Unknown
PG&E | 2014-11-01 09:10 | 41944.3819 | 37.1859 | -122.0012 | Vegetation | Rural | < 3 meters | Fire Agency | Cal Fire/ Santa Clara County Fire | 100551454 | Verizon | 12000 | Conductor | Overhead | Yes | 2014-11-01 09:10 | 41944.3819 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-11-01 20:52 | 41944.8694 | 41.1344 | -124.1521 | Vegetation | Rural | < 3 meters | Fire Agency | CAL FIRE | 100980319 |  | 12000 | Conductor | Overhead | Yes | 2014-11-01 20:52 | 41944.8694 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-11-05 08:34 | 41948.3569 | 38.4445 | -122.2493 | Vegetation | Rural | < 3 meters | Fire Agency | Cal Fire | 102291451 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-11-05 08:34 | 41948.3569 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-11-06 10:42 | 41949.4458 | 36.9811 | -120.0265 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 15882 WATSON RD MADERA |  | 12000 | Conductor | Overhead | Yes | 2014-11-06 10:42 | 41949.4458 | Equipment/ Facility Failure | Pole | N.A. | N.A. | Unknown
PG&E | 2014-11-06 14:56 | 41949.6222 | 37.0567 | -120.815 | Vegetation | Rural | < 3 meters | Self Extinguished |  | 101201387 | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-11-07 06:12 | 41950.2583 | 35.3169 | -120.6796 | Vegetation | Urban | < 3 meters | Fire Agency | Cal Fire | FUSE 11065 |  | 12000 | Conductor | Overhead | Yes | 2014-11-07 06:12 | 41950.2583 | Wire-Wire Contact | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-11-08 15:02 | 41951.6264 | 38.1821 | -122.6693 | Vegetation | Rural | < 3 meters | Customer |  | 5450 RED HILL RD |  | 0 – 750 | Conductor | Overhead | No |  |  | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-11-09 06:34 | 41952.2736 | 37.9419 | -122.3755 | Vegetation | Rural | < 3 meters | Fire Agency | RICHMOND PD | 101443361 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-11-09 06:34 | 41952.2736 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-11-14 12:37 | 41957.5257 | 37.651 | -122.4541 | Vegetation | Urban | < 3 meters | Fire Agency | PACIFICA FD | ON #4 LINE SIDE OF 11949 & 6053 |  | 12000 | Conductor | Overhead | Yes | 2014-11-14 12:37 | 41957.5257 | Contact From Object | N.A. | Vehicle | Electric Facility | Human Error
PG&E | 2014-11-16 05:29 | 41959.2285 | 37.5305 | -122.5165 | Vegetation | Rural | < 3 meters | Fire Agency | Cal Fire | 2166 Vallemar Moss beach |  | 12000 | Conductor | Overhead | Yes | 2014-11-16 05:29 | 41959.2285 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-11-16 17:55 | 41959.7465 | 37.5118 | -121.9718 | Vegetation | Urban | < 0.25 Acres | Fire Agency | FREMONT FIRE DEPT | IRO 42979 EVERGLADES PARK DR |  | 0 – 750 | Conductor | Overhead | No |  |  | Contact From Object | N.A. | Other | Electric Facility | Human Error | Soccer ball?
PG&E | 2014-11-17 17:15 | 41960.7188 | 38.0444 | -122.8607 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | marin county fire | 1 SPAN LD SIDE OF FUCO 6803 |  | 12000 | Conductor | Overhead | Yes | 2014-11-17 17:15 | 41960.7188 | Equipment/ Facility Failure | Crossarm | N.A. | N.A. | Unknown
PG&E | 2014-11-18 14:16 | 41961.5944 | 37.0353 | -122.0866 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Felton Fire Dept. | 101798988 |  | 21000 | Conductor | Overhead | Yes | 2014-11-18 14:16 | 41961.5944 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-11-22 06:29 | 41965.2701 | 36.7472 | -119.7859 | Vegetation | Urban | < 3 meters | Fire Agency | FRESNO CITY FIRE | MTR# 1008712302 |  | 12000 | Conductor | Overhead | Yes | 2014-11-22 06:29 | 41965.2701 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-11-23 05:45 | 41966.2396 | 40.1628 | -122.2382 | Vegetation | Urban | < 3 meters | Self Extinguished |  | MTR #1008299414 |  | 12000 | Conductor | Overhead | Yes | 2014-11-23 05:45 | 41966.2396 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-11-24 15:29 | 41967.6451 | 37.4402 | -121.9188 | Vegetation | Urban | < 0.25 Acres | Fire Agency | Milpitas Fire Department | back yard of 599 Redwood ave |  | 0 – 750 | Unknown | Overhead | No |  |  | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-11-28 01:17 | 41971.0535 | 37.9892 | -122.3146 | Vegetation | Urban | < 0.25 Acres | Fire Agency |  | 101425748 | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Unknown | N.A. | N.A. | N.A. | Unknown
PG&E | 2014-11-29 14:21 | 41972.5979 | 36.7278 | -119.7012 | Other | Urban | Structure Only | Fire Agency |  | 100814277 | AT&T | 0 – 750 | Conductor | Overhead | No |  |  | Unknown | N.A. | N.A. | N.A. | Unknown | roof burned
PG&E | 2014-12-08 09:51 | 41981.4104 | 36.8375 | -119.79 | Vegetation | Urban | < 3 meters | Self Extinguished |  | 101780312 |  | 21000 | Conductor | Overhead | Yes | 2014-12-08 09:51 | 41981.4104 | Contact From Object | N.A. | Animal | Electric Facility | Unknown
PG&E | 2014-12-08 18:33 | 41981.7729 | 37.4631 | -122.2601 | Vegetation | Urban | < 0.25 Acres | Fire Agency | REDWOOD CITY FD | 100300013 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-12-08 18:33 | 41981.7729 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown
PG&E | 2014-12-12 04:07 | 41985.1715 | 36.6379 | -121.8125 | Vegetation | Rural | < 3 meters | Utility: PG&E |  | 101762582 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-12-12 04:07 | 41985.1715 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-12-12 22:15 | 41985.9271 | 37.3918 | -122.267 | Vegetation | Rural | < 3 meters | Unknown |  | IFO 75 RANCH RD WOODSIDE |  | 12000 | Conductor | Overhead | Yes | 2014-12-12 22:15 | 41985.9271 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-12-14 04:52 | 41987.2028 | 38.42 | -120.8237 | Other | Rural | Structure Only | Fire Agency | Sutter creek fire | 101238361 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-12-14 04:52 | 41987.2028 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown | vehicle burned
PG&E | 2014-12-19 13:50 | 41992.5764 | 37.461 | -122.1769 | Vegetation | Urban | < 3 meters | Fire Agency | MENLO PARK | 100298576 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-12-19 13:50 | 41992.5764 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown
PG&E | 2014-12-25 10:50 | 41998.4514 | 36.3837 | -121.8663 | Vegetation | Rural | < 3 meters | Fire Agency | Mid Valley FD ? | 101669474 | AT&T | 12000 | Conductor | Overhead | Yes | 2014-12-25 10:50 | 41998.4514 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-12-29 11:58 | 42002.4986 | 38.1661 | -122.2536 | Other | Urban | Structure Only | Fire Agency | VALLEJO FD | 1740 BROADWAY |  | 12000 | Conductor | Overhead | Yes | 2014-12-29 11:58 | 42002.4986 | Equipment/ Facility Failure | Splice/Clamp/Connector | N.A. | N.A. | Unknown | mobile home burned
PG&E | 2014-12-30 09:00 | 42003.375 | 38.4059 | -120.5153 | Vegetation | Rural | < 0.25 Acres | Fire Agency | Cal Fire | 674 SMITTY LN |  | 12000 | Conductor | Overhead | Yes | 2014-12-30 09:00 | 42003.375 | Contact From Object | N.A. | Vegetation | Electric Facility | Unknown
PG&E | 2014-12-30 15:53 | 42003.6618 | 38.0165 | -122.1366 | Other | Urban | Structure Only | Fire Agency | MARTINEZ FIRE | 100444078 |  | 21000 | Conductor | Overhead | Yes | 2014-12-30 15:53 | 42003.6618 | Equipment/ Facility Failure | Conductor | N.A. | N.A. | Unknown | vehicle burned

## CPUC Sample Interactive
Utility Name | Fire Start |  | Location |  |  |  | Fire |  |  | Utility Facility |  |  |  |  | Outage |  |  | Suspected Cause |  |  |  |  | Notes (Optional):
| Date | Time | Latitude | Longitude | Material at Origin | Land Use at Origin | Size | Suppressed by | Suppressing Agency | Facility Identification | Other Companies | Voltage (Volts) | Equipment Involved With Ignition | Type | Was There an Outage | Date | Time | Suspected Ignition Cause | Equipment /Facility Failure | Contact From Object | Facility Contacted | Contributing Factor
BVES | 2012-06-16 | 13:30 | 34.0498 | -118.2499 | Vegetation | Rural | Less Than .25 Acres | Customer |  | P1235 |  | 12000 | Capacitor Bank | Padmounted | Yes | 2012-06-16 | 13:30 | Contact Between Third Party Facility on Pole and Supply Lines |  |  |  | Weather
Kirkwood Meadows | 2012-06-16 | 14:07 | 34.0498 | -118.2499 | Building | Urban | .26 - 9.99 Acres | Fire Agency | LA County | Pole in rear of 32 5th Street | AT&T | 21000 | Conductor | Overhead | No |  |  | Contact From Object |  | Animal | Communication Facility | Human Error
Liberty Energy | 2012-06-16 | 14:38 | 34.0498 | -118.2499 | Other |  | 10 - 99 Acres | Self Extinguished |  | P2535 | None | 21000 | Fuse | Overhead |  |  |  | Contact From Object |  | Balloons | Electric Facility | Unknown
PacifiCorp | 2012-06-16 | 14:53 | 34.0498 | -118.2499 |  |  | 100 - 299 Acres | Unknown |  | Pole at intersection of Main and 4th |  | 120 | Lightning Arrestor | Subsurface |  |  |  | Contact From Object |  | Other | Pole | Outside Force
PG&E | 2012-06-16 | 14:55 | 34.0498 | -118.2499 |  |  | 300 - 999 Acres | Utility |  | P125646 |  | 21000 | Other |  |  |  |  | Contact From Object |  | Vegetation | Pole | Other
SCE | 2012-06-16 | 0:23 | 34.0498 | -118.2499 |  |  | 1000 - 4999 Acres |  |  | B125456 |  | 21000 | Switch |  |  |  |  | Contact From Object |  | Vehicle | Pole
SDG&E | 2012-01-01 | 13:30 |  |  |  |  | Greater than 5000 Acres | [5 empty] | Transformer |  |  |  |  | Contamination
[7 empty] | Less than three (3) meters of linear travel | [10 empty] | Equipment/Facility Failure | Capacitor Bank
[7 empty] | Structure Only | [10 empty] | Equipment/Facility Failure | Conductor
[18 empty] | Equipment/Facility Failure | Fuse
[18 empty] | Equipment/Facility Failure | Insulator
[18 empty] | Equipment/Facility Failure | Lightning Arrestor
[18 empty] | Equipment/Facility Failure | Pole
[18 empty] | Equipment/Facility Failure | Guy/Span Wire
[18 empty] | Equipment/Facility Failure | Other
[18 empty] | Equipment/Facility Failure | Protective Relay
[18 empty] | Equipment/Facility Failure | Crossarm
[18 empty] | Equipment/Facility Failure | Recloser
[18 empty] | Equipment/Facility Failure | Sectionalizer
[18 empty] | Equipment/Facility Failure | Splice/Clamp/Connector
[18 empty] | Equipment/Facility Failure | Switch
[18 empty] | Equipment/Facility Failure | Transformer
[18 empty] | Equipment/Facility Failure | Voltage Regulator
Normal Operation
Other
Unknown
Vandalism/Theft
Wire-Wire Contact
Note on A1: Name of utility reporting the event
Note on X1: An Optional Field, list additional information that could be useful when examining data.
Note on B2: Date the event started (Use MM/DD/YY when inputting dates)
Note on C2: The time the event started. This field is only an estimate as in many cases the utility might not know the exact start time. (Use military time when inputing time)
Note on D2: Utilities should submit this data as close as it can get to the origin point of the event. Data should be at least given to the thousandths decimal place (i.e. X.00), more accuracy should be used when the utility has that knowledge.
Note on E2: Utilities should submit this data as close as it can get to the origin point of the event. Data should be at least given to the thousandths decimal place (i.e. X.00), more accuracy should be used when the utility has that knowledge.
Note on F2: Material involved in the initial fueling of the fire;
Note on G2: Nature of land use in the vicinity of the point of the fire’s origin (i.e., Urban, Rural). Rural and Urban are defined in GO 165.
Note on H2: An approximation of the fire's size give in acres. If only a structure was involved in the fire select structure only.
Note on I2: Is who suppressed the fire
Note on J2: If the fire was suppressed by a fire agency or agencies, insert the lead agency when one or more agency was involved
Note on K2: Utility’s description of the pole and/or equipment involved.
Note on L2: Other Companies that were attached to pole in question and known to the utility. If the facilities involved were not overhead leave this field blank. Note this field will be blacked out until "Overhead" is selected in the "Type" Column.
Note on M2: Nominal voltage rating of the utility equipment and/or circuit involved in the fire, use volts. If two or more voltages were involved list the higher voltage.
Note on N2: This field should list the equipment that supplied the heat that ignited the reported fire;
Note on O2: The equipment involved in the event (overhead, padmounted or subsurface);
Note on P2: Was there an outage involved in the event? Exclude outages that were that were ordered by a governmental agency or were taken by the utility at its discretion.
Note on Q2: For the purpose of this Data Collection Proposal, list the first outage associated with the event if multiple outages were involved. For the purpose of this Data Collection Proposal, exclude outages that were that were ordered by a governmental agency or were taken by the utility at its discretion.
Note on R2: For the purpose of this Data Collection Proposal, list the first outage associated with the event if multiple outages were involved. For the purpose of this Data Collection Proposal, exclude outages that were that were ordered by a governmental agency or were taken by the utility at its discretion.
Note on S2: The suspected cause of the ignition;
Note on T2: The specific equipment that malfunctioned that resulted in the “Equipment Involved” to cause the reported fire. (Only to be used if “Equipment/Facility Failure” is selected as Suspected Ignition Cause);
Note on U2: The first object that contacted the Communication or Electric Facilities (Only to be used if “Contact from Object” is selected as Ignition Cause);
Note on V2: The first facility that was contacted by an outside object (Only to be used if “Contact from Object” is selected as Ignition Cause);
Note on W2: Factors that contributed to the ignition;

## CPUC Drop Downs
BVES | Building | Rural | Customer | Capacitor Bank | Padmounted | Contact Between Third Party Facility on Pole and Supply Lines | Animal | Human Error | Yes | Less Than .25 Acres | Communication Facility | Capacitor Bank
Kirkwood Meadows | Other | Urban | Fire Agency | Conductor | Overhead | Contact From Object | Balloons | None | No | .26 - 9.99 Acres | Electric Facility | Conductor
Liberty Energy | Vegetation |  | Self Extinguished | Fuse | Subsurface | Contamination | Other | Other |  | 10 - 99 Acres | Pole | Fuse
PacifiCorp |  |  | Unknown | Lightning Arrestor |  | Equipment/Facility Failure | Vegetation | Outside Force |  | 100 - 299 Acres |  | Insulator
PG&E |  |  | Utility | Other |  | Normal Operation | Vehicle | Unknown |  | 300 - 999 Acres |  | Lightning Arrestor
SCE |  |  |  | Switch |  | Other |  | Weather |  | 1000 - 4999 Acres |  | Pole
SDG&E |  |  |  | Transformer |  | Unknown |  |  |  | Greater than 5000 Acres |  | Guy/Span Wire
[6 empty] | Vandalism/Theft |  |  |  | Less than three (3) meters of linear travel |  | Other
[6 empty] | Wire-Wire Contact |  |  |  | Structure Only |  | Protective Relay
Crossarm
Recloser
Sectionalizer
Splice/Clamp/Connector
Switch
Transformer
Voltage Regulator
Note on G2: To be used when contact between a supply facility and non-supply facility on a pole occurred. Note: This field does not specify which facility caused the contact, only that the contact occurred.
Note on G3: Use when contact from outside object caused the incidnet.
Note on G4: Should be used when outside contaminates effect the utility's facilities. Examples: Smoke caused a phase to phase arc which resulted in a fire. Dirt and salt allowed tracking on an insultor, which caused a crossarm to catch on fire and then resulted in a vegetation fire.
Note on G5: A cessation of normal operation
Note on G6: To be used when the supply facility operated normally. Example: A fuse oprated and material fell onto vegetation and started a fire.
Note on G9: This field would include those fires started from gunshots that broke electric equipment, attempted theft of copper cable, etc.
Note on G10: To be used when to two or more supply conductors contact each other.