## 2010- Q2 2023 SOM Public SIF A
Event Date | Riskmaster Type | Description | Serious Bodily Injury | Fatality | Total Parties Involved | Year | SOMS: Authority having jurisdiction | Incorrect Operations (Y/N/Unknown) | Failure/ Malfunction (Y/N/Unknown) | Failure to Meet Standard (Y/N/Unknown)
2010-09-09 | At approximately 1811 hours on September 9, 2010 line 132 ruptured at mp 39.28 near Glenview drive and earl avenue in san bruno causing a fire. The l132 pipeline was isolated at approximately 1930 hours between l132 mp 38.49 and mp 40.05. | At approximately 1811 hours on September 9, 2010 line 132 ruptured at mp 39.28 near Glenview drive and Earl Avenue in San Bruno causing a fire. The l132 pipeline was isolated at approximately 1930 hours between l132 mp 38.49 and mp 40.05. | 51 | 8 | 59 | 2010 | CPUC | No | Yes | --
2012-03-11 | Company Vehicle Incident | PG&E employee operating a rental vehicle struck 3rd party motorcyclist who sustained injuries. | 1 | 0 | 1 | 2012 | PG&E | Yes | Unknown | Unknown
2012-05-04 | Company Vehicle Incident | Employee motor vehicle accident involving pedestrian. | 1 | 0 | 1 | 2012 | PG&E | Yes | Unknown | Unknown
2012-07-05 | Company Vehicle Incident | Motor vehicle accident where pedestrian struck by PG&E vehicle mirror. Pedestrian suffered broken leg. | 1 | 0 | 1 | 2012 | PG&E | Yes | Unknown | Unknown
2012-07-26 | Public Fatality Company Vehicle Incident | A contractor driving own vehicle on company business struck bicyclist who sustained fatal injuries. | 0 | 1 | 1 | 2012 | PG&E | Yes | Unknown | Unknown
2012-12-04 | Fires, Wildland & Structure | A gas leak occurred at the customers underground gas pipeline resulting in a gas explosion and bodily injuries. | 1 | 0 | 1 | 2012 | PG&E | Yes | Yes | No
2013-07-31 | Company Vehicle Incident | Blind lawsuit involving employee of All Source Recruiting Group who rear ended a third-party vehicle which resulted in a fatality and 2 serious injuries to third party. | 2 | 1 | 3 | 2013 | PG&E | Yes | Unknown | Unknown
2013-08-03 | PG&E Job Site Injury/Damage to 3rd Pty | Debris from the Kern Power Plant implosion traveled further than our demolition contractor had estimated, striking bystanders. One adult male sustained serious leg injuries. Still under investigation. | 1 | 0 | 1 | 2013 | PG&E | No | Yes | Yes
2014-08-26 | Company Vehicle Incident | PG&E truck rear ended claimant. Claimant complaining of neck pain, numbness in her right thumb and hearing issues. | 1 | 0 | 1 | 2014 | PG&E | Yes | Unknown | Unknown
2014-09-19 | Vehicle incident | Third-party driver of semi sustained fatal injury caused by collision with PG&E's Contractor's sub-contractor transporting a container of debris from Humboldt Bay PP to Idaho. | 0 | 1 | 1 | 2014 | PG&E | Yes | Unknown | Unknown
2015-03-12 | Company Vehicle Incident | A PG&E employee was involved in a motor vehicle incident with a member of the public. The person was pregnant and the child did not survive the accident. | 1 | 1 | 2 | 2015 | PG&E | Yes | Unknown | Unknown
2015-09-09 | MIT House Loss - wildfire | Members of the public were affected by the Butte Fire. The incident resulted in 1 known serious injury and 1 fatality. | 0 | 2 | 2 | 2015 | Cal Fire | Unknown | Yes | Unknown
2015-09-18 | Company Vehicle Incident | A PG&E employee was involved in a motor vehicle incident with a member of the public. The person was transported to the hospital and the vehicles were towed. | 1 | 0 | 1 | 2015 | PG&E | Yes | Unknown | Unknown
2015-09-26 | Fires, Wildland & Structure | An UG equipment failure resulted in an ascending moving flash injuring two individuals near the enclosure. The two injured men were transported to San Francisco General Hospital (SFGH). Under this claim, injured claimant sustained a flash burn type of injuries. He was hospitalized for two days due to treatment and observation. | 1 | 0 | 1 | 2015 | PG&E | Unknown | Yes | Unknown
2016-09-25 | NA - wildfire | SAWMILL | 2 | 0 | 2 | 2016 | Cal Fire, PG&E | Unknown | Unknown | Unknown
2017-01-12 |  | PG&E was notified of a structure fire at 2209 S. George Washington Blvd, Yuba City. The fire department called back at 0658 advising PG&E of an explosion resulting in a collapse of a residential home. | 1 | 0 | 1 | 2017 | CPUC and DOT | No | Yes | Yes
2018-03-10 |  | PG&E was notified of a structure fire at 2101 Bel Air Ave in San Jose. The Gas Service Representative (GSR) arrived on-site at 1122 hours. Per the fire department, witnesses reported an explosion followed by a structure fire. | 1 | 0 | 1 | 2018 | CPUC and DOT | No | Yes | Yes
2018-11-08 | NA - wildfire | CAMP | 0 | 85 | 85 | 2018 | Cal Fire, PG&E | Yes | Yes | Yes
2019-06-28 | Vegetation Management (Tree Trimming or Removal) | Power line down across Hwy 1 causing injury to motorcyclist | 1 | 0 | 1 | 2019 | PG&E | Unknown | Yes | Unknown
2019-10-23 | NA - wildfire | KINKADE | 4 | 0 | 4 | 2020 | CPUC and Cal Fire | Unknown | Unknown | Unknown
2020-09-27 | NA - wildfire | ZOGG | 1 | 4 | 5 | 2020 | PG&E and Cal Fire | Unknown | Unknown | Unknown
2021-01-25 | Outage/Electrical Interruption | Contact with energized line - fatal incident associated with a wires down incident in Fremont on January 25, 2021, involving our customer who was electrocuted outside of his home in a non-HFTD area related to equipment failure. | 0 | 1 | 1 | 2021 | PG&E | Unknown | Yes | Unknown
2021-06-05 | Vehicle incident | Unknown 3rd party struck by Contractor Rokstad employee resulting in fatality (CAP 121544506) | 0 | 1 | 1 | 2021 | PG&E, CHP | Yes | No | Yes
2021-09-30 | Electric Contact (Between Humans and Energized Facilities) | Overhead conductor failure with possible brush fire. Initial analysis indicates the ignition was caused by overhead equipment failure. The aged overhead copper conductor broke but remained energized while it slowly came down through the trees and then inevitably fell to the ground where glass formed, and two large shrubs energized and ignited a small fire. A 91-year-old male resident was injured, when he saw the fire and went to grab the water hose to extinguish. Allegedly, he was electrically shocked, fell backwards, and hit his head. His son went to check on him and allegedly also felt a jolt but managed to pull his dad away from the energized area. His father was alert, when the victim's wife drove him to the Rideout Regional Med Center emergency room, to which he was treated and released from the same day. | 1 | 0 | 1 | 2021 | PG&E | No | Yes | Unknown
2022-01-03 |  | 3rd party semi-trailer became entangled in communications cable which tugged on a PG&E pole, it traveled 46 yards and hit a 3rd party. | 1 | 0 | 1 | 2022 | PG&E | No | Yes | No
2022-01-24 |  | On January 24, 2022 at 1835 hours, a PG&E Control Center received a report from a PG&E troubleman of a fatality that occurred in the vicinity of Oasis Road and Jolon Road, King City, in Monterey County. The report indicates that first responders responded to a vineyard where they found a deceased male laying on a metal deck positioned above an agricultural pump; primary conductors are located directly above the metal deck. According to first responders, the decedent had what appeared to be burn marks on his hands. This information is being reported under the injury criterion. | 0 | 1 | 1 | 2022 | PG&E | No | Yes | Yes
2022-02-15 |  | On February 15, 2022 at approximately 0800 hours, near Watsonville, CA an Electric Distribution contractor was involved in a rollover MVI in his bucket truck resulting in a third party fatality and one serious injury to one occupant of one third party vehicle and non-serious injuries to an occupant of a second third party vehicle. | 1 | 1 | 2 | 2022 | PG&E | Pending | Pending | Pending
2023-05-08 |  | On May 8, 2023, a waste management contractor parked underneath an overhead line where a guy cable attached to the nearby pole had recently been damaged at the anchor point and became energized due to contact with an overhead line. The waste management truck came contacted with the guy cable while parking. As the waste mangement contractor was emtying a metal trash bin it contacted the the truck and the contractor recieved a shock for 1 or 2 seconds. The contractor remained coherent afterwards and was taken to the emergency room. He was released two days later with some muscle damage. | 1 | 0 | 1 | 2023 | PG&E | Pending | Pending | Pending
|  |  | 67 | 102 | 169
NOTE: The incident that occurred on September 8, 2022, involving a PG&E Construction Services employee was removed as out of scope for the Safety and Operational metrics report as it does not meet the Public SIF metric definition.

## Chart - Summary
Table 1
Number of Public SIF Actual Incidents 2010 – June 2023
Confirmed and Pending Investigation
Number of Public SIF Actual Incidents
Year | Confirmed | Pending
2010 | 1
2011
2012 | 5
2013 | 2
2014 | 2
2015 | 4
2016 |  | 1
2017 | 1
2018 | 2
2019 | 1 | 1
2020 | 0 | 1
2021 | 3
2022 | 2 | 1
2023 | 0 | 1
Totals | 23 | 5 | 28
Table 2
Number of Public SIF Actuals 2010 – June 2023
Confirmed and Pending Investigation
Total Number of Public Serious Injuries and Fatalities (SIFs)
Year | Confirmed | Pending
2010 | 59
2011
2012 | 5
2013 | 4
2014 | 2
2015 | 6
2016 | 0 | 2
2017 | 1 | 0
2018 | 86
2019 | 1 | 4
2020 | 0 | 5
2021 | 3 | 0
2022 | 2 | 2
2023 | 0 | 1 | 183
Totals | 169 | 14