## Report
Utility Name | Fire Start |  | Location |  |  |  | Fire |  |  | Utility Facility |  |  |  |  | Outage |  |  | Field Observations |  |  |  |  | Notes (Optional):
| Date | Time | Latitude | Longitude | Material at Origin | Land Use at Origin | Size | Suppressed by | Suppressing Agency | Facility Identification | Other Companies | Voltage (Volts) | Equipment Involved With Ignition | Type | Was There an Outage | Date | Time | Suspected Initiating Event | Equipment /Facility Failure | Contact From Object | Facility Contacted | Contributing Factor
SCE | 2015-12-11 | 12:21 | 34.0381 | -118.7702 | Other | Urban | .26 - 9.99 Acres | Fire Agency | Los Angeles County Fire | Cuthbert 12kV at Latigo Sub. Near Latigo Canyon Rd in Malibu |  | 12kV | Conductor | Overhead | Yes | 2015-12-11 | 12:21 | Wire-Wire Contact |  |  |  | Weather
SCE | 2015-12-08 | 19:08 | 34.2188 | -119.2492 | Vegetation | Rural | Less Than .25 Acres | Customer |  | Pole 1748635E. | Phone & Cable | 16kV | Transformer | Overhead | No |  |  | Contamination |  |  |  | Unknown
SCE | 2015-11-24 | 1:17 | 33.7443 | -118.407 | Other | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | Ambersky 16kV at Marymount Sub, Pole in Rancho Palos Verdes |  | 16kV | Conductor | Overhead | Yes | 2015-11-24 | 1:17 | Equipment/Facility Failure | Conductor |  |  | Unknown
SCE | 2015-11-20 | 20:07 | 34.0155 | -117.9534 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | 1860773E 15930 E VALLEY BLVD, city of industry, ca. |  | 12kV | Conductor | Overhead | Yes | 2015-11-20 | 20:07 | Unknown |  |  |  | Unknown
SCE | 2015-11-20 | 20:07 | 34.0155 | -117.9534 | Other | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | Grazide 12kV out of Walnut Sub |  | 12kV | Conductor | Overhead | Yes | 2015-11-20 | 20:07 | Contact From Object |  | Animal | Electric Facility | None
SCE | 2015-11-18 | 6:31 | 34.1284 | -117.6896 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Upland Fire Department | Padua-Layfair 66kV |  | 66kV | Conductor | Overhead | Yes | 2015-11-18 | 6:31 | Contact From Object |  | Other | Electric Facility | Unknown
SCE | 2015-11-13 | 7:04 | 34.22 | -119.0382 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire | Crosson 16kV at Camarillo Sub |  | 16kv | Conductor | Overhead | Yes | 2015-11-13 | 7:04 | Contact From Object |  | Animal | Electric Facility | None
SCE | 2015-11-13 | 7:31 | 33.6395 | -117.761 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Orange County Fire | Santiago-Borrego 66 kV |  | 66kV | Conductor | Overhead | Yes | 2015-11-13 | 7:31 | Contact From Object |  | Animal | Electric Facility | None
SCE | 2015-11-07 | 2:24 | 34.1708 | -118.8685 | Vegetation | Urban | 10 - 99 Acres | Fire Agency | Ventura County Fire | Pole No. 4505362E |  | 16kV | Switch | Overhead | Yes | 2015-11-07 | 2:24 | Unknown |  |  |  | Unknown
SCE | 2015-11-02 | 18:07 | 34.297 | -118.3763 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | Lopez 16kV out of San Fernando Sub |  | 16kV | Conductor | Overhead | Yes | 2015-11-02 | 18:07 | Contact From Object |  | Balloons | Electric Facility | None
SCE | 2015-10-30 | 12:45 | 34.0538 | -117.2679 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Loma Linda Fire Department | pole 1609cwt | Phone & Cable | 12kV | Conductor | Overhead | No |  |  | Contact From Object |  | Vegetation | Electric Facility | Weather
SCE | 2015-10-30 | 22:23 | 33.7903 | -116.9605 | Other | Urban | Less Than .25 Acres | Unknown |  | Pole 1084963E | Phone & Cable | 12kv | Other | Overhead | Yes | 2015-10-30 | 22:23 | Unknown |  |  |  | Unknown
SCE | 2015-10-27 | 19:47 | 33.5351 | -117.7688 | Other | Urban | Less Than .25 Acres | Unknown |  | 4139544E: 818 BLUEBIRD CYN LAGUNA BEACH | Phone & Cable | 33kV | Conductor | Overhead | Yes | 2015-10-27 | 19:47 | Equipment/Facility Failure | Splice/Clamp/Connector |  |  | Unknown
SCE | 2015-10-12 | 13:02 | 33.6319 | -117.3378 | Other | Urban | Less Than .25 Acres | Fire Agency | Riverside County Fire | 4844065E: 18193 BRIGHTMAN AVE. LAKE ELSINORE |  | 12kV | Transformer | Overhead | Yes | 2015-10-12 | 13:02 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 2015-10-11 | 10:02 | 33.944 | -116.475 | Other | Urban | Less Than .25 Acres | Fire Agency | Cal Fire | Café 12kv Line at Coffee Sub. Pole in Desert Hot Springs |  | 12kV | Conductor | Overhead | Yes | 2015-10-11 | 10:02 | Contact From Object |  | Vehicle | Pole | None
SCE | 2015-10-09 | 14:00 | 33.5752 | -117.17 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Riverside Fire Department | BEHIND ADDRESS 28151 CELIA RD / PROPERTY LINE., STR 212903S |  | 12kV | Other | Overhead | No |  |  | Equipment/Facility Failure | Insulator |  |  | Unknown
SCE | 2015-10-09 | 11:39 | 33.9333 | -117.8531 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | Acapulco 12kv out of Brea Sub, |  | 12kV | Conductor | Overhead | Yes | 2015-10-09 | 11:39 | Contact From Object |  | Other | Electric Facility | Unknown
SCE | 2015-09-26 | 13:48 | 34.0773 | -118.6936 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | Pole 770514E |  | 16kV | Conductor | Overhead | Yes | 2015-09-26 | 13:48 | Contact From Object |  | Vegetation | Electric Facility | Human Error
SCE | 2015-09-20 | 19:07 | 34.0244 | -118.1179 | Other | Urban | Less Than .25 Acres | Unknown |  | 1270852E: MERLE DR. S/S 70 W/O GERMAIN DR. | Phone & Cable | 16kV | Transformer | Overhead | Yes | 2015-09-20 | 19:07 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 2015-09-20 | 16:31 | 34.0633 | -118.6479 | Other | Urban | .26 - 9.99 Acres | Fire Agency | Los Angeles County Fire | Pole 1576711E | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-09-20 | 16:31 | Contact From Object |  | Vehicle | Pole | None
SCE | 2015-09-11 | 3:10 | 34.0876 | -117.4331 | Other | Urban | Less Than .25 Acres | Fire Agency | Fontana Fire Department | Pole 1554125E beyond RCS 0488 | Phone & Cable | 12kV | Lightning Arrestor | Overhead | Yes | 2015-09-11 | 3:10 | Equipment/Facility Failure | Lightning Arrestor |  |  | Unknown
SCE | 2015-09-09 | 13:22 | 34.0415 | -118.7724 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | Pole 899836E | Phone & Cable | 12kV | Other | Overhead | Yes | 2015-09-09 | 13:22 | Equipment/Facility Failure | Splice/Clamp/Connector |  |  | Unknown
SCE | 2015-09-09 | 13:59 | 33.5499 | -117.2125 | Other | Urban | Less Than .25 Acres | Fire Agency | Murrieta Fire Department | Tackle Line out of Stadler Sub |  | 12kV | Conductor | Overhead | Yes | 2015-09-09 | 13:59 | Other |  |  |  | Weather
SCE | 2015-09-07 | 17:58 | 35.8555 | -119.0944 | Vegetation | Rural | Less Than .25 Acres | Self Extinguished |  | Welch 12kV at Vestal Sub |  | 12kV | Conductor | Overhead | Yes | 2015-09-07 | 17:58 | Contact From Object |  | Balloons | Electric Facility | None
SCE | 2015-09-03 | 17:00 | 36.8936 | -119.4571 | Vegetation | Rural | 10 - 99 Acres | Fire Agency | Cal Fire | East of Watts Valley Rd and Pittman Hill Rd, East of Clovis |  | 220kV | Conductor | Overhead | Yes | 2015-09-03 | 16:15 | Contact From Object |  | Balloons | Electric Facility | None
SCE | 2015-08-27 | 6:21 | 34.0645 | -117.8911 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | West Covina Fire Department | Pole 534400E |  | 12kV | Conductor | Overhead | Yes | 2015-08-27 | 6:21 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2015-08-27 | 10:20 | 34.2538 | -118.866 | Other | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire | Morganstein 16kV out of Moorpark Sub |  | 16kV | Conductor | Overhead | Yes | 2015-08-27 | 10:20 | Contact From Object |  | Animal | Electric Facility | None
SCE | 2015-08-24 | 22:00 | 33.8839 | -118.2116 | Building | Urban | Less Than .25 Acres | Fire Agency | Compton Fire Department | 2239623E: MAYO AVE P/L/E 307' N/O BENNETT ST | Phone & Cable | 4kv | Conductor | Overhead | Yes | 2015-08-24 | 21:41 | Unknown |  |  |  | Unknown
SCE | 2015-08-21 | 23:10 | 36.2356 | -119.3528 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Tulare Fire Department | 4335336E - J STREET S/O CARTMILL AVE |  | 12kV | Other | Overhead | Yes | 2015-08-22 | 2:19 | Vandalism/Theft |  |  |  | Outside Force
SCE | 2015-08-12 | 12:00 | 35.1772 | -118.3373 | Vegetation | Rural | Less Than .25 Acres | Self Extinguished |  | Pole 2135290E |  | 120 V | Conductor | Subsurface | Yes | 2015-08-12 | 11:07 | Other |  |  |  | Human Error | Third Party dug into marked SCE secondary cables.
SCE | 2015-08-02 | 14:00 | 34.0326 | -117.1611 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Redlands Fire Department | Pole 1375879E | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-08-02 | 14:00 | Equipment/Facility Failure | Other |  |  | Unknown
SCE | 2015-08-01 | 8:40 | 35.9895 | -119.1074 | Vegetation | Rural | Less Than .25 Acres | Unknown |  | 840081E - Rd 208 1/4 mi n/o Ave 104 | Phone & Cable | 12kV | Fuse | Overhead | No |  |  | Contact From Object |  | Vehicle | Pole | None
SCE | 2015-07-27 | 17:06 | 33.8559 | -116.5569 | Other | Urban | Less Than .25 Acres | Fire Agency | Palm Springs Fire Department | 2796 N CARDILLO AVE, PALM SPRINGS | Phone & Cable | 33kV | Conductor | Overhead | Yes | 2015-07-27 | 17:06 | Contact From Object |  | Balloons | Electric Facility | None
SCE | 2015-07-27 | 22:05 | 34.8929 | -116.97 | Other | Rural | Less Than .25 Acres | Utility |  | Pole 2069111E | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-07-27 | 22:05 | Equipment/Facility Failure | Pole |  |  | Unknown
SCE | 2015-07-27 | 22:51 | 36.3351 | -119.3409 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Visalia Fire Department | Pole 4629241E | Phone & Cable | 12kV | Other | Overhead | Yes | 2015-07-27 | 22:51 | Unknown |  |  |  | Unknown
SCE | 2015-07-23 | 3:00 | 36.1813 | -119.3244 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Tulare Fire Department | Pole 4292838E |  | 12kV | Conductor | Overhead | Yes | 2015-07-29 | 17:05 | Contact From Object |  | Vehicle | Pole | None
SCE | 2015-07-20 | 20:16 | 34.4912 | -118.6169 | Other | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | Parker rd & castaic rd , CASTAIC |  | 16kV | Other | Subsurface | Yes | 2015-07-20 | 20:16 | Unknown |  |  |  | Unknown
SCE | 2015-07-13 | 14:58 | 33.8983 | -118.0288 | Other | Rural | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | Janae 12kV out of Carmenita Sub |  | 12kv | Conductor | Overhead | Yes | 2015-07-13 | 14:58 | Contact From Object |  | Balloons | Electric Facility | None
SCE | 2015-07-13 | 11:15 | 33.7678 | -117.7207 | Vegetation | Rural | 100 - 299 Acres | Fire Agency | Cal Fire | Pole 960439E | Phone & Cable | 12kv | Conductor | Overhead | Yes | 2015-07-13 | 13:30 | Unknown |  |  |  | Unknown
SCE | 2015-07-10 | 7:30 | 36.0517 | -119.0149 | Vegetation | Urban | Less Than .25 Acres | Self Extinguished |  | Pole 1464824E |  | 12kV | Transformer | Overhead | No |  |  | Equipment/Facility Failure | Other |  |  | Unknown
SCE | 2015-07-08 | 12:19 | 33.7792 | -117.2433 | Other | Urban | Less Than .25 Acres | Fire Agency | Riverside County Fire | Pole 2226440E | Phone & Cable | 12kv | Conductor | Overhead | Yes | 2015-07-08 | 12:19 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2015-07-03 | 15:02 | 33.5537 | -117.775 | Vegetation | Urban | 10 - 99 Acres | Fire Agency | Orange County Fire | Pole 1873216E | Phone & Cable | 12kv | Conductor | Overhead | Yes | 2015-07-03 | 15:02 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2015-07-02 | 15:55 | 34.0161 | -117.9114 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | Pole 1165719E | Phone & Cable | 12kv | Conductor | Overhead | Yes | 2015-07-02 | 15:55 | Contact From Object |  | Balloons | Electric Facility | None
SCE | 2015-06-29 | 15:58 | 36.2992 | -119.1486 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Tulare County Fire | Pole 721517E | Phone & Cable | 12kV | Lightning Arrestor | Overhead | No |  |  | Equipment/Facility Failure | Lightning Arrestor |  |  | Weather
SCE | 2015-06-29 | 14:21 | 34.0055 | -116.9805 | Other | Urban | Less Than .25 Acres | Unknown |  | Banning-Zanja 115kV |  | 115kV | Conductor | Overhead | Yes | 2015-06-29 | 14:21 | Contact From Object |  | Vehicle | Pole | None
SCE | 2015-06-29 | 15:46 | 34.2097 | -118.863 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire | Pole 1238459E | Phone & Cable | 16kV | Conductor | Overhead | Yes | 2015-06-29 | 15:46 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2015-06-29 | 15:58 | 36.2992 | -119.1486 | Other | Urban | Less Than .25 Acres | Fire Agency | Tulare County Fire | Pole 721517E | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-06-29 | 15:58 | Unknown |  |  |  | Unknown
SCE | 2015-06-28 | 11:18 | 34.4129 | -117.2612 | Vegetation | Urban | Less Than .25 Acres | Self Extinguished |  | 67932S: NW/COR/O PEACH ST & MADRONE ST | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-06-28 | 11:18 | Unknown |  |  |  | Weather
SCE | 2015-06-28 | 13:55 | 34.5068 | -117.3671 | Other | Urban | Less Than .25 Acres | Self Extinguished |  | Pole 2001883E | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-06-28 | 13:55 | Unknown |  |  |  | Weather
SCE | 2015-06-23 | 17:21 | 34.279 | -118.9072 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Ventura Fire Department | Primary splice box at base of pole 2115918e |  | 16kV | Conductor | Subsurface | No |  |  | Equipment/Facility Failure | Other |  |  | Unknown
SCE | 2015-06-22 | 13:30 | 35.9645 | -119.2942 | Other | Urban | Less Than .25 Acres | Fire Agency | Tulare County Fire | Pole 2088956E |  | 12kV | Other | Overhead | Yes | 2015-06-22 | 13:30 | Contact From Object |  | Vehicle | Pole | None
SCE | 2015-06-21 | 14:25 | 33.8743 | -117.2407 | Other | Urban | Less Than .25 Acres | Fire Agency | Riverside County Fire | Pole 4329982E | Phone & Cable | 12kV | Conductor | Subsurface | Yes | 2015-06-21 | 14:25 | Vandalism/Theft |  |  |  | Outside Force
SCE | 2015-06-19 | 14:00 | 36.2075 | -119.3281 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Tulare Fire Department | 4677205 RCS 1282 | Phone & Cable | 12kV | Other | Overhead | No |  |  | Unknown |  |  |  | Unknown
SCE | 2015-06-17 | 17:29 | 36.1086 | -118.9425 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Cal Fire | Pole 722603E |  | 66kV | Conductor | Overhead | Yes | 2015-06-17 | 17:29 | Contact From Object |  | Animal | Electric Facility | None
SCE | 2015-06-13 | 18:28 | 34.0116 | -118.3996 | Building | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | Runway 16kV and Stevens 4 kV at Culver Sub |  | 16kV | Conductor | Overhead | Yes | 2015-06-13 | 18:28 | Contact From Object |  | Balloons | Electric Facility | None
SCE | 2015-06-12 | 12:50 | 36.3207 | -119.3094 | Other | Urban | Less Than .25 Acres | Fire Agency | Visalia Fire Department | Pole 4708810E | Phone & Cable | 12kV | Other | Overhead | Yes | 2015-06-12 | 13:00 | Unknown |  |  |  | None
SCE | 2015-06-11 | 1:00 | 36.3962 | -119.2966 | Other | Rural | Less Than .25 Acres | Fire Agency | Tulare County Fire | Virgil 12kV out of Chatham Sub |  | 12kV | Conductor | Overhead | Yes | 2015-06-11 | 1:00 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2015-06-10 | 20:50 | 35.9641 | -119.0193 | Vegetation | Rural | Less Than .25 Acres | Unknown |  | Zion 12kV at Terra Bella Sub |  | 12kV | Conductor | Overhead | Yes | 2015-06-10 | 20:50 | Contact From Object |  | Vehicle | Pole | None
SCE | 2015-06-09 | 5:46 | 33.5986 | -117.1311 | Other | Rural | Less Than .25 Acres | Fire Agency | Cal Fire | Pole 4401960E |  | 33kV | Conductor | Overhead | Yes | 2015-06-09 | 5:46 | Contact From Object |  | Animal | Electric Facility | None
SCE | 2015-06-06 | 10:00 | 34.4043 | -118.4234 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | 16450 Alamo Canyon Rd, Canyon Country | Phone & Cable | 16kV | Other | Overhead | Yes | 2015-06-06 | 10:13 | Contact From Object |  | Animal | Electric Facility | None
SCE | 2015-06-05 | 17:10 | 33.8591 | -117.2639 | Other | Urban | Less Than .25 Acres | Fire Agency | Riverside County Fire | Pinewood 12kV at Cajalco Sub |  | 33kV | Conductor | Overhead | Yes | 2015-06-05 | 17:10 | Contact From Object |  | Vehicle | Electric Facility | None
SCE | 2015-06-05 | 14:40 | 33.9018 | -116.6872 | Vegetation | Rural | 10 - 99 Acres | Fire Agency | Cal Fire | Devers-Valley No.1 and No.2 500 kV lines. |  | 500kV | Other | Overhead | No |  |  | Unknown |  |  |  | Unknown
SCE | 2015-05-30 | 15:30 | 33.7097 | -117.6459 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Orange County Fire | Pole 2257269E | Phone & Cable | 12kV | Other | Overhead | Yes | 2015-05-30 | 15:26 | Contact From Object |  | Animal | Electric Facility | None
SCE | 2015-05-30 | 15:26 | 33.7097 | -117.6459 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Orange County Fire Authority | Pole 2257269E | Phone & Cable | 12kV | Other | Overhead | Yes | 2015-05-30 | 15:26 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 2015-05-29 | 15:28 | 34.2862 | -118.8792 | Building | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire | Strathern 16kV at Moorpark Sub. |  | 16kV | Capacitor Bank | Overhead | Yes | 2015-05-29 | 15:28 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 2015-05-29 | 7:29 | 36.387 | -118.9536 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Tulare County Fire | Lemon Cove and Three Rivers Sub. Venida 66kV |  | 66kV | Conductor | Overhead | Yes | 2015-05-29 | 7:29 | Contact From Object |  | Animal | Electric Facility | None
SCE | 2015-05-26 | 14:47 | 34.1412 | -118.9079 | Other | Rural | Less Than .25 Acres | Fire Agency | Ventura County Fire | Pole 658179E |  | 4kV | Other | Overhead | No |  |  | Unknown |  |  |  | Unknown
SCE | 2015-05-25 | 13:48 | 33.7512 | -117.9787 | Building | Urban | Less Than .25 Acres | Fire Agency | Orange County Fire | Pole 1833024E |  | 12kV | Conductor | Overhead | Yes | 2015-05-25 | 13:48 | Contact From Object |  | Balloons | Electric Facility | None
SCE | 2015-05-23 | 11:57 | 34.3006 | -118.3613 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | Pole 1261671E | Phone & Cable | 16kV | Conductor | Overhead | Yes | 2015-05-23 | 11:05 | Unknown |  |  |  | Unknown
SCE | 2015-05-14 | 22:24 | 36.1318 | -118.7784 | Vegetation | Rural | Less Than .25 Acres | Customer |  | Soda Springs 12kV out of Boxwood Sub |  | 12kV | Conductor | Overhead | Yes | 2015-05-14 | 22:24 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2015-05-12 | 19:34 | 34.5312 | -117.318 | Other | Urban | Less Than .25 Acres | Fire Agency | San Bernardino County Fire | Pole 1599652E: VILLAGE DR ALLEY W 136' N/O CULEBRA RD | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-05-12 | 19:34 | Contact From Object |  | Balloons | Electric Facility | None
SCE | 2015-05-11 | 7:30 | 34.108 | -117.7301 | Building | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | Pole 1132743E: 835 W FOOTHILL BLVD, CLAREMONT | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-05-11 | 7:30 | Contact From Object |  | Balloons | Electric Facility | None
SCE | 2015-05-10 | 13:55 | 33.6803 | -117.1712 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Riverside Fire Department | Pole 2135638E: HWY 215 W/S 1730' S/O NEWPORT RD | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-05-10 | 13:55 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2015-05-09 | 10:49 | 34.2096 | -118.8805 | Other | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire | Pole 1665903E |  | 16kV | Conductor | Overhead | Yes | 2015-05-09 | 10:49 | Contact From Object |  | Vegetation | Electric Facility | Human Error
SCE | 2015-05-08 | 6:15 | 34.3955 | -119.4839 | Other | Rural | Less Than .25 Acres | Fire Agency | CARPINTERIA-SUMMERLAND | POLE# 4041801E |  | 16kV | Transformer | Overhead | Yes | 2015-05-08 | 6:47 | Unknown |  |  |  | Unknown
SCE | 2015-05-06 | 14:03 | 33.7176 | -117.7254 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Orange County Fire Authority | Beijing 12kV out of Las Lomas Sub. |  | 12kV | Conductor | Overhead | Yes | 2015-05-06 | 14:03 | Contact From Object |  | Vehicle | Electric Facility | None
SCE | 2015-05-05 | 16:00 | 33.711 | -117.7089 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Orange County Fire | Pole 4229158E |  | 12kV | Conductor | Overhead | No |  |  | Contact From Object |  | Vehicle | Electric Facility | None
SCE | 2015-05-04 | 15:47 | 36.3491 | -119.6053 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Kings County Fire Department | Pole 4672160E |  | 12kV | Conductor | Overhead | Yes | 2015-05-04 | 15:47 | Contact From Object |  | Vehicle | Pole | None
SCE | 2015-05-01 | 13:30 | 34.0255 | -117.72 | Building | Urban | Less Than .25 Acres | Fire Agency | Chino Valley Fire District | Pole 49856E | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-05-01 | 13:30 | Unknown |  |  |  | Unknown
SCE | 2015-04-30 | 13:45 | 33.6797 | -117.2441 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Cal Fire | 30515 Railroad Canyon Rd |  | 12kV | Conductor | Overhead | Yes | 2015-04-30 | 13:45 | Equipment/Facility Failure | Conductor |  |  | Unknown
SCE | 2015-04-27 | 19:09 | 34.3089 | -118.9413 | Other | Rural | Less Than .25 Acres | Fire Agency | Ventura County Fire | 9372 STOCKTON RD PMP MOORPARK | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-04-27 | 19:09 | Equipment/Facility Failure | Splice/Clamp/Connector |  |  | Unknown
SCE | 2015-04-27 | 8:58 | 34.1777 | -117.3014 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | San Bernardino Fire Department | Pole 1371456E | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-04-27 | 5:46 | Unknown |  |  |  | Unknown
SCE | 2015-04-27 | 8:23 | 34.1777 | -117.3014 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | San Bernardino County Fire | Pole 1371456E | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-04-27 | 8:23 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2015-04-27 | 15:57 | 33.9297 | -116.5804 | Other | Rural | Less Than .25 Acres | Fire Agency | Riverside County Fire | Invader 12kV of Devers Sub |  | 12kV | Conductor | Overhead | Yes | 2015-04-27 | 15:57 | Equipment/Facility Failure | Splice/Clamp/Connector |  |  | Unknown
SCE | 2015-04-27 | 19:10 | 34.3089 | -118.9413 | Other | Rural | Less Than .25 Acres | Fire Agency | Ventura County Fire | Pole 4734128E |  | 16kV | Other | Overhead | Yes | 2015-04-27 | 19:10 | Equipment/Facility Failure | Other |  |  | Unknown
SCE | 2015-04-26 | 21:01 | 34.0694 | -118.0299 | Other | Urban | Less Than .25 Acres | Fire Agency | El Monte Fire Department | Pole 4481447E | Phone & Cable | 16kV | Conductor | Overhead | Yes | 2015-04-26 | 21:01 | Vandalism/Theft |  |  |  | Outside Force
SCE | 2015-04-25 | 14:16 | 33.9378 | -118.0195 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | Pole 1154469E | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-04-25 | 14:16 | Contact From Object |  | Vegetation | Electric Facility | Weather
SCE | 2015-04-19 | 13:40 | 34.4359 | -118.524 | Building | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | Pole 1527158E |  | 16kV | Conductor | Overhead | Yes | 2015-04-19 | 13:40 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2015-04-19 | 14:41 | 33.8584 | -117.9344 | Building | Urban | Less Than .25 Acres | Fire Agency | Fullerton Fire Department | Pole 1005284E | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-04-19 | 14:41 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2015-04-17 | 8:41 | 33.6397 | -116.901 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Riverside County Fire | 33425 VALERIO RD hemet ca |  | 12kV | Other | Overhead | No |  |  | Other |  |  |  | Unknown
SCE | 2015-04-17 | 9:59 | 33.917 | -118.0249 | Building | Urban | Less Than .25 Acres | Unknown |  | Fixed Capacitor 28041. Imperial Highway and Valley View Ave. | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-04-17 | 9:59 | Equipment/Facility Failure | Fuse |  |  | Unknown
SCE | 2015-04-17 | 16:41 | 34.0851 | -118.8044 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Los Angeles County Fire | Maguire 16kV out of Latigo Sub |  | 16kV | Conductor | Overhead | Yes | 2015-04-17 | 16:41 | Contact From Object |  | Vehicle | Pole | None
SCE | 2015-04-14 | 14:35 | 35.6261 | -117.6818 | Other | Urban | .26 - 9.99 Acres | Fire Agency | Kern County Fire Department | Pole 1744258E | Phone & Cable | 12 kV | Conductor | Overhead | Yes | 2015-04-14 | 14:35 | Unknown |  |  |  | Unknown
SCE | 2015-04-13 | 15:00 | 33.7903 | -117.0324 | Other | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | Pole 2020648E | Phone & Cable | 12kV | Fuse | Overhead | No |  |  | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2015-04-12 | 6:32 | 34.0772 | -117.4997 | Other | Urban | Less Than .25 Acres | Unknown |  | Etiwanda-Galvanizing-Strip 66kV. PS451: |  | 66kV | Switch | Overhead | No |  |  | Vandalism/Theft |  |  |  | Outside Force
SCE | 2015-04-11 | 14:27 | 34.0355 | -118.1328 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Monterey Park Fire Department | Pole 4356231E | Phone & Cable | 4kV | Other | Overhead | Yes | 2015-04-11 | 14:27 | Equipment/Facility Failure | Other |  |  | Unknown
SCE | 2015-04-08 | 14:00 | 36.1066 | -119.0315 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Tulare County Fire | Lewis Hill Porterville, ca - 8916t | Phone & Cable | 12kV | Other | Overhead | Yes | 2015-04-08 | 14:10 | Other |  |  |  | Weather
SCE | 2015-04-08 | 13:05 | 34.1781 | -118.8684 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire | Pole 2240858E |  | 16kV | Conductor | Overhead | Yes | 2015-04-08 | 13:05 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 2015-04-08 | 16:52 | 36.1059 | -119.0416 | Other | Rural | Less Than .25 Acres | Fire Agency | Tulare County Fire | Pole 1004338E |  | 12kV | Conductor | Overhead | Yes | 2015-04-08 | 16:52 | Equipment/Facility Failure | Crossarm |  |  | Weather
SCE | 2015-03-30 | 15:14 | 33.9011 | -117.8534 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Orange County Fire Authority | Cancun 12kV at Brea Sub in Placentia |  | 12kV | Conductor | Overhead | Yes | 2015-03-30 | 15:24 | Contact From Object |  | Other | Electric Facility | Unknown
SCE | 2015-03-26 | 14:09 | 33.946 | -117.9247 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | Twister 12kV at La Habra Sub and Whipstock 12kV at Olinda Sub. |  | 12kV | Conductor | Overhead | Yes | 2015-03-26 | 14:09 | Contact From Object |  | Other | Electric Facility | Unknown
SCE | 2015-03-26 | 17:57 | 33.8514 | -117.5872 | Other | Urban | Less Than .25 Acres | Fire Agency | Corona Fire Department | Owens 33kV at Corona Sub carrying Cupples 33kV in Corona. |  | 33kV | Other | Overhead | Yes | 2015-03-26 | 17:57 | Equipment/Facility Failure | Other |  |  | Unknown
SCE | 2015-03-23 | 17:20 | 34.4355 | -119.8226 | Other | Urban | Less Than .25 Acres | Fire Agency | Santa Barbara County Fire | Pole 807632E | Phone & Cable | 16 kV | Conductor | Overhead | Yes | 2015-03-23 | 19:19 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 2015-02-22 | 9:52 | 34.2849 | -119.2173 | Vegetation | Rural | 10 - 99 Acres | Fire Agency | Ventura Fire Department | Pole 1718768E | Phone & Cable | 16kV | Other | Overhead | Yes | 2015-02-22 | 10:49 | Unknown |  |  |  | None
SCE | 2015-02-06 | 13:15 | 37.454 | -118.5842 | Vegetation | Rural | Greater than 5000 Acres | Fire Agency | Various Fire Agencies | Between Poles 1854107E & 1854106E | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-02-06 | 13:15 | Unknown |  |  |  | Unknown
SCE | 2015-01-26 | 17:30 | 34.1315 | -117.8376 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Glendora Fire Department | Pole 1384657E | Phone & Cable | 12kV | Conductor | Overhead | Yes | 2015-01-26 | 17:30 | Contact From Object |  | Vegetation | Electric Facility | Weather
SCE | 2015-01-04 | 13:00 | 33.9539 | -118.3682 | Other | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire | Pole 1879055E | Phone & Cable | 16kV | Conductor | Overhead | Yes | 2015-01-04 | 13:00 | Unknown |  |  |  | Unknown
Note on A1: Name of utility reporting the event Highlights: Green-data is complete and should be reported. Red/Pink-data is incomplete, and unknown if should be reported. Gray-data set should be excluded.
Note on X1: An Optional Field, list additional information that could be useful when examining data.
Note on B2: Date the event started (Use MM/DD/YY when inputting dates)
Note on C2: The time the event started. This field is only an estimate as in many cases the utility might not know the exact start time. (Use military time when inputing time)
Note on D2: Utilities should submit this data as close as it can get to the origin point of the event. Data should be at least given to the thousandths decimal place (i.e. X.00), more accuracy should be used when the utility has that knowledge.
Note on E2: Utilities should submit this data as close as it can get to the origin point of the event. Data should be at least given to the thousandths decimal place (i.e. X.00), more accuracy should be used when the utility has that knowledge.
Note on F2: Material involved in the initial fueling of the fire;
Note on G2: Nature of land use in the vicinity of the point of the fire’s origin (i.e., Urban, Rural). Rural and Urban are defined in GO 165.
Note on H2: An approximation of the fire's size give in acres. If only a structure was involved in the fire select structure only.
Note on I2: Is who suppressed the fire
Note on J2: If the fire was suppressed by a fire agency or agencies, insert the lead agency when one or more agency was involved
Note on K2: Utility’s description of the pole and/or equipment involved.
Note on L2: Other Companies that were attached to pole in question and known to the utility. If the facilities involved were not overhead leave this field blank. Note this field will be blacked out until "Overhead" is selected in the "Type" Column.
Note on M2: Nominal voltage rating of the utility equipment and/or circuit involved in the fire, use volts. If two or more voltages were involved list the higher voltage.
Note on N2: This field should list the equipment that supplied the heat that ignited the reported fire;
Note on O2: The equipment involved in the event (overhead, padmounted or subsurface);
Note on P2: Was there an outage involved in the event? Exclude outages that were that were ordered by a governmental agency or were taken by the utility at its discretion.
Note on Q2: For the purpose of this Data Collection Proposal, list the first outage associated with the event if multiple outages were involved. For the purpose of this Data Collection Proposal, exclude outages that were that were ordered by a governmental agency or were taken by the utility at its discretion.
Note on R2: For the purpose of this Data Collection Proposal, list the first outage associated with the event if multiple outages were involved. For the purpose of this Data Collection Proposal, exclude outages that were that were ordered by a governmental agency or were taken by the utility at its discretion.
Note on S2: The suspected cause of the ignition;
Note on T2: The specific equipment that malfunctioned that resulted in the “Equipment Involved” to cause the reported fire. (Only to be used if “Equipment/Facility Failure” is selected as Suspected Ignition Cause);
Note on U2: The first object that contacted the Communication or Electric Facilities (Only to be used if “Contact from Object” is selected as Ignition Cause);
Note on V2: The first facility that was contacted by an outside object (Only to be used if “Contact from Object” is selected as Ignition Cause);
Note on W2: Factors that contributed to the ignition;

## CPUC Drop Downs
BVES | Building | Rural | Customer | Capacitor Bank | Padmounted | Contact Between Third Party Facility on Pole and Supply Lines | Animal | Human Error | Yes | Less Than .25 Acres | Communication Facility | Capacitor Bank
Kirkwood Meadows | Other | Urban | Fire Agency | Conductor | Overhead | Contact From Object | Balloons | None | No | .26 - 9.99 Acres | Electric Facility | Conductor
Liberty Energy | Vegetation |  | Self Extinguished | Fuse | Subsurface | Contamination | Other | Other |  | 10 - 99 Acres | Pole | Fuse
PacifiCorp |  |  | Unknown | Lightning Arrestor |  | Equipment/Facility Failure | Vegetation | Outside Force |  | 100 - 299 Acres |  | Insulator
PG&E |  |  | Utility | Other |  | Normal Operation | Vehicle | Unknown |  | 300 - 999 Acres |  | Lightning Arrestor
SCE |  |  |  | Switch |  | Other |  | Weather |  | 1000 - 4999 Acres |  | Pole
SDG&E |  |  |  | Transformer |  | Unknown |  |  |  | Greater than 5000 Acres |  | Guy/Span Wire
[6 empty] | Vandalism/Theft |  |  |  | Less than three (3) meters of linear travel |  | Other
[6 empty] | Wire-Wire Contact |  |  |  | Structure Only |  | Protective Relay
Crossarm
Recloser
Sectionalizer
Splice/Clamp/Connector
Switch
Transformer
Voltage Regulator
Note on G2: To be used when contact between a supply facility and non-supply facility on a pole occurred. Note: This field does not specify which facility caused the contact, only that the contact occurred.
Note on G3: Use when contact from outside object caused the incidnet.
Note on G4: Should be used when outside contaminates effect the utility's facilities. Examples: Smoke caused a phase to phase arc which resulted in a fire. Dirt and salt allowed tracking on an insultor, which caused a crossarm to catch on fire and then resulted in a vegetation fire.
Note on G5: A cessation of normal operation
Note on G6: To be used when the supply facility operated normally. Example: A fuse oprated and material fell onto vegetation and started a fire.
Note on G9: This field would include those fires started from gunshots that broke electric equipment, attempted theft of copper cable, etc.
Note on G10: To be used when to two or more supply conductors contact each other.