## Report
Utility Name | Fire Start | [5 empty] | Fire |  |  | Utility Facility |  |  |  |  | Outage |  |  | Field Observations |  |  |  |  | Notes (Optional):
| Date | Time | Latitude | Longitude | Material at Origin | Land Use at Origin | Size | Suppressed by | Suppressing Agency | Facility Identification | Other Companies | Voltage (Volts) | Equipment Involved With Ignition | Type | Was There an Outage | Date | Time | Suspected Initiating Event | Equipment /Facility Failure | Contact From Object | Facility Contacted | Contributing Factor
SCE | 2018-01-08 | 18:28 | 34.0481 | -118.0899 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | San Gabriel Fire Department | 1094255E | AT&T CALIFORNIA | 16 kV | Conductor | Overhead | Yes | 2018-01-08 | 18:28 | Equipment/Facility Failure | Other |  |  | Unknown
SCE | 2018-01-09 | 3:48 | 34.06 | -118.3923 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Beverly Hills Fire Department | 1085977E | AT&T CALIFORNIA, CITY OF BEVERLY HILLS | 16 kV | Conductor | Overhead | Yes | 2018-01-09 | 3:48 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-01-25 | 14:05 | 34.0856 | -118.0652 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 1429951E | AT&T CALIFORNIA | 16 kV | Conductor | Overhead | Yes | 2018-01-25 | 14:05 | Equipment/Facility Failure | Other |  |  | Unknown
SCE | 2018-01-31 | 8:29 | 33.7074 | -117.0524 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Hemet Fire Department | 4234368E |  | 12 kV | Conductor | Overhead | Yes | 2018-01-31 | 8:29 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 2018-02-12 | 17:07 | 33.8987 | -118.3536 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 1099427E |  | 16 kV | Conductor | Overhead | Yes | 2018-02-12 | 17:07 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-02-13 | 5:34 | 34.0503 | -118.6456 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 4521770E | CHARTER COMMUNICATIONS, SPRINT NEXTEL CORPORATION | 16 kV | Conductor | Overhead | Yes | 2018-02-13 | 5:34 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 2018-02-14 | 11:12 | 34.0626 | -118.0655 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | Garvey/Rosemead, South El Monte |  | 16 kV | Transformer | Overhead | Yes | 2018-02-14 | 11:12 | Unknown |  |  |  | Unknown
SCE | 2018-02-23 | 9:29 | 33.9585 | -118.2317 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | 1698684E |  | 120/240 V | Conductor | Overhead | Yes | 2018-02-23 | 9:29 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2018-02-25 | 13:07 | 34.0146 | -118.4487 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Santa Monica Fire Department | 828710E | FRONTIER COMMUNICATIONS, TIME WARNER CABLE | 16 kV | Conductor | Overhead | Yes | 2018-02-25 | 13:07 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-02-28 | 10:35 | 33.9537 | -118.3446 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 1701012E | AT&T CALIFORNIA, SUNESYS, LLC | 16 kV | Conductor | Overhead | Yes | 2018-02-28 | 10:35 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 2018-03-15 | 9:08 | 34.2068 | -119.1446 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire Department | 1603338E | FRONTIER COMMUNICATIONS, TIME WARNER CABLE | 16 kV | Conductor | Overhead | Yes | 2018-03-15 | 9:08 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-03-18 | 13:07 | 33.7372 | -117.9858 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Westminster Fire Department | 1220403E | FRONTIER COMMUNICATIONS | 12 kV | Conductor | Overhead | Yes | 2018-03-18 | 13:07 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-04-09 | 13:32 | 34.2823 | -119.2869 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire Department | 1477463E | AT&T CALIFORNIA | 16 kV | Conductor | Overhead | Yes | 2018-04-09 | 13:32 | Wire-Wire Contact |  |  |  | Human Error
SCE | 2018-04-10 | 12:33 | 34.3978 | -117.3571 | Vegetation | Rural | Less Than .25 Acres | Self Extinguished |  | 4066725E | CHARTER COMMUNICATIONS | 12 kV | Conductor | Overhead | Yes | 2018-04-10 | 12:33 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-04-12 | 16:33 | 33.9928 | -117.9945 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 4159279E |  | 4 kV | Conductor | Overhead | Yes | 2018-04-12 | 16:33 | Wire-Wire Contact |  |  |  | Unknown
SCE | 2018-04-13 | 10:26 | 34.1225 | -117.247 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | 25571 Walker St, San Bndo |  | 4 kV | Conductor | Overhead | Yes | 2018-04-13 | 10:26 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-04-14 | 17:18 | 34.0616 | -118.0506 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 4294956E |  | 16 kV | Transformer | Overhead | Yes | 2018-04-14 | 17:18 | Equipment/Facility Failure | Other |  |  | Unknown
SCE | 2018-04-15 | 15:08 | 34.863 | -118.1782 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Kern County Fire Department | 992250E | AT&T CALIFORNIA | 4 kV | Conductor | Overhead | Yes | 2018-04-15 | 15:08 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-04-16 | 6:27 | 33.9499 | -117.9929 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | 4705273e |  | 12 kV | Conductor | Overhead | Yes | 2018-04-16 | 6:27 | Equipment/Facility Failure | Switch |  |  | Unknown
SCE | 2018-04-17 | 0:04 | 33.9849 | -118.0591 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 2274423E | FRONTIER COMMUNICATIONS | 4 kV | Conductor | Overhead | Yes | 2018-04-17 | 0:04 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 2018-04-19 | 21:58 | 34.6257 | -118.3148 | Vegetation | Urban | .26 - 9.99 Acres | Fire Agency | Los Angeles County Fire Department | 2334378E | AT&T CALIFORNIA | 12 kV | Conductor | Overhead | Yes | 2018-04-19 | 21:58 | Equipment/Facility Failure | Conductor |  |  | Unknown
SCE | 2018-04-20 | 8:38 | 34.4628 | -119.8958 | Vegetation | Urban | .26 - 9.99 Acres | Fire Agency | Santa Barbara County Fire Department | 1300 Ellwood Ranch Rd, Goleta |  | 12 kV | Conductor | Overhead | Yes | 2018-04-20 | 8:38 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 2018-04-22 | 13:31 | 33.8575 | -118.2223 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | 1978567E | AT&T CALIFORNIA | 16 kV | Conductor | Overhead | Yes | 2018-04-22 | 13:31 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 2018-04-28 | 17:03 | 33.7873 | -117.2614 | Vegetation | Urban | .26 - 9.99 Acres | Unknown |  | 22942 La More Rd. Perris |  | 16 kV | Conductor | Overhead | Yes | 2018-04-28 | 17:03 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-04-28 | 14:23 | 33.682 | -117.3276 | Vegetation | Urban | 10 - 99 Acres | Fire Agency | Fire Agency | Langstaff & Camino Del Norte in Lake |  | 33 kV | Conductor | Overhead | Yes | 2018-04-28 | 14:23 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-04-29 | 11:31 | 33.6963 | -117.2061 | Vegetation | Urban | .26 - 9.99 Acres | Fire Agency | Roverside Fire Department | 29234 Murrieta Rd, sun City. X St Westridge |  | 12 kV | Conductor | Overhead | Yes | 2018-04-29 | 11:31 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-05-02 | 14:56 | 33.79 | -118.3368 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | 198352E |  | 16 kV | Conductor | Overhead | Yes | 2018-05-02 | 14:56 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-05-03 | 16:57 | 33.9754 | -117.2327 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | HEACOCK CROSS RECHE VISTA CITY OF MORENO VALLEY |  | 12 kV | Conductor | Overhead | Yes | 2018-05-03 | 16:57 | Equipment/Facility Failure | Other |  |  | Unknown
SCE | 2018-05-09 | 17:52 | 33.9236 | -117.9989 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 1398814E | FRONTIER COMMUNICATIONS | 16 kV | Conductor | Overhead | Yes | 2018-05-09 | 17:52 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2018-05-11 | 18:22 | 34.0728 | -117.2845 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | San Bernardino County Fire Department | 1531968E |  | 12 kV | Conductor | Overhead | Yes | 2018-05-11 | 18:22 | Vandalism/Theft |  |  |  | Unknown
SCE | 2018-05-16 | 18:26 | 34.1525 | -117.3405 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | San Bernardino County Fire Department | Kent St & Kerry Street, San Bernardino |  | 12 kV | Conductor | Overhead | Yes | 2018-05-16 | 18:26 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-05-21 | 12:24 | 33.5054 | -117.1788 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | X5418779 |  | 12 kV | Conductor | Subsurface | Yes | 2018-05-21 | 12:24 | Equipment/Facility Failure | Splice/Clamp/Connector |  |  | Unknown
SCE | 2018-05-26 | 18:16 | 36.2117 | -119.3143 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Tulare Fire Department | 2200 E Tulare Av, Tulare |  | 12 kV | Conductor | Overhead | Yes | 2018-05-26 | 18:16 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-05-31 | 16:03 | 36.3265 | -119.3676 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Visilia Fire Department | 4141017E | COMCAST OF SIERRA VALLEYS, INC | 12 kV | Conductor | Overhead | Yes | 2018-05-31 | 16:03 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 2018-06-02 | 10:41 | 35.8931 | -118.9207 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Calfire | Avenue 56 and Old Stage Road in Ducor. |  | 12 kV | Conductor | Overhead | Yes | 2018-06-02 | 11:12 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 2018-06-05 | 21:51 | 33.9371 | -117.1755 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | Eucalyptus and auto mall drive |  | 12 kV | Conductor | Overhead | Yes | 2018-06-05 | 21:51 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 2018-06-06 | 0:13 | 33.9389 | -117.173 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Moreno Valley Fire Department | 4275896E |  | 16 kV | Conductor | Overhead | Yes | 2018-06-06 | 0:13 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 2018-06-06 | 23:50 | 34.0948 | -118.0456 | Vegetation | Urban | .26 - 9.99 Acres | Fire Agency | Los Angeles County Fire Department | 628981E | AT&T CALIFORNIA | 16 kV | Transformer | Overhead | Yes | 2018-06-06 | 23:50 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 2018-06-08 | 11:53 | 34.914 | -116.9886 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | SOAPMINE RD. X HWY 58 SAN BERNARDINO |  | 12 kV | Conductor | Overhead | Yes | 2018-06-08 | 11:53 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 2018-06-10 | 6:07 | 33.9457 | -116.9813 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Fire Agency | 1764306E |  | 12 kV | Conductor | Overhead | Yes | 2018-06-10 | 6:07 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 2018-06-12 | 13:27 | 34.0309 | -117.1208 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Calfire | 400764E | FRONTIER COMMUNICATIONS | 12 kV | Conductor | Overhead | Yes | 2018-06-12 | 13:27 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 2018-06-13 | 20:30 | 34.9883 | -117.8923 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | OH-4168509E |  | 115 kV | Conductor | Overhead | Yes | 2018-06-13 | 20:30 | Unknown |  |  |  | Unknown
SCE | 2018-06-13 | 20:49 | 36.2042 | -119.0927 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Tulare Fire Department | Lindsay-Strathmore 66 kV |  | 66 kV | Conductor | Overhead | Yes | 2018-06-13 | 20:49 | Equipment/Facility Failure | Splice/Clamp/Connector |  |  | Unknown
SCE | 2018-06-15 | 17:04 | 34.3702 | -117.3179 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Calfire | 4769611E |  | 12 kV | Conductor | Overhead | Yes | 2018-06-15 | 17:04 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 2018-06-17 | 11:52 | 33.7548 | -117.6593 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Orange County Fire Authority | 960239E |  | 16 kV | Conductor | Overhead | Yes | 2018-06-17 | 11:52 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-06-18 | 11:18 | 34.6016 | -117.3426 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | San Bernardino County Fire Department | 4620608E |  | 33 kV | Conductor | Overhead | Yes | 2018-06-18 | 11:18 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 2018-06-18 | 13:48 | 34.1362 | -117.3189 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | 4671412E |  | 12 kV | Conductor | Overhead | Yes | 2018-06-18 | 13:48 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-06-19 | 10:15 | 36.3509 | -119.428 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | 1620140E |  | 12 kV | Conductor | Overhead | Yes | 2018-06-19 | 10:15 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 2018-06-19 | 19:45 | 33.8294 | -117.1784 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Riverside Fire Department | 4162053E | FRONTIER COMMUNICATIONS, TIME WARNER CABLE | 33 kV | Conductor | Overhead | Yes | 2018-06-19 | 19:45 | Equipment/Facility Failure | Conductor |  |  | Unknown
SCE | 2018-06-24 | 15:58 | 34.4588 | -119.287 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire Department | 1781640E |  | 12 kV | Conductor | Overhead | Yes | 2018-06-24 | 15:58 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-06-26 | 20:48 | 34.0158 | -117.0215 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Calfire | Holmes St/Wildwood Canyon Rd, Yucaipa |  | 12 kV | Conductor | Overhead | Yes | 2018-06-26 | 20:48 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 2018-06-29 | 3:30 | 34.1358 | -118.5994 | Vegetation | Rural | Less Than .25 Acres | Self Extinguished |  | View Ridge Rd/Topanga Canyon Blvd, County of Los Angeles |  | 12 kV | Conductor | Overhead | Yes | 2018-06-29 | 3:30 | Equipment/Facility Failure | Insulator |  |  | Unknown
SCE | 2018-07-05 | 3:19 | 33.8171 | -118.0128 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | 4086275E |  | 12 kV | Conductor | Overhead | No |  |  | Unknown |  |  |  | Unknown
SCE | 2018-07-06 | 5:38 | 34.6744 | -118.4517 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 465140E |  | 12 kV | Conductor | Overhead | Yes | 2018-07-06 | 5:38 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 2018-07-07 | 7:12 | 34.0948 | -118.0456 | Vegetation | Urban | Structure Only | Fire Agency | Los Angeles County Fire Department | 628981E |  | 16 kV | Conductor | Overhead | Yes | 2018-07-07 | 7:12 | Unknown |  |  |  | Unknown
SCE | 2018-07-07 | 16:16 | 34.0946 | -118.0031 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | El Monte Fire Department | 5226 Cogswell Rd, El Monte |  | 120/240 V | Conductor | Overhead | No |  |  | Equipment/Facility Failure | Conductor |  |  | Unknown
SCE | 2018-07-10 | 14:31 | 34.2173 | -118.2066 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 883935E | AT&T CALIFORNIA | 16 kV | Conductor | Overhead | Yes | 2018-07-10 | 14:31 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2018-07-11 | 5:26 | 34.4595 | -118.5237 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | Copperhill Dr/Hiddenhills Dr, Santa Clarita |  | 16 kV | Conductor | Padmounted | Yes | 2018-07-11 | 5:26 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 2018-07-15 | 13:27 | 34.113 | -117.3792 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Rialto Fire Department | 262137S | AT&T CALIFORNIA | 16 kV | Conductor | Overhead | Yes | 2018-07-15 | 13:27 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-07-19 | 13:49 | 33.3732 | -117.5555 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | San Clemente Fire Department | 4023315E |  | 12 kV | Conductor | Overhead | Yes | 2018-07-19 | 13:49 | Unknown |  |  |  | Unknown
SCE | 2018-07-23 | 11:18 | 33.7837 | -118.184 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Long Beach Fire Department | 2167194E |  | 12 kV | Conductor | Overhead | Yes | 2018-07-23 | 11:18 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 2018-07-26 | 11:27 | 34.0902 | -117.9005 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 1127437E | FRONTIER COMMUNICATIONS | 4 kV | Conductor | Overhead | Yes | 2018-07-26 | 11:27 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 2018-07-29 | 7:04 | 34.1222 | -117.6551 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | San Bernardino County Fire Department | 1386508E | FRONTIER COMMUNICATIONS | 12 kV | Conductor | Overhead | Yes | 2018-07-29 | 7:04 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 2018-08-04 | 3:09 | 36.3503 | -119.6543 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Hanford Fire Department | 533 Lotus Hanford, CA |  | 12 kV | Conductor | Overhead | Yes | 2018-08-04 | 3:09 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2018-08-04 | 0:43 | 37.1895 | -119.2738 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Calfire | OH-7021454 |  | 220 kV | Conductor | Overhead | Yes | 2018-08-04 | 2:21 | Equipment/Facility Failure | Other |  |  | Unknown
SCE | 2018-08-07 | 20:37 | 33.874 | -116.8345 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Riverside Fire Department | 2204715E | FRONTIER COMMUNICATIONS | 12 kV | Conductor | Overhead | Yes | 2018-08-07 | 20:37 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2018-08-08 | 22:28 | 34.0726 | -118.1192 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | City Of Alhambra Fire Department | 1842 S CHAPEL AVE, ALHAMBRA |  | 4 kV | Conductor | Overhead | Yes | 2018-08-08 | 22:28 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2018-08-14 | 9:22 | 33.5642 | -117.7168 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Orange County Fire Authority | 1854749e |  | 12 kV | Conductor | Overhead | Yes | 2018-08-14 | 9:22 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 2018-08-19 | 10:46 | 33.8904 | -118.2541 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Downy Fire Department | 517 S Barclay Ave Downy |  | 4 kV | Conductor | Overhead | Yes | 2018-08-19 | 10:46 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-08-20 | 6:49 | 33.9534 | -118.1402 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 979721E | FRONTIER COMMUNICATIONS | 12 kV | Conductor | Overhead | Yes | 2018-08-20 | 6:49 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 2018-08-23 | 10:15 | 34.41 | -118.9093 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire Department | 836000E | TIME WARNER CABLE | 16 kV | Conductor | Overhead | Yes | 2018-08-23 | 10:15 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-08-25 | 13:28 | 34.2738 | -119.1354 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Ventura County Fire Department | Vineyard Ave. c/o Los Angeles Ave. Ventura County |  | 16 kV | Conductor | Overhead | Yes | 2018-08-25 | 13:28 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-08-29 | 17:32 | 35.7358 | -118.7192 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Kern County Fire Department | Jack Ranch Rd/White River Rd, Kernville |  | 12 kV | Conductor | Overhead | Yes | 2018-08-29 | 19:06 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2018-08-29 | 13:59 | 34.7642 | -117.258 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | San Bernardino County Fire Department | Across from 18580 Wagonwheel rd in Helendale |  | 12 kV | Conductor | Overhead | Yes | 2018-08-29 | 13:59 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 2018-08-30 | 14:12 | 34.4346 | -117.6442 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | San Bernardino County Fire Department | 849 Juniper Road, Pinon Hills |  | 12 kV | Conductor | Overhead | Yes | 2018-08-30 | 14:12 | Contact From Object |  | Animal | Electric Facility | Unknown
SCE | 2018-08-31 | 20:30 | 34.2197 | -118.8628 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire Department | 2969 Calle Lacota, Thousand Oak |  | 16 kV | Conductor | Overhead | Yes | 2018-08-31 | 20:30 | Equipment/Facility Failure | Other |  |  | Unknown
SCE | 2018-09-14 | 17:14 | 34.0583 | -118.0492 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 2218739E | AT&T CALIFORNIA, LEVEL 3 COMMUNICATIONS, LLC. | 16 kV | Conductor | Overhead | Yes | 2018-09-14 | 17:14 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2018-09-18 | 8:34 | 33.9044 | -118.3336 | Vegetation | Urban | Less Than .25 Acres | Self Extinguished |  | 1423612E | AT&T CALIFORNIA | 12 kV | Conductor | Overhead | Yes | 2018-09-18 | 8:34 | Equipment/Facility Failure | Other |  |  | Unknown
SCE | 2018-09-21 | 8:28 | 34.0728 | -117.0397 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Calfire | Juniper St. Yucaipa |  | 33 kV | Conductor | Overhead | No |  |  | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-09-23 | 13:54 | 34.3992 | -118.4744 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | 1712529E | TIME WARNER CABLE | 16 kV | Conductor | Overhead | Yes | 2018-09-23 | 13:54 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 2018-09-25 | 14:39 | 34.2102 | -118.8829 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire Department | 1754065E | FRONTIER COMMUNICATIONS | 16 kV | Conductor | Overhead | Yes | 2018-09-25 | 14:39 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-09-26 | 16:05 | 33.9988 | -117.0632 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Riverside County Fire | 1071 7th St, X ST is Ave L, Calimesa |  | 12 kV | Conductor | Overhead | Yes | 2018-09-26 | 16:05 | Wire-Wire Contact |  |  |  | Unknown
SCE | 2018-10-04 | 14:58 | 34.0408 | -117.3975 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | San Bernardino County Fire Department | 1046517E | AT&T CALIFORNIA, CHARTER COMMUNICATIONS | 16 kV | Conductor | Overhead | Yes | 2018-10-04 | 14:58 | Equipment/Facility Failure | Crossarm |  |  | Unknown
SCE | 2018-10-06 | 11:15 | 34.2413 | -119.0794 | Vegetation | Urban | Less Than .25 Acres | Self Extinguished |  | La Patera Dr c/o Avocado Pl. Ventura |  | 16 kV | Conductor | Overhead | No |  |  | Unknown |  |  |  | Unknown
SCE | 2018-10-10 | 14:21 | 33.8893 | -118.2998 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 4443200E |  | 16 kV | Conductor | Overhead | Yes | 2018-10-10 | 14:21 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 2018-10-13 | 7:09 | 33.8454 | -118.3401 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Torrance Fire Department | 1294863E | FREEDOM TELECOMMUNICATIONS INC. | 16 kV | Conductor | Overhead | Yes | 2018-10-13 | 7:09 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 2018-10-13 | 2:06 | 34.0442 | -118.0526 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 1013479E | AT&T CALIFORNIA | 16 kV | Conductor | Overhead | Yes | 2018-10-13 | 2:06 | Equipment/Facility Failure | Other |  |  | Unknown
SCE | 2018-10-13 | 0:33 | 33.8811 | -118.227 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Compton Fire Department | 4401612E | MCI COMMUNICATIONS, TIME WARNER CABLE | 12 kV | Conductor | Overhead | Yes | 2018-10-13 | 0:33 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-10-15 | 8:42 | 34.2561 | -119.2165 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire Department | 1748895E |  | 12 kV | Conductor | Overhead | Yes | 2018-10-15 | 8:42 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-10-15 | 11:27 | 34.1726 | -119.1807 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire Department | 1081219E | FRONTIER COMMUNICATIONS | 16 kV | Conductor | Overhead | Yes | 2018-10-15 | 11:27 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-10-15 | 11:27 | 34.1726 | -119.1807 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire Department | 1081219E | FRONTIER COMMUNICATIONS | 12 kV | Conductor | Overhead | Yes | 2018-10-15 | 11:27 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-10-15 | 16:04 | 33.9529 | -117.3056 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Riverside Fire Department | 206544S | AT&T CALIFORNIA | 16 kV | Conductor | Overhead | Yes | 2018-10-15 | 16:04 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2018-10-16 | 22:02 | 33.7987 | -118.3489 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Torrance Fire Department | 1459449E | FRONTIER COMMUNICATIONS | 16 kV | Conductor | Overhead | Yes | 2018-10-16 | 22:02 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2018-10-17 | 16:58 | 34.1193 | -118.7079 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | OH-4332505E | AT&T CALIFORNIA | 16 kV | Conductor | Overhead | Yes | 2018-10-17 | 16:58 | Contact From Object |  | Vehicle | Pole | Unknown
SCE | 2018-10-18 | 23:42 | 34.0252 | -117.949 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | OH-1623882E | FRONTIER COMMUNICATIONS | 4 kV | Conductor | Overhead | Yes | 2018-10-18 | 23:42 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 2018-10-24 | 18:20 | 34.1124 | -118.1168 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | San Gabriel Fire Department | 4142222E | AT&T CALIFORNIA, CHARTER COMMUNICATIONS | 16 kV | Conductor | Overhead | Yes | 2018-10-24 | 18:20 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2018-10-27 | 1:58 | 34.0045 | -118.4881 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Santa Monica Fire Department | 795963E |  | 16 kV | Conductor | Overhead | Yes | 2018-10-27 | 1:58 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-10-27 | 20:37 | 33.8999 | -118.3002 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 1485264E | AT&T CALIFORNIA, CITY OF GARDENA | 4 kV | Conductor | Overhead | Yes | 2018-10-27 | 20:37 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2018-11-08 | 19:45 | 34.1641 | -117.2636 | Vegetation | Urban | .26 - 9.99 Acres | Fire Agency | San Bernardino County Fire Department | 1511496E | FRONTIER COMMUNICATIONS | 120/240 V | Conductor | Overhead | No |  |  | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2018-11-08 | 12:09 | 34.0397 | -116.9362 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Calfire | 11833 Oak Glen Rd. Yucaipa |  | 12 kV | Conductor | Overhead | Yes | 2018-11-08 | 12:09 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 2018-11-10 | 15:17 | 34.3972 | -118.8281 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Ventura County Fire Department | 1202202e |  | 16 kV | Conductor | Overhead | Yes | 2018-11-10 | 15:17 | Equipment/Facility Failure | Conductor |  |  | Unknown
SCE | 2018-11-13 | 7:11 | 33.4928 | -117.2796 | Vegetation | Rural | Less Than .25 Acres | Unknown |  | NORTH OF CARANCHO ON VIA CIELO |  | 12 kV | Conductor | Overhead | Yes | 2018-11-13 | 7:11 | Equipment/Facility Failure | Conductor |  |  | Unknown
SCE | 2018-11-22 | 3:03 | 34.0925 | -118.3468 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 1017476E | AT&T CALIFORNIA | 16 kV | Conductor | Overhead | Yes | 2018-11-22 | 3:03 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-11-22 | 5:13 | 33.7776 | -117.7962 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 1447524E | AT&T CALIFORNIA | 16 kV | Conductor | Overhead | Yes | 2018-11-22 | 5:13 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2018-12-06 | 10:30 | 34.1033 | -118.0186 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Arcadia Fire Department | 861799E | AT&T CALIFORNIA | 12 kV | Conductor | Overhead | Yes | 2018-12-06 | 10:30 | Contact From Object |  | Vegetation | Electric Facility | Unknown
SCE | 2018-12-19 | 14:59 | 33.8811 | -118.1425 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 964199E | FRONTIER COMMUNICATIONS | 12 kV | Conductor | Overhead | Yes | 2018-12-19 | 14:59 | Contact From Object |  | Balloons | Electric Facility | Unknown
SCE | 2018-12-25 | 19:52 | 34.4343 | -119.6786 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Santa Barbara County Fire Department | 1346115E | FRONTIER COMMUNICATIONS | 16 kV | Conductor | Overhead | Yes | 2018-12-25 | 19:52 | Unknown |  |  |  | Unknown
SCE | 2018-12-28 | 20:17 | 34.0609 | -118.1794 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Los Angeles County Fire Department | 1244628E | AT&T CALIFORNIA, LA COUNTY INTERNAL SERVICE DEPT. | 16 kV | Conductor | Overhead | Yes | 2018-12-28 | 20:17 | Equipment/Facility Failure | Transformer |  |  | Unknown
SCE | 2018-12-31 | 16:21 | 34.2789 | -118.8027 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | 4244907E |  | 16 kV | Conductor | Overhead | Yes | 2018-12-31 | 16:21 | Contact From Object |  | Animal | Electric Facility | Unknown
Note on A1: Name of utility reporting the event Highlights: Green-data is complete and should be reported. Red/Pink-data is incomplete, and unknown if should be reported. Gray-data set should be excluded.
Note on X1: An Optional Field, list additional information that could be useful when examining data.
Note on B2: Date the event started (Use MM/DD/YY when inputting dates)
Note on C2: The time the event started. This field is only an estimate as in many cases the utility might not know the exact start time. (Use military time when inputing time)
Note on D2: Utilities should submit this data as close as it can get to the origin point of the event. Data should be at least given to the thousandths decimal place (i.e. X.00), more accuracy should be used when the utility has that knowledge.
Note on E2: Utilities should submit this data as close as it can get to the origin point of the event. Data should be at least given to the thousandths decimal place (i.e. X.00), more accuracy should be used when the utility has that knowledge.
Note on F2: Material involved in the initial fueling of the fire;
Note on G2: Nature of land use in the vicinity of the point of the fire’s origin (i.e., Urban, Rural). Rural and Urban are defined in GO 165.
Note on H2: An approximation of the fire's size give in acres. If only a structure was involved in the fire select structure only.
Note on I2: Is who suppressed the fire
Note on J2: If the fire was suppressed by a fire agency or agencies, insert the lead agency when one or more agency was involved
Note on K2: Utility’s description of the pole and/or equipment involved.
Note on L2: Other Companies that were attached to pole in question and known to the utility. If the facilities involved were not overhead leave this field blank. Note this field will be blacked out until "Overhead" is selected in the "Type" Column.
Note on M2: Nominal voltage rating of the utility equipment and/or circuit involved in the fire, use volts. If two or more voltages were involved list the higher voltage.
Note on N2: This field should list the equipment that supplied the heat that ignited the reported fire;
Note on O2: The equipment involved in the event (overhead, padmounted or subsurface);
Note on P2: Was there an outage involved in the event? Exclude outages that were that were ordered by a governmental agency or were taken by the utility at its discretion.
Note on Q2: For the purpose of this Data Collection Proposal, list the first outage associated with the event if multiple outages were involved. For the purpose of this Data Collection Proposal, exclude outages that were that were ordered by a governmental agency or were taken by the utility at its discretion.
Note on R2: For the purpose of this Data Collection Proposal, list the first outage associated with the event if multiple outages were involved. For the purpose of this Data Collection Proposal, exclude outages that were that were ordered by a governmental agency or were taken by the utility at its discretion.
Note on S2: The suspected cause of the ignition;
Note on T2: The specific equipment that malfunctioned that resulted in the “Equipment Involved” to cause the reported fire. (Only to be used if “Equipment/Facility Failure” is selected as Suspected Ignition Cause);
Note on U2: The first object that contacted the Communication or Electric Facilities (Only to be used if “Contact from Object” is selected as Ignition Cause);
Note on V2: The first facility that was contacted by an outside object (Only to be used if “Contact from Object” is selected as Ignition Cause);
Note on W2: Factors that contributed to the ignition;

## CPUC Drop Downs
BVES | Building | Rural | Customer | Capacitor Bank | Padmounted | Contact Between Third Party Facility on Pole and Supply Lines | Animal | Human Error | Yes | Less Than .25 Acres | Communication Facility | Capacitor Bank
Kirkwood Meadows | Other | Urban | Fire Agency | Conductor | Overhead | Contact From Object | Balloons | None | No | .26 - 9.99 Acres | Electric Facility | Conductor
Liberty Energy | Vegetation |  | Self Extinguished | Fuse | Subsurface | Contamination | Other | Other |  | 10 - 99 Acres | Pole | Fuse
PacifiCorp |  |  | Unknown | Lightning Arrestor |  | Equipment/Facility Failure | Vegetation | Outside Force |  | 100 - 299 Acres |  | Insulator
PG&E |  |  | Utility | Other |  | Normal Operation | Vehicle | Unknown |  | 300 - 999 Acres |  | Lightning Arrestor
SCE |  |  |  | Switch |  | Other |  | Weather |  | 1000 - 4999 Acres |  | Pole
SDG&E |  |  |  | Transformer |  | Unknown |  |  |  | Greater than 5000 Acres |  | Guy/Span Wire
[6 empty] | Vandalism/Theft |  |  |  | Less than three (3) meters of linear travel |  | Other
[6 empty] | Wire-Wire Contact |  |  |  | Structure Only |  | Protective Relay
Crossarm
Recloser
Sectionalizer
Splice/Clamp/Connector
Switch
Transformer
Voltage Regulator
Note on G2: To be used when contact between a supply facility and non-supply facility on a pole occurred. Note: This field does not specify which facility caused the contact, only that the contact occurred.
Note on G3: Use when contact from outside object caused the incidnet.
Note on G4: Should be used when outside contaminates effect the utility's facilities. Examples: Smoke caused a phase to phase arc which resulted in a fire. Dirt and salt allowed tracking on an insultor, which caused a crossarm to catch on fire and then resulted in a vegetation fire.
Note on G5: A cessation of normal operation
Note on G6: To be used when the supply facility operated normally. Example: A fuse oprated and material fell onto vegetation and started a fire.
Note on G9: This field would include those fires started from gunshots that broke electric equipment, attempted theft of copper cable, etc.
Note on G10: To be used when to two or more supply conductors contact each other.