## Slide 1: Breakout Exercise: Mapping Use Cases to Network Architectures
Noel Crisostomo, Air Pollution Specialist, noel.crisostomo@energy.ca.gov
Vehicle-Grid Integration Communications Protocol Working Group
CA Energy Commission - Sacramento
February 12, 2017

## Slide 2: Part a) Identify technical needs to complete Use Cases successfully, to assist formation of Network Architecture
Use Case
Actions requested and actuated by the VGI resource to complete a(n) objective(s), subject to various constraints or situations
Categorized by 3 Binary Attributes in VGI Whitepaper & Roadmap:
  Resource Quantity
    One or Aggregated
  Actors’ Objectives
    Unified or Fragmented
  Power Flow Direction
    V1G or V2G
Network Architecture
Comprised of multiple Actors providing Messages to each other to complete the objective
  Senders
  Recipients
  Intermediaries
    Both Senders & Recipients of messages

## Slide 3: Part b) Assign value categories from grid services to use cases.
Grid Service
PEV ( – ) Charges
PEV ( + ) Discharges
PEV ( 0 ) Stops
Value Categories
[See E3 Storage Benefits Matrix]
  Storage Service Recipient
  Category
    Planning/Procurement
    Reliability
    Capacity
    Time Shift
    Gen Ops
    T&D Ops

## Slide 4: We will answer: What Actors must be involved to complete Use Cases? Are there permutations?
Use Case
Network Architecture

## Slide 5: Use Case Examples
Manage Own Vehicle’s Charging per TOU
Fleet Regulation Down per CAISO Automatic Generation Control
Demand Charge Management of a Public Charging Array per a Commercial TOU Rate
CAISO Negative Pricing (Charge)
+ Congested Distribution Feeders (Discharge)
Across Many Facilities & Vehicle Types

## Slide 6: Demand Charge Management of a Public Charging Array per a Commercial TOU Rate
To facilitate understanding, sketch out diagrams to explain assertions.
kW original
kW shift
t initial
t final
Coincident Peak High Price

## Slide 7: Examine from the perspective of the Subgroup Focus Areas
(a)
(b)
(c)
(d)
(d)

## Slide 8: Subgroup Focus Area Questions
EVSE  EV
Which VGI use cases require communications between the Electric Vehicle (EV) and EV Service Equipment (EVSE)?
  Which existing communication protocols apply to these use cases?
  For which VGI use cases are communications between the EV and EVSE optional?
  (See also b, c, d within Workplan)

## Slide 9: Answer Subgroup Focus Area Questions to Develop Requirements
(a)
Yes, DCM requires EVSE/EV signals
(i) The following communications protocols apply
ISO 15118, J2847, …
Because (list requirements):
EVSE_1 must send BEV_1 P_1(kW) for t_1(min) before t_depart
Sum of P_1 to P_10 + Building Load during t_initial to t_final is ≤ kW_shift

## Slide 10: Demand Charge Management of a Public Charging Array per a Commercial TOU Rate
Amend diagrams to reflect requirements communicated/actuated
kW original
kW shift
t initial
t final
Coincident Peak High Price
t depart
Load Profile: Commercial Building + 10 BEV Charging Array
P_1*t_1
P_10
.
.
.
.
P_1

## Slide 11: Demand Charge Management of a Public Charging Array per a Commercial TOU Rate
Assign Value Categories from Grid Services to Use Cases (E3) – Qualitative
kW original
kW shift
t initial
t final
Coincident Peak High Price
Demand Charge Reduction
TOU Energy Charge Reduction
Distribution Investment Deferral
System or Local Generation Capacity
Flexible Capacity
Reduced infrastructure rqeuirements
Reduced Procurement of A/S
…(non-exhaustive)
Load Profile: Commercial Building + 10 BEV Charging Array

## Slide 12: Answer Subgroup Focus Area Questions to Develop Requirements
No, in DCM EVSE/EV is optional.
(ii) Communications between the EVSE/EV are optional for DCM
Because:
See Focus Area (b),(c),(d)
(a)

## Slide 13: In the “No” cases where communications within a Subgroup Focus Area may be optional, examine the analogous questions elsewhere.
(a)
(b)
(c)
(d)
(d)

## Slide 14: Demand Charge Management of a Public Charging Array per a Commercial TOU Rate
Closely examine “Y” or “N” answers for violations of requirements
kW original
kW shift
t initial
t final
Coincident Peak High Price
t depart
Load Profile: Commercial Building + 10 BEV Charging Array
Sum of P_1 to P_10 + Building Load + Fragmented BEV Charging during t_initial to t_final IS NOT ≤ kW_shift

## Slide 15: Agency Staff will:
Observe breakouts and facilitate “stuck” conversations
Encourage diverse participation
Help ensure breakout activity is successful in:
  Answering Deliverable 1 Questions
    Which use cases require communications between the [Subgroup Focus Area]?
    Which existing communication protocols apply to these use cases?
    For which VGI use cases are communications between the [Subgroup Focus Area] optional?
  Showing Work
    Diagrams with use case requirements identified, potential violations identified
  Listing Value Categories
    Do not attempt to quantify or rank categories.

## Slide 16: Subgroup Focus Area - Compiled Response
(i)
Yes
Protocols
Requirements
(a)
(ii)
No
Alternative Focus Area
Potential Violations
2. Use Case Diagram
3. List of Value Categories
Value a
Value b
Value c
1. Focus Area Answers & Requirements

## Slide 17: After Breakouts, Reconvene and Report

## Slide 18: Subsequently, complete other Use Cases via Subgroup Focus Area Teams
VGI Category 1 | EV/EVSE | NSP/EVSE | NSP/EV | BEMS/EV or EVSE
Applicable Use Cases |  |  |  | 
(i) Applicable Protocols |  |  |  | 
Use Case Requirements |  |  |  | 
(ii) Optional – Alt. SFA |  |  |  | 
Potential Violations |  |  |  | 
Use Case Diagrams |  |  |  | 
Value Categories |  |  |  | 
VGI Category 2 | EV/EVSE | NSP/EVSE | NSP/EV | BEMS/EV or EVSE
Applicable Use Cases |  |  |  | 
(i) Applicable Protocols |  |  |  | 
Use Case Requirements |  |  |  | 
(ii) Optional – Alt. SFA |  |  |  | 
Potential Violations |  |  |  | 
Use Case Diagrams |  |  |  | 
Value Categories |  |  |  | 
VGI Category 3 | EV/EVSE | NSP/EVSE | NSP/EV | BEMS/EV or EVSE
Applicable Use Cases |  |  |  | 
(i) Applicable Protocols |  |  |  | 
Use Case Requirements |  |  |  | 
(ii) Optional – Alt. SFA |  |  |  | 
Potential Violations |  |  |  | 
Use Case Diagrams |  |  |  | 
Value Categories |  |  |  | 
VGI Category 4 | EV/EVSE | NSP/EVSE | NSP/EV | BEMS/EV or EVSE
Applicable Use Cases |  |  |  | 
(i) Applicable Protocols |  |  |  | 
Use Case Requirements |  |  |  | 
(ii) Optional – Alt. SFA |  |  |  | 
Potential Violations |  |  |  | 
Use Case Diagrams |  |  |  | 
Value Categories |  |  |  | 

## Slide 19: Relevance of Breakout Activity
Mapping Use Cases will eventually yield Network Architectures
  Assist parties and agencies in understanding “Technical capabilities and merits of different implementations or combinations of standards.”
  Creates trackable methodology of where points of (dis)agreement lie.
Mapping exercise leads directly into Deliverable 2
  Analyze stakeholder perspectives
  Implication of standards
  Characterize Value: costs and benefits
Questions?
  Ask any agency staff for assistance.