## Overview
During the working group process, stakeholders attempted to categorize VGI use cases according to the different values or services they provided. Stakeholders identified several possible VGI value frameworks. This draft file attempts to consolidate the research into VGI value frameworks and document brainstorming efforts, but does not present a final framework. This is to serve as a reference for future VGI efforts

## VGI Value Framework
| DRAFT |  |  | DRAFT |  | DRAFT
Beneficiary (framework source) | Benefit (framework source) | Implementation (framework source) | Metric | Type of benefit (competitive service, non-competitive service, policy change, behind-the meter investment/program and non-monetized benefit) | Mechanism for Benefit | Mechanism or policy proceeding in place (yes/no/ pending) | comments
Who needs? | What is the need | What meets the need? | How is it measured? | How to meet the need? (category) | How to meet the need? (details)
Customer | TOU bill management (8,5,9,10) | passive / optimized response to education (bill, EV dashboard, app, etc) - Load shifting (5,1) or load ramp down / ramp up | kW | non-competitive service | Bill- demand charges | Y
|  |  | KWh and KW | non-competitive service | TOU Bill- volumetric | Y
|  |  | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive / non-monetary benefit today | Distribution market | N (for now) | Aggregators could do this, few customers
|  | Improved - TOU rate design (7) | KWh | policy change | TOU Bill- volumetric | P (SCE proposed rates)
|  | V1G (7) | kW | non-competitive service | Bill- demand charges | Y | aggregator could take some or even all benefit
|  |  | KWh and KW | non-competitive service | TOU Bill- volumetric | Y
|  |  | KWh and KW | non-competitive service | Dynamic VGI rates
|  |  | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
|  | V2G (7) | kW | non-competitive service | Bill- demand charges | Y
|  |  | KWh and KW | non-competitive service | TOU Bill- volumetric | Y
|  |  | KWh and KW | non-competitive service | Dynamic VGI rates
|  |  | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
| Demand charge management (8,1,10) | Charging level incentives (7) | KW | policy change | Changed allowance policy | Y - AFV OIR proceeding
|  |  | KW | policy change | Charging station incentives (e.g. lower level or charge-sharing, charge-sequencing, similar) | Y - SB 350 TE applications or AFV OIR
|  | Improved - demand charge rate design | KW | policy change | Bill- demand charges | P (SCE proposed rates)
|  | Special LCFS funded rates | KW and/or kWh | policy change | Bill TOU or demand | Y - AFV OIR or GRCs phase 2
| Increased PV self consumption (8,10) (localized overgen of solar) | V1G (7) | kWh | eventually competive / non-monetary benefit today | Distribution market | N (for now)
|  | V2G (7) | kWh | eventually competive / non-monetary benefit today | Distribution market | N (for now)
| Reduce backflow on distribution system from high solar penetration | V1G (7) | kWh | eventually competive / non-monetary benefit today | Distribution market | N (for now)
| Back-up power (8,5,1,10) |  | KWh and KW | other | no market, depends on alternative | Y
| Power quality (1) |  | kVa | other | no market, depends on alternative | Y
| Market education and outreach (ME&O) regarding bill savings, charging and EV options | TE Advisory Services for business customers, utility web resources, rate analyses, broad and targeted ME&O, dealer program, 3rd party education | NA | non-monetized benefit | NA | Y
Distribution | Distribution capacity/deferral (8,5,1,6,10) | passive / optimized response to education (bill, EV dashboard, app, etc) - Load shifting (5,1) or load ramp down / ramp up | kW | non-competitive service | Bill- demand charges | Y | note - EV dashboards, or cell phones or charging stations all can educate or even help program a response
|  |  | KWh and KW | non-competitive service | TOU Bill- volumetric | Y
|  |  | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive / non-monetary benefit today | Distribution market | N (for now) | Aggregators could do this, few customers
|  | Charging level incentives (7) | KW | policy change | Changed allowance policy | Y - AFV OIR proceeding
|  |  | KW | policy change | Charging station incentives (e.g. lower level or charge-sharing, charge-sequencing, similar) | Y - SB 350 TE applications or AFV OIR
|  | Add Residential demand charge |  | policy change | for over 10 kW | Y - AFV OIR
|  | Improved demand charge design |  | policy change | bill - demand charge | Y - GRC phase 2 process
|  | Improved - TOU rate design (7) | KWh | policy change | TOU Bill- volumetric | P (SCE proposed rates)
|  | Special LCFS funded rates | KW and/or kWh | policy change | Bill TOU or demand | Y - AFV OIR or GRCs phase 2
|  | V1G (7) | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
|  | V2G (7) | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
| Reliability (back-tie) services (8,5,1,9,10) | V2G (7) | kW | eventually competitive | Distribution market | N (for now) | discussed on CSWG Framework
| Voltage support (8,5,10) | V2G (7) | KW
| Resiliency/microgrid/islanding (8,5,1,10) | V1G (7) | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
|  | V2G (7) | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
| Renewable integration (1,6,9) | passive / optimized response to education (bill, EV dashboard, app, etc) - Load shifting (5,1) or load ramp down / ramp up | kW | non-competitive service | Bill- demand charges | Y
|  |  | KWh and KW | non-competitive service | TOU Bill- volumetric | Y
|  | Improved demand charge design | kW | policy change | bill - demand charge | Y - GRC phase 2 process
|  | Special LCFS funded rates | KW and/or kWh | policy change | Bill TOU or demand | Y - AFV OIR or GRCs phase 2
|  | Improved - TOU rate design (7) | KWh | policy change | TOU Bill- volumetric | P (SCE proposed rates)
| Increased PV self consumption (8,10) (localized overgen of solar) | V1G (7) | kWh | eventually competive / non-monetary benefit today | Distribution market | N (for now)
| Reduce backflow on distribution system from high solar penetration | V1G (7) | kWh | eventually competive / non-monetary benefit today | Distribution market | N (for now)
|  | V1G (7) | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
|  | V2G (7) | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
Large IOUs in CA | Storage mandate compliance | V2G (7) | kW | competitive | Wholesale market | Y (eliglible)
|  | V1G (7) | kW | policy change | Wholesale market | N (not eligible)
Transmission | Transmission capacity/deferral (8, 5,1,6,10) | passive / optimized response to education (bill, EV dashboard, app, etc) - Load shifting (5,1) or load ramp down / ramp up | kW | non-competitive service | Bill- demand charges | Y
|  |  | KWh and KW | non-competitive service | TOU Bill- volumetric | Y
|  |  | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive / non-monetary benefit today | Distribution market | N (for now) | Aggregators could do this, few customers
|  | Charging level incentives (7) | KW | policy change | Changed allowance policy | Y - AFV OIR proceeding
|  |  | KW | policy change | Charging station incentives (e.g. lower level or charge-sharing, charge-sequencing, similar) | Y - SB 350 TE applications or AFV OIR
|  | Improved demand charge design | kW | policy change | bill - demand charge | Y - GRC phase 2 process
|  | Special LCFS funded rates | KW and/or kWh | policy change | Bill TOU or demand | Y - AFV OIR or GRCs phase 2
|  | Improved - TOU rate design (7) | KWh | policy change | TOU Bill- volumetric | P (SCE proposed rates)
|  | V1G (7) | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competitive | Distribution market | N (for now) | Aggregators could do this, few customers
|  | V2G (7) | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
| Black start (8,1,10) | NA |  | NA | NA | N | not enough information provided
| Voltage support (8,5,1,10) | V2G (7) | kVa / kVar | eventually competitive | ??? | N (for now)
| Inertia primary frequency response (8, 5,10) | V2G (7) | kVa / kVar | ??? | ??? | ???
| Renewable integration (1,6,9) | passive / optimized response to education (bill, EV dashboard, app, etc) - Load shifting (5,1) or load ramp down / ramp up | kW | non-competitive service | Bill- demand charges | Y
|  |  | KWh and KW | non-competitive service | TOU Bill- volumetric | Y
|  |  | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive / non-monetary benefit today | Distribution market | N (for now) | Aggregators could do this, few customers
|  | Charging level incentives (7) | KW | policy change | Changed allowance policy | Y - AFV OIR proceeding
|  |  | KW | policy change | Charging station incentives (e.g. lower level or charge-sharing, charge-sequencing, similar) | Y - SB 350 TE applications or AFV OIR
|  | Improved - TOU rate design (7) | KWh | policy change | TOU Bill- volumetric | P (SCE proposed rates)
|  | Improved demand charge design | kW | policy change | bill - demand charge | Y - GRC phase 2 process
|  | Special LCFS funded rates | KW and/or kWh | policy change | Bill TOU or demand | Y - AFV OIR or GRCs phase 2
|  | V1G (7) | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
|  | V2G (7) | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
Wholesale market (ISO- ancillary services and energy markets) | Frequency regulation (8,5,1,6,10), primary and secondary | V2G (7) | kW/kWh | competitive | Wholesale market | Y
|  | V1G (7) | kW/kWh | competitive | Wholesale market | Y
| Reactive power support (8,6) | V2G (7) | kVa / kVar | competitive | Wholesale market | Y
|  | V1G (7) | kVa / kVar | competitive | Wholesale market | Y
| Spinning reserves (8, 5,1,10) | V2G (7) | kW | competitive | Wholesale market | Y
|  | V1G (7) | kW | competitive | Wholesale market | Y
| Non-spinning reserves (8, 5,1,10) | V2G (7) | KW | competitive | Wholesale market | y
|  | V1G (7) | kW | competitive | Wholesale market | y
| Replacement reserve (5) | V2G (7) | kW | competitive | Wholesale market | y
| Day Ahead Energy Market | V2G (7) | kWh | competitive | Wholesale market | y
|  | V1G (7) | kWh | competitive | Wholesale market | y
| Real Time/Imbalance energy (8,5,1,6) | V2G (7) | kWh | competitive | Wholesale market | Y
|  | V1G (7) | kWh | competitive | Wholesale market | Y
Generation Resource adequacy | System RA capacity (8,1,6,10) | passive / optimized response to education (bill, EV dashboard, app, etc) - Load shifting (5,1) or load ramp down / ramp up | kW | non-competitive service | Bill- demand charges | Y
|  |  | KWh and KW | non-competitive service | TOU Bill- volumetric | Y
|  |  | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive / non-monetary benefit today | Distribution market | N (for now) | Aggregators could do this, few customers
|  | Charging level incentives (7) | KW | policy change | Changed allowance policy | Y - AFV OIR proceeding
|  |  | KW | policy change | Charging station incentives (e.g. lower level or charge-sharing, charge-sequencing, similar) | Y - SB 350 TE applications or AFV OIR
|  | Improved demand charge design | kW | policy change | bill - demand charge | Y - GRC phase 2 process
|  | Special LCFS funded rates | KW and/or kWh | policy change | Bill TOU or demand | Y - AFV OIR or GRCs phase 2
|  | Improved - TOU rate design (7) | KWh | policy change | TOU Bill- volumetric | P (SCE proposed rates)
|  | V1G (7) | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
|  | V2G (7) | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
| Local RA capacity (8,1,6,10) | passive / optimized response to education (bill, EV dashboard, app, etc) - Load shifting (5,1) or load ramp down / ramp up | kW | non-competitive service | Bill- demand charges | Y
|  |  | KWh and KW | non-competitive service | TOU Bill- volumetric | Y
|  |  | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive / non-monetary benefit today | Distribution market | N (for now) | Aggregators could do this, few customers
|  | Charging level incentives (7) | KW | policy change | Changed allowance policy | Y - AFV OIR proceeding
|  |  | KW | policy change | Charging station incentives (e.g. lower level or charge-sharing, charge-sequencing, similar) | Y - SB 350 TE applications or AFV OIR
|  | Improved demand charge design | kW | policy change | bill - demand charge | Y - GRC phase 2 process
|  | Special LCFS funded rates | KW and/or kWh | policy change | Bill TOU or demand | Y - AFV OIR or GRCs phase 2
|  | Improved - TOU rate design (7) | KWh | policy change | TOU Bill- volumetric | P (SCE proposed rates)
|  | V1G (7) | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
|  |  | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
| Flexible RA capacity (8, 5,1,6,10) (famping or load following services) | V1G (7) | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
|  | V2G | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive | Distribution market | N (for now) | Aggregators could do this, few customers
| Reduced system operating costs with flexible EV loads as a dispatchable resource | V1G (7) | kWh | competitive | Wholesale market | y
|  | V2G | kWh | competitive | Wholesale market | y
| Reduced Integrated Resource Planning procurement costs with flexible EV loads as a dispatchable resource | V1G (7) | kWh | competitive | Wholesale market | y
|  | V2G | kWh | competitive | Wholesale market | y
Societal/Environmental | GHG reductions (1,6) | passive / optimized response to education (bill, EV dashboard, app, etc) - Load shifting (5,1) or load ramp down / ramp up | kW | non-competitive service | Bill- demand charges | Y
|  |  | KWh and KW | non-competitive service | TOU Bill- volumetric | Y
|  |  | kW | competitive | Wholesale market | Y | Aggregators could do this, few customers
|  |  | KW | eventually competive / non-monetary benefit today | Distribution market | N (for now) | Aggregators could do this, few customers
|  | Improved TOU rate design (7) to encourage adoption | Energy (10)
Improved demand charge design
|  | Charging level incentives | KW | policy change | Charging station incentives (e.g. lower level or charge-sharing, charge-sequencing, similar) | Y - SB 350 TE applications or AFV OIR
|  |  | kW | policy change | changed allowance policy | Y - SB 350 TE applications or AFV OIR
|  | special GHG programs | kWh | behind-the-meter investment | invest in Curbside charging | Y - SB 350 applications
|  | special GHG programs | kWh | behind-the-meter programs | EV rideshire incentives | Y - SB 350 applications
|  | special GHG programs | kWh | behind-the-meter investment | invest in work lots for street-parkers and MUD parkers | Y - SB 350 applications
|  | special GHG programs | KWh | behind-the-meter investment | invest in urban DC fast charge plazas
|  | special GHG programs | kWh | behind-the-meter investments and programs | receive LCFS rate discount for charging at night or daytime overgen periods | Y- GHG OIR or SB 350 proceeding
|  | special GHG programs | kWh | behind-the-meter investments and programs | receive LCFS rebate or rate discount only if on rate designed with EVs in mind | Y- GHG OIR or SB 350 proceeding
|  | Encourage EV adoption |  | behind-the-meter investments and programs | charging stations at home, fleet, away-from home
|  | Encourage EV adoption |  | behind-the meter investments and programs | Market-education programs | Y
|  | Encourage EV adoption |  | behind-the meter investments and programs | LCFS programs | Y
| Local pollutants (1,6) | same as environmental section
| Economic Growth (1,6) | same as environmental section | $
| Job growth (1,6) | same as environmental section | $
Note on F11: TOU rates, even shifted from today, still leave a lot of value on the table. Dynamic rates and/or 3-part rates (customer charge, demand charge, and dynamic hourly rate) should be a separate option
Note on B134: Eric Cutter: Total variable operating costs to meet loads (as modeled in production simulation or the CAISO market model) can be lower when flexible loads such as Evs are available to grid operators as a dispatchable resource
Note on B136: Eric Cutter: The integrated resource planning procurement costs to meet reliability, renewable energy and GHG emission targets can be lower when flexible loads such as EV are modeled as dispatchable resource available to grid operators

## glossary benefit terms
o VGI Benefit framework: answers the following questions 1) who needs the benefit, 2) what is the need, 3) what meets the need, and 4) how to meet the need (broadly and exactly)
o VGI Benefit: any type of benefit whether monetized or not.
o VGI Service: a subset of VGI benefits and includes monetized benefits on the utility customer of record’s electricity bill and in wholesale markets. Eventually many include monetized benefits in distribution markets when they are set up.
o Customer Facing VGI Benefits (EV Driver or Site host): include TOU bill management, demand charge management, back-up power, power quality, market education regarding bill savings, charging and EV options, and increased solar self-consumption to address localized over-generation of solar energy. TOU bill management benefits can be provided by V1G, V2G, improved TOU rate design for EVs, design special rates funded by the Low Carbon Fuel Standard proceeds and passive optimized customer response to education from bills, EV dashboards, apps and other means. Demand charge management benefits can be provided by policy changes to improve demand charge rate design, change allowance policy, or changing utility rebates for charging stations to reward lower kW charging or charging stations with charge-sharing, charge sequencing or similar technologies. Increased solar self-consumption to address localized over-generation of solar energy can be provided by V1G or V2G. The market education benefits can be provided by business customer advisory services, websites, rate analyses, broad market education such as radio ads, dealer education and incentive programs, ride-and-drives, conferences and other targeted market education that is provided by utilities, automakers, trade associations and non-profits and other stakeholders.
o Distribution System VGI benefits: include deferral of distribution capacity upgrades, integration of renewables, reducing backflow on distribution system from high solar penetration, voltage support and resiliency services provided by microgrids that can island and eventually reliability services that include back tie functions. Deferral of distribution capacity upgrades can be provided by V1G, V2G, passive optimized customer response to education from bills, EV dashboards, apps and other means and by policy changes to improve demand charge rate design, improve TOU rate design for EVs, change allowance policy, design special rates funded by the Low Carbon Fuel Standard proceeds, offer new residential demand charges, or change utility rebates for charging stations to reward lower kW charging or charging stations with charge-sharing, charge sequencing or similar technologies. Renewable integration benefits can be also provided by these same means except residential demand charges. Reliability services that can provide black tie benefits can be provided by V2G. Voltage support can be provided by V2G. Resiliency services provided by microgrids that can island can be provided by V2G or V1G.
o Transmission System VGI benefits: include deferral of transmission capacity; integration of renewables, voltage support, and inertia primary frequency response and eventually other benefits such operational efficiency and black start services,. Deferral of transmission capacity and integration of renewables can can be provided by V1G, V2G, passive optimized customer response to education from bills, EV dashboards, apps and other means and by policy changes to improve demand charge rate design, improve TOU rate design for EVs, change allowance policy, design special rates funded by the Low Carbon Fuel Standard proceeds, offer new residential demand charges, or change utility rebates for charging stations to reward lower kW charging or charging stations with charge-sharing, charge sequencing or similar technologies. Renewable integration benefits can be also provided by these same means except residential demand charges. Voltage support and inertia primary frequency response can be provided by V2G.
o Wholesale market Services: include ISO market services such as primary and secondary frequency regulation (response), reactive power support, imbalance energy; spinning reserves, non-spinning reserves and replacement reserves as well as day-ahead and real-time energy markets. These services can be provided by V1G or V2G.
o Generation Resource Adequacy VGI benefits: include system resource adequacy capacity, local resource adequacy capacity, and flexible resource adequacy capacity which is sometimes called ramping or load following service. Generation resource adequacy benefits also include reduced system operating costs with flexible EV loads as a dispatchable resource and reduced Integrated Resource Planning procurement costs with flexible EV loads as a dispatchable resource. System resource adequacy capacity service and local resource adequacy capacity service can be provided by V1G, V2G, passive optimized customer response to education from bills, EV dashboards, apps and other means and by policy changes to improve demand charge rate design, improve TOU rate design for EVs, change allowance policy, design special rates funded by the Low Carbon Fuel Standard proceeds, offer new residential demand charges, or change utility rebates for charging stations to reward lower kW charging or charging stations with charge-sharing, charge sequencing or similar technologies. Flexible resource adequacy service can be provided by V1G and V2G. Reduced system operating costs and reduced Integrated Resource Planning procurement costs with flexible EV loads as a dispatchable resource can be met with V1G or V2G.
o Compliance VGI benefits: Investor-owned utilities can meet an electricity storage mandate with V2G, and potentially (with rule changes) by other means such as V1G.
o Societal and Environmental VGI benefits: include providing net reductions in greenhouse cases (GHG), criteria air pollutants, air toxics and net additions in economic growth and jobs. GHG reduction benefits (net) can be provided by passive optimized customer response to education from bills, EV dashboards, apps and other means and by policy changes to improve demand charge rate design, improve TOU rate design for EVs, change allowance policy, design special rates or rebates funded by the Low Carbon Fuel Standard proceeds, offer new residential demand charges, or change utility rebates for charging stations to reward lower kW charging or charging stations with charge-sharing, charge sequencing or similar technologies. GHG reduction benefits can be provided by utility programs and behind the meter investments to encourage EV adoption generally as well as special targeted programs designed for people who don’t have a consistent place to charge overnight including urban DC fast charge stations, special lots at workplaces, curbside charging, and charging at large apartments and condos. Air pollution and air toxic reduction programs can be provided by the same, and also include special programs targeted at medium and heavy duty EVs and non-road EVs. Economic Development and Job creation benefits (net) also can be provided by the above means.

## not used 12 VGI frameworks
Framework section on Benefits (parts of several were used in proposed framework)
· VGI benefit groupings (Option 1) or value category
o Wholesale market services (ISO / RTO): 1) frequency regulation, 2) spinning, non-spinning and supplemental reserve, 3) load following / ramping support for renewables 4) capacity markets 5) Demand Response Auction Mechanism 6) real-time and day-ahead energy markets 7) Energy Arbitrage 8) black start, 9) voltage and/or reactive power support
o DSO or Utility market services: 1) DERMS load and generation management (see four phase diagram at end) 2) ADMS advanced load management only 3) rule 21 smart inverter management is a subset of DERMS and ADMS
o Distribution and transmission infrastructure benefits: 1) ) local distributed generation support 2) peak load shedding: 3) Distribution and Transmission capacity/deferral, 4) reliability (back-tie) services 5) voltage support 6) Resiliency/microgrid/islanding 7) Primary frequency response
o Resource Adequacy benefits: 1) System RA capacity 2) Local RA capacity 3) Flexible RA capacity
o Customer facing benefits: 1) retail energy time shift with rates, 2) demand leveling with rates or controls, 3) power quality, 4) power reliability, 5) monetizing of GHG and air pollution reduction benefits, 6) maximizing customer use of renewable generation 7) demand leveling with BMS or parking lot EVMS 8) back-up power
o Societal benefits due to accelerated EV adoption: 1) reductions in GHG and air pollutants, 2) net State Domestic Product (economic growth) , 3) net jobs
· VGI Beneficiary groupings (option 2) by level
o Site host / customer benefits - includes commercial and residential situations including homes
o All utility customer benefits – TBD
o ISO whole sale market benefits - TBD
o DSO / utility markets
o Societal benefits – TBD
· VGI grouping (option 3)
o Wholesale market solutions TBD
o Non-market solutions – TBD
· VGI benefit grouping (option 4) by value category
o Reducing energy generation cost - TBD
o Reducing site hosts and EV driver’s electric bills - TBD
o Deferring distribution upgrades - TBD
o Improving reliability - TBD
o Aligning EV load with renewable integration - TBD
o Measuring fuel switching – gasoline to EV (required by Low Carbon Fuel Standard for non-residential charging)
· VGI benefit grouping – Option 5 (based on storage benefit matrix by E3 presented June 12)
o Planning and Procurement benefits includes reducing long-term distribution resource plan costs, bringing benefits to the transmission system through reduced procurement of ancillary services, and reducing generation procurement costs to meet forecasted load and reliability targets, and RPS and GHG targets
o Reliability benefits includes providing reliability or back-up power during outages to the customer, providing islanding, providing deferral of distribution system upgrades to provide reliability, and provide benefits to the transmission system (reduce NERC – N-1 contingency)
o Capacity benefits includes providing demand charge reduction to the customer, reducing load-growth-related infrastructure upgrade costs, providing targeted placement for high value deferrals, reducing transmission access charges, providing modularity services, addition of flexible capacity, providing system or local capacity (reduce LOLP), and provide renewable firming (increase NQC / ELCC)
o Time Shift benefits includes TOU energy charge reduction, distribution peak shaving, transmission congestion reduction, volatility services, wholesale energy arbitrage, renewable generation time shift
o Generation Operation benefits include backflow prevention, loss reduction, O&M reduction, reduction in renewable curtailment, start-up cost reduction, efficiency improvements to reduce system production costs
o T&D Operation benefits include customer power factor improvement, customer power quality improvement, voltage and VAR support, distribution infrastructure deferral to improve power quality, generation power factor improvement and loss reduction, renewable power smoothing and power quality improvement, and increasing distributed generation hosting capacity.
o Operating Ancillary Services benefits includes inertial frequency response, primary frequency response, fast/accurate frequency regulation, secondary frequency regulation, real-time balancing energy, ramping services (MW/min), 5 to 60 minute load following services, and hour-to-hour ramping services (> 1 hr)
o Contingency Services benefits includes spinning reserve, non-spinning reserve and replacement reserve.
· VGI grouping – Option 6 (based on storage benefit matrix by E3)
o Ancillary Service: see option 5 list
o Renewable Integration includes renewable firming (increase NQC/ELCC), renewable generation time shift benefits, volatility services, and modularity services
o Generation Benefit includes reduced need for system or flexible capacity, reduced LOLP, deferring system or local generation capacity, adding flexible capacity, wholesale energy arbitrage, volatility services, and modularity services
o Transmission Benefit includes reduced procurement of ancillary services, reduced need for NERC N-1 contingency, deferral of transmission investment deferral, reduction in transmission access charges, reducing transmission congestion, volatility services, and modularity services
o Distribution Benefit includes reduced infrastructure requirements, deferring distribution investments for reliability or capacity, distribution peak shaving, volatility services, and modularity services
o Customer Benefit includes improving customer power reliability with back-up power, reducing demand charges, and reducing TOU energy charges, volatility services, and modularity services
o Societal Benefits includes other benefits such as net job creation and reducing GHG and air pollution by securing new markets for EV adoption (rather than just shifting charging to other times of day)
· VGI types (grouping 7)
o Charging level incentives
• Tools include rebates for lower level charging, modifying current allowance policy, demand charge design
o TOU Rate Design and Adoption Policy
• Tools include TOU rate design and policies to require or encourage TOU rate adoption
o V1G (or managed or controlled charging): Unidirectional power flow under central or customer control enabling vehicles to charge and provide wholesale market services. Includes varying the charge rate at the charging station, EV management system, parking lot EV Energy management system or building management system in order to provide demand response, ancillary services or other services.
o V2G Similar to V1G but bidirectional power flow to the grid.
· CPUC 2017 Framework for Multiple Application of Energy Storage Table 1 on Service Domains & Services (option 8)
o Customer
• TOU bill management, 2) Demand charge management, 3) Increased PV self-consumption, 4) Back-up power
o Distribution
• Distribution capacity/deferral, 2) reliability (back-tie) services 3) voltage support 4) Resiliency/microgrid/islanding
o Transmission
• Transmission deferral 2) Black start 3) Voltage Support 4) Inertia Primary frequency response
o Wholesale Market
• Frequency regulation 2) Imbalance energy 3) Spinning Reserves 4) Non-spinning reserves
o Resource Adequacy
• System RA capacity 2) Local RA capacity 3) Flexible RA capacity
· VGI Higher level needs Grouping (option 9) – From Dave McCreadie at Ford
o System/Market Integrators (ISO)
• Needs: 1) Maintain proper/efficient system operation through market mechanisms 2) integrate renewables
o Utility (gen/trans/distrib)
• Needs: 1) reduce cost of gen/trans/dist (Variable and Fixed/Capital) and 2) maintain service reliability
o End Use - Consumer (individuals, businesses, etc)
• Needs: 1) Reduce electricity costs 2) Generate value from purchased asset (vehicle battery) when not used for Driving and 3) Charging assurance/confidence/convenience
· Services for the California Market: (12) (option 10)
o TOU Bill Management – Storage device located behind the meter enables a customer to minimize its exposure to high electricity rates. The customer can charge the storage device when rates are low and discharge the storage device when rates are high, thereby offsetting high electricity rates for the customer.
o Demand Charge Management – Storage device located behind the meter enables a customer to minimize its exposure to demand charges. The customer can use the discharge of the storage device to manage the periods of the highest peaks in electricity usage.
o Increased PV Self-Consumption – Storage paired with solar PV, behind the meter, allows for a customer to maximize its on-site consumption of solar energy by allowing the customer to store any excess energy on-site to use during hours when the PV system is not generating.
o Back-up Power – A storage device located behind the customer meter may enable a customer to have “back-up” power for a period of time in the event of a black out or brown out.
o Distribution Capacity/Deferral – Load-modifying or supply services that distributed energy resources provide via the dispatch of power output for generators or reduction in load that is capable of reliably and consistently reducing net loading on desired distribution infrastructure.
o Reliability (Back-Tie) Services – Load-modifying or supply services capable of improving local distribution reliability and/or resiliency. Specifically, this service provides a fast reconnection and availability of excess reserves to reduce demand when restoring customers during abnormal configurations.
o Voltage Support – Distribution and Transmission – Substation and/or feeder-level dynamic voltage management services provided by an individual resource and/or aggregated resources capable of dynamically correcting excursions outside voltage limits as well as supporting conservation voltage reduction strategies in coordination with utility voltage/reactive power control systems.
o Resiliency/Microgrid/Islanding – Load-modifying or supply services capable of improving local distribution reliability and/or resiliency. This service provides a fast reconnectionand availability of excess reserves to reduce demand when restoring customers during abnormal configurations.”
o Transmission Deferral – Not an ISO tariff defined service at this time
o Black Start – The procedure by which a Generating Unit self-starts without an external source of electricity thereby restoring a source of power to the CAISO Balancing Authority Area following system or local area blackouts.
o Inertia – Not an ISO tariff defined service at this time
o Primary Frequency Response – Not an ISO tariff defined service at this time
o Energy - The electrical energy produced, flowing or supplied by generation, transmission or distribution facilities, being the integral with respect to time of the instantaneous power, measured in units of watt-hours or standard multiples thereof, e.g., 1,000 Wh=1kWh, 1,000 kWh=1MWh, etc.
o Spinning Reserve – The portion of unloaded synchronized resource capacity that is immediately responsive to system frequency and that is capable of being loaded in ten (10) minutes, and that is capable of running for at least thirty (30) minutes from the time it reaches its award capacity.
o Non-Spinning Reserve – The portion of resource capacity that is capable of being synchronized and Ramping to a specified load in ten minutes (or that is capable of being interrupted in ten (10) minutes) and that is capable of running (or being interrupted) for at least thirty (30) minutes from the time it reaches its award capacity.
o Regulation – The service provided either by resources certified by the CAISO as equipped and capable of responding to the CAISO's direct digital control signals, or by System Resources that have been certified by the CAISO as capable of delivering such service to the CAISO Balancing Authority Area, in an upward and downward direction to match, on a Real-Time basis, Demand and resources, consistent with established NERC and WECC reliability standards, and any requirements of the NRC. Regulation is used to control the operating level of a resource within a prescribed area in response to a change in system frequency, tie line loading, or the relation of these to each other so as to maintain the target system frequency and/or the established Interchange with other Balancing Authority Areas within the predetermined Regulation Limits. Regulation includes both an increase in Energy production by a resource or decrease in Energy consumption by a resource (Regulation Up) and a decrease in Energy production by a resource or increase in Energy consumption by a resource (Regulation Down). Regulation Up and Regulation Down are distinct capacity products, with separately stated requirements and ASMPs in each Settlement Period.
o Resource Adequacy Resource – A resource that is designated in a Supply Plan to provide Resource Adequacy Capacity. The criteria for determining the types of resources that are eligible to provide Qualifying Capacity may be established by the CPUC or other applicable Local Regulatory Authority and provided to the CAISO.
o System RA Capacity – CPUC Decision (D.) 05-10-042 first defined and established System RA for utilities under the jurisdiction of the CPUC.
o Local RA Capacity – CPUC Decision (D.) 06-06-064 first defined and established Local RA for utilities under the jurisdiction of the CPUC.
o Flexible RA Resource – CPUC Decision (D.) 13-06-024 recognized a need for flexible capacity in the RA fleet and defined flexible capacity for utilities under the jurisdiction of the CPUC.
· Other options
o Market services: TBD
o Non-market services and benefits: TBD
o Technical solutions: EV grid solutions that need a communication protocol.
o Non-Technical solutions: EV grid solutions that do not need a communication protocol (e.g. rates, charging station rebates, allowances, fuel switching measurement)