## Slide 1: Energy Simulation Tool Assessment for New Construction and Whole-Building Commercial Programs of Energy Trust of Oregon
By: The Cadmus Group
Presenter: Holly Farah
September 18, 2015

## Slide 2
Energy Simulation Tools
NEO
EDAPT
Vasari
Sefaira
DesignBuilder
Green Building Studio
Open Studio
ECOTECT
eQUEST/DOE-2.2
EnergyPlus
EnergyPro
IES VE
Trane Trace
Carrier Hap
Energy-10
Solar Shoebox
System Advisor Model (SAM)

## Slide 3
Simulation Tool Assessment Steps
Identifying the potential energy simulation tools available in the market.
Establishing criteria for scoring the various tools.
Conducting high-level research to identify strengths, weaknesses and limitations.

## Slide 4
Criteria Descriptions
1. Software Proprietary Issue.
  Unexpected increase in cost
  Rapid version updates
  Certain user certifications requirements
2. Software Cost.
  Purchasing the simulation tool
  Catching up with updated versions
3. Market Acceptance.
How commonly the tool is used in the industry to continue and increase its user base

## Slide 5
4. Preliminary Design Option.
Energy modeling based on a schematic design when the construction details are not fully determined
5. Allow High-Level Specification.
Filling in the missing parts using default values defined by the software, typically based on the most common industry practices/products
6. Easy and Fast Modification Capability.
Building design constantly/rapidly changes as it goes through the preliminary stages of design. Updates should be easy to incorporate in the energy model

## Slide 6
7. User-Friendly Interface.
To facilitate training/adapting the tool for the design team
8. Comprehensive and Up-to-Date Built-in Library.
To pick materials/equipment that are most commonly used in the market in the absence of site-specific data especially during preliminary design stages
9. Reasonability of Generated Results with High-Level Parameter Specification.
Specifying High-level set of parameters should not introduce uncertainty factors above and beyond their scale and jeopardize generating within-the-ball-park results.

## Slide 7
10. Built-in Baseline Model.
Auto-generate appropriate and certified baseline models for Oregon’s relevant energy code. To avoid creating a second model for baseline and minimize human errors.
11. Interaction with Design Tools.
  Talk with the most commonly-used architectural/design tools, AutoCAD and Revit.
  Skip the extra step of drawing the footprints of the building from scratch.
12. Automated Parametric Runs.
The tool is capable of generating automatic parametric runs for each measure type.

## Slide 8
13. Capability of Transition into a Detailed Model.
From schematic design mode to detailed mode towards the end of the design process.
14. Net Zero Energy Building Design.
Capability to estimate demand per load type and produce very reliable and accurate energy consumption estimates.
15. Can Model High Performance Technologies without workarounds.
Technologies like VFD, Chilled Beams, Radiant Heating/Cooling, etc. that are becoming more and more common in high performance designs cannot be modeled by all simulation engines. When this is the case, either the technology cannot be considered, or the user must have significant expertise to create workarounds to approximate the technology.

## Slide 9
16. Long Term Simulation Engine Support.
Simulation engine development is very costly and requires very specific expertise. When new technologies are created, the cost and time required to update the simulation engine affects any Simulation Tools built on this engine.
17. Long Term Viability of Development Team.
People retire and change jobs. A product maintained by a small, aging, or undercapitalized team can be a risky foundation to build on.
18. Training Availability.
New users typically need training on simulation tools.
19. Update/Bug Fix Frequency.
Software inevitably has issues. These issues can hamper users if they cannot be fixed quickly.

## Slide 10
20. Flexibility of Parametric Runs.
"What-If" parametric runs are critical to the design process. Being able to customize these parametric runs is critical for high-performance buildings.
21. Extensible Capabilities.
Energy modelers often need capabilities beyond what is built into software, and create their own tools to meet these needs.
22. Transparency.
In the long-term, lack of transparency can create serious issues. Seeing the algebra behind the scenes allows disputes to be brought up and settled based on technical merit.

## Slide 11
23. Attractiveness to new modelers.
People new to the industry may be less willing to learn a software that may be obsolete in the near future.
24. Significant Adopters.
When a technology is adopted/used by many parties, these parties can combine efforts and share costs to improve capabilities.

## Slide 12
Tools Overview

## Slide 13
OpenStudio
Open Studio can be used for early design and keep going through detailed modeling
Talks with Sketchup
Interface for EnergyPlus
Free of cost
Highly adaptable
100% annual user increase for each of last 2 years.
Building component library constantly growing and improving

## Slide 14
EnergyPlus
Most sophisticated and reliable calculation engine available in the market
Free of cost
Open source
Customizable
High performance technology capabilities
Appropriate for net zero buildings
Long term engine support

## Slide 15
EDAPT: (OpenStudio + EnergyPlus)
High
  Model geometry visualization (via OpenStudio)
  EnergyPlus as engine (free, public, open)
  Accurate and reliable engine
  Schematic to detailed mode
  Expanding library
  High performance technology and net zero
  Parametric runs can be defined, customized and automatic
  Transparency
  Aggregation of results
Low
Has only been used by Xcel Energy thus far. CPS Energy and Austin Energy have given verbal commitment to adopt as of 9/17/2014.

## Slide 16
eQUEST
Strengths
  DOE2.2 engine
  Schematic design option
  User friendly interface
  High market acceptance

## Slide 17
eQUEST Limitations
  Closed code source
  Low prospect of future updates (currently stagnated)
  Modelers moving towards EnergyPlus

## Slide 18
Next Steps?
  Market Acceptance
  Case Study (easy to learn, accuracy, sufficiency of parameters)
  Training
  Technical Support

## Slide 19
Questions?