## Slide 1: CAISO’s proposed TOU periods to address grid needs with high numbers of renewables Clyde Loutan, Sr. Advisor, Renewable Energy Integration, CAISO John Goodin, Regulatory Policy Manager, CAISO Delphine Hou, Manager of State Regulatory Affairs, CAISO Jordan Pinjuv, Counsel, CAISO May 5, 2016

## Slide 2: ISO’s coincident peak vs. PTO’s coincident peak
Spring: The ISO and three PTOs coincident peak occurs between 8 p.m. and 9 p.m.
Summer: The ISO, SCE & SDG&E coincident peak occurs between 4:00 p.m. and 5:00 p.m. PG&E is an hour later
Fall: ISO and three PTOs coincident peak occur between 7:00 p.m. and 8:00 p.m.
Winter: ISO and three PTOs coincident peak occur between 6:00 p.m. and 7:00 p.m.

## Slide 3: Thoughts on 2015 historical analysis
2015 net load shapes are similar to 2013 and 2014
Compared to 2014, the ramps are generally the same or steeper and the minimum net loads are generally lower
CAISO’s proposed time-of-use periods are applicable to 2015 data
  Period definitions continued to be driven by a combination of steep ramps and low net loads
  In other words, a period designation may be driven by the steep ramp later in the day as opposed to the absolute minimum net load

## Slide 4: 2015 Monthly Minimum Hourly Load & Minimum Hourly Net Load Distribution --- Weekdays
Load
Net Load

## Slide 5: 2015 Average Hourly Load & Average Hourly Net Load Distribution --- Weekdays
Load
Net Load

## Slide 6: 2015 Minimum Hourly Load & Minimum Hourly Net Load Distribution --- Weekends/Holidays
Load
Net Load

## Slide 7: 2015 Average Hourly Load & Net Load Distribution --- Weekends/Holidays
Load
Net Load

## Slide 8: 2015 Average Hourly Net-Load vs. Average Day-Ahead energy prices --- Weekdays
Net Load
Off-Peak
Peak
Super Peak
Super Off-Peak

## Slide 9: 2015 Average Hourly Net-Load vs. Average Day-Ahead energy prices --- March Weekdays
Off-Peak
Peak
Super Peak
Super Off-Peak

## Slide 10: 2015 Average Hourly Net-Load vs. Average Day-Ahead energy prices --- July Weekdays
Off-Peak
Peak
Super Peak
Super Off-Peak

## Slide 11: 2015 Average Hourly Net-Load vs. Average Day-Ahead energy prices --- Weekends/Holidays
Net Load
Off-Peak
Peak
Super Peak
Super Off-Peak

## Slide 12: 2015 Average Hourly Net-Load vs. Average Day-Ahead energy prices --- March Weekends/Holidays
Off-Peak
Peak
Super Peak
Super Off-Peak

## Slide 13: 2015 Average Hourly Net Load vs. 2021 Hourly Average Net Load Distribution --- Weekdays
Net Load 2021
Net Load 2015

## Slide 14: 2015 Average Hourly Net Load vs. 2021 Average Hourly Net Load --- Weekends/Holidays
Net Load 2021
Net Load 2015

## Slide 15: Proposed TOU Time Periods
Day-type | Months | Super Off-Peak | Off-Peak | Peak | Super Peak
Weekdays | Jan, Feb, May, Jun, Sep, Oct, Nov, Dec |  | Midnight – 4 PM 9 PM - Midnight | 4 PM – 9 PM | 
 | Mar & Apr | 10 AM – 4 PM | Midnight – 10 AM 9 PM - Midnight | 4 PM – 9 PM | 
 | Jul & Aug |  | Midnight – Noon 9 PM - Midnight | Noon – 4 PM | 4 PM – 9 PM
Weekends & Federal Holidays | Jan - Jun & Sep - Dec | 10 AM – 4 PM | Midnight – 10 AM 9 PM - Midnight | 4 PM – 9 PM | 
 | Jul & Aug |  | Midnight – 4 PM 9 PM - Midnight | 4 PM – 9 PM | 

## Slide 16: Proposed Weekday and Weekend TOU Periods

## Slide 17: Original estimate of net-load as more renewables are integrated into the grid
Typical Spring Day
Net Load 12,546 MW on April 24, 2016
Actual 3-hour ramp 10,892 MW on February 1, 2016

## Slide 18
Questions!