## Introduction
CPUC Energy Division 2014 LTPP Summary of Load and Resource Scenarios for R.13-12-010
March 2014
This is a spreadsheet summary of Loads and Resources for each of the Scenarios identified in the Assigned Commissioner's Ruling adopting planning assumptions, scenarios, and RPS portfolios on February 27, 2014. This summary was prepared using the Scenario Tool identified in the Ruling.
The "Summary" tab of this spreadsheet displays summary charts of CAISO area Supply, Demand, Energy, and System Balance for each planning scenario. The remaining tabs are the six planning scenarios intended for system operational flexibility studies in the 2014 LTPP.
This tool was created using MS Excel 2010 and is incompatible with versions earlier than 2007.
Prepared by CPUC Energy Division for the 2014 LTPP Rulemaking R.13-12-010
Authors: | Patrick Young
Regulatory Analyst
CPUC Energy Division, Generation and Transmission Planning
Project supervisor: | Robert Strauss
Program and Project Supervisor
CPUC Energy Division, Generation and Transmission Planning
Revisions | Description of change | Date | Editor
v1c | Initial Release version | 2014-03-13 | Patrick Young
v2 | Updated to reflect version 2 of the Scenario Tool | 2014-04-28 | Patrick Young

## Summary
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Supply MW
1 Trajectory | 66843.1648 | 68085.5496 | 69427.2036 | 69706.4381 | 64439.3761 | 66949.5771 | 67485.5494 | 61756.4816 | 61898.0577 | 62066.1255 | 62121.818 | 61841.8508 | 61744.8437 | 61080.3166 | 61031.7995 | 60392.5423 | 59989.5152 | 59827.6181 | 59885.3009 | 59943.3338 | 59961.0267
1e DCPP | 66843.1648 | 68085.5496 | 69427.2036 | 69706.4381 | 64439.3761 | 66949.5771 | 67485.5494 | 61756.4816 | 61898.0577 | 59826.1255 | 59881.818 | 59601.8508 | 59504.8437 | 58840.3166 | 58791.7995 | 58152.5423 | 57749.5152 | 57587.6181 | 57645.3009 | 57703.3338 | 57721.0267
2 High Load | 67274.8284 | 68825.4807 | 70167.1347 | 70678.7401 | 65411.6781 | 67921.8791 | 68457.8514 | 62728.7836 | 62870.3597 | 63038.4275 | 63094.12 | 62965.3496 | 63019.5392 | 62506.2088 | 62608.8884 | 62120.828 | 61868.9975 | 61858.2971 | 62067.1767 | 62276.4063 | 62445.2959
3 Expanded Preferred | 67440.23 | 69586.8302 | 72009.0575 | 72812.8974 | 68123.5955 | 70099.9722 | 71352.4737 | 66085.8126 | 66690.2217 | 67122.8759 | 67335.1288 | 67170.9763 | 67141.4207 | 66540.2885 | 66551.4047 | 65968.2834 | 65618.1318 | 65486.6855 | 65571.9662 | 65654.9196 | 65695.0154
4 40% RPS 2024 | 67688.591 | 69769.3595 | 71857.2302 | 72787.4234 | 67631.7364 | 70350.4237 | 71117.9868 | 65693.0101 | 66097.1694 | 66352.2796 | 66407.9721 | 66172.2818 | 66119.5516 | 65499.3013 | 65495.061 | 64900.0808 | 64541.3305 | 64423.7102 | 64525.67 | 64627.9797 | 64689.9494
5 High DG | 67008.1746 | 68492.9585 | 70359.1481 | 70991.4002 | 66125.4717 | 67922.3226 | 68654.7006 | 63231.7719 | 63648 | 64043.3942 | 64234.7664 | 64049.0428 | 64007.3087 | 63393.998 | 63392.9356 | 62797.6358 | 62435.3057 | 62303.8594 | 62389.1401 | 62472.0935 | 62512.1893
Managed Peak Demand MW
1 Trajectory | 49359.4348 | 49849.1071 | 49913.2661 | 50041.5946 | 50238.5448 | 50477.4694 | 50744.6661 | 50924.197 | 51049.1422 | 51054.3039 | 51002.6457 | 51169.9459 | 51337.7949 | 51506.1945 | 51675.1465 | 51844.6527 | 52014.7148 | 52185.3349 | 52356.5146 | 52528.2558 | 52700.5603
1e DCPP | 49359.4348 | 49849.1071 | 49913.2661 | 50041.5946 | 50238.5448 | 50477.4694 | 50744.6661 | 50924.197 | 51049.1422 | 51054.3039 | 51002.6457 | 51169.9459 | 51337.7949 | 51506.1945 | 51675.1465 | 51844.6527 | 52014.7148 | 52185.3349 | 52356.5146 | 52528.2558 | 52700.5603
2 High Load | 49664.8771 | 50449.0626 | 50785.1888 | 51221.7113 | 51734.6883 | 52222.2532 | 52750.8582 | 53132.4428 | 53512.4575 | 53782.3494 | 53964.306 | 54414.2089 | 54867.8626 | 55325.2985 | 55786.548 | 56251.643 | 56720.6155 | 57193.4978 | 57670.3226 | 58151.1227 | 58635.9313
3 Expanded Preferred | 49359.4348 | 49747.3042 | 49611.3119 | 49456.3711 | 49345.5371 | 49263.8753 | 49198.9619 | 49003.1923 | 48716.1955 | 48276.0752 | 47757.991 | 47600.7326 | 47443.992 | 47287.7675 | 47132.0575 | 46976.8601 | 46822.1738 | 46667.9969 | 46514.3276 | 46361.1643 | 46208.5054
4 40% RPS 2024 | 49359.4348 | 49849.1071 | 49913.2661 | 50041.5946 | 50238.5448 | 50477.4694 | 50744.6661 | 50924.197 | 51049.1422 | 51054.3039 | 51002.6457 | 51169.9459 | 51337.7949 | 51506.1945 | 51675.1465 | 51844.6527 | 52014.7148 | 52185.3349 | 52356.5146 | 52528.2558 | 52700.5603
5 High DG | 49359.4348 | 49849.1071 | 49913.2661 | 50041.5946 | 50238.5448 | 50477.4694 | 50744.6661 | 50924.197 | 51049.1422 | 51054.3039 | 51002.6457 | 51169.9459 | 51337.7949 | 51506.1945 | 51675.1465 | 51844.6527 | 52014.7148 | 52185.3349 | 52356.5146 | 52528.2558 | 52700.5603
Managed Annual Energy GWh
1 Trajectory | 234032.3491 | 234720.08 | 234674.6327 | 235121.7343 | 235667.5018 | 236746.6448 | 238069.1744 | 239209.1161 | 240259.0849 | 240827.6115 | 241186.236 | 241913.5433 | 242643.0439 | 243374.7443 | 244108.6512 | 244844.7712 | 245583.111 | 246323.6773 | 247066.4768 | 247811.5163 | 248558.8024
1e DCPP | 234032.3491 | 234720.08 | 234674.6327 | 235121.7343 | 235667.5018 | 236746.6448 | 238069.1744 | 239209.1161 | 240259.0849 | 240827.6115 | 241186.236 | 241913.5433 | 242643.0439 | 243374.7443 | 244108.6512 | 244844.7712 | 245583.111 | 246323.6773 | 247066.4768 | 247811.5163 | 248558.8024
2 High Load | 236712.3491 | 238472.08 | 239713.6327 | 241428.7343 | 243593.5018 | 246133.6448 | 248861.1744 | 251106.1161 | 253327.0849 | 255064.6115 | 256534.236 | 258605.5101 | 260693.5078 | 262798.3641 | 264920.2152 | 267059.1983 | 269215.4517 | 271389.1147 | 273580.3281 | 275789.2335 | 278015.9737
3 Expanded Preferred | 234032.3491 | 234024.4666 | 233027.937 | 232151.909 | 231368.8923 | 231170.17 | 231176.8775 | 230845.3087 | 230292.8228 | 229139.1034 | 227682.5119 | 227057.082 | 226433.3702 | 225811.3716 | 225191.0816 | 224572.4956 | 223955.6087 | 223340.4164 | 222726.914 | 222115.0969 | 221504.9604
4 40% RPS 2024 | 234032.3491 | 234720.08 | 234674.6327 | 235121.7343 | 235667.5018 | 236746.6448 | 238069.1744 | 239209.1161 | 240259.0849 | 240827.6115 | 241186.236 | 241913.5433 | 242643.0439 | 243374.7443 | 244108.6512 | 244844.7712 | 245583.111 | 246323.6773 | 247066.4768 | 247811.5163 | 248558.8024
5 High DG | 234032.3491 | 234720.08 | 234674.6327 | 235121.7343 | 235667.5018 | 236746.6448 | 238069.1744 | 239209.1161 | 240259.0849 | 240827.6115 | 241186.236 | 241913.5433 | 242643.0439 | 243374.7443 | 244108.6512 | 244844.7712 | 245583.111 | 246323.6773 | 247066.4768 | 247811.5163 | 248558.8024
System Balance %
1 Trajectory | 135.4% | 136.6% | 139.1% | 139.3% | 128.3% | 132.6% | 133% | 121.3% | 121.3% | 121.6% | 121.8% | 120.9% | 120.3% | 118.6% | 118.1% | 116.5% | 115.3% | 114.6% | 114.4% | 114.1% | 113.8%
1e DCPP | 135.4% | 136.6% | 139.1% | 139.3% | 128.3% | 132.6% | 133% | 121.3% | 121.3% | 117.2% | 117.4% | 116.5% | 115.9% | 114.2% | 113.8% | 112.2% | 111% | 110.4% | 110.1% | 109.9% | 109.5%
2 High Load | 135.5% | 136.4% | 138.2% | 138% | 126.4% | 130.1% | 129.8% | 118.1% | 117.5% | 117.2% | 116.9% | 115.7% | 114.9% | 113% | 112.2% | 110.4% | 109.1% | 108.2% | 107.6% | 107.1% | 106.5%
3 Expanded Preferred | 136.6% | 139.9% | 145.1% | 147.2% | 138.1% | 142.3% | 145% | 134.9% | 136.9% | 139% | 141% | 141.1% | 141.5% | 140.7% | 141.2% | 140.4% | 140.1% | 140.3% | 141% | 141.6% | 142.2%
4 40% RPS 2024 | 137.1% | 140% | 144% | 145.5% | 134.6% | 139.4% | 140.1% | 129% | 129.5% | 130% | 130.2% | 129.3% | 128.8% | 127.2% | 126.7% | 125.2% | 124.1% | 123.5% | 123.2% | 123% | 122.8%
5 High DG | 135.8% | 137.4% | 141% | 141.9% | 131.6% | 134.6% | 135.3% | 124.2% | 124.7% | 125.4% | 125.9% | 125.2% | 124.7% | 123.1% | 122.7% | 121.1% | 120% | 119.4% | 119.2% | 118.9% | 118.6%

## 1 Trajectory
|  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Control Panel
Demand (MW) *
Mid : 1-in-2 | IEPR Net Load | 2014: 49444.3569; 2015: 50391.2062; 2016: 50995.7873; 2017: 51628.6294; 2018: 52309.8437; 2019: 53021.0847; 2020: 53724.5666; 2021: 54376.7469; 2022: 54994.5486; 2023: 55543.5784; 2024: 56044.1535
Mid AAEE | AA-EE | 2014: 84.9222; 2015: 542.0991; 2016: 1082.5212; 2017: 1587.0349; 2018: 2071.2989; 2019: 2543.6154; 2020: 2979.9005; 2021: 3452.5499; 2022: 3945.4065; 2023: 4489.2746; 2024: 5041.5078
Mid : 1-in-2 - Mid AAEE | Managed Demand Net Load | 49359.4348 | 49849.1071 | 49913.2661 | 50041.5946 | 50238.5448 | 50477.4694 | 50744.6661 | 50924.197 | 51049.1422 | 51054.3039 | 51002.6457 | 51169.9459 | 51337.7949 | 51506.1945 | 51675.1465 | 51844.6527 | 52014.7148 | 52185.3349 | 52356.5146 | 52528.2558 | 52700.5603
0.328%
BTM resources modeled as Supply (MW)
None | 1: Inc. Small PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
None | 2: Inc. Demand-side CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Supply (MW)
| 3: Existing Resources | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294
| 4: Resource Additions | 1195.3133 | 2397.8913 | 4112.6472 | 4274.5793 | 4354.0878 | 6847.6123 | 7267.328 | 7324.4178 | 7386.0004 | 7467.6216 | 7467.6216 | 7527.0245 | 7586.4274 | 7645.8302 | 7705.2331 | 7764.636 | 7824.0388 | 7883.4417 | 7942.8446 | 8002.2475 | 8061.6503
| Non-RPS (Conventional Expected) | 15.11 | 15.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11
33% 2024 Mid AAEE | RPS | 1180.2033 | 2382.7813 | 3783.5372 | 3945.4693 | 4024.9778 | 5318.5023 | 5738.218 | 5795.3078 | 5856.8904 | 5938.5116 | 5938.5116 | 5997.9145 | 6057.3174 | 6116.7202 | 6176.1231 | 6235.526 | 6294.9288 | 6354.3317 | 6413.7346 | 6473.1375 | 6532.5403
D1302015 | Authorized Procurement | 0 | 0 | 0 | 0 | 0 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200
ISO available import | 5: Imports | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396
None | 6: Inc. Supply-side CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Default | 7: Dispatchable DR | 2115.7222 | 2155.529 | 2162.027 | 2165.297 | 2166.394 | 2168.588 | 2170.782 | 2170.782 | 2174.073 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267
Low | 8: Energy Storage Target | 0 | 0 | 0 | 114.0625 | 228.125 | 342.1875 | 456.25 | 570.3125 | 684.375 | 798.4375 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5
None | 9: Energy Storage Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 10: Resource Retirements | 1741.5 | 1741.5 | 2121.1 | 2121.13 | 7582.86 | 7682.44 | 7682.44 | 13582.66 | 13620.02 | 13649.83 | 13708.2 | 14047.57 | 14203.98 | 14927.91 | 15035.83 | 15734.49 | 16196.92 | 16418.22 | 16419.94 | 16421.31 | 16463.02
| OTC Non Nuclear | 650 | 650 | 985 | 985 | 5790.53 | 5790.53 | 5790.53 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75
None | OTC Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Solar + Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Geothermal + Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Hydro + Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Other (non-OTC thermal/cogen/other) | 1091.5 | 1091.5 | 1136.1 | 1136.13 | 1792.33 | 1891.91 | 1891.91 | 1897.91 | 1935.27 | 1965.08 | 2023.45 | 2362.82 | 2519.23 | 3243.16 | 3351.08 | 4049.74 | 4512.17 | 4733.47 | 4735.19 | 4736.56 | 4778.27
| Net Supply = sum[1:9] - 10 | 66843.1648 | 68085.5496 | 69427.2036 | 69706.4381 | 64439.3761 | 66949.5771 | 67485.5494 | 61756.4816 | 61898.0577 | 62066.1255 | 62121.818 | 61841.8508 | 61744.8437 | 61080.3166 | 61031.7995 | 60392.5423 | 59989.5152 | 59827.6181 | 59885.3009 | 59943.3338 | 59961.0267
Demand (GWh) **
Mid : 1-in-2 | IEPR Net Load | 2014: 235038; 2015: 237816; 2016: 240228; 2017: 243025; 2018: 245557; 2019: 248748; 2020: 251957; 2021: 255122; 2022: 258271; 2023: 261107; 2024: 263751
Mid AAEE | AA-EE | 2014: 1005.6509; 2015: 3095.92; 2016: 5553.3673; 2017: 7903.2657; 2018: 9889.4982; 2019: 12001.3552; 2020: 13887.8256; 2021: 15912.8839; 2022: 18011.9151; 2023: 20279.3885; 2024: 22564.764
Mid : 1-in-2 - Mid AAEE | Managed Energy Net Load | 234032.3491 | 234720.08 | 234674.6327 | 235121.7343 | 235667.5018 | 236746.6448 | 238069.1744 | 239209.1161 | 240259.0849 | 240827.6115 | 241186.236 | 241913.5433 | 242643.0439 | 243374.7443 | 244108.6512 | 244844.7712 | 245583.111 | 246323.6773 | 247066.4768 | 247811.5163 | 248558.8024
0.3016%
Load for Renewable Net Short (GWh)
Mid | Statewide Total Retail Sales | 2014: 267682; 2015: 270795; 2016: 273493; 2017: 276627; 2018: 279456; 2019: 283107; 2020: 286858; 2021: 290466; 2022: 294119; 2023: 297413; 2024: 300516
Mid | Statewide Pumped Load | 2014: 9228; 2015: 9223; 2016: 9218; 2017: 9227; 2018: 9233; 2019: 9239; 2020: 9244; 2021: 9252; 2022: 9259; 2023: 9265; 2024: 9272
Mid AAEE | ISO Area AA-EE | 2014: 931.1589; 2015: 2867.532; 2016: 5143.7679; 2017: 7320.0618; 2018: 9158.3136; 2019: 11112.0542; 2020: 12857.4045; 2021: 14731.0963; 2022: 16672.8421; 2023: 18770.5672; 2024: 20885.0662
None | ISO Area Inc. Small PV | 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0; 2023: 0; 2024: 0
None | ISO Area Inc. Demand-side CHP | 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0; 2023: 0; 2024: 0
| POU Area Inc. EE | 2014: 1447.7; 2015: 1694.18; 2016: 1940.8; 2017: 2187.35; 2018: 2433.9; 2019: 2680.45; 2020: 2927; 2021: 3173.55; 2022: 3420; 2023: 3420; 2024: 3420
| Adjusted Statewide Retail Sales for RPS | 256075.1411 | 257010.288 | 257190.4321 | 257892.5882 | 258630.7864 | 260075.4958 | 261829.5955 | 263309.3537 | 264767.1579 | 265957.4328 | 266938.9338 | 268050.3456 | 269166.3848 | 270287.0708 | 271412.4227 | 272542.4601 | 273677.2025 | 274816.6694 | 275960.8805 | 277109.8556 | 278263.6145
0.4164%
| Net System Balance: Supply - Demand | 17483.73 | 18236.4425 | 19513.9375 | 19664.8436 | 14200.8313 | 16472.1077 | 16740.8832 | 10832.2847 | 10848.9156 | 11011.8216 | 11119.1722 | 10671.9049 | 10407.0488 | 9574.1221 | 9356.653 | 8547.8897 | 7974.8003 | 7642.2832 | 7528.7864 | 7415.078 | 7260.4663
| Net System Balance: Supply / Demand | 135.4% | 136.6% | 139.1% | 139.3% | 128.3% | 132.6% | 133% | 121.3% | 121.3% | 121.6% | 121.8% | 120.9% | 120.3% | 118.6% | 118.1% | 116.5% | 115.3% | 114.6% | 114.4% | 114.1% | 113.8%

## 1e DCPP
|  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Control Panel
Demand (MW) *
Mid : 1-in-2 | IEPR Net Load | 2014: 49444.3569; 2015: 50391.2062; 2016: 50995.7873; 2017: 51628.6294; 2018: 52309.8437; 2019: 53021.0847; 2020: 53724.5666; 2021: 54376.7469; 2022: 54994.5486; 2023: 55543.5784; 2024: 56044.1535
Mid AAEE | AA-EE | 2014: 84.9222; 2015: 542.0991; 2016: 1082.5212; 2017: 1587.0349; 2018: 2071.2989; 2019: 2543.6154; 2020: 2979.9005; 2021: 3452.5499; 2022: 3945.4065; 2023: 4489.2746; 2024: 5041.5078
Mid : 1-in-2 - Mid AAEE | Managed Demand Net Load | 49359.4348 | 49849.1071 | 49913.2661 | 50041.5946 | 50238.5448 | 50477.4694 | 50744.6661 | 50924.197 | 51049.1422 | 51054.3039 | 51002.6457 | 51169.9459 | 51337.7949 | 51506.1945 | 51675.1465 | 51844.6527 | 52014.7148 | 52185.3349 | 52356.5146 | 52528.2558 | 52700.5603
0.328%
BTM resources modeled as Supply (MW)
None | 1: Inc. Small PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
None | 2: Inc. Demand-side CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Supply (MW)
| 3: Existing Resources | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294
| 4: Resource Additions | 1195.3133 | 2397.8913 | 4112.6472 | 4274.5793 | 4354.0878 | 6847.6123 | 7267.328 | 7324.4178 | 7386.0004 | 7467.6216 | 7467.6216 | 7527.0245 | 7586.4274 | 7645.8302 | 7705.2331 | 7764.636 | 7824.0388 | 7883.4417 | 7942.8446 | 8002.2475 | 8061.6503
| Non-RPS (Conventional Expected) | 15.11 | 15.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11
33% 2024 Mid AAEE | RPS | 1180.2033 | 2382.7813 | 3783.5372 | 3945.4693 | 4024.9778 | 5318.5023 | 5738.218 | 5795.3078 | 5856.8904 | 5938.5116 | 5938.5116 | 5997.9145 | 6057.3174 | 6116.7202 | 6176.1231 | 6235.526 | 6294.9288 | 6354.3317 | 6413.7346 | 6473.1375 | 6532.5403
D1302015 | Authorized Procurement | 0 | 0 | 0 | 0 | 0 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200
ISO available import | 5: Imports | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396
None | 6: Inc. Supply-side CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Default | 7: Dispatchable DR | 2115.7222 | 2155.529 | 2162.027 | 2165.297 | 2166.394 | 2168.588 | 2170.782 | 2170.782 | 2174.073 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267
Low | 8: Energy Storage Target | 0 | 0 | 0 | 114.0625 | 228.125 | 342.1875 | 456.25 | 570.3125 | 684.375 | 798.4375 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5
None | 9: Energy Storage Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 10: Resource Retirements | 1741.5 | 1741.5 | 2121.1 | 2121.13 | 7582.86 | 7682.44 | 7682.44 | 13582.66 | 13620.02 | 15889.83 | 15948.2 | 16287.57 | 16443.98 | 17167.91 | 17275.83 | 17974.49 | 18436.92 | 18658.22 | 18659.94 | 18661.31 | 18703.02
| OTC Non Nuclear | 650 | 650 | 985 | 985 | 5790.53 | 5790.53 | 5790.53 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75
DCPP | OTC Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2240 | 2240 | 2240 | 2240 | 2240 | 2240 | 2240 | 2240 | 2240 | 2240 | 2240 | 2240
Low | Solar + Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Geothermal + Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Hydro + Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Other (non-OTC thermal/cogen/other) | 1091.5 | 1091.5 | 1136.1 | 1136.13 | 1792.33 | 1891.91 | 1891.91 | 1897.91 | 1935.27 | 1965.08 | 2023.45 | 2362.82 | 2519.23 | 3243.16 | 3351.08 | 4049.74 | 4512.17 | 4733.47 | 4735.19 | 4736.56 | 4778.27
| Net Supply = sum[1:9] - 10 | 66843.1648 | 68085.5496 | 69427.2036 | 69706.4381 | 64439.3761 | 66949.5771 | 67485.5494 | 61756.4816 | 61898.0577 | 59826.1255 | 59881.818 | 59601.8508 | 59504.8437 | 58840.3166 | 58791.7995 | 58152.5423 | 57749.5152 | 57587.6181 | 57645.3009 | 57703.3338 | 57721.0267
Demand (GWh) **
Mid : 1-in-2 | IEPR Net Load | 2014: 235038; 2015: 237816; 2016: 240228; 2017: 243025; 2018: 245557; 2019: 248748; 2020: 251957; 2021: 255122; 2022: 258271; 2023: 261107; 2024: 263751
Mid AAEE | AA-EE | 2014: 1005.6509; 2015: 3095.92; 2016: 5553.3673; 2017: 7903.2657; 2018: 9889.4982; 2019: 12001.3552; 2020: 13887.8256; 2021: 15912.8839; 2022: 18011.9151; 2023: 20279.3885; 2024: 22564.764
Mid : 1-in-2 - Mid AAEE | Managed Energy Net Load | 234032.3491 | 234720.08 | 234674.6327 | 235121.7343 | 235667.5018 | 236746.6448 | 238069.1744 | 239209.1161 | 240259.0849 | 240827.6115 | 241186.236 | 241913.5433 | 242643.0439 | 243374.7443 | 244108.6512 | 244844.7712 | 245583.111 | 246323.6773 | 247066.4768 | 247811.5163 | 248558.8024
0.3016%
Load for Renewable Net Short (GWh)
Mid | Statewide Total Retail Sales | 2014: 267682; 2015: 270795; 2016: 273493; 2017: 276627; 2018: 279456; 2019: 283107; 2020: 286858; 2021: 290466; 2022: 294119; 2023: 297413; 2024: 300516
Mid | Statewide Pumped Load | 2014: 9228; 2015: 9223; 2016: 9218; 2017: 9227; 2018: 9233; 2019: 9239; 2020: 9244; 2021: 9252; 2022: 9259; 2023: 9265; 2024: 9272
Mid AAEE | ISO Area AA-EE | 2014: 931.1589; 2015: 2867.532; 2016: 5143.7679; 2017: 7320.0618; 2018: 9158.3136; 2019: 11112.0542; 2020: 12857.4045; 2021: 14731.0963; 2022: 16672.8421; 2023: 18770.5672; 2024: 20885.0662
None | ISO Area Inc. Small PV | 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0; 2023: 0; 2024: 0
None | ISO Area Inc. Demand-side CHP | 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0; 2023: 0; 2024: 0
| POU Area Inc. EE | 2014: 1447.7; 2015: 1694.18; 2016: 1940.8; 2017: 2187.35; 2018: 2433.9; 2019: 2680.45; 2020: 2927; 2021: 3173.55; 2022: 3420; 2023: 3420; 2024: 3420
| Adjusted Statewide Retail Sales for RPS | 256075.1411 | 257010.288 | 257190.4321 | 257892.5882 | 258630.7864 | 260075.4958 | 261829.5955 | 263309.3537 | 264767.1579 | 265957.4328 | 266938.9338 | 268050.3456 | 269166.3848 | 270287.0708 | 271412.4227 | 272542.4601 | 273677.2025 | 274816.6694 | 275960.8805 | 277109.8556 | 278263.6145
0.4164%
| Net System Balance: Supply - Demand | 17483.73 | 18236.4425 | 19513.9375 | 19664.8436 | 14200.8313 | 16472.1077 | 16740.8832 | 10832.2847 | 10848.9156 | 8771.8216 | 8879.1722 | 8431.9049 | 8167.0488 | 7334.1221 | 7116.653 | 6307.8897 | 5734.8003 | 5402.2832 | 5288.7864 | 5175.078 | 5020.4663
| Net System Balance: Supply / Demand | 135.4% | 136.6% | 139.1% | 139.3% | 128.3% | 132.6% | 133% | 121.3% | 121.3% | 117.2% | 117.4% | 116.5% | 115.9% | 114.2% | 113.8% | 112.2% | 111% | 110.4% | 110.1% | 109.9% | 109.5%

## 2 High Load
|  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Control Panel
Demand (MW) *
High : 1-in-2 | IEPR Net Load | 2014: 49749.7993; 2015: 50991.1617; 2016: 51867.71; 2017: 52808.7462; 2018: 53805.9871; 2019: 54765.8685; 2020: 55730.7587; 2021: 56584.9926; 2022: 57457.864; 2023: 58271.624; 2024: 59005.8138
Mid AAEE | AA-EE | 2014: 84.9222; 2015: 542.0991; 2016: 1082.5212; 2017: 1587.0349; 2018: 2071.2989; 2019: 2543.6154; 2020: 2979.9005; 2021: 3452.5499; 2022: 3945.4065; 2023: 4489.2746; 2024: 5041.5078
High : 1-in-2 - Mid AAEE | Managed Demand Net Load | 49664.8771 | 50449.0626 | 50785.1888 | 51221.7113 | 51734.6883 | 52222.2532 | 52750.8582 | 53132.4428 | 53512.4575 | 53782.3494 | 53964.306 | 54414.2089 | 54867.8626 | 55325.2985 | 55786.548 | 56251.643 | 56720.6155 | 57193.4978 | 57670.3226 | 58151.1227 | 58635.9313
0.8337%
BTM resources modeled as Supply (MW)
None | 1: Inc. Small PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
None | 2: Inc. Demand-side CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Supply (MW)
| 3: Existing Resources | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294
| 4: Resource Additions | 1626.9769 | 3137.8224 | 4852.5783 | 5246.8812 | 5326.3897 | 7819.9143 | 8239.63 | 8296.7198 | 8358.3024 | 8439.9236 | 8439.9236 | 8650.5232 | 8861.1228 | 9071.7224 | 9282.322 | 9492.9216 | 9703.5212 | 9914.1208 | 10124.7204 | 10335.32 | 10545.9196
| Non-RPS (Conventional Expected) | 15.11 | 15.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11
33% 2024 High Load Mid AAEE | RPS | 1611.8669 | 3122.7124 | 4523.4683 | 4917.7712 | 4997.2797 | 6290.8043 | 6710.52 | 6767.6098 | 6829.1924 | 6910.8136 | 6910.8136 | 7121.4132 | 7332.0128 | 7542.6124 | 7753.212 | 7963.8116 | 8174.4112 | 8385.0108 | 8595.6104 | 8806.21 | 9016.8096
D1302015 | Authorized Procurement | 0 | 0 | 0 | 0 | 0 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200
ISO available import | 5: Imports | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396
None | 6: Inc. Supply-side CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Default | 7: Dispatchable DR | 2115.7222 | 2155.529 | 2162.027 | 2165.297 | 2166.394 | 2168.588 | 2170.782 | 2170.782 | 2174.073 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267
Low | 8: Energy Storage Target | 0 | 0 | 0 | 114.0625 | 228.125 | 342.1875 | 456.25 | 570.3125 | 684.375 | 798.4375 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5
None | 9: Energy Storage Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 10: Resource Retirements | 1741.5 | 1741.5 | 2121.1 | 2121.13 | 7582.86 | 7682.44 | 7682.44 | 13582.66 | 13620.02 | 13649.83 | 13708.2 | 14047.57 | 14203.98 | 14927.91 | 15035.83 | 15734.49 | 16196.92 | 16418.22 | 16419.94 | 16421.31 | 16463.02
| OTC Non Nuclear | 650 | 650 | 985 | 985 | 5790.53 | 5790.53 | 5790.53 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75
None | OTC Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Solar + Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Geothermal + Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Hydro + Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Other (non-OTC thermal/cogen/other) | 1091.5 | 1091.5 | 1136.1 | 1136.13 | 1792.33 | 1891.91 | 1891.91 | 1897.91 | 1935.27 | 1965.08 | 2023.45 | 2362.82 | 2519.23 | 3243.16 | 3351.08 | 4049.74 | 4512.17 | 4733.47 | 4735.19 | 4736.56 | 4778.27
| Net Supply = sum[1:9] - 10 | 67274.8284 | 68825.4807 | 70167.1347 | 70678.7401 | 65411.6781 | 67921.8791 | 68457.8514 | 62728.7836 | 62870.3597 | 63038.4275 | 63094.12 | 62965.3496 | 63019.5392 | 62506.2088 | 62608.8884 | 62120.828 | 61868.9975 | 61858.2971 | 62067.1767 | 62276.4063 | 62445.2959
Demand (GWh) **
High : 1-in-2 | IEPR Net Load | 2014: 237718; 2015: 241568; 2016: 245267; 2017: 249332; 2018: 253483; 2019: 258135; 2020: 262749; 2021: 267019; 2022: 271339; 2023: 275344; 2024: 279099
Mid AAEE | AA-EE | 2014: 1005.6509; 2015: 3095.92; 2016: 5553.3673; 2017: 7903.2657; 2018: 9889.4982; 2019: 12001.3552; 2020: 13887.8256; 2021: 15912.8839; 2022: 18011.9151; 2023: 20279.3885; 2024: 22564.764
High : 1-in-2 - Mid AAEE | Managed Energy Net Load | 236712.3491 | 238472.08 | 239713.6327 | 241428.7343 | 243593.5018 | 246133.6448 | 248861.1744 | 251106.1161 | 253327.0849 | 255064.6115 | 256534.236 | 258605.5101 | 260693.5078 | 262798.3641 | 264920.2152 | 267059.1983 | 269215.4517 | 271389.1147 | 273580.3281 | 275789.2335 | 278015.9737
0.8074%
Load for Renewable Net Short (GWh)
High | Statewide Total Retail Sales | 2014: 270814; 2015: 275113; 2016: 279272; 2017: 283834; 2018: 288472; 2019: 293755; 2020: 299030; 2021: 303855; 2022: 308824; 2023: 313428; 2024: 317781
High | Statewide Pumped Load | 2014: 9229; 2015: 9223; 2016: 9218; 2017: 9227; 2018: 9233; 2019: 9239; 2020: 9245; 2021: 9252; 2022: 9259; 2023: 9265; 2024: 9272
Mid AAEE | ISO Area AA-EE | 2014: 931.1589; 2015: 2867.532; 2016: 5143.7679; 2017: 7320.0618; 2018: 9158.3136; 2019: 11112.0542; 2020: 12857.4045; 2021: 14731.0963; 2022: 16672.8421; 2023: 18770.5672; 2024: 20885.0662
None | ISO Area Inc. Small PV | 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0; 2023: 0; 2024: 0
None | ISO Area Inc. Demand-side CHP | 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0; 2023: 0; 2024: 0
| POU Area Inc. EE | 2014: 1447.7; 2015: 1694.18; 2016: 1940.8; 2017: 2187.35; 2018: 2433.9; 2019: 2680.45; 2020: 2927; 2021: 3173.55; 2022: 3420; 2023: 3420; 2024: 3420
| Adjusted Statewide Retail Sales for RPS | 259206.1411 | 261328.288 | 262969.4321 | 265099.5882 | 267646.7864 | 270723.4958 | 274000.5955 | 276698.3537 | 279472.1579 | 281972.4328 | 284203.9338 | 286832.6364 | 289485.6528 | 292163.2079 | 294865.5286 | 297592.8441 | 300345.3854 | 303123.386 | 305927.0813 | 308756.709 | 311612.5089
0.9249%
| Net System Balance: Supply - Demand | 17609.9513 | 18376.4181 | 19381.9459 | 19457.0288 | 13676.9898 | 15699.6259 | 15706.9932 | 9596.3409 | 9357.9023 | 9256.0781 | 9129.814 | 8551.1407 | 8151.6766 | 7180.9103 | 6822.3404 | 5869.185 | 5148.3821 | 4664.7993 | 4396.8541 | 4125.2836 | 3809.3647
| Net System Balance: Supply / Demand | 135.5% | 136.4% | 138.2% | 138% | 126.4% | 130.1% | 129.8% | 118.1% | 117.5% | 117.2% | 116.9% | 115.7% | 114.9% | 113% | 112.2% | 110.4% | 109.1% | 108.2% | 107.6% | 107.1% | 106.5%

## 3 Expanded Preferred
|  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Control Panel
Demand (MW) *
Mid : 1-in-2 | IEPR Net Load | 2014: 49444.3569; 2015: 50391.2062; 2016: 50995.7873; 2017: 51628.6294; 2018: 52309.8437; 2019: 53021.0847; 2020: 53724.5666; 2021: 54376.7469; 2022: 54994.5486; 2023: 55543.5784; 2024: 56044.1535
HighMidAAEE | AA-EE | 2014: 84.9222; 2015: 643.902; 2016: 1384.4754; 2017: 2172.2583; 2018: 2964.3066; 2019: 3757.2094; 2020: 4525.6048; 2021: 5373.5545; 2022: 6278.3532; 2023: 7267.5032; 2024: 8286.1625
Mid : 1-in-2 - HighMidAAEE | Managed Demand Net Load | 49359.4348 | 49747.3042 | 49611.3119 | 49456.3711 | 49345.5371 | 49263.8753 | 49198.9619 | 49003.1923 | 48716.1955 | 48276.0752 | 47757.991 | 47600.7326 | 47443.992 | 47287.7675 | 47132.0575 | 46976.8601 | 46822.1738 | 46667.9969 | 46514.3276 | 46361.1643 | 46208.5054
-0.3293%
BTM resources modeled as Supply (MW)
High | 1: Inc. Small PV | 15.5505 | 30.9649 | 149.3285 | 377.755 | 625.8319 | 893.9468 | 1160.3348 | 1267.81 | 1416.8258 | 1542.6392 | 1647.3309 | 1763.1696 | 1870.6458 | 1974.0654 | 2073.7233 | 2169.8838 | 2262.784 | 2352.6377 | 2439.6384 | 2523.9617 | 2605.7676
High | 2: Inc. Demand-side CHP | 172.7083 | 537.0246 | 753.0177 | 970.9716 | 1189.2798 | 1407.5693 | 1626.1197 | 1676.96 | 1728.1939 | 1779.9246 | 1831.7933 | 1891.172 | 1910.5502 | 1929.9285 | 1949.3067 | 1968.6849 | 1988.0632 | 1988.0632 | 1988.0632 | 1988.0632 | 1988.0632
Supply (MW)
| 3: Existing Resources | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294
| 4: Resource Additions | 1604.1196 | 3331.1823 | 5792.155 | 6032.3119 | 6223.1954 | 7696.4913 | 8347.798 | 8708.9788 | 9033.1446 | 9201.8083 | 9201.8083 | 9201.8083 | 9201.8083 | 9201.8083 | 9201.8083 | 9201.8083 | 9201.8083 | 9201.8083 | 9201.8083 | 9201.8083 | 9201.8083
| Non-RPS (Conventional Expected) | 15.11 | 15.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11
High DG 40% 2024 HighMid AAEE + Higher DSM | RPS | 1589.0096 | 3316.0723 | 5463.045 | 5703.2019 | 5894.0854 | 6167.3813 | 6818.688 | 7179.8688 | 7504.0346 | 7672.6983 | 7672.6983 | 7672.6983 | 7672.6983 | 7672.6983 | 7672.6983 | 7672.6983 | 7672.6983 | 7672.6983 | 7672.6983 | 7672.6983 | 7672.6983
D1302015 | Authorized Procurement | 0 | 0 | 0 | 0 | 0 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200
ISO available import | 5: Imports | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396
None | 6: Inc. Supply-side CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Default | 7: Dispatchable DR | 2115.7222 | 2155.529 | 2162.027 | 2165.297 | 2166.394 | 2168.588 | 2170.782 | 2170.782 | 2174.073 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267
Low | 8: Energy Storage Target | 0 | 0 | 0 | 114.0625 | 228.125 | 342.1875 | 456.25 | 570.3125 | 684.375 | 798.4375 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5
None | 9: Energy Storage Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 10: Resource Retirements | 1741.5 | 1741.5 | 2121.1 | 2121.13 | 7582.86 | 7682.44 | 7682.44 | 13582.66 | 13620.02 | 13649.83 | 13708.2 | 14047.57 | 14203.98 | 14927.91 | 15035.83 | 15734.49 | 16196.92 | 16418.22 | 16419.94 | 16421.31 | 16463.02
| OTC Non Nuclear | 650 | 650 | 985 | 985 | 5790.53 | 5790.53 | 5790.53 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75
None | OTC Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Solar + Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Geothermal + Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Hydro + Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Other (non-OTC thermal/cogen/other) | 1091.5 | 1091.5 | 1136.1 | 1136.13 | 1792.33 | 1891.91 | 1891.91 | 1897.91 | 1935.27 | 1965.08 | 2023.45 | 2362.82 | 2519.23 | 3243.16 | 3351.08 | 4049.74 | 4512.17 | 4733.47 | 4735.19 | 4736.56 | 4778.27
| Net Supply = sum[1:9] - 10 | 67440.23 | 69586.8302 | 72009.0575 | 72812.8974 | 68123.5955 | 70099.9722 | 71352.4737 | 66085.8126 | 66690.2217 | 67122.8759 | 67335.1288 | 67170.9763 | 67141.4207 | 66540.2885 | 66551.4047 | 65968.2834 | 65618.1318 | 65486.6855 | 65571.9662 | 65654.9196 | 65695.0154
Demand (GWh) **
Mid : 1-in-2 | IEPR Net Load | 2014: 235038; 2015: 237816; 2016: 240228; 2017: 243025; 2018: 245557; 2019: 248748; 2020: 251957; 2021: 255122; 2022: 258271; 2023: 261107; 2024: 263751
HighMidAAEE | AA-EE | 2014: 1005.6509; 2015: 3791.5334; 2016: 7200.063; 2017: 10873.091; 2018: 14188.1077; 2019: 17577.83; 2020: 20780.1225; 2021: 24276.6913; 2022: 27978.1772; 2023: 31967.8966; 2024: 36068.4881
Mid : 1-in-2 - HighMidAAEE | Managed Energy Net Load | 234032.3491 | 234024.4666 | 233027.937 | 232151.909 | 231368.8923 | 231170.17 | 231176.8775 | 230845.3087 | 230292.8228 | 229139.1034 | 227682.5119 | 227057.082 | 226433.3702 | 225811.3716 | 225191.0816 | 224572.4956 | 223955.6087 | 223340.4164 | 222726.914 | 222115.0969 | 221504.9604
-0.2747%
Load for Renewable Net Short (GWh)
Mid | Statewide Total Retail Sales | 2014: 267682; 2015: 270795; 2016: 273493; 2017: 276627; 2018: 279456; 2019: 283107; 2020: 286858; 2021: 290466; 2022: 294119; 2023: 297413; 2024: 300516
Mid | Statewide Pumped Load | 2014: 9228; 2015: 9223; 2016: 9218; 2017: 9227; 2018: 9233; 2019: 9239; 2020: 9244; 2021: 9252; 2022: 9259; 2023: 9265; 2024: 9272
HighMidAAEE | ISO Area AA-EE | 2014: 931.1589; 2015: 3510.0165; 2016: 6665.2455; 2017: 10064.874; 2018: 13132.7363; 2019: 16269.5563; 2020: 19232.5611; 2021: 22468.2942; 2022: 25893.4768; 2023: 29585.6544; 2024: 33380.4743
High | ISO Area Inc. Small PV | 2014: 50.0938; 2015: 99.7492; 2016: 485.771; 2017: 1227.9907; 2018: 2034.3548; 2019: 2906.1968; 2020: 3773.2034; 2021: 4122.6394; 2022: 4607.9229; 2023: 5018.0337; 2024: 5359.6454
High | ISO Area Inc. Demand-side CHP | 2014: 1588.9971; 2015: 4940.8766; 2016: 6928.1136; 2017: 8933.391; 2018: 10941.9281; 2019: 12950.2924; 2020: 14961.0579; 2021: 15428.8125; 2022: 15900.1889; 2023: 16376.1351; 2024: 16853.3512
| POU Area Inc. EE | 2014: 1447.7; 2015: 1694.18; 2016: 1940.8; 2017: 2187.35; 2018: 2433.9; 2019: 2680.45; 2020: 2927; 2021: 3173.55; 2022: 3420; 2023: 3420; 2024: 3420
| Adjusted Statewide Retail Sales for RPS | 254436.0502 | 251327.1778 | 248255.0699 | 244986.3942 | 241680.0809 | 239061.5045 | 236720.1776 | 236020.7039 | 235038.4115 | 233748.1768 | 232230.5291 | 230119.477 | 228027.6151 | 225954.7689 | 223900.7655 | 221865.4337 | 219848.6037 | 217850.1074 | 215869.7781 | 213907.4506 | 211962.9613
-0.909%
| Net System Balance: Supply - Demand | 18080.7952 | 19839.5259 | 22397.7457 | 23356.5262 | 18778.0584 | 20836.0969 | 22153.5119 | 17082.6203 | 17974.0262 | 18846.8008 | 19577.1377 | 19570.2436 | 19697.4287 | 19252.5209 | 19419.3472 | 18991.4233 | 18795.958 | 18818.6886 | 19057.6386 | 19293.7552 | 19486.51
| Net System Balance: Supply / Demand | 136.6% | 139.9% | 145.1% | 147.2% | 138.1% | 142.3% | 145% | 134.9% | 136.9% | 139% | 141% | 141.1% | 141.5% | 140.7% | 141.2% | 140.4% | 140.1% | 140.3% | 141% | 141.6% | 142.2%

## 4 40% RPS 2024
|  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Control Panel
Demand (MW) *
Mid : 1-in-2 | IEPR Net Load | 2014: 49444.3569; 2015: 50391.2062; 2016: 50995.7873; 2017: 51628.6294; 2018: 52309.8437; 2019: 53021.0847; 2020: 53724.5666; 2021: 54376.7469; 2022: 54994.5486; 2023: 55543.5784; 2024: 56044.1535
Mid AAEE | AA-EE | 2014: 84.9222; 2015: 542.0991; 2016: 1082.5212; 2017: 1587.0349; 2018: 2071.2989; 2019: 2543.6154; 2020: 2979.9005; 2021: 3452.5499; 2022: 3945.4065; 2023: 4489.2746; 2024: 5041.5078
Mid : 1-in-2 - Mid AAEE | Managed Demand Net Load | 49359.4348 | 49849.1071 | 49913.2661 | 50041.5946 | 50238.5448 | 50477.4694 | 50744.6661 | 50924.197 | 51049.1422 | 51054.3039 | 51002.6457 | 51169.9459 | 51337.7949 | 51506.1945 | 51675.1465 | 51844.6527 | 52014.7148 | 52185.3349 | 52356.5146 | 52528.2558 | 52700.5603
0.328%
BTM resources modeled as Supply (MW)
None | 1: Inc. Small PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
None | 2: Inc. Demand-side CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Supply (MW)
| 3: Existing Resources | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294
| 4: Resource Additions | 2040.7394 | 4081.7011 | 6542.6738 | 7355.5646 | 7546.4481 | 10248.4588 | 10899.7654 | 11260.9463 | 11585.1121 | 11753.7757 | 11753.7757 | 11857.4555 | 11961.1352 | 12064.8149 | 12168.4947 | 12272.1744 | 12375.8542 | 12479.5339 | 12583.2136 | 12686.8934 | 12790.5731
| Non-RPS (Conventional Expected) | 15.11 | 15.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11
High DG 40% 2024 Mid AAEE | RPS | 2025.6294 | 4066.5911 | 6213.5638 | 7026.4546 | 7217.3381 | 8719.3488 | 9370.6554 | 9731.8363 | 10056.0021 | 10224.6657 | 10224.6657 | 10328.3455 | 10432.0252 | 10535.7049 | 10639.3847 | 10743.0644 | 10846.7442 | 10950.4239 | 11054.1036 | 11157.7834 | 11261.4631
D1302015 | Authorized Procurement | 0 | 0 | 0 | 0 | 0 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200
ISO available import | 5: Imports | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396
None | 6: Inc. Supply-side CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Default | 7: Dispatchable DR | 2115.7222 | 2155.529 | 2162.027 | 2165.297 | 2166.394 | 2168.588 | 2170.782 | 2170.782 | 2174.073 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267
Low | 8: Energy Storage Target | 0 | 0 | 0 | 114.0625 | 228.125 | 342.1875 | 456.25 | 570.3125 | 684.375 | 798.4375 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5
None | 9: Energy Storage Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 10: Resource Retirements | 1741.5 | 1741.5 | 2121.1 | 2121.13 | 7582.86 | 7682.44 | 7682.44 | 13582.66 | 13620.02 | 13649.83 | 13708.2 | 14047.57 | 14203.98 | 14927.91 | 15035.83 | 15734.49 | 16196.92 | 16418.22 | 16419.94 | 16421.31 | 16463.02
| OTC Non Nuclear | 650 | 650 | 985 | 985 | 5790.53 | 5790.53 | 5790.53 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75
None | OTC Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Solar + Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Geothermal + Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Hydro + Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Other (non-OTC thermal/cogen/other) | 1091.5 | 1091.5 | 1136.1 | 1136.13 | 1792.33 | 1891.91 | 1891.91 | 1897.91 | 1935.27 | 1965.08 | 2023.45 | 2362.82 | 2519.23 | 3243.16 | 3351.08 | 4049.74 | 4512.17 | 4733.47 | 4735.19 | 4736.56 | 4778.27
| Net Supply = sum[1:9] - 10 | 67688.591 | 69769.3595 | 71857.2302 | 72787.4234 | 67631.7364 | 70350.4237 | 71117.9868 | 65693.0101 | 66097.1694 | 66352.2796 | 66407.9721 | 66172.2818 | 66119.5516 | 65499.3013 | 65495.061 | 64900.0808 | 64541.3305 | 64423.7102 | 64525.67 | 64627.9797 | 64689.9494
Demand (GWh) **
Mid : 1-in-2 | IEPR Net Load | 2014: 235038; 2015: 237816; 2016: 240228; 2017: 243025; 2018: 245557; 2019: 248748; 2020: 251957; 2021: 255122; 2022: 258271; 2023: 261107; 2024: 263751
Mid AAEE | AA-EE | 2014: 1005.6509; 2015: 3095.92; 2016: 5553.3673; 2017: 7903.2657; 2018: 9889.4982; 2019: 12001.3552; 2020: 13887.8256; 2021: 15912.8839; 2022: 18011.9151; 2023: 20279.3885; 2024: 22564.764
Mid : 1-in-2 - Mid AAEE | Managed Energy Net Load | 234032.3491 | 234720.08 | 234674.6327 | 235121.7343 | 235667.5018 | 236746.6448 | 238069.1744 | 239209.1161 | 240259.0849 | 240827.6115 | 241186.236 | 241913.5433 | 242643.0439 | 243374.7443 | 244108.6512 | 244844.7712 | 245583.111 | 246323.6773 | 247066.4768 | 247811.5163 | 248558.8024
0.3016%
Load for Renewable Net Short (GWh)
Mid | Statewide Total Retail Sales | 2014: 267682; 2015: 270795; 2016: 273493; 2017: 276627; 2018: 279456; 2019: 283107; 2020: 286858; 2021: 290466; 2022: 294119; 2023: 297413; 2024: 300516
Mid | Statewide Pumped Load | 2014: 9228; 2015: 9223; 2016: 9218; 2017: 9227; 2018: 9233; 2019: 9239; 2020: 9244; 2021: 9252; 2022: 9259; 2023: 9265; 2024: 9272
Mid AAEE | ISO Area AA-EE | 2014: 931.1589; 2015: 2867.532; 2016: 5143.7679; 2017: 7320.0618; 2018: 9158.3136; 2019: 11112.0542; 2020: 12857.4045; 2021: 14731.0963; 2022: 16672.8421; 2023: 18770.5672; 2024: 20885.0662
None | ISO Area Inc. Small PV | 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0; 2023: 0; 2024: 0
None | ISO Area Inc. Demand-side CHP | 2014: 0; 2015: 0; 2016: 0; 2017: 0; 2018: 0; 2019: 0; 2020: 0; 2021: 0; 2022: 0; 2023: 0; 2024: 0
| POU Area Inc. EE | 2014: 1447.7; 2015: 1694.18; 2016: 1940.8; 2017: 2187.35; 2018: 2433.9; 2019: 2680.45; 2020: 2927; 2021: 3173.55; 2022: 3420; 2023: 3420; 2024: 3420
| Adjusted Statewide Retail Sales for RPS | 256075.1411 | 257010.288 | 257190.4321 | 257892.5882 | 258630.7864 | 260075.4958 | 261829.5955 | 263309.3537 | 264767.1579 | 265957.4328 | 266938.9338 | 268050.3456 | 269166.3848 | 270287.0708 | 271412.4227 | 272542.4601 | 273677.2025 | 274816.6694 | 275960.8805 | 277109.8556 | 278263.6145
0.4164%
| Net System Balance: Supply - Demand | 18329.1562 | 19920.2523 | 21943.9641 | 22745.8289 | 17393.1916 | 19872.9543 | 20373.3206 | 14768.8131 | 15048.0272 | 15297.9757 | 15405.3264 | 15002.3359 | 14781.7566 | 13993.1068 | 13819.9145 | 13055.4281 | 12526.6157 | 12238.3754 | 12169.1554 | 12099.7239 | 11989.3891
| Net System Balance: Supply / Demand | 137.1% | 140% | 144% | 145.5% | 134.6% | 139.4% | 140.1% | 129% | 129.5% | 130% | 130.2% | 129.3% | 128.8% | 127.2% | 126.7% | 125.2% | 124.1% | 123.5% | 123.2% | 123% | 122.8%

## 5 High DG
|  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Control Panel
Demand (MW) *
Mid : 1-in-2 | IEPR Net Load | 2014: 49444.3569; 2015: 50391.2062; 2016: 50995.7873; 2017: 51628.6294; 2018: 52309.8437; 2019: 53021.0847; 2020: 53724.5666; 2021: 54376.7469; 2022: 54994.5486; 2023: 55543.5784; 2024: 56044.1535
Mid AAEE | AA-EE | 2014: 84.9222; 2015: 542.0991; 2016: 1082.5212; 2017: 1587.0349; 2018: 2071.2989; 2019: 2543.6154; 2020: 2979.9005; 2021: 3452.5499; 2022: 3945.4065; 2023: 4489.2746; 2024: 5041.5078
Mid : 1-in-2 - Mid AAEE | Managed Demand Net Load | 49359.4348 | 49849.1071 | 49913.2661 | 50041.5946 | 50238.5448 | 50477.4694 | 50744.6661 | 50924.197 | 51049.1422 | 51054.3039 | 51002.6457 | 51169.9459 | 51337.7949 | 51506.1945 | 51675.1465 | 51844.6527 | 52014.7148 | 52185.3349 | 52356.5146 | 52528.2558 | 52700.5603
0.328%
BTM resources modeled as Supply (MW)
High | 1: Inc. Small PV | 15.5505 | 30.9649 | 149.3285 | 377.755 | 625.8319 | 893.9468 | 1160.3348 | 1267.81 | 1416.8258 | 1542.6392 | 1647.3309 | 1763.1696 | 1870.6458 | 1974.0654 | 2073.7233 | 2169.8838 | 2262.784 | 2352.6377 | 2439.6384 | 2523.9617 | 2605.7676
Low | 2: Inc. Demand-side CHP | 72.6671 | 239.874 | 311.5912 | 385.1161 | 459.082 | 533.0984 | 607.2393 | 636.9669 | 667.0648 | 697.5921 | 728.5802 | 766.3878 | 773.5875 | 780.7872 | 787.9869 | 795.1866 | 802.3863 | 802.3863 | 802.3863 | 802.3863 | 802.3863
Supply (MW)
| 3: Existing Resources | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294 | 51877.6294
| 4: Resource Additions | 1272.1055 | 2534.4612 | 4583.6721 | 4796.6702 | 4955.2694 | 6393.3125 | 6668.9052 | 6894.9312 | 7052.052 | 7204.659 | 7204.659 | 7204.659 | 7204.659 | 7204.659 | 7204.659 | 7204.659 | 7204.659 | 7204.659 | 7204.659 | 7204.659 | 7204.659
| Non-RPS (Conventional Expected) | 15.11 | 15.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11 | 329.11
High DG 33% 2024 Mid AAEE + DSM | RPS | 1256.9955 | 2519.3512 | 4254.5621 | 4467.5602 | 4626.1594 | 4864.2025 | 5139.7952 | 5365.8212 | 5522.942 | 5675.549 | 5675.549 | 5675.549 | 5675.549 | 5675.549 | 5675.549 | 5675.549 | 5675.549 | 5675.549 | 5675.549 | 5675.549 | 5675.549
D1302015 | Authorized Procurement | 0 | 0 | 0 | 0 | 0 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200
ISO available import | 5: Imports | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396 | 13396
None | 6: Inc. Supply-side CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Default | 7: Dispatchable DR | 2115.7222 | 2155.529 | 2162.027 | 2165.297 | 2166.394 | 2168.588 | 2170.782 | 2170.782 | 2174.073 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267 | 2176.267
Low | 8: Energy Storage Target | 0 | 0 | 0 | 114.0625 | 228.125 | 342.1875 | 456.25 | 570.3125 | 684.375 | 798.4375 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5 | 912.5
None | 9: Energy Storage Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 10: Resource Retirements | 1741.5 | 1741.5 | 2121.1 | 2121.13 | 7582.86 | 7682.44 | 7682.44 | 13582.66 | 13620.02 | 13649.83 | 13708.2 | 14047.57 | 14203.98 | 14927.91 | 15035.83 | 15734.49 | 16196.92 | 16418.22 | 16419.94 | 16421.31 | 16463.02
| OTC Non Nuclear | 650 | 650 | 985 | 985 | 5790.53 | 5790.53 | 5790.53 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75 | 11684.75
None | OTC Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Solar + Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Geothermal + Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low | Hydro + Pump | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mid | Other (non-OTC thermal/cogen/other) | 1091.5 | 1091.5 | 1136.1 | 1136.13 | 1792.33 | 1891.91 | 1891.91 | 1897.91 | 1935.27 | 1965.08 | 2023.45 | 2362.82 | 2519.23 | 3243.16 | 3351.08 | 4049.74 | 4512.17 | 4733.47 | 4735.19 | 4736.56 | 4778.27
| Net Supply = sum[1:9] - 10 | 67008.1746 | 68492.9585 | 70359.1481 | 70991.4002 | 66125.4717 | 67922.3226 | 68654.7006 | 63231.7719 | 63648 | 64043.3942 | 64234.7664 | 64049.0428 | 64007.3087 | 63393.998 | 63392.9356 | 62797.6358 | 62435.3057 | 62303.8594 | 62389.1401 | 62472.0935 | 62512.1893
Demand (GWh) **
Mid : 1-in-2 | IEPR Net Load | 2014: 235038; 2015: 237816; 2016: 240228; 2017: 243025; 2018: 245557; 2019: 248748; 2020: 251957; 2021: 255122; 2022: 258271; 2023: 261107; 2024: 263751
Mid AAEE | AA-EE | 2014: 1005.6509; 2015: 3095.92; 2016: 5553.3673; 2017: 7903.2657; 2018: 9889.4982; 2019: 12001.3552; 2020: 13887.8256; 2021: 15912.8839; 2022: 18011.9151; 2023: 20279.3885; 2024: 22564.764
Mid : 1-in-2 - Mid AAEE | Managed Energy Net Load | 234032.3491 | 234720.08 | 234674.6327 | 235121.7343 | 235667.5018 | 236746.6448 | 238069.1744 | 239209.1161 | 240259.0849 | 240827.6115 | 241186.236 | 241913.5433 | 242643.0439 | 243374.7443 | 244108.6512 | 244844.7712 | 245583.111 | 246323.6773 | 247066.4768 | 247811.5163 | 248558.8024
0.3016%
Load for Renewable Net Short (GWh)
Mid | Statewide Total Retail Sales | 2014: 267682; 2015: 270795; 2016: 273493; 2017: 276627; 2018: 279456; 2019: 283107; 2020: 286858; 2021: 290466; 2022: 294119; 2023: 297413; 2024: 300516
Mid | Statewide Pumped Load | 2014: 9228; 2015: 9223; 2016: 9218; 2017: 9227; 2018: 9233; 2019: 9239; 2020: 9244; 2021: 9252; 2022: 9259; 2023: 9265; 2024: 9272
Mid AAEE | ISO Area AA-EE | 2014: 931.1589; 2015: 2867.532; 2016: 5143.7679; 2017: 7320.0618; 2018: 9158.3136; 2019: 11112.0542; 2020: 12857.4045; 2021: 14731.0963; 2022: 16672.8421; 2023: 18770.5672; 2024: 20885.0662
High | ISO Area Inc. Small PV | 2014: 50.0938; 2015: 99.7492; 2016: 485.771; 2017: 1227.9907; 2018: 2034.3548; 2019: 2906.1968; 2020: 3773.2034; 2021: 4122.6394; 2022: 4607.9229; 2023: 5018.0337; 2024: 5359.6454
Low | ISO Area Inc. Demand-side CHP | 2014: 667.281; 2015: 2202.6937; 2016: 2861.2516; 2017: 3536.4095; 2018: 4215.6172; 2019: 4895.2882; 2020: 5576.1025; 2021: 5849.0824; 2022: 6125.4625; 2023: 6405.7856; 2024: 6690.3404
| POU Area Inc. EE | 2014: 1447.7; 2015: 1694.18; 2016: 1940.8; 2017: 2187.35; 2018: 2433.9; 2019: 2680.45; 2020: 2927; 2021: 3173.55; 2022: 3420; 2023: 3420; 2024: 3420
| Adjusted Statewide Retail Sales for RPS | 255357.7663 | 254707.8451 | 253843.4095 | 253128.188 | 252380.8145 | 252274.0108 | 252480.2896 | 253337.6319 | 254033.7725 | 254533.6135 | 254888.9479 | 254842.1135 | 254795.2876 | 254748.4703 | 254701.6617 | 254654.8616 | 254608.0702 | 254561.2873 | 254514.513 | 254467.7474 | 254420.9903
-0.01837%
| Net System Balance: Supply - Demand | 17648.7398 | 18643.8514 | 20445.8821 | 20949.8056 | 15886.9269 | 17444.8532 | 17910.0345 | 12307.575 | 12598.8578 | 12989.0903 | 13232.1207 | 12879.0968 | 12669.5138 | 11887.8034 | 11717.7892 | 10952.9832 | 10420.5909 | 10118.5245 | 10032.6255 | 9943.8377 | 9811.629
| Net System Balance: Supply / Demand | 135.8% | 137.4% | 141% | 141.9% | 131.6% | 134.6% | 135.3% | 124.2% | 124.7% | 125.4% | 125.9% | 125.2% | 124.7% | 123.1% | 122.7% | 121.1% | 120% | 119.4% | 119.2% | 118.9% | 118.6%