## Slide 1: Protocol Mapping IEEE 2030.1.1
BACKGROUND:
Developed as CHAdeMO specification in 2005-2009 for DC Fast charging
Uses an extension of vehicle CAN communications
Expanded following 2011 Great Japan Earthquake for VGI especially V2G
Rolled into international standards in 2014 and IEEE 2030.1.1 in 2015
CHAdeMO specification actively updated with periodic updates to standards
IMPLEMENTATION:
Used in 50 countries on 5 continents with >13,000 installed
50 companies, 5 certification bodies, >220 different products certified
Bi-directional commercial activity in other countries; demonstrations in USA (more details on supporting slide).

## Slide 2: Likely End-to-End Architecture – [IEEE 2030.1.1]
EV Driver
EV Battery System
EVSE
DC Power Converter System
Utility Customer
Power Flow Entity
Building Management System
Energy Meter
Functional Block Diagram
Bi-directional energy flow
UCR
PFE
and/or
EV Driver
BMS
IEEE 2030.5
OpenADR IEEE 2690 OCPP
User interfaces
Setting interfaces
DC EVSE
Car
IEEE 2030.1.1
IEEE 2030.5 or other
IEEE 2030.5 or other
DC EVSE
IEEE 2030.5 or other
Anticipated 2018 ver.
Example Supporting Stds: IEEE 2030.5
OpenADR IEEE 2690 OCPP
or other

## Slide 3: Example CHAdeMO bi-directional activities
Europe:
  ~ 100 current CHAdeMO V2G installations in DK and UK (Enel) projects
USA:
  LA Air Force Base 13 car CHAdeMO V2G demonstration
  Hawaii 80 car CHAdeMO V2G demonstration
  City of Danville 4 car CHAdeMO V2G demonstration
  UC Davis Honda Smart Home CHAdeMO solar integration demonstration
  Unique Andromedapower CHAdeMO vehicle-to-vehicle charging development
Canada:
  PowerStream 2 car CHAdeMO V2B demonstration
Japan:
  LEAF-to-Home commercial deployment