## Sheet1
| Use Case | Overview | Grid Scenarios | Primary Actors for Scenario | Notes
Primary* | Over generation support | Supply exceeds demand due to excess PV generation during the day. As opposed to curtailing PV generation, grid operators shift EV loads to peak generation times either through pricing or demand response mechanisms. | Grid operator forecasts or observers an overgeneration event and issues Demand Response events (load increase)** or issues Real Time Pricing*** | ISO/IOU, Aggregator****. Workplace site host, EVMS/BMS, EV | May be more easily done through rates/encentives (e.g,. Tariffs, demand charges, etc.). May be utilized by DSO***** for localized support. | V1G
| Peak Demand Management | Demand exceed supply due to excess load vs generation. As opposed to firing up peaker plants, grid operators may seek to utilize EVs (e,g., curtails, shift loads or generation to meet these needs. | As late afternoon PV generation recedes and residential loads come online, grid operators forcast or observerve not enough supply is available to meet demand and issues Demand Response event (load reduction or addition); Real Time Pricing | ISO/IOU, Aggregator, residential customer, HEMS, EV | This could be applicable to other peak demand scenarios or for distribution management through DSO. | V1G,V2G
| Demand Fee Mitigation | A local control scheme follows the demand patterns of the load as seen by the utility and implements a control mechanism to reduce the peak power demand. | Vehicle charging can set a peak demand for a building or site if charging is occurring during the highest building demand period. By slowing down or delaying charging when all stations are in use or a building is drawing heavy load, the peak demand is reduced. Clear savings in dollars per kW per month are reflected in the utility bill for the site owner. | EVSE, Building EMS, Site Controller, EV | For workplaces and public locations on commercial rates with demand charges, there is incentive to reduce peak demand by adjustment of charging load to maintain a lower peak power draw. | See Jeremy Whaling
Secondary | Measurement and Monitoring | Lack of insight into EV generation, load and locations may not allow for effective distribution grid management or verification of performance for performance reimbursement | Grid operators receive telemetry and other data from EVs and/or aggregators related to locations, events and other program requirements | ISO/IOU, Aggregator, BMS/EVMS, EV, EVSE | Monitoring generation similar to the monitoring function in Rule 21 Phase 3. | V1G,V2G | Needs a use case
| Voltage Support | Variability in the output of distributed PV generation causes voltage issues on a distribution circuit. The EV charging system notices voltage exceeds a tolerance band and regulates charging accordingly via autonomous Volt-Watt functionality | Locationally or seasonally the grid operator updates Volt-Watt settings | DSO, BMS/EVMS, Aggregator,EV | More suitable to be autonomous. EVSE must be able to sense grid voltages and pass on to EV. Managing Vars may not be suitable. May not be suitable to be accomplished for EVs via demand response | V2G | Rule 21
| Spin/Non-Spin Reserve | An failure or outage of a transmission system component occurs. EVs provide aggregated supply or demand response capability that can respond within 10 mins to dispatch when normal supply resources are unexpectedly unavailable. | Grid operator experiences loss of generations and issues Demand Response event (load reduction or generation) | ISO, Aggregator, EV | Maybe too onerous for EVs (2-4 hrs)? | V2G | Look at this?
| Over generation support (Distribution asset replacement deferral) | Renewable generation exceeds distribution asset ratings on a distribution circuit. Grid operators request EVs to cease generation or add load on that circuit | Grid operator forecats or observes possible thermal issues on distibution assets and requests EVs to cease generation or add load. | DSO, BMS/EVMS, HEMS, Aggregator, EV | Requires advanced distribution sensing capabilities | V1G | What the difference to line 2
| Frequency Regulation | Over/under frequency sensed and EV provides frequency stability (i.e. regulate up or down) via autonomous frequency-watt curve or via communications by quickly ramping to accurately follow an automatic generation control signal | 1- Grid operator updates Frequency Watt curve as needed; 2- Grid operator observes frequency issues on the grid and requests devices directly to support | ISO, BMS/EVMS, HEMS, Aggregator, EV | More suitable for autonomous. Remote signaling would probably require near real time communications directly to devices rather than through aggregator. Requires EVSE to sense grid frequency and tell EV. Need large amounts to impact. | V1G,V2G
Others in BTM Storage Value Chain | Black Start | Need more information on need/feasibiity of these services
Energy Arbitrage
Transmission Congestion Relief
Transmission Deferral
*Use cases are from the point of view of the grid, not customer or technology provider. Primary use cases suggested based on known or forecasted need and feasibility of utilizing EVs for reliability and optimization.
**Demand Response- Event based programs meant to curtail or shift loads during a certain duration. Notifications could be day ahead, hour ahead or fast (e.g., 10-20 min.). Programs are aggregator/BMS based rather than direct to devices and notifications are most likely generic with pre-determined actions taken by aggregator. Targeting of certain areas of the grid may be used. Sample programs types are Critical Peak Pricing, Pay for Performance, Capacity Bidding, Aggregated Demand Response. Reverse Power Flow (V2G) could be a separate type of program or fall under one of the above. Generally programs do not prescribe aggregator or customer technologies and communications use to meet program contracts.
***Real time pricing programs are in actuality not real time but usually in hourly or some other longer interval.
****Aggregator here denotes an entity that is able to manage EV charging based on the program. This could be an entity communicating to a local management systems (e.g, BMS, EVMS, Fleet management system), direct to the EVSE, the EV through the EVSE, or direct to the EV via telematicsAn entity that is monitoring and performing activities to ensure distribution system reliability. Though protection devices and other utility assets are primary resources may also go to customer owned DERs
*****An entity that is monitoring and performing activities to ensure distribution system reliability. Though protection devices and other utility assets are primary resources may also go to customer owned DERs