## Fleet Use Case
1. Use Case description:
Develop a software platform that will manage aggregated battery electric vehicles (BEV) charging curves to reduce operating costs for multiple DC fast chargers at a fleet site and provide real-time load management and grid services. The system will concurrently control an on- site energy storage system to maximize load reduction. A scheduling algorithm will interface with fleet operations to sink renewable over generation during the midday while a real-time price signal management algorithm will help generate additional revenue by bidding EV charging loads for demand response.
2. Use Case goals and objectives:
The goals of the proposed project are to address intermittency and renewable energy over- generation issues by enabling day-ahead and real-time pricing for DC fast charging at fleet locations; advance smart and efficient charging by managing multi-port fast charging to minimize grid impact and lower the cost of operating fast chargers; evaluate suitability of DC fast charging to participate in demand response programs; and develop and evaluate advanced technologies to efficiently integrate second-life PEV batteries for demand management with DC fast charging.
The objective of this use case is to develop an integrated hardware and software platform to monitor and control multiple DCFCs and on-site storage to:
1. Reduce EV charging costs through charge management optimization by minimizing 15- minute metered demand
2. Provide demand response capacity with EV charging loads during system peak hours
3. Sink excess midday over generation by shifting EV charging loads
4. Increase DCFC utilization by scheduling fleet EV charging and include public EV’s
5. Evaluate second-life EV battery for integrated DCFC demand management
3. Use Case goals and objectives achieved, quantified, and measured:
The site controller will continuously monitor and store EV charging session data, and charging power with 1-minute granularity. A back office dashboard will continuously compute the performance of the DCFC network with and without software management.
1. Demand Reduction – Be able to compute EV charging loads without software management and compare the data with real time load data from modified charging. The peak load reduced can then be equated to cost savings by using the utility demand charge rates.
2. Demand Response – Performance managed demand will be compared against the theoretical best case scenario for the load that can bid into the demand response market. Based on forecast accuracy, and the machine learning algorithm, it will continue to provide incremental upgrades which will also be quantified against base case.
3. DCFC Utilization – Establish a baseline DCFC utilization based on existing DCFC performance. Compare fleet aggregation algorithm performance compared to the baseline DCFC utilization.
4. Real-time / Day-ahead Pricing Utilization – Compare usage behavior (frequency, dwell time, energy use, and time distribution of charging) under real-time / day-ahead pricing scenarios against usage behavior in an all-day per kWh fee, and a free charging control case
5. Second life battery evaluation – The real time algorithm performance will be compared to the model baseline to evaluate second life battery usage for a DCFC coupled load management application. Response times, charge rates, discharge rates and SOC curves will be tested based on model baseline performance.
4. Use Case task description:
Task 2: Interface Specifications Development
· Define the timing and communication for the overall system, including defining the worst case latency scenarios for all communication to ensure proper algorithm timing.
Task 3: Development and definition of algorithm optimization blocks
· Define parameters to optimize and algorithm blocks.
Task 4: Development of Site Level OCPP Node
· Define and develop the hardware controller to control on-site systems.
Task 5: Vendor Selection and Procurement
· Purchase hardware equipment and procure services for engineering, permitting, construction and interconnection of this hardware to the grid.
Task 6: Engineering Drawings
· Engineering drawings for the construction of the system.
Task 7: Physical System Installation, Permitting, Commissioning and Interconnection
· Hardware installation and utility interconnection
Task 8: Fleet Scheduling Algorithm Implementation
· Create customer engagement tools to receive real time price data, price drop alerts and for fleet participants schedule charging (arrival time, expected arrival SoC, departure time, minimum needed SoC).
Task 9: Demand Charge Algorithm Implementation
· Create an initial set of algorithms that will provide a balanced optimization of charge time, cost to EV driver for charging, and cost to site host for charging.
Task 10: Validation, Performance Testing and Reporting
· Incorporate Open ADR real time price signals and partitioning of energy for demand response into the system operation decision making process.
Task 11: Algorithm Optimization
· Fully test the overall system and architecture with complete requirements traceability prior to full production level software release.

## Fleet Template
Why Fleets are "In-Scope" and achieve Best Benefit and Best Cost? | Problem and Issues when there is "No" V1G? | Which Fleets are BEST for PEV? | Benefits | [13 empty] | Cell Options
1) 3/4 of SB350 IOU Application Funding is for Fleets 2) Fleet applications that include driving patterns that are Low Speed with fixed or planned routes create Best Benefit opportunity and Best Cost Value. 3) High Braking Events 4) Large Size Battery Paks (75-300kWh) 5) High inner city use 6) High fuel use 7) Predictable and managed driving operations 8) High HVIP voucher amounts 9) Fleets are currently being Targeted, have Solicitations (Freight Goal is for 100,000 BEV vehicles). Mandated Zero Emission Adoption requirements (bus transit, school bus and airport shuttles). 10) Aggregated use = High Miles deployed at one base location = High Utilization of EVSE which eliminates stranded assets. (250k to 2M to 5M to 10M miles annually) | "Short Range Vehicles" 1) Daily VMT when over PEV Range requires daytime charging. 2) Daytime loading cannot be avoided or scheduled without available DC speed 3) Plugging in more than one bus or truck on property with commercial DC EVSE creates demand load. 4) High VMT with Simultaneous PEV charging creates load issues 5) Installing multiple meters can be expensive 6) No Sub-metering is allowed 7) Amount of electricity available on property for upgrading may be limited or not available. 8) These same load issue for fleets will repeat for MUD, workplace and multiple Residential PEV's at same substation or circuit. | 1) School Bus 2) Airport Shuttles 3) Hotel Shuttles 4) Employee Shuttles / Van and Car-pooling 5) Drayage trucks 6) Delivery distribution trucks. Are eligible for White Decal sticker. 7) Long Haul with Mandated Off duty Hours (in future when HHD trucks are avail) 8) Parking Lots can support public PEV's (3 to 5 days average parking stay per customer vehicle) | 1) Bill reduction for a cost per mile benefit. 2) Managed Charging Loads via manual management (limitations apply based on fleet size or speed), management with software, storage and power/speed. 3) GHG Reduction (reliable PEV use and renewable storage use) 4) Over generation curtailing with load factor improvement 5) Demand leveling (loads at night and peak loads) 6) Improved System utilization in middle of day, all charging at peak time is managed. 7) 100% Renewable integration for peak time use 8) Deferred upgrades 9) EV incentive Rates (Over generation daytime rate, renewables peak time rate and LCFS rate option) 10) Demand Response Hub. 11) Customer incentive rates for EV driving and ride sharing | [13 empty] | Optional
|  | Requirements |  |  |  |  | Communication Paths | [10 empty] | Final - tags
Use Case | Actors | Functional Communication Requirements | Non-Functional Communications Requirements | Customer Requirements | Other Requirements | Alternatives | NSP to BMS | NSP to EVSE | NSP to EV | NSP to Customer | BMS to EVSE | BMS to EV | BMS to Customer | EVSE to EV | EVSE to Customer | EV to Customer | Cell Options | V1G | V2G | Agg | No-Agg | Frag | Uni | Oth
Load Improvement thru Curtailing with Over-generation in fleet operations deployed with Software Algorithms and Battery Storage to achieve value opportunity for all PEV customers and IOU | Host Site, PEV, EVSE, Site Controller/ EMS, Site Meter, Battery Energy Storage System (BESS) | 1) The Site Controller Shall be able to obtain the current Energy capacity for each PEV and EVSE 2) The Site Controller Shall be able to obtain the total site energy available. 3) The Site Controller Shall obtain the customer specifications for the PEV fleet: daily miles, number of chargers, volts available for charging, number of PEV's, hours in drive mode, hours available to charge, night time charging miles and low speed/braking benefits. 4) The Site Controller Shall be able to send a command signal to the PEV and EVSE to manage the energy load of the Fleet operations using load control algorithms based on customers specifications. 5) All communication equipment Shall be required to have a High Speed Connection that is guaranteed to respond to a signal in 5 second increments. 6) Mapping information Should be required to intelligently determine fleet behavior and traffic condition affects. (more braking, more generator) 7) Storage Shall be mandated for Fleets in order to support own use and other grid sharing benefits at peak time and night time. 8) Battery Efficiency monitoring and degradation % Shall be guaranteed to perform at standard efficiency level over X period of time (different chemistries react differently and last longer etc.). | 1) The communications between the Site Controller and the EV Should be cyber secure. 2) It Shall require Interoperability with multiple vendors and dedicated ports. 3) The On Board Diagnostic Shall be required to support Mal Function Alerts of EVSE or PEV and Should have service response in "minimum" time and repaired in "maximum" time. 4) System Shall be conforming to Life Cycle period automatic testing for both reliability and security, perhaps every quarter. 5) Communication between Site controller and EVSE Shall monitor performance of cell temperature, cell balancing and protection. Temperature Alerts Shall be required, as cycling on and off creates heat due to fluctuating voltage and frequency. 6) All equipment Shall be UL certified and meet conformance standards. 7) All data links Shall be open with standards for connecting universally. | 1) Should be able to opt in or out of event at the EV or Site Controller 2) Shall be able to enter miles needed over "X" amount of hours at the EV and Site Controller. Understanding how much charging is required in day time and maximum allotted from over night charging determines remaining required day time charging. 3) Driver Shall be able to understand how many times he is required to plug in during his shift in order to stay on the road and in order to avoid peak time use. 4) kWh use and kW use from Transportation Fleet use VS building use Shall be available and segregated. 5) Customer Should have an EV Rate choice with a benefit for "Managed" peak time use and Over generation sinking. 6) Could require a Wireless sense control from PEV to EVSE for more convenience. 7) Telematics Could communicate the needs of the fleet reporting and enhance the benefits of a PEV fleet for example how many kWh per mile do I need or did I achieve? 8) Site Controller information Should support File Transfer and Auto-Configurable and Configuration support. | 1) Site controller Should connect to Network Service Provider to communicate with all vehicles in fleet and all IOU's in region. 2) Driver Should be able to have more than one option for determining required voltage that he must be charging at in order to remain on the road and to react to available dwell time when at base or on road. 3) Sub-Metering Shall be required for deployment of fleet operations in order to manage fleet operational cost and for reporting consideration for a 'Motor Fuel Tax' and the LCFS credits. 4) GEO fencing for all HVIP vehicles Should be required in order to establish travel in inner city and / or disadvantaged communities, plus ELD (electronic logging data) is a regulatory requirement for commercial carriers effective 12-2017 5) PEV customer Should be required to be on LCFS program to produce credits or to get a LCFS rate incentive. 6) PEV Could communicate Max kW and Peak kW for fleet management goals. 7) Should provide alerts on SOC changes when weather affects capacity (wind & cold climates) 8) EVSE and PEV Should support Bi-directional discharging. | 1) For non-communication PEV, Site Controller Could manage the PEV load by using the EVSE Control 2) For non-communication the PEV, site controller Could manage the PEV load by EVSE speed when at less than 15 minutes of use or with multi meters 3) Could provide Service item alerts and system upgrades in order to remain reliable. 4) Driver education Could improve use of technology: How many times did you plug in? What was your ending capacity 5) Should provide ability to interpret codes and repair or reprogram simple issues via the EVSE dash board or Site Controller. | Primary | Secondary | Secondary | Optional | Primary | Primary | Secondary | Primary | Secondary | Primary | Optional | X | X | X |  |  | X
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None
[7 empty] | None | None | None | None | None | None | None | None | None | None

## Definitions
Requirements
Shall - required to achieve principal objective of use case
Should- not required for principal objective of use case, but meets the use case in a more desirable way
Could - adds benefits in addition to achieving the principal objective of the use case
Communication Paths
Primary - most direct and desired way to achieve the principal objective of each use case
Secondary - feasible, but less direct and desirable, way to achieve the principle objective of the use case
Optional - gives added benefits in addition to achieving the principal objective of the use case
Alternative - way to achieve the principal objective of the use case without a communication protocol
None - not needed for the use case
NSP: Network Service Plateform