## Sheet1
Value Matrix: Grid and Customer Needs that can be Fulfilled by DERs including VGI
Grid or Site Needs | System Level | Description | Value Category (way in which a resource can have value) | Risk to Resources Trying to Provide this Value | Key Requirements/Challenges to Provide this Resource (metering, battery rules, system upgrades, communications)
Spin/Non-Spin Reserve | Wholesale Market | Provide aggregated supply capability that can respond within 10 mins to dispatch when normal supply resources are unexpectedly unavailable. | Low cost resource | Other sources could bid in at lower prices | Wholesale market metering requirements (4 sec - 5 min telemetry with +/- 2%). Currently only have green button data from house/site meter available (1 hour for res and 15 min for non res meter data, available day after). Resource communication to CASIO with data latency <4 second. Distribution system constraints - efforts underway in DERP proceeding to determine limits and processes for DER participation in wholesale markets
Frequency Regulation | Wholesale Market | Provide frequency stability (i.e. regulate up or down) via aggregation during demand/supply imbalance by quickly ramping to accurately follow an automatic generation control signal | Low cost resource | Other sources could bid in at lower prices | Wholesale market metering requirements (4 sec - 5 min telemetry with +/- 2%). Currently only have green button data from house/site meter available (1 hour for res and 15 min for non res meter data, available day after). Resource communication to CASIO with data latency <4 second. Distribution system constraints - efforts underway in DERP proceeding to determine limits and processes for DER participation in wholesale markets
Energy Markets (Day Ahead/Real Time) | Wholesale Market | Dampen variability of randomly fluctuating load by accommodating expected ramp up and down rates (MW/minute) for a given duration | Low cost resource | Other sources could bid in at lower prices | Wholesale market metering requirements (4 sec - 5 min telemetry with +/- 2%). Currently only have green button data from house/site meter available (1 hour for res and 15 min for non res meter data, available day after). Resource communication to CASIO with data latency <4 second. Distribution system constraints - efforts underway in DERP proceeding to determine limits and processes for DER participation in wholesale markets
Resource Adequacy | Wholesale Market | RA is a planning and procurement process to ensure that capacity exists and is under contract so responsible LSEs can serve all of their load and ensure that the ISO can meet its operational needs and maintain reliability. The essential elements of an RA program include: | Low cost resource | Other sources could provide resource at lower price | RA resources have specific bidding and scheduling requirements. Resources participating in ISO markets under an RA contract have an RA must-offer-obligation to the ISO. System and local RA have explicit 24 hour must-offer requirements. RA capacity that is contracted for as RA capacity for even one hour in a day is considered RA for an entire day. In addition to having a must-offer obligation, RA capacity is (1) ineligible to receive payments under the ISO’s backstop capacity procurement mechanism (“CPM”), and (2) ineligible to receive residual unit commitment (“RUC”) payments and must bid in to RUC at $0.
Distribution Voltage Maintenance & Support | Distribution Grid | Discharge real power to regulate system voltage within standard tolerance band | Avoided cost of grid upgrade | Existing (or upgrades to) capacitors and load tap changers could be more reliable or have lower cost/complexity
Distribution Capacity Deferral | Distribution Grid | Delay or avoid distribution infrastructure investments by using aggregated DERs to manage system peak and/or provide energy at times when there is a distribution capacity constraint | Avoided cost of grid upgrade | Upgrades to feeders and substations could be more reliable or have lower cost/complexity
Distribution Reliability Back Tie | Distribution Grid | A specific type of distribution capacity deferral where the distribution capacity constraint will arise if/when a circuit is switched to feed load of another feeder | Avoided cost of grid upgrade | Upgrades to feeders and substations could be more reliable or have lower cost/complexity
Distribution Resiliency/Microgrid | Distribution Grid | A specific type of distribution capacity deferral where resource can create a microgrid to alleviate a specific distribution capacity constraint | Avoided cost of grid upgrade | Upgrades to feeders could be more reliable or have lower cost/complexity
Demand Charge Mitigation | Site/Customer | Reduce EV charging or export from EV to reduce a customer's peak demand at their utility meter, thereby reducing overall energy cost. | Customer bill savings | EV specific rates that do not have demand charges | Communication with existing meter or other device measuring total site load in at least 15 minute increments
Energy Cost Management | Site/Customer | Modify timing of EV charging to take advantage of lowest cost electricity rate. Could export from EV to mitigate energy cost due for other on-site load at peak times. | Customer bill savings | Storage or other load is used to flatten load.
On-Site Power Quality | Site/Customer | EV ramps up/down charging or discharges in response to dampen power quality issues such as voltage or harmonics fluctuations. (likely requires energy management system) | Value determined by customer | Compete with existing or upgrades to capacitors or other filtering equipment | Reverse power flow systems additional safety and protection equipment and may require interconnection agreement with DSO/utility
On Site Power Reliability (Back Up Power) | Site/Customer | EV provides power to a site during a grid outage event. (likely requires energy management system) | Value determined by customer | Compete with backup generators & UPS | Reverse power flow systems additional safety and protection equipment and may require interconnection agreement with DSO/utility
Create GHG Credits | Site/Customer | Provide GHG benefits by shifting electricity use from a time when a fossil fueled resource is on the margin to a time when a renewable resource is on the margin. Potentially monetizable if such shifting can create credits that can be sold or can help the customer meet GHG obligations (may only apply to large customers in certain industries). | Additional revenue stream to customer | Regulations allow for credit creation in this way | Metering/sub-metering to meet requirements of regulations to generate credits