VGI Use Case Sub Group

20 June 2017 Meeting Minutes

Attendees: https://drive.google.com/open?id=0B4_ZRQzLAsLNWUdWYU5UYXFFejA

Chair: Mike Bourton

Notes: Mike Bourton

Agenda

7:30am – Roll Call

7:40am – 9:00am George Bellino Utility - OEM use cases

- Over generation support

- Peak Demand Management

- Demand Fee Mitigation

- Measurement and Monitoring

- Voltage Support

- Spin/Non-Spin Reserve

- Over generation support (Distribution asset replacement deferral)

- Frequency Regulation

Following are the highlights of the discussions during the meeting:

Mike Bourton chaired the meeting.

Discussions/Presentations:

George Bellino presented an overview of the  Utility - OEM use cases

Use Case 1 and 2 were considered Primary and detailed use cases are on the Google Drive

Use Case 3) is also Primary but had been covered in an earlier Meeting

Questions:

Chair request: The detailed use cases 1) and 2) on the main Google Drive are moved to the Meeting Folder and referenced in the spreadsheet

Group discussion was held on:

The need to do a detailed use case for the secondary use case 4) Action: George

Use Case 5) was well covered by the V2G DER use cases and specifically the Rule 21 Use case

A discussion on use 6) revealed that it was not a use case that may not be supported by EV’s in the short term

Use Case 7 - Should be combined with use case 1 - Action George

Use Case 8 - Requires a detailed use case - Action George

The Group then tagged the use cases

All use cases were Fragmented/Unified and Aggregated and Non Aggregated

- Over generation support - V2G

- Peak Demand Management - V1G/V2G

- Demand Fee Mitigation - Already approved and Ranked

- Measurement and Monitoring - V1G/V2G

- Voltage Support - V2G

- Spin/Non-Spin Reserve - Not Tagged

- Over generation support (Distribution asset replacement deferral) - To be combined with 1

- Frequency Regulation - V1G, V2G

As there was Time left in the session, Chair invited Stephanie Palmer to explain the next steps in extracting the requirements - Shortly afterwards the Email was sent by the CPUC, so not covered in the notes.

Meeting ended at 8:40am