VGI Use Case Sub Group

29 June 2017 Meeting Minutes

Attendees:

Dave McCreadie, Ford

Dean Taylor, SCE

Elise Kedding, CARB

Fahad Saadat, Daimler

Gadi Lenz, IoTecha

George Bellino, EPRI

Hank McGlynn, AEYCH

Jeremy Whaling, Honda

John Mengwasser, Shell

Jordan Smith, SCE

Lance Atkins, Nissan

Mike Bourton, Kitu Systems

Noel Crisostomo, CEC

Rich Scholer, FCA

Preetika Krishnamoorthy, Daimler

Scott Turik, Ford

Stephan Voit, Oxygen Initiative

Mike Bourton chaired the meeting. The agenda for use case reviews were:

E – General Registration and Enrollment Procedure      	Rich Scholer

L1 – Customer Connect PEV at Home 			Rich Scholer

L2 – Customer Connects PEV at another Home 		Rich Scholer

L3 – Customer Connects PEV outside the Home 		Rich Scholer

L4 – Customer connects PEV at Public Location 		Rich Scholer

PR1 – Customer Charges the PEV 			Rich Scholer

PR2 – Customer Discharges the PEV 			Rich Scholer

S1 Cordset						Rich Scholer

S2 Premise EVSE 					Rich Scholer

S3 Premise EVSE includes the Charger 			Rich Scholer

U1 - TOU Program 					Rich Scholer

U2 – Discrete Event Program 				Rich Scholer

U3 – Real Time Pricing (RTP) 				Rich Scholer

U4 – Critical Peak Pricing (CPP) 				Rich Scholer

U5 – Optimized Energy Transfer Program 		Rich Scholer

Demand Charge Mitigation Use Case 			Rich Scholer

Summary DC Flow Management				Hank McGlynn

The basis for the use cases presented by Rich Scholer and Hank McGlynn are the SAE J2836 series. Refer to the Use Case Shared Drive for access to actual copies of the individual use case documents under url https://drive.google.com/drive/u/1/folders/0B4_ZRQzLAsLNRmowNWV5bDdGZTg

Roll call was conducted. Attendees are listed above.

Mike Bourton started the meeting by reiterating the action that authors of use cases are to complete the requirements spreadsheet (see template located in the Use Case Google Drive at url https://drive.google.com/drive/u/1/folders/0B4_ZRQzLAsLNeXRYcjRKa2FwUjg ) and submit to  Stephanie Palmer as soon as possible. Needs to be accomplished by July 13.

Mike also informed the working group members the next review meeting is July 6. No meeting July 4 as it is a holiday.

Rich Scholer provided an overview of each use case. The context of the use cases and their qualified relationship is represented in Figure 1 below.

Use Case E is the general customer enrollment process with the utility

Use Case U series represent the different type of VGI programs for enrollment

Use Case S series relate to how customer connects to the grid for charging

Use Case L series addresses the various locations for charging

Charging Use Case PR1 relates to what the process is for charging

Discharging Use Case PR2 relates to what the process is for discharging

Figure 1: SAE Use Case Summary

Use Cases U1 through U4 address established utility programs, while U5 is for Optimized Energy Transfer Programs addressing the utilization and application of managed EV charging for Regulation and Ancillary services, and also to managed charging for mitigating demand charges and local load balancing. U5 also incorporates summary of time charge and load implications based on the vehicle type (HEV, PHEV, BEV) battery capacity, and charge rate.

The premise for the overall use case categorization and segmentation is that any combination of these use cases may be applied depending on the objectives for the charging session by addressing enrollment, program type, location, charge type/level, and whether it is applied for charging or discharging. Further the structure allows for adding new use cases as more utility programs and EV technology evolve.

Noel Crisostomo question was how does a Building EMS manage multiple EVs? Rich Scholer explained the same basic use case model applies in all environments. The PEVs talk to the ESI (Energy Services Interface) or EMS. The EMS sets the load balancing thresholds based on the facility demand charge and load limits, and controls the aggregated EV response to any utility DR or other load management event signals. The PEV provides the time charge is needed (TCIN), power level, and duration to meet the TCIN, and sends the information to the EMS. It is assumed the facility EMS has primacy of control to meet its objectives for controlling and mitigating its cost for electricity.

It was determined the Use Cases will be tagged V1G, Aggregated, Non-Aggregated, Unified

Hank McGlynn responded to a previous meeting action item to address use case for DC Power Transfer Flow Management. The premise is the point to point information required between the DC Charger and the PEV. Qualified that the information is only for flow management, is not VGI but makes VGI work. There are 2 modes: DC Charge Mode incorporating the use of CHAdeMO and SAE Combo standards and is PEV controlled; DC DER Mode which is controlled through the external inverter in the DC EVSE. In either case it is point to point between the DC Charger and the PEV. And because it is point to point is never aggregated. Tag for this Fragmented and Non-Aggregated.

Next meeting is scheduled July 6 and the presenters are to be Lisa McGhee from San Diego Airport Parking, and Dean Taylor from SCE.