## Readme
2018-11-05
This workbook summarizes the Hybrid Conforming Aggregated LSE New Build Portfolio created from individual LSE IRP filings.
The worksheet "AdjLsePort2030" itemizes 2030 data by candidate resource type. Three 2030 portfolios are compared.
Columns D:F show the resource mix and FCDS/EO breakout for the RESOLVE Reference System Plan with the 2017 IEPR.
Columns G:I show the resource mix and FCDS/EO breakout for the as-is aggregation of LSE new build data.
Columns J:L show the resource mix and FCDS/EO breakout for the aggregation of LSE new build data adjusted to fit within the RESOLVE model's assumed physical constraints.
The rows at the bottom of this worksheet are summary tables and can be used to create summary bar charts.
The worksheet "AdjLsePortByYear" creates an adjusted portfolio for each year of the planning horizon.
Rows 1:10 show the total nameplate MW of LSE new build by technology type, e.g. solar, wind, geothermal.
Rows 17:64 show the nameplate MW by candidate resource type and year. The adjusted aggregation of LSE new build in 2030 is used to proportionally adjust the candidate resource mix in earlier years.
The relative mix of 2030 adjusted new build is applied to the total MW of a given technology type in a given year to allocate the total to different geographic regions.
For example, the solar technology type was adjusted in 2030 to have a proportional amount in Northern California and a proportional amount in Tehachapi.
The 2030 adjusted LSE new solar proportional mix in different geographic areas is applied to the total solar MW for all years before 2030.

## AdjLsePort2030
| 2030 | Nameplate MW
Technology Type | Candidate Resource Type | In-state? | RESOLVE Total | RESOLVE selected FCDS | RESOLVE selected EO | LSE Total | LSE FCDS | LSE EO | Adjusted LSE Total | Adjusted LSE FCDS | Adjusted LSE EO | Battery efficiency | % Fixed | % Tracking
Battery_1_hr | Battery_1_hr | In-state | 2104.2 | 2104.2 | 0 | 177.09 | 177.09 | 0 | 177.09 | 177.09 | 0 | 0.85 |  |  | The IOU portion of this storage new build (166 MW) is assumed to overlap with CPUC storage "mandate" IOU procurement projected through 2024. The overlap should not be double counted.
Battery_4_hr | Battery_4_hr | In-state |  |  |  | 1227 | 1057.9 | 169.1 | 1227 | 1057.9 | 169.1 | 0.85 |  |  | The IOU portion of this storage new build (162 MW) is assumed to overlap with CPUC storage "mandate" IOU procurement projected through 2024. The overlap should not be double counted.
Solar | Northern_California_Solar | In-state | 0 | 0 | 0 | 880.8471 | 874.8615 | 5.9856 | 880.9856 | 0 | 880.9856 |  | 15.86% | 84.14%
Solar | Solano_Solar | In-state | 0 | 0 | 0 | 185 | 185 | 0 | 265 | 0 | 265 |  | 15.86% | 84.14%
Solar | Central_Valley_North_Los_Banos_Solar | In-state | 0 | 0 | 0 | 1404.4064 | 1385 | 19.4064 | 524.4064 | 505 | 19.4064 |  | 15.86% | 84.14%
Solar | Westlands_Solar | In-state | 0 | 0 | 0 | 734 | 734 | 0 | 734 | 734 | 0 |  | 15.86% | 84.14%
Solar | Greater_Carrizo_Solar | In-state | 0 | 0 | 0 | 300 | 300 | 0 | 0 | 0 | 0 |  | 15.86% | 84.14%
Solar | Tehachapi_Solar | In-state | 1013.2206 | 1013.2206 | 0 | 370.0481 | 307.0018 | 63.0463 | 970.0481 | 907.0018 | 63.0463 |  | 15.86% | 84.14%
Solar | Kramer_Inyokern_Solar | In-state | 978.2831 | 978.2831 | 0 | 6.7299 | 6.7299 | 0 | 823.7299 | 823.7299 | 0 |  | 15.86% | 84.14%
Solar | Mountain_Pass_El_Dorado_Solar | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 15.86% | 84.14%
Solar | Southern_California_Desert_Solar | In-state | 0 | 0 | 0 | 2551.2466 | 2517 | 34.2466 | 0 | 0 | 0 |  | 15.86% | 84.14%
Solar | Riverside_East_Palm_Springs_Solar | In-state | 918.4736 | 918.4736 | 0 | 6.4215 | 6.4215 | 0 | 740.4215 | 706.4215 | 34 |  | 15.86% | 84.14%
Solar | Greater_Imperial_Solar | In-state | 0 | 0 | 0 | 26.7875 | 10 | 16.7875 | 26.7875 | 10 | 16.7875 |  | 15.86% | 84.14%
Solar | Distributed_Solar | In-state | 0 | 0 | 0 | 5 | 5 | 0 | 5 | 5 | 0 |  | 15.86% | 84.14%
Solar | Baja_California_Solar | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 15.86% | 84.14%
Solar | Utah_Solar | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 15.86% | 84.14%
Solar | Southern_Nevada_Solar | In-state | 3005.9296 | 801.5812 | 2204.3484 | 20.6926 | 20.6926 | 0 | 1520.6926 | 520.6926 | 1000 |  | 15.86% | 84.14%
Solar | Arizona_Solar | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 15.86% | 84.14%
Solar | New_Mexico_Solar | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 15.86% | 84.14%
Wind | Northern_California_Wind | In-state | 0 | 0 | 0 | 438.4774 | 438.4774 | 0 | 438.4774 | 438.4774 | 0
Wind | Solano_Wind | In-state | 642.9965 | 0 | 642.9965 | 811.6138 | 781.6138 | 30 | 270 | 0 | 270
Wind | Central_Valley_North_Los_Banos_Wind | In-state | 145.9997 | 145.9997 | 0 | 1.0818 | 1.0818 | 0 | 141.0818 | 141.0818 | 0
Wind | Greater_Carrizo_Wind | In-state | 160.1491 | 0 | 160.1491 | 120.141 | 120.141 | 0 | 120.4 | 0 | 120.4
Wind | Tehachapi_Wind | In-state | 153.3714 | 153.3714 | 0 | 277.1116 | 277.1116 | 0 | 157.1116 | 157.1116 | 0
Wind | Kramer_Inyokern_Wind | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | Southern_California_Desert_Wind | In-state | 0 | 0 | 0 | 120 | 120 | 0 | 0 | 0 | 0
Wind | Riverside_East_Palm_Springs_Wind | In-state | 42.002 | 42.002 | 0 | 100.3037 | 100.3037 | 0 | 40.3037 | 40.3037 | 0
Wind | Greater_Imperial_Wind | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | Distributed_Wind | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | Baja_California_Wind | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | Pacific_Northwest_Wind | OOS | 0 | 0 | 0 | 12.5571 | 0 | 12.5571 | 12.5571 | 0 | 12.5571
Wind | NW_Ext_Tx_WIND | OOS | 601.3153 | 320.5715 | 280.7438 | 4.4942 | 4.4942 | 0 | 366.4942 | 204.4942 | 162
Wind | Idaho_Wind | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | Utah_Wind | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | Wyoming_Wind | OOS | 0 | 0 | 0 | 150 | 150 | 0 | 150 | 150 | 0
Wind | Southern_Nevada_Wind | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind | Arizona_Wind | OOS | 0 | 0 | 0 | 75 | 75 | 0 | 75 | 75 | 0
Wind | New_Mexico_Wind | OOS | 0 | 0 | 0 | 675 | 475 | 200 | 675 | 475 | 200
Wind | SW_Ext_Tx_Wind | OOS | 499.9999 | 499.9999 | 0 | 154.0535 | 154.0535 | 0 | 494.0535 | 494.0535 | 0
Biomass/Wood | InState_Biomass | In-state | 0 | 0 | 0 | 102 | 5 | 97 | 102 | 5 | 97
Geothermal | Greater_Imperial_Geothermal | In-state | 1275.8844 | 707.9367 | 567.9477 | 12.8267 | 12.8267 | 0 | 262.8267 | 262.8267 | 0
Geothermal | Northern_California_Geothermal | In-state | 424 | 424 | 0 | 250 | 250 | 0 | 0 | 0 | 0
Geothermal | Pacific_Northwest_Geothermal | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Geothermal | Southern_Nevada_Geothermal | In-state | 0 | 0 | 0 | 47 | 47 | 0 | 47 | 47 | 0
Solar | Other_New_Solar | In-state | 0 | 0 | 0 | 316.37 | 200 | 116.37 | 316.37 | 200 | 116.37 |  | 15.86% | 84.14%
Wind | Other_New_Wind | In-state | 0 | 0 | 0 | 161.7 | 140 | 21.7 | 161.7 | 140 | 21.7
Biogas_LandfillGas | Other_New_Biogas | In-state | 0 | 0 | 0 | 60.547 | 2 | 58.547 | 60.547 | 2 | 58.547
| Check Totals |  | 11965.8253 | 8109.6398 | 3856.1855 | 11785.5476 | 10940.8011 | 844.7465 | 11786.0846 | 8279.1847 | 3506.8999
| Check with Sum |  | 11965.8253 | 8109.6398 | 3856.1855 | 11785.5476 | 10940.8011 | 844.7465 | 11786.0846 | 8279.1847 | 3506.8999
Battery_1_hr | Battery_1_hr |  | 2104.2 | 2104.2 | 0 | 177.09 | 177.09 | 0 | 177.09 | 177.09 | 0
Battery_4_hr | Battery_4_hr |  | 0 | 0 | 0 | 1227 | 1057.9 | 169.1 | 1227 | 1057.9 | 169.1
Solar | *_Solar |  | 5915.907 | 3711.5586 | 2204.3484 | 6807.5496 | 6551.7072 | 255.8424 | 6807.4416 | 4411.8457 | 2395.5958
In-State Wind | *_Wind | In-state | 1144.5188 | 341.3731 | 803.1456 | 2030.4294 | 1978.7294 | 51.7 | 1329.0745 | 916.9745 | 412.1
OOS Wind | *_Wind | OOS | 1101.3152 | 820.5714 | 280.7438 | 1071.1049 | 858.5478 | 212.5571 | 1773.1049 | 1398.5478 | 374.5571
Total Wind | *_Wind |  | 2245.834 | 1161.9446 | 1083.8894 | 3101.5342 | 2837.2772 | 264.2571 | 3102.1794 | 2315.5223 | 786.6571
Geothermal | *_Geothermal |  | 1699.8844 | 1131.9367 | 567.9477 | 309.8267 | 309.8267 | 0 | 309.8267 | 309.8267 | 0
Biomass/biogas | Biomass/biogas |  | 0 | 0 | 0 | 162.547 | 7 | 155.547 | 162.547 | 7 | 155.547
| *_Biomass |  | 0 | 0 | 0 | 102 | 5 | 97 | 102 | 5 | 97
| *_Biogas |  | 0 | 0 | 0 | 60.547 | 2 | 58.547 | 60.547 | 2 | 58.547
| Check with Sum |  | 11965.8253 | 8109.6398 | 3856.1855 | 11785.5476 | 10940.8011 | 844.7465 | 11786.0846 | 8279.1847 | 3506.8999
|  |  | Resolve battery | Filed LSE battery | Adjusted LSE battery | Resolve solar | Filed LSE solar | Adjusted LSE solar | Resolve wind | Filed LSE wind | Adjusted LSE wind | Resolve geothermal | Filed LSE geothermal | Adjusted LSE geothermal | Resolve biomass/biogas | Filed LSE biomass/biogas | Adjusted LSE biomass/biogas
|  | 1 hour | 2104.2 | 177.09 | 177.09
|  | 4 hour | 0 | 1227 | 1227
|  | In-state FCDS |  |  |  | 3711.5586 | 6551.7072 | 4411.8457 | 341.3731 | 1978.7294 | 916.9745 | 1131.9367 | 309.8267 | 309.8267 | 0 | 7 | 7
|  | In-state EO |  |  |  | 2204.3484 | 255.8424 | 2395.5958 | 803.1456 | 51.7 | 412.1 | 567.9477 | 0 | 0 | 0 | 155.547 | 155.547
|  | OOS FCDS | [6 empty] | 820.5714 | 858.5478 | 1398.5478
|  | OOS EO | [6 empty] | 280.7438 | 212.5571 | 374.5571

## AdjLsePortByYear
|  |  | Nameplate MW | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
|  |  | Battery_1_hr | 60 | 104.88 | 126.88 | 148.75 | 177.25 | 177.24 | 177.25 | 177.09 | 177.08 | 177.09 | 177.09
|  |  | Battery_4_hr | 27 | 238 | 414.45 | 529.45 | 571.55 | 582.55 | 1106.55 | 1106.55 | 1113.55 | 1113.55 | 1227
|  |  | Biogas_LandfillGas | 14.2 | 26 | 41 | 58.5 | 60.547 | 60.547 | 60.547 | 60.547 | 60.547 | 60.547 | 60.547
|  |  | Biomass/Wood | 13.9 | 23 | 35 | 49 | 60 | 74 | 86 | 98 | 102 | 102 | 102
|  |  | Geothermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 50 | 297 | 309.8267
|  |  | SolarPV_Fixed | 37.9968 | 673.9968 | 825.1383 | 829.7046 | 837.6954 | 892.4915 | 957.5219 | 975.977 | 997.6665 | 1022.7807 | 1079.8583
|  |  | SolarPV_Tracking | 2787.5987 | 3760.5882 | 4192.37 | 4591.1161 | 4600.9234 | 4634.5183 | 5661.1957 | 5677.6258 | 5693.7481 | 5727.569 | 5727.6913
|  |  | Wind | 456.843 | 1558.2552 | 1772.7067 | 1866.7585 | 1908.1674 | 1997.3178 | 2659.0089 | 2690.4365 | 2744.0854 | 2772.277 | 3101.5342
|  |  | Totals | 3397.5384 | 6384.7202 | 7407.5451 | 8073.2791 | 8216.1332 | 8418.6645 | 10708.0735 | 10836.2263 | 10938.677 | 11272.8137 | 11785.5476
|  |  | Solar to prorate | 2825.5955 | 4350.585 | 4776.0084 | 5170.3206 | 5179.1188 | 5258.5098 | 6297.3476 | 6332.2328 | 6370.0446 | 6428.9797 | 6486.1796
|  |  | Wind to prorate | 456.843 | 1157.1136 | 1171.5652 | 1261.4313 | 1299.8401 | 1379.1853 | 1819.8765 | 1841.1794 | 1894.8283 | 1923.0199 | 2027.2772
|  |  | Geothermal to prorate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 50 | 250 | 262.8267
Nameplate MW
SERVM Region | Technology Type | Candidate Resource Type | In-state? | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2030 adjusted ratio by class | Battery efficiency | % Fixed | % Tracking
Multiple | Battery_1_hr | Battery_1_hr | In-state | 60 | 104.88 | 126.88 | 148.75 | 177.25 | 177.24 | 177.25 | 177.09 | 177.08 | 177.09 | 177.09 |  | 0.85
Multiple | Battery_4_hr | Battery_4_hr | In-state | 27 | 238 | 414.45 | 529.45 | 571.55 | 582.55 | 1106.55 | 1106.55 | 1113.55 | 1113.55 | 1227 |  | 0.85
PGE_Valley | Solar | Northern_California_Solar | In-state | 383.793 | 590.9282 | 648.7123 | 702.2707 | 703.4657 | 714.2492 | 855.3517 | 860.0901 | 865.226 | 873.231 | 880.9856 | 0.13583 |  | 15.86% | 84.14%
PGE_Bay | Solar | Solano_Solar | In-state | 115.4447 | 177.7509 | 195.1323 | 211.2427 | 211.6021 | 214.8458 | 257.2893 | 258.7146 | 260.2595 | 262.6674 | 265 | 0.040857 |  | 15.86% | 84.14%
PGE_Valley | Solar | Central_Valley_North_Los_Banos_Solar | In-state | 228.4527 | 351.7498 | 386.1458 | 418.0264 | 418.7378 | 425.1566 | 509.1478 | 511.9684 | 515.0255 | 519.7905 | 524.4064 | 0.080851 |  | 15.86% | 84.14%
PGE_Valley | Solar | Westlands_Solar | In-state | 319.7601 | 492.3364 | 540.4797 | 585.1023 | 586.0979 | 595.0823 | 712.6429 | 716.5908 | 720.8697 | 727.5392 | 734 | 0.11317 |  | 15.86% | 84.14%
#N/A | Solar | Greater_Carrizo_Solar | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 15.86% | 84.14%
SCE | Solar | Tehachapi_Solar | In-state | 422.5922 | 650.6676 | 714.2933 | 773.2661 | 774.582 | 786.4556 | 941.8228 | 947.0402 | 952.6952 | 961.5095 | 970.0481 | 0.14956 |  | 15.86% | 84.14%
SCE | Solar | Kramer_Inyokern_Solar | In-state | 358.8501 | 552.5235 | 606.5522 | 656.6297 | 657.7471 | 667.8297 | 799.7619 | 804.1924 | 808.9945 | 816.4792 | 823.7299 | 0.127 |  | 15.86% | 84.14%
#N/A | Solar | Mountain_Pass_El_Dorado_Solar | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 15.86% | 84.14%
#N/A | Solar | Southern_California_Desert_Solar | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 15.86% | 84.14%
SCE | Solar | Riverside_East_Palm_Springs_Solar | In-state | 322.5576 | 496.6437 | 545.2082 | 590.2212 | 591.2255 | 600.2885 | 718.8776 | 722.86 | 727.1764 | 733.9042 | 740.4215 | 0.11416 |  | 15.86% | 84.14%
SDGE | Solar | Greater_Imperial_Solar | In-state | 11.6697 | 17.968 | 19.725 | 21.3535 | 21.3898 | 21.7177 | 26.0081 | 26.1522 | 26.3083 | 26.5517 | 26.7875 | 0.00413 |  | 15.86% | 84.14%
PGE_Bay | Solar | Distributed_Solar | In-state | 0 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 |  |  | 15.86% | 84.14%
#N/A | Solar | Baja_California_Solar | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 15.86% | 84.14%
#N/A | Solar | Utah_Solar | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 15.86% | 84.14%
SCE | Solar | Southern_Nevada_Solar | In-state | 662.4753 | 1020.0169 | 1119.7595 | 1212.208 | 1214.2708 | 1232.8844 | 1476.4453 | 1484.6243 | 1493.4895 | 1507.3071 | 1520.6926 | 0.23446 |  | 15.86% | 84.14%
#N/A | Solar | Arizona_Solar | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 15.86% | 84.14%
#N/A | Solar | New_Mexico_Solar | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 15.86% | 84.14%
PGE_Valley | Wind | Northern_California_Wind | In-state | 98.7786 | 250.1911 | 253.3159 | 272.7467 | 281.0515 | 298.2075 | 393.4937 | 398.0999 | 409.6998 | 415.7954 | 438.4774 | 0.21622
PGE_Bay | Wind | Solano_Wind | In-state | 60.8246 | 154.0595 | 155.9836 | 167.9485 | 173.0623 | 183.6264 | 242.3005 | 245.1368 | 252.2797 | 256.0332 | 270 | 0.13314
PGE_Valley | Wind | Central_Valley_North_Los_Banos_Wind | In-state | 31.7824 | 80.5 | 81.5054 | 87.7573 | 90.4294 | 95.9494 | 126.6081 | 128.0902 | 131.8225 | 133.7838 | 141.0818 | 0.06957
PGE_Valley | Wind | Greater_Carrizo_Wind | In-state | 27.1233 | 68.6991 | 69.5571 | 74.8926 | 77.173 | 81.8838 | 108.0481 | 109.3129 | 112.4981 | 114.1718 | 120.4 | 0.059371
SCE | Wind | Tehachapi_Wind | In-state | 35.3935 | 89.6464 | 90.766 | 97.7283 | 100.704 | 106.8512 | 140.9934 | 142.6438 | 146.8003 | 148.9844 | 157.1116 | 0.077474
#N/A | Wind | Kramer_Inyokern_Wind | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#N/A | Wind | Southern_California_Desert_Wind | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCE | Wind | Riverside_East_Palm_Springs_Wind | In-state | 9.0795 | 22.9969 | 23.2841 | 25.0702 | 25.8335 | 27.4105 | 36.1689 | 36.5923 | 37.6585 | 38.2188 | 40.3037 | 0.019874
#N/A | Wind | Greater_Imperial_Wind | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#N/A | Wind | Distributed_Wind | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#N/A | Wind | Baja_California_Wind | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BPAT | Wind | Pacific_Northwest_Wind | OOS | 0 | 1.1416 | 1.1416 | 5.3272 | 5.3272 | 9.1324 | 9.1324 | 12.5571 | 12.5571 | 12.5571 | 12.5571
BPAT | Wind | NW_Ext_Tx_WIND | OOS | 82.5625 | 209.1182 | 211.73 | 227.9709 | 234.9123 | 249.2519 | 328.8954 | 332.7453 | 342.441 | 347.5359 | 366.4942 | 0.18072
#N/A | Wind | Idaho_Wind | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#N/A | Wind | Utah_Wind | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WACM | Wind | Wyoming_Wind | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150
#N/A | Wind | Southern_Nevada_Wind | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AZPS | Wind | Arizona_Wind | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75
PNM_EPE | Wind | New_Mexico_Wind | OOS | 0 | 400 | 500 | 500 | 500 | 500 | 675 | 675 | 675 | 675 | 675
AZPS | Wind | SW_Ext_Tx_Wind | OOS | 111.2986 | 281.9024 | 285.4231 | 307.3168 | 316.6742 | 336.0047 | 443.3683 | 448.5582 | 461.6285 | 468.4966 | 494.0535 | 0.24363
PGE_Valley | Biomass/Wood | InState_Biomass | In-state | 13.9 | 23 | 35 | 49 | 60 | 74 | 86 | 98 | 102 | 102 | 102
SDGE | Geothermal | Greater_Imperial_Geothermal | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 50 | 250 | 262.8267 | 1
#N/A | Geothermal | Northern_California_Geothermal | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#N/A | Geothermal | Pacific_Northwest_Geothermal | OOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCE | Geothermal | Southern_Nevada_Geothermal | In-state | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47 | 47
PGE_Valley | Solar | Other_New_Solar | In-state | 0 | 79 | 236.5 | 245.5 | 254.5 | 263.5 | 316.37 | 316.37 | 316.37 | 316.37 | 316.37 |  |  | 15.86% | 84.14%
PGE_Bay | Wind | Other_New_Wind | In-state | 0 | 0 | 100 | 100 | 103 | 109 | 155 | 161.7 | 161.7 | 161.7 | 161.7
PGE_Valley | Biogas_LandfillGas | Other_New_Biogas | In-state | 14.2 | 26 | 41 | 58.5 | 60.547 | 60.547 | 60.547 | 60.547 | 60.547 | 60.547 | 60.547
| Totals |  |  | 3397.5384 | 6384.7202 | 7407.5451 | 8073.2791 | 8216.1332 | 8418.6645 | 10708.0735 | 10836.2263 | 10938.677 | 11272.8137 | 11786.0846