## SDG&E
SDG&E's Energy Storage Projects Locational Information by Busbar & Attributes (MW)
Domain | Project Name | Capacity MW | Bus ID Number | Interconnection Substation
Transmission | Lake Hodges Pumped Storage | 40 | 22603 | Lake Hodges LHM
Total Trasmission |  | 40
Domain | Project Name | Capacity / MW | Bus Number at Transmission Substation to which Distribution Circuit Connects | Interconection Substation
Distribution | Escondido BESS 1 | 10 | 22256 | Escondido
Distribution | Escondido BESS 2 | 10 | 22256 | Escondido
Distribution | Escondido BESS 3 | 10 | 22256 | Escondido
Distribution | El Cajon BESS 1 | 7.5 | 22208 | El Cajon
Distribution | Borrego Microgrid Yard- SES1 | 0.5 | 22084 | Borrego
Distribution | Pala Energy Storage Yard | 0.5 | 22624 | Pala
Distribution | Mission Valley- Skills Training Center | 0.025 | 22496 | Mission
Distribution | Clairemont | 0.025 | 22136 | Clairemont
Distribution | Poway | 0.025 | 22668 | Poway
Distribution | Borrego Springs CES | 0.025 | 22084 | Borrego
Distribution | Borrego Springs CES | 0.025 | 22084 | Borrego
Distribution | Borrego Springs CES | 0.025 | 22084 | Borrego
Distribution | Century Park CES | 0.05 | 22372 | Kearny
Distribution | Energy Inovation Center- Indoor | 0.0045 | 22136 | Clairemont
Distribution | Energy Inovation Center- Outdoor | 0.01 | 22136 | Clairemont
Distribution | San Diego Zoo | 0.1 | 22868 | Urban
Distribution | UCSD MESOM | 0.006 | 22864 | UCM
Distribution | Suites at Paseo (SDSU Private Dormitories) | 0.018 | 21008 | Stremview
Distribution | Del Lago Academy | 0.1 | 22602 | Olivenheim
Distribution | Ortega Highway 1243 SES1 | 1 | 22678 | Margarita
Distribution | Ortega Highway 1243 SES2 | 1 | 22364 | Margarita
Distribution | Pala Energy Storage Yard SES | 1 | 22624 | Pala
Distribution | Canyon Crest Academy | 1 | 22581 | North City West
Distribution | Borrego Microgrid Yard- SES2 | 1 | 22084 | Borrego
Distribution | Santa Ysabel Substation | 0.006 | 22736 | Santa Ysabel
Distribution | Santa Ysabel Substation | 0.03 | 22736 | Santa Ysabel
Distribution | Del Lago Park & Ride | 0.2 | 22288 | Felicita
Distribution | Integrated Test Facility | 0.2 | 22256 | Escondido
Distribution | Civita Microgrid | 0.125 | 22300 | Friars
Total Distribution |  | 44.4995
Domain | Project Name | Capacity / MW | Nearest Bus ID Number
Customer* | SGIP/Non-SGIP Installed | 26.26 | Varies | Varies
Customer | SGIP/Non-SGIP In Progress | 3.65 | Varies | Varies
Customer | Permanent Load Shift Program | 1.3 | 22864 | Varies
Total Customer |  | 31.21
* as of Nov 30, 2017

## PG&E
PACIFIC GAS AND ELECTRIC COMPANY
2016 Integrated Resource Plan Proceeding (R.16-02-007)
Energy Storage Resources
Counterparty (Project Name) | Point of Interconnection (POI) | Approximate Transmission Point of Delivery / Receipt | Approximate Nearest Resource ID (ResID) | Approximate Bus ID (BusID) | MW | Point of Connection
Convergent (Henrietta) | Henrietta Distribution Substation (12kV) | Henrietta 70kV Substation | HENRTA_6_LD1 | 34540_HENRITTA_70.0_LD 1 | 10 | Distribution
NextEra Energy (Golden Hills) | Tesla Substation 115kV | Tesla Substation 115kV | TESLA_1_QF | 33540_TESLA _115_GUM1 | 30 | Transmission
Browns Valley | Browns Valley Substation | Browns Valley 60 kV substation | BANGOR_6_HYDRO | 32318 | 0.5 | Distribution
Yerba Buena Pilot Battery Project | 21kV Swift 2102 Feeder (into Swift 21kV Substation) | Swift 115kV Substation | SWIFT_1_NAS (not yet operational) | 35622_SWIFT _115_GUNS | 4 | Distribution
Vaca Dixon Pilot Battery Project | Vaca Dixon 12 kV Substation | Vaca Dixon 115kV Substation | VACADX_1_NAS | 31998_VACA- DIX_115_GUNS | 2 | Distribution

## SCE
SCE's Energy Storage Projects Locational Information by Busbar & Attributes (MW) | [5 empty] | Information Requested: Online Date
LCR RFO | Project | Storage MW | Product Type | Locational Information | Bus ID
| Ice Bear | 28.64 | ES BTM PLS (customer-side) | N/A (Distributed) |  | 7/1/2016-10/1/2019
| AES | 100 | IFOM (distribution) | Point of Interconnection: 230kV bus at the Alamitos A-Bank Substation |  | 2021-01-01
Bus Name: ALMITOSW
Bus Number: 24007
| Stem | 85 | ES BTM (customer-sde) | N/A (Distributed) |  | 10/1/2016-1/1/2018
| Hybrid Electric | 50 | ES BTM (customer-sde) | N/A (Distributed) |  | 1/1/2017-1/1/2018
2016 ACES RFO/RFP | Project | Storage MW | Product Type | Locational Information
| Powin | 2 | IFOM (distribution) | Point of Interconnection: 12kV Virgo Distribution line (Santiago A Bank Substation) | 66 kV +H11:H35Bus Name: SANTIAGO 66 kV Bus Number: 24133 | 2016-12-31
*No bus number for 12 kV Bus. 66 kV bus where B-station that feeds circuit is located used
| AltaGas | 20 | IFOM (distribution) | Point of Interconnection: Ganesha-Simpson 66kV line Distribution line (Chino A Bank Substation) | 66 kV Bus Name: CHINO 66 kV Bus Number: 24024 | 2016-12-31 | *No bus number for 66 kV Transmission Line Tap. Chino 66 kV bus utilzied
| Project | Storage MW | Product Type | Locational Information
2016 ACES DBT | Tesla | 20 | IFOM (distribution) | Point of Interconnection: Mira Loma A Bank Substation | 66 kV Bus Name: MIRALOMW 66 kV Bus Number: 24210 | 2016-12-31
PRP 2 | Project | Storage MW | Product Type | Locational Information
| AMS CTEC 1-5 | 40 | ES BTM (customer-sde) | N/A (Distributed) |  | 1/1/2019-1/1/2020
| Convergent OCES 1-3 | 35 | IFOM (Transmission) | Point of Interconnectio: Chestnut 66kV bus out of Johanna 220/66kV substation | 66 kV Bus Name: JOHANNA 66 kV Bus Number: 24207 | 2019-12-01
| Nextera OCES 1 | 8.5 | ES BTM (customer-sde) | N/A (Distributed) |  | 2019-06-01
| Nextera OCES 2 | 1.5 | ES BTM (customer-sde) | N/A (Distributed) |  | 2018-06-01
| SEF1 | 5 | ES BTM (customer-sde) | N/A (Distributed) |  | 2019-06-01
| Valencia Energy Storage | 10 | IFOM (distribution) | Point of Interconnection: Aquarius 12 kV circuit Santiago 220/66kV substation | 66 kV Bus Name: SANTIAGO 66 kV Bus Number: 24133 | 2020-01-01 | *No bus number for 12 kV Bus. 66 kV bus where B-station that feeds circuit is located used
| HEJF1-2 | 15 | IFOM (distribution) | Point of Interconnection: 12 kV bus at the Johanna substation | 66 kV Bus Name: JOHANNA 66 kV Bus Number: 24207 | 2020-01-01 | *No bus number for 12 kV Bus. 66 kV bus where B-station that feeds circuit is located used
Bilateral | Project | Storage MW | Product Type | Locational Information
| SCE EGT - Grapeland | 10 | IFOM (Transmission) | Point of Interconnection: Integrated with SCE's Grapeland Peaker | 66 kV Bus Name: ETIWANDA 66 kV Bus Number: 24055 13.8 kV Bus Name: ETWPKGEN 13.8 kV Bus Number 29305 Project will share same 13.8 kV Bus where exsting peaker is located. | 2016-12-31
| SCE EGT - Center | 10 | IFOM (Transmission) | Point of Interconnection: Integrated with SCE's Center Peaker | 66 kV Bus Name: CENTER 66 kV Bus Number: 24203 13.8 kV Bus Name: CTRPKGEN 13.8 kV Bus Number 29308 Project will share same 13.8 kV Bus where exsting peaker is located. | 2016-12-31
| Project | Storage MW | Product Type | Locational Information
2016 ES RFO | Powin SBI | 10 | IFOM (distribution) | Point of Interconnection: 16kV Milpas distribution line across Quarantina Street (Project Address 635 East Gutierrez Street, Santa Barbara CA 93103 | 66 kV Bus Name: GOLETA 66 kV Bus Number: 24057 | 2022-01-01
2014 ES RFO | Project | Storage MW | Product Type | Locational Information
| Stanton Energy Reliability Center | 1.3 | RA Only (distribution) | Point of Interconnection: Barre Substation |  | 2020-06-01
Bus Name: BARRE
Bus Number: 24201
EXISTING SCE STORAGE APPROVED AS ELIGIBLE IN D.14-10-045 | Project | Grid Domain | MW Installed | A-Bank Substation | Bus Numbers at the 230kV used by TSP and CAISO
| Tehachapi Storage | Distribution | 8 | Windhub 220/66 | 29407
| Irvine Smart Grid-Community Energy Storage | Distribution | 0.03 | Santiago 220/66 | 24134
| Irvine Smart Grid-Containerized Energy Storage | Distribution | 2 | Santiago 220/66 | 24134
| Irvine Smart Grid-Residential ES Unit | Customer | 0.06 | Santiago 220/66 | 24134
| Large Storage Test | Distribution | 2 | Barre 220/66 | 24016
| Discovery Museum | Distribution | 0.1 | Villa Park 220/66 | 24154
| Catalina Island | Distribution | 1 | N/A | N/A
| V2G-LA AFB | Distribution | 0.5 | El Nido 220/66 | 24039
| Self-Generation Incentive Program | Customer | 30.98 | NA (Distributed) | NA (Distributed)
| Permanent Load Shifting | Customer | 1.14 | NA (Distributed) | NA (Distributed)
| Home Batter Pilot | Customer | 0 | NA (Distributed) | NA (Distributed)
| Distribution Energy Storage Integration 1 | Distribution | 2.4 | Villa Park 220/66 | 24154
Red text indicates new data since last time this annual data request response was provided to the CPUC.
Confidential Footnote has been removed.