## compare_totals
RESOLVE UI (from E3):
Behind-the-Meter PV (GWh) |  |  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Committed BTM PV
Active: CEC 2017 IEPR - Mid PV |  |  | 12249.8826 | 14092.7889 | 15762.0389 | 17455.5575 | 19125.6051 | 20744.1823 | 22314.2719 | 23815.8133 | 25240.3569 | 26591.2926 | 27884.8705 | 29176.5777 | 30505.6609
AAPV
Active: CEC 2017 IEPR - Mid-Mid AAPV |  |  | 0 | 0 | 159.7086 | 460.6011 | 764.8442 | 1067.8313 | 1368.685 | 1670.837 | 1972.587 | 2269.4534 | 2561.3803 | 2848.2379 | 3128.6863
Total BTM PV |  |  | 12249.8826 | 14092.7889 | 15921.7475 | 17916.1586 | 19890.4493 | 21812.0137 | 23682.9568 | 25486.6502 | 27212.9439 | 28860.7459 | 30446.2508 | 32024.8156 | 33634.3472 | RESOLVE's annual capacity factor implied by weighted 37 representative days generation shape
Equivalent MW - using shape's capacity factor |  |  | 7281.1723 | 8376.5721 | 9463.6815 | 10649.1337 | 11822.6267 | 12964.7798 | 14076.8443 | 15148.9364 | 16175.0231 | 17154.4554 | 18096.859 | 19035.1376 | 19991.8224 | 0.19206
All PV Assignment LSE LP-Trad Peak (includes avoided losses) (provided by Chris Kavalec of the CEC's Demand Analysis Office):
These are installed capacity values
mid committed btmpv MW | CAISO + losses |  | 7144.6728 | 8065.3838 | 8999.4694 | 9954.6179 | 10876.4968 | 11784.2647 | 12663.8167 | 13507.087 | 14312.2568 | 15083.8441 | 15833.6931 | 16606.8055 | 17403.1813
| CAISO w/o losses calculated |  | 6599.4779 | 7449.8057 | 8312.9209 | 9195.5958 | 10047.6538 | 10886.7819 | 11699.9335 | 12479.6262 | 13224.1498 | 13937.6584 | 14631.1033 | 15346.1092 | 16082.7038
mid mid AAPV MW | CAISO + losses |  |  |  | 159.2421 | 321.2956 | 485.7005 | 648.2917 | 811.8249 | 977.3223 | 1142.2207 | 1304.2898 | 1465.3962 | 1623.7304 | 1779.5181
| CAISO w/o losses calculated |  |  |  | 147.2681 | 297.1724 | 449.2674 | 599.6836 | 750.9696 | 904.0743 | 1056.6263 | 1206.5527 | 1355.5898 | 1502.0709 | 1646.2023
sum committed btmpv+AAPV MW | CAISO + losses |  | 7144.6728 | 8065.3838 | 9158.7115 | 10275.9135 | 11362.1973 | 12432.5564 | 13475.6415 | 14484.4093 | 15454.4775 | 16388.1339 | 17299.0892 | 18230.5359 | 19182.6994
| CAISO w/o losses calculated |  | 6599.4779 | 7449.8057 | 8460.189 | 9492.7682 | 10496.9212 | 11486.4655 | 12450.903 | 13383.7005 | 14280.7761 | 15144.2111 | 15986.6931 | 16848.1802 | 17728.9061
| capfac calculated |  | 0.21189 | 0.21595 | 0.21484 | 0.21545 | 0.21631 | 0.21677 | 0.21714 | 0.21739 | 0.21753 | 0.21755 | 0.21741 | 0.21698 | 0.21657
| capfac calculated |  | 0.21189 | 0.21595 | 0.21484 | 0.21545 | 0.21631 | 0.21677 | 0.21714 | 0.21739 | 0.21753 | 0.21755 | 0.21741 | 0.21698 | 0.21657
2017 IEPR CAISO Load Modifiers Mid AAEEAAPV Workbook (CEC website):
mid committed btmpv GWh | CAISO w/o losses |  | 12249.8826 | 14092.7889 | 15762.0389 | 17455.5575 | 19125.6051 | 20744.1823 | 22314.2719 | 23815.8133 | 25240.3569 | 26591.2926 | 27884.8705 | 29176.5777 | 30505.6609
| CAISO + losses |  | 13261.8676 | 15257.2773 | 17063.7958 | 18896.3728 | 20703.2992 | 22454.288 | 24152.603 | 25776.5944 | 27317.1793 | 28778.07 | 30176.8412 | 31573.459 | 33010.3415 | this row was copied from All PV Assignment LSE LP-Trad Peak (includes avoided losses) workbook
|  | loss factor calculated | 1.0826 | 1.0826 | 1.0826 | 1.0825 | 1.0825 | 1.0824 | 1.0824 | 1.0823 | 1.0823 | 1.0822 | 1.0822 | 1.0822 | 1.0821
mid mid AAPV GWh | CAISO w/o losses |  |  |  | 159.7086 | 460.6011 | 764.8442 | 1067.8313 | 1368.685 | 1670.837 | 1972.587 | 2269.4534 | 2561.3803 | 2848.2379 | 3128.6863
| CAISO + losses |  |  |  | 172.6942 | 497.9907 | 826.8689 | 1154.3857 | 1479.5973 | 1806.208 | 2132.3809 | 2453.291 | 2768.8589 | 3078.9295 | 3382.0595
|  | loss factor calculated |  |  | 1.0813 | 1.0812 | 1.0811 | 1.0811 | 1.081 | 1.081 | 1.081 | 1.081 | 1.081 | 1.081 | 1.081
sum committed btmpv+AAPV GWh | CAISO w/o losses |  | 12249.8826 | 14092.7889 | 15921.7475 | 17916.1586 | 19890.4493 | 21812.0137 | 23682.9568 | 25486.6502 | 27212.9439 | 28860.7459 | 30446.2508 | 32024.8156 | 33634.3472
| CAISO + losses |  | 13261.8676 | 15257.2773 | 17236.4901 | 19394.3635 | 21530.1681 | 23608.6737 | 25632.2003 | 27582.8024 | 29449.5602 | 31231.3611 | 32945.7001 | 34652.3884 | 36392.401
2017 IEPR hourly data summed for CAISO (see hourly worksheet this workbook) (from CEC website):
sum committed btmpv+AAPV GWh | CAISO + losses |  | 13262.0273 | 15257.4565 | 17236.6889 | 19394.5816 | 21530.4037 | 23608.925 | 25632.4662 | 27583.0822 | 29449.8534 | 31231.6673 | 32946.0195 | 34652.7214 | 36392.7482
sum committed btmpv+AAPV max out MW | CAISO + losses |  | 6125.1167 | 7001.6302 | 7916.4348 | 8894.1076 | 9855.2382 | 10792.2516 | 11702.7534 | 12578.9903 | 13423.6222 | 14238.7483 | 15021.9132 | 15799.6344 | 16592.0698 | 0.86495 | ratio of max output to installed capacity
2017 IEPR hourly data for each TAC (see hourly worksheet this workbook) (from CEC website):
committed btmpv max out MW | PGE + losses |  | 3242.5453 | 3746.042 | 4180.7188 | 4618.784 | 5048.0187 | 5459.7282 | 5855.5711 | 6231.0406 | 6584.7431 | 6918.1295 | 7235.0517 | 7547.9847 | 7867.0023
AAPV max out MW | PGE + losses |  | 0 | 0 | 51.3867 | 119.5374 | 188.4845 | 258.5982 | 328.3546 | 399.566 | 470.6234 | 540.8164 | 610.3154 | 678.581 | 745.1072
committed btmpv max out MW | SCE + losses |  | 2122.0518 | 2456.5547 | 2772.4536 | 3104.2969 | 3444.1731 | 3783.4223 | 4119.4115 | 4445.0565 | 4755.758 | 5050.0828 | 5330.518 | 5609.6203 | 5897.515
AAPV max out MW | SCE + losses |  | 0 | 0 | 48.1065 | 107.6312 | 173.8813 | 239.5078 | 304.6602 | 370.2577 | 436.3738 | 502.5555 | 567.6283 | 631.9087 | 695.1046
committed btmpv max out MW | SDGE + losses |  | 783.3091 | 876.9246 | 964.5658 | 1045.0028 | 1115.4448 | 1178.3128 | 1236.2262 | 1290.4543 | 1342.501 | 1393.7401 | 1445.7454 | 1500.3782 | 1558.3041
AAPV max out MW | SDGE + losses |  | 0 | 0 | 8.7738 | 19.6562 | 31.7446 | 43.8917 | 56.1372 | 68.4189 | 80.5072 | 92.2688 | 103.8816 | 115.2716 | 126.2239
sum committed btmpv+AAPV max out MW | non-coincident CAISO + losses |  | 6147.9062 | 7079.5213 | 8026.0052 | 9014.9086 | 10001.747 | 10963.4609 | 11900.3607 | 12804.794 | 13670.5066 | 14497.5931 | 15293.1404 | 16083.7445 | 16889.2572
This workbook details 2017 IEPR data on BTMPV and AAPV. It shows the annual energy data populated in the RESOLVE UI from the source IEPR annual energy data, comparing row 8 and row 31. RESOLVE's solar shapes for rooftop solar imply an annual capacity factor of 0.192. The IEPR also projects installed capacity, row 18 and 19. The implied annual capacity factor based on the IEPR is 0.217 in 2030. The maximum output of rooftop solar calculated from the raw IEPR hourly shapes for the CAISO area is 16,592 MW in 2030, which is somewhat less than the IEPR's CAISO area installed capacity of 19,183 MW in 2030. The ratio of max output to installed capacity is 0.865. This effect is due to non-coincidence of the maximum solar generation between the 3 TAC areas and within each TAC area when aggregating up from more geographically granular solar shapes.