## Readme
2019-02-28
This workbook summarizes the new build portfolios being considered for study in the CAISO's 2019-20 TPP as Policy-Driven SENSITIVITY cases:
Case B and Case C as presented in the IRP proceeding January 11, 2019 ruling Attachment B, but reoptimized to reflect the updated transmission availability data from the CAISO.
This workbook version is current as of 2/28/2019, and is the best available working documentation made available by the CPUC prior to formal consideration and adoption by the Commission.
The resource information contained in this workbook is subject to change.
Five RESOLVE cases are compared in this workbook, two of which are being considered for Policy Sensitivity studies.
(1) Case A: 2017 IEPR updated version of the RESOLVE 42 MMT case. (Presented 9/24/18)
(2) Case B: 32 MMT case with higher EV load, at least 60% RPS, and 40 year-age-based retirement. Allows new OOS build on existing transmission only. (Presented 1/7/19)
(3) Case C: 32 MMT case with higher EV load, at least 60% RPS, and 40 year-age-based retirement. Allows access to up to 4250 MW of NM and WY wind. (Presented 1/7/19)
(4) Case B Updated: Case B rerun with updated transmission availability by zone and upgrade costs. (Being considered for Policy Sensitivity #1) (New 2/28/19)
(5) Case C Updated: Case C rerun with updated transmission availability by zone and upgrade costs. (Being considered for Policy Sensitivity #2) (New 2/28/19)
The worksheets "FC-EO-detail" and "storage" contains copies of RESOLVE model-selected resources for each case studied.
The worksheet "pivots" aggregates the RESOLVE data into a table that is analyzed using pivot tables.
The worksheet "charts" contains copies of pivot table outputs to build charts comparing the portfolios in various dimensions.
The worksheet "charts" also contains the portfolios being considered for Policy Sensitivities #1 and #2, in cells H99:K145, along with manual adjustments explained below.
Starting at row 99 is a table showing the FCDS/EO breakout for Case B Updated and Case C Updated.
Cells D99:G145 shows the as-is RESOLVE-selected new build portfolio for Case B Updated and Case C Updated.
Cells H99:K145 shows Case B Updated and Case C Updated, but manually-adjusted to change geothermal and OOS wind to be fully deliverable to the extent possible.
Red font indicates the cells with manual adjustments.
Generally solar was changed to EO and/or moved to an area with available capacity in order to maximize the amount of geothermal and OOS wind to be fully deliverable.
RESOLVE selected new resources in Westlands and Greater Carrizo that trigger new in-state transmission. RESOLVE factored in the upgrade costs and still chose to select
large amounts of new resources in Westlands and Greater Carrizo. Studies using these portfolios should assume that sufficient upgrades in these areas will be needed.
In one instance, RESOLVE triggered 33 MW of new in-state transmission in Westlands. Since transmission upgrades are lumpy, staff eliminated the small 33 MW
transmission upgrade in Westlands by moving/changing 40 MW of FC Westlands solar to EO Solano solar.
Cells Q99:X119 shows that the manually-adjusted Case B Updated and Case C Updated fit within the CAISO-provided updated transmission availability by zone.
Rows 155:172 shows selected output metrics from the RESOLVE runs for each case.
The worksheet "2019-20TxInputUpdate" contains the newly updated transmission availability and upgrade size and cost data provided by the CAISO (on 1/18/19).
Columns B:K are the data provided by the CAISO; Columns L:Y contain additional CPUC calculations to translate the data into RESOLVE-compatible inputs.
Energy Commission staff allocated the portfolios herein to transmission substations to facilitate power-flow analysis. The allocation will be posted to the following webpage within a few days of 2/28/19.
https://efiling.energy.ca.gov/Lists/DocketLog.aspx?docketnumber=17-MISC-03

## pivots
[7 empty] | Case A | Case B | Case C | Case B Updated | Case C Updated
Tech+In-OO-St | Tech+DS | Tech | In-OO-St | Tx Zone | RESOLVE Resource Name | Deliverability | 42mmt_Ref_20181101_2017_IEPR | 32mmt_SB100plus_20181210_ExistTX | 32mmt_SB100plus_20181212_ExistTXandWYNM_WYNMcap | 32mmt_TXU_20190124_ExistTX | 32mmt_TXU_20190124_ExistTXandWYNM_WYNMcap
Solar In-state | Solar FC | Solar | In-state | Northern_California | Northern_California_Solar | FC | 0 | 657.8871 | 0 | 750.3397 | 750.3397 | RESOLVE Resource Name | (Multiple Items)
Solar In-state | Solar FC | Solar | In-state | Solano | Solano_Solar | FC | 0 | 0 | 0 | 0 | 0
Solar In-state | Solar FC | Solar | In-state | Central_Valley_North_Los_Banos | Central_Valley_North_Los_Banos_Solar | FC | 0 | 0 | 0 | 0 | 0 | Row Labels | Sum of 42mmt_Ref_20181101_2017_IEPR | Sum of 32mmt_TXU_20190124_ExistTX | Sum of 32mmt_TXU_20190124_ExistTXandWYNM_WYNMcap | Sum of 32mmt_SB100plus_20181210_ExistTX | Sum of 32mmt_SB100plus_20181212_ExistTXandWYNM_WYNMcap
Solar In-state | Solar FC | Solar | In-state | Westlands | Westlands_Solar | FC | 0 | 0 | 435.1731 | 1995.9135 | 453.4734 | In-state | 10864.5101 | 22071.3759 | 13175.1662 | 21868.1556 | 13491.6207
Solar In-state | Solar FC | Solar | In-state | Greater_Carrizo | Greater_Carrizo_Solar | FC | 0 | 0 | 0 | 0 | 0 | OOS | 1101.3152 | 2000.0033 | 6250.0097 | 2000.0033 | 6249.9997
Solar In-state | Solar FC | Solar | In-state | Tehachapi | Tehachapi_Solar | FC | 1013.2206 | 1013.2206 | 1013.2206 | 1013.2206 | 1013.2206 | Grand Total | 11965.8253 | 24071.3792 | 19425.1759 | 23868.1589 | 19741.6203
Solar In-state | Solar FC | Solar | In-state | Kramer_Inyokern | Kramer_Inyokern_Solar | FC | 978.2831 | 978.2831 | 978.2831 | 577.2077 | 577.2077
Solar In-state | Solar FC | Solar | In-state | Mountain_Pass_El_Dorado | Mountain_Pass_El_Dorado_Solar | FC | 0 | 0 | 0 | 0 | 0
Solar In-state | Solar FC | Solar | In-state | Southern_California_Desert | Southern_California_Desert_Solar | FC | 0 | 0 | 0 | 0 | 0
Solar In-state | Solar FC | Solar | In-state | Riverside_East_Palm_Springs | Riverside_East_Palm_Springs_Solar | FC | 918.4736 | 2288.1342 | 2288.1342 | 326.0138 | 326.0138
Solar In-state | Solar FC | Solar | In-state | Greater_Imperial | Greater_Imperial_Solar | FC | 0 | 624.1325 | 624.1325 | 624.1325 | 624.1325
Solar In-state | Solar FC | Solar | In-state | None | Distributed_Solar | FC | 0 | 0 | 0 | 0 | 0
Solar OOS | Solar FC | Solar | OOS | Greater_Imperial | Baja_California_Solar | FC | 0 | 0 | 0 | 0 | 0
Solar OOS | Solar FC | Solar | OOS | Mountain_Pass_El_Dorado | Utah_Solar | FC | 0 | 0 | 0 | 0 | 0
Solar In-state | Solar FC | Solar | In-state | Mountain_Pass_El_Dorado | Southern_Nevada_Solar | FC | 801.5812 | 801.5812 | 745.4205 | 801.5812 | 745.4205
Solar OOS | Solar FC | Solar | OOS | Riverside_East_Palm_Springs | Arizona_Solar | FC | 0 | 0 | 0 | 0 | 0
Solar OOS | Solar FC | Solar | OOS | Riverside_East_Palm_Springs | New_Mexico_Solar | FC | 0 | 0 | 0 | 0 | 0
Wind In-state | Wind FC | Wind | In-state | Northern_California | Northern_California_Wind | FC | 0 | 0 | 0 | 0 | 0
Wind In-state | Wind FC | Wind | In-state | Solano | Solano_Wind | FC | 0 | 0 | 0 | 581.0982 | 581.0982
Wind In-state | Wind FC | Wind | In-state | Central_Valley_North_Los_Banos | Central_Valley_North_Los_Banos_Wind | FC | 145.9997 | 145.9997 | 145.9997 | 145.9997 | 145.9997
Wind In-state | Wind FC | Wind | In-state | Greater_Carrizo | Greater_Carrizo_Wind | FC | 0 | 934.8505 | 0 | 894.8132 | 894.8132
Wind In-state | Wind FC | Wind | In-state | Tehachapi | Tehachapi_Wind | FC | 153.3714 | 153.3714 | 153.3714 | 153.3714 | 153.3714
Wind In-state | Wind FC | Wind | In-state | Kramer_Inyokern | Kramer_Inyokern_Wind | FC | 0 | 0 | 0 | 0 | 0
Wind In-state | Wind FC | Wind | In-state | Southern_California_Desert | Southern_California_Desert_Wind | FC | 0 | 0 | 0 | 0 | 0
Wind In-state | Wind FC | Wind | In-state | Riverside_East_Palm_Springs | Riverside_East_Palm_Springs_Wind | FC | 42.002 | 42.002 | 42.002 | 42.002 | 42.002
Wind In-state | Wind FC | Wind | In-state | Greater_Imperial | Greater_Imperial_Wind | FC | 0 | 0 | 0 | 0 | 0
Wind In-state | Wind FC | Wind | In-state | None | Distributed_Wind | FC | 0 | 253.157 | 253.157 | 253.157 | 253.157
Wind OOS | Wind FC | Wind | OOS | Greater_Imperial | Baja_California_Wind | FC | 0 | 0 | 0 | 0 | 0
Wind OOS | Wind FC | Wind | OOS | Northern_California | Pacific_Northwest_Wind | FC | 0 | 0 | 0 | 0 | 0
Wind OOS | Wind FC | Wind | OOS | Northern_California | NW_Ext_Tx_Wind | FC | 320.5715 | 0 | 659.7519 | 639.2531 | 639.2531
Wind OOS | Wind FC | Wind | OOS | Northern_California | Idaho_Wind | FC | 0 | 0 | 0 | 0 | 0
Wind OOS | Wind FC | Wind | OOS | Mountain_Pass_El_Dorado | Utah_Wind | FC | 0 | 0 | 0 | 0 | 0
Wind OOS | Wind FC | Wind | OOS | Mountain_Pass_El_Dorado | Wyoming_Wind | FC | 0 | 0 | 56.0487 | 0 | 56.0487
Wind In-state | Wind FC | Wind | In-state | Mountain_Pass_El_Dorado | Southern_Nevada_Wind | FC | 0 | 0 | 0 | 0 | 0
Wind OOS | Wind FC | Wind | OOS | Riverside_East_Palm_Springs | Arizona_Wind | FC | 0 | 0 | 0 | 0 | 0
Wind OOS | Wind FC | Wind | OOS | Riverside_East_Palm_Springs | New_Mexico_Wind | FC | 0 | 0 | 0 | 0 | 0
Wind OOS | Wind FC | Wind | OOS | Riverside_East_Palm_Springs | SW_Ext_Tx_Wind | FC | 499.9999 | 499.9999 | 499.9999 | 499.9999 | 499.9999
Biomass In-state | Biomass FC | Biomass | In-state | None | InState_Biomass | FC | 0 | 0 | 0 | 0 | 0
Geothermal In-state | Geothermal FC | Geothermal | In-state | Greater_Imperial | Greater_Imperial_Geothermal | FC | 707.9367 | 0 | 0 | 0 | 0
Geothermal In-state | Geothermal FC | Geothermal | In-state | Northern_California | Northern_California_Geothermal | FC | 424 | 0 | 0 | 0 | 0
Geothermal OOS | Geothermal FC | Geothermal | OOS | Northern_California | Pacific_Northwest_Geothermal | FC | 0 | 0 | 0 | 0 | 0
Geothermal In-state | Geothermal FC | Geothermal | In-state | Mountain_Pass_El_Dorado | Southern_Nevada_Geothermal | FC | 0 | 0 | 0 | 0 | 0 | In-OO-St | OOS
Batt 2 hour | Batt 2 hour | Batt 2 hour | In-state | None | Batt 2 hour | FC | 2104.2 | 0 | 0 | 0 | 0
Batt 4 hour | Batt 4 hour | Batt 4 hour | In-state | None | Batt 4 hour | FC | 0 | 4299 | 2795.38 | 4347.08 | 2602.38 | Row Labels | Sum of 42mmt_Ref_20181101_2017_IEPR | Sum of 32mmt_TXU_20190124_ExistTX | Sum of 32mmt_TXU_20190124_ExistTXandWYNM_WYNMcap | Sum of 32mmt_SB100plus_20181210_ExistTX | Sum of 32mmt_SB100plus_20181212_ExistTXandWYNM_WYNMcap
Pumped Storage | Pumped Storage | Pumped Storage | In-state | None | Pumped Storage | FC | 0 | 1246.12 | 116.15 | 1341.5 | 0 | Baja_California_Solar | 0 | 0 | 0 | 0 | 0
Solar In-state | Solar EO | Solar | In-state | Northern_California | Northern_California_Solar | EO | 0 | 317.8108 | 0 | 0 | 0 | Baja_California_Wind | 0 | 0 | 0 | 0 | 0
Solar In-state | Solar EO | Solar | In-state | Solano | Solano_Solar | EO | 0 | 0 | 0 | 0 | 0 | New_Mexico_Wind | 0 | 0 | 2250.0022 | 0 | 2250.0022
Solar In-state | Solar EO | Solar | In-state | Central_Valley_North_Los_Banos | Central_Valley_North_Los_Banos_Solar | EO | 0 | 0 | 0 | 0 | 0 | NW_Ext_Tx_Wind | 601.3153 | 1500.0034 | 1500.0034 | 1500.0034 | 1499.9934
Solar In-state | Solar EO | Solar | In-state | Westlands | Westlands_Solar | EO | 0 | 0 | 0 | 702.7016 | 702.7016 | Pacific_Northwest_Geothermal | 0 | 0 | 0 | 0 | 0
Solar In-state | Solar EO | Solar | In-state | Greater_Carrizo | Greater_Carrizo_Solar | EO | 0 | 0 | 0 | 0 | 0 | SW_Ext_Tx_Wind | 499.9999 | 499.9999 | 499.9999 | 499.9999 | 499.9999
Solar In-state | Solar EO | Solar | In-state | Tehachapi | Tehachapi_Solar | EO | 0 | 0 | 0 | 0 | 0 | Wyoming_Wind | 0 | 0 | 2000.0041 | 0 | 2000.0041
Solar In-state | Solar EO | Solar | In-state | Kramer_Inyokern | Kramer_Inyokern_Solar | EO | 0 | 0 | 0 | 0 | 0 | Grand Total | 1101.3152 | 2000.0033 | 6250.0097 | 2000.0033 | 6249.9997
Solar In-state | Solar EO | Solar | In-state | Mountain_Pass_El_Dorado | Mountain_Pass_El_Dorado_Solar | EO | 0 | 0 | 0 | 0 | 0
Solar In-state | Solar EO | Solar | In-state | Southern_California_Desert | Southern_California_Desert_Solar | EO | 0 | 0 | 0 | 0 | 0
Solar In-state | Solar EO | Solar | In-state | Riverside_East_Palm_Springs | Riverside_East_Palm_Springs_Solar | EO | 0 | 2565.8497 | 301.5125 | 2515.5389 | 251.2017
Solar In-state | Solar EO | Solar | In-state | Greater_Imperial | Greater_Imperial_Solar | EO | 0 | 776.6428 | 776.6428 | 776.6428 | 776.6428
Solar In-state | Solar EO | Solar | In-state | None | Distributed_Solar | EO | 0 | 0 | 0 | 0 | 0
Solar OOS | Solar EO | Solar | OOS | Greater_Imperial | Baja_California_Solar | EO | 0 | 0 | 0 | 0 | 0
Solar OOS | Solar EO | Solar | OOS | Mountain_Pass_El_Dorado | Utah_Solar | EO | 0 | 0 | 0 | 0 | 0
Solar In-state | Solar EO | Solar | In-state | Mountain_Pass_El_Dorado | Southern_Nevada_Solar | EO | 2204.3484 | 1505.0389 | 0 | 1505.0389 | 0
Solar OOS | Solar EO | Solar | OOS | Riverside_East_Palm_Springs | Arizona_Solar | EO | 0 | 0 | 0 | 0 | 0
Solar OOS | Solar EO | Solar | OOS | Riverside_East_Palm_Springs | New_Mexico_Solar | EO | 0 | 0 | 0 | 0 | 0
Wind In-state | Wind EO | Wind | In-state | Northern_California | Northern_California_Wind | EO | 0 | 0 | 0 | 0 | 0
Wind In-state | Wind EO | Wind | In-state | Solano | Solano_Wind | EO | 642.9965 | 642.9965 | 642.9965 | 61.9083 | 61.9083
Wind In-state | Wind EO | Wind | In-state | Central_Valley_North_Los_Banos | Central_Valley_North_Los_Banos_Wind | EO | 0 | 0 | 0 | 0 | 0
Wind In-state | Wind EO | Wind | In-state | Greater_Carrizo | Greater_Carrizo_Wind | EO | 160.1491 | 160.1491 | 160.1491 | 200.1864 | 200.1864
Wind In-state | Wind EO | Wind | In-state | Tehachapi | Tehachapi_Wind | EO | 0 | 0 | 0 | 0 | 0
Wind In-state | Wind EO | Wind | In-state | Kramer_Inyokern | Kramer_Inyokern_Wind | EO | 0 | 0 | 0 | 0 | 0
Wind In-state | Wind EO | Wind | In-state | Southern_California_Desert | Southern_California_Desert_Wind | EO | 0 | 0 | 0 | 0 | 0
Wind In-state | Wind EO | Wind | In-state | Riverside_East_Palm_Springs | Riverside_East_Palm_Springs_Wind | EO | 0 | 0 | 0 | 0 | 0
Wind In-state | Wind EO | Wind | In-state | Greater_Imperial | Greater_Imperial_Wind | EO | 0 | 0 | 0 | 0 | 0
Wind In-state | Wind EO | Wind | In-state | None | Distributed_Wind | EO | 0 | 0 | 0 | 0 | 0
Wind OOS | Wind EO | Wind | OOS | Greater_Imperial | Baja_California_Wind | EO | 0 | 0 | 0 | 0 | 0
Wind OOS | Wind EO | Wind | OOS | Northern_California | Pacific_Northwest_Wind | EO | 0 | 0 | 0 | 0 | 0
Wind OOS | Wind EO | Wind | OOS | Northern_California | NW_Ext_Tx_Wind | EO | 280.7438 | 1500.0034 | 840.2415 | 860.7503 | 860.7503
Wind OOS | Wind EO | Wind | OOS | Northern_California | Idaho_Wind | EO | 0 | 0 | 0 | 0 | 0
Wind OOS | Wind EO | Wind | OOS | Mountain_Pass_El_Dorado | Utah_Wind | EO | 0 | 0 | 0 | 0 | 0
Wind OOS | Wind EO | Wind | OOS | Mountain_Pass_El_Dorado | Wyoming_Wind | EO | 0 | 0 | 1943.9554 | 0 | 1943.9554
Wind In-state | Wind EO | Wind | In-state | Mountain_Pass_El_Dorado | Southern_Nevada_Wind | EO | 0 | 442.0327 | 0 | 442.0327 | 0
Wind OOS | Wind EO | Wind | OOS | Riverside_East_Palm_Springs | Arizona_Wind | EO | 0 | 0 | 0 | 0 | 0
Wind OOS | Wind EO | Wind | OOS | Riverside_East_Palm_Springs | New_Mexico_Wind | EO | 0 | 0 | 2250.0022 | 0 | 2250.0022
Wind OOS | Wind EO | Wind | OOS | Riverside_East_Palm_Springs | SW_Ext_Tx_Wind | EO | 0 | 0 | 0 | 0 | 0 | In-OO-St | In-state
Biomass In-state | Biomass EO | Biomass | In-state | None | InState_Biomass | EO | 0 | 0 | 0 | 0 | 0
Geothermal In-state | Geothermal EO | Geothermal | In-state | Greater_Imperial | Greater_Imperial_Geothermal | EO | 567.9477 | 1275.8957 | 1275.8957 | 1275.8957 | 1275.8957 | Row Labels | Sum of 42mmt_Ref_20181101_2017_IEPR | Sum of 32mmt_TXU_20190124_ExistTX | Sum of 32mmt_TXU_20190124_ExistTXandWYNM_WYNMcap | Sum of 32mmt_SB100plus_20181210_ExistTX | Sum of 32mmt_SB100plus_20181212_ExistTXandWYNM_WYNMcap
Geothermal In-state | Geothermal EO | Geothermal | In-state | Northern_California | Northern_California_Geothermal | EO | 0 | 424 | 424 | 424 | 424 | Biomass | 0 | 0 | 0 | 0 | 0
Geothermal OOS | Geothermal EO | Geothermal | OOS | Northern_California | Pacific_Northwest_Geothermal | EO | 0 | 0 | 0 | 0 | 0 | Geothermal | 1699.8844 | 2019.8957 | 2019.8957 | 2019.8957 | 2019.8957
Geothermal In-state | Geothermal EO | Geothermal | In-state | Mountain_Pass_El_Dorado | Southern_Nevada_Geothermal | EO | 0 | 320 | 320 | 320 | 320 | Pumped Storage | 0 | 1341.5 | 0 | 1246.12 | 116.15
[12 empty] | Solar | 5915.907 | 11588.3313 | 6220.3543 | 11528.581 | 7162.5192
[12 empty] | Wind | 1144.5188 | 2774.5689 | 2332.5362 | 2774.5589 | 1397.6757
[12 empty] | Batt 2 hour | 2104.2 | 0 | 0 | 0 | 0
[12 empty] | Batt 4 hour | 0 | 4347.08 | 2602.38 | 4299 | 2795.38
[12 empty] | Grand Total | 10864.5101 | 22071.3759 | 13175.1662 | 21868.1556 | 13491.6207

## charts
MW Selected Resources by Deliverability
|  | Row Labels | 42w/2017IEPR Case A | Updated 32w/ExistTXonly Case B | Updated 32w/NewTX&WYNM Case C | 32w/ExistTXonly Case B | 32w/NewTX&WYNM Case C
|  | Geothermal FC | 1131.9367 | 0 | 0 | 0 | 0
|  | Geothermal EO | 567.9477 | 2019.8957 | 2019.8957 | 2019.8957 | 2019.8957
|  | Wind FC | 1161.9446 | 3209.6945 | 3265.7432 | 2029.3805 | 1810.3306
|  | Wind EO | 1083.8894 | 1564.8778 | 5316.8027 | 2745.1817 | 5837.3447
|  | Solar FC | 3711.5586 | 6088.409 | 4489.8082 | 6363.2388 | 6084.3639
|  | Solar EO | 2204.3484 | 5499.9223 | 1730.5461 | 5165.3422 | 1078.1553
|  | Batt 2 hour | 2104.2 | 0 | 0 | 0 | 0
|  | Batt 4 hour | 0 | 4347.08 | 2602.38 | 4299 | 2795.38
|  | Pumped Storage | 0 | 1341.5 | 0 | 1246.12 | 116.15
MW Selected Resources by In-state/OOS and Type
|  | Row Labels | 42w/2017IEPR Case A | Updated 32w/ExistTXonly Case B | Updated 32w/NewTX&WYNM Case C | 32w/ExistTXonly Case B | 32w/NewTX&WYNM Case C
|  | Geothermal In-st | 1699.8844 | 2019.8957 | 2019.8957 | 2019.8957 | 2019.8957
|  | Geothermal OOS | 0 | 0 | 0 | 0 | 0
|  | Wind In-state | 1144.5188 | 2774.5689 | 2332.5362 | 2774.5589 | 1397.6757
|  | Wind OOS | 1101.3152 | 2000.0033 | 6250.0097 | 2000.0033 | 6249.9997
|  | Solar In-state | 5915.907 | 11588.3313 | 6220.3543 | 11528.581 | 7162.5192
|  | Solar OOS | 0 | 0 | 0 | 0 | 0
|  | Batt 2 hour | 2104.2 | 0 | 0 | 0 | 0
|  | Batt 4 hour | 0 | 4347.08 | 2602.38 | 4299 | 2795.38
|  | Pumped Storage | 0 | 1341.5 | 0 | 1246.12 | 116.15
MW Selected Resources by In-state/OOS
|  | Row Labels | 42w/2017IEPR Case A | Updated 32w/ExistTXonly Case B | Updated 32w/NewTX&WYNM Case C | 32w/ExistTXonly Case B | 32w/NewTX&WYNM Case C
|  | In-state (all) | 10864.5101 | 22071.3759 | 13175.1662 | 21868.1556 | 13491.6207
|  | OOS (all) | 1101.3152 | 2000.0033 | 6250.0097 | 2000.0033 | 6249.9997
|  | In-state | 8760.3101 | 16382.7959 | 10572.7862 | 16323.0356 | 10580.0907
|  | OOS | 1101.3152 | 2000.0033 | 6250.0097 | 2000.0033 | 6249.9997
|  | Batt 2 hour | 2104.2 | 0 | 0 | 0 | 0
|  | Batt 4 hour | 0 | 4347.08 | 2602.38 | 4299 | 2795.38
|  | Pumped Storage | 0 | 1341.5 | 0 | 1246.12 | 116.15
|  | check | 10864.5101 | 22071.3759 | 13175.1662 | 21868.1556 | 13491.6207
MW Selected OOS Resources by Type and Region
|  | Row Labels | 42w/2017IEPR Case A | Updated 32w/ExistTXonly Case B | Updated 32w/NewTX&WYNM Case C | 32w/ExistTXonly Case B | 32w/NewTX&WYNM Case C
|  | SW_Ext_Tx_Wind | 499.9999 | 499.9999 | 499.9999 | 499.9999 | 499.9999
|  | NW_Ext_Tx_Wind | 601.3153 | 1500.0034 | 1500.0034 | 1500.0034 | 1499.9934
|  | New_Mexico_Wind | 0 | 0 | 2250.0022 | 0 | 2250.0022
|  | Wyoming_Wind | 0 | 0 | 2000.0041 | 0 | 2000.0041
|  | Arizona_Wind | 0 | 0 | 0 | 0 | 0
|  | Baja_CA_Wind | 0 | 0 | 0 | 0 | 0
|  | Baja_CA_Solar | 0 | 0 | 0 | 0 | 0
|  | Pac_NW_Geothermal | 0 | 0 | 0 | 0 | 0
|  | Grand Total | 1101.3152 | 2000.0033 | 6250.0097 | 2000.0033 | 6249.9997
MW Selected In-state Resources by Type
|  | Row Labels | 42w/2017IEPR Case A | Updated 32w/ExistTXonly Case B | Updated 32w/NewTX&WYNM Case C | 32w/ExistTXonly Case B | 32w/NewTX&WYNM Case C
|  | Geothermal | 1699.8844 | 2019.8957 | 2019.8957 | 2019.8957 | 2019.8957
|  | Wind | 1144.5188 | 2774.5689 | 2332.5362 | 2774.5589 | 1397.6757
|  | Solar | 5915.907 | 11588.3313 | 6220.3543 | 11528.581 | 7162.5192
|  | Batt 2 hour | 2104.2 | 0 | 0 | 0 | 0
|  | Batt 4 hour | 0 | 4347.08 | 2602.38 | 4299 | 2795.38
|  | Pumped Storage | 0 | 1341.5 | 0 | 1246.12 | 116.15
|  | Grand Total | 10864.5101 | 22071.3759 | 13175.1662 | 21868.1556 | 13491.6207
MW Selected In-state Resources by Type and Region
|  | Row Labels | 42w/2017IEPR Case A | Updated 32w/ExistTXonly Case B | Updated 32w/NewTX&WYNM Case C | 32w/ExistTXonly Case B | 32w/NewTX&WYNM Case C
|  | Central_Valley_North_Los_Banos_Wind | 145.9997 | 145.9997 | 145.9997 | 145.9997 | 145.9997
|  | Distributed_Wind | 0 | 253.157 | 253.157 | 253.157 | 253.157
|  | Greater_Carrizo_Wind | 160.1491 | 1094.9996 | 1094.9996 | 1094.9996 | 160.1491
|  | Greater_Imperial_Geothermal | 1275.8844 | 1275.8957 | 1275.8957 | 1275.8957 | 1275.8957
|  | Greater_Imperial_Solar | 0 | 1400.7753 | 1400.7753 | 1400.7753 | 1400.7753
|  | Kramer_Inyokern_Solar | 978.2831 | 577.2077 | 577.2077 | 978.2831 | 978.2831
|  | Northern_California_Geothermal | 424 | 424 | 424 | 424 | 424
|  | Northern_California_Solar | 0 | 750.3397 | 750.3397 | 975.6979 | 0
|  | Riverside_East_Palm_Springs_Solar | 918.4736 | 2841.5528 | 577.2156 | 4853.9839 | 2589.6467
|  | Riverside_East_Palm_Springs_Wind | 42.002 | 42.002 | 42.002 | 42.002 | 42.002
|  | Solano_Wind | 642.9965 | 643.0065 | 643.0065 | 642.9965 | 642.9965
|  | Southern_Nevada_Geothermal | 0 | 320 | 320 | 320 | 320
|  | Southern_Nevada_Solar | 3005.9296 | 2306.6201 | 745.4205 | 2306.6201 | 745.4205
|  | Southern_Nevada_Wind | 0 | 442.0327 | 0 | 442.0327 | 0
|  | Tehachapi_Solar | 1013.2206 | 1013.2206 | 1013.2206 | 1013.2206 | 1013.2206
|  | Tehachapi_Wind | 153.3714 | 153.3714 | 153.3714 | 153.3714 | 153.3714
|  | Westlands_Solar | 0 | 2698.6151 | 1156.175 | 0 | 435.1731
|  | Grand Total | 8760.3101 | 16382.7959 | 10572.7862 | 16323.0356 | 10580.0907
|  |  | As-is RESOLVE output |  |  |  | Copy of as-is RESOLVE output, with manual adjustments to make geothermal and OOS wind FCDS to extent possible | [6 empty] | Transmission Potential Available in RESOLVE |  | Checks manually adjusted version against transmission potential
| All values are 2030 MW |  | 32mmt_TXU_20190124_ExistTX |  | 32mmt_TXU_20190124_ExistTXandWYNM_WYNMcap |  | 32mmt_TXU_20190124_ExistTX |  | 32mmt_TXU_20190124_ExistTXandWYNM_WYNMcap | [6 empty] | 32mmt_TXU_20190124_ExistTX |  | 32mmt_TXU_20190124_ExistTXandWYNM_WYNMcap
RESOLVE resource potential: Existing & New Tx | RESOLVE Tx Zone | RESOLVE Resource Name | FCDS | EO | FCDS | EO | FCDS | EO | FCDS | EO |  | CAISO Transmission Zone | RESOLVE Tx Zone | Remaining FCDS net of "contracted not yet built" | Remaining EODS | FCDS | EO | FCDS | EO
19705.8334 | Northern_California | Northern_California_Solar | 750.3397 | 0 | 750.3397 | 0 | 0 | 750.3397 | 0 | 750.3397 | Change solar to EO to make room for FC geo and NW wind | Northern CA | Northern_California | 1392 | 1200 | 1389.5928 | 1284.7503 | 1389.5928 | 1284.7503
2603.2221 | Solano | Solano_Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | Eliminate small 33 MW new TX in Westlands by moving 40 MW (a round number) FC Westlands solar to EO Solano solar | - Round mountain
1263.1402 | Central_Valley_North_Los_Banos | Central_Valley_North_Los_Banos_Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | - Humboldt
15689.4477 | Westlands | Westlands_Solar | 1995.9135 | 702.7016 | 453.4734 | 702.7016 | 1995.9135 | 702.7016 | 413.4734 | 702.7016 | Eliminate small 33 MW new TX in Westlands by moving 40 MW (a round number) FC Westlands solar to EO Solano solar | - Sacramento River
3805.7255 | Greater_Carrizo | Greater_Carrizo_Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | - Solano | Solano | 581 | 700 | 581.0982 | 61.9083 | 581.0982 | 101.9083
1018.0011 | Tehachapi | Tehachapi_Solar | 1013.2206 | 0 | 1013.2206 | 0 | 1013.2206 | 0 | 1013.2206 | 0 |  | Southern PG&E |  | 815 | 900 | 3036.7264 | 902.888 | 1454.2863 | 902.888
6872.8273 | Kramer_Inyokern | Kramer_Inyokern_Solar | 577.2077 | 0 | 577.2077 | 0 | 577.2077 | 0 | 577.2077 | 0 |  | - Westlands | Westlands | 418 | 700 | 1995.9135 | 702.7016 | 413.4734 | 702.7016
62.1173 | Mountain_Pass_El_Dorado | Mountain_Pass_El_Dorado_Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | - Kern and Greater Carrizo | Greater_Carrizo | 240 | 200 | 894.8132 | 200.1864 | 894.8132 | 200.1864
12009.1161 | Southern_California_Desert | Southern_California_Desert_Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | - Central Valley North & Los Banos | Central_Valley_North_Los_Banos | 157 | 0 | 145.9997 | 0 | 145.9997 | 0
14250.4254 | Riverside_East_Palm_Springs | Riverside_East_Palm_Springs_Solar | 326.0138 | 2515.5389 | 326.0138 | 251.2017 | 326.0138 | 2515.5389 | 0 | 577.2156 | Change solar to EO to make room for FC NM wind | Tehachapi | Tehachapi | 3912 | 800 | 1166.5921 | 0 | 1166.5921 | 0
8787.0602 | Greater_Imperial | Greater_Imperial_Solar | 624.1325 | 776.6428 | 624.1325 | 776.6428 | 0 | 1400.7753 | 0 | 1400.7753 | Change solar to EO to make room for FC geo | Greater Kramer (North of Lugo) | Kramer_Inyokern | 576 | 0 | 577.2077 | 0 | 577.2077 | 0
36233.1011 | None | Distributed_Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | - North of Victor
10009.2274 | Greater_Imperial | Baja_California_Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | - Inyokern and North of Kramer
14411.8324 | Mountain_Pass_El_Dorado | Utah_Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | - Pisgah
36853.3741 | Mountain_Pass_El_Dorado | Southern_Nevada_Solar | 801.5812 | 1505.0389 | 745.4205 | 0 | 39.5485 | 2267.0717 | 0 | 745.4205 | Change solar to EO to make room for FC WY or SoNV wind and SoNV geo | Southern CA Desert and Southern NV |  | 2290 | 6600 | 2293.7295 | 6835.1491 | 2293.6174 | 6817.6979
19276.821 | Riverside_East_Palm_Springs | Arizona_Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | - Southern NV (GridLiance-VEA), El Dorado and Mountain Pass | Mountain_Pass_El_Dorado | 800 | 2200 | 801.5812 | 2267.0717 | 801.4692 | 2263.9554
166.0404 | Riverside_East_Palm_Springs | New_Mexico_Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | - Southern NV (GridLiance-VEA)
0 | Northern_California | Northern_California_Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | - Greater Imperial* | Greater_Imperial | 624 | 1900 | 624.1325 | 2052.5385 | 624.1325 | 2052.5385
642.9135 | Solano | Solano_Wind | 581.0982 | 61.9083 | 581.0982 | 61.9083 | 581.0982 | 61.9083 | 581.0982 | 61.9083 |  | - Riverside East & Palm Springs | Riverside_East_Palm_Springs | 866 | 2500 | 868.0158 | 2515.5389 | 868.0158 | 2501.204
145.9103 | Central_Valley_North_Los_Banos | Central_Valley_North_Los_Banos_Wind | 145.9997 | 0 | 145.9997 | 0 | 145.9997 | 0 | 145.9997 | 0
1093.9804 | Greater_Carrizo | Greater_Carrizo_Wind | 894.8132 | 200.1864 | 894.8132 | 200.1864 | 894.8132 | 200.1864 | 894.8132 | 200.1864
156.9905 | Tehachapi | Tehachapi_Wind | 153.3714 | 0 | 153.3714 | 0 | 153.3714 | 0 | 153.3714 | 0 | [6 empty] | materially exceeds transmission potential - RESOLVE assumed it would be valuable to pay for transmission upgrades to add FCDS access (RESOLVE can only add FCDS, it does not choose to add FCDS vs. EO when they run out)
0 | Kramer_Inyokern | Kramer_Inyokern_Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Southern_California_Desert | Southern_California_Desert_Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41.998 | Riverside_East_Palm_Springs | Riverside_East_Palm_Springs_Wind | 42.002 | 0 | 42.002 | 0 | 42.002 | 0 | 42.002 | 0 |  |  | Selected Fully Deliverable Resources on New Transmission
0 | Greater_Imperial | Greater_Imperial_Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | New FCDS Resources Requiring New Transmission |  | 32mmt_TXU_20190124_ExistTX | 32mmt_TXU_20190124_ExistTXandWYNM_WYNMcap
253.073 | None | Distributed_Wind | 253.157 | 0 | 253.157 | 0 | 253.157 | 0 | 253.157 | 0 |  |  | Tx Zone | Unit | 2030 | 2030
1116.7222 | Greater_Imperial | Baja_California_Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Central_Valley_North_Los_Banos | MW | 0 | 0
11073.7058 | Northern_California | Pacific_Northwest_Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Greater_Carrizo | MW | 653.58 | 653.58
1500.0866 | Northern_California | NW_Ext_Tx_Wind | 639.2531 | 860.7503 | 639.2531 | 860.7503 | 965.5928 | 534.4106 | 965.5928 | 534.4106 | Change to FC by leftover available after changing geo to FC |  | Greater_Imperial | MW | 0 | 0
6869.0131 | Northern_California | Idaho_Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Kramer_Inyokern | MW | 0 | 0
4860.4833 | Mountain_Pass_El_Dorado | Utah_Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Mountain_Pass_El_Dorado | MW | 0 | 0
33862.777 | Mountain_Pass_El_Dorado | Wyoming_Wind | 0 | 0 | 56.0487 | 1943.9554 | 0 | 0 | 481.4692 | 1518.5349 | Change to FC by leftover available after changing geo to FC |  | Northern_California | MW | 0 | 0
441.9318 | Mountain_Pass_El_Dorado | Southern_Nevada_Wind | 0 | 442.0327 | 0 | 0 | 442.0327 | 0 | 0 | 0 | Change to FC using freed amount from changing solar to EO |  | Riverside_East_Palm_Springs | MW | 0 | 0
2898.4874 | Riverside_East_Palm_Springs | Arizona_Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Solano | MW | 0 | 0
34585.3445 | Riverside_East_Palm_Springs | New_Mexico_Wind | 0 | 0 | 0 | 2250.0022 | 0 | 0 | 326.0138 | 1923.9884 | Change to FC using freed amount from changing solar to EO |  | Tehachapi | MW | 0 | 0
499.7701 | Riverside_East_Palm_Springs | SW_Ext_Tx_Wind | 499.9999 | 0 | 499.9999 | 0 | 499.9999 | 0 | 499.9999 | 0 |  |  | Westlands | MW | 1569.98 | 33.47
1106.1967 | None | InState_Biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Eliminate small 33 MW new TX in Westlands by moving 40 MW (a round number) FC Westlands solar to EO Solano solar
1123.9658 | Greater_Imperial | Greater_Imperial_Geothermal | 0 | 1275.8957 | 0 | 1275.8957 | 624.1325 | 651.7632 | 624.1325 | 651.7632 | Change to FC using freed amount from changing solar to EO
339.2 | Northern_California | Northern_California_Geothermal | 0 | 424 | 0 | 424 | 424 | 0 | 424 | 0 | Change to FC using freed amount from changing solar to EO
530.3671 | Northern_California | Pacific_Northwest_Geothermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
256 | Mountain_Pass_El_Dorado | Southern_Nevada_Geothermal | 0 | 320 | 0 | 320 | 320 | 0 | 320 | 0 | Change to FC using freed amount from changing solar to EO
| #N/A | Batt 2 hour | 0 |  | 0 |  | 0 |  | 0
| #N/A | Batt 4 hour | 4347.08 |  | 2602.38 |  | 4347.08 |  | 2602.38
| #N/A | Pumped Storage | 1341.5 |  | 0 |  | 1341.5 |  | 0
|  | Solar sum | 6088.409 | 5499.9223 | 4489.8082 | 1730.5461 | 3951.9041 | 7636.4272 | 2003.9017 | 4216.4526
|  | Wind sum | 3209.6945 | 1564.8778 | 3265.7432 | 5316.8027 | 3978.0669 | 796.5053 | 4343.5172 | 4239.0287
|  | Geothermal sum | 0 | 2019.8957 | 0 | 2019.8957 | 1368.1325 | 651.7632 | 1368.1325 | 651.7632
|  | Total by deliverability category | 9298.1035 | 9084.6957 | 7755.5514 | 9067.2445 | 9298.1035 | 9084.6957 | 7715.5514 | 9107.2445
|  | Grand Total |  | 18382.7992 |  | 16822.7959 |  | 18382.7992 |  | 16822.7959
|  |  | Case | A | B | C | B Updated | C Updated
|  |  | Name | 42RSPw/2017IEPR | 32w/ExistTXonly | 32w/NewTX&WYNM | 32mmt_TXU_20190124_ExistTX | 32mmt_TXU_20190124_ExistTXandWYNM_WYNMcap
|  | Annual Cost Metrics | Unit | 2030 | 2030 | 2030 | 2030 | 2030
|  | New Renewables Fixed Costs | $MM | 2422.3 | 3999.61 | 4484.86 | 3980.17 | 4518.34
|  | New Storage Fixed Costs | $MM | 161.65 | 1063.7 | 379.32 | 1076.62 | 272.67
|  | New Transmission Fixed Costs | $MM | 0 | 82.89 | 0 | 40.37 | 16.96
|  | Total Operating Costs | $MM | 4604.62 | 3600.53 | 3582.41 | 3614.92 | 3588.74
|  | Total New Resource Costs + Operating Costs | $MM | 7188.57 | 8746.73 | 8446.59 | 8712.08 | 8396.71
|  | Operational Portfolio Metrics | Unit | 2030 | 2030 | 2030 | 2030 | 2030
|  | Greenhouse Gas Emissions | MMtCO2 | 34.02 | 25.92 | 25.92 | 25.92 | 25.92
|  | Marginal GHG Cost | $/tCO2 | 190.21 | 287.17 | 251.14 | 295.57 | 241
|  | Effective RPS (incl. banked RECs) | % of Retail Sales | 59.99% | 71.22% | 71.46% | 71.02% | 71.29%
|  | Renewable Curtailment | % of RPS Gen. | 5.945% | 6.554% | 6.457% | 6.403% | 6.21%
|  | Actual Reserve Margin | % | 22.2% | 25.07% | 18.13% | 25.57% | 17.67%
|  | Imports | GWh | 12708.9926 | 6547.2129 | 7412.1023 | 6547.2125 | 7724.7493
|  | Exports | GWh | -5686.094 | -6578.8382 | -6973.1501 | -6214.3407 | -6543.6566
|  | Load | GWh | 255038.0986 | 256783.7022 | 256783.7022 | 256783.7022 | 256783.7022
All charts are before final manual adjustment to make geothermal and OOS wind fully deliverable to extent possible
All charts are before final manual adjustment to make geothermal and OOS wind fully deliverable to extent possible
Note on S100: This is after debiting assumed contracted resources that are not yet built, itemized on the REN_Existing_Resources tab of the RESOLVE UI.
Note on U106: =sum of net remaining free in overall zone (which is entirely selected) and the selected FC new Tx build
Note on W106: =sum of net remaining free in overall zone (which is entirely selected) and the selected FC new Tx build

## FC-EO-detail
[6 empty] | (uses CEC 2017 IEPR high load EV load) | [5 empty] | (uses CEC 2017 IEPR high load EV load) | [5 empty] | (uses CEC 2017 IEPR high load EV load) | [5 empty] | (uses CEC 2017 IEPR high load EV load)
42mmt_Ref_20181101_2017_IEPR | [5 empty] | 32mmt_SB100plus_20181210_ExistTX | [5 empty] | 32mmt_SB100plus_20181212_ExistTXandWYNM_WYNMcap | [5 empty] | 32mmt_TXU_20190124_ExistTX | [5 empty] | 32mmt_TXU_20190124_ExistTXandWYNM_WYNMcap
FCDS Renewable Resource Summary by Location (MW) | [5 empty] | FCDS Renewable Resource Summary by Location (MW) | [5 empty] | FCDS Renewable Resource Summary by Location (MW) | [5 empty] | FCDS Renewable Resource Summary by Location (MW) | [5 empty] | FCDS Renewable Resource Summary by Location (MW)
RESOLVE Resource | Tx Zone | 2018 | 2022 | 2026 | 2030 | RESOLVE Resource | Tx Zone | 2018 | 2022 | 2026 | 2030 | RESOLVE Resource | Tx Zone | 2018 | 2022 | 2026 | 2030 | RESOLVE Resource | Tx Zone | 2018 | 2022 | 2026 | 2030 | RESOLVE Resource | Tx Zone | 2018 | 2022 | 2026 | 2030
Northern_California_Solar | Northern_California | 0 | 0 | 0 | 0 | Northern_California_Solar | Northern_California | 0 | 657.8871 | 657.8871 | 657.8871 | Northern_California_Solar | Northern_California | 0 | 0 | 0 | 0 | Northern_California_Solar | Northern_California | 0 | 750.3397 | 750.3397 | 750.3397 | Northern_California_Solar | Northern_California | 0 | 750.3397 | 750.3397 | 750.3397
Solano_Solar | Solano | 0 | 0 | 0 | 0 | Solano_Solar | Solano | 0 | 0 | 0 | 0 | Solano_Solar | Solano | 0 | 0 | 0 | 0 | Solano_Solar | Solano | 0 | 0 | 0 | 0 | Solano_Solar | Solano | 0 | 0 | 0 | 0
Central_Valley_North_Los_Banos_Solar | Central_Valley_North_Los_Banos | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Solar | Central_Valley_North_Los_Banos | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Solar | Central_Valley_North_Los_Banos | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Solar | Central_Valley_North_Los_Banos | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Solar | Central_Valley_North_Los_Banos | 0 | 0 | 0 | 0
Westlands_Solar | Westlands | 0 | 0 | 0 | 0 | Westlands_Solar | Westlands | 0 | 0 | 0 | 0 | Westlands_Solar | Westlands | 0 | 435.1731 | 435.1731 | 435.1731 | Westlands_Solar | Westlands | 0 | 1082.562 | 1082.562 | 1995.9135 | Westlands_Solar | Westlands | 0 | 453.4734 | 453.4734 | 453.4734
Greater_Carrizo_Solar | Greater_Carrizo | 0 | 0 | 0 | 0 | Greater_Carrizo_Solar | Greater_Carrizo | 0 | 0 | 0 | 0 | Greater_Carrizo_Solar | Greater_Carrizo | 0 | 0 | 0 | 0 | Greater_Carrizo_Solar | Greater_Carrizo | 0 | 0 | 0 | 0 | Greater_Carrizo_Solar | Greater_Carrizo | 0 | 0 | 0 | 0
Tehachapi_Solar | Tehachapi | 0 | 1013.2206 | 1013.2206 | 1013.2206 | Tehachapi_Solar | Tehachapi | 0 | 1013.2206 | 1013.2206 | 1013.2206 | Tehachapi_Solar | Tehachapi | 0 | 1013.2206 | 1013.2206 | 1013.2206 | Tehachapi_Solar | Tehachapi | 0 | 1013.2206 | 1013.2206 | 1013.2206 | Tehachapi_Solar | Tehachapi | 0 | 1013.2206 | 1013.2206 | 1013.2206
Kramer_Inyokern_Solar | Kramer_Inyokern | 0 | 978.2831 | 978.2831 | 978.2831 | Kramer_Inyokern_Solar | Kramer_Inyokern | 0 | 978.2831 | 978.2831 | 978.2831 | Kramer_Inyokern_Solar | Kramer_Inyokern | 0 | 978.2831 | 978.2831 | 978.2831 | Kramer_Inyokern_Solar | Kramer_Inyokern | 0 | 577.2077 | 577.2077 | 577.2077 | Kramer_Inyokern_Solar | Kramer_Inyokern | 0 | 577.2077 | 577.2077 | 577.2077
Mountain_Pass_El_Dorado_Solar | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0
Southern_California_Desert_Solar | Southern_California_Desert | 0 | 0 | 0 | 0 | Southern_California_Desert_Solar | Southern_California_Desert | 0 | 0 | 0 | 0 | Southern_California_Desert_Solar | Southern_California_Desert | 0 | 0 | 0 | 0 | Southern_California_Desert_Solar | Southern_California_Desert | 0 | 0 | 0 | 0 | Southern_California_Desert_Solar | Southern_California_Desert | 0 | 0 | 0 | 0
Riverside_East_Palm_Springs_Solar | Riverside_East_Palm_Springs | 0 | 854.1563 | 854.1563 | 918.4736 | Riverside_East_Palm_Springs_Solar | Riverside_East_Palm_Springs | 0 | 2288.1342 | 2288.1342 | 2288.1342 | Riverside_East_Palm_Springs_Solar | Riverside_East_Palm_Springs | 0 | 2288.1342 | 2288.1342 | 2288.1342 | Riverside_East_Palm_Springs_Solar | Riverside_East_Palm_Springs | 0 | 326.0138 | 326.0138 | 326.0138 | Riverside_East_Palm_Springs_Solar | Riverside_East_Palm_Springs | 0 | 326.0138 | 326.0138 | 326.0138
Greater_Imperial_Solar | Greater_Imperial | 0 | 0 | 0 | 0 | Greater_Imperial_Solar | Greater_Imperial | 0 | 624.1325 | 624.1325 | 624.1325 | Greater_Imperial_Solar | Greater_Imperial | 0 | 624.1325 | 624.1325 | 624.1325 | Greater_Imperial_Solar | Greater_Imperial | 0 | 624.1325 | 624.1325 | 624.1325 | Greater_Imperial_Solar | Greater_Imperial | 0 | 624.1325 | 624.1325 | 624.1325
Distributed_Solar | None | 0 | 0 | 0 | 0 | Distributed_Solar | None | 0 | 0 | 0 | 0 | Distributed_Solar | None | 0 | 0 | 0 | 0 | Distributed_Solar | None | 0 | 0 | 0 | 0 | Distributed_Solar | None | 0 | 0 | 0 | 0
Baja_California_Solar | #N/A | 0 | 0 | 0 | 0 | Baja_California_Solar | #N/A | 0 | 0 | 0 | 0 | Baja_California_Solar | #N/A | 0 | 0 | 0 | 0 | Baja_California_Solar | #N/A | 0 | 0 | 0 | 0 | Baja_California_Solar | #N/A | 0 | 0 | 0 | 0
Utah_Solar | #N/A | 0 | 0 | 0 | 0 | Utah_Solar | #N/A | 0 | 0 | 0 | 0 | Utah_Solar | #N/A | 0 | 0 | 0 | 0 | Utah_Solar | #N/A | 0 | 0 | 0 | 0 | Utah_Solar | #N/A | 0 | 0 | 0 | 0
Southern_Nevada_Solar | Mountain_Pass_El_Dorado | 0 | 801.5812 | 801.5812 | 801.5812 | Southern_Nevada_Solar | Mountain_Pass_El_Dorado | 0 | 801.5812 | 801.5812 | 801.5812 | Southern_Nevada_Solar | Mountain_Pass_El_Dorado | 0 | 745.4205 | 745.4205 | 745.4205 | Southern_Nevada_Solar | Mountain_Pass_El_Dorado | 0 | 801.5812 | 801.5812 | 801.5812 | Southern_Nevada_Solar | Mountain_Pass_El_Dorado | 0 | 745.4205 | 745.4205 | 745.4205
Arizona_Solar | #N/A | 0 | 0 | 0 | 0 | Arizona_Solar | #N/A | 0 | 0 | 0 | 0 | Arizona_Solar | #N/A | 0 | 0 | 0 | 0 | Arizona_Solar | #N/A | 0 | 0 | 0 | 0 | Arizona_Solar | #N/A | 0 | 0 | 0 | 0
New_Mexico_Solar | #N/A | 0 | 0 | 0 | 0 | New_Mexico_Solar | #N/A | 0 | 0 | 0 | 0 | New_Mexico_Solar | #N/A | 0 | 0 | 0 | 0 | New_Mexico_Solar | #N/A | 0 | 0 | 0 | 0 | New_Mexico_Solar | #N/A | 0 | 0 | 0 | 0
Northern_California_Wind | #N/A | 0 | 0 | 0 | 0 | Northern_California_Wind | #N/A | 0 | 0 | 0 | 0 | Northern_California_Wind | #N/A | 0 | 0 | 0 | 0 | Northern_California_Wind | #N/A | 0 | 0 | 0 | 0 | Northern_California_Wind | #N/A | 0 | 0 | 0 | 0
Solano_Wind | Solano | 0 | 0 | 0 | 0 | Solano_Wind | Solano | 0 | 0 | 0 | 0 | Solano_Wind | Solano | 0 | 0 | 0 | 0 | Solano_Wind | Solano | 581.0982 | 581.0982 | 581.0982 | 581.0982 | Solano_Wind | Solano | 581.0982 | 581.0982 | 581.0982 | 581.0982
Central_Valley_North_Los_Banos_Wind | Central_Valley_North_Los_Banos | 145.9997 | 145.9997 | 145.9997 | 145.9997 | Central_Valley_North_Los_Banos_Wind | Central_Valley_North_Los_Banos | 145.9997 | 145.9997 | 145.9997 | 145.9997 | Central_Valley_North_Los_Banos_Wind | Central_Valley_North_Los_Banos | 145.9997 | 145.9997 | 145.9997 | 145.9997 | Central_Valley_North_Los_Banos_Wind | Central_Valley_North_Los_Banos | 145.9997 | 145.9997 | 145.9997 | 145.9997 | Central_Valley_North_Los_Banos_Wind | Central_Valley_North_Los_Banos | 145.9997 | 145.9997 | 145.9997 | 145.9997
Greater_Carrizo_Wind | Greater_Carrizo | 0 | 0 | 0 | 0 | Greater_Carrizo_Wind | Greater_Carrizo | 0 | 0 | 0 | 934.8505 | Greater_Carrizo_Wind | Greater_Carrizo | 0 | 0 | 0 | 0 | Greater_Carrizo_Wind | Greater_Carrizo | 894.8132 | 894.8132 | 894.8132 | 894.8132 | Greater_Carrizo_Wind | Greater_Carrizo | 894.8132 | 894.8132 | 894.8132 | 894.8132
Tehachapi_Wind | Tehachapi | 153.3714 | 153.3714 | 153.3714 | 153.3714 | Tehachapi_Wind | Tehachapi | 153.3714 | 153.3714 | 153.3714 | 153.3714 | Tehachapi_Wind | Tehachapi | 153.3714 | 153.3714 | 153.3714 | 153.3714 | Tehachapi_Wind | Tehachapi | 153.3714 | 153.3714 | 153.3714 | 153.3714 | Tehachapi_Wind | Tehachapi | 153.3714 | 153.3714 | 153.3714 | 153.3714
Kramer_Inyokern_Wind | #N/A | 0 | 0 | 0 | 0 | Kramer_Inyokern_Wind | #N/A | 0 | 0 | 0 | 0 | Kramer_Inyokern_Wind | #N/A | 0 | 0 | 0 | 0 | Kramer_Inyokern_Wind | #N/A | 0 | 0 | 0 | 0 | Kramer_Inyokern_Wind | #N/A | 0 | 0 | 0 | 0
Southern_California_Desert_Wind | #N/A | 0 | 0 | 0 | 0 | Southern_California_Desert_Wind | #N/A | 0 | 0 | 0 | 0 | Southern_California_Desert_Wind | #N/A | 0 | 0 | 0 | 0 | Southern_California_Desert_Wind | #N/A | 0 | 0 | 0 | 0 | Southern_California_Desert_Wind | #N/A | 0 | 0 | 0 | 0
Riverside_East_Palm_Springs_Wind | Riverside_East_Palm_Springs | 42.002 | 42.002 | 42.002 | 42.002 | Riverside_East_Palm_Springs_Wind | Riverside_East_Palm_Springs | 42.002 | 42.002 | 42.002 | 42.002 | Riverside_East_Palm_Springs_Wind | Riverside_East_Palm_Springs | 42.002 | 42.002 | 42.002 | 42.002 | Riverside_East_Palm_Springs_Wind | Riverside_East_Palm_Springs | 42.002 | 42.002 | 42.002 | 42.002 | Riverside_East_Palm_Springs_Wind | Riverside_East_Palm_Springs | 42.002 | 42.002 | 42.002 | 42.002
Greater_Imperial_Wind | #N/A | 0 | 0 | 0 | 0 | Greater_Imperial_Wind | #N/A | 0 | 0 | 0 | 0 | Greater_Imperial_Wind | #N/A | 0 | 0 | 0 | 0 | Greater_Imperial_Wind | #N/A | 0 | 0 | 0 | 0 | Greater_Imperial_Wind | #N/A | 0 | 0 | 0 | 0
Distributed_Wind | None | 0 | 0 | 0 | 0 | Distributed_Wind | None | 0 | 0 | 0 | 253.157 | Distributed_Wind | None | 0 | 0 | 0 | 253.157 | Distributed_Wind | None | 0 | 0 | 0 | 253.157 | Distributed_Wind | None | 0 | 0 | 0 | 253.157
Baja_California_Wind | #N/A | 0 | 0 | 0 | 0 | Baja_California_Wind | #N/A | 0 | 0 | 0 | 0 | Baja_California_Wind | #N/A | 0 | 0 | 0 | 0 | Baja_California_Wind | #N/A | 0 | 0 | 0 | 0 | Baja_California_Wind | #N/A | 0 | 0 | 0 | 0
Pacific_Northwest_Wind | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Wind | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Wind | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Wind | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Wind | #N/A | 0 | 0 | 0 | 0
NW_Ext_Tx_Wind | Northern_California | 0 | 0 | 0 | 320.5715 | NW_Ext_Tx_Wind | Northern_California | 0 | 0 | 0 | 0 | NW_Ext_Tx_Wind | Northern_California | 0 | 0 | 0 | 659.7519 | NW_Ext_Tx_Wind | Northern_California | 0 | 0 | 0 | 639.2531 | NW_Ext_Tx_Wind | Northern_California | 0 | 0 | 0 | 639.2531
Idaho_Wind | #N/A | 0 | 0 | 0 | 0 | Idaho_Wind | #N/A | 0 | 0 | 0 | 0 | Idaho_Wind | #N/A | 0 | 0 | 0 | 0 | Idaho_Wind | #N/A | 0 | 0 | 0 | 0 | Idaho_Wind | #N/A | 0 | 0 | 0 | 0
Utah_Wind | #N/A | 0 | 0 | 0 | 0 | Utah_Wind | #N/A | 0 | 0 | 0 | 0 | Utah_Wind | #N/A | 0 | 0 | 0 | 0 | Utah_Wind | #N/A | 0 | 0 | 0 | 0 | Utah_Wind | #N/A | 0 | 0 | 0 | 0
Wyoming_Wind | #N/A | 0 | 0 | 0 | 0 | Wyoming_Wind | #N/A | 0 | 0 | 0 | 0 | Wyoming_Wind | Mountain_Pass_El_Dorado | 0 | 0 | 56.0487 | 56.0487 | Wyoming_Wind | #N/A | 0 | 0 | 0 | 0 | Wyoming_Wind | Mountain_Pass_El_Dorado | 0 | 0 | 56.0487 | 56.0487
Southern_Nevada_Wind | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Southern_Nevada_Wind | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Southern_Nevada_Wind | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Southern_Nevada_Wind | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Southern_Nevada_Wind | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0
Arizona_Wind | #N/A | 0 | 0 | 0 | 0 | Arizona_Wind | #N/A | 0 | 0 | 0 | 0 | Arizona_Wind | #N/A | 0 | 0 | 0 | 0 | Arizona_Wind | #N/A | 0 | 0 | 0 | 0 | Arizona_Wind | #N/A | 0 | 0 | 0 | 0
New_Mexico_Wind | #N/A | 0 | 0 | 0 | 0 | New_Mexico_Wind | #N/A | 0 | 0 | 0 | 0 | New_Mexico_Wind | Riverside_East_Palm_Springs | 0 | 0 | 0 | 0 | New_Mexico_Wind | #N/A | 0 | 0 | 0 | 0 | New_Mexico_Wind | Riverside_East_Palm_Springs | 0 | 0 | 0 | 0
SW_Ext_Tx_Wind | Riverside_East_Palm_Springs | 0 | 0 | 0 | 499.9999 | SW_Ext_Tx_Wind | Riverside_East_Palm_Springs | 499.9999 | 499.9999 | 499.9999 | 499.9999 | SW_Ext_Tx_Wind | Riverside_East_Palm_Springs | 499.9999 | 499.9999 | 499.9999 | 499.9999 | SW_Ext_Tx_Wind | Riverside_East_Palm_Springs | 499.9999 | 499.9999 | 499.9999 | 499.9999 | SW_Ext_Tx_Wind | Riverside_East_Palm_Springs | 499.9999 | 499.9999 | 499.9999 | 499.9999
InState_Biomass | None | 0 | 0 | 0 | 0 | InState_Biomass | None | 0 | 0 | 0 | 0 | InState_Biomass | None | 0 | 0 | 0 | 0 | InState_Biomass | None | 0 | 0 | 0 | 0 | InState_Biomass | None | 0 | 0 | 0 | 0
Greater_Imperial_Geothermal | Greater_Imperial | 0 | 0 | 0 | 707.9367 | Greater_Imperial_Geothermal | Greater_Imperial | 0 | 0 | 0 | 0 | Greater_Imperial_Geothermal | Greater_Imperial | 0 | 0 | 0 | 0 | Greater_Imperial_Geothermal | Greater_Imperial | 0 | 0 | 0 | 0 | Greater_Imperial_Geothermal | Greater_Imperial | 0 | 0 | 0 | 0
Northern_California_Geothermal | Northern_California | 0 | 0 | 0 | 424 | Northern_California_Geothermal | Northern_California | 0 | 0 | 0 | 0 | Northern_California_Geothermal | Northern_California | 0 | 0 | 0 | 0 | Northern_California_Geothermal | Northern_California | 0 | 0 | 0 | 0 | Northern_California_Geothermal | Northern_California | 0 | 0 | 0 | 0
Pacific_Northwest_Geothermal | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Geothermal | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Geothermal | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Geothermal | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Geothermal | #N/A | 0 | 0 | 0 | 0
Southern_Nevada_Geothermal | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Southern_Nevada_Geothermal | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Southern_Nevada_Geothermal | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Southern_Nevada_Geothermal | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Southern_Nevada_Geothermal | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0
In-State |  | 341.3731 | 3187.0332 | 3187.0332 | 4383.2871 | In-State |  | 341.3731 | 5903.0307 | 5903.0307 | 7091.0381 | In-State |  | 341.3731 | 5680.3166 | 5680.3166 | 5933.4736 | In-State |  | 1817.2845 | 6190.7608 | 6190.7608 | 7357.2693 | In-State |  | 1817.2845 | 5561.6723 | 5561.6723 | 5814.8292
Out-Of-State |  | 0 | 801.5812 | 801.5812 | 1622.1527 | Out-Of-State |  | 499.9999 | 1301.5812 | 1301.5812 | 1301.5812 | Out-Of-State |  | 499.9999 | 1245.4204 | 1301.4691 | 1961.221 | Out-Of-State |  | 499.9999 | 1301.5812 | 1301.5812 | 1940.8343 | Out-Of-State |  | 499.9999 | 1245.4204 | 1301.4691 | 1940.7222
Note: Resources with #N/A as transmission zone were not made available to the model for this scenario | [5 empty] | Note: Resources with #N/A as transmission zone were not made available to the model for this scenario | [5 empty] | Note: Resources with #N/A as transmission zone were not made available to the model for this scenario | [5 empty] | Note: Resources with #N/A as transmission zone were not made available to the model for this scenario | [5 empty] | Note: Resources with #N/A as transmission zone were not made available to the model for this scenario
EO Renewable Resource Summary by Location (MW) | [5 empty] | EO Renewable Resource Summary by Location (MW) | [5 empty] | EO Renewable Resource Summary by Location (MW) | [5 empty] | EO Renewable Resource Summary by Location (MW) | [5 empty] | EO Renewable Resource Summary by Location (MW)
RESOLVE Resource | Tx Zone | 2018 | 2022 | 2026 | 2030 | RESOLVE Resource | Tx Zone | 2018 | 2022 | 2026 | 2030 | RESOLVE Resource | Tx Zone | 2018 | 2022 | 2026 | 2030 | RESOLVE Resource | Tx Zone | 2018 | 2022 | 2026 | 2030 | RESOLVE Resource | Tx Zone | 2018 | 2022 | 2026 | 2030
Northern_California_Solar | Northern_California | 0 | 0 | 0 | 0 | Northern_California_Solar | Northern_California | 0 | 260.2173 | 260.2173 | 317.8108 | Northern_California_Solar | Northern_California | 0 | 0 | 0 | 0 | Northern_California_Solar | Northern_California | 0 | 0 | 0 | 0 | Northern_California_Solar | Northern_California | 0 | 0 | 0 | 0
Solano_Solar | Solano | 0 | 0 | 0 | 0 | Solano_Solar | Solano | 0 | 0 | 0 | 0 | Solano_Solar | Solano | 0 | 0 | 0 | 0 | Solano_Solar | Solano | 0 | 0 | 0 | 0 | Solano_Solar | Solano | 0 | 0 | 0 | 0
Central_Valley_North_Los_Banos_Solar | Central_Valley_North_Los_Banos | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Solar | Central_Valley_North_Los_Banos | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Solar | Central_Valley_North_Los_Banos | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Solar | Central_Valley_North_Los_Banos | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Solar | Central_Valley_North_Los_Banos | 0 | 0 | 0 | 0
Westlands_Solar | Westlands | 0 | 0 | 0 | 0 | Westlands_Solar | Westlands | 0 | 0 | 0 | 0 | Westlands_Solar | Westlands | 0 | 0 | 0 | 0 | Westlands_Solar | Westlands | 0 | 702.7016 | 702.7016 | 702.7016 | Westlands_Solar | Westlands | 0 | 702.7016 | 702.7016 | 702.7016
Greater_Carrizo_Solar | Greater_Carrizo | 0 | 0 | 0 | 0 | Greater_Carrizo_Solar | Greater_Carrizo | 0 | 0 | 0 | 0 | Greater_Carrizo_Solar | Greater_Carrizo | 0 | 0 | 0 | 0 | Greater_Carrizo_Solar | Greater_Carrizo | 0 | 0 | 0 | 0 | Greater_Carrizo_Solar | Greater_Carrizo | 0 | 0 | 0 | 0
Tehachapi_Solar | Tehachapi | 0 | 0 | 0 | 0 | Tehachapi_Solar | Tehachapi | 0 | 0 | 0 | 0 | Tehachapi_Solar | Tehachapi | 0 | 0 | 0 | 0 | Tehachapi_Solar | Tehachapi | 0 | 0 | 0 | 0 | Tehachapi_Solar | Tehachapi | 0 | 0 | 0 | 0
Kramer_Inyokern_Solar | Kramer_Inyokern | 0 | 0 | 0 | 0 | Kramer_Inyokern_Solar | Kramer_Inyokern | 0 | 0 | 0 | 0 | Kramer_Inyokern_Solar | Kramer_Inyokern | 0 | 0 | 0 | 0 | Kramer_Inyokern_Solar | Kramer_Inyokern | 0 | 0 | 0 | 0 | Kramer_Inyokern_Solar | Kramer_Inyokern | 0 | 0 | 0 | 0
Mountain_Pass_El_Dorado_Solar | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Mountain_Pass_El_Dorado_Solar | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0
Southern_California_Desert_Solar | Southern_California_Desert | 0 | 0 | 0 | 0 | Southern_California_Desert_Solar | Southern_California_Desert | 0 | 0 | 0 | 0 | Southern_California_Desert_Solar | Southern_California_Desert | 0 | 0 | 0 | 0 | Southern_California_Desert_Solar | Southern_California_Desert | 0 | 0 | 0 | 0 | Southern_California_Desert_Solar | Southern_California_Desert | 0 | 0 | 0 | 0
Riverside_East_Palm_Springs_Solar | Riverside_East_Palm_Springs | 0 | 0 | 0 | 0 | Riverside_East_Palm_Springs_Solar | Riverside_East_Palm_Springs | 0 | 2565.8497 | 2565.8497 | 2565.8497 | Riverside_East_Palm_Springs_Solar | Riverside_East_Palm_Springs | 0 | 301.5125 | 301.5125 | 301.5125 | Riverside_East_Palm_Springs_Solar | Riverside_East_Palm_Springs | 0 | 2515.5389 | 2515.5389 | 2515.5389 | Riverside_East_Palm_Springs_Solar | Riverside_East_Palm_Springs | 0 | 251.2017 | 251.2017 | 251.2017
Greater_Imperial_Solar | Greater_Imperial | 0 | 0 | 0 | 0 | Greater_Imperial_Solar | Greater_Imperial | 0 | 776.6428 | 776.6428 | 776.6428 | Greater_Imperial_Solar | Greater_Imperial | 0 | 776.6428 | 776.6428 | 776.6428 | Greater_Imperial_Solar | Greater_Imperial | 0 | 776.6428 | 776.6428 | 776.6428 | Greater_Imperial_Solar | Greater_Imperial | 0 | 776.6428 | 776.6428 | 776.6428
Distributed_Solar | None | 0 | 0 | 0 | 0 | Distributed_Solar | None | 0 | 0 | 0 | 0 | Distributed_Solar | None | 0 | 0 | 0 | 0 | Distributed_Solar | None | 0 | 0 | 0 | 0 | Distributed_Solar | None | 0 | 0 | 0 | 0
Baja_California_Solar | #N/A | 0 | 0 | 0 | 0 | Baja_California_Solar | #N/A | 0 | 0 | 0 | 0 | Baja_California_Solar | #N/A | 0 | 0 | 0 | 0 | Baja_California_Solar | #N/A | 0 | 0 | 0 | 0 | Baja_California_Solar | #N/A | 0 | 0 | 0 | 0
Utah_Solar | #N/A | 0 | 0 | 0 | 0 | Utah_Solar | #N/A | 0 | 0 | 0 | 0 | Utah_Solar | #N/A | 0 | 0 | 0 | 0 | Utah_Solar | #N/A | 0 | 0 | 0 | 0 | Utah_Solar | #N/A | 0 | 0 | 0 | 0
Southern_Nevada_Solar | Mountain_Pass_El_Dorado | 0 | 2204.3484 | 2204.3484 | 2204.3484 | Southern_Nevada_Solar | Mountain_Pass_El_Dorado | 0 | 1505.0389 | 1505.0389 | 1505.0389 | Southern_Nevada_Solar | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Southern_Nevada_Solar | Mountain_Pass_El_Dorado | 0 | 1505.0389 | 1505.0389 | 1505.0389 | Southern_Nevada_Solar | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0
Arizona_Solar | #N/A | 0 | 0 | 0 | 0 | Arizona_Solar | #N/A | 0 | 0 | 0 | 0 | Arizona_Solar | #N/A | 0 | 0 | 0 | 0 | Arizona_Solar | #N/A | 0 | 0 | 0 | 0 | Arizona_Solar | #N/A | 0 | 0 | 0 | 0
New_Mexico_Solar | #N/A | 0 | 0 | 0 | 0 | New_Mexico_Solar | #N/A | 0 | 0 | 0 | 0 | New_Mexico_Solar | #N/A | 0 | 0 | 0 | 0 | New_Mexico_Solar | #N/A | 0 | 0 | 0 | 0 | New_Mexico_Solar | #N/A | 0 | 0 | 0 | 0
Northern_California_Wind | #N/A | 0 | 0 | 0 | 0 | Northern_California_Wind | #N/A | 0 | 0 | 0 | 0 | Northern_California_Wind | #N/A | 0 | 0 | 0 | 0 | Northern_California_Wind | #N/A | 0 | 0 | 0 | 0 | Northern_California_Wind | #N/A | 0 | 0 | 0 | 0
Solano_Wind | Solano | 642.9965 | 642.9965 | 642.9965 | 642.9965 | Solano_Wind | Solano | 642.9965 | 642.9965 | 642.9965 | 642.9965 | Solano_Wind | Solano | 642.9965 | 642.9965 | 642.9965 | 642.9965 | Solano_Wind | Solano | 61.9083 | 61.9083 | 61.9083 | 61.9083 | Solano_Wind | Solano | 61.9083 | 61.9083 | 61.9083 | 61.9083
Central_Valley_North_Los_Banos_Wind | Central_Valley_North_Los_Banos | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Wind | Central_Valley_North_Los_Banos | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Wind | Central_Valley_North_Los_Banos | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Wind | Central_Valley_North_Los_Banos | 0 | 0 | 0 | 0 | Central_Valley_North_Los_Banos_Wind | Central_Valley_North_Los_Banos | 0 | 0 | 0 | 0
Greater_Carrizo_Wind | Greater_Carrizo | 160.1491 | 160.1491 | 160.1491 | 160.1491 | Greater_Carrizo_Wind | Greater_Carrizo | 160.1491 | 160.1491 | 160.1491 | 160.1491 | Greater_Carrizo_Wind | Greater_Carrizo | 160.1491 | 160.1491 | 160.1491 | 160.1491 | Greater_Carrizo_Wind | Greater_Carrizo | 200.1864 | 200.1864 | 200.1864 | 200.1864 | Greater_Carrizo_Wind | Greater_Carrizo | 200.1864 | 200.1864 | 200.1864 | 200.1864
Tehachapi_Wind | Tehachapi | 0 | 0 | 0 | 0 | Tehachapi_Wind | Tehachapi | 0 | 0 | 0 | 0 | Tehachapi_Wind | Tehachapi | 0 | 0 | 0 | 0 | Tehachapi_Wind | Tehachapi | 0 | 0 | 0 | 0 | Tehachapi_Wind | Tehachapi | 0 | 0 | 0 | 0
Kramer_Inyokern_Wind | #N/A | 0 | 0 | 0 | 0 | Kramer_Inyokern_Wind | #N/A | 0 | 0 | 0 | 0 | Kramer_Inyokern_Wind | #N/A | 0 | 0 | 0 | 0 | Kramer_Inyokern_Wind | #N/A | 0 | 0 | 0 | 0 | Kramer_Inyokern_Wind | #N/A | 0 | 0 | 0 | 0
Southern_California_Desert_Wind | #N/A | 0 | 0 | 0 | 0 | Southern_California_Desert_Wind | #N/A | 0 | 0 | 0 | 0 | Southern_California_Desert_Wind | #N/A | 0 | 0 | 0 | 0 | Southern_California_Desert_Wind | #N/A | 0 | 0 | 0 | 0 | Southern_California_Desert_Wind | #N/A | 0 | 0 | 0 | 0
Riverside_East_Palm_Springs_Wind | Riverside_East_Palm_Springs | 0 | 0 | 0 | 0 | Riverside_East_Palm_Springs_Wind | Riverside_East_Palm_Springs | 0 | 0 | 0 | 0 | Riverside_East_Palm_Springs_Wind | Riverside_East_Palm_Springs | 0 | 0 | 0 | 0 | Riverside_East_Palm_Springs_Wind | Riverside_East_Palm_Springs | 0 | 0 | 0 | 0 | Riverside_East_Palm_Springs_Wind | Riverside_East_Palm_Springs | 0 | 0 | 0 | 0
Greater_Imperial_Wind | #N/A | 0 | 0 | 0 | 0 | Greater_Imperial_Wind | #N/A | 0 | 0 | 0 | 0 | Greater_Imperial_Wind | #N/A | 0 | 0 | 0 | 0 | Greater_Imperial_Wind | #N/A | 0 | 0 | 0 | 0 | Greater_Imperial_Wind | #N/A | 0 | 0 | 0 | 0
Distributed_Wind | None | 0 | 0 | 0 | 0 | Distributed_Wind | None | 0 | 0 | 0 | 0 | Distributed_Wind | None | 0 | 0 | 0 | 0 | Distributed_Wind | None | 0 | 0 | 0 | 0 | Distributed_Wind | None | 0 | 0 | 0 | 0
Baja_California_Wind | #N/A | 0 | 0 | 0 | 0 | Baja_California_Wind | #N/A | 0 | 0 | 0 | 0 | Baja_California_Wind | #N/A | 0 | 0 | 0 | 0 | Baja_California_Wind | #N/A | 0 | 0 | 0 | 0 | Baja_California_Wind | #N/A | 0 | 0 | 0 | 0
Pacific_Northwest_Wind | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Wind | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Wind | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Wind | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Wind | #N/A | 0 | 0 | 0 | 0
NW_Ext_Tx_Wind | Northern_California | 0 | 0 | 0 | 280.7438 | NW_Ext_Tx_Wind | Northern_California | 0 | 0 | 0 | 1500.0034 | NW_Ext_Tx_Wind | Northern_California | 0 | 0 | 0 | 840.2415 | NW_Ext_Tx_Wind | Northern_California | 0 | 0 | 0 | 860.7503 | NW_Ext_Tx_Wind | Northern_California | 0 | 0 | 0 | 860.7503
Idaho_Wind | #N/A | 0 | 0 | 0 | 0 | Idaho_Wind | #N/A | 0 | 0 | 0 | 0 | Idaho_Wind | #N/A | 0 | 0 | 0 | 0 | Idaho_Wind | #N/A | 0 | 0 | 0 | 0 | Idaho_Wind | #N/A | 0 | 0 | 0 | 0
Utah_Wind | #N/A | 0 | 0 | 0 | 0 | Utah_Wind | #N/A | 0 | 0 | 0 | 0 | Utah_Wind | #N/A | 0 | 0 | 0 | 0 | Utah_Wind | #N/A | 0 | 0 | 0 | 0 | Utah_Wind | #N/A | 0 | 0 | 0 | 0
Wyoming_Wind | #N/A | 0 | 0 | 0 | 0 | Wyoming_Wind | #N/A | 0 | 0 | 0 | 0 | Wyoming_Wind | Mountain_Pass_El_Dorado | 0 | 0 | 1286.8905 | 1943.9554 | Wyoming_Wind | #N/A | 0 | 0 | 0 | 0 | Wyoming_Wind | Mountain_Pass_El_Dorado | 0 | 0 | 1943.9554 | 1943.9554
Southern_Nevada_Wind | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Southern_Nevada_Wind | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 442.0327 | Southern_Nevada_Wind | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Southern_Nevada_Wind | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 442.0327 | Southern_Nevada_Wind | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0
Arizona_Wind | #N/A | 0 | 0 | 0 | 0 | Arizona_Wind | #N/A | 0 | 0 | 0 | 0 | Arizona_Wind | #N/A | 0 | 0 | 0 | 0 | Arizona_Wind | #N/A | 0 | 0 | 0 | 0 | Arizona_Wind | #N/A | 0 | 0 | 0 | 0
New_Mexico_Wind | #N/A | 0 | 0 | 0 | 0 | New_Mexico_Wind | #N/A | 0 | 0 | 0 | 0 | New_Mexico_Wind | Riverside_East_Palm_Springs | 0 | 0 | 930.5162 | 2250.0022 | New_Mexico_Wind | #N/A | 0 | 0 | 0 | 0 | New_Mexico_Wind | Riverside_East_Palm_Springs | 0 | 0 | 198.8093 | 2250.0022
SW_Ext_Tx_Wind | Riverside_East_Palm_Springs | 0 | 0 | 0 | 0 | SW_Ext_Tx_Wind | Riverside_East_Palm_Springs | 0 | 0 | 0 | 0 | SW_Ext_Tx_Wind | Riverside_East_Palm_Springs | 0 | 0 | 0 | 0 | SW_Ext_Tx_Wind | Riverside_East_Palm_Springs | 0 | 0 | 0 | 0 | SW_Ext_Tx_Wind | Riverside_East_Palm_Springs | 0 | 0 | 0 | 0
InState_Biomass | None | 0 | 0 | 0 | 0 | InState_Biomass | None | 0 | 0 | 0 | 0 | InState_Biomass | None | 0 | 0 | 0 | 0 | InState_Biomass | None | 0 | 0 | 0 | 0 | InState_Biomass | None | 0 | 0 | 0 | 0
Greater_Imperial_Geothermal | Greater_Imperial | 0 | 0 | 0 | 567.9477 | Greater_Imperial_Geothermal | Greater_Imperial | 0 | 0 | 0 | 1275.8957 | Greater_Imperial_Geothermal | Greater_Imperial | 0 | 0 | 0 | 1275.8957 | Greater_Imperial_Geothermal | Greater_Imperial | 0 | 0 | 0 | 1275.8957 | Greater_Imperial_Geothermal | Greater_Imperial | 0 | 0 | 0 | 1275.8957
Northern_California_Geothermal | Northern_California | 0 | 0 | 0 | 0 | Northern_California_Geothermal | Northern_California | 0 | 0 | 124.0375 | 424 | Northern_California_Geothermal | Northern_California | 0 | 0 | 0 | 424 | Northern_California_Geothermal | Northern_California | 0 | 0 | 0 | 424 | Northern_California_Geothermal | Northern_California | 0 | 0 | 0 | 424
Pacific_Northwest_Geothermal | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Geothermal | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Geothermal | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Geothermal | #N/A | 0 | 0 | 0 | 0 | Pacific_Northwest_Geothermal | #N/A | 0 | 0 | 0 | 0
Southern_Nevada_Geothermal | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 0 | Southern_Nevada_Geothermal | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 320 | Southern_Nevada_Geothermal | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 320 | Southern_Nevada_Geothermal | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 320 | Southern_Nevada_Geothermal | Mountain_Pass_El_Dorado | 0 | 0 | 0 | 320
In-State |  | 803.1456 | 803.1456 | 803.1456 | 1371.0933 | In-State |  | 803.1456 | 4405.8555 | 4529.893 | 6163.3446 | In-State |  | 803.1456 | 1881.3009 | 1881.3009 | 3581.1966 | In-State |  | 262.0947 | 4256.9781 | 4256.9781 | 5956.8738 | In-State |  | 262.0947 | 1992.6409 | 1992.6409 | 3692.5366
Out-Of-State |  | 0 | 2204.3484 | 2204.3484 | 2485.0922 | Out-Of-State |  | 0 | 1505.0389 | 1505.0389 | 3767.075 | Out-Of-State |  | 0 | 0 | 2217.4067 | 5354.1991 | Out-Of-State |  | 0 | 1505.0389 | 1505.0389 | 3127.8219 | Out-Of-State |  | 0 | 0 | 2142.7647 | 5374.7079
Note: Resources with #N/A as transmission zone were not made available to the model for this scenario | [5 empty] | Note: Resources with #N/A as transmission zone were not made available to the model for this scenario | [5 empty] | Note: Resources with #N/A as transmission zone were not made available to the model for this scenario | [5 empty] | Note: Resources with #N/A as transmission zone were not made available to the model for this scenario | [5 empty] | Note: Resources with #N/A as transmission zone were not made available to the model for this scenario

## storage
Storage results manually copied from Scenario Comparison | 2030 | 42mmt_Ref_20181101_2017_IEPR | 32mmt_SB100plus_20181210_ExistTX | 32mmt_SB100plus_20181212_ExistTXandWYNM_WYNMcap | 32mmt_TXU_20190124_ExistTX | 32mmt_TXU_20190124_ExistTXandWYNM_WYNMcap
Battery Storage | MW | 2104.2 | 4299 | 2795.38 | 4347.08 | 2602.38
Pumped Storage | MW | 0 | 1246.12 | 116.15 | 1341.5 | 0
Battery Storage Hours | Hours | 1.2992 | 3.6676 | 2.5346 | 3.5721 | 2.0843
Batt 2 hour |  | 2104.2 | 0 | 0 | 0 | 0
Batt 4 hour |  | 0 | 4299 | 2795.38 | 4347.08 | 2602.38
Pumped Storage |  | 0 | 1246.12 | 116.15 | 1341.5 | 0

## lookups
New_Resource_Type | Tech_type | Tech_type_simple | InState_OOS | Tech_Sub_Type | Servm_type_better | Servm_type_current | RESOLVE resource type | RESOLVE resource potential: Existing Tx Only | RESOLVE resource potential: Existing & New Tx | Resolve Resource Name | Active Tx Zone | outside main zone existing tx | outside main zone new tx | Tx Zone | Remaining FCDS MW | EODS MW
CAISO_New_Advanced_CCGT | CC | CC | In-state | Solar_FixedTilt | SolarPV_Fixed | Solar PV | Northern_California_Solar | 19705.8334 | 19705.8334 | Northern_California_Solar | Northern_California | 0 | 0 | Central_Valley_North_Los_Banos | 697.06 | 0
CAISO_New_Aero_CT | CT | CT | In-state | Solar_Track1axis | SolarPV_Tracking | PV Single Axis | Solano_Solar | 2603.2221 | 2603.2221 | Solano_Solar | Solano | 0 | 0 | Mountain_Pass_El_Dorado | 800 | 2200
CAISO_New_Conventional_DR | DR | DR | In-state | Solar_Track2axis | SolarPV_Tracking | PV Single Axis | Central_Valley_North_Los_Banos_Solar | 1263.1402 | 1263.1402 | Central_Valley_North_Los_Banos_Solar | Central_Valley_North_Los_Banos | 0 | 0 | Greater_Carrizo | 0 | 160
CAISO_New_Flexible_Load_Shift | DR | DR | In-state | Solar_Thermal | Solar Thermal | Solar Thermal | Westlands_Solar | 15689.4477 | 15689.4477 | Westlands_Solar | Westlands | 0 | 0 | Greater_Imperial | 623.6424 | 1900
CAISO_New_Flow_Battery | Battery Storage | Battery | In-state | Solar PV - Tracking - 20MW+Solar_Track1axis | SolarPV_Tracking | PV Single Axis | Greater_Carrizo_Solar | 3805.7255 | 3805.7255 | Greater_Carrizo_Solar | Greater_Carrizo | 0 | 0 | Kramer_Inyokern | 975.6568 | 0
CAISO_New_Li_Battery | Battery Storage | Battery | In-state | 1 | Battery_1_hr | Battery Storage | Tehachapi_Solar | 1018.0011 | 1018.0011 | Tehachapi_Solar | Tehachapi | 0 | 0 | Southern_California_Desert | 0 | 0
CAISO_New_Pumped_Storage | PSH | PSH | In-state | 4 | Battery_4_hr | Battery Storage | Kramer_Inyokern_Solar | 6872.8273 | 6872.8273 | Kramer_Inyokern_Solar | Kramer_Inyokern | 0 | 0 | Northern_California | 659.7932 | 4232
CAISO_New_Reciprocating_Engine | ICE | ICE | In-state |  |  |  | Mountain_Pass_El_Dorado_Solar | 62.1173 | 62.1173 | Mountain_Pass_El_Dorado_Solar | Mountain_Pass_El_Dorado | 0 | 0 | Riverside_East_Palm_Springs | 2815.768 | 2550
CAISO_New_Small_Hydro | Hydro | Hydro | In-state |  |  |  | Southern_California_Desert_Solar | 12009.1161 | 12009.1161 | Southern_California_Desert_Solar | Southern_California_Desert | 0 | 0 | Solano | 0 | 700
Northern_California_Solar | Solar | Solar | In-state |  |  |  | Riverside_East_Palm_Springs_Solar | 14250.4254 | 14250.4254 | Riverside_East_Palm_Springs_Solar | Riverside_East_Palm_Springs | 0 | 0 | Tehachapi | 4611.962 | 800
Solano_Solar | Solar | Solar | In-state |  |  |  | Greater_Imperial_Solar | 8787.0602 | 8787.0602 | Greater_Imperial_Solar | Greater_Imperial | 0 | 0 | Westlands | 1378.2596 | 700
Central_Valley_North_Los_Banos_Solar | Solar | Solar | In-state |  |  |  | Distributed_Solar | 36233.1011 | 36233.1011 | Distributed_Solar | None | 0 | 0 | None | 0 | 0
Westlands_Solar | Solar | Solar | In-state |  |  |  | Baja_California_Solar | 0 | 10009.2274 | Baja_California_Solar | Greater_Imperial | 0 | 0
Greater_Carrizo_Solar | Solar | Solar | In-state |  |  |  | Utah_Solar | 0 | 14411.8324 | Utah_Solar | Mountain_Pass_El_Dorado | 0 | 1
Tehachapi_Solar | Solar | Solar | In-state |  |  |  | Southern_Nevada_Solar | 36853.3741 | 36853.3741 | Southern_Nevada_Solar | Mountain_Pass_El_Dorado | 0 | 0
Kramer_Inyokern_Solar | Solar | Solar | In-state |  |  |  | Arizona_Solar | 0 | 19276.821 | Arizona_Solar | Riverside_East_Palm_Springs | 0 | 1
Mountain_Pass_El_Dorado_Solar | Solar | Solar | In-state |  |  |  | New_Mexico_Solar | 0 | 166.0404 | New_Mexico_Solar | Riverside_East_Palm_Springs | 0 | 1
Southern_California_Desert_Solar | Solar | Solar | In-state |  |  |  | Northern_California_Wind | 0 | 0 | Northern_California_Wind | Northern_California | 0 | 0
Riverside_East_Palm_Springs_Solar | Solar | Solar | In-state |  |  |  | Solano_Wind | 642.9135 | 642.9135 | Solano_Wind | Solano | 0 | 0
Greater_Imperial_Solar | Solar | Solar | In-state |  |  |  | Central_Valley_North_Los_Banos_Wind | 145.9103 | 145.9103 | Central_Valley_North_Los_Banos_Wind | Central_Valley_North_Los_Banos | 0 | 0
Distributed_Solar | Solar | Solar | In-state |  |  |  | Greater_Carrizo_Wind | 1093.9804 | 1093.9804 | Greater_Carrizo_Wind | Greater_Carrizo | 0 | 0
Baja_California_Solar | Solar | Solar | OOS |  |  |  | Tehachapi_Wind | 156.9905 | 156.9905 | Tehachapi_Wind | Tehachapi | 0 | 0
Utah_Solar | Solar | Solar | OOS |  |  |  | Kramer_Inyokern_Wind | 0 | 0 | Kramer_Inyokern_Wind | Kramer_Inyokern | 0 | 0
Southern_Nevada_Solar | Solar | Solar | In-state |  |  |  | Southern_California_Desert_Wind | 0 | 0 | Southern_California_Desert_Wind | Southern_California_Desert | 0 | 0
Arizona_Solar | Solar | Solar | OOS |  |  |  | Riverside_East_Palm_Springs_Wind | 41.998 | 41.998 | Riverside_East_Palm_Springs_Wind | Riverside_East_Palm_Springs | 0 | 0
New_Mexico_Solar | Solar | Solar | OOS |  |  |  | Greater_Imperial_Wind | 0 | 0 | Greater_Imperial_Wind | Greater_Imperial | 0 | 0
Northern_California_Wind | Wind | Wind | In-state |  |  |  | Distributed_Wind | 253.073 | 253.073 | Distributed_Wind | None | 0 | 0
Solano_Wind | Wind | Wind | In-state |  |  |  | Baja_California_Wind | 0 | 1116.7222 | Baja_California_Wind | Greater_Imperial | 0 | 0
Central_Valley_North_Los_Banos_Wind | Wind | Wind | In-state |  |  |  | Pacific_Northwest_Wind | 0 | 11073.7058 | Pacific_Northwest_Wind | Northern_California | 0 | 1
Greater_Carrizo_Wind | Wind | Wind | In-state |  |  |  | NW_Ext_Tx_Wind | 1500.0866 | 1500.0866 | NW_Ext_Tx_Wind | Northern_California | 1 | 0
Tehachapi_Wind | Wind | Wind | In-state |  |  |  | Idaho_Wind | 0 | 6869.0131 | Idaho_Wind | Northern_California | 0 | 1
Kramer_Inyokern_Wind | Wind | Wind | In-state |  |  |  | Utah_Wind | 0 | 4860.4833 | Utah_Wind | Mountain_Pass_El_Dorado | 0 | 1
Southern_California_Desert_Wind | Wind | Wind | In-state |  |  |  | Wyoming_Wind | 0 | 33862.777 | Wyoming_Wind | Mountain_Pass_El_Dorado | 0 | 1
Riverside_East_Palm_Springs_Wind | Wind | Wind | In-state |  |  |  | Southern_Nevada_Wind | 441.9318 | 441.9318 | Southern_Nevada_Wind | Mountain_Pass_El_Dorado | 0 | 0
Greater_Imperial_Wind | Wind | Wind | In-state |  |  |  | Arizona_Wind | 0 | 2898.4874 | Arizona_Wind | Riverside_East_Palm_Springs | 0 | 1
Distributed_Wind | Wind | Wind | In-state |  |  |  | New_Mexico_Wind | 0 | 34585.3445 | New_Mexico_Wind | Riverside_East_Palm_Springs | 0 | 1
Baja_California_Wind | Wind | Wind | OOS |  |  |  | SW_Ext_Tx_Wind | 499.7701 | 499.7701 | SW_Ext_Tx_Wind | Riverside_East_Palm_Springs | 1 | 0
Pacific_Northwest_Wind | Wind | Wind | OOS |  |  |  | InState_Biomass | 1106.1967 | 1106.1967 | InState_Biomass | None | 0 | 0
NW_Ext_Tx_WIND | Wind | Wind | OOS |  |  |  | Greater_Imperial_Geothermal | 1123.9658 | 1123.9658 | Greater_Imperial_Geothermal | Greater_Imperial | 0 | 0
Idaho_Wind | Wind | Wind | OOS |  |  |  | Northern_California_Geothermal | 339.2 | 339.2 | Northern_California_Geothermal | Northern_California | 0 | 0
Utah_Wind | Wind | Wind | OOS |  |  |  | Pacific_Northwest_Geothermal | 0 | 530.3671 | Pacific_Northwest_Geothermal | Northern_California | 0 | 1
Wyoming_Wind | Wind | Wind | OOS |  |  |  | Southern_Nevada_Geothermal | 256 | 256 | Southern_Nevada_Geothermal | Mountain_Pass_El_Dorado | 0 | 0
Southern_Nevada_Wind | Wind | Wind | In-state
Arizona_Wind | Wind | Wind | OOS
New_Mexico_Wind | Wind | Wind | OOS
SW_Ext_Tx_Wind | Wind | Wind | OOS
InState_Biomass | Biomass/Wood | Biomass | In-state
Greater_Imperial_Geothermal | Geothermal | Geothermal | In-state
Northern_California_Geothermal | Geothermal | Geothermal | In-state
Pacific_Northwest_Geothermal | Geothermal | Geothermal | OOS
Southern_Nevada_Geothermal | Geothermal | Geothermal | In-state
Other_New_Solar | Solar | Solar | In-state
Other_New_Wind | Wind | Wind | In-state
Other_New_Biogas | Biogas_LandfillGas | Biomass | In-state
Note on I1: Copied from REN_Candidate with Out-of-State Renewable Filter set to Existing Tx Only
Note on J1: Copied from REN_Candidate with Out-of-State Renewable Filter set to Existing & New Tx
Note on L1: Copied from REN_Tx_Costs
Note on P1: Copied from REN_Tx_Costs
Note on H19: RESOLVE says there is no potential here
Note on H24: RESOLVE says there is no potential here
Note on D25: LSEs considered Southern Nevada as in CAISO system
Note on H25: RESOLVE says there is no potential here
Note on H27: RESOLVE says there is no potential here
Note on D44: LSEs considered Southern Nevada as in CAISO system
Note on D52: LSEs considered Southern Nevada as in CAISO system

## 2019-20TxInputUpdate
Transmission Capability Estimates and Costs - CAISO Data (2019-2020 TPP) | [11 empty] | 0.1127 | Annualization Factor
[12 empty] | 1.175 | AFUDC (Allowance for Funds Used During Construction)
Tx Capability Estimated for 2019-2020 TPP
|  | Estimated FCDS Capability (MW) |  |  |  | Incremental Upgrade Cost Estimate ($MM) |  |  |  | Estimated EODS Capability** (MW) | Incremental EODS | Overall Levelized Upgrade Cost | Weighted Avg Levelized Upgrade Cost |  |  |  |  | RESOLVE assumed "contracted not yet built projects" debited from available FCDS (from RESOLVE UI: REN_Existing_Resources worksheet)
| Transmission Area | Existing System | Minor Upgrades | Major Upgrade #1 | Major Upgrade #2 | Existing System | Minor Upgrades | Major Upgrade #1 | Major Upgrade #2 | Existing System | Existing System | $/kW-yr | $/kW-yr | RESOLVE FC Input | RESOLVE EO Input | RESOLVE Zone Description | "Superzone" Name | Tx Zone | New FCDS Resources (MW) | Actual Remaining FC MW
| Northern CA | 2000 |  | 2000 |  |  |  | 285 |  | 3900 | 1900 | 18.8702 | 21.32 | 1400 | 1200 | Northern CA = overall limits for NorCal minus limits for Solano |  | Northern_California | 8 | 1392
| - Round mountain | 500 | [7 empty] | 2100 | 1600
| - Humboldt | 0 | [7 empty] | 100 | 100
| - Sacramento River | 2000 | [7 empty] | 4600 | 2600
| - Solano | 600 |  | 2000 |  |  |  | 322 |  | 1300 | 700 | 21.32 |  | 600 | 700 | Solano |  | Solano | 19 | 581
| Southern PG&E | 1100 |  | 2000 |  |  |  | 55 |  | 2000 | 900 | 3.6416 | 16.7735 | 1100 | 900 |  | Southern PG&E |  | 285 | 815
| - Westlands | 1100 |  | 2000 |  |  |  | 55 |  | 1800 | 700 | 3.6416 |  | 540 | 700 | Westlands |  | Westlands | 122 | 418
| - Kern and Greater Carrizo | 1000 |  | 1500 |  |  |  | 241 |  | 1200 | 200 | 21.2759 |  | 400 | 200 | Greater Carrizo |  | Greater_Carrizo | 160 | 240
| - Central Valley North & Los Banos | 1000 |  | 1000 |  |  |  | 274 |  | 1000 | 0 | 36.2838 |  | 160 | 0 | Central Valley North & Los Banos |  | Central_Valley_North_Los_Banos | 3 | 157
| Tehachapi | 4300 | 1000 |  |  |  | 100 |  |  | 5100 | 800 |  |  | 4300 | 800 | Tehachapi |  | Tehachapi | 388 | 3912
| Greater Kramer (North of Lugo) | 600 |  | 400 |  |  |  | 146 |  | 600 | 0 | 48.3342 | 135.8434 | 600 | 0 | Greater Kramer |  | Kramer_Inyokern | 24 | 576
| - North of Victor | 300 |  | 400 |  |  |  | 485 |  | 300 | 0
| - Inyokern and North of Kramer | 100 |  | 400 |  |  |  | 485 |  | 100 | 0
| - Pisgah | 400 |  | 400 |  |  |  | 261 |  | 400 | 0
| Southern CA Desert and Southern NV | 3000 |  | 2800 |  |  |  | 2156 |  | 9600 | 6600 | 101.9653 | 176.4017 | 3000 | 6600 |  | Southern CA Desert and Southern NV | Southern_California_Desert | 710 | 2290
| - Southern NV (GridLiance-VEA), El Dorado and Mountain Pass | 800 |  | 300 |  |  |  | 76 |  | 3000 | 2200 | 101.9653 |  | 800 | 2200 | Mountain Pass El Dorado |  | Mountain_Pass_El_Dorado | 0 | 800
| - Southern NV (GridLiance-VEA) | 700 |  | 350 |  |  |  | 275 |  | 700 | 0 | 104.0463
| - Greater Imperial* | 1200 |  | 1400 |  |  |  | 2334 |  | 3100 | 1900 | 220.7672 |  | 1200 | 1900 | Greater Imperial |  | Greater_Imperial | 576 | 624
| - Riverside East & Palm Springs | 2950 |  | 1500 |  |  |  | 2044 |  | 5500 | 2550 | 180.4477 |  | 1000 | 2500 | Riverside East & Palm Springs |  | Riverside_East_Palm_Springs | 134 | 866
NOTE:
(i) The transmission areas indented in the table are subsets of the overarching transmission areas listed immediately above the indented areas.
(ii) The transmission capability estimates rely on the latest generation interconnection studies as one of the inputs. Estimated available transmission has been reduced by the amount of renewable resources that have come online by December 31, 2018 assuming that all these resources have a contract with an entity within CAISO BA.
(ii) The estimated capability added due to major upgrades and corresponding costs are ballpark numbers and are conceptual in nature.
(iv) The capability estimates have not been updated to account for the results of 2018-2019 TPP policy-assessment because the studies are underway as of the day of this transmittal.
* Subject to mitigation of the S-line constraint.
** Estimate EODS capability numbers are inclusive of the FCDS estimates. So the incremental EODS capability = Estimated EODS capability - Estimated FCDS capability
Note on E11: 2/1 correction: This should be 1000 MW but staff did not incorporate into RESOLVE and rerun because it is unlikely to affect results.
Note on E12: 2/1 correction: This should be 1000 MW but staff did not incorporate into RESOLVE and rerun because it is unlikely to affect results.
Note on Q12: Westlands and Greater Carrizo approximately proportionally reduced to fit within Southern PG&E cap.
Note on Q13: Westlands and Greater Carrizo approximately proportionally reduced to fit within Southern PG&E cap.
Note on Q14: Central Vly Los Banos reduced to level just above this zone's wind resource potential to fit within Southern PG&E cap. RESOLVE tends not to pick any solar in this zone.
Note on N21: Cost of larger major upgrade for overall zone is used as a proxy for the cost of upgrading the individual zone to an amount above 300 MW.
Note on Q24: Riverside E & Palm Springs reduced to fit within SoCal Desert So NV overall zone limits. Mtn Pass El Dorado and Greater Imperial were not modified to ensure comparable access to WY wind, So NV resources, and Greater Imperial geothermal, all resources which RESOLVE tends to value.
Note on R24: Riverside E & Palm Springs reduced to fit within SoCal Desert So NV overall zone limits. Mtn Pass El Dorado and Greater Imperial were not modified to ensure comparable access to WY wind, So NV resources, and Greater Imperial geothermal, all resources which RESOLVE tends to value.