## Distribution Pipelines
Row ID | Row Name | Value | Definition | General Rate Case Citation (document and page number)
G1 | Maintenance cost per service | 26.7645 | Average cost of gas distribution pipeline maintenance, per service. Calculated by adding G3 and G4, then dividing by G2. | NA
G2 | Services | 4587642 | Number of services operated by the utility. | NA
G3 | Total capital maintenance costs | NA | Annual capital cost of all gas distribution main and service leak detection and prevention, maintenance, and repairs, excluding pipeline replacement. | NA
G4 | Total O&M maintenance costs | 122785810.29 | Annual operations and maintenance cost of all gas distribution main and service leak detection and prevention, maintenance, and repairs, excluding pipeline replacement. | NA
G5 | CATHODIC PROTECTION | 16612926.99 |  | Program description: Exhibit SCG-04-R-E, p. MAA-49, line 7 to p. MAA-53, line 14. Recorded costs: Exhibit SCG-04-WP-R-2E, p. 84 to p. 92
G6 | DAMAGE PREVENTION | 6911906.77 |  | Program description: Exhibit SCG-04-R-E, p. MAA-28, line 8 to p. MAA-33, line 4 Recorded costs: Exhibit SCG-04-WP-R-2E, p. 30 to p. 38
G7 | LEAK MITIGATION | 38303122.9 |  | Program description: Exhibit SCG-04-R-E, p. MAA-44, line 20 to p. MAA-49, line 6 Recorded costs: Exhibit SCG-04-WP-R-2E, p.64 to p. 75
G8 | LEAK SURVEY | 21387741.26 |  | Program description: Exhibit SCG-04-R-E, p. MAA-15, line 15 to p. MAA-28, line 7 Recorded costs: Exhibit SCG-04-WP-R-2E, p. 22 to p. 29
G9 | OTHER MAIN MAINTENANCE | 14390682.77 |  | Program description: Exhibit SCG-04-R-E, p. MAA-37, line 1 to p. MAA-41, line 29 Recorded costs: Exhibit SCG-04-WP-R-2E, p. 39 to p. 50
G10 | PIPELINE INSPECTIONS | 2765143.01 |  | Program description: Exhibit SCG-04-R-E, p. MAA-37, line 1 to p. MAA-41, line 29 Recorded costs: Exhibit SCG-04-WP-R-2E, p. 39 to p. 50
G11 | SERVICE AND MSA WORK | 22414286.59 |  | Program description: Exhibit SCG-04-R-E, p. MAA-42, line 1 to p. MAA-44, line 19 Recorded costs: Exhibit SCG-04-WP-R-2E, p. 51 to p. 58

## Medium-Pr Regulator Stations
Row ID | Row Name | Value | Definition | General Rate Case Citation (document and page number)
H1 | Maintenance cost per regulator station | 1542.4049 | Average cost of maintaining gas distribution medium-pressure regulator stations, per service. Calculated by adding H3 and H4, then dividing by H2. | NA
H2 | Regulator stations | 1677 | Number of gas distribution regulator stations operated by the utility. Include only the medium-pressure stations included in the F4 total. | NA
H3 | Total capital maintenance costs | NA | Annual capital cost of all medium-pressure gas distribution regulator station leak detection and prevention, maintenance, and repairs, excluding station replacement. | NA
H4 | Total O&M maintenance costs | 2586612.95 | Annual operations and maintenance cost of all medium-pressure gas distribution regulator station leak detection and prevention, maintenance, and repairs, excluding station replacement. | Program description: Exhibit SCG-04-R-E, p. MAA-33, line 5 to p. MAA-36, line 31 Recorded costs: Exhibit SCG-04-WP-R-2E, p. 76 to p. 83
H5 | [cost component] | [value] | [definition] | [citation]
H6 | [cost component] | [value] | [definition] | [citation]
H7 | [cost component] | [value] | [definition] | [citation]
…

## Directions
Distribution Pipelines
a. In the tab “Distribution Pipelines,” provide the information shown. In the first two columns, provide the Row ID, and Row Name, as shown; in the third column, provide the information requested; and in the fourth column, provide the Definition, as shown. Provide additional rows showing the cost components which sum to G3 and to G4, as categorized in the utility’s rate case workpapers, and a final column showing general rate case citations for each cost component, including page numbers. If the general rate case application was submitted before 2025, dollar values in rate case citations may be different from values reported here. Include only and all such actual costs borne by ratepayers. Include activities that support gas distribution pipeline safety such as leak surveys and locate-and-mark programs.
Medium-Pressure Regulator Stations
b. In the tab “Medium-Pr Regulator Stations,” provide the information shown. In the first column two columns, provide the Row ID, and Row Name, as shown; in the third column, provide the information for medium-pressure regulator stations; in the fourth column, provide the information for low-pressure regulator stations; and in the fifth column, provide the Definition, as shown. Provide additional rows showing the cost components which sum to H3 and to H4, as categorized in the utility’s rate case workpapers, and a final column showing general rate case citations for each cost component, including page numbers. If the general rate case application was submitted before 2025, dollar values in rate case citations may be different from values reported here. Include only and all such actual costs borne by ratepayers. Include costs associated with maintaining regulator station locations and on-site equipment, such as SCADA equipment, vault lids, fencing, and access roadway maintenance.

## Definitions
1. Definitions
For the data required in this template, use the following definitions unless otherwise stated:
a. Data time period: Annual for calendar years 2021-2024, averaged across these four years.
b. Main and service replacement programs:
i. PG&E: Plastic Pipeline Replacement Program (MAT Code 14D) (which covers aldyl-A); Gas Pipeline Replacement Program (14A) (which covers pre-1941 steel); Reliability Main Replacement Program (50A)
ii. SoCalGas/SDG&E: Vintage Integrity Plastic Plan (within Budget Code 277); Bare Steel Replacement Plan (within 277) (which covers pre-1972 steel without cathodic protection); Main Replacement Programs (252, 253, 255, 267, 278[1])
iii. Southwest Gas: Targeted Pipe Replacement Program (which covers Driscopipe 7000 plastic[2]) (within budget code 9636); Vintage Steel Program (which covers pre-1961 steel) (within 9636 and 9605)
c. Service-only replacement programs:
i. PG&E: Reliability Service Replacement Program (50B)
ii. SoCalGas/SDG&E: Service Replacement Programs (256, 257, 258, 260)
iii. Southwest Gas: Customer-Owned Yard Line Program (school and non-school locations)
iv. Regulator station replacement programs: PG&E: Regulator Station Rebuilds (50C)
v. SoCalGas/SDG&E: rebuilds/replacements within Regulator Stations Program (within budget code 265; exclude non-replacement activities not addressed here)
d. Operating Districts:[3]
i. PG&E: provide name and number of 18 divisions.[4]
ii. SoCalGas: provide name and number of about 50 gas districts.[5]
iii. SDG&E: provide name and number of 5 districts.[6]
iv. Southwest Gas: provide name and number of 7 districts.[7]
e. Work order: Common identifier used by the gas utility to track gas infrastructure work at a given location. For example, the replacement of five adjacent services and the mains serving them typically would be tracked as one work order. The term “project” is also used in this document to refer to a work order.
f. Costs: Provide the costs for all work orders associated with the program, as recorded for the applicable years. That is, state the amount totaled across the program’s work orders. Include costs under the year they were incurred. Include all the costs described in the cost category, regardless of what budget code they are recorded under.
g. Pressure District: Set of customer meters, services and mains that together depends on one or more gas distribution regulator stations, and not on other gas distribution regulator stations.[8] Note that operating districts and pressure districts are not the same.
i. SoCalGas: about 750 pressure systems.[9]
ii. PG&E: about 1200 hydraulically independent systems.[10]
iii. Southwest Gas: Fewer systems due to smaller footprint in California.
h. Pressure Category: Describes the pressure in a pressure district or the outgoing pressure from a regulator station that serves a pressure district.[11]
i. Medium-pressure: pressure of 1 through 60 psig, and the regulator station is not “HPR-type”
ii. Low-pressure: pressure less than 1 psig
[1] Workpaper includes these codes within work group 252. Southern California Gas Company, submitted in SoCalGas General Rate Case A.22-05-015 for years 2024-2027, Work Unit/Activity Level Estimates, SCG-04-CWP-R_Mario_Aguirre-Gas_Distribution_49456.pdf, pp. 45 &ff.
[2] Driscopipe 7000 was installed in 1974-1980. See Prepared Direct Testimony of Kevin Lang on behalf of Southwest Gas Corporation, submitted in Southwest Gas General Rate Case A.22-05-015, August 2019, https://docs.cpuc.ca.gov/PublishedDocs/SupDoc/A1908015/2695/338276400.pdf, p. 5.
[3] Consistent definitions were used for Operating District in Gas System Census Tract Data, filed by gas utilities in response to Administrative Law Judge’s Ruling Seeking Data from Gas Utilities in R.24-09-012, January 13, 14, and 17, 2024, posted on the CPUC’s R.24-09-012 webpage, https://www.cpuc.ca.gov/industries-and-topics/natural-gas/long-term-gas-planning-rulemaking. See definitions in Administrative Law Judge’s Ruling Seeking Revised Data from Gas Utilities in R.20-01-007, September 22, 2022, https://www.cpuc.ca.gov/-/media/cpuc-website/divisions/energy-division/documents/natural-gas/long-term-gas-planning-oir/rulings/revisedgassystemdataruling09212022.pdf, also available on the CPUC’s R.20-01-007 webpage, https://www.cpuc.ca.gov/industries-and-topics/natural-gas/long-term-gas-planning-rulemaking-closed.
[4] PG&E’s 18 Divisions have been reported as: Diablo, East Bay, Mission, Peninsula, De Anza, San Jose, San Francisco, Central Coast, Fresno, Kern, Stockton, Yosemite, North Bay, Sonoma, Humboldt, Northern Valley, Sacramento, and Sierra. For 14A and 14D distribution pipeline replacement contracts, these divisions are used as bid areas, while for some other contract types they may be combined into 8 larger bid areas.
[5] SoCalGas’ 50 districts have been reported as: Orange Coast – Azusa, Anaheim, Alhambra, Aliso Viejo, Downey, Garden Grove, Industry, La Jolla, Pasadena, Santa Ana, Whittier (group 1); Inland – Beaumont, Corona, Chino, Fontana, Murrieta, Ramona, Redlands, Rim Forest, Riverside, San Bernardino (group 2); Inland Desert – Blythe, El Centro, Palm Desert, Yucca Valley (group 3); Lower Los Angeles – 182nd, Belvedere, Crenshaw, Compton, Hollywood, Huntington Park, Juanita, Santa Monica, San Pedro (group 4); Upper Los Angeles/SFV – Branford, Canoga Park, Chatsworth, Glendale, Lancaster, Mojave, Simi Valley, Saticoy, Valencia (group 5); Central Coast - Goleta, Ventura/Oxnard, Santa Barbara, Santa Maria, San Luis Obispo, Templeton (group 6); and San Juaquin Valley – Bakersfield, and Visalia (group 7). The groupings are used for some contract cost purposes.
[6] SDG&E’s five districts are Beach Cities, Eastern, Metro, North Coast, and Northeast.
[7] Southwest Gas’ seven districts are: District 11-Barstow; District 12-Victorville; District 13-Big Bear; District 14-North Lake Tahoe; District 15-Truckee; District 16-South Lake Tahoe; District 19-Needles.
[8] Pressure districts are also discussed in Recommendations for SB 1221 California Natural Gas System Mapping, CPUC Energy Division Staff Proposal, February 20, 2025, https://docs.cpuc.ca.gov/PublishedDocs/Efile/G000/M556/K897/556897432.PDF, p. 15. For additional background on pressure zones, see DeWitte, Tom and Coolidge, Tom, Understanding Pressure Zones, April 2024, https://community.esri.com/t5/gas-and-pipeline-blog/understanding-pressure-zones/ba-p/1416830.
[9] SoCalGas provided pressure district data including meters served and overlapping census tracts per ruling in proceeding R.20-01-007, now available as “demand nodes csv” and “May 20 demand nodes csv” on the “Long Term Gas Planning Rulemaking-Closed” webpage, https://www.cpuc.ca.gov/industries-and-topics/natural-gas/long-term-gas-planning-rulemaking-closed.
[10] Recommendations for SB 1221 California Natural Gas System Mapping, p. 15. See also Gas System Census Tract Data Notes, filed by PG&E in response to Administrative Law Judge’s Ruling Seeking Data from Gas Utilities in R.24-09-012, January 13, 2024, https://www.cpuc.ca.gov/-/media/cpuc-website/divisions/energy-division/documents/natural-gas/long-term-gas-planning-oir/pge/gassystemcensustractdatanotes_pgne.pdf, p. B-18, also posted on the CPUC’s R.24-09-012 webpage, https://www.cpuc.ca.gov/industries-and-topics/natural-gas/long-term-gas-planning-rulemaking.
[11] Exclude HPR-type regulators from this analysis. “HPR-type” means reduces to pressure of 1 through 60 psig and is an “HPR-type” regulator station or a district served by such a station. “HPR-type” refers to a regulator station that uses any of the following spring-operated regulators: Fisher 621, Fisher 627, Fisher 630, Reliance Model HPR 10, Reliance Model HPR 20, Reliance Model HPR 268, Rockwell 141, Rockwell 141A, Rockwell 041, Sprague/Itron B35. HPR-type regulators are excluded because they are smaller and simpler than medium-pressure and low-pressure regulators. These definitions align with regulator station categories proposed in Appendix B Direction to Utilities Draft for Comment, https://docs.cpuc.ca.gov/PublishedDocs/Efile/G000/M556/K897/556897318.PDF. Transmission-level regulator stations are not included.
Note on B16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Because terms like “district” can refer to different sizes and be so confusing, and utilities may be tempted to use different ones, I think it’s useful to list them in the footnotes.
X3A0T
X3A1T
X3A2T
X3A3T
X3A4T
X3A5T
X3A6T
X3A7T