## Gas System Census Tract Data
This tab compiled by CPUC staff, based on "Gas System Census Tract Data - SoCalGas.csv." Other two tabs provided by SoCalGas as stand-alone files.
TractID | City | County | ZipCode | Climate Zone | Transm Zone | HCA | MCA | Services | Large Customers | DemandNodes | Total Load | Peak Load | Load Change | PressureDist | OpDist | HiPress Mains | MedPressMains | Hi Press Services | Med Press Services | PressureUnk | Diam 2 Or Less | Diam 2 to 4 | Diam 4 to 8 | Diam 8 to 12 | Diam Over 12 | Diam Unk | Early AldylA | Later AldylA | Unk Date AldylA | NA Plastic | CP Steel | NCP Steel | Copper | Iron | MaterialUnk | Oldest | Highest Risk Mains | High Risk Mains | Upper Risk Mains | Lower Risk Mains | Low Risk Mains | Highest Consq Mains | High Consq Mains | Upper Consq Mains | Lower Consq Mains | Low Consq Mains | Unk Risk Main | Highest Risk Services | High Risk Services | Upper Risk Services | Lower Risk Services | Low Risk Services | Highest Consq Services | High Consq Services | Upper Consq Services | Lower Consq Services | Low Consq Services | Unk Risk Service | Av Main Risk (leaks / mile / yr) | Av Service Risk | Av Main Consq (service incidents / leak) | Av Service Consq | Av Main Risk Score (service incidents /mile-yr) | Av Service Risk Score | Av Main Pressure | Av Main Year | Av Service Year | Av Survey | Av Main Leaks | Av Service Leaks | Hist Av Main Haz Leaks | Hist Av Service Haz Leaks | Retired Main | Retired Service | Plan GRC Replace Mains | Plan GRC Replace Services | Est GRC Replace Mains | Est GRC Replace Services | GRC Replace Mains 2030 | GRC Replace Services 2030 | GRC Replace Mains Programs | GRC Replace Services Programs | Recent Mains | Recent Services | PlannedMains | Planned Services | Main Valves | Hi Branches | Reg Station Type | Reg Station Customers | Reg Station Age | Reg Station GRC | Reg Station Replacement | Transm Miles | Transm Wall Loss | Av Transm Diam | Av TIMP Score | Compressor Stn | Small Transm Infr | Large Transm Infr
Total |  |  | 4613 | 38252 |  | 317 | 173 | 4577959 | 598 |  | 24386334.6375 | 2121755.46 | 58999.89 | 8737 | 4613 | 3777.08 | 48333.87 | 255.31 | 42908.88 | 27.76 | 75732.41 | 11972.06 | 4702.11 | 1100.12 | 518.92 | 1250.24 | 334.57 | 5284.24 | 6557.13 | 33742.04 | 28541.48 | 13108.94 | 0 | 0 | 7965.94 | 5943.96 | 2391.389 | 11956.825 | 11956.829 | 11956.926 | 11956.633 | 2391.322 | 11956.993 | 11956.66 | 11958.19 | 11955.384 | 4064.5476 | [10 empty] | 43164.19 | 215.1848 |  | 0.61951 |  | 0.018276 |  | 275509.88 | 8984695 | 8969974 | 202916801 | 366.257 | 284.788 | 1397.8731 | 6648.2554 | 1154.94 | 1605.77 | [8 empty] | 3144.65 | 3813.7527 |  |  | 87046 | 13652 | 2516 |  | 1067649 | 30 |  | 2960.12 | 36 | 26869.4 | 22231.956 |  | 471 | 27
Average |  |  | 91837.5361 | 9.0602 |  |  |  | 992.4039 | 0.12963 |  | 4453.3004 | 415.8962 | 12.7845 | 1.9177 |  | 0.81879 | 10.4778 | 0.055346 | 9.3017 | 0.0060178 | 16.4172 | 2.5953 | 1.0193 | 0.23848 | 0.11249 | 0.27103 | 0.072528 | 1.1455 | 1.4214 | 7.3146 | 6.1872 | 2.8417 | 0 | 0 | 1.7268 | 1.2885 | 0.52837 | 2.6418 | 2.6418 | 2.6418 | 2.6418 | 0.52835 | 2.6418 | 2.6418 | 2.6421 | 2.6415 | 0.88111 | [10 empty] | 9.3571 | 0.047544 |  | 0.00013688 |  | 4.0381e-06 |  | 60.4453 | 1972.0577 | 1973.1575 | 44470.0419 | 0.25811 | 0.21559 | 0.41369 | 1.5072 | 0.25037 | 0.3481 | [8 empty] | 0.68169 | 0.82674 |  |  | 18.8697 | 2.9595 |  |  | 1988.1732 | 1 |  | 0.64169 | 0.007804 | 26.8158 | 21.3154
Median |  |  | 92203 | 9 |  |  |  | 937 | 0 |  | 1646.136 | 243.22 | 10.23 | 2 |  | 0 | 8.9 | 0 | 8.77 | 0 | 14.97 | 1.91 | 0.51 | 0 | 0 | 0.14 | 0 | 0.37 | 0.44 | 3.59 | 3.5 | 1.18 | 0 | 0 | 1.07 | 0.73 | 0.1045 | 1.791 | 1.9015 | 1.882 | 0.62 | 0 | 0.4145 | 1.298 | 1.881 | 1.619 | 0.068141 | [10 empty] | 8.82 | 0.0314 |  | 9.215e-05 |  | 3.36e-06 |  | 50 | 1970 | 1974 | 44476 | 0.189 | 0.151 | 0.27972 | 1.2216 | 0.05 | 0.2 | [8 empty] | 0.16 | 0.41061 |  |  | 10 | 0 |  |  | 1990 | 1 |  | 0 | 0 | 30 | 19.423
Standard Deviation |  |  | 1202.0912 | 2.3059 |  |  |  | 585.0574 | 0.65761 |  | 46528.8898 | 3803.0306 | 45.4915 | 1.3757 |  | 3.252 | 7.6886 | 0.24752 | 5.5141 | 0.059624 | 10.6238 | 2.6937 | 1.9257 | 0.99392 | 0.72855 | 0.39679 | 0.3604 | 1.8657 | 2.5282 | 9.7902 | 7.1959 | 3.9223 | 0 | 0 | 1.9303 | 1.5963 | 1.0395 | 2.6957 | 2.4912 | 2.4714 | 4.7054 | 1.8164 | 4.9076 | 3.7439 | 2.7047 | 2.9824 | 3.2756 | [10 empty] | 5.524 | 0.049994 |  | 0.00010038 |  | 3.1693e-06 |  | 48.0949 | 13.0853 | 14.4541 | 86.9598 | 0.2294 | 0.23622 | 1.7651 | 1.408 | 0.57597 | 0.44137 | [8 empty] | 2.0813 | 1.6997 |  |  | 25.3494 | 8.0422 |  |  | 15.5751 | 0 |  | 5.9369 | 0.41693 | 6.6706 | 7.7801
Minimum |  |  | 90001 | 4 |  |  |  | 0 | 0 |  | 0.2 | 0.06 | -93.88 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0.000209 |  | 2.33e-05 |  | 5.5e-09 |  | 20 | 1869 | 1869 | 43441 | 0.012 | 0.029 | 0.012621 | 0.044603 | 0 | 0 | [8 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 1922 | 1 |  | 0 | 0 | 0.5 | 7.305
Maximum |  |  | 93662 | 16 |  |  |  | 4539 | 19 |  | 2604117.398 | 242186.51 | 2107.33 | 24 |  | 68.56 | 55.94 | 4.98 | 38.88 | 2.43 | 79.2 | 43.83 | 38.04 | 21.2 | 19.27 | 5.35 | 6.35 | 17.96 | 23.69 | 86.48 | 81.8 | 28.63 | 0 | 0 | 16.82 | 17.69 | 10.108 | 22.12 | 17.067 | 25.471 | 45.791 | 27.016 | 44.565 | 42.26 | 27.006 | 24.296 | 68.7227 | [10 empty] | 38.88 | 0.534 |  | 0.00038 |  | 4.08e-05 |  | 841.58 | 2017 | 2018 | 44672 | 1.875 | 4.667 | 100 | 40 | 17.21 | 4.55 | [8 empty] | 48.79 | 29.9706 |  |  | 406 | 125 |  |  | 2018 | 1 |  | 264.5 | 28 | 36 | 58.021

## Consumption Data by Census Trac
**Gas System Census Tract Data |  |  |  | Unit: CCFd
Statistics | Core California Alternative Rates for Energy (CARE) residential | Core residential excluding CARE | Core commercial | Core industrial | Core NGV | Noncore commercial | Noncore industrial excluding refinery | Noncore refinery | Noncore enhanced oil recovery (EOR) | Noncore electric generation (EG) | Other wholesale (delivered to other utilities / wholesale including international) | Company use | Core subtotal | Noncore subtotal | Other subtotal (Other wholesale plus company use) | Number of customers: Core CARE residential | Number of customers: Core residential excluding CARE | Number of customers: Core commercial | Number of customers: Core industrial | Number of customers: Core NGV | Number of customers: Noncore commercial | Number of customers: Noncore industrial (including refinery) | Number of customers: Noncore refinery | Number of customers: Noncore enhanced oil recovery (EOR) | Number of customers: Noncore electric generation (EG) | Number of customers: Other wholesale (delivered to other utilities / wholesale including international) | Number of customers: Core subtotal | Number of customers: Noncore subtotal | Number of customers: Other subtotal
total | 1551596.301 | 4598656.101 | 2075179.85 | 566090.76 | 404617.79 | 505532.22 | 1225805.38 | 3135970.87 | 352014 | 6007770.91 | 3655081.68 | 308018.7743 | 9196140.803 | 11227093.38 | 3963100.454 | 1785050 | 3900273 | 189816 | 14591 | 330 | 295 | 335 | 31 | 20 | 379 | 32 | 5890060 | 1060 | 32
average | 342.3646 | 1004.0734 | 457.1888 | 250.3719 | 1179.6437 | 1811.9434 | 4523.2671 | 33361.3922 | 4141.3412 | 15727.149 | 44574.1668 | 66.7574 | 1993.0951 | 2433.2669 | 858.9294 | 393.8769 | 851.588 | 41.8373 | 6.5284 | 0.97059 | 1.0886 | 1.2594 | 0.33333 | 0.23529 | 1.0299 | 0.39024 | 1276.5626 | 0.22974 | 0.39024
median | 272.5397 | 777.5959 | 234.89 | 7.61 | 134.44 | 918.65 | 1339.36 | 0 | 0 | 349.42 | 0 | 0 | 1556.6188 | 0 | 0 | 332 | 706.5 | 26 | 2 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 1173 | 0 | 0
standard deviation | 917.9083 | 2278.2916 | 1595.1806 | 1000.4255 | 2890.6594 | 3009.5533 | 10559.023 | 135285.8972 | 22391.1035 | 130540.8091 | 292805.5481 | 3608.0525 | 5404.0292 | 50239.2536 | 40456.7417 | 1549.621 | 3236.3373 | 136.2468 | 17.9409 | 1.5027 | 1.5533 | 1.5765 | 0.95415 | 0.821 | 1.3818 | 2.4681 | 4863.2141 | 1.0143 | 2.4681
minimum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
maximum | 59854.1562 | 145310.1973 | 94842.98 | 23152.18 | 33465.52 | 25159.18 | 119146.35 | 973359.74 | 186419.01 | 2316154.73 | 2590444.34 | 243560.5743 | 350712.0834 | 2958411.15 | 2590444.34 | 103272 | 216840 | 8589 | 482 | 26 | 20 | 13 | 7 | 4 | 23 | 22 | 329209 | 36 | 22

## Consumption Data by Zip Code
**Gas System Census Tract Data |  |  |  | Unit: CCFd
Statistics | Core California Alternative Rates for Energy (CARE) residential | Core residential excluding CARE | Core commercial | Core industrial | Core NGV | Noncore commercial | Noncore industrial excluding refinery | Noncore refinery | Noncore enhanced oil recovery (EOR) | Noncore electric generation (EG) | Other wholesale (delivered to other utilities/wholesale including international) | Company use | Core subtotal | Noncore subtotal | Other subtotal (Other wholesale plus company use) | Number of customers: Core CARE residential | Number of customers: Core residential excluding CARE | Number of customers: Core commercial | Number of customers: Core industrial | Number of customers: Core NGV | Number of customers: Noncore commercial | Number of customers: Noncore industrial (including refinery) | Number of customers: Noncore refinery | Number of customers: Noncore enhanced oil recovery (EOR) | Number of customers: Noncore electric generation (EG) | Number of customers: Other wholesale (delivered to other utilities / wholesale including international) | Number of customers: Core subtotal | Number of customers: Noncore subtotal | Number of customers: Other subtotal
total | 1551596.09 | 4598656.22 | 2075180.13 | 566090.7 | 404617.82 | 505532.22 | 1225805.36 | 3135970.86 | 352013.99 | 6007770.95 | 3655081.68 | 308019.14 | 9196140.74 | 11227093.38 | 3957627.4 | 1785050 | 3900272 | 189816 | 14591 | 330 | 295 | 335 | 31 | 20 | 379 | 32 | 5890059 | 1060 | 32
average | 2506.62 | 7219.24 | 2951.89 | 1018.15 | 1899.61 | 3009.12 | 7384.37 | 195998.18 | 35201.4 | 25242.74 | 261077.26 | 3623.75 | 12701.85 | 30099.45 | 42102.42 | 2883.76 | 6056.32 | 270.01 | 26.15 | 1.51 | 1.83 | 2.07 | 2.07 | 2 | 1.64 | 2.29 | 7970.31 | 1.43 | 2.29
median | 1596.57 | 6421.37 | 2379.97 | 139.15 | 467.76 | 1730.47 | 2952.16 | 23291.66 | 16965.25 | 837.98 | 27474.97 | 7.1 | 12231.12 | 2883.67 | 9.21 | 1896 | 5570 | 234 | 12 | 1 | 1 | 1 | 2 | 1.5 | 1 | 1 | 7688 | 0 | 1
standard deviation | 2668.95 | 5777 | 2870.52 | 2130.46 | 3329.23 | 4014.93 | 13173.58 | 279224.38 | 54636.78 | 116345.87 | 654890.41 | 26337.49 | 10340.87 | 125505.79 | 269988.83 | 2921.02 | 4675.34 | 244.67 | 39.24 | 0.97 | 1.95 | 1.9 | 1.29 | 1.26 | 1.13 | 1.79 | 6857.95 | 2.41 | 1.79
minimum | 0.12 | 0 | 0.13 | 0.03 | 0.04 | 3.09 | 0.4 | 907.15 | 30.92 | 0.01 | 21.73 | 0.05 | 0 | 0.06 | 0.05 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1
maximum | 17561.21 | 32995.38 | 25366.07 | 22888.96 | 21828.18 | 26988.19 | 102803.04 | 985530.68 | 188814.04 | 1264451.08 | 2590444.34 | 243560.62 | 61079.69 | 1264451.08 | 2590444.34 | 16773 | 21402 | 1495 | 341 | 7 | 19 | 12 | 5 | 5 | 11 | 6 | 28199 | 19 | 6