## ACP-CA
American Clean Power - California
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Monthly
Number of slices: | Other | Generally favor 24x1, but believe more work is needed to address concerns regarding complexity and need for certainty in QC determinations and LSE supply plan development
Type of load forecast: | Maximum value for each slice
Resource Counting NQC value granularity | Multiple (slice-specific NQC values)
Resource Counting for VERs | Other | Support Effective Net Load Reduction or similar modeling approach for wind. Support exceedance methdology for solar.
Resource Counting for 24-hour available dispatchable thermal
Resource Counting for daily energy-limited dispatchable thermal
Resource Counting for dispatchable hydro
Resource Counting for storage | Pmax over number of hours shown, subject to interconnection limits
Resource Counting for long-duration storage
Resource Counting for hybrid resources
Resource Counting for co-located resources | Treat components separately and apply applicable QC for each
Resource Counting for non-dispatchable resources
Resource Counting for demand response
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | No
Methodology preference for how to choose exceedance value | Average of the historical hourly output when load is higher than a threshold value (proposed by CalWEA)
RA resource transactions | Bundled (LSE purchases all of resource’s RA attributes for all slices) | A supplier should be able to sell capacity from a resource to multiple offtakers who would each take the full 24 hour profile of that resource. The Working Group Report Should also recommend load requirements trading for LSEs.
Need Determination and Allocation | CEC proposal: the CEC-proposed hybrid of top-down and LSE-specific based on LSE forecasts and recorded loads
Energy Sufficiency for Charging Storage | Other | Don't require energy sufficiency test at this time, but continue to work with CAISO on this issue
Should hedging be included? | No
If yes, hedging approach
Forward Requirement | 3 years

## AReM
AReM
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Monthly
Number of slices: | 2 slices: gross peak and net load peak
Type of load forecast: | Worst day
Resource Counting NQC value granularity | Two NQCs-one for peak load and one for net load
Resource Counting for VERs | Average ELCC
Resource Counting for 24-hour available dispatchable thermal | Pmax for each slice
Resource Counting for daily energy-limited dispatchable thermal | Pmax for each slice, limited to physical capabilities
Resource Counting for dispatchable hydro | Current 10-year exceedance methodology
Resource Counting for storage | Pmax over number of hours shown, subject to interconnection limits
Resource Counting for long-duration storage | Treatment similar to dispatchable hydro
Resource Counting for hybrid resources | Existing treatment using ELCC
Resource Counting for co-located resources | Treat components separately and apply applicable QC for each
Resource Counting for non-dispatchable resources | Historic performance during HE17-21
Resource Counting for demand response | Load Impact Protocols (LIP)
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | No
Methodology preference for how to choose exceedance value | Benchmark to ELCC value (proposed by solar parties)
RA resource transactions | Bundled (LSE purchases all of resource’s RA attributes for all slices)
Need Determination and Allocation | CEC proposal: the CEC-proposed hybrid of top-down and LSE-specific based on LSE forecasts and recorded loads
Energy Sufficiency for Charging Storage | Other | IRP Analysis
Should hedging be included? | No
If yes, hedging approach | Other | Optional
Forward Requirement | 1 year

## CAISO
CAISO
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Other | The CAISO would be open to maintaining the monthly compliance period, or moving to seasonal or annual requirements
Number of slices: | Other | CPUC should consider energy sufficiency in all hours, CAISO may validate only peak or n<24. CAISO must also conduct stakeholder process (see comments).
Type of load forecast: | Maximum value for each slice
Resource Counting NQC value granularity | One NQC value for the day / month | NQC implies deliverable capacity- resource should have 1 capacity value, but could have different values to represent their energy value
Resource Counting for VERs | Other | ELCC for capacity, exceedance for energy
Resource Counting for 24-hour available dispatchable thermal | Other | UCAP option presented by the CAISO; but CPUC should evaluate costs and benefits along with other options
Resource Counting for daily energy-limited dispatchable thermal | Other | UCAP option presented by the CAISO; but CPUC should evaluate costs and benefits along with other options
Resource Counting for dispatchable hydro | Current 10-year exceedance methodology | May need to re-consider hydro counting rules in the future
Resource Counting for storage | Other | More discussion needed, but could consider applying a UCAP methodology
Resource Counting for long-duration storage | Other | More discussion needed, but could consider applying a UCAP methodology
Resource Counting for hybrid resources | Other | More discussion needed, but could consider applying a UCAP methodology
Resource Counting for co-located resources | Other | More discussion needed, but could consider applying a UCAP methodology
Resource Counting for non-dispatchable resources | Historical MW output (exceedance) during each slice
Resource Counting for demand response | LIP-informed ELCC (for those following the CEC DR NQC process) | LIP informed ELCC for capacity and more discussion needed on energy counting; may need interim approach for 2023 RA year until CPUC staff can also model Third-Party DR
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | Yes | CAISO agrees that more discussion needs to be had on how best to represent account for certain use limitations
Methodology preference for how to choose exceedance value | Other | Need more data and further examples of each method in order to make an informed choice
RA resource transactions | Bundled (LSE purchases all of resource’s RA attributes for all slices)
Need Determination and Allocation | Other | No preference, as long as sum of LSEs equals the CAISO's coincident peak load shape in all Slices
Energy Sufficiency for Charging Storage | Explicit requirement to demonstrate energy sufficiency
Should hedging be included? | Other | No opinion
If yes, hedging approach
Forward Requirement | Other | CAISO supports further discussion and consideration of adopting multi-year forward system RA requirements

## Calpine
Calpine
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | 2 seasons | Calpine generally supports longer compliance periods, including annual.
Number of slices: | 2 slices: gross peak and net load peak | Calpine supports the Gridwell proposal. Calpine believes that the Gridwell proposal really entails a single RA requirement per compliance period with an additional net peak validation, which generally should be non-binding.
Type of load forecast: | Worst day | This seems to apply primarily to the 24-slice or similar approaches. In this approach, Calpine favors using the actual profile from a single day, such as the worst day, rather than combining loads from different days, but ultimately this choice is interdependent with the choice of counting rule and the level(s) of the PRM.
Resource Counting NQC value granularity | One NQC value for the day / month | Calpine favors the Gridwell proposal, which involves a single NQC for each resource for each compliance period (although it may involve using a different value for solar for the net peak validation).
Resource Counting for VERs | Incremental ELCC
Resource Counting for 24-hour available dispatchable thermal | UCAP-light (only adjust for ambient derates) | Calpine is open to derating thermal NQCs for ambient conditions. Calpine notes that some thermal NQCs already reflect ambient derates, but it probably would make sense to impose more uniformity in the treatment of those derates. Calpine is not convinced that reflecting other types of historical forced outages in NQC will provide accurate estimates of prospective resource performance because resources that have experienced major forced outages may be signifcantly more reliable after they have been repaired.
Resource Counting for daily energy-limited dispatchable thermal | ELCC
Resource Counting for dispatchable hydro | Incremental ELCC
Resource Counting for storage | Incremental ELCC
Resource Counting for long-duration storage | ELCC
Resource Counting for hybrid resources | Existing treatment using ELCC
Resource Counting for co-located resources | Incremental ELCC combined
Resource Counting for non-dispatchable resources | Other | Potentially ELCC. Also, under the 24-slice approach, probably makes sense to capture performance in every hour, not just the AAH.
Resource Counting for demand response | LIP-informed ELCC (for those following the CEC DR NQC process)
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | Yes | MCC buckets should be eliminated under any proposal. However, Calpine is open to considering a cap on certain use-limited resources, such as DR, as suggested by PG&E in the workshop on Dec 15. Furthermore, the 24-approach does not address multi-dayreliability events, so additional limits on use-limited resources may be required.
Methodology preference for how to choose exceedance value | Other | For the 24-slice approach, Calpine believes that some measure that focuses on performance during periods of system stress would be more appropriate than straight exceedance. Some version of CalWEA's ENLR metric may provide such a measure, although it may make sense to focus the measure on the periods of highest net rather than gross load, in contrast to the most recent version of the CalWEA proposal, which focuses on gross load.
RA resource transactions | Bundled (LSE purchases all of resource’s RA attributes for all slices)
Need Determination and Allocation | CEC proposal: the CEC-proposed hybrid of top-down and LSE-specific based on LSE forecasts and recorded loads
Energy Sufficiency for Charging Storage | Rely on ELCC values to ensure procurement of sufficient energy
Should hedging be included? | No
If yes, hedging approach | Bid cap | While Calpine is opposed to incorporating an energy hedge into RA, Calpine is strongly opposed to the PG&E Price Cap Rebate and Variable Cost Hedge proposals because they would interfere with hedging that already takes place. Energy Division's bid cap proposal is less problematic from this perspective.
Forward Requirement | 3 years

## CalWEA
CalWEA
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Monthly | This is to maintain the current transparent RA market.
Number of slices: | 2 slices: gross peak and net load peak | Monthly ELCC as part of the Gridwell approach should already cover the gross load period; so, CalWEA believes that a a single net peak load slice in addition to monthly ELCC should suffice.
Type of load forecast: | Other | Relying on Gridwell approach, load would be accounted for as a stochastic variable which covers a large range of scenarios.
Resource Counting NQC value granularity | One NQC value for the day / month | CalWEA favors the Gridwell proposal, which involves a single NQC for each resource for each RA month. For the single-slice hourly compliance approach, we recommend using the ENLR approach to calculate the RA capacity contribution of wind and solar resources.
Resource Counting for VERs | Incremental ELCC
Resource Counting for 24-hour available dispatchable thermal | UCAP (forced outages in top 20% needed hours and urgent outages) | Relying on Gridwell approach, where all resources would be accounted for as stochastic variables, the ELCC value of thermal resources would cover a large range of scenarios including weather and forced derates and outages.
Resource Counting for daily energy-limited dispatchable thermal | ELCC | Same for the hourly slice(s).
Resource Counting for dispatchable hydro | Average ELCC | Same for the hourly slice(s).
Resource Counting for storage | Average ELCC | Same for the hourly slice(s).
Resource Counting for long-duration storage | ELCC | Same for the hourly slice(s).
Resource Counting for hybrid resources | Other | RA capacity of individual resources for a hybrid resource should be calculated separately using the specific methods advocated here for each resource and then added together unless specific constraints are placed on the overall perfomance of the hybrid resource.
Resource Counting for co-located resources | Other | RA capacity of individual resources for a co-located resource should be calculated separately using the specific methods advocated here for each resource and then added together unless specific constraints are placed on the overall perfomance of the co-located resource.
Resource Counting for non-dispatchable resources | Other | Average ELCC based on historical performance should be used.
Resource Counting for demand response | Other | CalWEA has no position at this time
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | No | MCC buckets should be eliminated under any proposal.
Methodology preference for how to choose exceedance value | Other | CalWEA wishes to emphasize the instability of the exceedance method and advocate use of the ENLR approach for all hourly slice capacity values for variable energy resources such as wind and solar.
RA resource transactions | Bundled (LSE purchases all of resource’s RA attributes for all slices) | The use of Gridwell RA framework, as advocated by CalWEA, will automatically bundle the resource for each monthly RA period.
Need Determination and Allocation | Top-down based on CAISO coincident peak and pro-rata based on load | The allocation should be performed on a bottom up requirement.
Energy Sufficiency for Charging Storage | Rely on ELCC values to ensure procurement of sufficient energy
Should hedging be included? | Other | CalWEA has no position at this time
If yes, hedging approach | Other | CalWEA has no position at this time
Forward Requirement | 3 years

## CCA - Collective CCAs
Collective CCAs (CPA, EBCE, MCE, PCE, Pioneer, SJCE, SCP)
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Monthly
Number of slices: | 24 hourly slices
Type of load forecast: | Worst day
Resource Counting NQC value granularity
Resource Counting for VERs | Exceedance for each slice | Based on technology type and region, not individual resources
Resource Counting for 24-hour available dispatchable thermal
Resource Counting for daily energy-limited dispatchable thermal
Resource Counting for dispatchable hydro
Resource Counting for storage
Resource Counting for long-duration storage
Resource Counting for hybrid resources
Resource Counting for co-located resources
Resource Counting for non-dispatchable resources
Resource Counting for demand response
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | No
Methodology preference for how to choose exceedance value
RA resource transactions | Unbundled (LSEs can purchase RA attributes for individual slices) | Load requirement trading should also be allowed
Need Determination and Allocation
Energy Sufficiency for Charging Storage | Explicit requirement to demonstrate energy sufficiency
Should hedging be included? | No
If yes, hedging approach
Forward Requirement

## CCA-Joint CCAs
Party Name (Please Replace)
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Monthly
Number of slices: | 2 slices: gross peak and net load peak
Type of load forecast: | Other | Not applicable to Gridwell
Resource Counting NQC value granularity | Other | Gridwell proposal - ELCC at peak; historic minimums at net peak
Resource Counting for VERs | Average ELCC
Resource Counting for 24-hour available dispatchable thermal | UCAP-light (only adjust for ambient derates)
Resource Counting for daily energy-limited dispatchable thermal | UCAP-light
Resource Counting for dispatchable hydro | Average ELCC | Appears run of river should also be considered separately
Resource Counting for storage | Average ELCC
Resource Counting for long-duration storage | ELCC
Resource Counting for hybrid resources | Other | Topic deserves more analysis
Resource Counting for co-located resources | Other | Topic deserves more analysis
Resource Counting for non-dispatchable resources | Other | Topic deserves more analysis
Resource Counting for demand response | Other | Topic deserves more analysis
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | No
Methodology preference for how to choose exceedance value | Based on VER performance on high load days (proposed by PG&E) | Not relevant to Gridwell, but best option if 24-hour adopted
RA resource transactions | Unbundled (LSEs can purchase RA attributes for individual slices) | Not relevant to Gridwell, but best option if 24-hour adopted
Need Determination and Allocation | Bottoms-up based on each LSE’s load shape plus an adjustment to CAISO coincident peak
Energy Sufficiency for Charging Storage | Rely on ELCC values to ensure procurement of sufficient energy
Should hedging be included? | No
If yes, hedging approach | Other | No hedging
Forward Requirement | 1 year

## CEDMC
Party Name (Please Replace)
Elements | Position | If Other, Please Fill In
Load: | Net of VERs
Compliance Periods: | Monthly
Number of slices: | 24 hourly slices
Type of load forecast: | Worst day
Resource Counting NQC value granularity | Multiple (slice-specific NQC values)
Resource Counting for VERs | Exceedance for each slice
Resource Counting for 24-hour available dispatchable thermal
Resource Counting for daily energy-limited dispatchable thermal
Resource Counting for dispatchable hydro
Resource Counting for storage
Resource Counting for long-duration storage
Resource Counting for hybrid resources
Resource Counting for co-located resources
Resource Counting for non-dispatchable resources
Resource Counting for demand response | Other | This should be addressed through the CEC's Supply Side DR Qualifying Capacity Working Group.
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | No
Methodology preference for how to choose exceedance value
RA resource transactions | Load requirements trading
Need Determination and Allocation | Bottoms-up based on each LSE’s load shape plus an adjustment to CAISO coincident peak
Energy Sufficiency for Charging Storage | Explicit requirement to demonstrate energy sufficiency
Should hedging be included?
If yes, hedging approach
Forward Requirement | 3 years

## CESA
California Energy Storage Alliance (CESA)
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Monthly
Number of slices: | 24 hourly slices
Type of load forecast: | Worst day
Resource Counting NQC value granularity | Multiple (slice-specific NQC values)
Resource Counting for VERs | Exceedance for each slice
Resource Counting for 24-hour available dispatchable thermal | UCAP (forced outages in top 20% needed hours and urgent outages)
Resource Counting for daily energy-limited dispatchable thermal | UCAP
Resource Counting for dispatchable hydro | Current 10-year exceedance methodology
Resource Counting for storage | Pmax over number of hours shown, subject to interconnection limits
Resource Counting for long-duration storage | Seasonal Accounting
Resource Counting for hybrid resources | Exceedance for each slice for combined elements
Resource Counting for co-located resources | Treat components separately and apply applicable QC for each
Resource Counting for non-dispatchable resources | Other | NA
Resource Counting for demand response | Other | Addressed in CEC DR QC Working Group
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | No
Methodology preference for how to choose exceedance value | Other | NA
RA resource transactions | Load requirements trading
Need Determination and Allocation | CEC proposal: the CEC-proposed hybrid of top-down and LSE-specific based on LSE forecasts and recorded loads
Energy Sufficiency for Charging Storage | Other | NA
Should hedging be included? | No
If yes, hedging approach | Other | NA
Forward Requirement | Other | NA

## CLECA
CLECA
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Monthly
Number of slices: | 24 hourly slices
Type of load forecast: | Worst day
Resource Counting NQC value granularity | Multiple (slice-specific NQC values)
Resource Counting for VERs | Other | A refined version of exceedance to be developed subsequently.
Resource Counting for 24-hour available dispatchable thermal | UCAP-light (only adjust for ambient derates)
Resource Counting for daily energy-limited dispatchable thermal | UCAP-light
Resource Counting for dispatchable hydro | Current 10-year exceedance methodology
Resource Counting for storage
Resource Counting for long-duration storage
Resource Counting for hybrid resources
Resource Counting for co-located resources
Resource Counting for non-dispatchable resources
Resource Counting for demand response | Other | CLECA's proposal for profile of hourly expected load impacts
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | Yes
Methodology preference for how to choose exceedance value | Based on VER performance on high load days (proposed by PG&E)
RA resource transactions | Bundled (LSE purchases all of resource’s RA attributes for all slices)
Need Determination and Allocation | CEC proposal: the CEC-proposed hybrid of top-down and LSE-specific based on LSE forecasts and recorded loads
Energy Sufficiency for Charging Storage | Explicit requirement to demonstrate energy sufficiency
Should hedging be included? | No
If yes, hedging approach
Forward Requirement | Other | Only 3 years if address load migration and responsibility for reliability; otherwise 1 year

## GPI
Green Power Institute
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Monthly | Should consider bimonthly - 6 compliance periods
Number of slices: | 24 hourly slices
Type of load forecast: | Worst day
Resource Counting NQC value granularity | Multiple (slice-specific NQC values)
Resource Counting for VERs | Effective Net Load Reduction
Resource Counting for 24-hour available dispatchable thermal | UCAP-light (only adjust for ambient derates)
Resource Counting for daily energy-limited dispatchable thermal | UCAP-light
Resource Counting for dispatchable hydro | Average ELCC
Resource Counting for storage | Average ELCC
Resource Counting for long-duration storage | ELCC
Resource Counting for hybrid resources | Average ELCC combined
Resource Counting for co-located resources | Treat components separately and apply applicable QC for each | If there are energy transfers between the resources, then ELCC combined
Resource Counting for non-dispatchable resources | Historic performance during HE17-21
Resource Counting for demand response
Whether there remains a need for MCC buckets or Caps on certain use-limited resources
Methodology preference for how to choose exceedance value
RA resource transactions | Unbundled (LSEs can purchase RA attributes for individual slices)
Need Determination and Allocation | CEC proposal: the CEC-proposed hybrid of top-down and LSE-specific based on LSE forecasts and recorded loads
Energy Sufficiency for Charging Storage | Explicit requirement to demonstrate energy sufficiency
Should hedging be included?
If yes, hedging approach
Forward Requirement | 3 years

## GSCE
Golden State Clean Energy
Elements | Position | If Other, Please Fill In
Load:
Compliance Periods:
Number of slices:
Type of load forecast:
Resource Counting NQC value granularity
Resource Counting for VERs
Resource Counting for 24-hour available dispatchable thermal
Resource Counting for daily energy-limited dispatchable thermal
Resource Counting for dispatchable hydro
Resource Counting for storage
Resource Counting for long-duration storage
Resource Counting for hybrid resources
Resource Counting for co-located resources
Resource Counting for non-dispatchable resources
Resource Counting for demand response
Whether there remains a need for MCC buckets or Caps on certain use-limited resources
Methodology preference for how to choose exceedance value
RA resource transactions
Need Determination and Allocation
Energy Sufficiency for Charging Storage | Explicit requirement to demonstrate energy sufficiency
Should hedging be included?
If yes, hedging approach
Forward Requirement

## IEP
Independent Energy Producers
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | 2 seasons
Number of slices: | 2 slices: gross peak and net load peak
Type of load forecast: | Worst day
Resource Counting NQC value granularity | Two NQCs-one for peak load and one for net load
Resource Counting for VERs | Other | delta ELCC
Resource Counting for 24-hour available dispatchable thermal | UCAP-light (only adjust for ambient derates)
Resource Counting for daily energy-limited dispatchable thermal | Other | delta ELCC
Resource Counting for dispatchable hydro | Other | delta ELCC
Resource Counting for storage | Other | delta ELCC
Resource Counting for long-duration storage | Other | delta ELCC
Resource Counting for hybrid resources |  | delta ELCC
Resource Counting for co-located resources | Other | delta ELCC
Resource Counting for non-dispatchable resources | Other | delta ELCC
Resource Counting for demand response |  | delta ELCC
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | No
Methodology preference for how to choose exceedance value | Based on VER performance on high load days (proposed by PG&E)
RA resource transactions | Bundled (LSE purchases all of resource’s RA attributes for all slices)
Need Determination and Allocation | CEC proposal: the CEC-proposed hybrid of top-down and LSE-specific based on LSE forecasts and recorded loads
Energy Sufficiency for Charging Storage | Rely on ELCC values to ensure procurement of sufficient energy
Should hedging be included? | No
If yes, hedging approach
Forward Requirement | 5 years

## LDESAC
Long Duration Energy Storage Association of California
Elements | Position | If Other, Please Fill In
Load:
Compliance Periods:
Number of slices:
Type of load forecast:
Resource Counting NQC value granularity
Resource Counting for VERs
Resource Counting for 24-hour available dispatchable thermal
Resource Counting for daily energy-limited dispatchable thermal
Resource Counting for dispatchable hydro
Resource Counting for storage
Resource Counting for long-duration storage | Other | Treatment similar to dispatchable and ELCC
Resource Counting for hybrid resources
Resource Counting for co-located resources
Resource Counting for non-dispatchable resources
Resource Counting for demand response
Whether there remains a need for MCC buckets or Caps on certain use-limited resources
Methodology preference for how to choose exceedance value
RA resource transactions
Need Determination and Allocation
Energy Sufficiency for Charging Storage
Should hedging be included?
If yes, hedging approach
Forward Requirement

## MRP
Middle River Power LLC
Elements | Position | If Other, Please Fill In | Comment
Load: | Gross
Compliance Periods: | Other | Annual | MRP would prefer a single compliance period; the fewer compliance periods, the better.
Number of slices: | 2 slices: gross peak and net load peak
Type of load forecast: | Worst day |  | Maximum value for each slice would not result in a 1-in-2 condition (this might be good for us, but I have principles)
Resource Counting NQC value granularity | One NQC value for the day / month |  | MRP believes that assigning a single capacity value would be effective if the right PRM is chosen. As a back-up, MRP supports two values - one for gross peak and one for net peak.
Resource Counting for VERs | Incremental ELCC |  | MRP supports Incremental ELCC should be used for new resources with a period of time for grandfathering. Average ELCC for existing resources and refreshed every 2 years.
Resource Counting for 24-hour available dispatchable thermal | UCAP-light (only adjust for ambient derates)
Resource Counting for daily energy-limited dispatchable thermal | UCAP-light |  | MRP would also support ELCC for energy limited dispatchable resources
Resource Counting for dispatchable hydro | Current 10-year exceedance methodology
Resource Counting for storage | Incremental ELCC |  | MRP supports Incremental ELCC should be used for new resources with a period of time for grandfathering. Average ELCC for existing resources and refreshed every 2 years.
Resource Counting for long-duration storage | ELCC |  | MRP supports Incremental ELCC should be used for new resources with a period of time for grandfathering. Average ELCC for existing resources and refreshed every 2 years.
Resource Counting for hybrid resources | Existing treatment using ELCC |  | MRP supports Incremental ELCC should be used for new resources with a period of time for grandfathering. Average ELCC for existing resources and refreshed every 2 years.
Resource Counting for co-located resources | Treat components separately and apply applicable QC for each
Resource Counting for non-dispatchable resources | Other |  | MRP supports Incremental ELCC should be used for new resources with a period of time for grandfathering. Average ELCC for existing resources and refreshed every 2 years.
Resource Counting for demand response | LIP-informed ELCC (for those following the CEC DR NQC process)
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | Yes |  | Demand Response
Methodology preference for how to choose exceedance value | Other |  | Exceedance methodology is incompatible with the 2-Slice proposal and therefore unnecessary
RA resource transactions | Bundled (LSE purchases all of resource’s RA attributes for all slices)
Need Determination and Allocation | Top-down based on CAISO coincident peak and pro-rata based on load |  | CEC proposed CEC hybrid is unnecessary for the 2-Slice proposal
Energy Sufficiency for Charging Storage | Rely on ELCC values to ensure procurement of sufficient energy
Should hedging be included? | No
If yes, hedging approach
Forward Requirement | 3 years

## PAO
Position Matrix of the Public Advocates Office at the California Public Utilities Commission | Public Advocates Office at the California Public Utilities Commission
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Monthly
Number of slices: | 24 hourly slices
Type of load forecast: | Maximum value for each slice
Resource Counting NQC value granularity | Multiple (slice-specific NQC values)
Resource Counting for VERs | Exceedance for each slice
Resource Counting for 24-hour available dispatchable thermal | UCAP-light (only adjust for ambient derates)
Resource Counting for daily energy-limited dispatchable thermal | UCAP-light
Resource Counting for dispatchable hydro | Current 10-year exceedance methodology
Resource Counting for storage | Pmax over number of hours shown, subject to interconnection limits
Resource Counting for long-duration storage | Other | No Position
Resource Counting for hybrid resources | Other | Resources claiming ITC: Use the counting method adopted in D.20-06-021 for resourcing planning to access the ITC. Grid-charging Hybrid and Co-located resources not claiming the ITC or ITC period expired : Treat components separately and apply application QC for each.
Resource Counting for co-located resources | Other | Resources claiming ITC: Use the counting method adopted in D.20-06-021 for resourcing planning to access the ITC. Grid-charging Hybrid and Co-located resources not claiming the ITC or ITC period expired : Treat components separately and apply application QC for each.
Resource Counting for non-dispatchable resources | Historical MW output (exceedance) during each slice
Resource Counting for demand response | Other | No Position
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | Yes
Methodology preference for how to choose exceedance value | Other | Needs further development
RA resource transactions | Bundled (LSE purchases all of resource’s RA attributes for all slices)
Need Determination and Allocation | CEC proposal: the CEC-proposed hybrid of top-down and LSE-specific based on LSE forecasts and recorded loads
Energy Sufficiency for Charging Storage | Explicit requirement to demonstrate energy sufficiency
Should hedging be included? | Yes
If yes, hedging approach | Other | Further analysis needed
Forward Requirement | 1 year

## PG&E
| PG&E | PG&E
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Monthly
Number of slices: | 24 hourly slices
Type of load forecast: | Maximum value for each slice
Resource Counting NQC value granularity | Multiple (slice-specific NQC values)
Resource Counting for VERs | Exceedance for each slice
Resource Counting for 24-hour available dispatchable thermal | UCAP-light (only adjust for ambient derates)
Resource Counting for daily energy-limited dispatchable thermal | Pmax for each slice, limited to physical capabilities | Plus UCAP-light
Resource Counting for dispatchable hydro | Current methodology modified for hourly exceedance values
Resource Counting for storage | Pmax over number of hours shown, subject to interconnection limits | And subject to total energy storage capability
Resource Counting for long-duration storage | Treatment similar to dispatchable hydro
Resource Counting for hybrid resources | Similar to existing treatment using exceedance
Resource Counting for co-located resources | Treat components separately and apply applicable QC for each
Resource Counting for non-dispatchable resources | Historic performance during HE17-21
Resource Counting for demand response | Other | Defer to CEC process
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | Yes | Cap for DR
Methodology preference for how to choose exceedance value | Based on VER performance on high load days (proposed by PG&E)
RA resource transactions | Bundled (LSE purchases all of resource’s RA attributes for all slices)
Need Determination and Allocation | CEC proposal: the CEC-proposed hybrid of top-down and LSE-specific based on LSE forecasts and recorded loads
Energy Sufficiency for Charging Storage | Explicit requirement to demonstrate energy sufficiency
Should hedging be included? | Data request and analysis needed before further action
If yes, hedging approach | Price cap rebate
Forward Requirement | Other | Additional work needed to address issues; effort shouldn't delay slice-of-day implementation

## REV Renewables
REV Renewables
Elements | Position | If Other, Please Fill In
Load:
Compliance Periods: | Monthly
Number of slices: | 24 hourly slices
Type of load forecast:
Resource Counting NQC value granularity | Two NQCs-one for peak load and one for net load | two NQCs if the the two-slice framework is chosen
Resource Counting for VERs
Resource Counting for 24-hour available dispatchable thermal
Resource Counting for daily energy-limited dispatchable thermal
Resource Counting for dispatchable hydro
Resource Counting for storage | Pmax over number of hours shown, subject to interconnection limits
Resource Counting for long-duration storage
Resource Counting for hybrid resources
Resource Counting for co-located resources
Resource Counting for non-dispatchable resources
Resource Counting for demand response
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | No
Methodology preference for how to choose exceedance value
RA resource transactions | Bundled (LSE purchases all of resource’s RA attributes for all slices) | Limited unbundled at least to facilitate trading for energy sufficiency requirement
Need Determination and Allocation
Energy Sufficiency for Charging Storage | Explicit requirement to demonstrate energy sufficiency | Allow LSE trading to avoid artificial energy storage limits at LSE level
Should hedging be included? | No
If yes, hedging approach | Other | Should do data request and analysis before choosing an approach
Forward Requirement | 3 years

## SCE
SCE
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Monthly
Number of slices: | 24 hourly slices
Type of load forecast: | Worst day
Resource Counting NQC value granularity | Multiple (slice-specific NQC values)
Resource Counting for VERs | Exceedance for each slice
Resource Counting for 24-hour available dispatchable thermal | UCAP-light (only adjust for ambient derates)
Resource Counting for daily energy-limited dispatchable thermal | UCAP-light
Resource Counting for dispatchable hydro | Current methodology modified for hourly exceedance values
Resource Counting for storage | Other | TBD
Resource Counting for long-duration storage | Other | TBD
Resource Counting for hybrid resources | Other | TBD
Resource Counting for co-located resources | Other | TBD
Resource Counting for non-dispatchable resources | Historical MW output (exceedance) during each slice
Resource Counting for demand response | Other | TBD
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | No
Methodology preference for how to choose exceedance value | Other
RA resource transactions | Bundled (LSE purchases all of resource’s RA attributes for all slices)
Need Determination and Allocation | CEC proposal: the CEC-proposed hybrid of top-down and LSE-specific based on LSE forecasts and recorded loads
Energy Sufficiency for Charging Storage | Explicit requirement to demonstrate energy sufficiency
Should hedging be included? | No
If yes, hedging approach
Forward Requirement | 1 year

## SDG&E
Party Name (Please Replace)
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Monthly
Number of slices: | 2 slices: gross peak and net load peak
Type of load forecast: | Worst day
Resource Counting NQC value granularity | Two NQCs-one for peak load and one for net load | To be clear, this answer changes if we go with the 24 slice proposal. In that case renewables need an NQC for each hour.
Resource Counting for VERs | Incremental ELCC | To be clear, this answer changes if we go with the 24 slice proposal. In that case we support the ENLR.
Resource Counting for 24-hour available dispatchable thermal | Pmax for each slice
Resource Counting for daily energy-limited dispatchable thermal | Pmax for each slice, limited to physical capabilities
Resource Counting for dispatchable hydro | Current methodology modified for hourly exceedance values
Resource Counting for storage | Incremental ELCC | To be clear, this answer changes if we go with the 24 slice proposal. In that case we support the Pmax, subject to both interconnection limits and technological limits.
Resource Counting for long-duration storage | Treatment similar to dispatchable hydro
Resource Counting for hybrid resources | Incremental ELCC combined
Resource Counting for co-located resources | Treat components separately and apply applicable QC for each
Resource Counting for non-dispatchable resources | Historic performance during HE17-21
Resource Counting for demand response | LIP-informed ELCC (for those following the CEC DR NQC process)
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | Yes
Methodology preference for how to choose exceedance value | Average of the historical hourly output when load is higher than a threshold value (proposed by CalWEA)
RA resource transactions | Bundled (LSE purchases all of resource’s RA attributes for all slices)
Need Determination and Allocation | CEC proposal: the CEC-proposed hybrid of top-down and LSE-specific based on LSE forecasts and recorded loads
Energy Sufficiency for Charging Storage | Explicit requirement to demonstrate energy sufficiency
Should hedging be included? | No
If yes, hedging approach
Forward Requirement | 1 year

## SEIA-LSA
Solar Energy Industries Association / Large-scale Solar Association
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Monthly
Number of slices: | 24 hourly slices
Type of load forecast: | Worst day
Resource Counting NQC value granularity | Multiple (slice-specific NQC values)
Resource Counting for VERs | Exceedance for each slice
Resource Counting for 24-hour available dispatchable thermal | UCAP (forced outages in top 20% needed hours and urgent outages) | Provided transition issues with use of UCAP for existing contracts are resolved.
Resource Counting for daily energy-limited dispatchable thermal | UCAP | Provided transition issues with use of UCAP for existing contracts are resolved.
Resource Counting for dispatchable hydro | Current methodology modified for hourly exceedance values
Resource Counting for storage | Pmax over number of hours shown, subject to interconnection limits
Resource Counting for long-duration storage | Treatment similar to dispatchable hydro
Resource Counting for hybrid resources | Other | Same as treatment of co-located resources. For DC-coupled hybrids, consider the larger amount of available charging energy.
Resource Counting for co-located resources | Subtract battery charging from VER, apply exceedance, add remaining exceedance value to Pmax of battery | Also subject to limits of interconnection capacity.
Resource Counting for non-dispatchable resources | Historic performance during HE17-21
Resource Counting for demand response | LIP-informed ELCC (for those following the CEC DR NQC process)
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | No
Methodology preference for how to choose exceedance value | Benchmark to ELCC value (proposed by solar parties)
RA resource transactions | Bundled (LSE purchases all of resource’s RA attributes for all slices) | Consider allowing the trading of load requirements among LSEs. Consider the unbundling of slices after the program is up & running.
Need Determination and Allocation | Bottoms-up based on each LSE’s load shape plus an adjustment to CAISO coincident peak | Also may support the CEC proposed hybrid of top-down and LSE-specific forecasts.
Energy Sufficiency for Charging Storage | Explicit requirement to demonstrate energy sufficiency
Should hedging be included? | No
If yes, hedging approach
Forward Requirement | 1 year | May support up to 3 years

## SWPG-Pattern Energy
SWPG / Pattern Energy
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Monthly
Number of slices: | Other | Could support either 2 slices or 24 x 1hr slices depending on how other issues below are addressed.
Type of load forecast: | Maximum value for each slice
Resource Counting NQC value granularity | Multiple (slice-specific NQC values)
Resource Counting for VERs | Other | Support ELCC for 2-slice proposal; Support Effective Net Load Reduction for wind and exceedance methdology for solar for 24 1-hr slice proposal.
Resource Counting for 24-hour available dispatchable thermal
Resource Counting for daily energy-limited dispatchable thermal
Resource Counting for dispatchable hydro
Resource Counting for storage | Pmax over number of hours shown, subject to interconnection limits
Resource Counting for long-duration storage
Resource Counting for hybrid resources
Resource Counting for co-located resources | Treat components separately and apply applicable QC for each
Resource Counting for non-dispatchable resources
Resource Counting for demand response
Whether there remains a need for MCC buckets or Caps on certain use-limited resources | No
Methodology preference for how to choose exceedance value | Average of the historical hourly output when load is higher than a threshold value (proposed by CalWEA) | Note this should equate to Effective Net Load Reduction method.
RA resource transactions | Other | Bundled transactions for resources AND load requirements trading for LSEs
Need Determination and Allocation | CEC proposal: the CEC-proposed hybrid of top-down and LSE-specific based on LSE forecasts and recorded loads
Energy Sufficiency for Charging Storage | Other | Don't require energy sufficiency test at this time, but continue to work with CAISO on this issue
Should hedging be included? | No
If yes, hedging approach
Forward Requirement | 5 years

## WPTF
WPTF
Elements | Position | If Other, Please Fill In
Load: | Gross
Compliance Periods: | Monthly
Number of slices: | 2 slices: gross peak and net load peak
Type of load forecast: | Maximum value for each slice
Resource Counting NQC value granularity | Other | One NQC value but exclude solar from net peak showing
Resource Counting for VERs | Incremental ELCC
Resource Counting for 24-hour available dispatchable thermal | UCAP-light (only adjust for ambient derates)
Resource Counting for daily energy-limited dispatchable thermal
Resource Counting for dispatchable hydro
Resource Counting for storage
Resource Counting for long-duration storage
Resource Counting for hybrid resources
Resource Counting for co-located resources
Resource Counting for non-dispatchable resources
Resource Counting for demand response
Whether there remains a need for MCC buckets or Caps on certain use-limited resources
Methodology preference for how to choose exceedance value
RA resource transactions | Bundled (LSE purchases all of resource’s RA attributes for all slices)
Need Determination and Allocation | Other | CEC proposal if 24 slices, status quo if two slices
Energy Sufficiency for Charging Storage | Rely on ELCC values to ensure procurement of sufficient energy
Should hedging be included? | No
If yes, hedging approach
Forward Requirement | Other | Minimum three years

## Key
Load: | Compliance Periods: | Number of slices: | Type of load forecast: | Resource Counting NQC value granularity | Resource Counting for VERs | Resource Counting for 24-hour available dispatchable thermal | Resource Counting for daily energy-limited dispatchable thermal | Resource Counting for dispatchable hydro | Resource Counting for storage | Resource Counting for long-duration storage | Resource Counting for hybrid resources | Resource Counting for co-located resources | Resource Counting for non-dispatchable resources | Resource Counting for demand response | Whether there remains a need for MCC buckets or Ccps on certain use-limited resources | Methodology preference for how to choose exceedance value | RA resource transactions | Need Determination and Allocation | Energy Sufficiency for Charging Storage | Should hedging be included? | If yes, hedging approach | Forward Requirement
Gross | 2 seasons | 6 4-hour slices | Maximum value for each slice | One NQC value for the day / month | Exceedance for each slice | Pmax for each slice | Pmax for each slice, limited to physical capabilities | Current 10-year exceedance methodology | Pmax over number of hours shown, subject to interconnection limits | Seasonal Accounting | Treat components separately and apply applicable QC for each | Treat components separately and apply applicable QC for each | Historic performance during HE17-21 | Load Impact Protocols (LIP) | Yes | Benchmark to ELCC value (proposed by solar parties) | Bundled (LSE purchases all of resource’s RA attributes for all slices) | Top-down based on CAISO coincident peak and pro-rata based on load | Explicit requirement to demonstrate energy sufficiency | Yes | Variable cost hedge | 1 year
Net of VERs | 4 seasons | 2 slices: gross peak and net load peak | Worst day | Two NQCs-one for peak load and one for net load | Average ELCC | Exceedance | Exceedance | Current methodology modified for hourly exceedance values | Average ELCC | Treatment similar to dispatchable hydro | Combined Pmax | Subtract battery charging from VER, apply ELCC, add remaining ELCC value to Pmax of battery | Historical MW output (exceedance) during each slice | LIP-informed ELCC (for those following the CEC DR NQC process) | No | Based on VER performance on high load days (proposed by PG&E) | Unbundled (LSEs can purchase RA attributes for individual slices) | CEC proposal: the CEC-proposed hybrid of top-down and LSE-specific based on LSE forecasts and recorded loads | Rely on ELCC values to ensure procurement of sufficient energy | No | Price cap rebate | 3 years
Other | Monthly | 24 hourly slices | Other | Multiple (slice-specific NQC values) | Incremental ELCC | UCAP-light (only adjust for ambient derates) | UCAP-light | Average ELCC | Incremental ELCC | ELCC | Average ELCC combined | Subtract battery charging from VER, apply exceedance, add remaining exceedance value to Pmax of battery | Other | Average ELCC |  | Load adjusted (actual / max load for slice) of VER performance (proposed by CalWEA) | Load requirements trading | Bottoms-up based on each LSE’s load shape plus an adjustment to CAISO coincident peak | Other | Data request and analysis needed before further action | Bid cap | 5 years
| Other | Other |  | Other | Effective Net Load Reduction | UCAP (forced outages in top 20% needed hours and urgent outages) | UCAP | Incremental ELCC | Exceedance for historic production in each slice | UCAP-light | Incremental ELCC combined | Average ELCC combined |  | Incremental ELCC |  | Average of the historical hourly output when load is higher than a threshold value (proposed by CalWEA) | Other | Other |  | Other | Other | Other
[5 empty] | Other | ELCC | ELCC | Other | UCAP-light | UCAP | Existing treatment using ELCC | Incremental ELCC combined |  | Similar to use-limited thermal |  | Other
[6 empty] | Other | Other |  | UCAP | Other | Similar to existing treatment using exceedance | Exceedance for each slice for combined elements |  | Other
[9 empty] | Other |  | Exceedance for each slice for combined elements | UCAP
[11 empty] | UCAP | Other
Other