## Sheet1
Electric Incidents
Open as of 1-1-2019 and Incidents Reported in 2019
Pursuant to California Public Utilities Code Section 911, below is a list of electric incidents open as of January 1, 2019 and reported in 2019. The electric utilities are required to report to the California Public Utilities Commission, within two hours during working hours and four hours outside of working hours, incidents that 1) result in fatality or personal injury rising to the level of in-patient hospitalization and are attributable or allegedly attributable to utility owned facilities; or 2) are the subject of significant public attention or media coverage and are attributable or allegedly attributable to utility facilities; or 3) involve damage to property of the utility or others estimated to exceed $50,000. Generating Asset Owners are required to report within 24 hours safety-related incidents that result in 1) death to a person or an injury or illness to a person requiring overnight hospitalization; or 2) a report to Cal/OSHA, OSHA, or other regulatory agency; or 3) damage to the property of the Generating Asset Owner or another person of more than $50,000, or 4) significant negative media coverage when the Generating Asset Owner has actual knowledge of the media coverage. While Public Utilities Code Section 911 does not apply to Generating Asset Owners, safety-related incidents at Generating Asset Owner facilities are included for completeness. While Public Utilities Code Section 911 does not apply to Generating Asset Owners, safety-related incidents at Generating Asset Owner facilities are included for completeness.
Incident number: This number reflects the year, month, day, and the sequence in which the incident was reported or occurred.
Incident number (YYYYMMDD-XX) | Facility owner | Reason for investigation | Facility Type | Brief description of incident | OPEN or CLOSED
20150926-01 | PG&E | Injury | Subsurface transformer | An outage occurred on a 12kV circuit in San Francisco. During the restoration process, an underground PG&E subsurface transformer catastrophically failed resulting in injury to two nearby individuals. | Closed
20160523-01 | SCE | Injury | 16 kV underground conductor | A contractor suffered burn injuries from an arc flash while opening a pedestal that contained energized conductors. | Closed
20160720-01 | SCE | Injury | Vault cover | An underground vault cover was dislodged, which upset a passing vehicle. Initial reports indicate there was one occupant of the vehicle who was subsequently taken to nearby Norwalk Community Hospital for care. | Open
20160919-04 | SCE | Injury | 16 kV underground conductor | An unidentified person reportedly cut into the underground electrical facilities with a hand tool and sustained 2nd and 3rd degree burns. | Open
20160924-01 | SCE | Injury | 12 kV overhead conductor | An employee of a private tree trimming contractor made contact with an overhead primary conductor and received second and third degree burns to his hands, legs, and back. | Open
20161011-03 | SDG&E | Injury | 12 kV overhead conductor | A journeyman lineman for Diversified Utility Service, Inc. received burn injuries after making contact with an energized overhead conductor while working on a wood-to-steel conversion project. | Open
20161117-02 | SDG&E | Injury | 12 kV conductor | A lineman employed by a contractor sustained second degree burn injuries from an arc flash after his tool came into contact with an energized 12 kV cable. | Open
20161222-01 | SCE | Injury | 4 kV overhead conductor | An employee of a subcontractor for Spectrum (Charter), contacted an energized SCE overhead primary conductor with his hard hat, causing him to strike his head against the side of the bucket. | Closed
20170112-01 | SDG&E | Injury | Unknown | An SDG&E lineman sustained unknown injuries on or near pole #832213, and was transported to UCSD medical center. | Open
20170222-01 | SCE | Injury | Riser | An SCE contractor employee suffered arc flash injuries while working overhead. | Open
20170226-01 | PG&E | Injury | 12 kV overhead conductor | A PG&E contractor employee sustained electrical injuries to both hands while attempting to restore power to a blacked out circuit. | Open
20170311-01 | SCE | Media | 12 kV overhead conductor | Vegetation contact with an overhead conductor caused a fire that attracted media attention and about $30,000 in property damage. | Open
20170330-01 | SCE | Injury | 12 kV secondary pedestal | An employee of Pacific Center LLC received burns from an arc flash as he removed the cover of a secondary pedestal. | Open
20170330-02 | SCE | Damage/Media | 33 kV overhead conductors and utility poles | Six wood poles fell over during windy conditions. Downed primary conductors reportedly ignited several structure fires. | Open
20170415-01 | PG&E | Fatality | 17 kV overhead conductor, utility pole, and transformer | An employee of Action Tree Company, a contractor for PG&E, was fatally injured when the tree he was trimming fell down while he was in it. The injuries were not electrical in nature. | Open
20170421-01 | PG&E | Media | Substation | PG&E's Larkin Substation was on fire and de-energized causing an outage to over 70,000 customers. | Closed
20170518-01 | SCE | Injury | 4 kV overhead conductor | An employee of Hampton Tedder Electric Co. (HTEC), a contractor working on behalf of SCE, sustained injuries after reportedly making contact with overhead electrical facilities on the James 4 kV circuit out of Imperial Substation. | Closed
20170721-02 | PG&E | Damage | Neutral wire | An open neutral wire at 2749 35t Avenue in San Francisco led to a fire. The fire caused over $50,000 in damage. | Closed
20170808-01 | PG&E | Injury | 115 kV conductor and transmission tower | A third party was injured due to making contact with a 115 kV conductor on a transmission tower in the City of Santa Rosa. | Closed
20170821-01 | SCE | Fatality | 12 kV overhead conductor | An underground cable failed, causiing a splice to fail and a conductor on a 12 kV distribution circuit to come down in the rear of a home in Huntington Beach. A resident there contacted the line and was fatally electrocuted. | Open
20170831-03 | PG&E | Damage | Insulator pin and overhead conductor | A vineyard claims $64,000 property damage from a fire that occurred on 8/28/2017 and alleges that PG&E equipment ignited it. | Closed
20170831-05 | SCE | Damage | 12 kV overhead conductors and utility poles | 11 poles were downed and 3 other pole tops damaged during a windy weather event in Lake Elsinore. | Open
20170905-02 | SCE | Injury | 16 kV overhead conductor | A large portion of a city-owned tree fell onto a span of primary conductors and caused a conductor to fall down. A person was injured when he made contact with the conductor. | Open
20170920-01 | PG&E | Injury | Secondary underground cables | Third-party contractor was boring in San Jose, and made contact with secondary UG cable of PG&E's El Patio 1109, resulting in his injury. | Closed
20170926-01 | SCE | Injury | 16 kV overhead conductor | An employee of Ace Sheet Metal was ascending an aluminum ladder to install rain gutters onto a two story residential multi-unit housing complex. The employee fell after contacting SCE's primary overhead conductor with a section of rain gutter. | Open
20170928-01 | PG&E | Injury | Customer facilities | A child was injured when he contacted an above ground energized conduit in Fresno. The above ground conduit is believed to be customer owned. | Closed
20171004-01 | PG&E | Damage | Service line | Cal Fire suspects that PG&E's low-voltage service drop may have been involved with the ignition of a fire that damaged two or three residences. | Closed
20171009-01 | PG&E | Injury | Unknown | A broken neutral wire may have caused a fire that resulted in an injury. | Closed
20171009-02 | PG&E | Damage | Overhead conductor | PG&E identified a wire down and broken tree near a transmission tower of the Potter Valley-Mendocino 60kv transmission line in Potter Valley. | Open
20171009-03 | PG&E | Damage | 12 kV overhead conductor | PG&E identified a broken tree limb and wire down on a 12 kV circuit in West Point. | Open
20171010-01 | PG&E | Damage | 12 kV overhead conductor | PG&E identified a broken tree limb and wire down on a 12 kV circuit in Oroville. | Open
20171010-02 | PG&E | Damage | 12 kV overhead conductor | PG&E identified a broken tree and wire down on a 12kV circuit in Kenwood. | Open
20171011-02 | PG&E | Damage | Utility poles | PG&E identified two broken poles on a 12 kV circuit in Clearlake. | Open
20171011-03 | PG&E | Damage | 12 kV overhead conductor | PG&E identified a broken tree and wire down on a 12kV circuit in Grass Valley that resulted in damage to a residential garage and its contents. | Open
20171012-02 | PG&E | Damage | 21 kV overhead conductor | PG&E identified a tree that fell on 21 kV conductors in Nevada City. | Open
20171013-01 | PG&E | Damage | 12 kV overhead conductor | A tree limb fell into overhead conductors, knocking them down and resulting in a fire. | Open
20171015-01 | PG&E | Damage | Overhead conductor | Fire damage occurred to two structures in the City of Santa Rosa, and may have been caused due to issues with a secondary conductor. | Open
20171015-02 | PG&E | Damage | 12 kV overhead conductor | A wire down occurred on a 12 kV circuit in the City of San Jose. This resulted in fire damage to two structures. | Closed
20171016-01 | PG&E | Damage | Secondary service line | PG&E identified a tree whose top broke and fell on an open wire secondary service in Glenn Ellen. | Open
20171020-01 | PG&E | Damage | 12 kV overhead conductor | PG&E identified a 29-inch diameter White Oak tree that fell into a 12 kV circuit in Healdsburg. | Open
20171020-02 | PG&E | Damage | 21 kV overhead conductor | PG&E identified a 25-inch diameter Live Oak, approximately 70 feet tall, that struck and took down one phase of a 21 kV circuit in Napa. | Open
20171020-03 | PG&E | Damage | 12 kV overhead conductor | PG&E identified a 32-inch diameter Douglas Fir tree, approximately 100 feet tall, that uprooted and fell into a Live Oak, a Madrone and several other Oaks taking down one span of a 12 kV circuit in Santa Rosa. | Open
20171020-05 | PG&E | Damage | Unknown | Fire in the vicinity of PG&E facilities. | Open
20171020-06 | PG&E | Fatalities | Primary Conductors | Cal Fire took possession of a span of primary conductors in Yuba County. | Open
20171021-01 | PG&E | Damage | 12kV overhead conductor | An overhead conductor fell after a tree fell into it and may have caused a fire. | Open
20171023-01 | PG&E | Damage | 12kV overhead conductor | Fire due to downed overhead conductor. | Open
20171026-01 | PG&E | Damage | 12 kV overhead conductor | A fire occurred that may have been started by PG&E facilities. | Open
20171110-01 | PG&E | Damage | Primary and secondary overhead conductors | A tree branch fell pushing primary conductors into secondary conductors resulting in a house fire in Oakland. | Closed
20171114-01 | PG&E | Damage | Unknown | PG&E was advised of a fire that occurred on October 9, 2017, at the Redwood Empire Sawmill in the City of Cloverdale in Sonoma County. One customer blames the utility's equipment for the fire. | Closed
20171117-01 | PG&E | Injury | 12 kV overhead conductor | Two third parties were injured when installing a street light pole when it contacted overhead electric facilites in Dinuba. Both suffered electrical burn injuries. | Closed
20171129-01 | PG&E | Injury | 12 kV overhead conductors | A third party tree trimmer sustained electrical injuries when he contacted 12 kV conductors in the City of Ross. | Closed
20171202-01 | SCE | Injury | 12 kV underground conductor | A foreman electrician for Light and Power Company, a private and not a utility-associated company, cut into an underground primary cable and sustained 3rd degree burns. | Open
20171205-01 | SCE | Damage/Media | 21 kV Circuit | Outages and damage to SCE facilities due to Thomas fire. | Open
20171205-02 | SCE | Media | 16 kV Circuit | A wildfire known as the Rye started near SCE 16 kV distribution circuit. Witnesses reported arcing near SCE facilities around the time the fire started. | Open
20171205-03 | SCE | Media | 12 kV overhead conductor | A grass fire reportedly ignited which eventually consumed 34 acres of grass and brush with full containment at 8:00 p.m. | Open
20171207-01 | PG&E | Damage | 115 kV overhead transmission conductor | A PG&E contract crew was working near a PG&E 115kV transmission line, and it is at this location that the fire apparently originated. Two trucks were destroyed. | Open
20171207-02 | SCE | Media | 12 kV overhead conductor | A brush fire known as the Liberty Fire was reported at 1:14 p.m. | Open
20180112-01 | PG&E | Damage | 12 kV overhead conductor | Possible tree-to-conductor contact may have caused a fire that damaged a house. | Closed
20180118-01 | SCE | Fatality | 115kv overhead conductor | A contractore suffered an induced current electric shock while transferring conductors from existing tower to a newly installed steel pole | Open
20180202-01 | PG&E | Damage | 12 kV overhead conductor | Insurance claim about a fire that damaged a house in October 2017 when a tree made contact with an overhead conductor. | Closed
20180205-01 | PG&E | Fatality | Utility pole | A third party climbed a pole and made contact with conductors resulting in fatal injuries. | Closed
20180316-01 | SCE | Fatality | 16 kV overhead conductor | A tree trimmer was fatally injured when he made contact with SCE overhead conductors. | Open
20180316-02 | SCE | Injury | SCE Substation | An SCE employee sustained fall injuries when he fell off a transformer. | Open
20180404-01 | SCE | Injury | 16 kV underground conductor | A construction employee was in the act of excavating sustained injuries when his tool struck a concrete encased 16 kV primary conductor. | Open
20180407-01 | PG&E | Outage/Media | Vault | Smoke was observed coming from an underground vault near the intersection of Geary and Hyde in San Francisco. In order to resolve the problem, PG&E de-energized a portion of its system, causing an outage to approximately 10,800 customers. | Closed
20180525-01 | SCE | Injury | BURD | An SCE electrical crew foreman sustained burns while working to restore power to a BURD in Realto, CA. | Open
20180606-03 | SCE | Injury | Down guy | An apprentice lineman suffered an injury while installing a down guy on a pole on 115kV transmission line Dagget, CA. | Open
20180607-01 | PG&E | Media Coverage | 12 kV overhead conductor | A downed 12KV conductor may have potentially caused a fire. | Closed
20180703-01 | SCE | Injury | Underground conductor | An SCE employee in vault accidentally cut into cable while removing a sump pump, resulting in arc flash injury | Closed
20180703-02 | SDG&E | Injury | Underground conductor | A Helix Water Department employee was using a chipping gun attempting to identify an SDG&E underground electrical service, when he struck a 12 KV cable. Both he and a co-worker sustained unspecified injuries. | Closed
20180704-01 | SCE | Injury | 12 kV overhead conductors | A mylar balloon contacted overhead conductors causing a brush fire. Conductor also fell on and energized a chain-link fence, which resulted in an electrical injury to a member of the public. | Open
20180706-02 | SDG&E | Media Coverage | 12 kV overhead facilities | A vegetation and structure fire occurred in the vicinity of overhead facilities. | Open
20180707-01 | SCE | Media Coverage | 16 kV overhead conductor | A tree branch may have knocked into a power line starting a fire. | Open
20180710-01 | SCE | Injury | Employee | A worker experienced a cardiac event while working on SCE facilities. It is unknown if the event was the result of an accident or a medical condition. | Open
20180713-01 | PG&E | Injury | 120 V | An employee made contact with 120 volt conductor while working on a street light, resulting in electrical injuries. | Closed
20180729-01 | Ivanpah Solar Project Generating Facility | Property Damage | Heliostats | Hailstorm broke numerous mirrors on heliostats | Closed
20180801-01 | SDG&E | Fatality | 12 kV overhead conductor | Tree trimmer was fatally electrocuted when he made contact with an overhead conductor. | Closed
20180804-01 | PG&E | Death | Employee | Utility worker collapsed on the job and died of unknown causes. | Closed
20180810-01 | PG&E | Damage | Transformer | Damage claim due to a transformer failure in March 2018. | Closed
20180820-01 | PG&E | Media Coverage | Overhead conductor | During tree removal work, the crane being used by PG&E's tree contractor fell into overhead conductors, taking three phases to ground and resulting in an outage to 4,299 customers. | Closed
20180828-01 | BVES | Power Outage | Overhead conductor | A 34 kV overhead conductor failed, causing a relatively large power outage that affected approximately half of BVES's customers for over an hour. | Open
20180831-01 | PG&E | Media Coverage | Overhead conductor | Power outage due to fire. | Closed
20180906-01 | PG&E | Media Coverage | Overhead conductor | Tree related power outage. | Closed
20180906-02 | SCE | Injury | Underground conductor | Third party made contact with underground conductor while digging, resulting in electrical injuries. | Closed
20180907-01 | SDG&E | Property Damage | Overhead conductor | Fire from downed overhead conductor. | Closed
20180907-02 | SCE | Fatality | None | A neighborhood resident expired during planned outage. | Closed
20180910-01 | PG&E | Power Outage | Substation switch | Power outage due to switch malfunction. | Closed
20180911-01 | PG&E | Media Coverage | Overhead conductor | Fire due to downed overhead conductor. | Open
20180916-01 | PG&E | Media Coverage | Overhead conductor | Power outage and fire due to downed overhead conductor. | Closed
20180924-01 | PG&E | Injury | Tree trimming equipment | A worker fell and was injured while trimming a tree. | Closed
20180927-01 | SCE | Injury | Overhead conductor | Two SCE contractor workers suffered arc flash injuries while performing voltage tests on an overhead conductor. | Open
20181006-01 | SCE | Injury | Overhead conductor | A lineman was injured in arc flash accident while opening a primary tap. | Closed
20181015-01 | PG&E | Damage | 12 kV overhead conductor | Fire damage due to downed conductor. | Closed
20181018-01 | PG&E | Media Coverage | 21 kV overhead conductor | Fire due to downed overhead conductor. | Open
20181020-01 | PG&E | Injury | 12 kV overhead conductor | Third-party contractor employee suffered a shock while working on scaffolding. | Closed
20181025-01 | SCE | Damage | 12 kV circuit | Fire attributed to electrical failure. | Open
20181025-02 | SCE | Injury | 4 kV underground conductor | LADWP employee injured when his jackhammer struck underground conductor. | Closed
20181026-01 | SCE | Death | 4 kV circuit | Customer whose life may have depended upon electronic devices passed away during power outage. | Open
20181029-01 | SCE | Injury | Utility Pole | Utility pole broke at communications level while a lineman was on it. | Open
20181108-01 | PG&E | Operator Judgement | Transmission Tower | A 115 kV transmission circuit experienced a power outage. Damage to a transmission tower was later discovered. | Open
20181108-02 | SCE | Media Coverage/Property Damage/Fatalities | 16 kV overhead conductor | The Big Rock circuit in Ventura County relayed. This incident has been implicated as a possible source of ignition for the Woolsey Fire. | Open
20181109-01 | SCE | Property Damage | 16 kV overhead conductor | A patio umbrella blew into power lines. This caused an overhead conductor to fall and start a fire. Two residential structures were damaged. | Closed
20181110-01 | SCE | Injury | 12 kV overhead conductor | A tree trimmer was injured when his 10 foot aluminum pole made contact with an overhead conductor. | Closed
20181110-02 | SCE | Injury | Primary Riser | A circuit interruption out of the Fremont substation led SCE staff to discover that a primary riser on the circuit had been vandalized. There are unconfirmed reports that an injured person may have been transported to a yet to be identified hospital. | Closed
20181112-01 | SCE | Property Damage | Transmission Tower | An SCE contractor drove a truck into a transmission tower, knocking it over. | Closed
20181114-01 | SCE | Injury | 12 kV overhead conductor | A member of the public made contact with an overhead conductor while installing rain gutters, resulting in electrical related injuries. | Open
20181116-01 | PG&E | Operator Judgement | 12 kV Circuit | PG&E experienced an outage on the Big Bend 12 kV circuit in Butte County. Cal Fire has secured the area. | Open
20181120-01 | SCE | Injuries | 12 kV underground conductor | Four employees of SCE contractor Hampton Tedder were injured in an arc flash incident in a vault in Long Beach. One sustained burns and three others experienced smoke inhalation. | Open
20181121-01 | PG&E | Media Coverage | Substation | The Meadow Lane Substation in Concord experienced a power outage that affected approximately 26,000 customers for over two hours. | Closed
20181121-02 | PG&E | Damage | 12 kV underground conductor | A power outage occurred in Bakersfield, along with a fire in a vault and reports of a damaged vehicle. | Open
20181129-01 | SCE | Injury | 4 kV circuit | A firefighter suffered a shock as he entered a residence in the process of suppressing a fire. | Closed
20181212-01 | PG&E | Injury | Manhole cover | An individual riding a scooter was injured when he allegedly rode over a faulty manhole cover on April 24, 2018. | Closed
20181217-01 | SCE | Injury | Utility Pole | Two employees of Hot Line Construction, Inc. were injured when the pole they had climbed fell over with them still on it. | Open
20181218-01 | PP&L | Injury | Overhead conductor | A third party sustained elect+E125:E131as station. | Closed
20181221-01 | PG&E | Damage | Overhead conductor | Farmers Insurance claims that a fallen overhead conductor caused a structure fire in Fairfield on November 23, 2018. | Closed
20181227-01 | PG&E | Injury | Transformer | A PG&E employee suffered burns to the hands and face when a nearby transformer failed catastrophically. | Closed
20181229-01 | PG&E | Injury | 12 kV circuit | A third party sustained injuries that may be attributable to PG&E facilities. | Closed
20190102-01 | PG&E | Property Damage | Distribution circuit | A power surge damaged customer's appliances. | Open
20190105-01 | SCE | Injury | Primary cable | A man sustained burn injuries while cutting into an energized primary cable with a reciprocating saw. | Open
20190114-01 | PG&E | Property Damage | Overhead conductor | A downed conductor started a structure fire. | Closed
20190115-01 | PG&E | Property Damage | Distribution circuit | A power surge damaged customer's appliances. | Closed
20190117-01 | PG&E | Property Damage | Overhead conductor | Vegetation contact with an overhead conductor lead to a fire that burned down an unoccupied cabin. | Closed
20190118-01 | PG&E | Property Damage | Overhead conductor | A tree branch fell on a guy wire, causing transmission and distribution lines to slap together and conductors to fall to the ground in several places. PG&E has paid out in excess of $50,000 in claims as a result of damage from this incident. | Closed
20190122-01 | PG&E | Property Damage | Distribution circuit | PG&E facilities may have caused a structure fire. | Closed
20190212-01 | BVES | Injury | 34 kV overhead conductor | On June 18, 2018, a tree trimmer suffered electrical injuries when his hand made contact with an overhead conductor. The incident was reported by BVES eight months later on February 12, 2019. | Open
20190213-01 | PG&E | Media Coverage | Overhead conductor | A shelter-in-place was ordered on February 8, 2019. Initial reports misattributed the incident to a transformer explosion, but it was later discovered that a downed overhead conductor was responsible and no transformer explosion occurred. | Closed
20190215-01 | PG&E | Property Damage | 12 kV circuit | A power surge is alleged to have caused a structure fire. | Open
20190215-02 | PG&E | Property Damage | 21 kV circuit | A power surge is alleged to have damaged electrical equipment at a gravel plant. | Open
20190215-03 | SCE | Possible Violation | Overhead conductor | Bamboo growing within 4 feet of a primary overhead conductor was misclassified by SCE as a "Level 3" safety hazard. This allowed the bamboo time to grow even closer to the conductor, ultimately resulting in contact and a downed primary conductor. No injuries or other property damage were reported. | Open
20190218-01 | PG&E | Media Coverage | Unknown | An outage occurred that affected approximately 21,600 PG&E customers. The cause of the outage is unknown. | Open
20190219-01 | PG&E | Property Damage | Unknown | A "power quality issue" is alleged to have caused over $50,000 in damage to packing equipment at a packing company. | Closed
20190304-01 | PG&E | Injury | 12 kV circuit | A contractor suffered an electric shock while replacing a traffic light. | Closed
20190312-01 | PG&E | Injury | 12 kV overhead conductor | While remodeling a gas station, a contractor suffered an electric shock when his lift made contact with an overhead conductor. He was taken to a hospital for observation. | Closed
20190312-02 | PG&E | Media Coverage | Overhead conductor | An overhead conductor made contact with vegetation, resulting in a power outage that affected approximately 4300 customers. | Open
20190318-01 | SCE | Injury | Substation | An apprentice substation electrician suffered injuries to both hands while performing maintenance work on supposedly de-energized equipment. | Open
20190319-01 | PG&E | Property Damage | 12 kV circuit | PG&E received a claim alleging damage to control panels and other electrical equipment that occurred due to a power surge that allegedly took place in April of 2017. | Open
20190325-01 | SCE | Injury | 12 kV overhead conductor | A tree trimmer in a lift sustained electrical injuries when he made contact with energized overhead conductors. | Open
20190401-01 | SDG&E | Property Damage | Substation Transformer | A substation transformer was damaged by an unknown intruder. | Open
20190401-02 | PG&E | Injury | Overhead conductors | A party was injured during a hot air balloon ride. | Closed
20190423-01 | RUD | Injury | 4 kV underground conductor | An employee suffered second and third degree burns as a result of a shock while working with underground conductors. | Closed
20190425-01 | SCE | Property Damage | Distribution circuit | A residential fire occurred on December 21, 2017, allegedly caused by SCE facilities. | Closed
20190425-02 | PG&E | Power Outage | Transmission Circuit | A power outage occurred that affected approximately 10,000 customers as a result of "the loss of service" of a transmission line. | Closed
20190428-01 | SCE | Media Coverage | 4 kV overhead conductors | A Cal Trans contractor operating excavation equipment damaged overhead power lines, resulting in 4 kV conductors falling onto the 710 freeway. Injuries have been reported but not confirmed. | Closed
20190430-01 | Diablo Winds Generating Facility | Property Damage | Turbine Blade | Flanged bolts sheared and led to detachment and liberation of one of the blades from the turbine hub. | Closed
20190501-01 | PG&E | Fatality | 12 kV overhead conductors | A small aircraft made contact with 12 kV overhead conductors. This resulted in wires down, a broken utility pole, a small power outage, and the death of the aircraft's pilot. | Closed
20190503-01 | SCE | Media Coverage | 16 kV overhead conductors | Overhead conductors contacted and damaged a mylar balloon, resulting in a small brush fire. No injuries or significant property damage occurred as a result of this fire. | Closed
20190503-02 | PG&E | Media Coverage | Substation equipment | A problem at Llagas substation in Gilroy resulted in a power outage that affected 22,000 customers. | Closed
20190505-01 | PG&E | Injury | Overhead conductors | PG&E's overhead conductors destroyed a skydiver's parachute as he descended. The victim was taken to the hospital complaining of back pain after the incident. | Closed
20190512-01 | PG&E | Fatality | 21 kV overhead conductors | PG&E's overhead conductors made contact with a man after he jumped off a nearby building, resulting in a momentary power outage but no damage to PG&E's facilities. It is unclear at this time whether the man died as a result of the fall or of electrocution on the way down. | Open
20190519-01 | PG&E | Media Coverage | Underground conductor | An underground conductor failed in Walnut Creek, resulting in a power outage that affected 3,200 customers. | Open
20190528-01 | PG&E | Media Coverage | Utility poles | A broken utility pole resulted in two adjacent poles falling over and downed conductors. This resulted in an outage that affected approximately 2,250 customers | Open
20190528-02 | PP&L | Property Damage | Overhead conductors | A failed insulator resulted in a fire in the city of Montague. Damage to property is estimated at $75,000. | Open
20190529-01 | PG&E | Property Damage | Substation | A power outage occurred out of PG&E's Tyler substation in Red Bluff that affected approximately 1,250 customers. The cause of the outage is unknown, but smoke and fire were observed at the substation that may be somehow related to the power outage. Damage to substation equipment is estimated to exceed $50,000. | Open
20190530-01 | PG&E | Property Damage | Overhead conductors | A third party operating excavation equipment accidentally damaged a down guy. This resulted in damage to two poles and transformers, and a wire down that caused a fire that damaged nearby structures, vehicles, and equipment. | Open
20190531-02 | PG&E | Operator Judgement | Transmission Towers | PG&E has decided to replace 10 old towers and repair an additional 12 towers to reinforce the Ignacio-Alto-Sausalito double circuit transmission lines. | Open
20190604-01 | SCE | Injury | Underground conductor | An unidentified construction worker sustained injuries while performing excavation work when he struck an underground conductor. There is no indication that the man was working on behalf of SCE at the time of the accident. | Closed
20190606-01 | PG&E | Media Coverage | Substation | An unknown problem at a substation in Fresno led to a power outage that affected approximately 22,000 customers for about three and a half hours. | Open
20190607-01 | PG&E | Injury | Circuit Breaker | An individual visiting Eight Mile Substation in Stockton made contact with a 230 kV circuit breaker. The victim was admitted to a local hospital with burn injuries. | Closed
20190611-01 | PG&E | Media Coverage | Overhead conductors | A wire down caused a power outage that affected 8 customers and resulted in a fire that damaged two homes. | Closed
20190611-02 | PG&E | Property Damage | Underground conductor | A claim alleges that on April 14, 2019, a PG&E underground conductor caused a customer's electrical panel to catch fire and damage the home. | Closed
20190611-03 | PG&E | Media Coverage | Overhead conductors | A small grass fire occurred in the vicinity of overhead conductors. A power outage also occurred in the area that affected 495 customers. | Closed
20190612-01 | PG&E | Media Coverage | Substation | A power outage of unknown cause affected about 18,000 customers. | Open
20190616-01 | PG&E | Fatality | Overhead conductor | A small airplane struck PG&E conductors and then crashed into Lake Tulloch. The pilot, the only person on board, perished. | Closed
20190620-01 | PG&E | Injury | 21 kV overhead conductor | A PG&E contractor working on a pole received an electric shock when he reportedly made contact with the primary neutral conductor. He was transported to Santa Clara Valley Medical Center. | Open
20190621-01 | SDG&E | Injury | 12 kV overhead conductor | An employee working for Mediacom accidentally made contact with an overhead SDG&E conductor and suffered second degree burns as a result. | Open
20190622-01 | SCE | Fatality | 12 kV overhead conductor | A tree trimmer (unaffiliated with SCE) was fatally shocked and burned when his metal trimming tool came into contact with an overhead conductor. | Open
20190622-02 | PG&E | Media Coverage | 12 kV overhead conductor | A mylar balloon made contact with an overhead 12 kV conductor, causing the conductor to fall onto the train tracks. A passenger train then hit and dragged the conductor, causing it to break away from the pole. | Closed
20190627-01 | PG&E | Media Coverage | Overhead conductors | A vegetation fire occurred that spread to 2500 acres. Cal Fire's report implicates PG&E wires down as an ignition source. | Open
20190628-01 | PP&L | Property Damage | Overhead primary conductors | A fire occurred that resulted in about $150,000 in property damage. The cause of the fire is unknown, but a blown fuse and lightning arrestor were found at the base of a utility pole in the burned area. | Open
20190629-01 | PG&E | Media Coverage/Injury | 21 kV overhead conductors | An oak tree fell into power lines, resulting in a several conductors falling onto the highway. One of the conductors knocked a motorcyclist off his bike, seriously injuring him. This incident also resulted in traffic delays on Highway 1 and media attention. | Open
20190710-01 | PG&E | Property Damage | 12 kV overhead conductors | A mylar balloon made contact with PG&E overhead conductors. This resulted in a fire that damaged two poles and an outage that affected approximately 4150 customers. | Open
20190713-01 | SDG&E | Injury | 12 kV overhead conductors | A tree trimmer suffered burns to his right foot and shin when he accidentally touched an overhead conductor with a tree branch. He also complained of pain in his right hand. | Closed
20190715-01 | SDG&E | Media Coverage | 4 kV distribution circuit | A power outage affected approximately 2000 SDG&E customers. The cause of the power outage has not yet been determined. | Open
20190719-01 | PG&E | Media Coverage | 12 kV overhead conductors | A truck crashed into a utility pole, knocking it down. This resulted in a "wire down" situation and a power outage that affected about 1155 PG&E customers. | Open
20190721-01 | SCE | Injury | Substation | A man scaled the fence of Aqueduct Substation and vandalized SCE equipment there. His activities resulted in a power interruption, which caused SCE personnel to respond. SCE staff found the man in the substation with burn injuries. He fled on foot but was later apprehended by police and air-lifted to a nearby hospital for treatment. | Open
20190722-01 | SCE | Injury | 4 kV overhead conductors | A private tree trimmer contacted overhead conductors while elevated on a boom truck. He sustained burn injuries and was transported to Cottage Hospital. | Open
20190722-02 | PG&E | Property Damage | Service drop | A recreational vehicle drove through a residential service drop. This resulted in the vehicle catching fire and in one customer losing power. | Open
20190722-03 | SCE | Injury | 12 kV underground conductor | A man suffered arc flash injuries when he cut into an energized 12 kV insulated conductor, possibly attempting to harvest the copper inside. The conductor was in a splice box in a unused commercial property in Huntington Beach. | Open
20190722-04 | PG&E | Injury/Death | Transmission tower | Two PG&E employees were injured near Highway 70, one fatally, when they fell from a height of approximately 35 feet while working on a transmission tower. | Open
20190725-01 | PG&E | Death | 12 kV overhead conductor | A forklift operator was electrocuted when his forklift contacted 12 kV overhead conductors. | Open
20190728-01 | SCE | Property Damage | 66 kV overhead conductor | Two birds made contact between a 66 kV overhead conductor and the crossarm supporting it. This caused the birds to catch fire and fall to the ground, resulting in a brush fire. The fire resulted in about 110 acres of brush burned and fire damage to one residence. | Open
20190730-01 | PG&E | Property Damage | Distribution circuit | The Campbell Police Department alleges that a power surge on May 25, 2019 resulted in damage to their equipment that exceeds $120,000. | Open
20190731-01 | SCE | Media Coverage | 12 kV overhead conductors | A vehicle struck a utility pole, causing power lines to fall across the 10 freeway. This resulted in the temporary closure of the freeway and media coverage of the incident. | Open
20190801-01 | SCE | Injury | 16 kV conductor | An unidentified individual sustained injuries when he cut into a riser that contained an energized primary conductor. | Closed
20190802-01 | SCE | Media Coverage | Substation | A fire occurred at Cabrillo Substation that resulted in a large power outage that affected the John Wayne Airport in Orange county. | Open
20190806-01 | PG&E | Property Damage | 12 kV overhead conductors | Unspecified property damage occurred due to the "Parkfield Fire", started by PG&E overhead conductors contacting a street light. The fire occurred on July 8, 2017, but the complaint was not received until August 6, 2019. | Open
20190808-01 | SCE | Injury | Truck | An SCE troubleman responded to a downed pole that was struck by a car near Little Rock in Los Angeles County. While in the process of clearing the damaged pole, he fell from an elevated position from his truck, suffering orthopedic injuries. There is no indication of any contact with energized facilities related to this incident. | Open
20190815-01 | PG&E | Property Damage | Overhead Conductors | Two spans fell while planned work was being performed. One of the spans fell on the underbuilt circuit, causing unspecified damage that is expected to exceed $50,000. | Open
20190816-01 | PG&E | Media Coverage | Substation | A momentary power outage occurred during a switching procedure at Ignacio Substation in the city of Novato. The outage affected approximately 54,000 customers. | Open
20190816-02 | PG&E | Property Damage | Utility Pole | A fire originating at a PG&E utility pole resulted in a structure fire in Fresno. | Open
20190818-01 | SCE | Fatality | 12 kV overhead conductors | A tree trimmer was electrocuted when he came into contact with 12 kV overhead conductors via a palm frond he was moving. | Open
20190828-01 | PG&E | Property Damage | 12 kV overhead conductors | A third party cut a tree that fell into PG&E overhead conductors. This resulted in a fire and a power outage that affected about 392 customers. | Closed
20190830-01 | PG&E | Property Damage | Distribution circuit | A customer alleges that PG&E equipment damaged their home's electrical system. | Open
20190902-01 | PG&E | Media Coverage | 12 kV overhead conductors | A contractor contacted PG&E overhead conductors, causing the conductor to fall on the freeway and railroad tracks. No deaths, injuries, or significant damage resulted, although an outage occurred that affected about 114 customers. | Open
20190904-01 | SCE | Media Coverage | 33 kV overhead conductors | A fire occurred near SCE facilities, the "Tenaja Fire". The cause of the fire is unknown at this time. | Open
20190906-01 | PG&E | Media Coverage | Distribution circuit | A power outage occurred that affected about 3000 customers. Cause unknown. | Open
20190907-01 | PG&E | Property Damage | 12 kV overhead conductor | A line to ground fault resulted in the complete destruction by fire of a barn and all the equipment within it. | Open
20190916-01 | PP&L | Property Damage | 69 kV overhead conductor | A wire down may have sparked a fire that scorched 30 acres in Scott Bar. | Open
20190916-02 | PG&E | Media Coverage | 12 kV overhead conductor | PG&E experienced an outage on the Jarvis 1101 12kV Distribution Circuit on Industrial Parkway in Hayward, impacting approximately 3210 customers as well as BART. According to reports from the on-scene fire department, PG&E wire was down across the BART tracks, halting trains. | Open
20190917-01 | PG&E | Injury | 12 kV circuit | A man sustained burns after allegedly attempting to tap into a PG&E power pole. | Open
20190917-02 | PG&E | Property Damage | Unknown | Someone is sueing PG&E for allegedly damaging their residence. | Closed
20190919-01 | SCE | Injury | 12 kV overhead conductors | Initial reports stated that a forklift operator suffered extensive burn injuries when the forklift he was operating contacted overhead conductors. Investigation by CPUC staff has revealed that the operator did not suffer any serious injuries during the event, and was released from the hospital the same day. | Closed
20190920-01 | PG&E | Media Coverage | Underground conductor | A power outage affecting 20,000 customers occurred when a construction worker accidentally dug into an underground primary conductor. | Open
20190929-01 | PG&E | Media Coverage | Substation | A power outage occurred that affected approximately 50,000 customers from Berkeley to Oakland. | Open
20190930-01 | PG&E | Media Coverage | Distribution circuit | A power outage occurred that affected approximately 13,000 customers. | Open
20191002-01 | PG&E | Injury | 12 kV Circuit | A thirt party individual made contact with an energized conductor and was injured. | Open
20191005-01 | SCE | Injury | Transformer | An underground transformer exploded, injuring two people nearby as well as two responding fire fighters. | Open
20191007-01 | PG&E | Operator Judgement | Overhead conductors | An airplane made contact with overhead conductors, resulting in a small power outage and a 5-acre vegetation fire. | Closed
20191007-02 | SCE | Media Coverage | Crane | A crane subcontracted to perform a pole replacement for SCE tipped over, damaging one home and resulting in one minor injury. | Open
20191008-01 | SCE | Injury | Overhead circuit | A contractor working on a cut-over project suffered burn injuries when an arc flash occurred. | Open
20191011-01 | SCE | Media Coverage | Transmission Circuit | A transmission circuit relayed around the same time and location that the Saddleridge Fire began. | Open
20191011-02 | PG&E | Fire | 115 kV circuit | PG&E equipment may have sparked a brush fire on San Bruno Mountain. | Open
20191015-01 | SCE | Injury | 12 kV circuit | An individual was injured when he made contact with overhead electrical facilities. | Open
20191023-01 | PG&E | Property Damage | 21 kV circuit | A claim was filed against PG&E for a fire allegedly started by utility equipment on October 8, 2017. | Open
20191024-01 | PG&E | Media Coverage | 230 kV circuit | A transmission circuit relayed and did not reclose. CalFire taped off the area and reported a broken jumper wire on a transmission tower. | Open
20191025-01 | SCE | Injury | 16 kV overhead conductor | An unlicensed, unbonded tree trimmer made contact with an overhead conductor in Manhattan Beach, resulting in burn injuries. | Open
20191025-02 | SCE | Media Coverage | 16 kV circuits | A fire occurred in Rosemead around the same time two local circuits experienced an interruption. | Open
20191027-01 | PG&E | Media Coverage | 12 kV overhead conductor | Contact between a lashing wire and a live secondary conductor may have been the ignition source for a fire in Lafayette. | Open
20191027-02 | PG&E | Media Coverage | Overhead circuit | A fallen utility pole and transformer may have sparked a fire in Lafayette. | Open
20191028-01 | PG&E | Property Damage | Overhead conductor | A wire down may have ignited a fire in Milpitas. | Open
20191028-02 | SCE | Media Coverage | 16 kV circuit | A relay occurred out of Valdez Substation and may be related to the ignition of the "Oak Fire". | Open
20191030-01 | PG&E | Media Coverage | 21 kV circuit | PG&E equipment may have started the Santiago Fire on Bethel Island. East Contra Costa Fire Protection District is investigating. | Open
20191030-02 | PG&E | Media Coverage | 21 kV circuit | East Contra Costa Fire Protection District is investigating PG&E facilities as a potential ignition point for the Cypress Fire in Oakley which occurred on October 27, 2019. | Open
20191030-03 | SDG&E | Media Coverage | 4 kV overhead circuit | SDG&E overhead equipment failed and started a small fire. No injuries or damage to structures resulted from the fire. | Open
20191030-04 | SCE | Media Coverage | 16 kV circuit | An SCE distribution circuit in Calabasas relayed around the same time a fire was reported in the same area. | Open
20191030-05 | SCE | Media Coverage | 66 kV circuit | "Circuit activity" occurred around the same time the large "Easy Fire" began. | Open
20191031-01 | SCE | Media Coverage | 16 kV circuit | The "Maria Fire" began in Santa Paula just as SCE was re-energizing the area after a Public Safety Power Shutoff event. No unusual circuit activity was detected. | Open
20191101-01 | PG&E | Property Damage | 12 kV circuit | Someone filed a claim on October 24 against PG&E for alleged damage caused by a fire allegedly started by PG&E facilities. | Open
20191101-02 | PG&E | Media Coverage | 12 kV circuit | PG&E facilities ignited a fire in Martinez. | Open
20191102-01 | PG&E | Injury | 500 kV circuit | Two PG&E employees were injured when a flash occurred while working on overhead primary lines. One employee was discharged from the hospital on the same day, but the other required overnight hospitalization. | Open
20191107-01 | PG&E | Media Coverage | 21 kV circuit | PG&E facilities may have ignited the Glen Cove Fire in Vallejo on October 27. | Open
20191112-01 | PG&E | Media Coverage | Substation | A power outage occurred due to an issue with equipment at Templeton substation. The outage lasted about 35 minutes and affected approximately 19,300 customers. | Open
20191113-01 | PG&E | Property Damage | 12 kV circuit | Someone filed a claim of about $100,000 for fire damage to a structure that occurred on October 26 and may have been caused by PG&E facilities. | Open
20191113-02 | Carlsbad Energy Center Generating Facility | Injury | Super Core | A contractor working to replace the super core of a gas turbine was injured when the crew accidentally dropped the 10,000-pound unit on his toes. | Open
20191123-01 | PG&E | Injury | 21 kV overhead conductor | A tree trimmer received a shock when he came into contact with a 21 kV overhead conductor. The Atascadero fire department responded and took him to a nearby hospital. The accident also resulted in a power outage that affected approximately 3 customers. | Open
20191130-01 | SCE | Injury | 12 kV overhead conductor | A tree trimmer sustained injuries when his tree-trimming tool made contact with an overhead primary conductor. | Open
20191202-01 | PG&E | Property Damage | Transformer bank | A transformer bank failed at Colusa Substation, resulting in an outage that affected approximately 2150 cusomers for about three hours. PG&E estimates that the cost of the damage to the trainsformers will exceed $50,000. | Open
20191205-01 | PG&E | Fatality | Service drop | A structure fire occurred in Novato that led to a fatality within the structure. The cause of the fire is unknown at this time. | Open
20191205-02 | PG&E | Property Damage | 12 kV circuit | PG&E received a claim for damage exceeding $50,000 as a result of a fire that allegedly started due to unspecified PG&E facilities. | Open
20191209-01 | PG&E | Property Damage | Service drop | A tree fell onto a service drop and allegedly started a structure fire that resulted in over $50,000 in damage. | Open
20191212-01 | PG&E | Property Damage | 12 kV circuit | PG&E received a claim for a structure fire that occurred on November 6. The claim alleges that PG&E equipment may have started the fire and that the damages exceed $50,000. | Open
20191222-01 | Geysers Energy Company Generating Facility | Property Damage | Transformer | A transformer fire occurred near units 5 and 6. The fire was confined to the plant area and no injuries resulted from it. | Open
20191223-01 | PG&E | Property Damage | Overhead conductor | PG&E received a claim for property damage that resulted from a fire that occurred on October 27, 2019. The fire started when vegetation made contact with an overhead secondary conductor. Damages due to the fire are alleged to exceed $50,000. | Open