|  |
| --- |
| **Safety Incidents Open as of 1-1-2021 and Incidents Reported in 2020** |
|  |  |  |
| **Gas Incidents** |
|  |  |  |
| **(In Compliance with CA Public Utilities Code Section 911)** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Incident ID (YYYYMMDD-XXXX)** | **Facility Owner** | **Reason for Investigation** | **Facility Type** | **Brief Description of Incident** | **Open or Closed** |
| 20200103-2969 | Southern CA Gas Company (SoCalGas) | Media Coverage | Other | Multiple odor complaints in Torrance. | Closed |
| 20200103-2970 | SoCalGas | Gas Loss > 3MMCF | Customer Regulator | Structure fire in Bloomington. | Closed |
| 20200106-2971 | SoCalGas | Other | Other | Multiple odor complaints in Tarzana. | Closed |
| 20200107-2972 | SoCalGas | Other | Other | Multiple odor complaints in Rancho Cucamonga. | Closed |
| 20200109-2973 | SoCalGas | Media Coverage | Other |  A vehicle struck a Meter set Assembly (MSA), causing a release of natural gas in Hawaiian Gardens. | Closed |
| 20200110-2974 | San Diego Gas & Electric (SDG&E) | Media Coverage | Customer Meter, Customer Regulator, Service Riser | A vehicle struck a MSA, causing a release of gas in Spring Valley. | Closed |
| 20200113-2975 | SoCalGas | Other | Other | Multiple odor complaints in Tulare. | Closed |
| 20200113-2976 | SoCalGas | Other | Other | Multiple odor complaints in Lake Forest. | Closed |
| 20200113-2977 | SoCalGas | Other | Other | Multiple gas outages in the area surrounding Yucca Valley. | Closed |
| 20200114-2978 | SoCalGas | Gas Loss > 3MMCF | Main | Gas leak found in 8-inch steel main in Los Angeles. | Closed |
| 20200114-2979 | SoCalGas | Other | Other | Multiple odor complaints in Whitter. Later determined to not be natural gas. | Closed |
| 20200114-2981 | SoCalGas | Interruption | Main | A third party contractor struck a 4-inch plastic main causing a gas leak in Anaheim. | Closed |
| 20200115-2980 | SDG&E | Gas Loss > 3MMCF | Main | A third party contractor struck a 0.50-inch plastic service line causing a gas leak in San Diego. | Closed |
| 20200115-2982 | SDG&E | Media Coverage | Service Riser | A forklift struck a 0.75 inch steel service riser causing a gas leak in Chula Vista. | Closed |
| 20200116-2983 | SDG&E | Gas Loss > 3MMCF | Main | A third party contractor struck a 4-inch plastic main causing a gas leak in Chula Vista. | Closed |
| 20200116-2984 | SoCalGas | Casualties | Service Line | Structure fire in Glendale. | Closed |
| 20200116-2987 | SoCalGas | Media Coverage | Customer Meter, Steel Riser | Structure fire in Los Angeles. | Closed |
| 20200117-2985 | SoCalGas | Gas Loss > 3MMCF | Customer Meter | Structure fire in Exeter. | Closed |
| 20200117-2986 | SoCalGas | Damages | Other | Structure fire in Exeter. | Closed |
| 20200117-2988 | Pacific Gas & Electric Company (PG&E) | Media Coverage | Service Line | A third party contractor struck a 0.5-inch plastic service line resulting in a gas leak in San Jose.  | Closed |
| 20200121-2989 | SoCalGas | Damages | Valve | Gas leak on a 3-inch valve in Los Angeles.  | Closed |
| 20200122-2990 | SoCalGas | Media Coverage | Service Riser | Gas leak on a service riser in Indio. | Closed |
| 20200122-2991 | SoCalGas | Gas Loss > 3MMCF | Main | A third party contractor struck a 1.5-inch steel gas main causing a gas leak in San Diego. | Closed |
| 20200123-2992 | PG&E | Interruption | Main | Under pressure event in San Francisco. | Closed |
| 20200123-2993 | PG&E | Other | Other | Multiple odor complaints in Woodland. | Closed |
| 20200123-2994 | SoCalGas | Other | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20200124-2995 | SoCalGas | Casualties | Other | Structure fire in Mira Loma. | Closed |
| 20200125-2996 | SoCalGas | Other | Other | Multiple odor complaints in Wilmington. | Closed |
| 20200128-2997 | SoCalGas | Other | Other | Multiple odor complaints in Cerritos. | Closed |
| 20200203-2998 | SoCalGas | Media Coverage | Main | A third party contractor struck a 6-inch plastic main causing a gas leak in Bakersfield.  | Closed |
| 20200207-2999 | PG&E | Other | Main | Overpressure event in Millbrae. | Closed |
| 20200213-3000 | SDG&E | Gas Loss > 3MMCF | Main | A third party contractor struck a 2-inch plastic main causing a gas leak in San Diego. | Closed |
| 20200216-3001 | SDG&E | Other | Other | Multiple odor complaints in San Diego. | Closed |
| 20200217-3003 | SoCalGas | Media Coverage | Service Line | A third party contractor struck a 1-inch steel service line causing a gas leak in Los Angeles. | Closed |
| 20200218-3004 | SoCalGas | Media Coverage | Main | A third party contractor struck a 2-inch plastic main causing a gas leak and ignition in Aliso Viejo. | Closed |
| 20200219-3005 | SoCalGas | Media Coverage | Main, Service Line | A third party struck a 2-inch plastic service line causing a gas leak in Los Angeles. | Closed |
| 20200221-3006 | SoCalGas | Other | Other | Multiple odor complaints in Harbor City. | Closed |
| 20200221-3007 | SoCalGas | Other | Other | Multiple odor complaints in Lakewood. | Closed |
| 20200226-3008 | SDG&E | Media Coverage | Service Line | A third party contractor damaged a 0.5-inch plastic service line resulting in a gas leak in San Diego.  | Closed |
| 20200302-3010 | SoCalGas | Media Coverage | Service Line | Mylar balloon struck power pole which arced to gas and water line resulting in a gas leak in La Puente. | Closed |
| 20200306-3011 | PG&E | Operator Judgement | Transmission | Overpressure condition in Hollister. | Closed |
| 20200305-3012 | SDG&E | Other | Other | Multiple odor complaints in La Jolla. | Closed |
| 20200309-3013 | SoCalGas | Other | Other | Odor complaints received Menifee. | Closed |
| 20200311-3014 | SoCalGas | Media Coverage | Customer Meter | Structure fire resulting in damage to the gas meter and gas leak in Los Angeles. | Closed |
| 20200311-3016 | SDG&E | Other | Other | Multiple odor complaints in Carlsbad.  | Closed |
| 20200311-3017 | SDG&E | Media Coverage | Service Riser | A third party contractor struck a 1-inch steel service line causing a gas leak in San Diego.  | Closed |
| 20200316-3018 | SDG&E | Gas Loss > 3MMCF | Service Line | A third party contractor struck a 0.5-inch plastic service causing a gas leak in San Diego.  | Closed |
| 20200320-3019 | SoCalGas | Other | Other | Multiple odor complaints in Murrieta.  | Closed |
| 20200324-3020 | SoCalGas | Other | Main | A third party contractor struck a 2-inch plastic main causing a gas leak in Pasadena. | Closed |
| 20200327-3021 | SDG&E | Media Coverage | Service Line | A third party contractor struck a 1-inch plastic service line causing a gas leak in San Diego. | Closed |
| 20200407-3022 | SoCalGas | Other | Other | Multiple odor complaints in Compton. | Closed |
| 20200409-3023 | SoCalGas | Other | Other | Multiple odor complaints in Bakersfield. | Closed |
| 20200409-3024 | Mobile Home Park (MHP) | Interruption | Other | Gas leak and ignition after repairs in Lancaster. | Open |
| 20200413-3025 | SDG&E | Media Coverage | Service Line | A third party contractor struck a 0.75-inch steel service line causing a gas leak in Chula Vista. | Closed |
| 20200416-3026 | PG&E | Media Coverage | Main | A third party contractor struck a 2-inch plastic main causing a gas leak in Fresno.  | Closed |
| 20200416-3027 | SDG&E | Media Coverage | Service Line | A third party contractor struck a 1.25-inch plastic service line causing a gas leak in San Diego.  | Closed |
| 20200428-3028 | SoCalGas | Media Coverage | Customer Meter | A vehicle struck and damaged a gas meter causing a gas leak in Carson. | Closed |
| 20200429-3029 | PG&E | Damages | Customer Meter, Service Line | Structure fire in Modesto. PG&E later rescinded the incident. | Closed |
| 20200429-3030 | SoCalGas | Other | Other | Multiple odor complaints in Costa Mesa. | Closed |
| 20200430-3031 | SoCalGas | Other | Other | Multiple area odor complaints in Los Angeles. | Closed |
| 20200430-3032 | SDG&E | Other | Other | Multiple odor complaints in San Diego. | Closed |
| 20200502-3033 | SDG&E | Other | Other | Multiple odor complaints in Rancho La Costa. | Closed |
| 20200503-3034 | SoCalGas | Casualties | Customer Meter | A vehicle struck a MSA and riser causing gas leak, injury, and ignition in Lancaster. | Closed |
| 20200503-3035 | SDG&E | Other | Other | Multiple odor complaints in Rancho La Costa. | Closed |
| 20200504-3036 | SDG&E | Other | Other | Multiple odor complaints in Encinitas.  | Closed |
| 20200504-3037 | SDG&E | Media Coverage | Service Line | A third party contractor struck a 3-inch plastic gas main causing a gas leak in San Diego.  | Closed |
| 20200505-3038 | SDG&E | Other | Other | Multiple odor complaints in La Jolla. | Closed |
| 20200506-3039 | SDG&E | Other | Other | Multiple odor complaints in San Diego. | Closed |
| 20200506-3040 | SDG&E | Media Coverage | Service Line | A third party contractor struck a 1.25-inch gas service causing a gas leak in Chula Vista. | Closed |
| 20200507-3041 | SDG&E | Other | Other | Multiple odor complaints in Carlsbad. | Closed |
| 20200507-3042 | SoCalGas | Media Coverage | Main | A third Party contractor struck a 4-inch plastic gas main causing a gas leak in Bakersfield. | Closed |
| 20200507-3043 | SoCalGas | Other | Other | Multiple odor complaints in Laguna Niguel. | Closed |
| 20200507-3044 | SoCalGas | Damages | Main, Service Line | SoCalGas crews were working on a service abandonment job and damaged a service tee on a 4-inch steel main causing a gas leak in Cutler. | Closed |
| 20200508-3045 | SoCalGas | Damages | Main | A third party contractor struck a 6-inch steel main causing a gas leak in West Hollywood.  | Closed |
| 20200509-3046 | PG&E | Media Coverage | Customer Meter | A vehicle struck and damaged a gas meter causing a fire in San Jose. | Closed |
| 20200511-3047 | SDG&E | Other | Other | Multiple odor complaints in Encinitas. | Closed |
| 20200512-3048 | SoCalGas | Other | Other | Multiple odor complaints in Rotella Valencia. | Closed |
| 20200512-3049 | SDG&E | Other | Other | Multiple odor complaints in Del Mar. | Closed |
| 20200514-3050 | SDG&E | Media Coverage | Service Line | A third party contractor struck a 0.50-inch plastic gas service causing a gas leak in San Diego. | Closed |
| 20200514-3051 | SoCalGas | Damages | Transmission | A third party contractor struck a 16-inch steel transmission line causing a gas leak in Wasco.  | Closed |
| 20200514-3052 | SoCalGas | Other | Other | Multiple odor complaints in Wilmington. | Closed |
| 20200518-3053 | SoCalGas | Other | Other | Multiple odor complaints in North Hollywood. | Closed |
| 20200519-3054 | SoCalGas | Other | Other | Multiple odor complaints in North Hollywood. | Closed |
| 20200519-3055 | SoCalGas | Other | Other | Multiple odor complaints in Mission Hills. | Closed |
| 20200520-3056 | SoCalGas | Media Coverage | Service Line | A third party contractor struck a 1-inch plastic service causing a gas leak in Rowland Heights. | Closed |
| 20200520-3057 | SoCalGas | Damages | Main | A third party contractor struck a 12-inch steel main resulting causing a gas leak in Los Angeles.  | Closed |
| 20200524-3059 | SDG&E | Other | Other | SDG&E technician turned the wrong valve off causing an under pressurization in Oceanside. | Closed |
| 20200526-3058 | Southwest Gas (SoWEST) | Interruption | Valve | Multiple odor complaints in Oceanside. | Closed |
| 20200527-3060 | SoCalGas | Media Coverage | Service Line | A third party contractor struck a 0.5-inch plastic gas service causing a gas leak in Thousand Palms. | Closed |
| 20200528-3061 | SoCalGas | Other | Other | Multiple odor complaints in Porterville. | Closed |
| 20200531-3062 | SDG&E | Media Coverage | Customer Meter, Service Line and Riser | A third party contractor struck an MSA causing a gas leak in La Mesa. | Closed |
| 20200602-3063 | SoWEST | Interruption | Service Line | A second party contractor performed a service line replacement that caused an under pressure in Victorville. | Closed |
| 20200602-3064 | SoWEST | Interruption | Service Line | A second party contractor performed a service line replacement that caused an under pressure in Adelanto. | Closed |
| 20200602-3065 | SoCalGas | Other | Other | Multiple odor complaints in Garden Grove. | Closed |
| 20200614-3066 | SoCalGas | Media Coverage | Service Riser | A vehicle struck and damaged a MSA causing a gas leak in Riverdale. | Closed |
| 20200617-3067 | SoCalGas | Other | Other | Multiple odor complaints in Laguna Beach. | Closed |
| 20200622-3068 | SoCalGas | Media Coverage | Service Line | The River Fire in Paso Robles damage a 0.75-inch steel riser causing a gas leak. | Closed |
| 20200622-3069 | SoCalGas | Other | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20200624-3070 | SoWEST | Interruption | Main | A second party contractor damaged a 2-inch plastic main causing a gas leak in South Lake Tahoe. | Closed |
| 20200624-3071 | SoCalGas | Other | Other | Multiple odor complaints in Playa Del Rey. | Closed |
| 20200625-3072 | SoWEST | Interruption | Service Line | A third party contractor struck a 1-inch plastic service line causing a gas leak in Truckee. | Open |
| 20200625-3073 | PG&E | Other | Transmission | An overpressure event in Hayward. | Open |
| 20200626-3074 | SoCalGas | Other | Other | Multiple odor complaints in Beverly Hills. | Closed |
| 20200629-3075 | SoCalGas | Media Coverage | Customer Meter, Regulator, and Service Riser | A brush fire damaged multiple MSAs causing a gas leak in Niland. | Closed |
| 20200630-3076 | SoCalGas | Media Coverage | Service Line | A third party damaged a 1-inch plastic gas service causing a gas leak in San Luis Obispo. | Closed |
| 20200701-3077 | SoCalGas | Media Coverage | Service Riser, Customer Regulator, and Customer Meter | SoCalGas was notified of vandalism to a gas riser causing a gas leak in Coachella. | Closed |
| 20200703-3078 | SoCalGas | Casualties | Customer Meter and Service Riser | A structure fire in Frazier Park. | Closed |
| 20200705-3079 | SoCalGas | Other | Other | Multiple odor complaints in Huntington Beach. | Closed |
| 20200706-3080 | SDG&E | Media Coverage | Customer Meter |  A vehicle struck a gas meter causing a gas leak in San Diego. | Closed |
| 20200708-3081 | SDG&E | Media Coverage | Customer Meter, Regulator, and Service Riser | A vehicle struck a MSA causing a gas leak in Oceanside. | Closed |
| 20200712-3082 | SDG&E | Other | Other | Multiple odor complaints were received in the area surrounding La Mesa. | Closed |
| 20200714-3083 | SoCalGas | Media Coverage | Service Riser | Structure fire in Los Angeles. | Closed |
| 20200716-3084 | SDG&E | Damages | Main | A third party contractor struck a 6-inch steel main causing a gas leak in San Diego. | Open |
| 20200721-3085 | SoCalGas | Media Coverage | Main | Gas leak in an electrical vault in Indio. | Closed |
| 20200721-3086 | SoCalGas | Other | Other | Multiple odor complaints in Los Angeles. | Closed |
| 20200727-3087 | PG&E | Operator Judgement | Regulator | Overpressure event in Aptos. | Open |
| 20200728-3088 | SoCalGas | Media Coverage | Other | Leak repair on 0.75-inch steel service line observed by news media in San Luis Obispo. | Closed |
| 20200728-3089 | SDG&E | Media Coverage | Main | A first party contractor struck a 1.50-inch steel main causing a gas leak in San Diego. | Closed |
| 20200730-3090 | SoCalGas | Other | Other | Multiple odor complaints in Los Angeles. | Closed |
| 20200801-3091 | SoCalGas | Damages | Service Riser and Customer Meter | A vehicle struck a gas meter causing a gas leak in Cambria. | Closed |
| 20200802-3092 | SoCalGas | Damages | Main | Water in gas service line in Santa Monica. | Closed |
| 20200803-3093 | SDG&E | Media Coverage | Service Line | A third party contractor struck a 0.5-inch plastic service line causing a gas leak in La Jolla. | Closed |
| 20200803-3094 | SoCalGas | Media Coverage | Main | A third party contractor struck a 2-inch steel main causing a gas leak in Goleta.  | Closed |
| 20200803-3095 | SoCalGas | Other | Other | Overpressure event in Ventura. | Open |
| 20200803-3096 | SoCalGas | Other | Other | Multiple odor complaints in Ventura. | Open |
| 20200804-3097 | SoCalGas | Other | Other | Structure fire in Bakersfield. | Open |
| 20200804-3098 | SoCalGas | Other | Other | Multiple odor complaints in South Gate. | Open |
| 20200804-3099 | SDG&E | Gas Loss > 3MMCF | Main | A third party contractor struck a 1.5-inch steel main causing a gas leak in National City.  | Closed |
| 20200804-3100 | SoCalGas | Casualties | Other | Structure fire in California City. | Open |
| 20200805-3101 | SoCalGas | Other | Other | Multiple odor complaints in Sun Valley. | Open |
| 20200804-3102 | PG&E | Operator Judgement | Other | Overpressure event in Fresno. | Open |
| 20200807-3103 | SoCalGas | Other | Other | Multiple odor complaints in Seal Beach. | Closed |
| 20200810-3104 | SDG&E | Media Coverage | Service Line | A third party contractor struck a 0.75-inch steel service line causing a gas leak in San Diego. | Open |
| 20200810-3105 | SoCalGas | Other | Other | Multiple odor complaints in Rossmoor. | Closed |
| 20200810-3106 | SoCalGas | Other | Other | Multiple odor complaints in Newhall. | Open |
| 20200811-3107 | SoCalGas | Media Coverage | Service Line | A second party contractor struck a 1-inch plastic service line causing a gas leak in Bakersfield. | Open |
| 20200813-3108 | SoCalGas | Other | Other | Multiple odor complaints in Beverly Hills. | Open |
| 20200813-3109 | SoCalGas | Other | Other | Multiple odor complaints in Long Beach. | Closed |
| 20200814-3110 | SDG&E | Other | Other | Multiple odor complaints in La Jolla. | Closed |
| 20200814-3111 | PG&E | Operator Judgement | Regulator | Overpressure event in Coalinga. | Open |
| 20200818-3113 | SoCalGas | Other | Other | Multiple odor complaints in Los Angeles. | Open |
| 20200819-3114 | PG&E | Damages | Transmission | Gas leak and ignition during welding in Ukiah. | Open |
| 20200828-3115 | PG&E | Damages | Regulator | A vehicle struck a regulator station causing a gas leak in West Sacramento. | Open |
| 20200831-3116 | SoCalGas | Media Coverage | Main | A third party contractor struck a 2-inch steel main causing a gas leak in Arcadia. | Open |
| 20200908-3117 | PG&E | Other | Valve | Overpressure event in San Jose. | Closed |
| 20200910-3118 | SoCalGas | Other | Other | Multiple reports of odor complaints in Irvine. | Closed |
| 20200910-3119 | SoCalGas | Other | Other | Multiple odor complaints in Compton. | Open |
| 20200911-3120 | SoCalGas | Damages | Main | Leak in water main damaged a 6-inch steel gas main causing a gas leak in Hemet. | Open |
| 20200911-3121 | SoCalGas | Other | Other | Multiple odor complaints in Los Angeles. | Open |
| 20200912-3122 | SDG&E | Other | Other | Multiple odor complaints in Imperial Beach. | Closed |
| 20200919-3123 | SoCalGas | Other | Other | Multiple odor complaints in Huntington Beach.  | Open |
| 20200919-3124 | SoCalGas | Other | Other | Multiple odor complaints in San Bernardino. | Open |
| 20200926-3125 | SoCalGas | Other | Other | Multiple odor complaints in Capistrano Beach. | Open |
| 20200929-3126 | SoCalGas | Media Coverage | Service Line | A third party contractor struck a 2-inch plastic main causing a gas leak in Santa Clarita. | Open |
| 20200929-3127 | SoCalGas | Other | Other | Multiple odor complaints in San Jacinto. | Open |
| 20200929-3128 | SoCalGas | Other | Main | Multiple odor complaints in Newhall. | Open |
| 20201001-3130 | SDG&E | Other | Other | Multiple odor complaints in Encinitas. | Closed |
| 20201002-3129 | SoCalGas | Other | Other | Multiple odor complaints in Pasadena. | Open |
| 20201002-3132 | SDG&E | Other | Other | Multiple odor complaints in San Diego. | Open |
| 20201006-3133 | SoCalGas | Other | Other | Multiple odor complaints in Calabasas.  | Open |
| 20201016-3134 | SoCalGas | Other | Other | Multiple odor complaints in Los Angeles. | Open |
| 20201028-3135 | SDG&E | Media Coverage | Main | A third party contractor struck a 1.5-inch steel main causing a gas leak in San Diego.  | Open |
| 20201028-3136 | SoCalGas | Other | Other | Multiple odor complaints in Saint Bernard.  | Open |
| 20201028-3137 | SoCalGas | Other | Other | Multiple odor complaints in Redondo Beach. | Open |
| 20201029-3138 | SoCalGas | Other | Other | Multiple odor complaints in Los Angeles. | Open |
| 20201103-3139 | SoCalGas | Media Coverage | Service Line | A third party contractor struck a 1-inch service line causing a gas leak in Santa Barbara. | Open |
| 20201105-3140 | SoCalGas | Other | Other | Multiple odor complaints in Redondo Beach. | Open |
| 20201110-3141 | SoCalGas | Media Coverage | Main | A third party contractor struck a 1.5-inch steel main causing a gas leak San Diego.  | Open |
| 20201110-3142 | SoWEST | Interruption | Customer Regulator | Gas leak and service interruption during routine maintenance in Apple Valley. | Open |
| 20201112-3143 | PG&E | Media Coverage | Service Line | A third party contractor struck a 1-inch plastic service line causing a gas leak in San Francisco. | Open |
| 20201116-3144 | SDG&E | Other | Other | Multiple odor complaints in San Diego. | Open |
| 20201117-3145 | SDG&E | Other | Other | Multiple odor complaints in San Diego. | Open |
| 20201120-3146 | SoWEST | Other | Other | Under pressure event in Barstow. | Open |
| 20201121-3147 | SoWEST | Interruption | Service Line and Riser | Under pressure event in Lucerne Valley. | Open |
| 20201122-3148 | SoCalGas | Other | Other | Multiple odor complaints in Compton. | Open |
| 20201125-3149 | SoCalGas | Media Coverage | Main, Service Line, Customer Regulator, and Customer Meter | Damage from a potential third party caused a gas leak in Alhambra.  | Open |
| 20201129-3150 | SDG&E | Media Coverage | Customer Meter | Outside force damage to a MSA caused a gas leak in San Diego. | Open |
| 20201130-3151 | SoCalGas | Other | Main | Multiple odor complaints in North Hollywood. | Open |
| 20201203-3152 | SDG&E | Other | Other | Multiple odor complaints in San Diego. | Open |
| 20201204-3153 | SoCalGas | Other | Other | Multiple odor complaints in Los Angeles. | Open |
| 20201209-3154 | SoCalGas | Other | Other | Multiple odor complaints in Walnut. | Open |
| 20201210-3155 | SoCalGas | Other | Other | Multiple odor complaints in Sun Valley. | Open |
| 20201213-3156 | SDG&E | Other | Other | Multiple odor complaints in San Diego. | Open |
| 20201215-3157 | SoCalGas | Other | Other | Multiple odor complaints in Huntington Beach. | Open |
| 20201215-3158 | SoCalGas | Media Coverage | Main | A third party contractor struck a 2" plastic service causing a gas leak in Burbank. | Open |
| 20201215-3159 | SoWEST | Interruption | Service Line | Service interruption in Lucerne Valley. | Open |
| 20201210-3160 | SoCalGas | Public Attention | Other | Multiple odor complaints in Hawthorne. | Open |
| 20201230-3161 | SDG&E | Media Coverage | Service Riser | A vehicle struck a 0.75-inch steel riser causing a gas leak in San Diego. | Open |
| 20201231-3162 | SoCalGas | Public Attention | Other | Multiple odor complaints in Rancho Cucamonga. | Open |